## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-12 00:00:00 | 4.3507 | 149.83 | 5.0107 | 164.6357 | 7.7443 | 16.595 | 7.8679 | 16.455 | 10.8243 | 886 | 94.7786 | 34.1229
2019-11-12 00:15:00 | 4.22 | 207.0633 | 4.86 | 227.5367 | 7.03 | 4.1233 | 7.0467 | 13.1633 | 10.8407 | 886 | 93.9 | 34.6633
2019-11-12 00:30:00 | 4.14 | 6.9167 | 4.7667 | 7.59 | 7.1367 | 232.2633 | 6.8333 | 13.0833 | 10.894 | 886 | 92.9 | 32.612
2019-11-12 00:45:00 | 3.94 | 211.8667 | 4.5367 | 232.82 | 6.86 | 11.6567 | 6.7833 | 14.78 | 10.9767 | 886 | 91.2667 | 31.778
2019-11-12 01:00:00 | 3.8333 | 21.24 | 4.4167 | 23.3267 | 6.4867 | 231.45 | 6.1367 | 7.34 | 11.006 | 886 | 91 | 33.008
2019-11-12 01:15:00 | 3.8667 | 131.7167 | 4.4533 | 144.7433 | 6.5767 | 344.6867 | 6.38 | 116.78 | 10.9067 | 886 | 92.1333 | 33.0293
2019-11-12 01:30:00 | 4.26 | 188.63 | 4.9067 | 207.2767 | 6.6633 | 114.32 | 6.6533 | 121.1733 | 10.88 | 886 | 92 | 33.7747
2019-11-12 01:45:00 | 4.2933 | 211.5733 | 4.9467 | 232.4867 | 7.3967 | 114.4 | 7.18 | 30.8567 | 10.95 | 886 | 90.4667 | 36.0627
2019-11-12 02:00:00 | 4.3867 | 35.94 | 5.0467 | 39.48 | 7.89 | 351.3667 | 7.6933 | 25.3967 | 10.9613 | 886 | 89.5333 | 39.7113
2019-11-12 02:15:00 | 4.7733 | 131.38 | 5.4933 | 144.3733 | 8 | 8.1133 | 7.7533 | 14.6533 | 10.9327 | 886 | 89.1333 | 37.0793
2019-11-12 02:30:00 | 4.7067 | 112.8667 | 5.4267 | 124.02 | 7.96 | 16.26 | 8.12 | 19.6267 | 10.8167 | 885.1333 | 90.1333 | 34.946
2019-11-12 02:45:00 | 4.6133 | 185.9767 | 5.31 | 204.37 | 7.5633 | 12.5767 | 7.4433 | 16.15 | 10.7907 | 885.5333 | 90.4333 | 35.282
2019-11-12 03:00:00 | 4.72 | 10.4567 | 5.43 | 11.4833 | 7.51 | 10.3233 | 7.5367 | 12.29 | 10.76 | 885.8 | 90.9667 | 37.138
2019-11-12 03:15:00 | 4.4067 | 37.9133 | 5.07 | 41.6533 | 7.8867 | 12.8 | 7.84 | 12.6233 | 10.74 | 885 | 90.9 | 37.3013
2019-11-12 03:30:00 | 4.1667 | 24.4467 | 4.79 | 26.86 | 7.3533 | 14.3267 | 7.0667 | 13.55 | 10.8067 | 885.8667 | 90.2333 | 37.3567
2019-11-12 03:45:00 | 4 | 239.4267 | 4.6 | 263.1 | 7.4833 | 14.72 | 7.2733 | 15.6 | 10.7533 | 886 | 90.9 | 36.8647
2019-11-12 04:00:00 | 4.2733 | 195.2067 | 4.9133 | 214.5 | 8.19 | 15.38 | 8.1667 | 22.96 | 10.718 | 885.1333 | 91.12 | 37.6993
2019-11-12 04:15:00 | 4.6567 | 236.6333 | 5.3567 | 260.0333 | 8.8167 | 4.3133 | 8.8633 | 21.44 | 10.68 | 885 | 91.7667 | 43.2313
2019-11-12 04:30:00 | 4.916 | 161.054 | 5.664 | 176.98 | 8.896 | 12.018 | 9.502 | 23.764 | 10.7153 | 885 | 91.38 | 45.628
2019-11-12 04:45:00 | 5.54 | 315.3467 | 6.3767 | 346.5333 | 9.7367 | 10.2933 | 9.6667 | 15.1933 | 10.82 | 885 | 90.5667 | 42.5413
2019-11-12 05:00:00 | 5.1333 | 111.5667 | 5.9167 | 122.6 | 8.9567 | 13.2267 | 9.2733 | 18.4 | 10.94 | 885.2 | 89.9 | 36.614
2019-11-12 05:15:00 | 4.1767 | 99.2233 | 4.8133 | 109.04 | 7.88 | 9.8067 | 8.3867 | 20.24 | 10.92 | 886 | 90.1 | 36.9727
2019-11-12 05:30:00 | 4.89 | 237.9433 | 5.62 | 261.4667 | 8.44 | 20.2933 | 8.8867 | 26.3867 | 11.0113 | 886 | 87.9 | 30.7253
2019-11-12 05:45:00 | 4.4467 | 95.1133 | 5.1133 | 104.5133 | 7.8667 | 16.9967 | 8.47 | 10.1933 | 11.1367 | 886 | 86.7 | 29.842
2019-11-12 06:00:00 | 3.6067 | 255.9333 | 4.1467 | 281.2333 | 6.84 | 40.4833 | 7.4233 | 23.9867 | 11.05 | 885.8 | 87.8333 | 36.7647
2019-11-12 06:15:00 | 4.02 | 133.2567 | 4.62 | 146.4333 | 7.53 | 13.7433 | 7.7533 | 12.8533 | 10.94 | 885 | 88.5333 | 29.4087
2019-11-12 06:30:00 | 3.9533 | 286.6567 | 4.5467 | 315 | 6.9833 | 12.1367 | 7.34 | 14.7133 | 11.04 | 885.8667 | 87.3333 | 26.512
2019-11-12 06:45:00 | 3.5633 | 114.5633 | 4.1067 | 125.8867 | 5.98 | 0.37667 | 6.08 | 11.1033 | 11.16 | 886 | 86.5 | 26.9307
2019-11-12 07:00:00 | 3.39 | 308.4967 | 3.9067 | 339 | 5.8267 | 6.5033 | 6.3067 | 16.53 | 11.1727 | 886 | 86.7 | 29.5947
2019-11-12 07:15:00 | 3.8287 | 105.9187 | 4.4047 | 116.3893 | 6.824 | 16.5353 | 7.47 | 21.3727 | 11.0753 | 886 | 87.8467 | 34.9187
2019-11-12 07:30:00 | 4.12 | 279.37 | 4.7467 | 307 | 7.4933 | 27.3267 | 7.85 | 24.9167 | 10.9033 | 886 | 89.3667 | 32.734
2019-11-12 07:45:00 | 3.9933 | 257.4167 | 4.5933 | 282.8667 | 7.1233 | 8.1833 | 7.4 | 30.9233 | 10.83 | 886 | 89.3667 | 22.674
2019-11-12 08:00:00 | 2.96 | 78.39 | 3.4067 | 86.1467 | 5.6167 | 20.5833 | 5.7933 | 31.3433 | 10.87 | 886 | 89.12 | 14.866
2019-11-12 08:15:00 | 2.7467 | 294.8533 | 3.16 | 324 | 4.8667 | 11.7767 | 4.9167 | 21.6067 | 10.9833 | 886 | 89.0667 | 10.6127
2019-11-12 08:30:00 | 2.6267 | 305.34 | 3.02 | 335.5333 | 4.1 | 236.4633 | 4.13 | 18.5733 | 11.1033 | 886 | 88 | 10.4527
2019-11-12 08:45:00 | 2.4633 | 263.3833 | 2.8333 | 289.4333 | 4.1467 | 13.2767 | 3.9533 | 44.2 | 11.21 | 886 | 87.3667 | 7.9793
2019-11-12 09:00:00 | 2.4767 | 83.7967 | 2.8467 | 92.08 | 4.02 | 32.2233 | 3.4 | 79.4133 | 11.3967 | 886.8667 | 86.3 | 5.012
2019-11-12 09:15:00 | 1.7733 | 290.3833 | 2.0467 | 319.1 | 3.0733 | 130.42 | 2.6767 | 30.5967 | 11.54 | 887 | 85.6667 | 5.872
2019-11-12 09:30:00 | 2.1467 | 105.6767 | 2.4667 | 116.12 | 3.52 | 119.24 | 3.3233 | 13.45 | 11.524 | 887 | 86 | 10.346
2019-11-12 09:45:00 | 2.9833 | 218.9167 | 3.4333 | 240.5667 | 5.4233 | 7.8967 | 5.28 | 65.9467 | 11.4567 | 887 | 87.5 | 13.406
2019-11-12 10:00:00 | 3.1167 | 227.05 | 3.5867 | 249.5 | 5.8567 | 22.4833 | 5.8133 | 63.8733 | 11.45 | 887 | 87.3 | 13.8387
2019-11-12 10:15:00 | 3.0033 | 183.0967 | 3.4633 | 201.1967 | 5.4133 | 8.4933 | 5.4067 | 7.99 | 11.4967 | 887.5333 | 86.7667 | 16.9633
2019-11-12 10:30:00 | 3.3767 | 143.1767 | 3.8833 | 157.33 | 6.24 | 5.9 | 6.2933 | 11.07 | 11.45 | 888 | 87.08 | 21.992
2019-11-12 10:45:00 | 3.8733 | 10.3 | 4.46 | 11.3133 | 6.4467 | 111.7933 | 6.41 | 6.4633 | 11.4407 | 888 | 86.6 | 26.2293
2019-11-12 11:00:00 | 4.3267 | 21.66 | 4.9867 | 23.7933 | 6.8267 | 122.9267 | 6.87 | 14.8433 | 11.41 | 888 | 86.5333 | 32.3093
2019-11-12 11:15:00 | 4.27 | 23.9067 | 4.91 | 26.2667 | 7.4933 | 14.2933 | 7.7733 | 15.64 | 11.24 | 888 | 89.8667 | 38.7613
2019-11-12 11:30:00 | 4.2167 | 104.26 | 4.85 | 114.56 | 7.9267 | 13.1933 | 8.28 | 24.8133 | 11.0333 | 888 | 93.9333 | 40.462
2019-11-12 11:45:00 | 4.3367 | 125.6567 | 4.99 | 138.0833 | 8.04 | 14.35 | 8.6067 | 29.7567 | 10.7867 | 888 | 96.4 | 39.642
2019-11-12 12:00:00 | 4.6167 | 133.61 | 5.3167 | 146.8167 | 8.6267 | 16.31 | 9.1733 | 28.77 | 10.7733 | 888 | 96.3333 | 40.0727
2019-11-12 12:15:00 | 4.72 | 129.45 | 5.44 | 142.25 | 8.7167 | 14.01 | 9.0833 | 16.1933 | 10.9033 | 887.4667 | 94.8 | 39.2453
2019-11-12 12:30:00 | 4.6133 | 96.9433 | 5.3067 | 106.5167 | 8.4433 | 8.71 | 8.6833 | 28.28 | 10.948 | 887 | 94.22 | 41
2019-11-12 12:45:00 | 4.9773 | 59.48 | 5.7293 | 65.3547 | 8.6147 | 14.9187 | 8.8147 | 25.4073 | 10.8833 | 887 | 94.4667 | 39.8427
2019-11-12 13:00:00 | 5.0867 | 95.8867 | 5.8633 | 105.3733 | 9.0767 | 8.0033 | 8.97 | 23.1367 | 10.856 | 887 | 95.0667 | 38.5127
2019-11-12 13:15:00 | 5.0467 | 165.8767 | 5.8133 | 182.2667 | 9.07 | 9.99 | 9.07 | 31.3433 | 10.7433 | 887 | 96.6 | 40.3047
2019-11-12 13:30:00 | 5.04 | 169.2633 | 5.8 | 186 | 9.152 | 14.9033 | 9.29 | 27.05 | 10.6567 | 887 | 97.5333 | 42.6333
2019-11-12 13:45:00 | 5.0567 | 190.1033 | 5.8133 | 208.9 | 9.4733 | 10.6633 | 9.99 | 24.15 | 10.7 | 887 | 97.6867 | 44.4787
2019-11-12 14:00:00 | 5.6367 | 160.5633 | 6.4867 | 176.4333 | 10.2533 | 11.15 | 10.6167 | 15.7833 | 10.6973 | 886.8 | 97.58 | 46.86
2019-11-12 14:15:00 | 5.91 | 164.8633 | 6.81 | 181.1667 | 10.5267 | 13.9467 | 10.8233 | 15.65 | 10.72 | 886 | 97.2333 | 47.5347
2019-11-12 14:30:00 | 5.7367 | 214.7367 | 6.6033 | 235.9667 | 10.6333 | 10.4933 | 10.9367 | 21.1233 | 10.7733 | 886 | 97.1 | 48.4087
2019-11-12 14:45:00 | 5.81 | 272.5767 | 6.6833 | 299.5333 | 10.7567 | 12.8833 | 11.0033 | 13.47 | 10.7747 | 886 | 97.7667 | 50.1813
2019-11-12 15:00:00 | 6.0367 | 324.87 | 6.9433 | 357 | 11.1233 | 12.4967 | 11.5433 | 25.5233 | 10.6967 | 886 | 98.7 | 52.936
2019-11-12 15:15:00 | 6.6267 | 224.2867 | 7.62 | 246.46 | 12.4667 | 18.86 | 12.7 | 27.89 | 10.63 | 886 | 99.4667 | 58.992
2019-11-12 15:30:00 | 6.9733 | 152.8733 | 8.0267 | 167.9933 | 13.0467 | 20.1533 | 13.3 | 28.41 | 10.6127 | 886 | 99.6 | 59.5727
2019-11-12 15:45:00 | 7.4867 | 251.3133 | 8.6133 | 276.1667 | 13.7567 | 15.89 | 14.1133 | 24.0133 | 10.6207 | 886 | 98.8333 | 59.0427
2019-11-12 16:00:00 | 7.422 | 236.52 | 8.54 | 259.9 | 13.586 | 11.9167 | 13.8533 | 28.2067 | 10.6633 | 886 | 97.9 | 60.8073
2019-11-12 16:15:00 | 8.02 | 153.76 | 9.2333 | 168.9667 | 14.4033 | 238.5567 | 14.4967 | 28.3933 | 10.6747 | 886 | 96.3333 | 61.276
2019-11-12 16:30:00 | 7.6333 | 137.44 | 8.7867 | 151.0333 | 14.0833 | 5.1767 | 13.7167 | 22.5 | 10.674 | 886 | 95.3333 | 61.4533
2019-11-12 16:45:00 | 8.32 | 220.6133 | 9.58 | 242.4333 | 15.3633 | 9.3733 | 14.9933 | 27.53 | 10.6847 | 886 | 93.9333 | 61.142
2019-11-12 17:00:00 | 8.75 | 279.352 | 10.076 | 306.98 | 15.702 | 7.816 | 15.838 | 31.19 | 10.6713 | 886.2 | 92.28 | 60.8287
2019-11-12 17:15:00 | 9.14 | 39.4833 | 10.5133 | 43.38 | 16.27 | 19.5867 | 16.8133 | 27.68 | 10.6567 | 887 | 90.7 | 62.2227
2019-11-12 17:30:00 | 8.96 | 242.97 | 10.3067 | 267 | 15.91 | 25.1467 | 16.56 | 31.2333 | 10.6033 | 887 | 90.1 | 62.7313
2019-11-12 17:45:00 | 9.4567 | 237.54 | 10.8833 | 261.0333 | 16.7333 | 7.5367 | 16.7067 | 16.3667 | 10.54 | 887.5333 | 89.6 | 59.8087
2019-11-12 18:00:00 | 9.6833 | 223.1733 | 11.1367 | 245.2333 | 17.42 | 16.1767 | 17.5467 | 15.7667 | 10.5573 | 888 | 88.4667 | 60.1807
2019-11-12 18:15:00 | 9.12 | 219.4267 | 10.4933 | 241.1233 | 15.91 | 22.51 | 16.6533 | 32.7067 | 10.6733 | 888 | 85 | 59.5547
2019-11-12 18:30:00 | 8.7 | 132.9133 | 10.0067 | 146.0567 | 15.2167 | 22.2033 | 15.8733 | 29.4467 | 10.8133 | 888 | 82.1333 | 58.188
2019-11-12 18:45:00 | 9.0267 | 319.59 | 10.3833 | 351.2 | 15.6233 | 5.8167 | 16.0233 | 21.1333 | 10.9167 | 888 | 78.7333 | 59.8727
2019-11-12 19:00:00 | 9.5067 | 200.81 | 10.9367 | 220.6667 | 16.49 | 18.2967 | 16.7633 | 25.38 | 10.968 | 888 | 77.394 | 59.2927
2019-11-12 19:15:00 | 10.1093 | 183.348 | 11.64 | 201.47 | 17.698 | 6.978 | 17.626 | 22.658 | 10.7513 | 888 | 78.0287 | 60.2167
2019-11-12 19:30:00 | 10.3067 | 193.1733 | 11.86 | 212.2767 | 18.4 | 5 | 18.2733 | 20.7933 | 10.46 | 888.8667 | 78.9007 | 59.6647
2019-11-12 19:45:00 | 10.2067 | 149.7 | 11.75 | 164.5 | 18.11 | 7.1433 | 18.1367 | 16.9433 | 10.4413 | 889 | 77.3 | 59.956
2019-11-12 20:00:00 | 9.2533 | 125.1267 | 10.6433 | 137.4933 | 16.0833 | 8.9233 | 16.5033 | 22.31 | 10.6233 | 889 | 74.32 | 60.132
2019-11-12 20:15:00 | 9.0707 | 109.79 | 10.4413 | 120.64 | 15.98 | 31.622 | 16.556 | 28.3553 | 10.6527 | 889 | 71.8333 | 57.3747
2019-11-12 20:30:00 | 8.1567 | 106.88 | 9.3933 | 117.44 | 14.3333 | 19.2367 | 14.4767 | 20.3333 | 10.552 | 889.8667 | 71.96 | 57.6133
2019-11-12 20:45:00 | 8.8133 | 42.4367 | 10.1367 | 46.62 | 15.45 | 21.7733 | 15.7767 | 21.08 | 10.41 | 890 | 72.4993 | 58.5993
2019-11-12 21:00:00 | 8.4267 | 43.5833 | 9.69 | 47.8867 | 15.1767 | 10.3 | 15.3167 | 20.48 | 10.1167 | 890 | 74.03 | 57.6487
2019-11-12 21:15:00 | 8.54 | 131.6767 | 9.8333 | 144.6933 | 15.3167 | 13.4467 | 14.8133 | 13.3233 | 10.1633 | 890.5333 | 73.48 | 60.1433
2019-11-12 21:30:00 | 9.2267 | 59.3033 | 10.62 | 65.16 | 16.3633 | 8.84 | 16.1133 | 24.47 | 10.3167 | 890.3333 | 71.5533 | 59.5893
2019-11-12 21:45:00 | 8.7967 | 108.3433 | 10.1167 | 119.0567 | 15.5233 | 19.2133 | 15.8667 | 22.4833 | 10.4467 | 891 | 69.6867 | 57.7613
2019-11-12 22:00:00 | 8.17 | 163.07 | 9.3967 | 179.19 | 14.6967 | 15.2467 | 15.0133 | 24.7033 | 10.3533 | 891 | 70.0467 | 57.7827
2019-11-12 22:15:00 | 7.8933 | 97.64 | 9.08 | 107.3 | 14.3967 | 16.56 | 14.54 | 22.04 | 10 | 891 | 71.5033 | 57.8067
2019-11-12 22:30:00 | 7.64 | 140.1933 | 8.7933 | 154.06 | 13.99 | 17.3267 | 14.3287 | 23.18 | 10.042 | 891 | 70.0367 | 56.82
2019-11-12 22:45:00 | 8.3 | 208.9633 | 9.56 | 229.6333 | 15.13 | 11.6967 | 15.3433 | 21.0233 | 10.1733 | 891.5333 | 68.2567 | 58.5593
2019-11-12 23:00:00 | 8.2567 | 163.8313 | 9.4987 | 180.0333 | 14.8813 | 9.584 | 15.178 | 20.768 | 10.362 | 892 | 66.6047 | 58.5293
2019-11-12 23:15:00 | 7.83 | 52.3767 | 9.01 | 57.55 | 14.2167 | 14.55 | 14.3933 | 24.2533 | 10.31 | 892.5333 | 66.2433 | 59.334
2019-11-12 23:30:00 | 8.5187 | 170.01 | 9.81 | 186.8167 | 15.35 | 19.4567 | 15.6467 | 33.6733 | 10.334 | 893 | 65.1567 | 58.74
2019-11-12 23:45:00 | 8.4133 | 66.3433 | 9.6767 | 72.9067 | 15.2 | 20.19 | 15.5967 | 21.5767 | 10.45 | 893 | 63.5533 | 57.632