## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-14 00:00:00 | 0.98857 | 110.9414 | 1.1386 | 121.9071 | 1.3843 | 118.8071 | 0.92429 | 267.1429 | 7.2443 | 898 | 63.586 | 0
2019-11-14 00:15:00 | 0.82 | 175.43 | 0.95333 | 192.7667 | 1.4867 | 181.6333 | 1.9033 | 170.6333 | 7.07 | 898 | 63.782 | 0
2019-11-14 00:30:00 | 1.3867 | 155.2233 | 1.6067 | 170.5667 | 1.88 | 160.4333 | 2.3367 | 170.3 | 6.8433 | 897.8 | 67.08 | 0
2019-11-14 00:45:00 | 2.0567 | 166.6933 | 2.38 | 183.1667 | 2.81 | 179.8333 | 3.0733 | 178.4333 | 6.9767 | 897 | 65.3433 | 0.75267
2019-11-14 01:00:00 | 2.0233 | 169.24 | 2.3333 | 185.9667 | 2.95 | 186.5 | 3.3067 | 191.2333 | 7.1367 | 897 | 63.6633 | 1.6507
2019-11-14 01:15:00 | 1.8 | 165.8367 | 2.0733 | 182.2333 | 3.0333 | 200.9333 | 3.1433 | 203.8333 | 6.8933 | 897 | 67.4333 | 1.9233
2019-11-14 01:30:00 | 1.92 | 180.0367 | 2.22 | 197.8333 | 2.96 | 196.5333 | 3.0967 | 197.5 | 6.84 | 897 | 67.6667 | 1.7773
2019-11-14 01:45:00 | 1.5467 | 182.1333 | 1.78 | 200.1333 | 2.34 | 192.1333 | 2.9033 | 195.0667 | 6.9667 | 897 | 66.5033 | 1.028
2019-11-14 02:00:00 | 1.3467 | 148.34 | 1.5467 | 163 | 2.0933 | 187.0667 | 2.8967 | 185.2 | 6.8067 | 897 | 70.8833 | 1.162
2019-11-14 02:15:00 | 1.5933 | 174.0833 | 1.8433 | 191.3 | 2.1333 | 182.1 | 2.4933 | 186.5 | 7.11 | 897 | 64.2233 | 1.0873
2019-11-14 02:30:00 | 1.4467 | 172.126 | 1.6767 | 189.14 | 2.0267 | 184.88 | 2.7933 | 178.6533 | 7.2167 | 896.8 | 65.0233 | 1.4007
2019-11-14 02:45:00 | 1.54 | 175.6667 | 1.77 | 193.0333 | 2.26 | 185.8667 | 3.1933 | 183.0333 | 6.9233 | 896 | 67.5033 | 1.878
2019-11-14 03:00:00 | 1.8467 | 170.3267 | 2.1233 | 187.1667 | 2.46 | 184.4 | 3.1533 | 185.7 | 7.23 | 896 | 61.1167 | 2.2873
2019-11-14 03:15:00 | 1.86 | 165.07 | 2.1467 | 181.4 | 2.48 | 194.9 | 3.08 | 186.9 | 7.2967 | 896 | 61.9367 | 2.3347
2019-11-14 03:30:00 | 1.7333 | 174.05 | 1.9933 | 191.2667 | 2.5133 | 199.6267 | 2.9533 | 195.6333 | 7.1433 | 896 | 62.9833 | 1.9127
2019-11-14 03:45:00 | 1.6433 | 177.3667 | 1.8933 | 194.9 | 2.2933 | 201.1667 | 2.9833 | 178.7 | 7.0833 | 896 | 63.13 | 2.878
2019-11-14 04:00:00 | 2.0633 | 173.8467 | 2.38 | 191.0333 | 2.66 | 207.3 | 3.19 | 189.5667 | 6.89 | 895.8 | 65.3033 | 3.1267
2019-11-14 04:15:00 | 2.1233 | 169.3593 | 2.44 | 186.1067 | 2.7533 | 194.0667 | 2.9533 | 189.1667 | 6.8533 | 895 | 65.8033 | 3.9507
2019-11-14 04:30:00 | 2.31 | 164.05 | 2.6667 | 180.2667 | 2.8933 | 192.8667 | 3.18 | 196.1667 | 6.7267 | 895 | 66.7967 | 4.4273
2019-11-14 04:45:00 | 2.4733 | 157.52 | 2.8533 | 173.1 | 3.1767 | 204.2 | 3.72 | 187.6333 | 6.4267 | 895 | 69.56 | 5.4193
2019-11-14 05:00:00 | 2.6067 | 158.4267 | 3 | 174.1 | 3.4433 | 210.7333 | 3.8667 | 197.7667 | 6.36 | 895 | 69.8467 | 5.1727
2019-11-14 05:15:00 | 3.0133 | 173.9633 | 3.4733 | 191.1667 | 3.91 | 204.8667 | 4.2867 | 196.8667 | 6.32 | 894.4667 | 70.56 | 5.778
2019-11-14 05:30:00 | 3.2 | 175.6033 | 3.6867 | 192.9667 | 4.0033 | 204.4 | 4.34 | 184.0667 | 6.22 | 894 | 72.7 | 7.3987
2019-11-14 05:45:00 | 3.3033 | 156.7 | 3.8 | 172.2 | 4.1833 | 194.6667 | 4.9033 | 179.1 | 6.0233 | 894 | 75.05 | 8.1913
2019-11-14 06:00:00 | 3.33 | 161.6733 | 3.8267 | 177.6667 | 4.1567 | 183.5333 | 4.9833 | 175.5667 | 5.9433 | 894 | 76.2067 | 7.3613
2019-11-14 06:15:00 | 2.6267 | 165.59 | 3.0233 | 181.9667 | 3.3533 | 191.2333 | 4.76 | 177.8 | 5.9033 | 894 | 76.8433 | 8.1387
2019-11-14 06:30:00 | 3.0467 | 168.2567 | 3.51 | 184.9 | 3.9267 | 189.3667 | 5.4933 | 169.9333 | 6.23 | 894 | 74.67 | 8.0767
2019-11-14 06:45:00 | 3.0507 | 171.344 | 3.506 | 188.2867 | 3.85 | 176.7867 | 5.0087 | 173.6133 | 6.8493 | 894 | 71.4447 | 7.0567
2019-11-14 07:00:00 | 2.456 | 169.244 | 2.828 | 185.98 | 3.462 | 176.54 | 4.714 | 170.26 | 6.604 | 894 | 73.636 | 7.2553
2019-11-14 07:15:00 | 2.8253 | 155.2567 | 3.256 | 170.6067 | 3.7313 | 184.5667 | 4.6987 | 182.7067 | 6.1853 | 894 | 77.814 | 7.196
2019-11-14 07:30:00 | 3.04 | 170.1167 | 3.4933 | 186.9333 | 3.9833 | 182.9333 | 4.8167 | 188.8333 | 6.0067 | 894 | 79.874 | 7.69
2019-11-14 07:45:00 | 3.5333 | 156.34 | 4.07 | 171.8 | 4.82 | 178.5667 | 5.85 | 181.3 | 5.84 | 894 | 82 | 9.522
2019-11-14 08:00:00 | 3.4667 | 182.8467 | 3.99 | 200.9333 | 4.54 | 185.9 | 5.21 | 175.2333 | 5.92 | 894 | 81.7133 | 10.9927
2019-11-14 08:15:00 | 3.52 | 166.6267 | 4.05 | 183.1 | 4.7767 | 182.6667 | 6.0733 | 171.6667 | 5.9967 | 894 | 81.8533 | 9.716
2019-11-14 08:30:00 | 3.1733 | 159.8867 | 3.65 | 175.7 | 4.2633 | 181.3333 | 5.54 | 176.86 | 6.3833 | 894 | 79.2133 | 7.656
2019-11-14 08:45:00 | 2.9 | 193.99 | 3.3467 | 213.1667 | 3.9133 | 191.4333 | 4.97 | 190.6 | 6.6167 | 894 | 78.18 | 7.1147
2019-11-14 09:00:00 | 2.924 | 179.988 | 3.37 | 197.78 | 3.924 | 196.68 | 4.754 | 185.12 | 6.872 | 894 | 76.4947 | 7.1433
2019-11-14 09:15:00 | 2.84 | 164.7767 | 3.27 | 181.0667 | 3.6633 | 197.4733 | 4.49 | 192.5667 | 7.47 | 894 | 73.7233 | 8.24
2019-11-14 09:30:00 | 3.1 | 155.6767 | 3.5633 | 171.0667 | 3.8767 | 189.7667 | 4.91 | 194.8333 | 7.9033 | 894.8667 | 71.93 | 10.0267
2019-11-14 09:45:00 | 3.3467 | 155.71 | 3.8567 | 171.1 | 4.0633 | 182.2667 | 5.1733 | 186.1667 | 8.2 | 895 | 69.8833 | 9.2747
2019-11-14 10:00:00 | 3.3333 | 171.8433 | 3.8433 | 188.8333 | 3.9833 | 188.3333 | 4.9933 | 191.8333 | 8.22 | 895 | 71.4233 | 9.632
2019-11-14 10:15:00 | 3.7167 | 155.1633 | 4.2767 | 170.5 | 4.2833 | 186.1 | 5.44 | 198.9667 | 8.6167 | 895 | 69.6933 | 8.7947
2019-11-14 10:30:00 | 3.6833 | 154.3633 | 4.2367 | 169.6333 | 4.1767 | 178.7 | 4.9933 | 197.9 | 9.21 | 895 | 66.7533 | 7.3093
2019-11-14 10:45:00 | 2.9333 | 171.72 | 3.3833 | 188.7 | 3.44 | 212.1667 | 4.0167 | 200.6 | 9.6467 | 895 | 65.01 | 6.064
2019-11-14 11:00:00 | 2.9 | 172.1533 | 3.3367 | 189.1667 | 3.52 | 216.3 | 3.5167 | 201 | 10.0733 | 895 | 64.83 | 7.402
2019-11-14 11:15:00 | 3.78 | 176.82 | 4.35 | 194.3 | 4.3333 | 186.1667 | 4.62 | 201.8 | 10.6433 | 895 | 63.9133 | 8.366
2019-11-14 11:30:00 | 3.6667 | 163.9533 | 4.2167 | 180.1667 | 4.2667 | 184.9667 | 4.6267 | 194.4667 | 10.5967 | 895 | 65.1467 | 8.494
2019-11-14 11:45:00 | 3.74 | 152.0667 | 4.3 | 167.1 | 4.1067 | 177.8 | 4.2867 | 192.0667 | 10.83 | 895 | 65.26 | 7.872
2019-11-14 12:00:00 | 4.14 | 152.18 | 4.7667 | 167.2333 | 4.68 | 174.5333 | 4.8867 | 190.1333 | 10.9233 | 894.8 | 62.6667 | 8.3073
2019-11-14 12:15:00 | 4.02 | 139.6867 | 4.6333 | 153.5 | 4.6 | 204.8667 | 5 | 180.0667 | 11.2567 | 894 | 61.3967 | 7.9113
2019-11-14 12:30:00 | 3.9467 | 130.4067 | 4.54 | 143.3 | 4.42 | 185.0667 | 4.6533 | 195.4 | 11.4833 | 894 | 61.4433 | 7.4433
2019-11-14 12:45:00 | 3.7133 | 153.4 | 4.2667 | 168.5667 | 4.2467 | 174.2667 | 4.2333 | 179.7 | 11.8767 | 894 | 61.0233 | 6.7027
2019-11-14 13:00:00 | 3.78 | 144.3667 | 4.3533 | 158.6333 | 4.4067 | 173.5333 | 4.0333 | 179.8333 | 12.13 | 893.8 | 60.9833 | 7.426
2019-11-14 13:15:00 | 3.8733 | 132.78 | 4.4533 | 145.9 | 4.5167 | 169.2667 | 5.01 | 194.2667 | 12.7533 | 893 | 59.44 | 7.1573
2019-11-14 13:30:00 | 4.1533 | 129.356 | 4.7733 | 142.14 | 4.83 | 173.4 | 5.1233 | 184.4667 | 12.7133 | 893 | 58.96 | 6.5447
2019-11-14 13:45:00 | 4.0267 | 159.7967 | 4.6367 | 175.6 | 4.7133 | 172.1667 | 4.9133 | 187.3667 | 12.6753 | 892.4667 | 58.8833 | 6.7087
2019-11-14 14:00:00 | 4.3667 | 154.2833 | 5.0367 | 169.5333 | 5.0667 | 194.8333 | 5.2733 | 191.7667 | 12.84 | 892 | 57.9367 | 6.2187
2019-11-14 14:15:00 | 4.24 | 146.3367 | 4.8867 | 160.8 | 4.8833 | 186.3 | 4.7733 | 201.4333 | 13.2033 | 892 | 56.66 | 7.238
2019-11-14 14:30:00 | 4.04 | 145.5433 | 4.6467 | 159.9333 | 4.69 | 162.4333 | 4.4933 | 163.3667 | 13.5633 | 891.1333 | 56.4067 | 8.8867
2019-11-14 14:45:00 | 4.1333 | 159.8933 | 4.7533 | 175.7 | 4.73 | 163 | 4.71 | 178.6333 | 13.52 | 891 | 56.84 | 8.28
2019-11-14 15:00:00 | 3.7667 | 150.3667 | 4.3333 | 165.2333 | 4.4567 | 170.6667 | 4.5367 | 190.6333 | 13.72 | 891 | 56.592 | 8.0793
2019-11-14 15:15:00 | 3.6333 | 129.9833 | 4.1767 | 142.8333 | 4.2067 | 203.1667 | 4.5 | 188.6667 | 13.9233 | 891 | 55.9433 | 7.1193
2019-11-14 15:30:00 | 3.9133 | 140.7167 | 4.5033 | 154.6333 | 4.6267 | 164.2333 | 4.2067 | 210.7333 | 13.71 | 890.1333 | 56.5233 | 6.4747
2019-11-14 15:45:00 | 3.4533 | 165.01 | 3.9667 | 181.3333 | 4.3133 | 229.5 | 4.2033 | 221.5 | 14.0267 | 890 | 55.95 | 7.842
2019-11-14 16:00:00 | 3.6133 | 160.8233 | 4.16 | 176.7333 | 4.4133 | 219.3667 | 4.2167 | 207.5667 | 13.9067 | 890 | 56.0247 | 9.554
2019-11-14 16:15:00 | 3.84 | 127.58 | 4.42 | 140.2 | 4.4267 | 185.9667 | 4.5333 | 178.6667 | 13.7467 | 890 | 56.5167 | 11.3787
2019-11-14 16:30:00 | 3.8 | 151.06 | 4.3733 | 166 | 4.5467 | 184.6333 | 4.9267 | 185.2 | 13.5667 | 890 | 56.5233 | 11.8267
2019-11-14 16:45:00 | 3.56 | 151.2767 | 4.0967 | 166.2333 | 4.2867 | 195.2333 | 4.55 | 186.2 | 13.4533 | 890 | 56.42 | 12.9367
2019-11-14 17:00:00 | 3.8333 | 155.59 | 4.41 | 170.9667 | 4.4133 | 164.3 | 4.6967 | 181 | 13.0667 | 890 | 57.24 | 9.7373
2019-11-14 17:15:00 | 3.5 | 134.3133 | 4.03 | 147.6 | 4.14 | 177.2333 | 4.4067 | 160.6667 | 12.5367 | 890 | 59.09 | 10.0947
2019-11-14 17:30:00 | 3.5333 | 172.84 | 4.0633 | 189.9333 | 4.0333 | 175.1667 | 4.44 | 175.6 | 12.39 | 889.1333 | 59.336 | 8.55
2019-11-14 17:45:00 | 3.07 | 173.0867 | 3.5267 | 190.2 | 3.53 | 180.9667 | 3.8067 | 194.3333 | 12.1367 | 889 | 60.6267 | 8.6993
2019-11-14 18:00:00 | 3.0367 | 167.6267 | 3.4933 | 184.2 | 3.6167 | 180.8333 | 3.9133 | 190.4 | 11.8967 | 889 | 61.9067 | 8.6987
2019-11-14 18:15:00 | 1.81 | 173.3233 | 2.08 | 190.4667 | 2.3333 | 194.0333 | 2.7067 | 182.0333 | 11.6 | 889 | 63.47 | 7.6187
2019-11-14 18:30:00 | 2.6033 | 165.0167 | 2.9933 | 181.3333 | 3.12 | 165.3667 | 3.78 | 182.1 | 11.36 | 888.8 | 64.9167 | 8.2347
2019-11-14 18:45:00 | 3.2567 | 169.42 | 3.7433 | 186.1667 | 4.0467 | 200.5333 | 4.65 | 207.5333 | 11.3107 | 888 | 64.7067 | 6.938
2019-11-14 19:00:00 | 2.5367 | 155.9467 | 2.9167 | 171.3667 | 3.42 | 213.6667 | 3.83 | 200.0667 | 11.2733 | 888 | 63.86 | 4.5687
2019-11-14 19:15:00 | 2.0133 | 174.2633 | 2.3167 | 191.5 | 2.6 | 189.5333 | 2.8367 | 200 | 11.16 | 888 | 64.0793 | 3.148
2019-11-14 19:30:00 | 1.7933 | 174.21 | 2.0633 | 191.4333 | 2.3733 | 206.0667 | 2.7033 | 195.6667 | 11 | 888 | 65.0067 | 3.1133
2019-11-14 19:45:00 | 1.9933 | 174.7 | 2.2967 | 191.9667 | 2.45 | 195.6 | 2.7233 | 191.5 | 10.9673 | 888 | 64.8867 | 2.846
2019-11-14 20:00:00 | 2.444 | 170.79 | 2.816 | 187.68 | 3 | 193.16 | 3.238 | 193.4 | 10.842 | 888 | 65.604 | 3.4427
2019-11-14 20:15:00 | 2.4333 | 149.22 | 2.8 | 163.9667 | 3.09 | 193.5333 | 3.4467 | 205.1 | 10.6667 | 888 | 67.05 | 3.8973
2019-11-14 20:30:00 | 2.5067 | 177.1267 | 2.88 | 194.6333 | 3.3367 | 207.2 | 3.7667 | 201.34 | 10.62 | 888 | 67.0093 | 5.08
2019-11-14 20:45:00 | 2.3467 | 171.2967 | 2.7 | 188.2333 | 2.93 | 214.1 | 3.1467 | 206.8 | 10.5067 | 888.5333 | 67.8067 | 4.8627
2019-11-14 21:00:00 | 2.3 | 144.4833 | 2.6467 | 158.7667 | 2.8967 | 197.3667 | 3.12 | 210.6 | 10.2533 | 889 | 69.5133 | 3.2567
2019-11-14 21:15:00 | 2 | 157.3467 | 2.3 | 172.9 | 2.5933 | 176.3 | 2.8667 | 184.8333 | 9.9 | 889 | 71.6333 | 2.338
2019-11-14 21:30:00 | 2.0133 | 165.3467 | 2.3133 | 181.7 | 2.5933 | 181.1667 | 2.92 | 195.4333 | 9.8933 | 889 | 71.776 | 2.486
2019-11-14 21:45:00 | 2.5307 | 165.986 | 2.9193 | 182.4 | 3.256 | 182.3 | 3.28 | 185.8333 | 9.8373 | 888.4667 | 71.3647 | 2.6547
2019-11-14 22:00:00 | 2.5267 | 167.96 | 2.91 | 184.5667 | 3.1967 | 183.4 | 3.3933 | 195.6333 | 9.93 | 888 | 70.2233 | 2.036
2019-11-14 22:15:00 | 2.0547 | 168.1833 | 2.366 | 184.82 | 2.758 | 176.1667 | 2.9447 | 195.2533 | 9.802 | 888 | 70.4147 | 1.808
2019-11-14 22:30:00 | 2.24 | 169.0833 | 2.5767 | 185.8 | 2.86 | 178.0667 | 2.96 | 197.9 | 9.7467 | 888 | 70.1767 | 2.0993
2019-11-14 22:45:00 | 2.6667 | 168.63 | 3.0733 | 185.3 | 3.39 | 174.9333 | 3.3033 | 195.6 | 9.5567 | 888 | 70.7733 | 1.6427
2019-11-14 23:00:00 | 2.3867 | 164.97 | 2.7467 | 181.28 | 3.0367 | 172.7333 | 3.0767 | 180.6667 | 9.5833 | 888.6667 | 70.188 | 1.1553
2019-11-14 23:15:00 | 2.3333 | 171.6633 | 2.6867 | 188.6333 | 2.8333 | 173.1333 | 2.8267 | 179.6 | 9.62 | 888 | 69.68 | 1.4527
2019-11-14 23:30:00 | 2.0867 | 172.3233 | 2.4 | 189.3667 | 2.7 | 174.94 | 2.7333 | 190.1333 | 9.5 | 888 | 70.184 | 1.1573
2019-11-14 23:45:00 | 1.2933 | 173.4093 | 1.5 | 190.56 | 1.66 | 171.1333 | 1.8967 | 177.1333 | 9.3467 | 888 | 71.13 | 1.3347