## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-15 00:00:00 | 1.1157 | 173.6114 | 1.2971 | 190.7714 | 1.8007 | 169.8143 | 1.7857 | 185.85 | 9.3521 | 888 | 70.875 | 0.81143
2019-11-15 00:15:00 | 0.54667 | 173.54 | 0.63667 | 190.7 | 1.0667 | 166.6 | 0.72333 | 178.2 | 9.45 | 888 | 69.5433 | 0.816
2019-11-15 00:30:00 | 0.54667 | 173.504 | 0.64333 | 190.66 | 1.06 | 166.5333 | 0.91 | 178.2 | 9.4613 | 888 | 68.9767 | 0.898
2019-11-15 00:45:00 | 0.82 | 173.36 | 0.95333 | 190.5 | 1.5967 | 166.5467 | 1.7667 | 173.7133 | 9.4333 | 887.4667 | 69.37 | 0.946
2019-11-15 01:00:00 | 1.1667 | 173.2733 | 1.3467 | 190.4133 | 1.83 | 165.8333 | 1.8933 | 176.7333 | 9.4333 | 887 | 69.15 | 0.264
2019-11-15 01:15:00 | 0.28 | 297.57 | 0.33333 | 327 | 0.26333 | 232 | 0.42667 | 222.4 | 9.25 | 887 | 69.7033 | 0.124
2019-11-15 01:30:00 | 0.67333 | 297.7347 | 0.78667 | 327.1733 | 0.95 | 321.8 | 1.4667 | 307.6 | 9.0633 | 887 | 70.7167 | 0.016667
2019-11-15 01:45:00 | 0.093333 | 298 | 0.11667 | 327.4667 | 0.083333 | 303.3 | 0.80333 | 274.9333 | 9.3133 | 887 | 69.8533 | 0
2019-11-15 02:00:00 | 0.98 | 299.52 | 1.1367 | 329.1333 | 0.95667 | 333.4733 | 1.0967 | 282.8667 | 9.1933 | 887 | 72.16 | 0
2019-11-15 02:15:00 | 0.83333 | 261.47 | 0.96 | 287.3333 | 0.89333 | 290.2 | 1.39 | 269.3667 | 9.28 | 887 | 70.4433 | 0.43133
2019-11-15 02:30:00 | 1.4467 | 181.434 | 1.6733 | 199.38 | 2.0133 | 173.7333 | 2.2767 | 204.4333 | 9.44 | 886.8 | 69.01 | 0.15733
2019-11-15 02:45:00 | 1.3333 | 7.7533 | 1.53 | 8.51 | 1.6633 | 12.09 | 1.11 | 235.3667 | 8.4467 | 886 | 76.4667 | 0
2019-11-15 03:00:00 | 2 | 9.3 | 2.31 | 10.21 | 2.29 | 11.3433 | 0.55667 | 349.9 | 7.5533 | 886 | 81.7333 | 0
2019-11-15 03:15:00 | 1.4347 | 314.8867 | 1.6487 | 346.0333 | 1.3753 | 92.4567 | 0.66133 | 303.9067 | 7.8967 | 886 | 78.7133 | 0
2019-11-15 03:30:00 | 0.73667 | 311.128 | 0.86 | 341.9 | 0.38 | 307.7 | 0.20333 | 273 | 8.1967 | 886 | 76.5533 | 0
2019-11-15 03:45:00 | 1.82 | 308.59 | 2.1 | 339.1 | 2.0433 | 238.5533 | 1.14 | 322.3667 | 8.1333 | 886 | 77.7 | 0
2019-11-15 04:00:00 | 2.1333 | 117.7747 | 2.4533 | 129.4133 | 2.29 | 7.9867 | 1.4733 | 349.5667 | 7.6867 | 885.8 | 80.9 | 0
2019-11-15 04:15:00 | 2.4733 | 309.0767 | 2.8433 | 339.6333 | 2.7467 | 356.1333 | 1.79 | 15.2867 | 7.5067 | 885 | 81.6 | 0
2019-11-15 04:30:00 | 2.3 | 314.1633 | 2.65 | 345.2333 | 2.4467 | 128.0267 | 1.83 | 18.64 | 7.56 | 885 | 81.22 | 0
2019-11-15 04:45:00 | 2.5233 | 215.15 | 2.9067 | 236.4167 | 2.9067 | 13.7933 | 1.98 | 10.2167 | 7.5687 | 885 | 81.4333 | 0
2019-11-15 05:00:00 | 2.4367 | 200.2167 | 2.8 | 220.0167 | 2.7467 | 9.8533 | 1.9733 | 10.3433 | 7.6733 | 885 | 80.8333 | 0
2019-11-15 05:15:00 | 2.6433 | 99.8 | 3.04 | 109.6667 | 3.18 | 8.7867 | 2.1833 | 18.1067 | 7.76 | 885 | 80.3 | 0
2019-11-15 05:30:00 | 2.59 | 312.7733 | 2.98 | 343.7 | 3.1247 | 16.5067 | 1.7433 | 8.2333 | 7.7133 | 885 | 80.32 | 0
2019-11-15 05:45:00 | 2.5333 | 319.66 | 2.9133 | 351.2667 | 2.87 | 6.6467 | 0.88667 | 0.54 | 7.75 | 885 | 80 | 0
2019-11-15 06:00:00 | 2.6 | 322.1767 | 2.9867 | 354.0333 | 2.9767 | 0.52 | 1.08 | 5.4333 | 7.5527 | 885 | 81.1173 | 0
2019-11-15 06:15:00 | 2.6933 | 211.2033 | 3.0933 | 232.0833 | 3.3 | 44.1967 | 2.6167 | 9.89 | 7.08 | 885 | 84.3667 | 0
2019-11-15 06:30:00 | 2.8 | 14.6233 | 3.22 | 16.07 | 3.2467 | 0.15 | 2.7633 | 12.21 | 6.86 | 885 | 85.7667 | 0
2019-11-15 06:45:00 | 2.79 | 319.6567 | 3.21 | 351.2667 | 3.2867 | 4.7667 | 2.8533 | 6.5967 | 6.8233 | 885 | 86 | 0
2019-11-15 07:00:00 | 2.79 | 317.65 | 3.21 | 349.0667 | 3.3733 | 6.4333 | 2.7867 | 9.13 | 6.7167 | 885 | 86.8 | 0
2019-11-15 07:15:00 | 2.39 | 101.23 | 2.7467 | 111.2333 | 2.5967 | 2.09 | 1.77 | 18.03 | 6.9467 | 885 | 85.3333 | 0
2019-11-15 07:30:00 | 2.6033 | 311.71 | 2.9933 | 342.5333 | 2.9167 | 0.15 | 2.4767 | 12.7767 | 6.8333 | 885 | 85.9333 | 0
2019-11-15 07:45:00 | 2.7467 | 310.13 | 3.16 | 340.8 | 3.35 | 354.3667 | 3.0867 | 9.73 | 6.8133 | 885 | 86.1 | 0
2019-11-15 08:00:00 | 2.46 | 319.9567 | 2.8333 | 351.6 | 3.01 | 119.64 | 2.58 | 9.81 | 6.8333 | 885 | 85.9667 | 0
2019-11-15 08:15:00 | 2.5733 | 309.052 | 2.9607 | 339.62 | 3.2967 | 1.0507 | 2.5947 | 4.5093 | 7.0747 | 885.5333 | 85.2333 | 0
2019-11-15 08:30:00 | 2.5333 | 122.75 | 2.9133 | 134.8867 | 3.2733 | 0.16667 | 2.78 | 2.4367 | 6.86 | 886 | 86.7333 | 0
2019-11-15 08:45:00 | 2.3267 | 317.3133 | 2.68 | 348.7 | 2.9233 | 3.13 | 2.5933 | 1.2867 | 6.7567 | 886 | 87.8667 | 0
2019-11-15 09:00:00 | 2.58 | 314.5867 | 2.9733 | 345.7 | 3.13 | 8.3167 | 2.7267 | 3.4133 | 6.8567 | 886 | 88.5333 | 0
2019-11-15 09:15:00 | 2.7 | 322.6 | 3.1133 | 354.5 | 3.7267 | 13.0967 | 3.0867 | 12.2867 | 7.2267 | 886 | 88 | 0
2019-11-15 09:30:00 | 3.18 | 107.2 | 3.66 | 117.8 | 4.12 | 13.81 | 3.7467 | 15.6133 | 7.2933 | 886.2 | 87.8 | 0.014667
2019-11-15 09:45:00 | 3.6767 | 110.6233 | 4.2267 | 121.56 | 4.6367 | 9.29 | 4.48 | 22.91 | 7.8 | 887 | 85.7 | 0.005333
2019-11-15 10:00:00 | 3.75 | 324.87 | 4.3133 | 357 | 4.5967 | 6.81 | 4.3867 | 14.33 | 8.4067 | 887.2 | 82.3667 | 0
2019-11-15 10:15:00 | 3.5667 | 2.7733 | 4.1067 | 3.05 | 4.3033 | 6.5167 | 4.5033 | 16.4733 | 8.9433 | 888 | 80.0233 | 0.056
2019-11-15 10:30:00 | 3.4867 | 0.25333 | 4.0133 | 0.27667 | 4.0767 | 2.8833 | 4.4033 | 22.7267 | 9.35 | 888 | 78.01 | 0.32571
2019-11-15 10:45:00 | 3.5433 | 217.4033 | 4.0833 | 238.8933 | 4.18 | 7.33 | 4.3567 | 19.9067 | 9.6167 | 888 | 76.5467 | 0.70067
2019-11-15 11:00:00 | 3.4233 | 215.0367 | 3.9367 | 236.2933 | 4.54 | 10.5767 | 4.5367 | 19 | 10.1367 | 888 | 75.1467 | 0.524
2019-11-15 11:15:00 | 3.4 | 20.74 | 3.9067 | 22.7867 | 4.4367 | 11.0867 | 4.5067 | 20.5233 | 10.6433 | 888 | 72.6533 | 0.158
2019-11-15 11:30:00 | 3.44 | 21.2533 | 3.9533 | 23.3533 | 4.5233 | 13.22 | 4.7933 | 15.1767 | 11.3167 | 888 | 69.42 | 0.772
2019-11-15 11:45:00 | 3.5933 | 37.03 | 4.1333 | 40.68 | 5.4533 | 15.0933 | 5.49 | 23.2967 | 12.78 | 888 | 65.9 | 1.1727
2019-11-15 12:00:00 | 3.38 | 18.5967 | 3.8867 | 20.4333 | 5.1933 | 18.1067 | 4.95 | 24.7833 | 12.9933 | 888 | 66.2733 | 0.942
2019-11-15 12:15:00 | 2.86 | 32.3267 | 3.29 | 35.5267 | 4.6067 | 22.6667 | 4.3433 | 17.63 | 13.1733 | 888 | 67.1233 | 2.2273
2019-11-15 12:30:00 | 2.9333 | 59.3267 | 3.3833 | 65.1867 | 4.7733 | 19.4267 | 4.5967 | 15.9567 | 13.2933 | 888 | 67.1433 | 2.6627
2019-11-15 12:45:00 | 2.7667 | 56.1233 | 3.1867 | 61.67 | 4.4567 | 17.53 | 4.4753 | 18.97 | 13.6267 | 888 | 66.5367 | 1.528
2019-11-15 13:00:00 | 2.2 | 39.2767 | 2.5333 | 43.1633 | 3.6433 | 20.71 | 4 | 22.7967 | 13.88 | 888 | 65.8367 | 0.75067
2019-11-15 13:15:00 | 2.4333 | 135.23 | 2.8 | 148.5933 | 3.8933 | 15.3633 | 3.9667 | 18.57 | 14.4867 | 888 | 63.6767 | 0.26667
2019-11-15 13:30:00 | 2.58 | 320.4833 | 2.9667 | 352.1667 | 4.38 | 13.5767 | 4.4067 | 16.6567 | 14.6533 | 887.1333 | 63.43 | 0
2019-11-15 13:45:00 | 2.2667 | 113.1267 | 2.6033 | 124.3133 | 3.69 | 12.5167 | 3.8633 | 23.8567 | 15.1133 | 887 | 61.67 | 0
2019-11-15 14:00:00 | 2 | 107.14 | 2.2967 | 117.7333 | 3.1633 | 9.1767 | 3.1833 | 23.0167 | 15.0867 | 887 | 60.7367 | 0
2019-11-15 14:15:00 | 2.3667 | 4.55 | 2.72 | 4.9967 | 3.22 | 15.0667 | 3.02 | 23.65 | 15.0133 | 887 | 59.2967 | 0
2019-11-15 14:30:00 | 2.4933 | 22.17 | 2.8733 | 24.3633 | 3.06 | 239.0667 | 2.86 | 10.85 | 14.64 | 887 | 58.93 | 0
2019-11-15 14:45:00 | 2.4867 | 22.31 | 2.8633 | 24.5133 | 3 | 13.4067 | 2.9867 | 15.9567 | 14.7867 | 887 | 57.42 | 0
2019-11-15 15:00:00 | 1.98 | 213.93 | 2.2833 | 235.0733 | 2.5 | 11.72 | 2.5467 | 16.8167 | 15.2133 | 886.1333 | 56.5733 | 0
2019-11-15 15:15:00 | 1.7333 | 26.3667 | 2.0067 | 28.97 | 2.04 | 5.8333 | 2.2267 | 16.5833 | 15.6373 | 886 | 53.76 | 0
2019-11-15 15:30:00 | 1.1067 | 8.0267 | 1.28 | 8.8167 | 1.28 | 25.08 | 1.28 | 55.03 | 16.4333 | 886 | 48.8267 | 0
2019-11-15 15:45:00 | 0.89333 | 263.9133 | 1.0267 | 290 | 1.1033 | 58.88 | 1.35 | 137.8667 | 17.29 | 886 | 49.58 | 0
2019-11-15 16:00:00 | 1.7 | 165.2 | 1.9667 | 181.5333 | 1.75 | 156.2333 | 1.6167 | 168.0667 | 16.406 | 886 | 60.98 | 0
2019-11-15 16:15:00 | 2.2733 | 154.89 | 2.62 | 170.2 | 2.4467 | 187.6 | 2.0233 | 203.8667 | 15.2867 | 886 | 66.7367 | 0
2019-11-15 16:30:00 | 2.2867 | 167.0767 | 2.6333 | 183.6 | 2.3933 | 188.4667 | 2.09 | 210.7333 | 14.9067 | 886 | 66.5367 | 0
2019-11-15 16:45:00 | 2.4733 | 164.3567 | 2.8433 | 180.6 | 2.5133 | 185.9067 | 2.2233 | 204.1 | 14.49 | 886 | 65.3633 | 0
2019-11-15 17:00:00 | 2.9667 | 159.2033 | 3.41 | 174.9333 | 3.2067 | 189.0667 | 3.0833 | 204.8333 | 13.9433 | 886 | 66.07 | 0.076
2019-11-15 17:15:00 | 3.1067 | 161.6567 | 3.58 | 177.6333 | 3.7567 | 192.6 | 3.6633 | 204.4667 | 13.29 | 886 | 68.1133 | 0.90267
2019-11-15 17:30:00 | 3.1067 | 168.4433 | 3.5733 | 185.1 | 3.93 | 205.1267 | 3.85 | 212.7333 | 13.0633 | 885.1333 | 68.6 | 1.6947
2019-11-15 17:45:00 | 3.4 | 164.89 | 3.92 | 181.2 | 4.32 | 207.0333 | 4.3567 | 204.3333 | 12.69 | 885 | 69.11 | 2.1413
2019-11-15 18:00:00 | 3.38 | 170.6393 | 3.8933 | 187.5067 | 4.2 | 197.5667 | 4.0833 | 201.4667 | 12.4967 | 885 | 69.4233 | 2.4793
2019-11-15 18:15:00 | 3.43 | 148.8867 | 3.95 | 163.6 | 4.1747 | 188.7 | 4.36 | 191.8667 | 12.28 | 884.4667 | 72.44 | 2.58
2019-11-15 18:30:00 | 3.4033 | 168.2333 | 3.9167 | 184.8667 | 4.15 | 188.32 | 4.4467 | 188.4667 | 12.222 | 884 | 72.9067 | 3.82
2019-11-15 18:45:00 | 3.28 | 168.1767 | 3.78 | 184.8 | 3.9333 | 186 | 4.4333 | 191.7 | 12.32 | 884 | 70.6767 | 4.014
2019-11-15 19:00:00 | 3.1467 | 160.5233 | 3.62 | 176.4 | 3.7533 | 187 | 4.2067 | 189.7667 | 12.4133 | 884.2 | 68.9967 | 4.692
2019-11-15 19:15:00 | 3.3033 | 159.4367 | 3.8033 | 175.2 | 3.9267 | 177.6 | 4.4833 | 179.3 | 12.34 | 885 | 68.75 | 4.3327
2019-11-15 19:30:00 | 3.1167 | 156.35 | 3.5833 | 171.8 | 3.7533 | 177.2667 | 4.29 | 187.5667 | 12.28 | 885 | 68.6567 | 2.8253
2019-11-15 19:45:00 | 2.95 | 150.2233 | 3.39 | 165.0667 | 3.6533 | 180.4 | 4.2233 | 172.6 | 12.1 | 885 | 69.2167 | 1.948
2019-11-15 20:00:00 | 2.9367 | 166.7167 | 3.3767 | 183.2 | 3.6267 | 179.5333 | 4.13 | 174.4667 | 12.204 | 885 | 68.1633 | 0.54933
2019-11-15 20:15:00 | 2.4467 | 162.7433 | 2.82 | 178.8333 | 3.0233 | 181.2333 | 3.54 | 179.9333 | 12.3367 | 885 | 66.84 | 0.17333
2019-11-15 20:30:00 | 2.4 | 166.45 | 2.7667 | 182.9 | 3.13 | 180.7 | 3.54 | 177.6 | 12.1967 | 885.6667 | 67.2267 | 0.43933
2019-11-15 20:45:00 | 2.54 | 161.71 | 2.93 | 177.7 | 3.21 | 168.3333 | 3.7433 | 168.2333 | 12.05 | 885 | 67.6733 | 1.526
2019-11-15 21:00:00 | 2.78 | 171.4167 | 3.1967 | 188.3667 | 3.49 | 181 | 4.01 | 176.9667 | 12.0787 | 885.2 | 67.3 | 1.936
2019-11-15 21:15:00 | 3.2 | 161.11 | 3.6767 | 177.0333 | 3.93 | 199.1667 | 4.2967 | 188.5667 | 11.95 | 886 | 68.8967 | 3.186
2019-11-15 21:30:00 | 3.04 | 166.2633 | 3.5033 | 182.7 | 3.6367 | 180.2333 | 4.05 | 183.9 | 11.892 | 886 | 70.6233 | 3.8087
2019-11-15 21:45:00 | 2.9467 | 156.04 | 3.39 | 171.4667 | 3.4833 | 186.6667 | 4.09 | 184.0667 | 11.7067 | 886 | 72.3567 | 3.0907
2019-11-15 22:00:00 | 3.0333 | 170.9067 | 3.4967 | 187.8 | 3.6167 | 176.0667 | 4.2233 | 193.6667 | 11.6333 | 886 | 73.7033 | 3.4647
2019-11-15 22:15:00 | 3.0733 | 160.0433 | 3.5433 | 175.8667 | 3.7033 | 191.1667 | 4.3767 | 186.3 | 11.5 | 886 | 75.69 | 4.2807
2019-11-15 22:30:00 | 3.0867 | 162.8967 | 3.55 | 179 | 3.55 | 184.6333 | 3.91 | 193.8333 | 11.4687 | 886 | 76.2167 | 6.356
2019-11-15 22:45:00 | 3.2267 | 161.9333 | 3.7067 | 177.9333 | 3.8033 | 197.2667 | 4.4533 | 199.2667 | 11.3933 | 886 | 76.98 | 7.7807
2019-11-15 23:00:00 | 3.4533 | 165.9267 | 3.9733 | 182.3333 | 4.1967 | 190.82 | 4.64 | 195.3333 | 11.44 | 886 | 76.78 | 6.5367
2019-11-15 23:15:00 | 2.8433 | 162.1933 | 3.27 | 178.2333 | 3.3 | 198.7333 | 3.7433 | 196.5667 | 11.4 | 886 | 76.964 | 3.7367
2019-11-15 23:30:00 | 2.4433 | 170.4533 | 2.81 | 187.3 | 2.92 | 199 | 3.47 | 189.5 | 11.3713 | 886 | 77.4767 | 3.55
2019-11-15 23:45:00 | 2.5867 | 172.6633 | 2.9733 | 189.7333 | 3.0333 | 197.5333 | 3.1867 | 195.5 | 11.4233 | 886 | 77.666 | 3.0813