## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-16 00:00:00 | 2.46 | 174.3336 | 2.8279 | 191.5643 | 2.965 | 190.5357 | 3.2671 | 208.8071 | 11.4307 | 886 | 77.922 | 0.72
2019-11-16 00:15:00 | 2.3233 | 163.1067 | 2.6733 | 179.2333 | 2.81 | 183.7667 | 3.1967 | 187.2333 | 11.33 | 886 | 78.8133 | 0.24867
2019-11-16 00:30:00 | 2.6833 | 162.8667 | 3.0867 | 178.9667 | 3.3367 | 178.3667 | 3.5767 | 180.5 | 11.2433 | 886 | 79.32 | 0.048
2019-11-16 00:45:00 | 1.88 | 144.1833 | 2.17 | 158.4333 | 2.4 | 163.4333 | 2.9833 | 181.0333 | 11.18 | 886 | 79.39 | 0.062857
2019-11-16 01:00:00 | 2.1067 | 178.4567 | 2.4233 | 196.1 | 2.72 | 174.9667 | 3.0433 | 180.8333 | 11.218 | 885.1333 | 79.006 | 0.060667
2019-11-16 01:15:00 | 2.0733 | 174.28 | 2.3887 | 191.52 | 2.676 | 195.9267 | 2.6727 | 181.1333 | 11.186 | 885 | 78.95 | 0.008
2019-11-16 01:30:00 | 2.4667 | 170.0467 | 2.84 | 186.8667 | 3.1067 | 191.16 | 3.1733 | 188.3 | 11.21 | 885 | 78.728 | 0
2019-11-16 01:45:00 | 2.5367 | 162.2867 | 2.9167 | 178.3333 | 3.0633 | 180.8333 | 3.1567 | 179.9 | 11.2667 | 885 | 78.4867 | 0
2019-11-16 02:00:00 | 2.0567 | 168.7733 | 2.37 | 185.4667 | 2.65 | 177.3 | 3.0233 | 173.34 | 11.1933 | 885 | 78.9467 | 0
2019-11-16 02:15:00 | 1.8133 | 175 | 2.09 | 192.3 | 2.5267 | 190.5 | 2.85 | 175.9667 | 11.14 | 885 | 79.2427 | 0
2019-11-16 02:30:00 | 1.7733 | 147.3267 | 2.0433 | 161.9 | 2.42 | 204.0333 | 2.6633 | 181.5 | 11.14 | 885 | 79.506 | 0
2019-11-16 02:45:00 | 0.2 | 190.8967 | 0.23 | 209.7667 | 0.21 | 151.4333 | 0.75333 | 183.1 | 11.118 | 885 | 79.73 | 0
2019-11-16 03:00:00 | 0.073333 | 262.73 | 0.083333 | 288.7 | 0.016667 | 86.5 | 0.54667 | 190.7 | 11.1 | 885 | 79.56 | 0
2019-11-16 03:15:00 | 0.14533 | 264.594 | 0.17267 | 290.7533 | 0.073333 | 86.5 | 0.007333 | 190.7 | 11.1047 | 885 | 79.408 | 0
2019-11-16 03:30:00 | 0.12 | 269.72 | 0.14667 | 296.4 | 0 | 86.3667 | 0.19333 | 189.4333 | 11.078 | 885 | 79.3527 | 0
2019-11-16 03:45:00 | 0.013333 | 269.72 | 0.013333 | 296.4 | 0.013333 | 86.3 | 0.78 | 167.2333 | 11.21 | 885 | 78.81 | 0
2019-11-16 04:00:00 | 0.08 | 269.72 | 0.093333 | 296.4 | 0.16 | 86.3 | 0.94667 | 124.1 | 11.2147 | 884.8 | 78.9587 | 0
2019-11-16 04:15:00 | 0.1 | 248.82 | 0.12667 | 273.4333 | 0.18333 | 86.3 | 0.77 | 135.7 | 11.14 | 884 | 79.28 | 0
2019-11-16 04:30:00 | 0.94 | 186.82 | 1.0933 | 205.3 | 1.1967 | 145.3 | 1.9567 | 158.5 | 11.1553 | 884 | 79.4693 | 0
2019-11-16 04:45:00 | 0.24667 | 196.47 | 0.28667 | 215.9 | 0.31 | 176.1 | 1.6067 | 157.6 | 11.03 | 884 | 80.1867 | 0
2019-11-16 05:00:00 | 0.43333 | 133.1967 | 0.50667 | 146.3667 | 0.40333 | 151.8333 | 1.86 | 135.0667 | 10.8767 | 884 | 81.0333 | 2.666
2019-11-16 05:15:00 | 1.6867 | 132.2867 | 1.9467 | 145.3667 | 2.3167 | 150.42 | 3.48 | 144.1667 | 10.6167 | 883.4667 | 82.6333 | 1.5553
2019-11-16 05:30:00 | 1.9533 | 230.0267 | 2.2533 | 252.7667 | 2.6967 | 242.4 | 2.5867 | 245.1 | 10.466 | 883 | 83.1 | 0.372
2019-11-16 05:45:00 | 1.9467 | 180.92 | 2.2467 | 198.8 | 2.7433 | 225.1 | 2.3667 | 216.8 | 10.7567 | 883 | 80.8167 | 0.81867
2019-11-16 06:00:00 | 1.2333 | 170.42 | 1.42 | 187.2667 | 1.95 | 199.6333 | 2.4467 | 227.9333 | 10.79 | 883 | 81.2833 | 1.2553
2019-11-16 06:15:00 | 1.6133 | 169.9 | 1.8633 | 186.7 | 2.79 | 235.0333 | 3.3467 | 225.0333 | 10.6233 | 883 | 82.4 | 2.144
2019-11-16 06:30:00 | 2.3867 | 156.74 | 2.7433 | 172.2333 | 3.71 | 235.3 | 3.7133 | 216.0333 | 10.3967 | 883 | 84.7333 | 3.172
2019-11-16 06:45:00 | 3.1133 | 158.07 | 3.59 | 173.7 | 4.0867 | 210.5333 | 3.9633 | 218.5 | 10.4633 | 883 | 84.5333 | 3.3547
2019-11-16 07:00:00 | 2.84 | 159.23 | 3.27 | 174.9667 | 3.5133 | 184.0667 | 3.6967 | 198.4333 | 10.5633 | 883 | 84.1333 | 4.1507
2019-11-16 07:15:00 | 2.8333 | 153.5833 | 3.26 | 168.7667 | 3.6467 | 176.3 | 3.8167 | 192.7667 | 10.1033 | 883 | 87.8 | 4.1907
2019-11-16 07:30:00 | 2.58 | 158.25 | 2.98 | 173.9 | 3.0733 | 171.0333 | 3.2433 | 179.4333 | 10.0167 | 883 | 88.3333 | 4.496
2019-11-16 07:45:00 | 2.9133 | 163.1 | 3.3533 | 179.2333 | 3.51 | 177.0667 | 3.7367 | 174.3333 | 9.99 | 883 | 88.4533 | 5.8793
2019-11-16 08:00:00 | 3.4733 | 171.6533 | 3.9933 | 188.6333 | 4.1833 | 187.4 | 4.59 | 181.8 | 10.03 | 883 | 88.12 | 6.1653
2019-11-16 08:15:00 | 2.87 | 148.67 | 3.3033 | 163.3667 | 3.4167 | 183.9 | 4.04 | 187.4333 | 10.03 | 883.5333 | 88.5333 | 6.412
2019-11-16 08:30:00 | 2.8833 | 165.5367 | 3.3167 | 181.9 | 3.4033 | 186.9 | 3.7867 | 192.0333 | 9.81 | 884 | 90.6 | 7.5673
2019-11-16 08:45:00 | 3.26 | 151.3933 | 3.75 | 166.3667 | 3.8667 | 181.6667 | 4.0467 | 195.2667 | 9.7447 | 884 | 91.32 | 7.5393
2019-11-16 09:00:00 | 3.0733 | 161.2933 | 3.5367 | 177.2333 | 3.5867 | 182.1333 | 4.0267 | 195.4667 | 9.7333 | 884 | 91.4333 | 6.3427
2019-11-16 09:15:00 | 2.7133 | 135.2633 | 3.12 | 148.6333 | 3.2333 | 164.6667 | 3.6133 | 185.2 | 9.8533 | 884 | 90.6 | 6.6807
2019-11-16 09:30:00 | 2.5933 | 150.13 | 2.9867 | 164.9667 | 2.98 | 177.4 | 3.4333 | 181.4 | 9.9467 | 884 | 89.9333 | 6.406
2019-11-16 09:45:00 | 3.0433 | 169.6733 | 3.496 | 186.4467 | 3.5347 | 165.8 | 3.8853 | 191.0933 | 9.996 | 884 | 89.5667 | 6.6513
2019-11-16 10:00:00 | 3.2933 | 169.39 | 3.7933 | 186.1333 | 3.8633 | 180.9667 | 4.0833 | 182.0333 | 10.08 | 884 | 89.0667 | 6.118
2019-11-16 10:15:00 | 2.9867 | 136.9267 | 3.4333 | 150.4667 | 3.4267 | 186.4667 | 3.8767 | 188.7 | 10.0867 | 884 | 88.9 | 6.5213
2019-11-16 10:30:00 | 2.76 | 156.52 | 3.1733 | 172 | 3.1733 | 191.2 | 3.5167 | 196.2333 | 10.122 | 884 | 88.7 | 7.1193
2019-11-16 10:45:00 | 3.0833 | 151.6467 | 3.55 | 166.6333 | 3.3867 | 196.2667 | 3.7667 | 199.3333 | 10.1193 | 884 | 89.1333 | 6.9573
2019-11-16 11:00:00 | 2.7967 | 142.6 | 3.2167 | 156.7 | 3.1533 | 200 | 3.7133 | 206.6 | 10.1367 | 884 | 89.42 | 6.0153
2019-11-16 11:15:00 | 2.4167 | 173.3267 | 2.7767 | 190.4667 | 2.8367 | 213.0667 | 3.4267 | 223.8333 | 10.2467 | 884 | 89.2133 | 5.5347
2019-11-16 11:30:00 | 2.3767 | 163.68 | 2.73 | 179.8667 | 2.8433 | 202.3333 | 3.58 | 233.46 | 10.4333 | 884 | 88.3667 | 7.59
2019-11-16 11:45:00 | 2.5933 | 152.6433 | 2.9833 | 167.7333 | 3.3667 | 211.5667 | 4.0733 | 226.2 | 10.7567 | 884 | 86.4 | 7.1787
2019-11-16 12:00:00 | 2.8733 | 160.3433 | 3.3033 | 176.2 | 3.86 | 220.1 | 4.2667 | 228.2 | 10.81 | 883.8 | 85.6667 | 8.194
2019-11-16 12:15:00 | 3.1167 | 186.8533 | 3.5867 | 205.3333 | 4.08 | 234.3667 | 4.6733 | 232.3 | 10.8447 | 883 | 85.5 | 7.5927
2019-11-16 12:30:00 | 2.6967 | 168.9533 | 3.1 | 185.6667 | 3.64 | 234.7667 | 4.3267 | 230.7 | 10.9667 | 883 | 85.1667 | 5.3633
2019-11-16 12:45:00 | 2.6533 | 192.2667 | 3.0567 | 211.2667 | 3.4267 | 225.5333 | 3.9667 | 237.7 | 10.98 | 883 | 85.2333 | 4.824
2019-11-16 13:00:00 | 2.42 | 158.5933 | 2.79 | 174.2667 | 2.92 | 214.2 | 3.2467 | 225.4333 | 11.0267 | 882.8 | 85.12 | 3.2927
2019-11-16 13:15:00 | 2.4933 | 162.9033 | 2.87 | 179 | 2.85 | 199.4333 | 2.7933 | 216.3667 | 11.0293 | 882 | 86.7667 | 3.6047
2019-11-16 13:30:00 | 2.4667 | 144.2167 | 2.8367 | 158.4667 | 2.8033 | 205.1667 | 3.0267 | 217.5 | 11.0333 | 882 | 87.1 | 3.3567
2019-11-16 13:45:00 | 2.6067 | 172.3267 | 3 | 189.3667 | 2.8933 | 188.8333 | 3.1667 | 208.7333 | 11.1733 | 882 | 87.1 | 3.5027
2019-11-16 14:00:00 | 2.6733 | 189.4267 | 3.08 | 208.1667 | 3.04 | 181.8333 | 3.4867 | 203.6 | 11.258 | 882 | 86.8333 | 3.092
2019-11-16 14:15:00 | 2.2787 | 157.85 | 2.6207 | 173.4667 | 2.5693 | 182.7467 | 2.9413 | 185.18 | 11.2507 | 881.4667 | 86.6467 | 2.334
2019-11-16 14:30:00 | 2.46 | 159.7433 | 2.83 | 175.5333 | 2.6467 | 186.7333 | 2.7667 | 206.7667 | 11.238 | 881 | 86.7 | 1.694
2019-11-16 14:45:00 | 2.4233 | 149.5733 | 2.7867 | 164.3667 | 2.7467 | 203.3 | 3.0367 | 193.9667 | 11.2247 | 881 | 86.8467 | 1.3573
2019-11-16 15:00:00 | 2.8167 | 157.0333 | 3.24 | 172.5667 | 3.2933 | 184.9 | 3.6633 | 176.5667 | 11.1847 | 881 | 86.8667 | 0.84867
2019-11-16 15:15:00 | 2.66 | 165.4487 | 3.0633 | 181.8133 | 3.0767 | 174.6667 | 3.2667 | 180.2667 | 11.1813 | 881 | 86.8 | 0.278
2019-11-16 15:30:00 | 2.3667 | 165.0533 | 2.7233 | 181.3667 | 2.85 | 177.6667 | 3.0267 | 176.8 | 11.1833 | 881 | 86.7133 | 0
2019-11-16 15:45:00 | 2.3267 | 183.7033 | 2.6833 | 201.8667 | 2.6867 | 188.6333 | 3.1 | 186.9067 | 11.14 | 881 | 86.4667 | 0
2019-11-16 16:00:00 | 2.1133 | 140.81 | 2.4367 | 154.7333 | 2.4467 | 194.3667 | 2.8933 | 201.2667 | 11.156 | 881 | 86.3333 | 0
2019-11-16 16:15:00 | 1.8867 | 153.43 | 2.1767 | 168.6 | 2.25 | 177.9333 | 2.9133 | 186.6 | 11.15 | 881 | 85.8 | 0
2019-11-16 16:30:00 | 1.34 | 155.034 | 1.554 | 170.36 | 1.766 | 179.78 | 2.244 | 173.14 | 11.194 | 881 | 84.74 | 0
2019-11-16 16:45:00 | 1.8267 | 171.8433 | 2.11 | 188.8333 | 2.3033 | 174.8 | 2.9533 | 179.3667 | 11.21 | 881 | 83.6667 | 0
2019-11-16 17:00:00 | 0.93333 | 173.7167 | 1.0767 | 190.9 | 1.37 | 165.0667 | 2.0467 | 165.7 | 11.2313 | 881 | 82.7333 | 0
2019-11-16 17:15:00 | 0.45333 | 302.0033 | 0.53 | 331.8667 | 0.58667 | 149.6 | 0.51333 | 206 | 11.2447 | 881 | 83.3 | 0
2019-11-16 17:30:00 | 1.42 | 107.5767 | 1.6367 | 118.2067 | 1.9933 | 278.2867 | 1.4667 | 341.6667 | 11.196 | 881.8667 | 84.08 | 0
2019-11-16 17:45:00 | 2.4133 | 109.98 | 2.7733 | 120.8533 | 4.3167 | 231.45 | 4.3 | 352.86 | 11.0367 | 882 | 85.4667 | 4.256
2019-11-16 18:00:00 | 2.96 | 115.9533 | 3.4067 | 127.4133 | 5.3633 | 237.9833 | 5.3267 | 119.0933 | 10.99 | 882.2 | 85.1333 | 9.1207
2019-11-16 18:15:00 | 3.2333 | 283.19 | 3.7167 | 311.2 | 5.9233 | 23.71 | 5.7633 | 14.85 | 10.9413 | 883 | 85.8667 | 15.588
2019-11-16 18:30:00 | 4.1 | 117.4833 | 4.7167 | 129.1 | 7.7033 | 25.09 | 7.5633 | 10.33 | 10.7833 | 883 | 87.2 | 24.878
2019-11-16 18:45:00 | 4.42 | 274.5233 | 5.0833 | 301.6667 | 8.1067 | 11.7967 | 7.94 | 17.02 | 10.81 | 883 | 85.9 | 31.3787
2019-11-16 19:00:00 | 4.6333 | 213.25 | 5.33 | 234.3333 | 8.7867 | 25.8833 | 9.0733 | 29.6267 | 10.788 | 883 | 85.5667 | 33.2207
2019-11-16 19:15:00 | 4.4433 | 110.95 | 5.11 | 121.92 | 8.32 | 17.8367 | 8.55 | 24.4033 | 10.88 | 883 | 84.0333 | 29.974
2019-11-16 19:30:00 | 4.5633 | 126.9833 | 5.2433 | 139.54 | 7.8533 | 10.4633 | 7.79 | 10.9833 | 10.9667 | 883 | 82.7 | 33.0347
2019-11-16 19:45:00 | 4.8367 | 9.1567 | 5.5733 | 10.0567 | 8.39 | 15.5433 | 8.4633 | 13.9633 | 11.0933 | 883.5333 | 82.2667 | 31.3767
2019-11-16 20:00:00 | 4.5633 | 156.17 | 5.2467 | 171.61 | 8.41 | 12.7233 | 8.6033 | 28.6633 | 11.0067 | 884 | 83.6 | 36.1073
2019-11-16 20:15:00 | 5.58 | 216.8 | 6.4133 | 238.2333 | 10.0533 | 12.8733 | 10.35 | 26.89 | 10.7533 | 884 | 86.0333 | 43.2807
2019-11-16 20:30:00 | 5.1467 | 195.08 | 5.92 | 214.3667 | 9.2467 | 17.64 | 9.3213 | 18.0033 | 10.656 | 884 | 86.7667 | 29.3253
2019-11-16 20:45:00 | 4.07 | 243.52 | 4.69 | 267.6 | 7.3333 | 10.1767 | 6.66 | 16.5633 | 10.4 | 884 | 87.5667 | 30.9887
2019-11-16 21:00:00 | 5.15 | 83.0533 | 5.93 | 91.2667 | 9.2333 | 7.13 | 8.8933 | 24.4367 | 10.2133 | 884 | 88.5 | 31.3127
2019-11-16 21:15:00 | 4.5067 | 179.0067 | 5.1833 | 196.7 | 8.2567 | 4.7933 | 8.6367 | 22.07 | 10.0433 | 884 | 89.3667 | 27.476
2019-11-16 21:30:00 | 4.2 | 177.9733 | 4.8433 | 195.5667 | 7.6633 | 12.36 | 7.65 | 30.5767 | 9.81 | 884 | 90.7 | 23.8793
2019-11-16 21:45:00 | 3.0167 | 189.9233 | 3.47 | 208.7 | 5.87 | 20.56 | 5.8267 | 30.5733 | 9.5867 | 884 | 91.8667 | 21.566
2019-11-16 22:00:00 | 2.8433 | 93.07 | 3.27 | 102.2667 | 5.4967 | 27.4533 | 5.1667 | 38.74 | 9.5 | 884 | 92.3333 | 14.492
2019-11-16 22:15:00 | 2.7867 | 235.3867 | 3.2133 | 258.6667 | 4.9133 | 341.7333 | 4.7767 | 149.1733 | 9.7233 | 884 | 91.6667 | 9.41
2019-11-16 22:30:00 | 2.84 | 263.7267 | 3.2667 | 289.8 | 4.8467 | 124.1 | 4.9167 | 138.9467 | 9.93 | 884 | 89.7333 | 12.69
2019-11-16 22:45:00 | 2.5933 | 130.14 | 2.98 | 143 | 4.7267 | 9.5967 | 4.7067 | 19.6633 | 9.81 | 884 | 89.8 | 12.426
2019-11-16 23:00:00 | 2.8533 | 110.58 | 3.28 | 121.5067 | 5.02 | 15.4633 | 5.0867 | 6.11 | 9.7433 | 884.2 | 90.2667 | 25.754
2019-11-16 23:15:00 | 3.44 | 13.8433 | 3.9667 | 15.2 | 6.1433 | 15.33 | 6.66 | 10.1367 | 9.38 | 884.4667 | 92.4667 | 37.1567
2019-11-16 23:30:00 | 3.924 | 169.988 | 4.522 | 186.788 | 6.904 | 15.086 | 7.186 | 14.576 | 9.41 | 884 | 92.7 | 44.0093
2019-11-16 23:45:00 | 3.6733 | 289.75 | 4.2267 | 318.4 | 6.0333 | 20.5133 | 6.4333 | 29.27 | 9.4733 | 884 | 92.6667 | 46.1753