## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-17 00:00:00 | 5.22 | 305.6271 | 6.0114 | 335.8429 | 8.995 | 12.9186 | 9.32 | 19.6436 | 9.5686 | 884 | 92.1385 | 50.215
2019-11-17 00:15:00 | 6.04 | 6.0267 | 6.9467 | 6.6133 | 10.57 | 8.74 | 10.4367 | 14.59 | 9.6067 | 884 | 91.4667 | 53.4567
2019-11-17 00:30:00 | 6.4067 | 152.7667 | 7.3667 | 167.8667 | 11.45 | 5.8067 | 11.3433 | 13.6033 | 9.718 | 884 | 90.6667 | 54.5927
2019-11-17 00:45:00 | 6.4167 | 222.9533 | 7.3787 | 245 | 11.88 | 11.2733 | 12.1233 | 22.6267 | 9.742 | 884 | 90.2667 | 54.7053
2019-11-17 01:00:00 | 6.5033 | 235.2733 | 7.4833 | 258.5333 | 11.8 | 6.6733 | 12.3167 | 17.8333 | 9.8267 | 884 | 89.98 | 54.0287
2019-11-17 01:15:00 | 6.7033 | 150.6433 | 7.7067 | 165.5333 | 11.68 | 3.19 | 12.3 | 11.45 | 10.11 | 884 | 88.6333 | 52.4413
2019-11-17 01:30:00 | 6.6033 | 164.5967 | 7.5933 | 180.8667 | 11.66 | 8.01 | 12.1333 | 22.5367 | 10.2767 | 884 | 87.7 | 50.4973
2019-11-17 01:45:00 | 6.04 | 194.1367 | 6.95 | 213.3333 | 11.1733 | 13.5 | 11.86 | 15.7167 | 10.4633 | 884 | 86.9 | 48.75
2019-11-17 02:00:00 | 6.3267 | 94.8967 | 7.2833 | 104.2733 | 11.0933 | 11.6867 | 11.3067 | 14.3167 | 10.59 | 884 | 86.3667 | 45.6553
2019-11-17 02:15:00 | 5.76 | 23.9333 | 6.63 | 26.2967 | 9.46 | 237.7533 | 9.4933 | 14.6533 | 10.7333 | 884 | 85.3333 | 43.638
2019-11-17 02:30:00 | 5.6 | 210.18 | 6.45 | 230.9633 | 9.06 | 16.6133 | 9.0933 | 10.7467 | 10.7333 | 884 | 85.2 | 37.226
2019-11-17 02:45:00 | 4.73 | 311.0067 | 5.4367 | 341.7667 | 7.7767 | 123.68 | 7.38 | 123.4733 | 10.57 | 884 | 86.1 | 31.13
2019-11-17 03:00:00 | 4.5567 | 150.0067 | 5.25 | 164.84 | 7.8367 | 350.9333 | 7.7333 | 117.9933 | 10.6233 | 884.2 | 85.7 | 31.8053
2019-11-17 03:15:00 | 4.12 | 222.3533 | 4.7433 | 244.33 | 7.2333 | 119.3533 | 7.3067 | 10.5033 | 10.75 | 885 | 84.9667 | 44.4473
2019-11-17 03:30:00 | 5.168 | 193.956 | 5.956 | 213.136 | 9.212 | 150.17 | 9.528 | 23.788 | 10.4913 | 883.9333 | 86.78 | 51.5447
2019-11-17 03:45:00 | 5.3 | 118.9067 | 6.11 | 130.6667 | 8.81 | 46.28 | 10.1433 | 45.16 | 9.98 | 882.4667 | 89.0667 | 32.514
2019-11-17 04:00:00 | 3.76 | 108.34 | 4.33 | 119.0467 | 6.2233 | 243.9 | 6.9767 | 252.52 | 10.1067 | 882.2 | 87.6667 | 13.1107
2019-11-17 04:15:00 | 3.4 | 210.9867 | 3.92 | 231.85 | 6.14 | 341.6333 | 6.5267 | 338.9333 | 10.1067 | 883 | 88.0333 | 21.3587
2019-11-17 04:30:00 | 4.16 | 19.66 | 4.7867 | 21.6033 | 7.4333 | 347.9 | 7.2933 | 118.7933 | 10.6067 | 883.8667 | 85.4333 | 31.1987
2019-11-17 04:45:00 | 4.18 | 149.3933 | 4.8067 | 164.1667 | 7.2767 | 5.1867 | 7.7033 | 15.7667 | 10.7633 | 884 | 84.6467 | 39.1173
2019-11-17 05:00:00 | 4.74 | 27.2267 | 5.4533 | 29.9067 | 8.7367 | 18.7 | 8.7633 | 26.9067 | 10.61 | 883.8 | 85.6667 | 46.9887
2019-11-17 05:15:00 | 4.8567 | 94.61 | 5.5933 | 103.96 | 8.9467 | 19.23 | 10.24 | 29.2233 | 10.48 | 883 | 85.8667 | 44.116
2019-11-17 05:30:00 | 5.0433 | 183.4633 | 5.8 | 201.6 | 8.978 | 245.39 | 9.44 | 236.65 | 10.6867 | 883 | 84 | 43.162
2019-11-17 05:45:00 | 4.81 | 276.8233 | 5.5433 | 304.2 | 8.47 | 241.43 | 8.5533 | 7.94 | 10.7647 | 883 | 83.7 | 39.9287
2019-11-17 06:00:00 | 5.03 | 282.2833 | 5.79 | 310.2 | 8.5433 | 230.7633 | 8.26 | 9.0133 | 10.836 | 883.8667 | 83.1467 | 41.952
2019-11-17 06:15:00 | 5.4333 | 53.0967 | 6.2533 | 58.34 | 9.68 | 7.7067 | 10.1267 | 11.2233 | 10.69 | 884 | 84.6 | 49.91
2019-11-17 06:30:00 | 5.3067 | 160.83 | 6.1067 | 176.7333 | 9.762 | 8.16 | 10.5 | 15.89 | 10.5233 | 884 | 85.6667 | 49.5187
2019-11-17 06:45:00 | 5.398 | 147.0967 | 6.21 | 161.6333 | 10.03 | 12.8767 | 10.3567 | 15.8233 | 10.4467 | 884 | 85.9333 | 51.022
2019-11-17 07:00:00 | 5.9667 | 60.8633 | 6.87 | 66.88 | 10.7567 | 5.3567 | 11.01 | 18.5833 | 10.6333 | 884 | 84.2667 | 52.7373
2019-11-17 07:15:00 | 6.1067 | 291.9067 | 7.03 | 320.7667 | 10.4433 | 124.5 | 10.4767 | 24.34 | 10.87 | 884 | 83.3333 | 51.8867
2019-11-17 07:30:00 | 5.8067 | 278.3067 | 6.6767 | 305.8333 | 10.6033 | 124.1 | 10.5367 | 18.0067 | 10.8127 | 884.2 | 83.8 | 51.9053
2019-11-17 07:45:00 | 5.9867 | 137.18 | 6.8933 | 150.7333 | 10.83 | 15.4233 | 10.83 | 19.6933 | 10.8933 | 885 | 83.3333 | 53.372
2019-11-17 08:00:00 | 6.1067 | 184.8 | 7.0333 | 203.0667 | 11.4433 | 15.6633 | 11.4367 | 19.8067 | 10.9867 | 885 | 82.6 | 55.2507
2019-11-17 08:15:00 | 6.3067 | 194.2133 | 7.2633 | 213.4233 | 11.8033 | 8.04 | 11.9267 | 20.0467 | 11.09 | 885 | 81.2667 | 55.972
2019-11-17 08:30:00 | 6.1867 | 53.12 | 7.1167 | 58.37 | 11.6233 | 10.78 | 12.1733 | 26.5333 | 11.134 | 885 | 81.1333 | 57.47
2019-11-17 08:45:00 | 6.638 | 117.5747 | 7.6313 | 129.1913 | 12.3267 | 12.9333 | 13.1113 | 25.9607 | 11.192 | 885.5333 | 80.21 | 58.3513
2019-11-17 09:00:00 | 7.08 | 121.8767 | 8.1433 | 133.93 | 13.0167 | 8.1867 | 13.6633 | 26.3467 | 11.2967 | 886 | 78.45 | 58.3613
2019-11-17 09:15:00 | 7.8667 | 248.9533 | 9.05 | 273.5667 | 14.0567 | 9.1667 | 14.62 | 30.45 | 11.4233 | 886 | 76.4433 | 59.8653
2019-11-17 09:30:00 | 8.2133 | 219.7067 | 9.45 | 241.4333 | 14.7367 | 12.1133 | 15.1867 | 25.41 | 11.5567 | 886.8667 | 73.67 | 61.0153
2019-11-17 09:45:00 | 8.5333 | 82.3067 | 9.82 | 90.4367 | 15.3453 | 17.57 | 15.6433 | 21.9167 | 11.6433 | 887 | 71.17 | 61.446
2019-11-17 10:00:00 | 9.1467 | 157.7133 | 10.5333 | 173.3033 | 16.4433 | 7.7967 | 16.6567 | 23.7033 | 11.73 | 887 | 69.1833 | 62.446
2019-11-17 10:15:00 | 9.304 | 238.4033 | 10.7093 | 261.9773 | 16.7967 | 12.7987 | 17.142 | 19.5153 | 11.8267 | 887 | 67.23 | 61.0373
2019-11-17 10:30:00 | 9.9533 | 21.4 | 11.4467 | 23.5167 | 17.89 | 12.4467 | 17.9467 | 14.7 | 11.79 | 887 | 65.1667 | 56.8347
2019-11-17 10:45:00 | 10.7133 | 240.24 | 12.3233 | 264 | 19.0067 | 29.4267 | 18.78 | 29.9167 | 11.7933 | 887.5333 | 61.1 | 55.7093
2019-11-17 11:00:00 | 11.3867 | 150.6333 | 13.0967 | 165.5333 | 20.3667 | 22.9267 | 20.1267 | 21.65 | 11.6867 | 888 | 58.0667 | 51.3453
2019-11-17 11:15:00 | 11.9767 | 263.0233 | 13.78 | 289.0333 | 21 | 7.06 | 20.8 | 22.9167 | 11.65 | 888 | 54.0033 | 47.798
2019-11-17 11:30:00 | 11.31 | 133.3167 | 13.0067 | 146.5 | 19.6573 | 9.3267 | 20.24 | 27.29 | 11.5367 | 888 | 52.93 | 46.0353
2019-11-17 11:45:00 | 11.786 | 38.2127 | 13.5553 | 41.9893 | 20.16 | 28.6587 | 20.7473 | 34.6807 | 11.458 | 888 | 50.9033 | 41.8693
2019-11-17 12:00:00 | 12.3333 | 204.64 | 14.19 | 224.8733 | 20.8933 | 20.2667 | 21.03 | 29.36 | 11.4467 | 888.8667 | 48.1367 | 41.844
2019-11-17 12:15:00 | 12.7267 | 167.4307 | 14.6433 | 183.9867 | 21.756 | 21.5247 | 22.0753 | 28.5213 | 11.4247 | 889 | 45.5127 | 35.1387
2019-11-17 12:30:00 | 13.4467 | 213.7 | 15.46 | 234.8333 | 23.27 | 16.4267 | 23.8367 | 24.42 | 11.3427 | 889 | 43.6433 | 27.878
2019-11-17 12:45:00 | 13.88 | 176.0967 | 15.9667 | 193.5 | 24.0333 | 14.3133 | 24.36 | 31.1333 | 11.1233 | 889 | 42.39 | 22.098
2019-11-17 13:00:00 | 14.284 | 125.7367 | 16.4467 | 138.1667 | 24.4067 | 17.3733 | 24.6133 | 24.9067 | 10.9833 | 889 | 40.8033 | 17.8087
2019-11-17 13:15:00 | 13.8867 | 312.0067 | 15.97 | 342.8667 | 23.8033 | 5.51 | 24.3167 | 25.39 | 10.8167 | 889 | 39.8967 | 14.0867
2019-11-17 13:30:00 | 14.26 | 187.1667 | 16.4033 | 205.6667 | 24.4567 | 13.21 | 24.7967 | 21.4033 | 10.65 | 889 | 39.59 | 13.7273
2019-11-17 13:45:00 | 14.3907 | 19.65 | 16.5507 | 21.59 | 24.65 | 12.34 | 24.9033 | 32.95 | 10.4033 | 889 | 39.5667 | 3.912
2019-11-17 14:00:00 | 14.68 | 206.73 | 16.88 | 227.17 | 25.0567 | 11.9533 | 25.0833 | 36.89 | 10.25 | 889 | 39.186 | 0.57333
2019-11-17 14:15:00 | 17.0967 | 125.7733 | 19.66 | 138.2133 | 29.5633 | 12.4467 | 28.8367 | 19.7633 | 10.0433 | 889 | 39.554 | 0
2019-11-17 14:30:00 | 16.51 | 220.38 | 18.9867 | 242.1667 | 29.0833 | 12.2333 | 28.13 | 14.71 | 9.8633 | 889 | 40.72 | 0.10867
2019-11-17 14:45:00 | 15.45 | 110.12 | 17.7733 | 121 | 27.2533 | 11.76 | 26.5367 | 21.0833 | 9.6833 | 889 | 41.31 | 1.3067
2019-11-17 15:00:00 | 14.1967 | 282.62 | 16.3333 | 310.5667 | 24.74 | 21.24 | 24.19 | 35.3967 | 9.57 | 889.8667 | 41.6493 | 4.1633
2019-11-17 15:15:00 | 13.9267 | 15.4433 | 16.0133 | 16.9633 | 24.2 | 4.0167 | 23.7267 | 18.0967 | 9.4867 | 890 | 42.4767 | 6.5027
2019-11-17 15:30:00 | 14.4867 | 115.05 | 16.6667 | 126.4233 | 25.6133 | 239.65 | 25.0267 | 22.13 | 9.3067 | 890 | 43.2633 | 5.832
2019-11-17 15:45:00 | 13.7633 | 71.7967 | 15.8267 | 78.9 | 23.98 | 20.8767 | 24.144 | 31.94 | 9.0533 | 890 | 43.9867 | 5.336
2019-11-17 16:00:00 | 13.32 | 41.678 | 15.324 | 45.794 | 22.6 | 29.286 | 23.194 | 34.19 | 8.934 | 890 | 43.948 | 4.0533
2019-11-17 16:15:00 | 14.2867 | 30.8867 | 16.44 | 33.9333 | 24.22 | 27.5233 | 24.5633 | 36.8767 | 8.6833 | 890 | 44.1913 | 3.4133
2019-11-17 16:30:00 | 13.77 | 197.276 | 15.846 | 216.776 | 23.3613 | 15.488 | 23.812 | 34.794 | 8.506 | 890 | 44.616 | 3.5167
2019-11-17 16:45:00 | 14.2353 | 239.7633 | 16.3713 | 263.48 | 24.3147 | 10.9393 | 24.928 | 26.3953 | 8.328 | 890 | 45.1433 | 0.57933
2019-11-17 17:00:00 | 15.96 | 216.1 | 18.3567 | 237.4667 | 27.2 | 21.8233 | 28.0833 | 33.9267 | 8.1667 | 890 | 44.58 | 0
2019-11-17 17:15:00 | 16.18 | 22.1867 | 18.6167 | 24.38 | 27.71 | 9.4333 | 28.1367 | 28.3867 | 7.9067 | 890 | 44.7133 | 0
2019-11-17 17:30:00 | 15.4733 | 166.6667 | 17.8033 | 183.14 | 26.5567 | 10.9067 | 27.2833 | 18.2067 | 7.8 | 890 | 45.0667 | 0
2019-11-17 17:45:00 | 15.1033 | 257.0267 | 17.37 | 282.4333 | 26.11 | 16.5767 | 26.6733 | 24.4833 | 7.7267 | 890 | 44.5333 | 0
2019-11-17 18:00:00 | 14.354 | 298.6333 | 16.514 | 328.1667 | 24.492 | 26.85 | 25.4467 | 34.39 | 7.6867 | 890 | 44.406 | 0
2019-11-17 18:15:00 | 13.7333 | 54.7967 | 15.8067 | 60.21 | 23.7167 | 29.74 | 24.8933 | 31.55 | 7.6367 | 890 | 43.95 | 0
2019-11-17 18:30:00 | 14.0267 | 196.3033 | 16.1333 | 215.71 | 23.7567 | 31.9067 | 24.7067 | 30.0167 | 7.6367 | 890.8667 | 43.6233 | 0
2019-11-17 18:45:00 | 14.4333 | 8.9567 | 16.6067 | 9.84 | 24.66 | 16.8933 | 25.27 | 34.8 | 7.6753 | 891 | 42.5867 | 0
2019-11-17 19:00:00 | 13.5933 | 0.81667 | 15.64 | 0.89333 | 23.0667 | 24.92 | 24.0367 | 41.6067 | 7.68 | 891.8667 | 41.806 | 0
2019-11-17 19:15:00 | 13.1267 | 190.77 | 15.0933 | 209.6333 | 22.2333 | 24.1133 | 22.6433 | 35.1567 | 7.5833 | 892 | 41.67 | 2.0827
2019-11-17 19:30:00 | 12.2867 | 298.81 | 14.1267 | 328.3667 | 20.9 | 28.38 | 21.4833 | 27.6833 | 7.5567 | 892.8667 | 41.4567 | 4.0667
2019-11-17 19:45:00 | 12.6 | 207.5367 | 14.4967 | 228.06 | 21.4667 | 27.43 | 22.03 | 29.8 | 7.4633 | 893 | 41.7133 | 7.1653
2019-11-17 20:00:00 | 12.2667 | 200.0167 | 14.11 | 219.7933 | 20.92 | 15.19 | 21.2927 | 27.1067 | 7.3567 | 893 | 42.1733 | 10.352
2019-11-17 20:15:00 | 11.5933 | 104.9633 | 13.3367 | 115.34 | 20.1333 | 9.0367 | 20.6267 | 18.2133 | 7.28 | 893 | 42.3067 | 14.6753
2019-11-17 20:30:00 | 12.28 | 259.45 | 14.13 | 285.1 | 21.2333 | 14.3033 | 21.1 | 20.6333 | 7.2667 | 893.2 | 42.4333 | 24.356
2019-11-17 20:45:00 | 12.2187 | 227.4967 | 14.0533 | 249.9933 | 21.2667 | 20.0233 | 21.3033 | 27.1733 | 7.19 | 894 | 43.05 | 40.6713
2019-11-17 21:00:00 | 10.4433 | 229.0767 | 12.0067 | 251.7267 | 17.74 | 6.81 | 18.37 | 21.82 | 7.1633 | 894 | 42.67 | 51.2793
2019-11-17 21:15:00 | 8.6667 | 171.7233 | 9.9733 | 188.7 | 15.0133 | 13.2233 | 15.4567 | 30.0767 | 7.0167 | 894.5333 | 43.43 | 51.4587
2019-11-17 21:30:00 | 9.5267 | 195.6833 | 10.9533 | 215.0333 | 16.1933 | 19.4967 | 16.0233 | 21.0633 | 6.9233 | 895 | 43.5953 | 50.6533
2019-11-17 21:45:00 | 9.76 | 257.9967 | 11.2333 | 283.5 | 16.9933 | 20.94 | 16.6867 | 23.5567 | 6.8167 | 895 | 43.5867 | 50.3427
2019-11-17 22:00:00 | 9.24 | 287.23 | 10.64 | 315.6333 | 16.18 | 17.78 | 16.2333 | 21.71 | 6.7033 | 895 | 44.44 | 49.682
2019-11-17 22:15:00 | 8.5067 | 39.6367 | 9.7833 | 43.5567 | 14.7933 | 16.2433 | 15.0133 | 38.82 | 6.6133 | 895 | 44.85 | 50.9233
2019-11-17 22:30:00 | 8.17 | 168.906 | 9.398 | 185.612 | 14.326 | 11.444 | 14.202 | 21.892 | 6.52 | 895 | 45.37 | 48.284
2019-11-17 22:45:00 | 7.8553 | 104.1367 | 9.0353 | 114.4267 | 13.7353 | 10.9633 | 13.7733 | 17.0233 | 6.5067 | 895 | 44.7567 | 48.206
2019-11-17 23:00:00 | 7.6067 | 268.4833 | 8.7467 | 295.0333 | 13.16 | 15.4833 | 13.242 | 8.5767 | 6.5067 | 895.2 | 44.38 | 49.5753
2019-11-17 23:15:00 | 8.2333 | 121.5533 | 9.4667 | 133.5667 | 14.47 | 22.18 | 14.4467 | 27.4 | 6.46 | 895.4667 | 44.31 | 51.6413
2019-11-17 23:30:00 | 8.34 | 153.4533 | 9.5933 | 168.6333 | 14.6567 | 16.7933 | 14.6667 | 24.1867 | 6.4133 | 895.2 | 44.41 | 50.1207
2019-11-17 23:45:00 | 7.7733 | 123.8933 | 8.95 | 136.1333 | 13.4 | 16.65 | 13.5933 | 20.8267 | 6.4433 | 896 | 43.6667 | 49.8853