## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-19 00:00:00 | 0.56286 | 309.69 | 0.65429 | 340.3143 | 0.62714 | 19.36 | 0.039286 | 19.5043 | 6.3429 | 894 | 52.48 | 0
2019-11-19 00:15:00 | 0.93467 | 313.14 | 1.0827 | 344.1 | 0.77933 | 16.7967 | 0 | 19.5407 | 6.598 | 894 | 50.0273 | 0
2019-11-19 00:30:00 | 1.72 | 301.6533 | 1.9867 | 331.48 | 1.9167 | 8.2033 | 0 | 19.486 | 6.4167 | 894 | 53.91 | 0
2019-11-19 00:45:00 | 1.4793 | 307.4247 | 1.704 | 337.8267 | 1.6973 | 123.0747 | 0.52733 | 314.8707 | 6.3527 | 894 | 53.7653 | 0
2019-11-19 01:00:00 | 0.85333 | 250.1267 | 0.98333 | 274.8667 | 1.2867 | 260.3667 | 1.11 | 252.4 | 6.4433 | 894 | 50.9067 | 0
2019-11-19 01:15:00 | 0.84667 | 204.9173 | 0.98 | 225.18 | 1.4067 | 205.3333 | 1.89 | 206.1267 | 6.74 | 894 | 48.7067 | 0
2019-11-19 01:30:00 | 1.2867 | 196.6933 | 1.4867 | 216.1333 | 1.94 | 199.4 | 2.1567 | 205.3667 | 6.6687 | 894 | 50.0333 | 0.11
2019-11-19 01:45:00 | 1.28 | 185.2733 | 1.4833 | 203.6 | 1.94 | 197.1 | 2.54 | 196.1667 | 6.3333 | 894 | 55.9733 | 0.030667
2019-11-19 02:00:00 | 1.7333 | 169.5 | 2.0033 | 186.2667 | 2.3667 | 195.7 | 2.9067 | 200.36 | 6.1733 | 893.1333 | 57.36 | 0.79667
2019-11-19 02:15:00 | 2.0867 | 171.2367 | 2.4067 | 188.1667 | 2.99 | 194.1333 | 3.1467 | 205.2 | 6.0933 | 893 | 57.2833 | 2.2187
2019-11-19 02:30:00 | 2.2067 | 172.45 | 2.5333 | 189.5 | 2.8367 | 203.8667 | 3.0267 | 212.6 | 6.1733 | 893 | 55.6633 | 1.5673
2019-11-19 02:45:00 | 1.6967 | 152.86 | 1.96 | 167.9667 | 2.3667 | 208.3333 | 2.73 | 207.7333 | 6.05 | 893 | 57.3333 | 1.4467
2019-11-19 03:00:00 | 2.27 | 172.2733 | 2.6133 | 189.3 | 3.24 | 217.3333 | 3.31 | 212.7333 | 5.9433 | 893 | 59.3333 | 0.538
2019-11-19 03:15:00 | 1.7133 | 175.4467 | 1.9733 | 192.8 | 2.52 | 196.2667 | 2.7733 | 194.9667 | 6.0833 | 893 | 56.1867 | 0
2019-11-19 03:30:00 | 0.73 | 160.328 | 0.854 | 176.18 | 1.238 | 196.08 | 1.408 | 196.6 | 6.246 | 893 | 53.708 | 0
2019-11-19 03:45:00 | 0.2 | 149.52 | 0.23333 | 164.3 | 0.38 | 196.2933 | 0.24667 | 182.4133 | 6.2267 | 893 | 53.9467 | 0
2019-11-19 04:00:00 | 0.85333 | 149.52 | 0.98667 | 164.3 | 1.56 | 167.0067 | 1.2267 | 152.3667 | 6.3333 | 892.8 | 53.8133 | 0
2019-11-19 04:15:00 | 0.64 | 149.52 | 0.74 | 164.3 | 1.2467 | 147.2 | 1.0833 | 152.1 | 6.4333 | 892 | 51.9867 | 0
2019-11-19 04:30:00 | 0.26 | 149.52 | 0.30667 | 164.3 | 0.51333 | 147.22 | 0.42333 | 152.1 | 6.4667 | 892 | 50.78 | 0
2019-11-19 04:45:00 | 0 | 149.5627 | 0 | 164.3533 | 0 | 147.3 | 0.14667 | 152.1 | 6.41 | 892 | 50.2333 | 0
2019-11-19 05:00:00 | 0.078 | 218.342 | 0.09 | 239.94 | 0 | 147.3 | 0.056 | 152.1 | 6.36 | 892 | 51.564 | 0
2019-11-19 05:15:00 | 0.76333 | 283.9567 | 0.87667 | 312.0333 | 0.30667 | 202.88 | 0 | 152.1 | 6.3253 | 892 | 53.0633 | 0
2019-11-19 05:30:00 | 0.43 | 289.23 | 0.49667 | 317.8333 | 0.006667 | 314.1 | 0 | 152.1867 | 6.3433 | 892 | 53.49 | 0
2019-11-19 05:45:00 | 1.192 | 127.9207 | 1.382 | 140.5733 | 1.3453 | 43.308 | 0.30933 | 109.0333 | 6.262 | 891.4667 | 57.246 | 0
2019-11-19 06:00:00 | 1.5 | 299.5167 | 1.73 | 329.1333 | 1.61 | 10.15 | 0.12333 | 82.7 | 6.0733 | 891.8667 | 58.78 | 0
2019-11-19 06:15:00 | 1.5867 | 319.3567 | 1.8267 | 350.9333 | 1.7067 | 7.28 | 0.22667 | 63.0293 | 6.01 | 892 | 60.1567 | 0
2019-11-19 06:30:00 | 0.36 | 308.2433 | 0.42667 | 338.7333 | 0.42 | 175.4 | 0.066667 | 41.18 | 6.0033 | 892 | 56.9233 | 0
2019-11-19 06:45:00 | 0.37333 | 307.4687 | 0.42667 | 337.88 | 0.62333 | 246 | 0.35333 | 217.5 | 6.37 | 892 | 50.72 | 0
2019-11-19 07:00:00 | 0.43333 | 313.842 | 0.5 | 344.88 | 0.27 | 273.2867 | 0.026667 | 217.5 | 6.3567 | 892 | 54.78 | 0
2019-11-19 07:15:00 | 0.124 | 313.7273 | 0.14733 | 344.7467 | 0.15667 | 203.4067 | 0.22867 | 213.4333 | 6.2347 | 892 | 56.3393 | 0
2019-11-19 07:30:00 | 0.12 | 313.706 | 0.14667 | 344.72 | 0.053333 | 188.72 | 0.1 | 205.3 | 6.1567 | 892.2 | 54.8067 | 0.080667
2019-11-19 07:45:00 | 0.29333 | 313.818 | 0.34333 | 344.8533 | 0 | 188.8 | 0.026667 | 205.3 | 6.0667 | 893 | 58.6967 | 0.060667
2019-11-19 08:00:00 | 0.093333 | 313.782 | 0.11 | 344.8133 | 0 | 188.8 | 0 | 205.3 | 6.02 | 892.8 | 59.19 | 0.048
2019-11-19 08:15:00 | 0.17667 | 313.77 | 0.21 | 344.8 | 0.02 | 188.8 | 0 | 205.3 | 6.0833 | 892 | 58.08 | 0
2019-11-19 08:30:00 | 0.49667 | 313.77 | 0.57667 | 344.8 | 0.073333 | 188.9733 | 0 | 205.3 | 6.2433 | 892.2 | 57.06 | 0.087333
2019-11-19 08:45:00 | 0.49333 | 313.77 | 0.57 | 344.8 | 0.67333 | 190.2 | 0.94667 | 199 | 6.4233 | 893 | 56.9333 | 0.52733
2019-11-19 09:00:00 | 1.6 | 216.9093 | 1.85 | 238.36 | 2.1733 | 199.9333 | 2.5667 | 197.7333 | 6.4433 | 893 | 62.5733 | 0.51533
2019-11-19 09:15:00 | 1.3333 | 180.9467 | 1.5433 | 198.8333 | 2.4 | 230.2 | 2.74 | 207.8 | 6.5267 | 893 | 61.07 | 0.68733
2019-11-19 09:30:00 | 1.52 | 191.44 | 1.7567 | 210.3667 | 2.6733 | 229.6 | 2.8733 | 217.5333 | 6.622 | 893.2 | 58.1567 | 0.96733
2019-11-19 09:45:00 | 1.4267 | 164.08 | 1.65 | 180.3 | 2.43 | 213.6667 | 2.79 | 223.2 | 6.65 | 894 | 63.6933 | 0.69533
2019-11-19 10:00:00 | 1.4467 | 180.216 | 1.6633 | 198.0267 | 2.23 | 210.2667 | 2.6233 | 214.0667 | 6.7433 | 894 | 66.02 | 0.292
2019-11-19 10:15:00 | 1.25 | 150.6 | 1.4467 | 165.5 | 1.8 | 205.9667 | 2.4067 | 213.3667 | 6.8733 | 894 | 66.0933 | 0.63667
2019-11-19 10:30:00 | 1.1833 | 150.7313 | 1.36 | 165.6267 | 1.6867 | 209.5 | 2.2667 | 220.96 | 6.76 | 894 | 67.5733 | 1.3267
2019-11-19 10:45:00 | 1.8133 | 143.5473 | 2.0933 | 157.74 | 2.2233 | 202.8 | 2.6933 | 207 | 6.7433 | 894 | 68.32 | 1.4713
2019-11-19 11:00:00 | 2.1333 | 140.7133 | 2.4533 | 154.6333 | 2.3233 | 193.6 | 2.3 | 205.84 | 6.7633 | 894 | 64.9733 | 0.63533
2019-11-19 11:15:00 | 1.9427 | 144.094 | 2.234 | 158.34 | 2.1047 | 184.74 | 1.9807 | 206.4133 | 6.7813 | 894 | 67.788 | 0.46533
2019-11-19 11:30:00 | 1.54 | 156.3167 | 1.7667 | 171.7667 | 1.4333 | 190.1 | 1.63 | 218.2333 | 6.86 | 894 | 70.128 | 0.66133
2019-11-19 11:45:00 | 2.32 | 158.0667 | 2.6667 | 173.7 | 2.4267 | 192.8333 | 2.6067 | 217.0667 | 7.0233 | 894 | 69.6967 | 1.2807
2019-11-19 12:00:00 | 2.86 | 141.0267 | 3.2867 | 154.9667 | 3.1133 | 184.7667 | 3.0733 | 222.6 | 7.21 | 894 | 70.9967 | 1.1873
2019-11-19 12:15:00 | 2.9167 | 138.32 | 3.3533 | 152 | 3.2233 | 178.0333 | 3.2767 | 204.5333 | 7.1467 | 894 | 72.08 | 0.48333
2019-11-19 12:30:00 | 2.75 | 150.3333 | 3.16 | 165.2 | 3.17 | 207.5 | 3.21 | 197.8667 | 7.1667 | 894 | 73.442 | 0.31333
2019-11-19 12:45:00 | 2.2633 | 159.2353 | 2.606 | 174.9733 | 2.6113 | 234.92 | 2.6847 | 163.0467 | 7.1587 | 894 | 75.4607 | 0.078667
2019-11-19 13:00:00 | 1.9067 | 155.25 | 2.2 | 170.6 | 2.2267 | 169.6 | 2.3867 | 205.9 | 7.29 | 893.1333 | 77.2533 | 0
2019-11-19 13:15:00 | 2.6067 | 141.6933 | 3 | 155.7 | 3.0167 | 170.6 | 3.42 | 161.0333 | 7.18 | 893 | 78.8567 | 0
2019-11-19 13:30:00 | 2.24 | 152.6133 | 2.5867 | 167.7 | 2.89 | 204.8667 | 2.8933 | 195.6333 | 7.22 | 892.8 | 79.364 | 0
2019-11-19 13:45:00 | 1.78 | 159.86 | 2.0467 | 175.6667 | 2.1967 | 190.8667 | 1.8967 | 184.1333 | 7.2167 | 892 | 80.6333 | 0
2019-11-19 14:00:00 | 1.0133 | 149.12 | 1.1667 | 163.8667 | 1.0633 | 201.1333 | 1.1367 | 207.2 | 7.2567 | 892 | 81.5 | 0
2019-11-19 14:15:00 | 1.0067 | 151.5233 | 1.1633 | 166.5 | 1.33 | 222.3 | 1.41 | 225.1333 | 7.6667 | 892 | 81 | 0
2019-11-19 14:30:00 | 1.04 | 137.3233 | 1.2033 | 150.9 | 1.21 | 189.9 | 1.1833 | 211.7333 | 7.7733 | 892 | 80.4667 | 0
2019-11-19 14:45:00 | 1.42 | 155.4333 | 1.6433 | 170.8 | 1.6967 | 153.2667 | 1.6533 | 186.9 | 7.6067 | 892 | 81.3667 | 0
2019-11-19 15:00:00 | 1.7733 | 159.2467 | 2.0433 | 175 | 2.2967 | 211.8 | 2.3 | 228.3 | 7.3867 | 892 | 83.1 | 0
2019-11-19 15:15:00 | 2.4267 | 172.05 | 2.7967 | 189.0667 | 3.11 | 215.5333 | 3.0467 | 226.9333 | 7.19 | 891.4667 | 84.1667 | 0.046
2019-11-19 15:30:00 | 2.58 | 173.5633 | 2.97 | 190.7333 | 3.2233 | 216.8667 | 3.1133 | 218.2667 | 7.0767 | 891 | 83.7 | 0.23
2019-11-19 15:45:00 | 1.9933 | 170.93 | 2.2967 | 187.8333 | 2.4233 | 228.3 | 2.31 | 199.1333 | 7.01 | 891 | 83.9 | 0.12933
2019-11-19 16:00:00 | 1.732 | 173.756 | 2.002 | 190.94 | 2.064 | 217.2 | 1.962 | 215.62 | 7.026 | 891 | 84.46 | 0.17333
2019-11-19 16:15:00 | 1.6967 | 177.12 | 1.9533 | 194.6333 | 2.1167 | 225 | 1.8167 | 210.2333 | 7.09 | 891 | 84.9 | 0.19667
2019-11-19 16:30:00 | 1.6767 | 176.3933 | 1.94 | 193.8333 | 2.03 | 217.6667 | 2.0233 | 217.3667 | 7.07 | 891 | 85.5 | 1.492
2019-11-19 16:45:00 | 1.79 | 177.0267 | 2.06 | 194.5333 | 2.1933 | 209.9667 | 2.1033 | 215.5333 | 7.04 | 891 | 86.5333 | 1.8293
2019-11-19 17:00:00 | 1.6233 | 170.3 | 1.8667 | 187.1333 | 2.2133 | 215.9667 | 1.9967 | 215.5333 | 6.9733 | 891 | 87.7333 | 1.4287
2019-11-19 17:15:00 | 1.7933 | 167.5633 | 2.0633 | 184.1333 | 2.2633 | 166.6 | 2.03 | 186.4333 | 6.7867 | 891 | 89.4667 | 1.1867
2019-11-19 17:30:00 | 2 | 150.8233 | 2.3033 | 165.7333 | 2.5633 | 177.8667 | 2.8167 | 198.9 | 6.6467 | 891 | 89.8667 | 1.9993
2019-11-19 17:45:00 | 1.88 | 182.1567 | 2.1633 | 200.1667 | 2.7267 | 201.8 | 3.23 | 210.1667 | 6.8 | 891 | 88.3667 | 5.9593
2019-11-19 18:00:00 | 1.9533 | 175.4833 | 2.2567 | 192.8333 | 3.0533 | 221.7333 | 3.25 | 228.8333 | 6.9467 | 891 | 87.2333 | 3.6047
2019-11-19 18:15:00 | 1.0433 | 108.3233 | 1.2033 | 119.0333 | 1.38 | 169.7933 | 1.23 | 281.7 | 6.8467 | 891 | 88.9333 | 1.33
2019-11-19 18:30:00 | 1.4233 | 324.87 | 1.65 | 357 | 1.9467 | 21.5 | 0.49667 | 114.5267 | 6.6267 | 891 | 90.5333 | 0.26867
2019-11-19 18:45:00 | 1.75 | 6.17 | 2.02 | 6.78 | 2.2267 | 15.3867 | 1.59 | 9.21 | 6.5947 | 891 | 90.2333 | 0.18467
2019-11-19 19:00:00 | 1.7433 | 212.7967 | 2.0067 | 233.8333 | 2.3933 | 10.9067 | 2.1167 | 4.1633 | 6.61 | 891 | 89.9667 | 0.013333
2019-11-19 19:15:00 | 2.2933 | 240.3473 | 2.6373 | 264.116 | 3.1447 | 12.6687 | 2.7993 | 15.4087 | 6.654 | 891 | 89.74 | 0
2019-11-19 19:30:00 | 2.9467 | 204.8433 | 3.39 | 225.1033 | 4.89 | 14.29 | 4.41 | 18.3933 | 6.5367 | 891 | 91.5333 | 1.684
2019-11-19 19:45:00 | 3.2067 | 8.1933 | 3.6967 | 8.9967 | 5.43 | 16.92 | 5.2767 | 18.8133 | 6.43 | 891 | 93.0333 | 2.0433
2019-11-19 20:00:00 | 2.7867 | 11.2333 | 3.2033 | 12.3367 | 4.95 | 13.3533 | 4.8767 | 18.1667 | 6.41 | 891 | 93.3 | 1.9087
2019-11-19 20:15:00 | 2.8133 | 306.85 | 3.24 | 337.2 | 4.86 | 15.4767 | 4.6467 | 31.5233 | 6.4287 | 891 | 93.1467 | 2.6873
2019-11-19 20:30:00 | 3.1867 | 321.7767 | 3.6667 | 353.6 | 4.66 | 14.3033 | 4.5667 | 17.6633 | 6.52 | 891.8667 | 92.5667 | 5.3273
2019-11-19 20:45:00 | 3.4 | 301.8267 | 3.9167 | 331.6667 | 5.0367 | 4.3633 | 4.95 | 118.2133 | 6.6033 | 892 | 92.3533 | 6.5627
2019-11-19 21:00:00 | 3.28 | 101.4667 | 3.7767 | 111.4933 | 5.1167 | 233.99 | 4.8433 | 131.4533 | 6.61 | 892 | 92.2 | 7.6553
2019-11-19 21:15:00 | 3.1467 | 26.9967 | 3.6233 | 29.66 | 5.3067 | 20.1567 | 5.06 | 23.1733 | 6.588 | 892 | 92.5533 | 9.7593
2019-11-19 21:30:00 | 3.2 | 173.85 | 3.69 | 191.0333 | 5.7467 | 20.4433 | 5.5333 | 16.5467 | 6.53 | 892.2 | 93.6 | 10.3787
2019-11-19 21:45:00 | 3.0333 | 16.75 | 3.5 | 18.4033 | 5.3833 | 10.8433 | 5.2167 | 15.2867 | 6.4467 | 893 | 94.7333 | 10.662
2019-11-19 22:00:00 | 2.9333 | 28.0367 | 3.3733 | 30.8033 | 5.1567 | 14.07 | 5.1033 | 19.3267 | 6.36 | 893 | 95.8 | 11.502
2019-11-19 22:15:00 | 3.4287 | 7.7873 | 3.9487 | 8.5573 | 5.144 | 103.8107 | 5.174 | 106.9893 | 6.2467 | 893 | 96.8867 | 12.1947
2019-11-19 22:30:00 | 3.08 | 201.8133 | 3.54 | 221.7733 | 5.1667 | 353.7667 | 5.1033 | 122.7867 | 6.2133 | 893 | 97.1333 | 10.654
2019-11-19 22:45:00 | 3.0033 | 117.7667 | 3.45 | 129.4067 | 4.7333 | 6.97 | 4.9967 | 8.5067 | 6.13 | 893 | 97.8 | 9.3407
2019-11-19 23:00:00 | 3.156 | 308.93 | 3.628 | 339.48 | 5.022 | 7.72 | 5.05 | 12.91 | 6.126 | 893 | 97.7333 | 9.0533
2019-11-19 23:15:00 | 3.11 | 12.06 | 3.58 | 13.2433 | 4.7367 | 234.5633 | 4.6633 | 11.4433 | 6.122 | 893 | 97.7 | 7.3287
2019-11-19 23:30:00 | 3.5767 | 21.3067 | 4.12 | 23.41 | 5.01 | 238.63 | 4.89 | 13.3767 | 6.18 | 893 | 97.2333 | 6.0833
2019-11-19 23:45:00 | 3.3467 | 203.9733 | 3.8533 | 224.1433 | 4.8 | 235.9333 | 4.58 | 14.1667 | 6.1367 | 893 | 97.6 | 3.436