## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-20 00:00:00 | 3.0586 | 13.08 | 3.5257 | 14.365 | 4.7129 | 8.5943 | 4.6171 | 13.095 | 6.0971 | 892.1429 | 97.9929 | 3.0371
2019-11-20 00:15:00 | 3.4667 | 3.05 | 3.9833 | 3.3467 | 4.61 | 3.3567 | 4.4533 | 4.1667 | 6.1013 | 892 | 98.0867 | 2.91
2019-11-20 00:30:00 | 3.24 | 11.1167 | 3.7233 | 12.22 | 4.63 | 234.7167 | 4.6533 | 4.26 | 6.11 | 892.6667 | 98.02 | 3.5
2019-11-20 00:45:00 | 2.92 | 321.11 | 3.36 | 352.8667 | 4.5267 | 1.6733 | 4.5033 | 8.0933 | 6.0533 | 892 | 98.5667 | 4.532
2019-11-20 01:00:00 | 2.972 | 135.378 | 3.42 | 148.77 | 4.622 | 2.53 | 4.444 | 4.892 | 6.01 | 892 | 98.88 | 3.55
2019-11-20 01:15:00 | 2.8267 | 320.4767 | 3.2533 | 352.1667 | 4.8967 | 5.32 | 4.5533 | 5.7067 | 5.9267 | 892 | 99.5333 | 3.962
2019-11-20 01:30:00 | 2.5667 | 114.71 | 2.9533 | 126.0467 | 4.4833 | 3.3733 | 4.4067 | 7.9733 | 5.8867 | 892 | 99.9333 | 4.148
2019-11-20 01:45:00 | 2.4767 | 311.1033 | 2.85 | 341.8667 | 4.3933 | 8.7733 | 3.9033 | 2.82 | 5.8713 | 892 | 100 | 3.2713
2019-11-20 02:00:00 | 2.5033 | 107.6433 | 2.8767 | 118.2933 | 4.3067 | 11.56 | 3.7833 | 4.7333 | 5.8667 | 892 | 100 | 1.9873
2019-11-20 02:15:00 | 2.74 | 298.2967 | 3.15 | 327.8 | 4.5433 | 12.9067 | 3.79 | 243.3867 | 5.8647 | 892 | 100 | 2.3687
2019-11-20 02:30:00 | 2.5 | 267.2367 | 2.8767 | 293.6667 | 4.2433 | 6.5667 | 3.6167 | 243.3867 | 5.858 | 892 | 100 | 2.95
2019-11-20 02:45:00 | 2.7267 | 1.1333 | 3.1367 | 1.24 | 4.0333 | 9.6933 | 3.5967 | 4.72 | 5.8433 | 892 | 100 | 3.6813
2019-11-20 03:00:00 | 2.6667 | 212.1 | 3.07 | 233.0733 | 4.1467 | 11.5133 | 3.75 | 11.98 | 5.83 | 892 | 100 | 4.6873
2019-11-20 03:15:00 | 2.644 | 195.4807 | 3.038 | 214.8 | 4.1673 | 16.224 | 3.9833 | 21.58 | 5.8247 | 892 | 100 | 6.0207
2019-11-20 03:30:00 | 2.8967 | 19.8033 | 3.33 | 21.76 | 4.8333 | 4.3433 | 4.59 | 21.2533 | 5.8093 | 892 | 100 | 6.71
2019-11-20 03:45:00 | 2.78 | 32.63 | 3.1967 | 35.86 | 4.1333 | 8.3567 | 4.2667 | 11.8667 | 5.8053 | 892 | 100 | 5.204
2019-11-20 04:00:00 | 2.8733 | 27.4767 | 3.31 | 30.1867 | 4.4267 | 28.0367 | 4.7267 | 9.4 | 5.788 | 892 | 100 | 4.6547
2019-11-20 04:15:00 | 2.37 | 205.5567 | 2.73 | 225.8833 | 3.8067 | 249.4433 | 4.0433 | 238.93 | 5.77 | 891.4667 | 100 | 3.782
2019-11-20 04:30:00 | 2.17 | 11.6433 | 2.4967 | 12.79 | 3.5933 | 22.4033 | 3.8167 | 1.6233 | 5.7613 | 891 | 100 | 3.1973
2019-11-20 04:45:00 | 2.44 | 108.3233 | 2.8067 | 119.0333 | 4.3433 | 13.65 | 4.2367 | 23.2633 | 5.75 | 891 | 100 | 6.0053
2019-11-20 05:00:00 | 2.7467 | 121.4567 | 3.16 | 133.46 | 5.05 | 13.4567 | 5.1833 | 22.7967 | 5.7547 | 891 | 100 | 6.5453
2019-11-20 05:15:00 | 3.06 | 169.6467 | 3.52 | 186.4267 | 5.31 | 10 | 5.3533 | 22.24 | 5.74 | 891 | 100 | 6.7707
2019-11-20 05:30:00 | 2.8733 | 20.1 | 3.3 | 22.0933 | 4.7767 | 237.8267 | 5.0333 | 25.0467 | 5.7333 | 891 | 100 | 8.9533
2019-11-20 05:45:00 | 3.2707 | 273.6647 | 3.7633 | 300.72 | 5.086 | 7.4267 | 5.1667 | 262.036 | 5.74 | 891 | 100 | 8.5867
2019-11-20 06:00:00 | 3.1 | 93.8933 | 3.5667 | 103.1733 | 5.0633 | 12.0467 | 4.9967 | 18.9033 | 5.7267 | 891 | 100 | 11.7533
2019-11-20 06:15:00 | 3.01 | 209.7433 | 3.46 | 230.4767 | 4.59 | 238.7667 | 4.78 | 5.7767 | 5.7267 | 891 | 100 | 13.2107
2019-11-20 06:30:00 | 2.9833 | 18.1833 | 3.4333 | 19.9833 | 4.5767 | 8.2933 | 4.6867 | 2.9233 | 5.74 | 891 | 100 | 12.494
2019-11-20 06:45:00 | 3.36 | 106.9933 | 3.86 | 117.5733 | 4.84 | 335.8 | 4.59 | 237.19 | 5.79 | 891 | 100 | 13.2673
2019-11-20 07:00:00 | 3.3467 | 108.1 | 3.8467 | 118.7867 | 5.0533 | 115.6333 | 4.8967 | 30.77 | 5.8167 | 891 | 100 | 14.0367
2019-11-20 07:15:00 | 3.2333 | 126.8367 | 3.7267 | 139.38 | 4.8533 | 4.38 | 4.9733 | 11.6733 | 5.8467 | 891 | 100 | 12.6553
2019-11-20 07:30:00 | 3.01 | 324.87 | 3.46 | 357 | 4.748 | 5.352 | 4.908 | 213.8 | 5.866 | 891 | 100 | 7.498
2019-11-20 07:45:00 | 2.57 | 311.5033 | 2.96 | 342.3 | 4.1967 | 122.9133 | 4.7233 | 18.2233 | 5.85 | 891 | 100 | 9.5987
2019-11-20 08:00:00 | 3.0033 | 111.8633 | 3.46 | 122.9133 | 4.87 | 119.0067 | 5.0833 | 13.39 | 5.8613 | 891 | 100 | 10.7193
2019-11-20 08:15:00 | 3.0667 | 280.6833 | 3.5267 | 308.4333 | 5.71 | 0.71333 | 5.55 | 4.15 | 5.86 | 891.5333 | 100 | 8.0907
2019-11-20 08:30:00 | 2.7533 | 257.0767 | 3.1667 | 282.5 | 4.9833 | 222.5333 | 4.7967 | 3.2767 | 5.842 | 892 | 100 | 7.1453
2019-11-20 08:45:00 | 3.0767 | 123.8733 | 3.5367 | 136.12 | 4.7933 | 122.34 | 4.7467 | 8.14 | 5.9267 | 892 | 100 | 10.9067
2019-11-20 09:00:00 | 3.372 | 308.54 | 3.882 | 339.04 | 5.148 | 354.02 | 5.152 | 14.568 | 6.028 | 892 | 100 | 12.1867
2019-11-20 09:15:00 | 3.29 | 24.71 | 3.7867 | 27.14 | 5.29 | 12.36 | 5.2167 | 8.6067 | 6.06 | 892 | 100 | 11.1073
2019-11-20 09:30:00 | 3.0833 | 193.3033 | 3.5467 | 212.42 | 5.41 | 28.6067 | 5.2633 | 4.2667 | 6.1333 | 892 | 100 | 9.7833
2019-11-20 09:45:00 | 3.01 | 257.3467 | 3.4633 | 282.8 | 5.5567 | 12.32 | 5.3567 | 16.1 | 6.3 | 892 | 100 | 6.8027
2019-11-20 10:00:00 | 2.6033 | 225.26 | 2.9967 | 247.5333 | 4.77 | 16.2933 | 4.71 | 16.1667 | 6.5 | 892 | 100 | 3.706
2019-11-20 10:15:00 | 2.2467 | 101.85 | 2.59 | 111.9267 | 3.9267 | 10.8467 | 3.97 | 19.5833 | 6.9267 | 892 | 100 | 3.5227
2019-11-20 10:30:00 | 2.46 | 91.17 | 2.83 | 100.1867 | 4.12 | 16.1133 | 4.15 | 15.1567 | 7.3467 | 892.2 | 98.9133 | 1.9827
2019-11-20 10:45:00 | 2.42 | 204.83 | 2.78 | 225.0833 | 3.67 | 1.1367 | 3.4933 | 4.7733 | 7.7167 | 893 | 94.7 | 0.994
2019-11-20 11:00:00 | 2.586 | 10.748 | 2.974 | 11.802 | 3.482 | 215.112 | 3.196 | 45.36 | 7.758 | 893 | 92.56 | 1.24
2019-11-20 11:15:00 | 2.4527 | 100.024 | 2.8207 | 109.9047 | 3.826 | 31.0747 | 3.5747 | 14.3667 | 8.0927 | 893 | 91.4533 | 1.1487
2019-11-20 11:30:00 | 2.3867 | 105.61 | 2.7467 | 116.0533 | 3.6 | 239.0267 | 3.4133 | 6.1733 | 8.15 | 893 | 91.1333 | 0.68467
2019-11-20 11:45:00 | 2.0867 | 257.7467 | 2.41 | 283.2333 | 3.3833 | 238.04 | 3.5467 | 4.1667 | 8.38 | 893 | 91.3333 | 0.59333
2019-11-20 12:00:00 | 2.1 | 110.1667 | 2.4233 | 121.06 | 3.43 | 6.4533 | 3.7333 | 5.32 | 8.5867 | 893 | 89.0667 | 0
2019-11-20 12:15:00 | 1.9667 | 43.65 | 2.2767 | 47.9633 | 2.5433 | 7.8567 | 2.91 | 7.6067 | 8.94 | 892.4667 | 84.6333 | 0
2019-11-20 12:30:00 | 1.5533 | 223.3833 | 1.7967 | 245.4767 | 1.8433 | 17.87 | 2.2767 | 15.68 | 8.7333 | 892 | 84.4333 | 0
2019-11-20 12:45:00 | 1.24 | 230.6233 | 1.4267 | 253.4233 | 1.3733 | 11.7167 | 1.8333 | 10.6 | 8.9967 | 892 | 81.1567 | 0
2019-11-20 13:00:00 | 0.96667 | 231.53 | 1.12 | 254.4233 | 1.2467 | 20.03 | 1.4933 | 12.1067 | 9.3633 | 892 | 78.1967 | 0
2019-11-20 13:15:00 | 1.2 | 47.7 | 1.39 | 52.4133 | 1.68 | 240.5567 | 1.76 | 23.86 | 10.2033 | 892 | 75.6033 | 0
2019-11-20 13:30:00 | 0.8 | 224.9067 | 0.93 | 247.14 | 0.82667 | 77.9567 | 0.97333 | 30.92 | 10.49 | 892 | 69.91 | 0
2019-11-20 13:45:00 | 1.7767 | 158.9533 | 2.04 | 174.6667 | 1.9833 | 168.1 | 2.0667 | 188.6 | 10.59 | 892 | 72.1733 | 0
2019-11-20 14:00:00 | 2.1367 | 150.34 | 2.46 | 165.2 | 2.3567 | 178.5 | 2.2733 | 157.6667 | 10.3073 | 892 | 74.84 | 0
2019-11-20 14:15:00 | 1.0733 | 167.05 | 1.2367 | 183.5667 | 1.18 | 180.1 | 1.0133 | 157.2 | 10.4033 | 891.4667 | 72.29 | 0
2019-11-20 14:30:00 | 0.82 | 141.3833 | 0.94333 | 155.3667 | 0.68 | 141.9667 | 0.81333 | 134.5333 | 10.73 | 891 | 69.97 | 0
2019-11-20 14:45:00 | 0.56 | 182.98 | 0.66 | 201.0667 | 0.76333 | 122.9267 | 0.91667 | 39.8233 | 11.3367 | 891 | 65.27 | 0
2019-11-20 15:00:00 | 0.698 | 134.498 | 0.816 | 147.8 | 0.968 | 22.26 | 1.084 | 16.138 | 11.626 | 891 | 63.658 | 0
2019-11-20 15:15:00 | 1.176 | 165.514 | 1.3513 | 181.88 | 1.32 | 168.9133 | 1.2587 | 140.3867 | 11.546 | 891 | 64.0493 | 0
2019-11-20 15:30:00 | 1.02 | 104.84 | 1.1767 | 115.2 | 0.97 | 148.0667 | 1.1667 | 123.6667 | 11.27 | 891 | 63.3067 | 0
2019-11-20 15:45:00 | 1.1533 | 102.4033 | 1.3233 | 112.5333 | 1.7167 | 238.07 | 1.9233 | 26.31 | 11.54 | 891 | 62.85 | 0
2019-11-20 16:00:00 | 1.4133 | 80.0433 | 1.6233 | 87.9533 | 2.3833 | 15.5167 | 2.3567 | 33.0833 | 11.68 | 891 | 64.87 | 0
2019-11-20 16:15:00 | 1.5367 | 186.2 | 1.7733 | 204.6 | 2.6433 | 28.7733 | 2.4633 | 20.43 | 11.4333 | 891 | 65.99 | 0
2019-11-20 16:30:00 | 1.63 | 276.8267 | 1.88 | 304.2 | 2.91 | 16.1067 | 2.8033 | 19.0233 | 11.1067 | 891 | 66.8627 | 0
2019-11-20 16:45:00 | 2.0733 | 114.3567 | 2.3933 | 125.6533 | 3.8867 | 15.34 | 3.6667 | 30.08 | 10.8667 | 891 | 68.6567 | 0
2019-11-20 17:00:00 | 2.0067 | 107.5767 | 2.3067 | 118.2067 | 3.92 | 17.6733 | 3.78 | 20.96 | 10.64 | 891 | 70.5833 | 0
2019-11-20 17:15:00 | 1.92 | 175.0867 | 2.2133 | 192.4 | 3.7633 | 11.1633 | 3.83 | 23.9133 | 10.1933 | 891 | 73.8233 | 0.408
2019-11-20 17:30:00 | 2.0067 | 233.0267 | 2.3067 | 256.0667 | 3.95 | 11.07 | 3.9367 | 20.92 | 9.9733 | 891 | 75.4033 | 1.0027
2019-11-20 17:45:00 | 1.82 | 205.7633 | 2.0933 | 226.1067 | 3.43 | 14.1333 | 3.4 | 23.0767 | 9.82 | 891 | 75.4333 | 0.35
2019-11-20 18:00:00 | 1.364 | 102.128 | 1.57 | 112.228 | 2.43 | 13.358 | 2.518 | 19.412 | 9.63 | 891 | 75.336 | 0
2019-11-20 18:15:00 | 1.77 | 161.2267 | 2.0333 | 177.1667 | 2.2233 | 183.1333 | 1.9033 | 194.6667 | 9.31 | 891 | 75.9167 | 0
2019-11-20 18:30:00 | 0.306 | 245.828 | 0.35 | 270.14 | 0.368 | 103.718 | 0.362 | 161.64 | 9.05 | 891 | 75.656 | 0
2019-11-20 18:45:00 | 0.066667 | 287.1 | 0.076667 | 315.5 | 0.08 | 151.8453 | 0.026667 | 115.4567 | 8.78 | 891 | 75.69 | 0
2019-11-20 19:00:00 | 0.44667 | 287.04 | 0.51667 | 315.4333 | 0.58667 | 122.5533 | 0.2 | 26.1367 | 8.7733 | 891 | 75.94 | 0
2019-11-20 19:15:00 | 0.85 | 302.03 | 0.98 | 331.9 | 1.1267 | 24.5233 | 1.4267 | 9.5633 | 8.85 | 891 | 76.56 | 0
2019-11-20 19:30:00 | 0.49667 | 301.8227 | 0.58 | 331.66 | 0.89333 | 61.724 | 1.14 | 9.1233 | 8.8567 | 891 | 76.5587 | 0
2019-11-20 19:45:00 | 0.12667 | 301.812 | 0.14667 | 331.6467 | 0.23 | 61.6253 | 0.29 | 9.92 | 8.76 | 891 | 77.4267 | 0
2019-11-20 20:00:00 | 0.15333 | 301.77 | 0.18667 | 331.6 | 0.29667 | 61.356 | 0.43 | 9.92 | 8.818 | 891.2 | 78.38 | 0
2019-11-20 20:15:00 | 0 | 301.77 | 0 | 331.6 | 0 | 61.05 | 0 | 9.9133 | 8.82 | 892 | 78.26 | 0
2019-11-20 20:30:00 | 0 | 301.77 | 0 | 331.6 | 0 | 61.0327 | 0 | 9.9 | 8.8267 | 892 | 77.9827 | 0
2019-11-20 20:45:00 | 0.53333 | 148.9067 | 0.61333 | 163.6333 | 0.61333 | 145.2 | 0.48667 | 65.4333 | 8.9767 | 892 | 76.6233 | 0
2019-11-20 21:00:00 | 1.72 | 152.24 | 1.9867 | 167.3 | 2.1467 | 163.9333 | 2.2 | 173.9 | 9.0433 | 892 | 76.186 | 0
2019-11-20 21:15:00 | 1.8 | 163.9533 | 2.0833 | 180.1667 | 2.1833 | 171.3 | 2.4633 | 169 | 8.9367 | 892 | 76.0213 | 0
2019-11-20 21:30:00 | 1.86 | 166.2 | 2.1433 | 182.6333 | 2.2967 | 175.7 | 2.5033 | 163.6 | 8.912 | 892 | 75.5967 | 0
2019-11-20 21:45:00 | 1.8367 | 160.0367 | 2.12 | 175.8667 | 2.4467 | 178.9333 | 2.54 | 170.8333 | 8.8533 | 892 | 75.8933 | 0
2019-11-20 22:00:00 | 2.05 | 165.1433 | 2.36 | 181.4667 | 2.7467 | 185.4 | 2.9467 | 187.5 | 8.78 | 892.2 | 76.9933 | 0
2019-11-20 22:15:00 | 2.7067 | 152.6667 | 3.1133 | 167.7667 | 3.3233 | 186.1 | 3.4733 | 187.5667 | 8.7647 | 893 | 78.9367 | 0.24467
2019-11-20 22:30:00 | 2.82 | 156.1867 | 3.2467 | 171.6333 | 3.2767 | 184.4333 | 3.4867 | 181.5 | 8.7533 | 893 | 79.81 | 0.41133
2019-11-20 22:45:00 | 2.5933 | 158.68 | 2.99 | 174.3667 | 3.0633 | 173.0333 | 3.3 | 183.9667 | 8.6233 | 893 | 81.2667 | 0.27067
2019-11-20 23:00:00 | 2.9667 | 169.0467 | 3.41 | 185.7667 | 3.5233 | 183.5 | 3.82 | 178.3 | 8.51 | 893 | 82.4 | 0.073333
2019-11-20 23:15:00 | 2.6333 | 157.41 | 3.0267 | 172.9667 | 3.22 | 177.3 | 3.6667 | 178.0333 | 8.3867 | 893 | 83.3 | 0.019333
2019-11-20 23:30:00 | 2.8867 | 162.4367 | 3.32 | 178.5 | 3.4933 | 178.1667 | 3.6667 | 182.4333 | 8.3 | 893 | 83.72 | 0.614
2019-11-20 23:45:00 | 2.92 | 159.35 | 3.3567 | 175.1 | 3.51 | 180.3 | 3.6533 | 183.5 | 8.2067 | 893 | 84.3667 | 0.352