## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-21 00:00:00 | 2.5157 | 162.6607 | 2.9 | 178.7429 | 3.0657 | 181.8643 | 2.9821 | 183.3 | 8.0957 | 892.1667 | 85.225 | 0.089286
2019-11-21 00:15:00 | 2.8 | 165.6533 | 3.23 | 182.0333 | 3.5567 | 185.6333 | 3.3667 | 192.4667 | 7.98 | 892 | 86.4 | 0.642
2019-11-21 00:30:00 | 2.8267 | 162.9267 | 3.25 | 179.0333 | 3.55 | 181.7 | 3.52 | 185.8 | 7.9267 | 892 | 86.5067 | 0.76067
2019-11-21 00:45:00 | 2.94 | 164.014 | 3.3833 | 180.2267 | 3.8333 | 181.4 | 3.7133 | 183.6 | 7.6733 | 892 | 87.6 | 1.7227
2019-11-21 01:00:00 | 3.2133 | 157.37 | 3.6967 | 172.9333 | 4.02 | 181.6667 | 4.22 | 186.16 | 7.664 | 892 | 87.6667 | 2.704
2019-11-21 01:15:00 | 2.8733 | 151.2467 | 3.3067 | 166.2 | 3.3067 | 182.4333 | 3.8333 | 186.7 | 7.69 | 892 | 87.4333 | 3.2567
2019-11-21 01:30:00 | 2.86 | 163.1333 | 3.3 | 179.2667 | 3.4 | 186.7667 | 4.0733 | 188.4333 | 7.53 | 892 | 88.1 | 2.824
2019-11-21 01:45:00 | 2.74 | 164.62 | 3.1533 | 180.9 | 3.2 | 184.6667 | 3.68 | 190.5 | 7.4567 | 892 | 89.0667 | 1.2653
2019-11-21 02:00:00 | 2.38 | 153.6467 | 2.74 | 168.8333 | 2.8133 | 180.0667 | 3.24 | 184.9667 | 7.3567 | 892 | 89.5333 | 1.0707
2019-11-21 02:15:00 | 2.7113 | 165.8413 | 3.1207 | 182.24 | 3.3113 | 179.3467 | 3.5587 | 183.3067 | 7.144 | 891.4667 | 90.6733 | 1.352
2019-11-21 02:30:00 | 2.56 | 164.8033 | 2.9533 | 181.1 | 3.2533 | 176.1 | 3.7 | 181.8667 | 7.02 | 891 | 91.2 | 1.388
2019-11-21 02:45:00 | 2.58 | 156.49 | 2.9733 | 171.9667 | 3.26 | 177.1867 | 3.8567 | 177.0333 | 6.9233 | 891 | 91.4867 | 1.7353
2019-11-21 03:00:00 | 2.68 | 174.93 | 3.0933 | 192.2333 | 3.4 | 184.1667 | 3.9967 | 178.3667 | 6.8233 | 891 | 92.2667 | 2.24
2019-11-21 03:15:00 | 3.06 | 138.8333 | 3.52 | 152.5667 | 3.8767 | 179.3333 | 4.27 | 170.4 | 6.7367 | 891 | 93.3333 | 1.706
2019-11-21 03:30:00 | 2.54 | 155.52 | 2.92 | 170.9 | 3.19 | 174.1333 | 3.8433 | 174.9333 | 6.692 | 891 | 94.4 | 1.782
2019-11-21 03:45:00 | 2.1867 | 177.64 | 2.5133 | 195.2 | 2.72 | 179.1333 | 3.4 | 177.0667 | 6.6167 | 891 | 95.3333 | 1.6307
2019-11-21 04:00:00 | 2.4133 | 187.8333 | 2.78 | 206.4 | 2.9133 | 190.7333 | 3.48 | 174.2667 | 6.57 | 891 | 96.3333 | 1.3753
2019-11-21 04:15:00 | 2.8733 | 142.3633 | 3.3133 | 156.4333 | 3.5733 | 163.3 | 3.9 | 170.5 | 6.4567 | 891 | 97.4 | 1.3067
2019-11-21 04:30:00 | 2.4067 | 163.77 | 2.7667 | 179.9667 | 2.9667 | 174.7 | 3.3533 | 167.9267 | 6.4367 | 891 | 98 | 1.7453
2019-11-21 04:45:00 | 2.6533 | 158.52 | 3.05 | 174.2 | 3.2767 | 182.8667 | 3.78 | 181.1667 | 6.52 | 890.4667 | 98.02 | 1.4773
2019-11-21 05:00:00 | 2.308 | 155.924 | 2.66 | 171.34 | 2.864 | 168.8 | 3.312 | 191.12 | 6.576 | 890 | 97.78 | 2.006
2019-11-21 05:15:00 | 2.2867 | 163.23 | 2.6267 | 179.3667 | 2.6667 | 164.8 | 3.04 | 178.3667 | 6.4067 | 890 | 98.02 | 2.532
2019-11-21 05:30:00 | 2.6867 | 150.91 | 3.0933 | 165.8333 | 3.1733 | 176.4667 | 3.68 | 195.1667 | 6.44 | 890 | 98.7333 | 1.116
2019-11-21 05:45:00 | 2.0967 | 148.4933 | 2.4133 | 163.1667 | 2.5533 | 180.4 | 2.9833 | 182.2 | 6.41 | 890 | 99.1667 | 0.266
2019-11-21 06:00:00 | 1.7553 | 130.3493 | 2.0173 | 143.2333 | 2.0493 | 182.3733 | 2.3793 | 183.8467 | 6.374 | 890 | 99.32 | 0.057333
2019-11-21 06:15:00 | 2.3267 | 167.17 | 2.6767 | 183.7 | 2.9467 | 187.3333 | 2.86 | 190.2333 | 6.34 | 890 | 99.4533 | 0.47867
2019-11-21 06:30:00 | 2.4933 | 171.2433 | 2.87 | 188.1667 | 3.1133 | 192.3333 | 3.1667 | 197.9667 | 6.42 | 890 | 99.48 | 1.528
2019-11-21 06:45:00 | 2.8 | 159.1667 | 3.23 | 174.9 | 3.35 | 190.7333 | 3.48 | 193.4 | 6.46 | 890 | 99.1333 | 1.7607
2019-11-21 07:00:00 | 2.5933 | 162.98 | 2.99 | 179.1 | 2.97 | 198.4 | 3.48 | 189.4 | 6.3487 | 890 | 99.02 | 1.03
2019-11-21 07:15:00 | 2.2233 | 165.44 | 2.5567 | 181.8 | 2.8667 | 188.2 | 3.4333 | 191.4333 | 6.0667 | 890 | 99.6333 | 0.612
2019-11-21 07:30:00 | 1.8233 | 169.8733 | 2.0967 | 186.6667 | 2.7 | 188.9333 | 3.0333 | 190.8333 | 5.8867 | 890 | 99.92 | 1.024
2019-11-21 07:45:00 | 2.55 | 171.4533 | 2.9333 | 188.4 | 3.22 | 187.3 | 3.3233 | 190.8333 | 5.9833 | 890 | 100 | 2.0293
2019-11-21 08:00:00 | 2.7567 | 180.5533 | 3.1733 | 198.4 | 3.5733 | 196.3 | 3.5367 | 192.4333 | 6.0433 | 890 | 100 | 2.232
2019-11-21 08:15:00 | 2.9867 | 169.63 | 3.4367 | 186.4 | 3.6367 | 192.1667 | 3.7533 | 195.3 | 6.0733 | 890 | 100 | 2.134
2019-11-21 08:30:00 | 3.2933 | 177.9433 | 3.79 | 195.5333 | 3.8567 | 187.9667 | 4.0267 | 186.5667 | 6.0067 | 890 | 100 | 2.194
2019-11-21 08:45:00 | 3.2167 | 163.62 | 3.7 | 179.8 | 3.7267 | 181.4667 | 3.8333 | 189.2333 | 5.8 | 890 | 100 | 1.478
2019-11-21 09:00:00 | 2.754 | 154.412 | 3.168 | 169.68 | 3.182 | 184.86 | 3.498 | 189.64 | 5.7793 | 890.8667 | 100 | 2.6827
2019-11-21 09:15:00 | 3.3067 | 164.2267 | 3.8067 | 180.4667 | 3.84 | 191.4667 | 4.2967 | 184 | 5.9133 | 891 | 100 | 4.4953
2019-11-21 09:30:00 | 3.28 | 138.5067 | 3.7733 | 152.2 | 3.7333 | 178.3333 | 4.3167 | 172.9333 | 5.9533 | 891 | 100 | 2.694
2019-11-21 09:45:00 | 2.7867 | 154.2467 | 3.2067 | 169.5 | 3.0467 | 176.9667 | 3.27 | 187 | 5.95 | 891 | 100 | 3.262
2019-11-21 10:00:00 | 2.6733 | 157.4667 | 3.08 | 173.0333 | 2.9667 | 176.6333 | 3.07 | 188.5333 | 5.9967 | 891 | 100 | 4.3433
2019-11-21 10:15:00 | 2.802 | 140.718 | 3.222 | 154.6333 | 3.1393 | 144.3733 | 3.368 | 179.8067 | 6.118 | 891 | 100 | 3.4833
2019-11-21 10:30:00 | 2.7933 | 160.22 | 3.2133 | 176.0667 | 3.1633 | 166.7333 | 3.2633 | 175.8667 | 6.1467 | 891 | 100 | 2.824
2019-11-21 10:45:00 | 2.5933 | 143.7233 | 2.9867 | 157.9333 | 2.8767 | 167.5667 | 3.17 | 182.0667 | 6.3933 | 891 | 99.4 | 3.2787
2019-11-21 11:00:00 | 2.3467 | 160.0433 | 2.7 | 175.8667 | 2.7033 | 172.1 | 2.9833 | 184.7333 | 6.6 | 891 | 98.8 | 3.426
2019-11-21 11:15:00 | 2.9 | 167.7733 | 3.3367 | 184.3667 | 3.24 | 194.3 | 3.1933 | 194.8 | 6.6353 | 891 | 98.3667 | 3.2753
2019-11-21 11:30:00 | 2.91 | 170.552 | 3.348 | 187.42 | 3.266 | 195.34 | 3.498 | 195.72 | 6.7213 | 891 | 97.8 | 4.1213
2019-11-21 11:45:00 | 3.09 | 153.6767 | 3.56 | 168.8667 | 3.4667 | 199.0333 | 3.6033 | 198.5667 | 7.0333 | 891 | 96.4 | 5.0153
2019-11-21 12:00:00 | 2.9233 | 153.61 | 3.36 | 168.8 | 3.2667 | 190.7667 | 3.2433 | 181.7 | 7.0933 | 891 | 96.02 | 4.3187
2019-11-21 12:15:00 | 2.7533 | 146.79 | 3.17 | 161.3 | 3.06 | 177.6333 | 3.0867 | 206.8 | 7.1667 | 891 | 96.1667 | 4.6513
2019-11-21 12:30:00 | 2.6667 | 152.3593 | 3.07 | 167.4267 | 2.98 | 189.1 | 2.7933 | 186 | 7.3933 | 891 | 95.88 | 5.8
2019-11-21 12:45:00 | 2.9967 | 155.5467 | 3.4433 | 170.9333 | 3.4767 | 235.4333 | 3.54 | 232.7 | 7.37 | 891 | 96.2 | 7.018
2019-11-21 13:00:00 | 3.3767 | 169.66 | 3.8833 | 186.44 | 3.93 | 219.0333 | 4.0467 | 225.9 | 7.4767 | 891 | 94.9333 | 5.7293
2019-11-21 13:15:00 | 3.1533 | 161.95 | 3.6267 | 177.9667 | 3.8367 | 226.2667 | 3.8133 | 214.0333 | 7.62 | 891 | 94.1 | 4.4133
2019-11-21 13:30:00 | 2.9667 | 143.75 | 3.4133 | 157.9667 | 3.53 | 192.1333 | 3.22 | 215.3667 | 7.7867 | 890.1333 | 93.9 | 5.1213
2019-11-21 13:45:00 | 3.26 | 160.29 | 3.75 | 176.1333 | 3.77 | 193.2333 | 3.51 | 206.2 | 7.7633 | 890 | 94.6 | 4.424
2019-11-21 14:00:00 | 2.7467 | 146.0367 | 3.1567 | 160.4667 | 3.1433 | 191.1667 | 3.27 | 198.5333 | 8.07 | 890 | 93.6667 | 3.9693
2019-11-21 14:15:00 | 3.02 | 138.0533 | 3.47 | 151.7 | 3.3967 | 166.8 | 3.2633 | 203.5333 | 8.1567 | 890 | 92.9467 | 2.15
2019-11-21 14:30:00 | 3.0133 | 161.16 | 3.4633 | 177.1 | 3.3367 | 166.2 | 3.3967 | 185.0667 | 8.17 | 889.1333 | 92.0333 | 1.1967
2019-11-21 14:45:00 | 2.68 | 126.47 | 3.08 | 138.9667 | 2.978 | 168.8333 | 3.06 | 171.0667 | 8.5533 | 889 | 89.2333 | 0.74733
2019-11-21 15:00:00 | 2.8467 | 150.3033 | 3.2733 | 165.1667 | 3.1 | 181.9 | 3.08 | 200.3333 | 8.6267 | 889 | 88.4333 | 0.706
2019-11-21 15:15:00 | 2.66 | 144.9933 | 3.0633 | 159.3333 | 2.8233 | 171.1333 | 2.9467 | 194.1 | 8.5333 | 889 | 88.5 | 0.556
2019-11-21 15:30:00 | 2.64 | 151.42 | 3.0367 | 166.4 | 2.8833 | 211.2667 | 2.7333 | 201.9667 | 8.4133 | 889 | 88.6133 | 0.63933
2019-11-21 15:45:00 | 2.5833 | 155.6433 | 2.9767 | 171.0333 | 2.9967 | 187.4667 | 3.16 | 194.4 | 8.2967 | 889 | 89.7667 | 0.55933
2019-11-21 16:00:00 | 2.3833 | 164.6833 | 2.7433 | 180.9667 | 2.8233 | 193.6 | 2.9933 | 201.26 | 8.2167 | 889 | 91.3 | 0.60867
2019-11-21 16:15:00 | 1.71 | 180.16 | 1.97 | 197.9667 | 2.3033 | 231.1667 | 2.2367 | 220.9333 | 8.15 | 889 | 91.1667 | 0.50133
2019-11-21 16:30:00 | 2.1633 | 175.36 | 2.49 | 192.7 | 2.7633 | 211.9 | 2.67 | 198 | 8.1367 | 889 | 90.9 | 0.39
2019-11-21 16:45:00 | 2.0867 | 186.7367 | 2.41 | 205.2 | 2.5667 | 219.2333 | 2.7367 | 188.3 | 8.1353 | 889 | 90.4 | 1.3947
2019-11-21 17:00:00 | 2.48 | 173.6967 | 2.85 | 190.8667 | 3.14 | 208.5667 | 3.0433 | 203.3667 | 8.122 | 889 | 90.8867 | 1.7507
2019-11-21 17:15:00 | 2.4 | 171.6567 | 2.76 | 188.6333 | 3.05 | 204.6333 | 2.8933 | 208.8667 | 7.9 | 889 | 93.8667 | 2.456
2019-11-21 17:30:00 | 2.48 | 173.7833 | 2.8533 | 190.9667 | 3.2833 | 198.34 | 3.16 | 202 | 7.7933 | 889 | 94.8 | 2.6153
2019-11-21 17:45:00 | 2.2967 | 170.5733 | 2.64 | 187.4333 | 3.15 | 203.1 | 3.0933 | 214.4 | 7.6933 | 889 | 94.7 | 3.2727
2019-11-21 18:00:00 | 2.65 | 164.44 | 3.0467 | 180.7 | 3.4633 | 217.7667 | 3.72 | 215.8 | 7.6467 | 888.1333 | 94.5667 | 3.698
2019-11-21 18:15:00 | 2.0133 | 165.2867 | 2.32 | 181.6333 | 2.5933 | 215.1333 | 2.7933 | 221.5 | 7.63 | 888 | 94.3667 | 1.9847
2019-11-21 18:30:00 | 1.5467 | 167.1067 | 1.78 | 183.6333 | 2.1933 | 232.4667 | 2.46 | 233.7267 | 7.59 | 888 | 94.7667 | 1.668
2019-11-21 18:45:00 | 1.72 | 175.51 | 1.9767 | 192.8667 | 2.4233 | 223.6333 | 2.53 | 218.6333 | 7.5167 | 888 | 95.4 | 1.6433
2019-11-21 19:00:00 | 2.0267 | 173.27 | 2.33 | 190.4 | 2.87 | 222.8333 | 2.8433 | 220.7667 | 7.4767 | 888.8667 | 95.6 | 1.8233
2019-11-21 19:15:00 | 2.46 | 181.15 | 2.83 | 199.0667 | 3.2833 | 217.6333 | 3.21 | 222.4 | 7.49 | 889 | 95.1333 | 1.6747
2019-11-21 19:30:00 | 2.4867 | 180.1233 | 2.8567 | 197.9333 | 3.3633 | 219.9 | 3.29 | 217.4667 | 7.468 | 889 | 94.98 | 0.93333
2019-11-21 19:45:00 | 2.216 | 171.838 | 2.5473 | 188.8333 | 3.2453 | 219.08 | 3.038 | 215.5533 | 7.4707 | 889 | 94.5667 | 1.246
2019-11-21 20:00:00 | 2.65 | 174.7233 | 3.0533 | 192 | 3.65 | 217.06 | 3.52 | 216.6667 | 7.46 | 889 | 94.5333 | 1.4227
2019-11-21 20:15:00 | 2.2967 | 176.54 | 2.6433 | 194 | 3.05 | 212.9333 | 3.04 | 218.3667 | 7.47 | 889 | 93.7333 | 2.0547
2019-11-21 20:30:00 | 2.43 | 167.3267 | 2.8033 | 183.8667 | 3.29 | 208.8667 | 3.3067 | 220.2333 | 7.4567 | 889 | 93.2 | 2.1147
2019-11-21 20:45:00 | 2.5653 | 163.37 | 2.96 | 179.52 | 3.4833 | 216 | 3.6087 | 226.28 | 7.422 | 889 | 92.66 | 2.956
2019-11-21 21:00:00 | 2.7133 | 163.47 | 3.1233 | 179.6333 | 3.6967 | 219.4667 | 3.88 | 220.6667 | 7.4113 | 889 | 92.6333 | 4.9633
2019-11-21 21:15:00 | 3.0167 | 167.5667 | 3.47 | 184.1333 | 3.9 | 222.1333 | 3.96 | 218.3333 | 7.4533 | 889.5333 | 92.7 | 5.0487
2019-11-21 21:30:00 | 3.2367 | 165.0133 | 3.7233 | 181.3333 | 4.1333 | 217.2 | 4.0867 | 218.5333 | 7.48 | 889.8 | 92.6333 | 6.972
2019-11-21 21:45:00 | 3.0667 | 165.7533 | 3.5267 | 182.1333 | 4.0067 | 215.4 | 4.02 | 220.8 | 7.472 | 889.5333 | 92.9 | 6.9587
2019-11-21 22:00:00 | 2.94 | 170.2333 | 3.38 | 187.0667 | 3.96 | 210.8267 | 4.1067 | 217.5333 | 7.4233 | 889.3333 | 93.9 | 6.776
2019-11-21 22:15:00 | 3.3367 | 179.66 | 3.8467 | 197.4333 | 4.3067 | 211.8333 | 4.47 | 212.9667 | 7.3533 | 890 | 94.9 | 6.9153
2019-11-21 22:30:00 | 3.3367 | 173.9 | 3.84 | 191.1 | 4.3267 | 216.3 | 4.3767 | 221.9 | 7.3533 | 890 | 94.7867 | 5.7367
2019-11-21 22:45:00 | 2.9933 | 166.0133 | 3.4467 | 182.4333 | 3.9133 | 211.6 | 4 | 217.5667 | 7.3233 | 890 | 94.82 | 6.1653
2019-11-21 23:00:00 | 3.0467 | 172.3867 | 3.5 | 189.4333 | 3.9133 | 213.1333 | 3.9867 | 217.9 | 7.312 | 889.3333 | 94.98 | 4.9587
2019-11-21 23:15:00 | 2.6467 | 177.12 | 3.0433 | 194.6333 | 3.3633 | 207.8 | 3.5 | 216.7333 | 7.32 | 889.4667 | 95 | 4.698
2019-11-21 23:30:00 | 2.7867 | 174.76 | 3.2033 | 192.0333 | 3.6967 | 215.0667 | 3.8733 | 220.6 | 7.2827 | 889 | 95.6 | 4.4453
2019-11-21 23:45:00 | 2.6067 | 175.99 | 2.9933 | 193.4 | 3.4267 | 212.5 | 3.7367 | 224.3667 | 7.2753 | 889 | 95.2 | 3.944