## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-22 00:00:00 | 2.3493 | 158.4807 | 2.7029 | 174.1571 | 3.1029 | 208.7929 | 3.3579 | 219.2 | 7.25 | 889 | 95.3 | 3.57
2019-11-22 00:15:00 | 2.54 | 170.9 | 2.9267 | 187.8 | 3.0833 | 202.4667 | 3.3533 | 208.1 | 7.2313 | 889 | 95.5867 | 3.9853
2019-11-22 00:30:00 | 2.7 | 176.6067 | 3.1067 | 194.0667 | 3.6433 | 206.6667 | 4.0133 | 215.1 | 7.2267 | 889 | 95.5 | 4.2767
2019-11-22 00:45:00 | 2.4867 | 166.8667 | 2.8633 | 183.3667 | 3.1433 | 207.6333 | 3.11 | 217.6333 | 7.198 | 889 | 95.9 | 3.6087
2019-11-22 01:00:00 | 2.5067 | 154.3733 | 2.8833 | 169.6333 | 2.9767 | 202.9 | 3.1233 | 208.1 | 7.0733 | 888.8 | 97.1667 | 3.348
2019-11-22 01:15:00 | 2.62 | 165.6867 | 3.02 | 182.0667 | 2.9767 | 203.1333 | 3.1267 | 213 | 7.01 | 888 | 98 | 2.8987
2019-11-22 01:30:00 | 2.6467 | 160.2267 | 3.0467 | 176.0667 | 3.2833 | 208.1333 | 3.54 | 213.2867 | 7.0033 | 888 | 97.98 | 2.3973
2019-11-22 01:45:00 | 2.3 | 179.3 | 2.6467 | 197.0333 | 2.6533 | 192.6 | 2.7133 | 203.6333 | 6.9667 | 888 | 98.3333 | 2.5247
2019-11-22 02:00:00 | 2.0067 | 178.46 | 2.3133 | 196.1 | 2.3067 | 206.8 | 2.5333 | 211.44 | 6.9067 | 888 | 98.8667 | 2.1727
2019-11-22 02:15:00 | 1.9267 | 166.2067 | 2.22 | 182.6333 | 2.3033 | 223.6667 | 2.52 | 226.6667 | 6.8767 | 888 | 99.4 | 2.278
2019-11-22 02:30:00 | 2.1133 | 182.16 | 2.4267 | 200.1667 | 2.7567 | 221.4667 | 2.7733 | 219.7333 | 6.89 | 888 | 99.4867 | 2.1073
2019-11-22 02:45:00 | 2.2333 | 175.9733 | 2.5667 | 193.3667 | 2.7933 | 202.5 | 2.86 | 213.9 | 6.8813 | 888 | 99.5533 | 2.1133
2019-11-22 03:00:00 | 2.1733 | 160.2 | 2.5067 | 176.0333 | 2.5067 | 199.6333 | 2.8133 | 208.1 | 6.85 | 887.8 | 99.82 | 1.9693
2019-11-22 03:15:00 | 2.2733 | 158.1127 | 2.6153 | 173.7533 | 2.6307 | 191.82 | 2.6313 | 204.26 | 6.796 | 887 | 99.9533 | 1.7947
2019-11-22 03:30:00 | 2.1533 | 163.3233 | 2.4767 | 179.4667 | 2.5067 | 172.7333 | 2.39 | 197.3333 | 6.782 | 887 | 100 | 2.01
2019-11-22 03:45:00 | 2.212 | 154.53 | 2.5447 | 169.8 | 2.6553 | 192.2333 | 2.5747 | 200.76 | 6.7847 | 887 | 99.8933 | 2.0313
2019-11-22 04:00:00 | 2.36 | 176.825 | 2.715 | 194.3 | 2.84 | 190.95 | 2.755 | 193.25 | 6.77 | 887 | 99.78 | 1.855
2019-11-22 04:15:00 | 2.36 | 176.825 | 2.715 | 194.3 | 2.84 | 190.95 | 2.755 | 193.25 | 6.77 | 887 | 99.78 | 1.855
2019-11-22 04:30:00 | 2.36 | 176.825 | 2.715 | 194.3 | 2.84 | 190.95 | 2.755 | 193.25 | 6.77 | 887 | 99.78 | 1.855
2019-11-22 04:45:00 | 2.36 | 176.825 | 2.715 | 194.3 | 2.84 | 190.95 | 2.755 | 193.25 | 6.77 | 887 | 99.78 | 1.855
2019-11-22 05:00:00 | 2.36 | 176.825 | 2.715 | 194.3 | 2.84 | 190.95 | 2.755 | 193.25 | 6.77 | 887 | 99.78 | 1.855
2019-11-22 05:15:00 | 2.2033 | 161.8933 | 2.5367 | 177.9 | 2.51 | 197.5333 | 2.3633 | 187.7333 | 6.6933 | 887 | 99.8533 | 4.4907
2019-11-22 05:30:00 | 2.2033 | 161.8933 | 2.5367 | 177.9 | 2.51 | 197.5333 | 2.3633 | 187.7333 | 6.6933 | 887 | 99.8533 | 4.4907
2019-11-22 05:45:00 | 2.2033 | 161.8933 | 2.5367 | 177.9 | 2.51 | 197.5333 | 2.3633 | 187.7333 | 6.6933 | 887 | 99.8533 | 4.4907
2019-11-22 06:00:00 | 2.2033 | 161.8933 | 2.5367 | 177.9 | 2.51 | 197.5333 | 2.3633 | 187.7333 | 6.6933 | 887 | 99.8533 | 4.4907
2019-11-22 06:15:00 | 2.2033 | 161.8933 | 2.5367 | 177.9 | 2.51 | 197.5333 | 2.3633 | 187.7333 | 6.6933 | 887 | 99.8533 | 4.4907
2019-11-22 06:30:00 | 2.2367 | 167.96 | 2.57 | 184.5667 | 2.5233 | 182.4 | 2.4033 | 190.1333 | 6.68 | 887 | 99.9867 | 3.734
2019-11-22 06:45:00 | 2.2933 | 156.89 | 2.6433 | 172.4 | 2.4167 | 180.1333 | 2.46 | 198.9 | 6.64 | 887 | 100 | 3.8133
2019-11-22 07:00:00 | 2.3067 | 153.6167 | 2.6567 | 168.8 | 2.3767 | 176.6667 | 2.3667 | 184.1 | 6.6067 | 887 | 100 | 3.8533
2019-11-22 07:15:00 | 2.1 | 150.7267 | 2.42 | 165.6333 | 2.2733 | 198.8333 | 2.3333 | 200.2 | 6.5733 | 887 | 100 | 3.884
2019-11-22 07:30:00 | 2.0667 | 157.5867 | 2.3867 | 173.1667 | 2.2067 | 202.0333 | 2.3267 | 203.3333 | 6.5467 | 887 | 100 | 3.42
2019-11-22 07:45:00 | 1.82 | 189.8833 | 2.1067 | 208.6667 | 2.1733 | 206.1333 | 2.47 | 218.4333 | 6.54 | 887 | 100 | 3.2367
2019-11-22 08:00:00 | 2.0533 | 183.5167 | 2.3733 | 201.6667 | 2.7 | 216.2667 | 2.87 | 212.1667 | 6.476 | 887 | 100 | 3.7093
2019-11-22 08:15:00 | 1.98 | 171.6033 | 2.2767 | 188.5667 | 2.4733 | 221.8 | 2.3133 | 202.9533 | 6.4167 | 887 | 100 | 3.7907
2019-11-22 08:30:00 | 1.7667 | 182.6367 | 2.0433 | 200.7 | 2.5267 | 232 | 2.2933 | 223.1 | 6.45 | 887 | 100 | 4.116
2019-11-22 08:45:00 | 2.2267 | 176.69 | 2.5633 | 194.1667 | 2.8067 | 206.3 | 2.85 | 212 | 6.4733 | 887 | 100 | 3.608
2019-11-22 09:00:00 | 1.6267 | 177.85 | 1.8833 | 195.4333 | 2.2733 | 221.5 | 2.41 | 206.4 | 6.54 | 887 | 100 | 3.11
2019-11-22 09:15:00 | 1.48 | 192.8267 | 1.7067 | 211.9 | 2.01 | 223.7667 | 2.2567 | 214.3667 | 6.6033 | 887.5333 | 100 | 2.4867
2019-11-22 09:30:00 | 1.3 | 176.88 | 1.5 | 194.3667 | 2.0033 | 214.1 | 2.29 | 220.32 | 6.6567 | 888 | 100 | 2.2953
2019-11-22 09:45:00 | 1.1133 | 178.1467 | 1.2833 | 195.7667 | 1.87 | 231.0333 | 2.4433 | 222.5333 | 6.7533 | 888 | 100 | 2.2407
2019-11-22 10:00:00 | 1.6 | 175.54 | 1.8433 | 192.9 | 2.4767 | 223.3 | 2.9433 | 218.8667 | 6.778 | 888 | 100 | 2.444
2019-11-22 10:15:00 | 1.77 | 191.9633 | 2.0367 | 210.9333 | 2.4367 | 218.2667 | 2.64 | 220.8667 | 6.9433 | 888 | 100 | 2.6647
2019-11-22 10:30:00 | 1.8167 | 183.1633 | 2.0967 | 201.2667 | 2.3033 | 220.2 | 2.7067 | 219 | 7.0167 | 888 | 99.98 | 2.736
2019-11-22 10:45:00 | 1.95 | 172.8433 | 2.2467 | 189.9333 | 2.0367 | 204.8667 | 2.25 | 216.9 | 6.9933 | 888 | 99.4667 | 2.8693
2019-11-22 11:00:00 | 1.5233 | 152.1033 | 1.7667 | 167.1333 | 1.4633 | 200.8667 | 1.7833 | 223.1 | 6.998 | 888 | 99.8667 | 2.214
2019-11-22 11:15:00 | 1.2833 | 153.8867 | 1.4867 | 169.1 | 1.0833 | 212.0333 | 1.9367 | 217.7 | 7.0033 | 888 | 100 | 2.4907
2019-11-22 11:30:00 | 1.3633 | 160.44 | 1.5667 | 176.3 | 1.2967 | 211.7 | 1.8167 | 226.8333 | 7.0633 | 888 | 100 | 2.0813
2019-11-22 11:45:00 | 1.4467 | 169.8667 | 1.6733 | 186.6667 | 1.4467 | 219.5 | 1.808 | 213.7667 | 7.14 | 888 | 99.7133 | 1.9573
2019-11-22 12:00:00 | 1.6267 | 152.4 | 1.88 | 167.4667 | 1.82 | 211.6333 | 1.97 | 207.9667 | 7.2267 | 888 | 98.5333 | 1.224
2019-11-22 12:15:00 | 1.1667 | 165.3233 | 1.3433 | 181.6667 | 0.97667 | 198.8 | 1.38 | 202.5 | 7.3633 | 888 | 97.1333 | 1.0827
2019-11-22 12:30:00 | 1.7133 | 167.87 | 1.97 | 184.4667 | 1.6233 | 196.6 | 1.92 | 190.5 | 7.4033 | 887.1333 | 96.3333 | 1.3147
2019-11-22 12:45:00 | 1.8533 | 142.18 | 2.1333 | 156.2333 | 1.6767 | 184.8667 | 1.7633 | 205.7667 | 7.54 | 887 | 95.6667 | 1.1767
2019-11-22 13:00:00 | 1.5667 | 157.2133 | 1.8067 | 172.7667 | 1.5833 | 214.4667 | 1.49 | 211.5 | 7.68 | 887 | 95.3333 | 0.924
2019-11-22 13:15:00 | 2.0567 | 182.73 | 2.3667 | 200.8 | 2.14 | 201.0333 | 2.4133 | 203.0333 | 7.8367 | 887 | 93.5333 | 1.39
2019-11-22 13:30:00 | 2.41 | 180.6033 | 2.7733 | 198.4667 | 2.6333 | 193.4333 | 2.9467 | 189.7667 | 7.8833 | 886.1333 | 93 | 1.7647
2019-11-22 13:45:00 | 2.0867 | 179.4267 | 2.4067 | 197.1667 | 2.2533 | 199.7 | 2.4733 | 209.5333 | 7.9867 | 886 | 92.6667 | 0.63933
2019-11-22 14:00:00 | 1.6467 | 148.4867 | 1.9 | 163.1667 | 1.58 | 182.6333 | 1.48 | 188.0667 | 8.1267 | 886 | 92.4 | 0.742
2019-11-22 14:15:00 | 2.06 | 142.654 | 2.3733 | 156.76 | 2.1233 | 163.5667 | 2 | 194.2 | 8.1013 | 885.4667 | 92.4 | 0.716
2019-11-22 14:30:00 | 2.0333 | 162.5667 | 2.3333 | 178.6333 | 2.09 | 188.7 | 2.26 | 195.1333 | 7.9767 | 885 | 93.2 | 0.44533
2019-11-22 14:45:00 | 1.5307 | 164.9853 | 1.764 | 181.3 | 1.724 | 221.3933 | 1.9433 | 208.66 | 8.0247 | 885 | 93.4267 | 0.47333
2019-11-22 15:00:00 | 2.0333 | 168.6867 | 2.35 | 185.3667 | 2.6433 | 218.9333 | 2.5833 | 219.4333 | 8.118 | 885 | 93.3 | 0.35867
2019-11-22 15:15:00 | 1.87 | 147.7 | 2.16 | 162.3 | 2.36 | 222.3 | 2.54 | 224.9 | 8.18 | 885 | 93.2 | 0.10467
2019-11-22 15:30:00 | 1.87 | 147.7 | 2.16 | 162.3 | 2.36 | 222.3 | 2.54 | 224.9 | 8.18 | 885 | 93.2 | 0.1
2019-11-22 15:45:00 | 1.87 | 147.7 | 2.16 | 162.3 | 2.36 | 222.3 | 2.54 | 224.9 | 8.18 | 885 | 93.2 | 0.1
2019-11-22 16:00:00 | 1.9193 | 149.9813 | 2.2173 | 164.8067 | 2.3467 | 219.9667 | 2.5453 | 223.02 | 8.188 | 884.8667 | 93.36 | 0.14267
2019-11-22 16:15:00 | 1.5013 | 176.0113 | 1.734 | 193.4133 | 1.524 | 204.68 | 1.7553 | 206.18 | 8.2873 | 884 | 94.6533 | 0.95
2019-11-22 16:30:00 | 2.0133 | 153.4967 | 2.3233 | 168.6667 | 2.2467 | 186.5667 | 2.4033 | 204.1333 | 8.25 | 884 | 94.4 | 0.692
2019-11-22 16:45:00 | 2.02 | 143.27 | 2.32 | 157.4333 | 2.18 | 173.4 | 2.4667 | 188.2 | 8.1633 | 884 | 93.3 | 0.896
2019-11-22 17:00:00 | 2.0133 | 134.1033 | 2.3133 | 147.3667 | 2.16 | 176.8667 | 2.4067 | 188.6667 | 8.1033 | 884 | 93.9667 | 0.84467
2019-11-22 17:15:00 | 1.43 | 143.03 | 1.66 | 157.1667 | 1.5967 | 197 | 2.0967 | 206.7 | 8.03 | 884 | 94.4 | 1.2393
2019-11-22 17:30:00 | 1.5767 | 166.2567 | 1.8267 | 182.7 | 1.7767 | 196 | 2.2367 | 206.0333 | 8.0093 | 883.9333 | 94.4733 | 0.68467
2019-11-22 17:45:00 | 1.3133 | 178.3267 | 1.5233 | 195.9667 | 1.5067 | 207.8 | 1.7867 | 199.1667 | 7.98 | 883.4 | 93.8 | 0.24067
2019-11-22 18:00:00 | 0.95333 | 189.3733 | 1.0967 | 208.1 | 1.42 | 211.0667 | 1.6067 | 211.4333 | 7.9667 | 884 | 93.7333 | 0.14867
2019-11-22 18:15:00 | 1.4267 | 173.1733 | 1.65 | 190.3 | 2.32 | 225.8667 | 1.9867 | 221.0333 | 7.92 | 884 | 93.7333 | 0.30133
2019-11-22 18:30:00 | 1.36 | 182.9467 | 1.57 | 201.0333 | 2.2333 | 221.1933 | 1.9267 | 214.5667 | 7.9273 | 884 | 93.2667 | 0.057333
2019-11-22 18:45:00 | 0.76533 | 271.7367 | 0.88933 | 298.6 | 1.47 | 247.9467 | 1.1527 | 227.76 | 7.9367 | 884 | 92.78 | 0.018667
2019-11-22 19:00:00 | 0.19667 | 261.7227 | 0.23 | 287.5933 | 0.38333 | 246.2 | 0.27333 | 223.4667 | 8.0167 | 884.7333 | 92.0333 | 0.092
2019-11-22 19:15:00 | 0 | 261.584 | 0.006667 | 287.46 | 0 | 242.5333 | 0 | 219.7 | 8.1167 | 885 | 91.8333 | 0
2019-11-22 19:30:00 | 0.04 | 261.53 | 0.046667 | 287.4 | 0 | 223.4 | 0 | 219.7 | 8.07 | 885 | 92.3 | 0
2019-11-22 19:45:00 | 0 | 261.566 | 0 | 287.44 | 0 | 180.8 | 0 | 219.7 | 8.0427 | 885 | 92.7 | 0
2019-11-22 20:00:00 | 0.14667 | 271.538 | 0.16667 | 298.3933 | 0.17333 | 79.62 | 0.073333 | 219.7 | 8.0093 | 885 | 92.9067 | 0
2019-11-22 20:15:00 | 1.08 | 300.97 | 1.2433 | 330.7333 | 1.6467 | 18.82 | 1.3867 | 14.2267 | 7.9067 | 885 | 93.8333 | 0
2019-11-22 20:30:00 | 1.8 | 299.33 | 2.07 | 328.9333 | 2.48 | 7.5067 | 2.5067 | 17.9533 | 7.7733 | 885 | 95.3 | 0
2019-11-22 20:45:00 | 2.1833 | 103.6067 | 2.51 | 113.8467 | 4.0233 | 7.81 | 3.9733 | 15.52 | 7.66 | 885 | 96.4 | 1.4853
2019-11-22 21:00:00 | 2.27 | 118.714 | 2.61 | 130.454 | 3.942 | 10.89 | 4.04 | 17.824 | 7.672 | 885.7333 | 96.22 | 2.0793
2019-11-22 21:15:00 | 2.1767 | 291.9867 | 2.5 | 320.8667 | 4.1333 | 12.7433 | 4.1833 | 22.47 | 7.674 | 886 | 96.1267 | 3.2607
2019-11-22 21:30:00 | 2.35 | 123.2533 | 2.7 | 135.44 | 4.36 | 9.11 | 4.51 | 20.1367 | 7.66 | 886 | 96.3333 | 4.4267
2019-11-22 21:45:00 | 2.49 | 109.16 | 2.8633 | 119.9533 | 4.14 | 14.4267 | 4.1067 | 18.4167 | 7.7067 | 886 | 96.0333 | 5.3327
2019-11-22 22:00:00 | 2.4033 | 134.7267 | 2.7633 | 148.0467 | 4.22 | 5.22 | 4.38 | 14.9633 | 7.7067 | 886 | 96.0333 | 9
2019-11-22 22:15:00 | 2.98 | 198.7333 | 3.4267 | 218.38 | 5.49 | 126.1133 | 5.5233 | 13.6867 | 7.6533 | 886 | 96.6667 | 13.122
2019-11-22 22:30:00 | 3.4667 | 10.98 | 3.9867 | 12.0667 | 5.404 | 341.2333 | 5.3233 | 14.2733 | 7.6533 | 886.0667 | 96.6667 | 14.1107
2019-11-22 22:45:00 | 3.3533 | 174.23 | 3.8633 | 191.4567 | 6.1567 | 243.3333 | 5.8667 | 16.1867 | 7.6033 | 887 | 97.2333 | 15.8053
2019-11-22 23:00:00 | 3.5467 | 102.4567 | 4.0833 | 112.59 | 6.6967 | 16.0333 | 6.36 | 24.94 | 7.4967 | 887 | 98.0333 | 19.3767
2019-11-22 23:15:00 | 3.5333 | 302.82 | 4.0633 | 332.7667 | 6.8633 | 15.7433 | 6.6567 | 16.5533 | 7.3967 | 887 | 98.8667 | 25.116
2019-11-22 23:30:00 | 4.0133 | 90.72 | 4.6167 | 99.6933 | 7.6367 | 15.8033 | 7.35 | 19.16 | 7.3167 | 887 | 99.5333 | 28.6507
2019-11-22 23:45:00 | 4.1867 | 117.13 | 4.8233 | 128.7067 | 7.4367 | 9.3067 | 7.22 | 18.8233 | 7.27 | 887 | 99.9 | 27.92