## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-23 00:00:00 | 4.2 | 195.1414 | 4.83 | 214.4429 | 6.8021 | 231.4857 | 6.5943 | 15.6743 | 7.2629 | 887 | 99.96 | 30.0793
2019-11-23 00:15:00 | 3.68 | 109.64 | 4.2333 | 120.4733 | 6.18 | 119.7467 | 6.0467 | 12.73 | 7.274 | 887 | 100 | 32.0747
2019-11-23 00:30:00 | 4.0267 | 301.8133 | 4.64 | 331.6667 | 6.8933 | 342.8333 | 6.66 | 10.3567 | 7.2873 | 887 | 100 | 31.2953
2019-11-23 00:45:00 | 4.0533 | 216.5367 | 4.6633 | 237.95 | 6.8567 | 7.9533 | 7.04 | 12.1067 | 7.27 | 887 | 100 | 32.3427
2019-11-23 01:00:00 | 3.76 | 1.0367 | 4.33 | 1.1367 | 6.41 | 7.7933 | 6.66 | 20.58 | 7.2687 | 886.9333 | 100 | 36.5013
2019-11-23 01:15:00 | 4.3067 | 197.8033 | 4.95 | 217.3667 | 7.4033 | 67.9133 | 7.35 | 11.16 | 7.2427 | 886 | 100 | 37.27
2019-11-23 01:30:00 | 4.0533 | 35.4633 | 4.6633 | 38.9733 | 6.9767 | 63.9267 | 6.9833 | 6.8467 | 7.2287 | 886 | 100 | 35.3513
2019-11-23 01:45:00 | 3.7467 | 323.45 | 4.3133 | 355.4333 | 6.46 | 3.8767 | 6.5733 | 11.33 | 7.2207 | 886 | 100 | 34.5493
2019-11-23 02:00:00 | 3.7933 | 307.7367 | 4.3667 | 338.1667 | 6.5467 | 19.6367 | 6.5533 | 238.45 | 7.2413 | 886 | 100 | 34.9547
2019-11-23 02:15:00 | 3.9767 | 109.6933 | 4.58 | 120.5333 | 6.7933 | 353.7333 | 6.76 | 3.5767 | 7.3 | 886 | 100 | 32.578
2019-11-23 02:30:00 | 4.4167 | 123.7933 | 5.0867 | 136.0333 | 7.2933 | 338.4 | 7.0867 | 12.1367 | 7.38 | 886 | 99.5867 | 37.522
2019-11-23 02:45:00 | 4.42 | 27.0533 | 5.0833 | 29.72 | 7.6467 | 10.6033 | 7.5933 | 10.8233 | 7.4167 | 886 | 99 | 39.1853
2019-11-23 03:00:00 | 4.6267 | 216.9333 | 5.33 | 238.3867 | 8.0733 | 13.0967 | 8.2067 | 13.61 | 7.37 | 886 | 99.0733 | 34.4853
2019-11-23 03:15:00 | 4.06 | 98.2933 | 4.6667 | 108.0067 | 7.0733 | 14.95 | 7.1867 | 21.5033 | 7.34 | 886 | 99.06 | 31.5673
2019-11-23 03:30:00 | 4.24 | 115.9267 | 4.8733 | 127.38 | 6.3667 | 15.03 | 6.4733 | 21.15 | 7.3807 | 885.2667 | 98.5267 | 32.5307
2019-11-23 03:45:00 | 4.1733 | 111.8333 | 4.8 | 122.8867 | 6.9667 | 227.25 | 6.62 | 1.7433 | 7.3933 | 885 | 98.3267 | 35.2267
2019-11-23 04:00:00 | 4 | 111.7 | 4.602 | 122.748 | 7 | 210.42 | 7.014 | 1.476 | 7.41 | 885.0667 | 98.16 | 35.13
2019-11-23 04:15:00 | 4.3267 | 153.3133 | 4.99 | 168.4667 | 7.5233 | 350.3667 | 7.25 | 2.53 | 7.47 | 886 | 97.6 | 34.4947
2019-11-23 04:30:00 | 3.8733 | 35.5867 | 4.4567 | 39.1 | 6.21 | 345.7 | 6.3833 | 13.7967 | 7.4373 | 886 | 97.8 | 35.684
2019-11-23 04:45:00 | 4.52 | 200.39 | 5.1933 | 220.2 | 7.3367 | 240.1867 | 7.55 | 24.4267 | 7.44 | 886 | 97.9667 | 40.8447
2019-11-23 05:00:00 | 4.5267 | 27.4967 | 5.2067 | 30.2133 | 7.39 | 13.36 | 7.4567 | 25.28 | 7.48 | 886 | 97.6933 | 39.5867
2019-11-23 05:15:00 | 4.61 | 201.1667 | 5.3033 | 221.06 | 7.6167 | 7.81 | 7.5533 | 6.72 | 7.44 | 886 | 97.9667 | 41.06
2019-11-23 05:30:00 | 4.9567 | 7.7733 | 5.6967 | 8.5467 | 7.69 | 241.6433 | 7.3667 | 238.3933 | 7.3993 | 886 | 98.3067 | 42.564
2019-11-23 05:45:00 | 4.5567 | 226.4267 | 5.2467 | 248.82 | 6.8733 | 122.3733 | 6.9633 | 27.3333 | 7.394 | 886 | 98.4 | 42.3573
2019-11-23 06:00:00 | 4.6767 | 220.06 | 5.38 | 241.82 | 6.8867 | 349.9 | 7.1567 | 238.5067 | 7.4007 | 885.9333 | 98.32 | 42.07
2019-11-23 06:15:00 | 4.51 | 315.8 | 5.1833 | 347.0333 | 7.1767 | 339.4 | 6.9933 | 8.39 | 7.44 | 885 | 97.9 | 40.1853
2019-11-23 06:30:00 | 4.3767 | 310.4667 | 5.0433 | 341.1667 | 7.69 | 114.5 | 7.52 | 14.2433 | 7.454 | 885.7333 | 97.8333 | 44.2367
2019-11-23 06:45:00 | 5.7167 | 216.8467 | 6.5733 | 238.2833 | 9.0367 | 237.3067 | 9.1567 | 127.6133 | 7.46 | 886 | 97.8 | 50.9787
2019-11-23 07:00:00 | 6.17 | 180.0367 | 7.1067 | 197.8433 | 10.0567 | 21.1667 | 9.81 | 130.98 | 7.4 | 886 | 98.4 | 43.154
2019-11-23 07:15:00 | 4.72 | 16.46 | 5.44 | 18.09 | 7.4733 | 17.7833 | 7.2333 | 17.5733 | 7.3867 | 886 | 98.5333 | 29.6913
2019-11-23 07:30:00 | 3.96 | 34.4267 | 4.56 | 37.8233 | 6.56 | 10.07 | 6.7133 | 13.2133 | 7.4867 | 886 | 97.7333 | 28.0687
2019-11-23 07:45:00 | 3.3433 | 93.3667 | 3.85 | 102.5867 | 5.8733 | 7.0033 | 5.9833 | 16.8133 | 7.4867 | 886.4 | 97.8333 | 19.5873
2019-11-23 08:00:00 | 3.0233 | 304.4267 | 3.4767 | 334.5333 | 5.36 | 15.7433 | 5.4367 | 16.4267 | 7.42 | 887 | 98.4333 | 17.092
2019-11-23 08:15:00 | 3.14 | 0.38333 | 3.6167 | 0.41333 | 5.4133 | 5.73 | 5.3333 | 12.7167 | 7.436 | 887 | 98.3 | 18.2033
2019-11-23 08:30:00 | 3.5667 | 3.8167 | 4.1033 | 4.1933 | 5.26 | 3.01 | 5.2867 | 10.37 | 7.6167 | 887 | 96.9667 | 10.05
2019-11-23 08:45:00 | 2.7467 | 288.7433 | 3.16 | 317.3 | 4.6467 | 1.14 | 4.7667 | 11.5433 | 7.85 | 887 | 95.4667 | 4.2287
2019-11-23 09:00:00 | 2.388 | 96.988 | 2.744 | 106.572 | 4.162 | 2.168 | 4.172 | 9.536 | 7.996 | 887 | 94.9933 | 3.908
2019-11-23 09:15:00 | 2.5733 | 206.3233 | 2.96 | 226.7267 | 4.23 | 3.9533 | 4.63 | 8.0533 | 8.26 | 887 | 94.0333 | 2.384
2019-11-23 09:30:00 | 2.5733 | 212.9967 | 2.96 | 234.06 | 4.09 | 11.9 | 4.67 | 11.0533 | 8.3393 | 887.7333 | 93.7067 | 1.91
2019-11-23 09:45:00 | 2.4067 | 16.74 | 2.77 | 18.3867 | 4.28 | 6.5533 | 4.64 | 13.1267 | 8.63 | 887.6 | 93.8 | 2.0473
2019-11-23 10:00:00 | 2.68 | 25.8067 | 3.0833 | 28.36 | 4.3467 | 239.1667 | 4.7533 | 6.6933 | 8.9433 | 887.7333 | 91.6667 | 0.32067
2019-11-23 10:15:00 | 2.5393 | 319.9753 | 2.9247 | 351.6067 | 3.9533 | 1.5867 | 4.2807 | 6.63 | 9.262 | 888 | 88.96 | 2.96
2019-11-23 10:30:00 | 2.56 | 102.4433 | 2.9467 | 112.5667 | 3.88 | 230.9133 | 4.0433 | 233.0233 | 9.1233 | 888 | 90.8 | 1.0007
2019-11-23 10:45:00 | 1.9933 | 136.8467 | 2.29 | 150.3733 | 3.08 | 5.0067 | 3.2533 | 8.8133 | 9.63 | 888 | 88.0667 | 0.12133
2019-11-23 11:00:00 | 2.4267 | 324.2333 | 2.79 | 356.3 | 3.54 | 241.58 | 3.5867 | 2.4933 | 9.9033 | 888 | 87.9333 | 0.17067
2019-11-23 11:15:00 | 2.3 | 218.7033 | 2.65 | 240.3233 | 3.7067 | 20.85 | 3.2933 | 18.0033 | 10.0567 | 888 | 87.5667 | 0.28733
2019-11-23 11:30:00 | 2.0667 | 37.9767 | 2.3767 | 41.73 | 2.9667 | 241.4967 | 2.94 | 5.5767 | 9.9833 | 888.6667 | 87.3667 | 0
2019-11-23 11:45:00 | 2.0567 | 11.2667 | 2.3633 | 12.38 | 2.67 | 12.6567 | 2.4867 | 12.1733 | 9.8 | 888 | 87.4733 | 0
2019-11-23 12:00:00 | 1.97 | 14.5133 | 2.27 | 15.9467 | 2.6033 | 31.1633 | 2.02 | 21.36 | 9.8793 | 888 | 87.1933 | 0
2019-11-23 12:15:00 | 2.1 | 21.8567 | 2.4167 | 24.01 | 2.7833 | 13.95 | 2.1867 | 23.7133 | 10.1967 | 888 | 85.8667 | 0
2019-11-23 12:30:00 | 2.36 | 28.9633 | 2.7167 | 31.8233 | 3.29 | 24.9567 | 2.86 | 20.1267 | 10.6167 | 888 | 83.6667 | 0
2019-11-23 12:45:00 | 2.2267 | 38.7133 | 2.56 | 42.54 | 3.0567 | 14.5267 | 2.5733 | 17.3233 | 10.9367 | 888 | 81 | 0
2019-11-23 13:00:00 | 1.8867 | 18.6333 | 2.1667 | 20.4667 | 2.4367 | 10.4133 | 2.1933 | 11.15 | 10.7767 | 887.2667 | 79.72 | 0
2019-11-23 13:15:00 | 0.72667 | 319.8967 | 0.83667 | 351.5333 | 0.75 | 350.4333 | 0.55667 | 316.5 | 10.6267 | 887 | 79.2273 | 0
2019-11-23 13:30:00 | 0.18667 | 173.2033 | 0.21667 | 190.3333 | 0.22333 | 213.2333 | 0.25667 | 244.6333 | 10.6007 | 886.9333 | 79.5 | 0
2019-11-23 13:45:00 | 1.34 | 136.0473 | 1.5507 | 149.4933 | 1.392 | 169.6067 | 0.93733 | 201.8133 | 10.3713 | 886 | 83.3973 | 0
2019-11-23 14:00:00 | 1.48 | 132.78 | 1.71 | 145.9 | 1.6767 | 185.5333 | 1.1867 | 209.4 | 10.0967 | 886 | 86.0333 | 0
2019-11-23 14:15:00 | 1.7667 | 154.9733 | 2.0367 | 170.3 | 1.9633 | 190.3 | 1.7133 | 199.8667 | 10.032 | 886 | 87.9667 | 0
2019-11-23 14:30:00 | 1.6133 | 167.48 | 1.87 | 184.0333 | 1.9167 | 198.6333 | 1.6533 | 209.7733 | 9.9733 | 886 | 88.8333 | 0.014667
2019-11-23 14:45:00 | 1.5933 | 171.85 | 1.8433 | 188.8333 | 1.97 | 211.9333 | 1.9633 | 213 | 9.85 | 886 | 89.2667 | 0.38933
2019-11-23 15:00:00 | 1.6533 | 159.77 | 1.9033 | 175.5667 | 1.85 | 187.0667 | 1.8967 | 192.1333 | 9.8027 | 885.2667 | 89.2667 | 0.52933
2019-11-23 15:15:00 | 1.4867 | 158.3133 | 1.7133 | 173.9667 | 1.6767 | 177.3333 | 1.52 | 195.8333 | 9.7033 | 885 | 88.5 | 0.308
2019-11-23 15:30:00 | 0.52 | 144.52 | 0.6 | 158.8 | 0.632 | 210.34 | 0.704 | 210.52 | 9.69 | 885 | 88.3 | 0.50067
2019-11-23 15:45:00 | 0.91 | 168.3533 | 1.06 | 185 | 1.2333 | 210.4 | 1.0067 | 208.5 | 9.5433 | 885 | 90.6667 | 0.22333
2019-11-23 16:00:00 | 0.97667 | 167.7947 | 1.1267 | 184.3933 | 1.1933 | 205.7333 | 1.46 | 220.6333 | 9.3167 | 885 | 93.0667 | 0.14533
2019-11-23 16:15:00 | 0.97333 | 143.15 | 1.1233 | 157.3 | 1.1333 | 193.8 | 1.79 | 216.9 | 9.1133 | 884.6 | 94.2333 | 0.14333
2019-11-23 16:30:00 | 0.94667 | 143.2087 | 1.09 | 157.3733 | 1.5533 | 220.32 | 2.1167 | 224.84 | 9.08 | 884.7333 | 94.4333 | 0.070667
2019-11-23 16:45:00 | 0.98667 | 143.23 | 1.1367 | 157.4 | 1.38 | 220.8 | 1.7833 | 221.6667 | 9.02 | 884.6 | 94.74 | 0
2019-11-23 17:00:00 | 0.12 | 143.2247 | 0.13667 | 157.3933 | 0.23333 | 220.58 | 0.44333 | 219.8 | 9.0393 | 884.7333 | 95.14 | 0
2019-11-23 17:15:00 | 0 | 143.15 | 0 | 157.3 | 0 | 220.5 | 0 | 219.8 | 9.0953 | 885 | 95.5 | 0
2019-11-23 17:30:00 | 0.38667 | 254.7167 | 0.45333 | 279.9 | 0.4 | 286.9 | 0.24 | 219.8 | 9.0967 | 885 | 95.96 | 0
2019-11-23 17:45:00 | 1.04 | 207.0167 | 1.2067 | 227.4833 | 1.4733 | 11.2 | 1.1333 | 155.4467 | 8.9467 | 885 | 97.6 | 0
2019-11-23 18:00:00 | 1.8467 | 214.7767 | 2.1267 | 236.0167 | 2.66 | 5.0867 | 2.7733 | 19.32 | 8.8133 | 885 | 98.8 | 0.22333
2019-11-23 18:15:00 | 2.08 | 308.5533 | 2.4033 | 339.0667 | 3.9833 | 9.8033 | 3.9933 | 19.5 | 8.7167 | 885 | 99.4667 | 5.552
2019-11-23 18:30:00 | 2.84 | 310.2 | 3.2633 | 340.8667 | 5.15 | 3.8433 | 5.1867 | 8.0867 | 8.6633 | 885.0667 | 99.7333 | 11.0467
2019-11-23 18:45:00 | 3.1333 | 8.7433 | 3.6033 | 9.6 | 5.2333 | 2.7433 | 5.4333 | 13.0233 | 8.57 | 886 | 99.84 | 17.806
2019-11-23 19:00:00 | 3.3333 | 23.8167 | 3.8433 | 26.1667 | 5.8733 | 6.21 | 5.94 | 20.4167 | 8.5367 | 886 | 99.9733 | 24.2427
2019-11-23 19:15:00 | 3.8667 | 280.0033 | 4.4567 | 307.7 | 7.07 | 16.8067 | 6.7733 | 24.1367 | 8.516 | 886 | 100 | 32.2553
2019-11-23 19:30:00 | 4.5067 | 100.3767 | 5.19 | 110.3067 | 8.23 | 15.3333 | 8.4267 | 15.6433 | 8.47 | 886.0667 | 100 | 42.8307
2019-11-23 19:45:00 | 5.5333 | 215.1167 | 6.37 | 236.3833 | 9.86 | 6.8567 | 10.0367 | 14.4433 | 8.456 | 887 | 100 | 48.5993
2019-11-23 20:00:00 | 6.6733 | 27.11 | 7.6767 | 29.79 | 11.5 | 11.7233 | 11.6167 | 13.65 | 8.4493 | 887 | 100 | 52.176
2019-11-23 20:15:00 | 6.4167 | 127.4267 | 7.3767 | 140.0267 | 11.43 | 13.2733 | 11.4867 | 16.86 | 8.4833 | 887.4 | 100 | 54.8253
2019-11-23 20:30:00 | 6.3967 | 29.6733 | 7.3633 | 32.6067 | 11.678 | 13.7133 | 11.72 | 17.64 | 8.57 | 888 | 100 | 57.17
2019-11-23 20:45:00 | 6.66 | 189.1633 | 7.66 | 207.8667 | 12.4033 | 13.7 | 12.3367 | 18.58 | 8.62 | 888 | 100 | 59.09
2019-11-23 21:00:00 | 6.7667 | 82.17 | 7.7867 | 90.2933 | 12.6833 | 13.36 | 12.5633 | 17.2933 | 8.6273 | 888 | 100 | 57.5147
2019-11-23 21:15:00 | 6.6667 | 5.8067 | 7.6667 | 6.3767 | 12.5667 | 13.58 | 12.3933 | 17.4467 | 8.6033 | 888 | 100 | 56.7367
2019-11-23 21:30:00 | 6.6 | 24.66 | 7.5933 | 27.0967 | 12.3793 | 12.5267 | 12.1733 | 18.4867 | 8.5893 | 888 | 100 | 56.2387
2019-11-23 21:45:00 | 7.0667 | 245.74 | 8.1333 | 270.0333 | 12.8933 | 11.0867 | 12.5567 | 13.82 | 8.5533 | 888 | 100 | 57.508
2019-11-23 22:00:00 | 7.2 | 125.94 | 8.2867 | 138.3867 | 13.2133 | 18.2533 | 13.1167 | 19.5067 | 8.5393 | 888 | 100 | 57.6693
2019-11-23 22:15:00 | 6.7267 | 189.3967 | 7.7433 | 208.1333 | 12.6067 | 19.52 | 12.7267 | 27.1133 | 8.534 | 888.4 | 100 | 58.9027
2019-11-23 22:30:00 | 7.0733 | 301.0233 | 8.1367 | 330.8 | 13.14 | 13.4733 | 13.36 | 23.66 | 8.5467 | 889 | 100 | 59.8153
2019-11-23 22:45:00 | 7.54 | 60.5433 | 8.6733 | 66.5267 | 13.8033 | 21.09 | 13.96 | 27.8233 | 8.5733 | 889 | 100 | 61.7667
2019-11-23 23:00:00 | 8.1067 | 230.39 | 9.3267 | 253.1667 | 14.8367 | 19.11 | 15.1733 | 26.0433 | 8.62 | 889 | 100 | 62.4387
2019-11-23 23:15:00 | 8.0867 | 161.4467 | 9.3133 | 177.4167 | 14.7667 | 14.1767 | 15.2267 | 28.62 | 8.6733 | 889 | 100 | 62.5587
2019-11-23 23:30:00 | 8.06 | 16.4 | 9.28 | 18.0233 | 14.5533 | 14.7767 | 14.9667 | 26.6067 | 8.72 | 889 | 100 | 61.9213
2019-11-23 23:45:00 | 8.2333 | 60.2733 | 9.47 | 66.2267 | 14.7633 | 34.0833 | 15.4467 | 39.7367 | 8.7767 | 889 | 100 | 61.7567