## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-24 00:00:00 | 9.0764 | 34.5279 | 10.4421 | 37.945 | 16.0486 | 17.3379 | 17.2257 | 28.4779 | 8.855 | 889 | 100 | 62.5143
2019-11-24 00:15:00 | 10.38 | 103.21 | 11.9467 | 113.4133 | 17.9733 | 29.9467 | 18.68 | 25.6833 | 8.9367 | 889 | 100 | 61.932
2019-11-24 00:30:00 | 11.4867 | 246.2433 | 13.22 | 270.6 | 20.06 | 17.9867 | 20.1267 | 28.2167 | 8.93 | 889 | 100 | 61.9233
2019-11-24 00:45:00 | 11.06 | 222.8367 | 12.7233 | 244.8733 | 19.4333 | 20.02 | 19.9033 | 35.2 | 8.916 | 889 | 98.3333 | 61.3213
2019-11-24 01:00:00 | 11.1533 | 38.95 | 12.83 | 42.7933 | 19.5667 | 22.8267 | 20.0633 | 40.4333 | 8.8833 | 889 | 95.0667 | 61.876
2019-11-24 01:15:00 | 11.1267 | 93.8933 | 12.7933 | 103.18 | 19.5033 | 18.4867 | 19.9 | 29.5667 | 8.78 | 889 | 90.8 | 61.79
2019-11-24 01:30:00 | 10.9533 | 269.6733 | 12.5933 | 296.3333 | 19.25 | 14.1733 | 19.4067 | 25.24 | 8.62 | 889 | 88.4667 | 58.46
2019-11-24 01:45:00 | 10.4967 | 14.9533 | 12.07 | 16.43 | 18.57 | 13.16 | 18.3867 | 27.21 | 8.57 | 889 | 85.9 | 56.94
2019-11-24 02:00:00 | 11.4433 | 46.5067 | 13.1567 | 51.1033 | 19.71 | 8.2333 | 19.3533 | 8.7967 | 8.7767 | 889 | 80.3133 | 57.222
2019-11-24 02:15:00 | 11.5033 | 223.1967 | 13.2367 | 245.2667 | 20.0333 | 11.5833 | 19.69 | 16.29 | 8.7367 | 889 | 75.49 | 56.2533
2019-11-24 02:30:00 | 12.13 | 243.2167 | 13.9567 | 267.2667 | 21.14 | 12.8767 | 20.97 | 20.05 | 8.7107 | 889 | 72.03 | 55.8367
2019-11-24 02:45:00 | 12.3867 | 103.4733 | 14.2467 | 113.7 | 21.93 | 14.08 | 21.56 | 28.66 | 8.6433 | 889 | 69.62 | 57.6367
2019-11-24 03:00:00 | 11.98 | 219.04 | 13.7867 | 240.7 | 20.908 | 11.4333 | 20.72 | 18.98 | 8.6093 | 889 | 67.4933 | 55.298
2019-11-24 03:15:00 | 11.7867 | 193.3767 | 13.5567 | 212.5 | 20.7033 | 3.3667 | 20.4633 | 20.9133 | 8.584 | 889.4 | 65.58 | 58.124
2019-11-24 03:30:00 | 11.88 | 300.7633 | 13.6633 | 330.5 | 20.9967 | 11.6467 | 20.8767 | 20.36 | 8.4767 | 890 | 65.4867 | 60.224
2019-11-24 03:45:00 | 11.4533 | 92.6167 | 13.1833 | 101.7733 | 20.33 | 12.9433 | 20.4033 | 22.6633 | 8.3667 | 890 | 64.62 | 57.8193
2019-11-24 04:00:00 | 12.2267 | 143.3567 | 14.07 | 157.5333 | 21.2833 | 7.6233 | 21.2967 | 11.69 | 8.2467 | 890 | 63.54 | 51.9693
2019-11-24 04:15:00 | 12.51 | 301.9467 | 14.3867 | 331.8 | 21.968 | 13.7867 | 21.8833 | 19.5433 | 7.95 | 890 | 64.0367 | 49.5987
2019-11-24 04:30:00 | 12.8433 | 293.1467 | 14.78 | 322.1333 | 22.0833 | 19.72 | 21.4567 | 16.1833 | 7.5367 | 890 | 66.27 | 42.872
2019-11-24 04:45:00 | 13.9 | 303.9667 | 15.9867 | 334.0333 | 22.8533 | 6.1 | 21.9133 | 14.88 | 6.9367 | 890 | 69.5433 | 43.1513
2019-11-24 05:00:00 | 13.86 | 306.04 | 15.9467 | 336.3 | 23.1933 | 1.7133 | 22.2067 | 2.4667 | 6.2433 | 890 | 74.93 | 40.6533
2019-11-24 05:15:00 | 13.4367 | 260.09 | 15.4567 | 285.8 | 23.1633 | 15.5467 | 22.3733 | 16.69 | 5.06 | 890 | 85.2667 | 35.9273
2019-11-24 05:30:00 | 12.27 | 295.2767 | 14.11 | 324.4667 | 21.01 | 7.4067 | 20.2 | 17.7967 | 4.3933 | 890.0667 | 90.4667 | 38.2147
2019-11-24 05:45:00 | 12.0667 | 204.2833 | 13.8867 | 224.48 | 20.8067 | 11.7067 | 20.5267 | 27.41 | 3.9733 | 891 | 94.2333 | 41.156
2019-11-24 06:00:00 | 11.02 | 25.4633 | 12.6733 | 27.9733 | 19.4533 | 11.5733 | 19.4667 | 26.4367 | 3.7067 | 891 | 96.8333 | 52.042
2019-11-24 06:15:00 | 10.7667 | 125.3733 | 12.38 | 137.76 | 18.7133 | 18.38 | 18.6733 | 33.29 | 3.55 | 891 | 98 | 57.2953
2019-11-24 06:30:00 | 11.12 | 135.33 | 12.79 | 148.714 | 19.29 | 22.922 | 19.62 | 23.908 | 3.454 | 891 | 98.7 | 56.6213
2019-11-24 06:45:00 | 11.3467 | 35.46 | 13.05 | 38.9567 | 19.7733 | 25.3367 | 20.37 | 25.5533 | 3.3533 | 891 | 98.94 | 54.9407
2019-11-24 07:00:00 | 11.7067 | 16.8867 | 13.47 | 18.5567 | 20.2533 | 20.67 | 21.2433 | 32.3333 | 3.28 | 891.7333 | 99 | 53.3027
2019-11-24 07:15:00 | 12.4267 | 192.5867 | 14.2933 | 211.6333 | 21.4967 | 30.14 | 22.48 | 34.7033 | 3.2133 | 892 | 98.3 | 55.1007
2019-11-24 07:30:00 | 12.6933 | 63.3 | 14.6067 | 69.56 | 21.8033 | 23.0533 | 22.9467 | 37.3033 | 3.24 | 892 | 96.9 | 49.784
2019-11-24 07:45:00 | 13.2867 | 31.5733 | 15.2833 | 34.6967 | 22.7633 | 22.9633 | 23.69 | 32.2233 | 3.2233 | 892 | 95.9667 | 45.7973
2019-11-24 08:00:00 | 13.2067 | 45.7333 | 15.19 | 50.25 | 22.6167 | 26.53 | 23.8093 | 30.23 | 3.1967 | 892.0667 | 95.4333 | 51.222
2019-11-24 08:15:00 | 12.6733 | 294.3867 | 14.59 | 323.5 | 21.8167 | 19.7167 | 22.7933 | 30.43 | 3.2133 | 893 | 94.6 | 53.992
2019-11-24 08:30:00 | 12.3467 | 261.5733 | 14.2033 | 287.4333 | 21.0967 | 31.5233 | 21.6133 | 26.5367 | 3.2533 | 893 | 93.7333 | 52.7727
2019-11-24 08:45:00 | 11.59 | 107.46 | 13.3333 | 118.08 | 20.0067 | 27.0533 | 21.0167 | 34.9667 | 3.1633 | 893.4 | 94.4333 | 50.7573
2019-11-24 09:00:00 | 12.2633 | 302.3067 | 14.1 | 332.2 | 20.9867 | 32.68 | 21.8633 | 38.6 | 3.2167 | 894 | 92.8333 | 47.5947
2019-11-24 09:15:00 | 12.0033 | 294.3333 | 13.8067 | 323.4333 | 20.6467 | 17.4333 | 21.6867 | 31.5833 | 3.34 | 894 | 90.4667 | 50.6567
2019-11-24 09:30:00 | 12.0833 | 177.18 | 13.8933 | 194.7 | 20.74 | 17.5933 | 21.4667 | 34.1633 | 3.5 | 894 | 88.0667 | 48.5633
2019-11-24 09:45:00 | 11.97 | 282.98 | 13.7733 | 310.9667 | 20.4467 | 24.14 | 21.14 | 34.1167 | 3.7167 | 894 | 85.2 | 47.5133
2019-11-24 10:00:00 | 11.47 | 86.5 | 13.2 | 95.0467 | 19.7133 | 19.7133 | 20.4067 | 28.3167 | 3.8033 | 894 | 84.0667 | 52.6367
2019-11-24 10:15:00 | 11.22 | 250.2933 | 12.9133 | 275.0333 | 19.4733 | 23.5567 | 20.11 | 26.02 | 3.9733 | 894.4 | 82.2667 | 51.2207
2019-11-24 10:30:00 | 11.6333 | 128.48 | 13.3933 | 141.18 | 20.1267 | 16.63 | 21.13 | 32.18 | 4.1467 | 895 | 80 | 50.862
2019-11-24 10:45:00 | 12.48 | 22.5833 | 14.3533 | 24.8167 | 21.2367 | 24.6467 | 21.53 | 27.3267 | 4.3067 | 895 | 77.2833 | 51.0947
2019-11-24 11:00:00 | 12 | 26.3567 | 13.8 | 28.9633 | 20.33 | 19.4067 | 21.1367 | 36.7667 | 4.3733 | 894.3333 | 75.7567 | 48.3667
2019-11-24 11:15:00 | 12.0733 | 9.0267 | 13.89 | 9.9133 | 20.8 | 22.2933 | 21.4733 | 30.74 | 4.4667 | 894.6 | 74.5933 | 49.0373
2019-11-24 11:30:00 | 12.3267 | 144.8267 | 14.1833 | 159.1467 | 21.3667 | 15.9533 | 21.8533 | 34.66 | 4.4933 | 894.7333 | 73.78 | 49.2253
2019-11-24 11:45:00 | 12.1953 | 182.754 | 14.0253 | 200.8267 | 21.0533 | 19.9113 | 21.972 | 25.2153 | 4.5273 | 895 | 72.27 | 48.7267
2019-11-24 12:00:00 | 12.2733 | 76.51 | 14.1167 | 84.0733 | 20.9467 | 22.9233 | 21.8367 | 28.39 | 4.5267 | 894.9333 | 71.956 | 47.732
2019-11-24 12:15:00 | 12.22 | 58.6833 | 14.0567 | 64.4867 | 21.1333 | 24.4233 | 21.39 | 31.78 | 4.5033 | 894 | 71.35 | 48.0707
2019-11-24 12:30:00 | 11.6867 | 98.19 | 13.4367 | 107.8933 | 20.2533 | 24.6833 | 20.6833 | 28.2 | 4.47 | 894.6667 | 71.1633 | 47.0587
2019-11-24 12:45:00 | 11.9333 | 46.7167 | 13.7333 | 51.3267 | 20.7567 | 23.1667 | 20.98 | 32.83 | 4.4933 | 894 | 70.882 | 44.1253
2019-11-24 13:00:00 | 11.64 | 109.5233 | 13.3867 | 120.3533 | 20.31 | 5.3533 | 20.4067 | 28.73 | 4.44 | 894 | 70.9913 | 44.6767
2019-11-24 13:15:00 | 11.6267 | 61.47 | 13.3733 | 67.5433 | 20.2433 | 17.37 | 20.6273 | 20.5167 | 4.3633 | 894 | 71.4567 | 44.1193
2019-11-24 13:30:00 | 11.62 | 38.8767 | 13.3733 | 42.7167 | 20.31 | 7.2033 | 20.2033 | 30.7967 | 4.2567 | 894 | 71.3033 | 42.162
2019-11-24 13:45:00 | 11.9267 | 195.4033 | 13.7167 | 214.7267 | 20.6767 | 12.8433 | 20.64 | 35.5067 | 4.15 | 894 | 71.6133 | 44.9313
2019-11-24 14:00:00 | 11.708 | 188.372 | 13.472 | 206.992 | 20.176 | 10.764 | 20.2673 | 24.018 | 4.092 | 894 | 71.794 | 47.7327
2019-11-24 14:15:00 | 11.832 | 159.5187 | 13.608 | 175.2867 | 20.1973 | 13.1013 | 20.3833 | 39.8727 | 3.9393 | 894 | 73.1507 | 46.8487
2019-11-24 14:30:00 | 11.6533 | 204.88 | 13.3967 | 225.1333 | 20.0533 | 8.4933 | 20.1153 | 36.69 | 3.74 | 893.2667 | 75.27 | 45.9333
2019-11-24 14:45:00 | 11.98 | 13.3867 | 13.79 | 14.7067 | 20.52 | 22.3967 | 20.88 | 34.8533 | 3.5367 | 893 | 77.49 | 49.6407
2019-11-24 15:00:00 | 12.08 | 195.318 | 13.9 | 214.628 | 20.578 | 21.69 | 21.174 | 32.814 | 3.444 | 893 | 78.336 | 51.2253
2019-11-24 15:15:00 | 12.5967 | 123.55 | 14.4933 | 135.76 | 22.06 | 5.04 | 21.8933 | 31.0733 | 3.42 | 893 | 78.798 | 54.186
2019-11-24 15:30:00 | 12.6233 | 299.8233 | 14.52 | 329.4667 | 22.1227 | 11.0733 | 22.3133 | 26.4533 | 3.4127 | 893 | 78.9433 | 52.664
2019-11-24 15:45:00 | 11.7 | 170.2433 | 13.4567 | 187.0833 | 20.33 | 12.73 | 20.53 | 29.5633 | 3.3833 | 893 | 78.864 | 50.954
2019-11-24 16:00:00 | 11.4933 | 61.2833 | 13.2233 | 67.3433 | 19.8747 | 12.4167 | 19.93 | 22.2567 | 3.2767 | 893 | 79.192 | 47.6413
2019-11-24 16:15:00 | 11.64 | 42.61 | 13.3833 | 46.8233 | 20.3433 | 10.4833 | 20.0567 | 17.0667 | 3.0567 | 893 | 81.4 | 48.8273
2019-11-24 16:30:00 | 11.2533 | 171.7033 | 12.95 | 188.6767 | 19.908 | 17.8633 | 19.7567 | 25.5 | 2.71 | 893.7333 | 85.2 | 48.838
2019-11-24 16:45:00 | 11.2587 | 69.0513 | 12.96 | 75.88 | 20.3467 | 2.0307 | 19.8933 | 20.8793 | 2.1233 | 894 | 91.0467 | 48.4273
2019-11-24 17:00:00 | 11.3867 | 174.6 | 13.1067 | 191.8667 | 20.5367 | 13.3833 | 20.27 | 18.3167 | 1.6167 | 894 | 95.7333 | 54.012
2019-11-24 17:15:00 | 11.2 | 169.99 | 12.8767 | 186.8 | 19.8833 | 12.0467 | 19.31 | 19.6367 | 1.2067 | 894 | 98.2333 | 55.6167
2019-11-24 17:30:00 | 10.8933 | 181.5167 | 12.5233 | 199.4667 | 19.3633 | 11.5267 | 18.8567 | 22.33 | 0.96 | 894.0667 | 99.3667 | 60.7573
2019-11-24 17:45:00 | 10.3733 | 220.9467 | 11.9333 | 242.8 | 18.5767 | 10.6367 | 18.3933 | 31.61 | 0.76333 | 895 | 100 | 62.4893
2019-11-24 18:00:00 | 10.3467 | 84.7467 | 11.9 | 93.12 | 18.37 | 14.3233 | 18.4133 | 23.9233 | 0.71 | 895 | 100 | 62.5047
2019-11-24 18:15:00 | 10.1767 | 40.7033 | 11.7167 | 44.73 | 18.3633 | 14.8167 | 18.25 | 23.7933 | 0.68333 | 895 | 100 | 61.178
2019-11-24 18:30:00 | 9.8033 | 213.31 | 11.2833 | 234.41 | 17.63 | 8.4233 | 17.8567 | 21.96 | 0.63 | 895 | 100 | 58.7973
2019-11-24 18:45:00 | 9.8367 | 319.8933 | 11.32 | 351.5333 | 17.52 | 33.9267 | 17.9433 | 19.86 | 0.57 | 895 | 100 | 59.4707
2019-11-24 19:00:00 | 9.99 | 321.0467 | 11.4933 | 352.8 | 17.8067 | 33.8567 | 18.09 | 18.6733 | 0.53667 | 895 | 100 | 60.4127
2019-11-24 19:15:00 | 9.7267 | 40.8867 | 11.19 | 44.9333 | 17.3467 | 33.794 | 17.7633 | 18.98 | 0.48333 | 895 | 100 | 59.8087
2019-11-24 19:30:00 | 9.6267 | 46.7467 | 11.0833 | 51.3733 | 16.962 | 33.77 | 17.9033 | 18.96 | 0.47 | 895.0667 | 100 | 59.902
2019-11-24 19:45:00 | 8.92 | 101.27 | 10.2567 | 111.28 | 16.2733 | 33.77 | 17.2833 | 18.9167 | 0.47333 | 896 | 100 | 58.4627
2019-11-24 20:00:00 | 8.9067 | 188.0967 | 10.25 | 206.7 | 15.9467 | 33.77 | 16.9767 | 18.9033 | 0.49333 | 896.0667 | 100 | 59.6133
2019-11-24 20:15:00 | 8.56 | 252.5867 | 9.85 | 277.5667 | 15.3167 | 33.77 | 16.1867 | 18.93 | 0.53667 | 897 | 100 | 59.77
2019-11-24 20:30:00 | 8.2667 | 218.4333 | 9.5167 | 240.0333 | 14.69 | 33.77 | 15.54 | 18.9433 | 0.60333 | 897 | 100 | 58.2093
2019-11-24 20:45:00 | 7.2033 | 265.76 | 8.2833 | 292.0333 | 12.8633 | 33.77 | 13.8533 | 18.9467 | 0.63667 | 897.4 | 100 | 57.2687
2019-11-24 21:00:00 | 6.97 | 184.0333 | 8.0167 | 202.2333 | 12.4833 | 33.77 | 13.3467 | 18.9467 | 0.65667 | 898 | 100 | 56.158
2019-11-24 21:15:00 | 7.6133 | 212.2733 | 8.76 | 233.2567 | 13.2067 | 33.758 | 13.77 | 18.93 | 0.69333 | 898 | 100 | 56.1687
2019-11-24 21:30:00 | 7.6133 | 144.7467 | 8.76 | 159.0567 | 13.1667 | 33.762 | 13.4433 | 18.9433 | 0.74 | 898 | 100 | 55.392
2019-11-24 21:45:00 | 7.4667 | 63.9033 | 8.5967 | 70.2167 | 12.5067 | 33.7347 | 12.3167 | 18.88 | 0.78667 | 898 | 100 | 55.922
2019-11-24 22:00:00 | 6.9667 | 108.9833 | 8.0233 | 119.75 | 11.4333 | 33.67 | 11.0433 | 18.88 | 0.81333 | 898.7333 | 100 | 56.6593
2019-11-24 22:15:00 | 8.12 | 236.0533 | 9.3533 | 259.4 | 13.7267 | 33.658 | 13.49 | 18.88 | 0.81 | 899 | 100 | 58.6767
2019-11-24 22:30:00 | 8.6467 | 237.6333 | 9.9467 | 261.1333 | 15.06 | 33.6253 | 15.0367 | 18.88 | 0.73 | 898.2667 | 100 | 60.5847
2019-11-24 22:45:00 | 9.0233 | 116.3633 | 10.3867 | 127.8667 | 15.99 | 33.62 | 16.33 | 18.88 | 0.60333 | 898 | 100 | 60.9907
2019-11-24 23:00:00 | 9.5967 | 79.7633 | 11.0467 | 87.6467 | 17.1967 | 33.62 | 17.7833 | 18.9267 | 0.55 | 898 | 100 | 60.426
2019-11-24 23:15:00 | 9.6367 | 202.5567 | 11.0867 | 222.59 | 17.03 | 33.62 | 18.1733 | 18.9353 | 0.48 | 898 | 100 | 59.292
2019-11-24 23:30:00 | 9.4633 | 4.79 | 10.8867 | 5.2633 | 16.7167 | 33.5867 | 17.4533 | 18.902 | 0.48 | 898 | 100 | 58.3267
2019-11-24 23:45:00 | 8.4867 | 33.0267 | 9.7733 | 36.2867 | 14.8267 | 33.62 | 15.5933 | 18.98 | 0.47667 | 898 | 100 | 58.404