## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-25 00:00:00 | 8.5457 | 185.3514 | 9.8314 | 203.6714 | 14.9636 | 33.62 | 15.8586 | 18.98 | 0.48357 | 898 | 100 | 57.8179
2019-11-25 00:15:00 | 8.4133 | 266.6433 | 9.6833 | 293 | 14.46 | 33.62 | 15.0633 | 18.9167 | 0.51333 | 898 | 100 | 59.182
2019-11-25 00:30:00 | 8.68 | 90.93 | 9.99 | 99.92 | 15.0733 | 33.62 | 14.83 | 18.9487 | 0.57333 | 898 | 99.3933 | 58.8487
2019-11-25 00:45:00 | 8.2467 | 22.7867 | 9.4833 | 25.0367 | 14.2433 | 33.62 | 14.15 | 18.9467 | 0.67333 | 898 | 97.7667 | 59.206
2019-11-25 01:00:00 | 8.3593 | 141.9133 | 9.61 | 155.9367 | 14.4767 | 33.6187 | 14.2367 | 18.878 | 0.72667 | 898 | 96.9667 | 59.2907
2019-11-25 01:15:00 | 8.08 | 209.5267 | 9.29 | 230.2533 | 13.82 | 33.608 | 13.42 | 18.862 | 0.84667 | 898 | 95.1 | 58.976
2019-11-25 01:30:00 | 7.7987 | 50.74 | 8.976 | 55.76 | 13.6733 | 33.62 | 13.2867 | 18.88 | 0.88 | 897.2667 | 94.7 | 59.0567
2019-11-25 01:45:00 | 7.3267 | 50.74 | 8.4367 | 55.76 | 12.73 | 33.62 | 12.4933 | 18.8267 | 0.94333 | 897 | 93.7 | 58.7913
2019-11-25 02:00:00 | 7.2867 | 50.744 | 8.39 | 55.7633 | 12.53 | 33.5867 | 12.5333 | 18.878 | 0.99 | 897 | 92.7 | 58.482
2019-11-25 02:15:00 | 7.1267 | 50.8 | 8.2067 | 55.81 | 12.3113 | 33.6 | 12.2133 | 18.85 | 1.08 | 897 | 90.8 | 58.704
2019-11-25 02:30:00 | 6.78 | 50.804 | 7.8067 | 55.8147 | 11.6433 | 33.6067 | 11.72 | 18.87 | 1.1067 | 897 | 90.2 | 57.6747
2019-11-25 02:45:00 | 6.5973 | 50.774 | 7.5953 | 55.788 | 10.9993 | 33.62 | 10.9593 | 18.82 | 1.1893 | 897 | 89.36 | 56.3067
2019-11-25 03:00:00 | 6.9 | 50.6967 | 7.9467 | 55.71 | 11.41 | 33.62 | 11.4533 | 18.8487 | 1.3 | 897 | 88 | 55.7347
2019-11-25 03:15:00 | 6.6967 | 48.78 | 7.7067 | 53.6033 | 11.5867 | 33.62 | 11.43 | 18.88 | 1.2967 | 897 | 88.3 | 54.436
2019-11-25 03:30:00 | 6.4233 | 209.2333 | 7.3867 | 229.9233 | 11.1533 | 33.62 | 11.2367 | 18.86 | 1.35 | 896.9333 | 86.9 | 54.2827
2019-11-25 03:45:00 | 6.1 | 26.3033 | 7.0133 | 28.9 | 9.9833 | 33.62 | 9.81 | 18.868 | 1.44 | 896 | 85.8667 | 53.7933
2019-11-25 04:00:00 | 6.22 | 25.1767 | 7.16 | 27.6667 | 10.0967 | 33.6167 | 9.6433 | 18.872 | 1.4467 | 896.6667 | 86.0067 | 52.328
2019-11-25 04:15:00 | 5.36 | 115.6 | 6.18 | 127.0267 | 8.72 | 33.59 | 8.46 | 18.8633 | 1.41 | 896 | 86.9 | 50.26
2019-11-25 04:30:00 | 5.0413 | 320.8333 | 5.8073 | 352.5667 | 8.0533 | 33.62 | 7.84 | 18.8633 | 1.4567 | 896 | 86.7667 | 50.5393
2019-11-25 04:45:00 | 5.1267 | 109.2 | 5.8967 | 119.9933 | 7.9667 | 33.62 | 7.9533 | 18.868 | 1.48 | 896 | 86.6333 | 48.8033
2019-11-25 05:00:00 | 5.34 | 111.5067 | 6.1367 | 122.52 | 9.0867 | 33.62 | 8.9133 | 18.8353 | 1.4467 | 896 | 87.5 | 50.0933
2019-11-25 05:15:00 | 5.5627 | 234.7133 | 6.3993 | 257.9307 | 9.5887 | 33.62 | 9.42 | 18.88 | 1.4067 | 896 | 88.1533 | 48.4587
2019-11-25 05:30:00 | 5.33 | 74.15 | 6.1367 | 81.48 | 9.4133 | 33.62 | 9.2267 | 18.8813 | 1.3633 | 896 | 88.5 | 44.568
2019-11-25 05:45:00 | 5.06 | 19.2533 | 5.82 | 21.1467 | 7.8167 | 33.62 | 7.3967 | 18.8753 | 1.3267 | 896 | 89.3 | 44.898
2019-11-25 06:00:00 | 5.2533 | 0.42 | 6.0467 | 0.45333 | 8.55 | 33.62 | 8.01 | 18.8633 | 1.3 | 895.3333 | 89.7667 | 42.6407
2019-11-25 06:15:00 | 5.26 | 13.7567 | 6.0567 | 15.1133 | 8.6233 | 33.62 | 8.41 | 18.88 | 1.2733 | 895.6 | 90.1333 | 40.704
2019-11-25 06:30:00 | 5.18 | 217.4967 | 5.97 | 239 | 9.0567 | 33.62 | 8.8367 | 18.88 | 1.1933 | 895 | 91.3333 | 39.0047
2019-11-25 06:45:00 | 5.3267 | 10.7567 | 6.1333 | 11.8067 | 8.6067 | 33.62 | 8.37 | 18.868 | 1.1867 | 895 | 91.3067 | 39.6207
2019-11-25 07:00:00 | 5.2467 | 193.7233 | 6.04 | 212.8733 | 8.3667 | 33.62 | 8.2833 | 18.8487 | 1.24 | 895.0667 | 91.1067 | 38.8747
2019-11-25 07:15:00 | 5.2467 | 33.5967 | 6.04 | 36.91 | 8.7833 | 33.62 | 8.55 | 18.838 | 1.1867 | 896 | 92.1 | 36.8
2019-11-25 07:30:00 | 5.12 | 30.1433 | 5.8927 | 33.1167 | 9.05 | 33.62 | 8.8367 | 18.872 | 1.0467 | 896 | 94.3667 | 36.9507
2019-11-25 07:45:00 | 4.9333 | 321.96 | 5.6833 | 353.8 | 8.6833 | 33.62 | 8.0867 | 18.868 | 0.86 | 896 | 97.0667 | 35.0007
2019-11-25 08:00:00 | 4.662 | 140.2693 | 5.366 | 154.142 | 7.984 | 33.62 | 7.716 | 18.87 | 0.746 | 896 | 98.14 | 36.008
2019-11-25 08:15:00 | 4.9987 | 287.5107 | 5.754 | 315.94 | 8.2153 | 33.62 | 8.2727 | 18.8487 | 0.624 | 896 | 99.2333 | 37.426
2019-11-25 08:30:00 | 5.24 | 75.0533 | 6.03 | 82.48 | 8.1067 | 33.62 | 8.03 | 18.8313 | 0.58 | 896 | 99.8 | 35.7327
2019-11-25 08:45:00 | 4.5267 | 115.3533 | 5.21 | 126.7533 | 7.7267 | 33.62 | 7.61 | 18.85 | 0.66 | 896 | 99.94 | 32.904
2019-11-25 09:00:00 | 4.42 | 266.2333 | 5.0833 | 292.5667 | 7.2933 | 33.62 | 7.0633 | 18.8387 | 0.74667 | 896 | 100 | 33.4993
2019-11-25 09:15:00 | 4.1373 | 285.0907 | 4.7627 | 313.28 | 7.3913 | 33.62 | 7.316 | 18.83 | 0.87667 | 896 | 100 | 32.4407
2019-11-25 09:30:00 | 4.12 | 299.3267 | 4.74 | 328.9333 | 7.19 | 33.6167 | 7.2067 | 18.7967 | 1.0233 | 896 | 100 | 27.4333
2019-11-25 09:45:00 | 4.1067 | 2.2767 | 4.7233 | 2.5 | 6.57 | 33.3733 | 6.4233 | 18.5933 | 1.11 | 896 | 100 | 22.7607
2019-11-25 10:00:00 | 4.12 | 202.8767 | 4.7433 | 222.9333 | 7.0233 | 32.8267 | 6.77 | 18.3333 | 1.3033 | 896 | 100 | 21.642
2019-11-25 10:15:00 | 4.02 | 263.7167 | 4.6233 | 289.8 | 6.81 | 31.4967 | 6.4067 | 18.0767 | 1.5533 | 896 | 100 | 18.308
2019-11-25 10:30:00 | 3.8867 | 116.9967 | 4.4833 | 128.56 | 6.3233 | 29.13 | 6.1 | 17.7167 | 1.6 | 896 | 99.8 | 17.792
2019-11-25 10:45:00 | 4.1487 | 20.192 | 4.772 | 22.1887 | 6.6707 | 16.6307 | 6.3387 | 17.8033 | 1.6347 | 896 | 99.22 | 16.9867
2019-11-25 11:00:00 | 4.208 | 181.912 | 4.84 | 199.896 | 6.716 | 16.926 | 6.35 | 17.284 | 1.754 | 896 | 98.8067 | 12.9813
2019-11-25 11:15:00 | 4.1 | 302.5533 | 4.7167 | 332.4667 | 6.846 | 20.57 | 6.2967 | 16.7667 | 1.9 | 896 | 98.2667 | 9.8787
2019-11-25 11:30:00 | 3.6867 | 99.4133 | 4.2367 | 109.2333 | 6.2067 | 16.5167 | 5.6433 | 16.3467 | 1.9467 | 896 | 97.7333 | 7.9327
2019-11-25 11:45:00 | 3.6453 | 270.7327 | 4.2027 | 297.4933 | 6.09 | 17.9533 | 5.5633 | 22.2093 | 2.0553 | 896 | 97.56 | 7.616
2019-11-25 12:00:00 | 3.4667 | 124.4067 | 3.99 | 136.7067 | 5.7733 | 17.5333 | 5.2533 | 25.8833 | 2.1167 | 896 | 97.76 | 6.4793
2019-11-25 12:15:00 | 3.2033 | 308.4067 | 3.6933 | 338.9 | 5.2767 | 18.96 | 4.9267 | 15.03 | 2.1333 | 896 | 98.7667 | 5.7953
2019-11-25 12:30:00 | 3.39 | 319.8787 | 3.9067 | 351.52 | 5.3433 | 18.6667 | 4.9533 | 24.05 | 2.1333 | 895.2667 | 99.1067 | 4.946
2019-11-25 12:45:00 | 3.14 | 33.6133 | 3.61 | 36.9267 | 5.23 | 17.0087 | 4.75 | 17.7167 | 2.2267 | 895 | 99.6 | 4.778
2019-11-25 13:00:00 | 3.18 | 235.2133 | 3.67 | 258.4667 | 5.0693 | 18.5167 | 4.8233 | 17.6167 | 2.2467 | 894.9333 | 99.68 | 5.5127
2019-11-25 13:15:00 | 3.23 | 37.0933 | 3.7267 | 40.75 | 5.46 | 18.6667 | 5.2 | 13.2133 | 2.2967 | 894 | 100 | 5.7753
2019-11-25 13:30:00 | 3.2567 | 212.3867 | 3.7467 | 233.3833 | 5.08 | 13.78 | 4.7 | 23.0933 | 2.11 | 894 | 100 | 4.5207
2019-11-25 13:45:00 | 3.25 | 63.3093 | 3.7347 | 69.568 | 5.256 | 24.496 | 4.9707 | 17.29 | 2.1213 | 894 | 100 | 2.7893
2019-11-25 14:00:00 | 2.8933 | 222.3367 | 3.33 | 244.3267 | 4.1967 | 15.0067 | 4.0833 | 21.0833 | 2.01 | 893.2667 | 100 | 1.464
2019-11-25 14:15:00 | 2.84 | 15.8933 | 3.2667 | 17.46 | 4.2133 | 129.1533 | 3.8167 | 22.72 | 2.0267 | 893 | 100 | 1.34
2019-11-25 14:30:00 | 2.8867 | 4.9267 | 3.3267 | 5.4067 | 4.2267 | 128.9733 | 3.6433 | 21.1 | 2.0133 | 893 | 100 | 0.94333
2019-11-25 14:45:00 | 2.7667 | 221.81 | 3.1867 | 243.74 | 4.14 | 15.5867 | 3.67 | 19.6033 | 2.0767 | 892.6 | 100 | 0.40467
2019-11-25 15:00:00 | 2.7333 | 189.9033 | 3.1533 | 208.6733 | 4.0533 | 6.4733 | 3.51 | 15.31 | 2.0833 | 892 | 100 | 0
2019-11-25 15:15:00 | 2.3533 | 119.6233 | 2.7133 | 131.4467 | 3.0733 | 11.16 | 2.5233 | 6.6 | 1.9767 | 892 | 100 | 0
2019-11-25 15:30:00 | 2.2 | 111.6367 | 2.5333 | 122.6733 | 2.8933 | 21.5867 | 2.41 | 11.06 | 1.9833 | 892 | 100 | 0
2019-11-25 15:45:00 | 2.4067 | 204.9033 | 2.7667 | 225.1667 | 3.2267 | 15.3567 | 2.73 | 11.6933 | 1.9767 | 892 | 100 | 0.31867
2019-11-25 16:00:00 | 2.6733 | 4.17 | 3.08 | 4.5733 | 3.88 | 10.0567 | 3.11 | 11.4333 | 1.9767 | 891.9333 | 100 | 0.22533
2019-11-25 16:15:00 | 2.42 | 103.8067 | 2.7933 | 114.0667 | 3.4733 | 129.88 | 2.6067 | 10.1667 | 1.9467 | 891 | 100 | 0.316
2019-11-25 16:30:00 | 2.72 | 292.02 | 3.1333 | 320.9 | 3.7467 | 131.94 | 3.0667 | 13.6733 | 1.8933 | 891 | 100 | 0.47
2019-11-25 16:45:00 | 2.86 | 305.6433 | 3.29 | 335.8667 | 3.5833 | 9.1033 | 3.1167 | 4.7667 | 1.82 | 891 | 100 | 0.452
2019-11-25 17:00:00 | 2.7733 | 323.0033 | 3.19 | 354.9333 | 3.2433 | 5.8967 | 2.9567 | 31.4467 | 1.8 | 891 | 100 | 0.118
2019-11-25 17:15:00 | 2.87 | 310.6267 | 3.2967 | 341.3333 | 3.2233 | 4.9967 | 2.67 | 3.9567 | 1.81 | 891 | 100 | 0.070667
2019-11-25 17:30:00 | 3.0167 | 106.3867 | 3.4767 | 116.9 | 3.6233 | 20.69 | 3.17 | 18.89 | 1.7833 | 891 | 100 | 0.56333
2019-11-25 17:45:00 | 2.94 | 217.6667 | 3.3833 | 239.1867 | 3.9233 | 18.26 | 3.2533 | 19.5267 | 1.72 | 891 | 100 | 0.62933
2019-11-25 18:00:00 | 2.9267 | 204.32 | 3.37 | 224.52 | 3.9433 | 15.26 | 3.46 | 11.7133 | 1.6533 | 891 | 100 | 0.58
2019-11-25 18:15:00 | 3.1533 | 317.05 | 3.63 | 348.4 | 4.43 | 18.0033 | 4.0333 | 15.7967 | 1.5867 | 891 | 100 | 0.88
2019-11-25 18:30:00 | 3.2733 | 320.1967 | 3.77 | 351.8667 | 4.4367 | 18.0033 | 4.1867 | 24.0967 | 1.5533 | 890.3333 | 100 | 0.802
2019-11-25 18:45:00 | 3.28 | 100.0833 | 3.7767 | 109.9733 | 4.4433 | 13.93 | 3.8167 | 17.97 | 1.5267 | 890.1333 | 100 | 0.80067
2019-11-25 19:00:00 | 3.236 | 120.678 | 3.726 | 132.604 | 4.25 | 13.916 | 3.642 | 21.476 | 1.552 | 891 | 100 | 1.162
2019-11-25 19:15:00 | 3.5533 | 224.8267 | 4.0833 | 247.06 | 4.9967 | 16.9767 | 4.2067 | 18.3733 | 1.5567 | 891 | 100 | 1.3127
2019-11-25 19:30:00 | 3.52 | 224.3467 | 4.0433 | 246.5267 | 5.15 | 17.8233 | 4.7333 | 14.6933 | 1.5433 | 891 | 100 | 1.3393
2019-11-25 19:45:00 | 3.3253 | 6.088 | 3.8273 | 6.68 | 4.782 | 19.5513 | 4.816 | 28.524 | 1.508 | 891 | 100 | 1.5653
2019-11-25 20:00:00 | 3.12 | 7.5333 | 3.6 | 8.2733 | 4.3133 | 5.6633 | 4.0033 | 14.6 | 1.5233 | 891 | 100 | 1.6653
2019-11-25 20:15:00 | 3.1567 | 24.8427 | 3.636 | 27.2927 | 3.922 | 14.4007 | 3.8907 | 19.0053 | 1.52 | 891 | 100 | 0.47733
2019-11-25 20:30:00 | 2.8333 | 3.0433 | 3.2667 | 3.34 | 3.5967 | 13.2333 | 3.71 | 26.5733 | 1.5267 | 891.4667 | 100 | 0.782
2019-11-25 20:45:00 | 3.3467 | 306.0667 | 3.8533 | 336.3333 | 4.03 | 2.2867 | 3.8367 | 15.3267 | 1.5667 | 892 | 100 | 1.6793
2019-11-25 21:00:00 | 3.4333 | 103.86 | 3.9533 | 114.12 | 4.51 | 238.9933 | 3.8567 | 4.3133 | 1.5867 | 892 | 100 | 1.198
2019-11-25 21:15:00 | 3.13 | 217.8667 | 3.6 | 239.4167 | 4.3367 | 3.4667 | 3.6267 | 8.9267 | 1.6333 | 892 | 100 | 1.2007
2019-11-25 21:30:00 | 3.3433 | 7.16 | 3.8467 | 7.8633 | 4.3633 | 237.1533 | 3.98 | 4.6933 | 1.64 | 892 | 100 | 1.036
2019-11-25 21:45:00 | 3.4633 | 4.0233 | 3.98 | 4.41 | 4.0533 | 1.1067 | 3.66 | 1.82 | 1.6433 | 891.8667 | 100 | 1.1353
2019-11-25 22:00:00 | 3.5167 | 0.05 | 4.0467 | 0.05 | 4.24 | 1.2667 | 4 | 28.3 | 1.65 | 891 | 100 | 4.466
2019-11-25 22:15:00 | 3.88 | 106.5133 | 4.46 | 117.0467 | 5.0733 | 6.44 | 4.8033 | 6.3533 | 1.65 | 891.8 | 100 | 8.2827
2019-11-25 22:30:00 | 3.88 | 111.6667 | 4.46 | 122.7067 | 5.5 | 11.4533 | 5.2633 | 19.0067 | 1.57 | 892 | 100 | 11.036
2019-11-25 22:45:00 | 3.9267 | 16.0667 | 4.5267 | 17.6533 | 6.3133 | 121.9667 | 6.0567 | 10.9033 | 1.5 | 892 | 100 | 12.9453
2019-11-25 23:00:00 | 3.9667 | 197.1 | 4.56 | 216.58 | 6.1 | 131.8933 | 6.01 | 2.93 | 1.44 | 891.5333 | 100 | 16.1773
2019-11-25 23:15:00 | 3.82 | 242.8167 | 4.3967 | 266.8333 | 6.0867 | 13.18 | 6.0567 | 21.99 | 1.4533 | 891 | 100 | 17.4187
2019-11-25 23:30:00 | 4.1133 | 61.5433 | 4.7433 | 67.62 | 6.26 | 39.66 | 6.2967 | 16.5767 | 1.4667 | 891 | 100 | 17.0947
2019-11-25 23:45:00 | 4.36 | 211.0433 | 5.02 | 231.92 | 6.9533 | 121.0667 | 6.4633 | 14.5167 | 1.4567 | 891 | 100 | 19.242