## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-26 00:00:00 | 4.14 | 29.3957 | 4.7679 | 32.3079 | 7.115 | 127.3107 | 6.8393 | 8.3021 | 1.5021 | 891 | 100 | 22.1636
2019-11-26 00:15:00 | 3.9933 | 315.9533 | 4.6033 | 347.2 | 6.67 | 237.8633 | 6.6967 | 4.9167 | 1.51 | 891.6667 | 100 | 27.2607
2019-11-26 00:30:00 | 4.2867 | 295.7 | 4.9367 | 324.9333 | 7.25 | 10.19 | 7.3033 | 14.71 | 1.51 | 891 | 100 | 29.2133
2019-11-26 00:45:00 | 4.36 | 19.69 | 5.02 | 21.6367 | 7.4473 | 19.0833 | 7.34 | 18.1633 | 1.5467 | 891 | 100 | 27.3327
2019-11-26 01:00:00 | 4.3 | 222.0367 | 4.96 | 243.9967 | 7.31 | 18.0433 | 7.28 | 18.2633 | 1.56 | 891 | 100 | 22.76
2019-11-26 01:15:00 | 4.2667 | 205.01 | 4.92 | 225.28 | 7.2053 | 17.6633 | 6.9467 | 9.0033 | 1.5467 | 891 | 100 | 28.6727
2019-11-26 01:30:00 | 4.48 | 193.5967 | 5.16 | 212.7467 | 7.31 | 8.55 | 6.98 | 1.57 | 1.5533 | 891 | 100 | 32.18
2019-11-26 01:45:00 | 4.7767 | 110.5967 | 5.5033 | 121.5333 | 7.7367 | 23.7767 | 7.39 | 15.0333 | 1.52 | 891 | 100 | 35.386
2019-11-26 02:00:00 | 4.9433 | 300.7833 | 5.6833 | 330.5333 | 8.0633 | 11.7433 | 8.1033 | 18.8933 | 1.4867 | 891 | 100 | 34.6207
2019-11-26 02:15:00 | 5.0033 | 11.9433 | 5.7567 | 13.12 | 7.8367 | 10.1567 | 7.8933 | 18.0533 | 1.45 | 891 | 100 | 32.038
2019-11-26 02:30:00 | 4.8567 | 176.67 | 5.59 | 194.1333 | 7.67 | 14.21 | 7.6 | 14.32 | 1.45 | 891 | 100 | 33.1487
2019-11-26 02:45:00 | 4.9667 | 202.3267 | 5.72 | 222.3367 | 8.5533 | 122.6067 | 8.1133 | 4.1567 | 1.49 | 891 | 100 | 35.6947
2019-11-26 03:00:00 | 5.2467 | 4.9067 | 6.04 | 5.3833 | 8.8933 | 188.1667 | 8.54 | 2.6367 | 1.49 | 891 | 100 | 35.5787
2019-11-26 03:15:00 | 5.16 | 28.6867 | 5.9473 | 31.5167 | 8.2533 | 243.4467 | 7.9633 | 34.2333 | 1.4267 | 891 | 100 | 35.6273
2019-11-26 03:30:00 | 5.3133 | 167.28 | 6.11 | 183.81 | 8.2933 | 240.9133 | 7.95 | 15.86 | 1.3867 | 891 | 100 | 36.6387
2019-11-26 03:45:00 | 5.67 | 289.6667 | 6.5233 | 318.3 | 8.9867 | 118.3533 | 8.8467 | 20.2267 | 1.3733 | 891 | 100 | 37.3627
2019-11-26 04:00:00 | 5.6033 | 268.36 | 6.45 | 294.9 | 9.22 | 129.5267 | 9.0467 | 26.8267 | 1.38 | 890.5333 | 100 | 36.998
2019-11-26 04:15:00 | 5.3327 | 106.3173 | 6.1367 | 116.822 | 8.7927 | 12.7107 | 8.4567 | 16.0573 | 1.3827 | 890 | 100 | 34.9233
2019-11-26 04:30:00 | 5.3 | 115.3767 | 6.1 | 126.78 | 8.1433 | 12.3933 | 7.9467 | 14.0133 | 1.35 | 890 | 100 | 34.296
2019-11-26 04:45:00 | 5.7 | 34.6433 | 6.5567 | 38.0667 | 9.1533 | 14.8467 | 9.0267 | 14.7167 | 1.3467 | 890 | 100 | 35.2773
2019-11-26 05:00:00 | 5.82 | 229.5833 | 6.7033 | 252.2867 | 9.54 | 225.2667 | 9.2067 | 6.9633 | 1.3733 | 890 | 100 | 35.7247
2019-11-26 05:15:00 | 5.5667 | 187.6967 | 6.4067 | 206.2533 | 9.508 | 352.9667 | 8.9933 | 2.3967 | 1.3967 | 890 | 100 | 35.5367
2019-11-26 05:30:00 | 5.6533 | 212.6233 | 6.5067 | 233.6533 | 9.6033 | 121.42 | 9.5133 | 17.35 | 1.3767 | 890 | 100 | 35.3087
2019-11-26 05:45:00 | 5.48 | 71.9733 | 6.3033 | 79.0867 | 9.56 | 17.7533 | 8.8733 | 21.1567 | 1.41 | 890 | 100 | 33.9253
2019-11-26 06:00:00 | 5.1867 | 260.78 | 5.97 | 286.5667 | 9.1867 | 23.5867 | 8.7667 | 21.7567 | 1.4167 | 890 | 100 | 35.0647
2019-11-26 06:15:00 | 5.312 | 213.1267 | 6.1153 | 234.204 | 8.6647 | 260.9373 | 8.486 | 5.612 | 1.42 | 890 | 100 | 36.65
2019-11-26 06:30:00 | 5.6467 | 39.4433 | 6.4933 | 43.3367 | 8.7933 | 5.0867 | 8.4867 | 3.8367 | 1.4067 | 890 | 100 | 36.9887
2019-11-26 06:45:00 | 5.7733 | 114.8833 | 6.64 | 126.2467 | 9.5967 | 18.3133 | 9.4933 | 14.08 | 1.3933 | 890 | 100 | 36.142
2019-11-26 07:00:00 | 5.62 | 201.1633 | 6.46 | 221.0467 | 9.3367 | 20.2067 | 8.82 | 18.5867 | 1.3953 | 890 | 100 | 35.3633
2019-11-26 07:15:00 | 5.6267 | 195.55 | 6.4733 | 214.8867 | 9.1833 | 13.07 | 8.9967 | 13.6633 | 1.41 | 890 | 100 | 35.8353
2019-11-26 07:30:00 | 5.5267 | 33.0167 | 6.36 | 36.2733 | 8.7233 | 13.85 | 8.6967 | 32.2833 | 1.4167 | 890 | 100 | 36.7553
2019-11-26 07:45:00 | 6.1007 | 9.7453 | 7.02 | 10.7087 | 9.6087 | 122.256 | 9.1973 | 29 | 1.426 | 890 | 100 | 37.5273
2019-11-26 08:00:00 | 6.2267 | 42.18 | 7.16 | 46.3433 | 9.9567 | 352.4667 | 9.3267 | 241.58 | 1.4067 | 890 | 100 | 37.336
2019-11-26 08:15:00 | 6.14 | 16.76 | 7.07 | 18.4133 | 9.4167 | 5.9867 | 9.0633 | 10.7833 | 1.4133 | 890.1333 | 100 | 36.3933
2019-11-26 08:30:00 | 5.9333 | 13.9 | 6.83 | 15.2667 | 9.4167 | 12.4533 | 8.69 | 7.2967 | 1.4667 | 891 | 100 | 35.532
2019-11-26 08:45:00 | 6.0033 | 135.4633 | 6.9 | 148.86 | 9.6733 | 353.6333 | 8.82 | 248.5767 | 1.5033 | 891 | 100 | 35.454
2019-11-26 09:00:00 | 5.9967 | 107.2633 | 6.9 | 117.8667 | 9.8667 | 130.2867 | 9.5133 | 20.85 | 1.55 | 891 | 100 | 36.8973
2019-11-26 09:15:00 | 6.1733 | 41.08 | 7.1033 | 45.1333 | 10.4833 | 15.8667 | 10.0787 | 21.6567 | 1.6267 | 891 | 100 | 36.2647
2019-11-26 09:30:00 | 6.1733 | 57.4733 | 7.1033 | 63.1533 | 10.61 | 20.38 | 10.4233 | 12.2967 | 1.6933 | 891 | 100 | 35.438
2019-11-26 09:45:00 | 5.74 | 33.9 | 6.6033 | 37.25 | 9.0533 | 4.8967 | 9.2733 | 11.9167 | 1.71 | 891 | 100 | 34.622
2019-11-26 10:00:00 | 5.4933 | 173.1 | 6.3233 | 190.2233 | 9.34 | 17.9167 | 8.9333 | 16.5433 | 1.7833 | 891.4667 | 100 | 33.81
2019-11-26 10:15:00 | 5.7033 | 132.23 | 6.5633 | 145.3067 | 8.9067 | 12.0733 | 8.4367 | 24.41 | 1.84 | 892 | 100 | 35.096
2019-11-26 10:30:00 | 5.3433 | 291.05 | 6.1433 | 319.8333 | 8.5467 | 20.1 | 8.2833 | 32.2567 | 1.9533 | 892 | 100 | 34.906
2019-11-26 10:45:00 | 5.9633 | 18.0133 | 6.86 | 19.7933 | 10.1233 | 16.1033 | 9.6267 | 24.13 | 2.1267 | 892 | 100 | 34.0507
2019-11-26 11:00:00 | 5.1167 | 34.5733 | 5.8867 | 37.9867 | 8.41 | 227.4967 | 8.1333 | 15.8967 | 2.2667 | 892 | 100 | 33.3133
2019-11-26 11:15:00 | 4.88 | 136.07 | 5.61 | 149.52 | 7.8667 | 15.58 | 7.76 | 22.9833 | 2.48 | 892 | 99.6533 | 33.804
2019-11-26 11:30:00 | 5.124 | 300.652 | 5.888 | 330.38 | 8.366 | 206.588 | 7.994 | 11.084 | 2.58 | 892 | 98.44 | 34.5507
2019-11-26 11:45:00 | 5.1533 | 115.3733 | 5.9267 | 126.78 | 8.15 | 20.6067 | 7.89 | 13.3533 | 2.8433 | 892 | 96.7333 | 34.4153
2019-11-26 12:00:00 | 5.3067 | 115.26 | 6.1 | 126.66 | 8.4033 | 17.1 | 8.2167 | 15.98 | 3.07 | 892 | 95.8667 | 34.342
2019-11-26 12:15:00 | 5.6267 | 226.3167 | 6.47 | 248.69 | 9.0267 | 27.2967 | 8.1233 | 20.4367 | 2.9867 | 891.2 | 95.1 | 34.1713
2019-11-26 12:30:00 | 4.8333 | 216.61 | 5.57 | 238.0233 | 7.9533 | 17.6767 | 7.4567 | 20.5633 | 3.1 | 891 | 95.6333 | 36.5727
2019-11-26 12:45:00 | 5.56 | 306.91 | 6.4033 | 337.2667 | 9.4533 | 235.9167 | 9.07 | 6.8767 | 3.2433 | 891 | 95.2333 | 39.1047
2019-11-26 13:00:00 | 5.7333 | 96.2767 | 6.5947 | 105.8 | 9.5867 | 19.8033 | 8.8967 | 18.45 | 3.45 | 891 | 94.5 | 36.794
2019-11-26 13:15:00 | 5.6933 | 121.95 | 6.5567 | 134 | 9.7667 | 12.63 | 9.12 | 17.8567 | 3.5467 | 891 | 93.8667 | 36.7933
2019-11-26 13:30:00 | 5.7667 | 198.7567 | 6.63 | 218.4 | 9.9467 | 24.8367 | 8.94 | 25.09 | 3.5667 | 891 | 93.7333 | 37.6273
2019-11-26 13:45:00 | 5.2833 | 215.76 | 6.0767 | 237.1 | 9.22 | 20.2967 | 8.5767 | 9.8367 | 3.4833 | 890.2 | 93.9 | 37.5367
2019-11-26 14:00:00 | 5.39 | 98.0067 | 6.2033 | 107.7 | 9.0733 | 16.7633 | 8.2967 | 14.0633 | 3.3833 | 890 | 93.9667 | 37.2467
2019-11-26 14:15:00 | 5.31 | 104.84 | 6.1133 | 115.2 | 8.9267 | 18.52 | 8.1533 | 11.6067 | 3.4233 | 890 | 94.1 | 38.594
2019-11-26 14:30:00 | 5.51 | 123.76 | 6.34 | 136 | 9.0333 | 23.6133 | 8.4267 | 11.9467 | 3.45 | 890 | 93.7667 | 40.6367
2019-11-26 14:45:00 | 5.8467 | 314.77 | 6.7267 | 345.9 | 9.4733 | 15.9533 | 8.84 | 4.0467 | 3.4687 | 890 | 93.4667 | 40.6473
2019-11-26 15:00:00 | 5.4067 | 295.6033 | 6.22 | 324.8333 | 8.9333 | 26.8333 | 8.34 | 15.4733 | 3.4867 | 890 | 93.6467 | 40.68
2019-11-26 15:15:00 | 5.85 | 123.25 | 6.7433 | 135.44 | 9.8667 | 17.35 | 9.3533 | 14.6067 | 3.43 | 889.2 | 93.6 | 41.9553
2019-11-26 15:30:00 | 5.99 | 105.5767 | 6.8967 | 116.0133 | 10.16 | 15.79 | 9.7 | 15.4867 | 3.4233 | 889 | 93.2 | 43.1767
2019-11-26 15:45:00 | 6.4167 | 19.57 | 7.39 | 21.4967 | 10.4333 | 4.5633 | 9.9333 | 29.1667 | 3.4413 | 889 | 92.8867 | 44.082
2019-11-26 16:00:00 | 6.19 | 17.7233 | 7.1233 | 19.47 | 10.4867 | 5.2433 | 10.2667 | 17.1 | 3.45 | 889 | 92.5533 | 43.374
2019-11-26 16:15:00 | 5.98 | 292.0933 | 6.8833 | 320.9667 | 10.1967 | 7.9533 | 9.8367 | 16.0833 | 3.4833 | 889 | 92.2867 | 43.5693
2019-11-26 16:30:00 | 5.9467 | 304.8933 | 6.8433 | 335.0333 | 9.9967 | 15.7867 | 9.6633 | 13.21 | 3.4567 | 889 | 92 | 41.6153
2019-11-26 16:45:00 | 5.4053 | 108.6907 | 6.2153 | 119.4367 | 8.648 | 9.8447 | 8.5927 | 6.196 | 3.44 | 889 | 91.84 | 41.8553
2019-11-26 17:00:00 | 5.46 | 216.65 | 6.2833 | 238.0667 | 8.6733 | 14.8333 | 8.1333 | 180.24 | 3.4333 | 889 | 91.6 | 43.352
2019-11-26 17:15:00 | 6.0427 | 134.6247 | 6.9507 | 147.9353 | 9.636 | 10.582 | 9.164 | 30.5287 | 3.408 | 889 | 91.52 | 43.9053
2019-11-26 17:30:00 | 5.7467 | 108.6467 | 6.6067 | 119.3933 | 9.3533 | 22.35 | 9.0967 | 29.5733 | 3.42 | 889 | 91.3 | 46.1027
2019-11-26 17:45:00 | 5.94 | 319.4727 | 6.8367 | 351.06 | 9.15 | 17.47 | 8.8167 | 8.2633 | 3.4467 | 889 | 91.02 | 47.458
2019-11-26 18:00:00 | 5.5933 | 125.79 | 6.43 | 138.22 | 8.9167 | 235.61 | 8.6833 | 4.89 | 3.4467 | 889 | 91.0467 | 48.2187
2019-11-26 18:15:00 | 5.4367 | 20.6533 | 6.2533 | 22.69 | 8.5567 | 230.6633 | 8.4167 | 15.28 | 3.46 | 889.1333 | 91.1133 | 46.442
2019-11-26 18:30:00 | 6.0767 | 206.1267 | 6.9867 | 226.51 | 9.8633 | 6.9367 | 9.6167 | 20.4667 | 3.56 | 890 | 90.6667 | 47.5173
2019-11-26 18:45:00 | 6.5067 | 113.26 | 7.4833 | 124.46 | 10.8133 | 17.13 | 10.6567 | 19.5033 | 3.6867 | 890 | 89.8867 | 46.886
2019-11-26 19:00:00 | 6.1133 | 252.92 | 7.03 | 277.9333 | 10.4467 | 45.2967 | 10.2367 | 16.1633 | 3.7467 | 890 | 89.5333 | 47.0413
2019-11-26 19:15:00 | 5.6033 | 119.05 | 6.4533 | 130.8267 | 9.4333 | 1.76 | 9.24 | 1.3767 | 3.78 | 890 | 89.2667 | 46.956
2019-11-26 19:30:00 | 5.59 | 106.41 | 6.4267 | 116.9333 | 8.96 | 237.3933 | 8.7 | 20.07 | 3.86 | 890.4667 | 88.8 | 47.856
2019-11-26 19:45:00 | 5.68 | 253.2367 | 6.53 | 278.2667 | 9.82 | 237.7367 | 9.56 | 6.6933 | 3.83 | 891 | 89.1867 | 48.348
2019-11-26 20:00:00 | 5.54 | 92.41 | 6.37 | 101.54 | 9.4867 | 228.5367 | 9.32 | 9.32 | 3.79 | 891 | 89.3 | 47.5373
2019-11-26 20:15:00 | 5.3467 | 167.6533 | 6.16 | 184.2267 | 9.0533 | 356.54 | 8.6733 | 121 | 3.82 | 891 | 89.0667 | 45.0667
2019-11-26 20:30:00 | 5.06 | 24.4267 | 5.8267 | 26.8333 | 8.88 | 354.9333 | 8.6467 | 172.0667 | 3.7867 | 891 | 89.6667 | 47.346
2019-11-26 20:45:00 | 5.31 | 204.72 | 6.1167 | 224.9667 | 9.4333 | 353.9 | 9.2167 | 9.62 | 3.8033 | 891 | 89.7867 | 49.1467
2019-11-26 21:00:00 | 5.8833 | 239.12 | 6.7633 | 262.7667 | 9.68 | 128.2533 | 9.29 | 8.6333 | 3.8147 | 891 | 89.5 | 48.2753
2019-11-26 21:15:00 | 5.6033 | 44.53 | 6.4533 | 48.9333 | 9.5933 | 14.29 | 9.1867 | 14.2733 | 3.7733 | 891.8 | 89.8667 | 48.2447
2019-11-26 21:30:00 | 5.5367 | 3.4567 | 6.3733 | 3.7933 | 9.0733 | 3.9167 | 8.6333 | 10.84 | 3.8267 | 892 | 88.9333 | 47.6647
2019-11-26 21:45:00 | 5.58 | 115.8033 | 6.42 | 127.2533 | 8.9133 | 339.1 | 8.5667 | 11.1167 | 3.9167 | 892 | 88.3 | 48.534
2019-11-26 22:00:00 | 5.4733 | 109.3833 | 6.3 | 120.1867 | 9.1867 | 126.04 | 8.5667 | 11.6833 | 3.8853 | 892 | 88.5 | 49.2633
2019-11-26 22:15:00 | 5.5167 | 107.56 | 6.3533 | 118.1933 | 8.8767 | 233.4567 | 8.3067 | 11.86 | 3.87 | 892 | 88.4 | 46.946
2019-11-26 22:30:00 | 5.2967 | 130.6533 | 6.0933 | 143.5667 | 8.6633 | 236.8567 | 8.1933 | 7.84 | 3.8367 | 892 | 88.8 | 47.118
2019-11-26 22:45:00 | 5.22 | 103.6733 | 6.01 | 113.9267 | 8.8133 | 350.4333 | 8.3733 | 117.9533 | 3.8467 | 892 | 89.1867 | 46.2527
2019-11-26 23:00:00 | 5.2867 | 263.78 | 6.09 | 289.8667 | 8.3667 | 321.3 | 8.2533 | 121.9067 | 3.86 | 892 | 89.0533 | 47.8813
2019-11-26 23:15:00 | 5.3833 | 114.6533 | 6.19 | 125.9933 | 8.7767 | 236.23 | 8.3333 | 243.8533 | 3.8733 | 892 | 89.0867 | 46.628
2019-11-26 23:30:00 | 5.8767 | 132.0133 | 6.77 | 145.06 | 9.5767 | 7.7567 | 9.32 | 11.7 | 3.86 | 892 | 89.2667 | 49.7827
2019-11-26 23:45:00 | 5.81 | 62.9467 | 6.6933 | 69.1733 | 9.44 | 13.8767 | 9.41 | 12.8867 | 3.8767 | 892.1333 | 89.3333 | 52.3553