## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-27 00:00:00 | 6.1421 | 68.1743 | 7.0786 | 74.9121 | 10.1307 | 19.9407 | 9.9207 | 18.2814 | 3.915 | 893 | 89.5571 | 52.5171
2019-11-27 00:15:00 | 5.8413 | 97.1853 | 6.7207 | 106.7973 | 10.6387 | 9.0727 | 10.3193 | 10.6887 | 3.8927 | 893 | 90.4467 | 54.0073
2019-11-27 00:30:00 | 6.358 | 276.706 | 7.318 | 304.06 | 10.82 | 11.932 | 10.484 | 13.868 | 3.93 | 893 | 90.18 | 53.0627
2019-11-27 00:45:00 | 6.4233 | 113.5833 | 7.3867 | 124.8133 | 10.8533 | 20.2733 | 10.12 | 17.0667 | 4.0633 | 893 | 89.7333 | 52.83
2019-11-27 01:00:00 | 5.8767 | 289.0767 | 6.7667 | 317.6667 | 9.7733 | 11.44 | 9.48 | 12.98 | 4.19 | 893 | 89 | 53.9987
2019-11-27 01:15:00 | 5.96 | 115.2767 | 6.8567 | 126.6667 | 9.6167 | 4.2167 | 9.5333 | 8.01 | 4.1833 | 893 | 89.1667 | 54.1913
2019-11-27 01:30:00 | 6.0533 | 114.1833 | 6.9633 | 125.4667 | 10.19 | 11.17 | 9.9 | 4.83 | 4.2033 | 893 | 89.1 | 53.2133
2019-11-27 01:45:00 | 6.0433 | 100.9967 | 6.9533 | 110.9867 | 10.2833 | 16.9067 | 9.7333 | 22.5967 | 4.17 | 893 | 89.4867 | 53.25
2019-11-27 02:00:00 | 5.804 | 310.894 | 6.676 | 341.64 | 9.684 | 3.854 | 9.056 | 12.072 | 4.152 | 893 | 89.58 | 48.0487
2019-11-27 02:15:00 | 5.24 | 218.5167 | 6.03 | 240.1267 | 8.55 | 124.1133 | 8.3867 | 123.92 | 4.1233 | 893 | 89.9133 | 48.0173
2019-11-27 02:30:00 | 5.41 | 186.016 | 6.226 | 204.412 | 8.92 | 343.44 | 8.404 | 143.858 | 4.14 | 893 | 89.88 | 49.2547
2019-11-27 02:45:00 | 5.21 | 57.65 | 6 | 63.3433 | 8.5733 | 229.7833 | 8.0567 | 22.1033 | 4.1967 | 893 | 89.8133 | 50.3393
2019-11-27 03:00:00 | 5.6633 | 44.57 | 6.52 | 48.9767 | 8.94 | 5.5767 | 8.7767 | 20.47 | 4.2167 | 893 | 89.6333 | 54.3433
2019-11-27 03:15:00 | 5.8933 | 299.57 | 6.7833 | 329.2 | 10.3733 | 14.07 | 10.13 | 14.8167 | 4.1567 | 893 | 90.2133 | 54.65
2019-11-27 03:30:00 | 5.9133 | 301.2767 | 6.7967 | 331.0667 | 10.38 | 18.01 | 10.3233 | 21.3167 | 4.11 | 893 | 90.6333 | 54.72
2019-11-27 03:45:00 | 5.8267 | 276.55 | 6.7033 | 303.9 | 9.9167 | 8.5233 | 9.6867 | 13.7767 | 4.08 | 892.8667 | 90.7067 | 54.1307
2019-11-27 04:00:00 | 5.6667 | 308.35 | 6.5167 | 338.8333 | 9.3367 | 1.13 | 9.12 | 18.1433 | 4.0333 | 892 | 90.8667 | 54.1433
2019-11-27 04:15:00 | 5.8467 | 305.0667 | 6.7333 | 335.2333 | 9.32 | 248.4767 | 8.8967 | 14.54 | 4.04 | 892 | 90.7 | 54.8307
2019-11-27 04:30:00 | 5.7 | 293.66 | 6.56 | 322.7 | 9.4 | 25.9167 | 9.0633 | 14.14 | 4 | 892 | 90.9667 | 54.2787
2019-11-27 04:45:00 | 6 | 34.8733 | 6.91 | 38.3133 | 9.64 | 14.1967 | 9.2033 | 13.0733 | 3.9067 | 892 | 91.7667 | 55.1987
2019-11-27 05:00:00 | 6.3467 | 16.7267 | 7.3033 | 18.3667 | 10.1467 | 10.7233 | 10.0167 | 66.96 | 4.0333 | 892 | 91.1667 | 54.938
2019-11-27 05:15:00 | 6.11 | 212.6767 | 7.03 | 233.7067 | 10.1433 | 131.2933 | 10.2273 | 21.0427 | 4.2667 | 892 | 89.8333 | 55.1893
2019-11-27 05:30:00 | 6.0567 | 185.01 | 6.97 | 203.3067 | 10.1833 | 109.2 | 10.2633 | 20.64 | 4.24 | 892 | 89.9 | 51.7473
2019-11-27 05:45:00 | 5.1767 | 109.5867 | 5.9533 | 120.42 | 8.8333 | 6.8733 | 8.64 | 14.2433 | 4.17 | 892 | 90.4133 | 47.044
2019-11-27 06:00:00 | 4.7167 | 119.3133 | 5.4267 | 131.1067 | 7.6533 | 243.0733 | 7.1667 | 6.8967 | 4.1233 | 892 | 90.5467 | 42.82
2019-11-27 06:15:00 | 4.3133 | 291.96 | 4.97 | 320.8333 | 7.5467 | 347.2333 | 7.1467 | 126.54 | 4.1253 | 892.1333 | 90.2867 | 40.212
2019-11-27 06:30:00 | 4.2867 | 305.06 | 4.9433 | 335.2333 | 7.4467 | 356.8533 | 7.2333 | 124.2667 | 4.2367 | 893 | 89.4667 | 40.962
2019-11-27 06:45:00 | 4.2733 | 213.8667 | 4.92 | 235.0133 | 7.0867 | 4.45 | 6.8367 | 15.5167 | 4.0533 | 893 | 91.2667 | 40.2973
2019-11-27 07:00:00 | 4.26 | 2.8533 | 4.9 | 3.1267 | 7.1733 | 9.25 | 7.05 | 9.21 | 3.9067 | 893 | 92.4 | 41.772
2019-11-27 07:15:00 | 4.332 | 137.4613 | 4.9813 | 151.0473 | 7.2113 | 12.3147 | 6.8487 | 12.6127 | 4.0473 | 893 | 91.5 | 40.096
2019-11-27 07:30:00 | 3.9067 | 282.6733 | 4.4933 | 310.6333 | 6.9867 | 237.8533 | 6.71 | 14.0867 | 4.1433 | 893 | 91.0533 | 38.3593
2019-11-27 07:45:00 | 3.74 | 28.45 | 4.31 | 31.2567 | 6.9033 | 120.58 | 6.8167 | 2.92 | 4.1653 | 893 | 90.82 | 36.7887
2019-11-27 08:00:00 | 3.9133 | 17.81 | 4.5033 | 19.57 | 6.9167 | 137.94 | 6.6967 | 15.7067 | 4.23 | 893.4667 | 90.4 | 36.2107
2019-11-27 08:15:00 | 3.9933 | 200.1567 | 4.6067 | 219.9467 | 7.1233 | 120.46 | 6.7833 | 55.4 | 4.3167 | 894 | 90.0533 | 35.3293
2019-11-27 08:30:00 | 3.8467 | 191.55 | 4.4267 | 210.48 | 6.9433 | 352.0333 | 6.43 | 236.8 | 4.37 | 894 | 89.8333 | 34.668
2019-11-27 08:45:00 | 3.9333 | 37.33 | 4.5233 | 41.0167 | 6.96 | 344.9 | 6.5667 | 354 | 4.3867 | 894.8 | 90.3133 | 38.7187
2019-11-27 09:00:00 | 4.04 | 7.41 | 4.6433 | 8.1367 | 6.7933 | 355.9667 | 6.42 | 174.9333 | 4.46 | 895 | 90.2667 | 45.446
2019-11-27 09:15:00 | 4.6867 | 275.18 | 5.3933 | 302.4 | 8.2367 | 6.66 | 8.01 | 6.5967 | 4.56 | 895 | 90.5667 | 47.7627
2019-11-27 09:30:00 | 5.2533 | 101.6 | 6.0533 | 111.6533 | 9.4367 | 17.0667 | 9.4167 | 18.11 | 4.56 | 895 | 90.5667 | 48.9027
2019-11-27 09:45:00 | 5.3967 | 287.6467 | 6.2067 | 316.1 | 9.26 | 13.92 | 9.2567 | 19.1467 | 4.6667 | 895.1333 | 89.6 | 45.094
2019-11-27 10:00:00 | 5.07 | 307.9733 | 5.84 | 338.4333 | 8.76 | 12.9467 | 8.9167 | 8.66 | 4.8867 | 896 | 88.4 | 43.6067
2019-11-27 10:15:00 | 4.8667 | 278.0367 | 5.6 | 305.5333 | 8.66 | 11.4867 | 8.3467 | 3.6867 | 5.1067 | 896 | 87.2 | 44.6087
2019-11-27 10:30:00 | 4.6733 | 125.2567 | 5.38 | 137.6467 | 7.7667 | 236.6467 | 7.3733 | 10.2733 | 5.4 | 896 | 85.0667 | 39.2913
2019-11-27 10:45:00 | 4.1467 | 114.1667 | 4.78 | 125.4533 | 6.82 | 5.02 | 6.6 | 233.3833 | 5.7233 | 896 | 83.7 | 36.162
2019-11-27 11:00:00 | 4.16 | 312.22 | 4.7933 | 343.1 | 6.9 | 9.88 | 6.86 | 20.4967 | 6.07 | 896 | 82.7 | 36.4293
2019-11-27 11:15:00 | 4.4233 | 300.1533 | 5.0867 | 329.8333 | 7.51 | 8.2233 | 7.32 | 22.51 | 6.3167 | 896 | 80.3967 | 35.6507
2019-11-27 11:30:00 | 4.434 | 305.174 | 5.098 | 335.36 | 7.632 | 29 | 7.728 | 21.17 | 6.594 | 896 | 79.588 | 37.122
2019-11-27 11:45:00 | 4.816 | 45.77 | 5.5513 | 50.29 | 8.7533 | 4 | 8.6153 | 13.4013 | 6.786 | 896 | 78.218 | 39.452
2019-11-27 12:00:00 | 5.1833 | 221.4033 | 5.96 | 243.2967 | 9.2133 | 10.67 | 9 | 21.1867 | 6.8033 | 896 | 77.2233 | 40.104
2019-11-27 12:15:00 | 5.05 | 307.4667 | 5.8167 | 337.8667 | 9.328 | 22.8933 | 9.4767 | 26.06 | 6.8933 | 896 | 76.06 | 39.2633
2019-11-27 12:30:00 | 4.8967 | 154.34 | 5.63 | 169.6 | 9.3233 | 22.88 | 9.6433 | 23.9467 | 7.1467 | 896 | 75.6333 | 43.55
2019-11-27 12:45:00 | 4.92 | 234.7933 | 5.6567 | 258 | 9.24 | 17.7333 | 9.6533 | 23.29 | 7.26 | 896 | 75.246 | 43.1167
2019-11-27 13:00:00 | 5.04 | 75.6933 | 5.8033 | 83.1667 | 9.3867 | 23.0667 | 9.8667 | 25.53 | 7.26 | 896 | 75.49 | 43.6647
2019-11-27 13:15:00 | 5.52 | 70.1933 | 6.35 | 77.1333 | 9.8133 | 16.0867 | 10.2033 | 34.3333 | 7.14 | 895.8667 | 73.4033 | 45.4033
2019-11-27 13:30:00 | 5.8 | 24.22 | 6.6767 | 26.6133 | 10.24 | 23.3333 | 10.51 | 35.8733 | 7.0953 | 895 | 72.2033 | 42.0447
2019-11-27 13:45:00 | 5.2067 | 24.5273 | 6.0013 | 26.95 | 9.0693 | 20.4913 | 9.5147 | 33.4753 | 7.1373 | 895 | 71.0833 | 40.2173
2019-11-27 14:00:00 | 4.8533 | 24.8333 | 5.5833 | 27.28 | 8.8133 | 20.4167 | 9.04 | 30.9533 | 7.2133 | 895 | 70.8233 | 35.336
2019-11-27 14:15:00 | 4.98 | 213.73 | 5.73 | 234.8533 | 8.85 | 14.29 | 9.32 | 24.12 | 7.43 | 895 | 70.9567 | 37.4093
2019-11-27 14:30:00 | 5.336 | 192.3 | 6.134 | 211.304 | 9.57 | 26.64 | 9.902 | 28.99 | 7.748 | 895 | 69.882 | 40.0973
2019-11-27 14:45:00 | 5.3433 | 139.8567 | 6.1433 | 153.6833 | 9.5433 | 18.9033 | 9.8267 | 30.1367 | 7.7933 | 895 | 68.7167 | 42.1513
2019-11-27 15:00:00 | 5.6433 | 10.0367 | 6.4967 | 11.0233 | 10.1367 | 14.7167 | 9.9333 | 25.27 | 7.8067 | 895 | 68.05 | 38.8733
2019-11-27 15:15:00 | 5.2733 | 105.0733 | 6.0733 | 115.46 | 9.3933 | 26.3067 | 9.15 | 28.3467 | 7.7847 | 894.3333 | 67.4233 | 36.8513
2019-11-27 15:30:00 | 5.3333 | 300.6933 | 6.1333 | 330.4333 | 9.42 | 23.42 | 9.5567 | 28.4 | 7.6733 | 895 | 67.23 | 39.9227
2019-11-27 15:45:00 | 5.32 | 149.9733 | 6.13 | 164.8 | 9.62 | 19.83 | 9.9167 | 31.3867 | 7.5933 | 895 | 68.1667 | 35.6667
2019-11-27 16:00:00 | 5.3 | 71.36 | 6.0967 | 78.42 | 9.3867 | 33.1433 | 9.3767 | 34.4 | 7.56 | 895 | 67.5267 | 34.4087
2019-11-27 16:15:00 | 5.1167 | 34.4767 | 5.8833 | 37.88 | 8.9667 | 25.0933 | 8.87 | 33.4067 | 7.56 | 895 | 66.57 | 32.6227
2019-11-27 16:30:00 | 4.788 | 143.512 | 5.504 | 157.7 | 8.6647 | 26.032 | 8.778 | 30.326 | 7.598 | 895 | 67.784 | 28.3647
2019-11-27 16:45:00 | 4.5033 | 44.858 | 5.176 | 49.29 | 8.4607 | 13.748 | 8.5333 | 50.4393 | 7.6667 | 895 | 69.5553 | 23.6673
2019-11-27 17:00:00 | 4.58 | 57.8267 | 5.2667 | 63.5467 | 8.4933 | 10.3767 | 8.38 | 29.09 | 7.57 | 895 | 70.09 | 20.5187
2019-11-27 17:15:00 | 3.8467 | 265.5667 | 4.42 | 291.8333 | 7.13 | 19.7267 | 7.1033 | 33.9667 | 7.2833 | 895 | 70.97 | 17.1113
2019-11-27 17:30:00 | 3.4467 | 255.9267 | 3.9667 | 281.2333 | 6.3567 | 21.5933 | 6.0633 | 26.2333 | 6.9833 | 895 | 72.43 | 15.8053
2019-11-27 17:45:00 | 3.3867 | 118.36 | 3.8933 | 130.0667 | 6.1333 | 13.2767 | 5.9233 | 17.58 | 6.6867 | 895 | 74.28 | 15.0073
2019-11-27 18:00:00 | 3.2133 | 212.94 | 3.6933 | 234 | 5.9533 | 17.7633 | 5.7233 | 21.02 | 6.44 | 895 | 76.2933 | 13.8607
2019-11-27 18:15:00 | 2.83 | 245.4033 | 3.2567 | 269.6667 | 5.4133 | 19.4367 | 5.3433 | 25.1733 | 6.19 | 895 | 78.2733 | 11.726
2019-11-27 18:30:00 | 2.59 | 307.3433 | 2.9767 | 337.7333 | 4.5533 | 13.3433 | 4.3367 | 25.44 | 6.1033 | 895 | 78.72 | 9.5787
2019-11-27 18:45:00 | 2.0933 | 19.6533 | 2.41 | 21.5967 | 3.8533 | 22.0133 | 3.79 | 16.49 | 6.0567 | 895 | 79.1333 | 9.3767
2019-11-27 19:00:00 | 2.1733 | 22.32 | 2.51 | 24.5167 | 4.1067 | 10.7267 | 3.9567 | 12.55 | 5.9233 | 895 | 80.4067 | 8.9147
2019-11-27 19:15:00 | 2.8733 | 11.0367 | 3.3 | 12.12 | 5.26 | 9.5333 | 4.8 | 17.4233 | 5.6867 | 895 | 83.2667 | 9.08
2019-11-27 19:30:00 | 2.7467 | 12.95 | 3.16 | 14.2267 | 4.9933 | 9.4 | 4.62 | 6.1833 | 5.5533 | 895 | 84.1333 | 8.2067
2019-11-27 19:45:00 | 2.8233 | 29.7867 | 3.2533 | 32.7333 | 4.9733 | 0.77667 | 4.8367 | 10.7 | 5.5633 | 895.8 | 84.1 | 7.4573
2019-11-27 20:00:00 | 2.7833 | 212.2 | 3.2067 | 233.18 | 4.6933 | 4.7967 | 4.3767 | 9.1267 | 5.4967 | 896 | 84.7 | 6.4633
2019-11-27 20:15:00 | 2.82 | 10.73 | 3.2467 | 11.7833 | 4.7 | 115.7467 | 4.1133 | 1.9767 | 5.4447 | 896 | 85.2133 | 5.3293
2019-11-27 20:30:00 | 2.8933 | 23.2167 | 3.34 | 25.5033 | 4.7533 | 339.8 | 4.2867 | 5.2833 | 5.3133 | 896 | 86.4333 | 6.9813
2019-11-27 20:45:00 | 3.47 | 211.85 | 3.9933 | 232.8033 | 4.9933 | 351.1667 | 4.8133 | 15.12 | 5.2433 | 896 | 86.5667 | 9.4187
2019-11-27 21:00:00 | 3.4433 | 13.5033 | 3.96 | 14.8367 | 5.1467 | 346.5 | 4.96 | 234.7667 | 5.1833 | 896 | 87.0333 | 10.914
2019-11-27 21:15:00 | 3.8433 | 19.4467 | 4.4267 | 21.3667 | 6.0767 | 115.82 | 5.6133 | 5.7733 | 5.14 | 896 | 87.32 | 12.946
2019-11-27 21:30:00 | 3.548 | 182.138 | 4.088 | 200.152 | 6.068 | 349.6 | 5.6 | 4.858 | 5.058 | 896 | 87.88 | 14.7733
2019-11-27 21:45:00 | 3.8487 | 39.8207 | 4.4247 | 43.754 | 6.2253 | 349.32 | 5.7527 | 3.2933 | 4.9853 | 896 | 88.12 | 15.1747
2019-11-27 22:00:00 | 3.88 | 30.0733 | 4.46 | 33.0433 | 5.9433 | 116.9267 | 5.8067 | 10.05 | 4.96 | 896 | 88.1667 | 13.5993
2019-11-27 22:15:00 | 3.6967 | 16.1367 | 4.26 | 17.73 | 5.8633 | 349 | 5.4733 | 5.2967 | 4.8933 | 896 | 88.6667 | 12.7713
2019-11-27 22:30:00 | 3.6367 | 170.97 | 4.18 | 187.8833 | 6.4967 | 344.4667 | 6.1733 | 14.1633 | 4.84 | 896.4667 | 89.1333 | 12.59
2019-11-27 22:45:00 | 3.6933 | 125.9967 | 4.25 | 138.4533 | 6.2567 | 122.84 | 5.9367 | 60.3167 | 4.7767 | 897 | 89.4667 | 13.144
2019-11-27 23:00:00 | 3.5533 | 317.1033 | 4.09 | 348.4667 | 5.6967 | 115.5133 | 5.4967 | 13.1767 | 4.7167 | 897 | 89.9333 | 16.2713
2019-11-27 23:15:00 | 4.0987 | 74.3873 | 4.7133 | 81.7433 | 6.898 | 213.8647 | 6.4493 | 7.1273 | 4.63 | 897 | 90.3533 | 16.2587
2019-11-27 23:30:00 | 4.3067 | 7.5933 | 4.9533 | 8.3433 | 6.6467 | 244.2467 | 6.3833 | 14.5567 | 4.5467 | 897 | 90.7 | 16.0113
2019-11-27 23:45:00 | 4.18 | 302.4333 | 4.8233 | 332.3333 | 6.58 | 6.6567 | 6.1533 | 20.6967 | 4.4833 | 897 | 91.0133 | 17.7153