## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-28 00:00:00 | 4.1157 | 124.8014 | 4.7407 | 137.1436 | 6.4207 | 12.0479 | 6.3464 | 19.4857 | 4.4371 | 897 | 91.1429 | 16.6764
2019-11-28 00:15:00 | 4.1133 | 7.0733 | 4.7367 | 7.7667 | 6.22 | 12.1767 | 5.7067 | 121.6267 | 4.3767 | 897 | 91.28 | 16.034
2019-11-28 00:30:00 | 3.8067 | 210.2533 | 4.3833 | 231.0467 | 6.0867 | 13.75 | 6.0467 | 131.7733 | 4.35 | 897 | 91.4333 | 13.8493
2019-11-28 00:45:00 | 3.6933 | 122.4267 | 4.2567 | 134.5267 | 5.88 | 16.74 | 5.76 | 31.7767 | 4.29 | 896.3333 | 91.5133 | 12.51
2019-11-28 01:00:00 | 4.0267 | 297.42 | 4.63 | 326.8333 | 6.4667 | 10.1867 | 5.9867 | 11.0233 | 4.2433 | 896.5333 | 91.5333 | 13.2007
2019-11-28 01:15:00 | 3.8267 | 13.6733 | 4.4133 | 15.0167 | 6.1867 | 3.2233 | 5.8767 | 9.7533 | 4.1867 | 896 | 91.7333 | 11.8873
2019-11-28 01:30:00 | 3.8 | 12.0467 | 4.38 | 13.2233 | 5.94 | 12.7767 | 5.8167 | 11.7 | 4.1533 | 896 | 91.6467 | 12.458
2019-11-28 01:45:00 | 4 | 108.7867 | 4.6033 | 119.54 | 6.2233 | 7.13 | 5.8033 | 18.7967 | 4.0833 | 896 | 91.9667 | 12.446
2019-11-28 02:00:00 | 3.4933 | 310.3533 | 4.0233 | 341.0333 | 5.9433 | 16.0433 | 5.65 | 17.81 | 4.0433 | 896 | 92.2333 | 10.9493
2019-11-28 02:15:00 | 3.7747 | 208.6847 | 4.34 | 229.3267 | 5.956 | 118.458 | 5.6533 | 18.7627 | 3.9473 | 896 | 92.9 | 12.4793
2019-11-28 02:30:00 | 3.6667 | 218.2467 | 4.2133 | 239.8333 | 5.4867 | 117.3467 | 5.24 | 33.7433 | 3.87 | 895.5333 | 93.2467 | 10.0293
2019-11-28 02:45:00 | 3.4 | 104.9 | 3.91 | 115.2667 | 5.52 | 147.2533 | 5.1967 | 9.1867 | 3.8533 | 895 | 93.4867 | 6.7027
2019-11-28 03:00:00 | 3.118 | 155.324 | 3.584 | 170.674 | 5.262 | 347.3 | 4.836 | 218.576 | 3.828 | 895 | 93.58 | 7.0987
2019-11-28 03:15:00 | 3.3067 | 191.2767 | 3.81 | 210.1867 | 5.6367 | 0.16333 | 5.22 | 237.9467 | 3.76 | 895 | 94.1867 | 8.128
2019-11-28 03:30:00 | 3.484 | 24.068 | 4.008 | 26.442 | 5.386 | 0.15 | 4.948 | 10.074 | 3.728 | 895 | 94.1 | 10.012
2019-11-28 03:45:00 | 3.83 | 203.94 | 4.4 | 224.11 | 5.84 | 235.2633 | 5.5867 | 23.3233 | 3.63 | 895 | 94.6467 | 9.8773
2019-11-28 04:00:00 | 3.7567 | 215.0533 | 4.3267 | 236.31 | 5.9267 | 10.2967 | 5.5267 | 19.79 | 3.4033 | 895 | 96.6 | 9.1853
2019-11-28 04:15:00 | 3.5867 | 116.55 | 4.13 | 128.0667 | 5.36 | 8.2067 | 4.72 | 16.9633 | 3.1867 | 895 | 98.2667 | 9.124
2019-11-28 04:30:00 | 3.82 | 109.5033 | 4.3967 | 120.3333 | 5.7267 | 5.84 | 5.6533 | 7.1033 | 3.1133 | 894.5333 | 98.9333 | 8.8867
2019-11-28 04:45:00 | 3.5767 | 305.37 | 4.1233 | 335.5667 | 5.31 | 12.0167 | 5.05 | 28.08 | 3.0667 | 894 | 99.3667 | 8.5527
2019-11-28 05:00:00 | 3.432 | 289.798 | 3.944 | 318.46 | 5.922 | 3.728 | 5.724 | 16.388 | 3.074 | 894 | 99.68 | 8.0813
2019-11-28 05:15:00 | 3.4633 | 28.07 | 3.9833 | 30.8467 | 5.22 | 21.94 | 5.0667 | 23.7733 | 3.0233 | 894 | 99.7867 | 6.0507
2019-11-28 05:30:00 | 3.7033 | 229.5367 | 4.27 | 252.24 | 5.18 | 18.3933 | 5.1 | 15.6467 | 3.0167 | 894 | 99.4333 | 5.9247
2019-11-28 05:45:00 | 3.59 | 120.98 | 4.13 | 132.9467 | 5.5633 | 235.42 | 5.2467 | 12.92 | 3.03 | 894 | 99 | 5.5867
2019-11-28 06:00:00 | 3.396 | 152.922 | 3.914 | 168.038 | 5.246 | 207.824 | 4.882 | 16.592 | 3.024 | 894 | 99.12 | 7.6773
2019-11-28 06:15:00 | 3.6067 | 12.19 | 4.15 | 13.3967 | 6.02 | 5.81 | 5.75 | 9.2933 | 3.0067 | 894 | 99.38 | 9.6907
2019-11-28 06:30:00 | 3.88 | 15.7633 | 4.4633 | 17.3233 | 6.0067 | 11.9367 | 5.9367 | 13.8533 | 2.9667 | 894 | 99.6467 | 13.6407
2019-11-28 06:45:00 | 4.0467 | 48.4667 | 4.6533 | 53.2567 | 6.5067 | 16.1833 | 6.47 | 14.62 | 2.8833 | 894 | 99.9133 | 15.43
2019-11-28 07:00:00 | 4.0333 | 56.1 | 4.64 | 61.6433 | 6.2533 | 10.0567 | 6.5433 | 235.0067 | 2.8233 | 894 | 100 | 15.3393
2019-11-28 07:15:00 | 4.1467 | 18.9133 | 4.7667 | 20.7833 | 6.6733 | 121.1067 | 6.3333 | 13.1967 | 2.7967 | 894 | 100 | 14.918
2019-11-28 07:30:00 | 3.9733 | 17.0733 | 4.5667 | 18.7567 | 6.7933 | 131.9867 | 6.26 | 9.7633 | 2.7833 | 894 | 100 | 15.542
2019-11-28 07:45:00 | 4.2 | 73.0327 | 4.834 | 80.25 | 7.3387 | 9.992 | 6.866 | 15.9993 | 2.782 | 894 | 100 | 16.0527
2019-11-28 08:00:00 | 4.5933 | 121.0133 | 5.2933 | 132.9867 | 7.9533 | 14.14 | 7.4833 | 12.7 | 2.7133 | 894 | 100 | 16.9073
2019-11-28 08:15:00 | 4.3133 | 43.88 | 4.9633 | 48.2133 | 6.6567 | 126.9133 | 6.55 | 14.09 | 2.5967 | 894.8 | 100 | 16.8387
2019-11-28 08:30:00 | 4.3667 | 227.26 | 5.03 | 249.7333 | 6.6767 | 116.2733 | 6.6433 | 16.0567 | 2.5167 | 895 | 100 | 17.13
2019-11-28 08:45:00 | 4.0567 | 108.3767 | 4.6667 | 119.0833 | 6.25 | 6.2433 | 6.37 | 240.57 | 2.5033 | 895 | 100 | 14.256
2019-11-28 09:00:00 | 4.0433 | 201.43 | 4.6533 | 221.35 | 6.13 | 18.7167 | 6.0233 | 17.8967 | 2.47 | 894.5333 | 100 | 10.822
2019-11-28 09:15:00 | 3.4333 | 2.8067 | 3.9533 | 3.08 | 5.82 | 8.9867 | 5.32 | 17.62 | 2.5533 | 894 | 100 | 8.02
2019-11-28 09:30:00 | 3.1267 | 13.42 | 3.6 | 14.74 | 5.4267 | 7.4133 | 4.9067 | 10.5333 | 2.6133 | 894 | 100 | 5.9573
2019-11-28 09:45:00 | 3.1733 | 297.8607 | 3.6607 | 327.3207 | 5.0013 | 222.0433 | 4.4793 | 3.682 | 2.6233 | 894 | 100 | 4.312
2019-11-28 10:00:00 | 3.1733 | 314.2533 | 3.6567 | 345.3333 | 4.8467 | 16.5733 | 4.2 | 1.9467 | 2.63 | 894 | 100 | 3.8147
2019-11-28 10:15:00 | 3.3133 | 10.1733 | 3.8133 | 11.18 | 4.7233 | 11.5967 | 4.2867 | 9.13 | 2.56 | 894 | 100 | 2.4093
2019-11-28 10:30:00 | 3.52 | 17.4467 | 4.0533 | 19.16 | 4.4567 | 7.41 | 3.84 | 15.2567 | 2.5533 | 894 | 100 | 1.2893
2019-11-28 10:45:00 | 2.8233 | 201.93 | 3.2433 | 221.9 | 3.9167 | 0.17333 | 3.1367 | 132.8733 | 2.5667 | 894 | 100 | 0.528
2019-11-28 11:00:00 | 2.9833 | 216.2433 | 3.43 | 237.6333 | 3.79 | 238.0067 | 3.4233 | 121.7 | 2.5667 | 894 | 100 | 0.5
2019-11-28 11:15:00 | 2.8067 | 3.1567 | 3.23 | 3.46 | 3.5267 | 3.6 | 2.9367 | 10.62 | 2.58 | 894 | 100 | 0.63067
2019-11-28 11:30:00 | 2.46 | 13.2233 | 2.83 | 14.5267 | 2.9333 | 7.44 | 2.2167 | 5.74 | 2.5553 | 894 | 100 | 0.72
2019-11-28 11:45:00 | 2.1467 | 213.6667 | 2.4667 | 234.8 | 2.4433 | 6.5433 | 1.2567 | 28.2133 | 2.6 | 894 | 100 | 1.0167
2019-11-28 12:00:00 | 2.192 | 7.652 | 2.52 | 8.4 | 2.302 | 9.218 | 1.07 | 2.716 | 2.614 | 894 | 100 | 1.184
2019-11-28 12:15:00 | 2.2533 | 111.6133 | 2.59 | 122.6533 | 2.19 | 4.3767 | 1.35 | 4.3933 | 2.6733 | 894 | 100 | 0.98067
2019-11-28 12:30:00 | 2.2733 | 314.92 | 2.61 | 346.0667 | 2.5233 | 1.17 | 1.2433 | 242.0667 | 2.7133 | 893.5333 | 100 | 0.952
2019-11-28 12:45:00 | 2.0933 | 216.1167 | 2.4067 | 237.4833 | 2.23 | 3.5933 | 0.45667 | 8.5767 | 2.8033 | 893 | 100 | 1.058
2019-11-28 13:00:00 | 1.9 | 0.37667 | 2.1933 | 0.40333 | 1.6633 | 4.4333 | 0.07 | 153.83 | 2.8233 | 893 | 100 | 1.132
2019-11-28 13:15:00 | 1.34 | 5.5167 | 1.5467 | 6.0567 | 0.79 | 14.0267 | 0.17 | 270.8333 | 2.9167 | 892.2 | 100 | 1.3573
2019-11-28 13:30:00 | 1.1867 | 2.77 | 1.3667 | 3.0433 | 0.49 | 17.8533 | 0.12333 | 247.9667 | 2.9367 | 892 | 100 | 1.72
2019-11-28 13:45:00 | 0.918 | 26.3153 | 1.054 | 28.9113 | 0.112 | 184.0233 | 0.18267 | 214.7467 | 2.9493 | 892 | 100 | 1.6187
2019-11-28 14:00:00 | 0.91333 | 8.18 | 1.0533 | 8.9833 | 0.073333 | 184.2867 | 0.20667 | 214.5333 | 2.9767 | 891.5333 | 100 | 1.894
2019-11-28 14:15:00 | 0.76667 | 1.1133 | 0.88333 | 1.2167 | 0.11667 | 88.26 | 0.42333 | 210.7 | 3.0567 | 891 | 100 | 1.7147
2019-11-28 14:30:00 | 0.94 | 11.2267 | 1.0833 | 12.3367 | 0.41667 | 258.2667 | 0.91667 | 216.3667 | 3.13 | 891 | 100 | 1.5213
2019-11-28 14:45:00 | 0.7 | 124.8433 | 0.8 | 137.1867 | 0.033333 | 100.1733 | 0.013333 | 225.6667 | 3.1833 | 891 | 100 | 1.322
2019-11-28 15:00:00 | 0.675 | 319.005 | 0.775 | 350.55 | 0.015 | 260 | 0.04 | 235.6 | 3.175 | 890.8 | 100 | 1.305
2019-11-28 15:15:00 | 0.76667 | 0.05 | 0.89 | 0.05 | 0.02 | 253.9667 | 0.066667 | 223.1 | 3.2567 | 890 | 100 | 1.4287
2019-11-28 15:30:00 | 0.73333 | 9.4633 | 0.85 | 10.3967 | 0.026667 | 292.5667 | 0.27333 | 200.3 | 3.25 | 890 | 100 | 1.678
2019-11-28 15:45:00 | 0.66 | 323.51 | 0.77 | 355.5 | 0 | 194.1867 | 0.013333 | 206.2667 | 3.29 | 890 | 100 | 1.2107
2019-11-28 16:00:00 | 0.65333 | 108.0567 | 0.76333 | 118.7333 | 0 | 194.1467 | 0.013333 | 203.5333 | 3.3633 | 890 | 100 | 1.35
2019-11-28 16:15:00 | 0.84 | 217.2233 | 0.97333 | 238.7033 | 0.033333 | 329.1 | 0.24333 | 240.1333 | 3.3733 | 890 | 100 | 1.5973
2019-11-28 16:30:00 | 0.88667 | 2.6167 | 1.02 | 2.87 | 0.073333 | 283.3 | 0.28333 | 225.7333 | 3.2667 | 890 | 100 | 1.7773
2019-11-28 16:45:00 | 0.87667 | 16.1833 | 1.0167 | 17.7767 | 0.10333 | 176.2067 | 0.45333 | 206.5333 | 3.22 | 890 | 100 | 1.8573
2019-11-28 17:00:00 | 0.87667 | 12.7167 | 1.0167 | 13.9633 | 0.11667 | 22.2933 | 0.27333 | 209.6667 | 3.22 | 890 | 100 | 1.8687
2019-11-28 17:15:00 | 1.2867 | 2.8367 | 1.4833 | 3.1133 | 0.91667 | 18.39 | 0.026667 | 238.7 | 3.26 | 890 | 100 | 1.6947
2019-11-28 17:30:00 | 1.42 | 213.8633 | 1.63 | 235.0133 | 0.96333 | 241.1767 | 0 | 269.0333 | 3.26 | 890 | 100 | 1.2953
2019-11-28 17:45:00 | 1.64 | 313.8867 | 1.8933 | 344.9333 | 1.43 | 0.7 | 0.083333 | 318.9333 | 3.29 | 890 | 100 | 1.416
2019-11-28 18:00:00 | 1.68 | 310.68 | 1.9333 | 341.4 | 1.2967 | 237.1 | 0.11667 | 307.4667 | 3.2833 | 890 | 100 | 1.064
2019-11-28 18:15:00 | 1.66 | 113.9767 | 1.91 | 125.24 | 1.3933 | 356.8867 | 0.15333 | 332.7667 | 3.22 | 890 | 100 | 1.334
2019-11-28 18:30:00 | 1.62 | 108.53 | 1.8633 | 119.26 | 1.6667 | 120.88 | 0.33333 | 345.7667 | 3.2067 | 890 | 100 | 1.9173
2019-11-28 18:45:00 | 1.52 | 121.25 | 1.75 | 133.24 | 1.3067 | 21.1233 | 0.036667 | 100.2333 | 3.1367 | 890 | 100 | 2.392
2019-11-28 19:00:00 | 1.48 | 323.8433 | 1.7033 | 355.8667 | 0.98 | 245.6233 | 0.09 | 283.4667 | 3.1633 | 890 | 100 | 3.0167
2019-11-28 19:15:00 | 1.2767 | 215.45 | 1.4733 | 236.75 | 0.57667 | 233.3333 | 0.08 | 313.9667 | 3.14 | 890 | 100 | 2.1753
2019-11-28 19:30:00 | 1.79 | 11.29 | 2.0667 | 12.4033 | 1.3767 | 11.22 | 0.093333 | 123.5467 | 3.0733 | 890 | 100 | 2.124
2019-11-28 19:45:00 | 2.3733 | 3.0433 | 2.7433 | 3.34 | 2.28 | 235.4167 | 0.83667 | 227.7133 | 3.0467 | 890.1333 | 100 | 1.9033
2019-11-28 20:00:00 | 2.574 | 16.854 | 2.966 | 18.52 | 2.92 | 6.052 | 1.572 | 23.194 | 3.008 | 891 | 100 | 1.1067
2019-11-28 20:15:00 | 2.7113 | 97.4113 | 3.12 | 107.0433 | 3.7427 | 15.16 | 2.588 | 9.726 | 2.9187 | 891 | 100 | 0.87467
2019-11-28 20:30:00 | 2.92 | 298.8433 | 3.37 | 328.4 | 3.7367 | 9.39 | 3.1067 | 7.7033 | 2.8933 | 891 | 100 | 1.152
2019-11-28 20:45:00 | 3.0567 | 212.5933 | 3.5133 | 233.6233 | 4.4567 | 13.17 | 3.7733 | 22.7367 | 2.8587 | 891 | 100 | 1.4133
2019-11-28 21:00:00 | 3.07 | 198.8867 | 3.5267 | 218.5567 | 4.1567 | 17.61 | 3.78 | 15.29 | 2.7833 | 891 | 100 | 1.406
2019-11-28 21:15:00 | 3.13 | 299.8733 | 3.6 | 329.5333 | 4.13 | 11.27 | 3.6633 | 13.8433 | 2.7633 | 891 | 100 | 1.804
2019-11-28 21:30:00 | 3.4033 | 106.8067 | 3.9133 | 117.3667 | 4.83 | 18.67 | 4.3167 | 11.0367 | 2.7233 | 891 | 100 | 2.5367
2019-11-28 21:45:00 | 3.5 | 99.6467 | 4.02 | 109.5 | 5.5133 | 15.5333 | 4.8633 | 22.3933 | 2.6667 | 891 | 100 | 2.246
2019-11-28 22:00:00 | 3.38 | 105.9067 | 3.8867 | 116.3733 | 5.0267 | 17.32 | 4.6567 | 11.8733 | 2.62 | 891 | 100 | 1.8093
2019-11-28 22:15:00 | 3.0133 | 113.26 | 3.4733 | 124.46 | 4.6333 | 10.0567 | 4.3167 | 8.2233 | 2.5933 | 891 | 100 | 1.3853
2019-11-28 22:30:00 | 3.14 | 310.0067 | 3.6133 | 340.6667 | 4.0733 | 239.6767 | 3.73 | 11.9367 | 2.5867 | 891 | 100 | 1.3367
2019-11-28 22:45:00 | 3.2567 | 322.33 | 3.7467 | 354.2 | 3.85 | 25.51 | 3.5867 | 18.4967 | 2.57 | 891 | 100 | 1.6887
2019-11-28 23:00:00 | 3.228 | 322.182 | 3.712 | 354.04 | 3.712 | 6.222 | 3.332 | 13.108 | 2.572 | 891 | 100 | 2.584
2019-11-28 23:15:00 | 2.08 | 318.42 | 2.4067 | 349.9 | 1.77 | 119.3533 | 1.3267 | 48.1333 | 2.6033 | 890.8667 | 100 | 2.6713
2019-11-28 23:30:00 | 1.5867 | 311.9367 | 1.84 | 342.78 | 1.07 | 352.9 | 0.026667 | 73.7933 | 2.65 | 890 | 100 | 1.9353
2019-11-28 23:45:00 | 1.9 | 319.1033 | 2.19 | 350.6667 | 1.7933 | 114.1133 | 0.88667 | 146.6933 | 2.6833 | 890 | 100 | 1.2527