## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-29 00:00:00 | 2.32 | 311.8029 | 2.6757 | 342.6357 | 2.6264 | 350.1357 | 2.1321 | 127.3557 | 2.6964 | 890 | 100 | 1.9421
2019-11-29 00:15:00 | 2.0333 | 9.9333 | 2.3433 | 10.9033 | 2.2933 | 2.7067 | 1.4 | 12.5833 | 2.5767 | 890 | 100 | 1.4767
2019-11-29 00:30:00 | 1.9133 | 215.5667 | 2.2033 | 236.8767 | 1.9933 | 7.5133 | 1.1267 | 4.0233 | 2.51 | 890 | 100 | 1.5573
2019-11-29 00:45:00 | 2.1867 | 317.05 | 2.5133 | 348.4 | 2.0867 | 353.5 | 0.33333 | 278.1667 | 2.5233 | 890 | 100 | 3.0547
2019-11-29 01:00:00 | 1.44 | 318.0767 | 1.6533 | 349.5333 | 0.92667 | 321.5 | 0.81333 | 262.7667 | 2.5367 | 890 | 100 | 2.7667
2019-11-29 01:15:00 | 1.6033 | 5.76 | 1.8533 | 6.3233 | 1.3133 | 24.07 | 1.0533 | 278.1333 | 2.4667 | 890 | 100 | 3.242
2019-11-29 01:30:00 | 1.75 | 3.5733 | 2.02 | 3.9233 | 1.44 | 15.7967 | 0.47333 | 273.4667 | 2.4067 | 890 | 100 | 3.718
2019-11-29 01:45:00 | 2.06 | 106.3633 | 2.3667 | 116.88 | 2.08 | 6.62 | 0.66 | 324.3333 | 2.4 | 889.8667 | 100 | 3.3327
2019-11-29 02:00:00 | 1.9867 | 319.1033 | 2.2933 | 350.6667 | 1.5933 | 222.52 | 0.70667 | 282.2667 | 2.42 | 889 | 100 | 2.8973
2019-11-29 02:15:00 | 1.9 | 317.7467 | 2.19 | 349.1667 | 1.4967 | 242.22 | 0.53333 | 316.4 | 2.4533 | 889 | 100 | 3.628
2019-11-29 02:30:00 | 1.9533 | 323.5733 | 2.25 | 355.5667 | 1.63 | 22.6733 | 0.28 | 83.1467 | 2.5067 | 889 | 100 | 3.714
2019-11-29 02:45:00 | 1.48 | 109.7567 | 1.7067 | 120.6067 | 0.77333 | 337.5333 | 0.18 | 230.8667 | 2.4033 | 889 | 100 | 3.8287
2019-11-29 03:00:00 | 1.46 | 102.8967 | 1.68 | 113.0667 | 0.63333 | 351.6 | 0.42667 | 248.4 | 2.4233 | 889 | 100 | 4.4327
2019-11-29 03:15:00 | 1.24 | 216.61 | 1.44 | 238.0333 | 0.39667 | 271.0333 | 0.6 | 230.8667 | 2.5033 | 889 | 100 | 4.37
2019-11-29 03:30:00 | 1.2 | 0.063333 | 1.3867 | 0.066667 | 0.35667 | 267.1 | 0.62 | 248.3333 | 2.4367 | 889 | 100 | 4.7847
2019-11-29 03:45:00 | 1.4867 | 313.0367 | 1.7233 | 344 | 0.85 | 297.5333 | 0.38667 | 234.6667 | 2.4567 | 889 | 100 | 5.0193
2019-11-29 04:00:00 | 1.82 | 324.87 | 2.1033 | 357 | 1.47 | 85.9533 | 0.64 | 270.6667 | 2.47 | 889 | 100 | 5.3287
2019-11-29 04:15:00 | 1.7413 | 206.6607 | 2.0053 | 227.0967 | 1.3147 | 122.826 | 0.62333 | 112.328 | 2.4453 | 889 | 100 | 5.002
2019-11-29 04:30:00 | 1.4 | 210.9033 | 1.6167 | 231.75 | 0.68333 | 355.6667 | 0.91333 | 233.0667 | 2.3647 | 889 | 100 | 5.3507
2019-11-29 04:45:00 | 1.3987 | 79.544 | 1.61 | 87.4087 | 0.70333 | 80.852 | 0.74467 | 216.3467 | 2.3913 | 889 | 100 | 5.314
2019-11-29 05:00:00 | 1.34 | 108.0933 | 1.55 | 118.78 | 0.56333 | 317.3667 | 0.96 | 196.4667 | 2.4367 | 889 | 100 | 5.8913
2019-11-29 05:15:00 | 1.2367 | 106.32 | 1.4267 | 116.8333 | 0.45333 | 110.5467 | 0.76667 | 245.6 | 2.3633 | 889 | 100 | 5.6893
2019-11-29 05:30:00 | 1.3367 | 322.8667 | 1.5467 | 354.8 | 0.75333 | 252.3333 | 1.6333 | 218.3333 | 2.4167 | 889 | 100 | 5.5973
2019-11-29 05:45:00 | 1.2933 | 207.4833 | 1.4967 | 228.0033 | 0.55667 | 289.2333 | 0.66333 | 195.3333 | 2.45 | 889 | 100 | 5.4627
2019-11-29 06:00:00 | 1.48 | 207.37 | 1.71 | 227.87 | 0.86333 | 106.4533 | 0.45 | 207.1333 | 2.3633 | 889 | 100 | 4.99
2019-11-29 06:15:00 | 1.3667 | 309.53 | 1.57 | 340.1333 | 0.93333 | 248.9667 | 1.1233 | 233.4333 | 2.4067 | 889 | 100 | 4.9907
2019-11-29 06:30:00 | 1.22 | 109.8033 | 1.4033 | 120.6533 | 0.68667 | 217.3 | 1.4367 | 224.4333 | 2.42 | 889 | 100 | 5.45
2019-11-29 06:45:00 | 1.4533 | 8.3467 | 1.6833 | 9.1633 | 1.1567 | 245.1 | 2.1633 | 224.9 | 2.4 | 889 | 100 | 5.0307
2019-11-29 07:00:00 | 1.3867 | 5.2133 | 1.5967 | 5.7233 | 1.47 | 226.4333 | 2.05 | 211.0333 | 2.4667 | 889 | 100 | 5.154
2019-11-29 07:15:00 | 0.99333 | 4.4633 | 1.1433 | 4.9 | 0.7 | 226.6667 | 1.4767 | 220.9 | 2.3733 | 889 | 100 | 4.1653
2019-11-29 07:30:00 | 0.98667 | 2.97 | 1.1367 | 3.26 | 1.0933 | 204.2667 | 1.73 | 206.1 | 2.4333 | 889 | 100 | 3.7147
2019-11-29 07:45:00 | 1.03 | 16.1833 | 1.1867 | 17.78 | 0.78 | 204.5 | 1.9167 | 218.4 | 2.58 | 889 | 100 | 3.0953
2019-11-29 08:00:00 | 1.1633 | 3.9567 | 1.34 | 4.34 | 0.4 | 287.9 | 1.1433 | 219.3333 | 2.3733 | 889 | 100 | 2.868
2019-11-29 08:15:00 | 1.3267 | 8.5433 | 1.5233 | 9.38 | 0.61333 | 11.9867 | 0.74 | 255.3 | 2.28 | 889 | 100 | 3.144
2019-11-29 08:30:00 | 1.36 | 26.43 | 1.57 | 29.04 | 0.62 | 21 | 0.56 | 232.9667 | 2.26 | 889 | 100 | 3.026
2019-11-29 08:45:00 | 1.372 | 93.848 | 1.586 | 103.1227 | 0.678 | 346.9667 | 0.72133 | 226.8 | 2.2733 | 889.1333 | 100 | 3.2393
2019-11-29 09:00:00 | 1.35 | 323.3033 | 1.56 | 355.2667 | 0.65667 | 335.9333 | 0.20333 | 224.1667 | 2.3233 | 890 | 100 | 2.1833
2019-11-29 09:15:00 | 2.0433 | 319.65 | 2.3467 | 351.2667 | 2.02 | 12.23 | 0.56 | 338.2333 | 2.3433 | 890 | 100 | 2.054
2019-11-29 09:30:00 | 1.8833 | 309.2767 | 2.1667 | 339.8667 | 1.8867 | 14.3567 | 0.48 | 112.06 | 2.3433 | 890 | 100 | 2.202
2019-11-29 09:45:00 | 1.52 | 9.46 | 1.7533 | 10.3867 | 1.0467 | 18.29 | 0.5 | 276.7333 | 2.2133 | 890 | 100 | 1.9967
2019-11-29 10:00:00 | 1.6867 | 216.5267 | 1.9533 | 237.94 | 1.56 | 19.7833 | 0.3 | 83.1333 | 2.1933 | 890 | 100 | 1.406
2019-11-29 10:15:00 | 2.3867 | 1.4967 | 2.7533 | 1.64 | 3.1133 | 14.9867 | 1.38 | 37.4567 | 2.1933 | 890.4667 | 100 | 1.038
2019-11-29 10:30:00 | 2.3867 | 7.0033 | 2.7533 | 7.6867 | 2.8733 | 12.02 | 1.7333 | 32.7967 | 2.2067 | 891 | 100 | 0.98733
2019-11-29 10:45:00 | 2.7293 | 252.606 | 3.144 | 277.5893 | 3.718 | 11.5573 | 2.236 | 101.8993 | 2.2167 | 891 | 100 | 1.0533
2019-11-29 11:00:00 | 2.4733 | 21.58 | 2.84 | 23.71 | 3.1467 | 10.1833 | 2.2033 | 123.2067 | 2.2067 | 891 | 100 | 0.67933
2019-11-29 11:15:00 | 2.64 | 10.5733 | 3.0367 | 11.6133 | 3.2767 | 8.4167 | 2.5 | 10.72 | 2.2233 | 891 | 100 | 0.42667
2019-11-29 11:30:00 | 2.6267 | 8.5267 | 3.03 | 9.3733 | 3.2767 | 14.45 | 2.4667 | 36.42 | 2.2167 | 891 | 100 | 0.516
2019-11-29 11:45:00 | 2.6533 | 3.6333 | 3.0567 | 3.9933 | 3.3367 | 25.85 | 2.7167 | 16.9667 | 2.2533 | 890.5333 | 100 | 0.38467
2019-11-29 12:00:00 | 2.5533 | 213.0933 | 2.9367 | 234.1667 | 3.39 | 6.9433 | 2.8233 | 14.3133 | 2.2867 | 890 | 100 | 0.524
2019-11-29 12:15:00 | 3.1467 | 54.0933 | 3.62 | 59.4367 | 4.3567 | 9.88 | 4.0967 | 25.2267 | 2.2367 | 890 | 100 | 1.1693
2019-11-29 12:30:00 | 3.4067 | 207.1333 | 3.92 | 227.6233 | 5.4167 | 13.0533 | 5.0433 | 13.6133 | 2.1767 | 890 | 100 | 2.1053
2019-11-29 12:45:00 | 3.4967 | 104.9167 | 4.03 | 115.2867 | 5.5733 | 18.39 | 5.64 | 22.12 | 2.1367 | 890 | 100 | 3.638
2019-11-29 13:00:00 | 3.6833 | 104.5567 | 4.2433 | 114.8933 | 5.9733 | 12.8767 | 5.9533 | 19.6067 | 2.1167 | 889.2 | 100 | 5.254
2019-11-29 13:15:00 | 3.8067 | 116.1067 | 4.38 | 127.5933 | 6.21 | 11.73 | 5.9 | 32.99 | 2.0233 | 889 | 100 | 8.1233
2019-11-29 13:30:00 | 4.1 | 319.6533 | 4.72 | 351.2667 | 6.7967 | 11.53 | 6.3667 | 15.33 | 2.01 | 889 | 100 | 11.238
2019-11-29 13:45:00 | 4.06 | 106.4933 | 4.6767 | 117.02 | 6.41 | 18.6567 | 6.1067 | 18.82 | 2 | 889 | 100 | 12.5673
2019-11-29 14:00:00 | 4.2333 | 106.54 | 4.87 | 117.0667 | 6.7167 | 13.5167 | 6.56 | 21.8867 | 1.9933 | 889 | 100 | 15.0567
2019-11-29 14:15:00 | 4.29 | 115.1667 | 4.9367 | 126.5533 | 6.8467 | 2.66 | 6.6633 | 17.2633 | 2 | 888.5333 | 100 | 17.782
2019-11-29 14:30:00 | 4.69 | 304.7067 | 5.4033 | 334.8333 | 7.8867 | 59.9933 | 7.59 | 21.9967 | 2.04 | 888 | 100 | 20.0947
2019-11-29 14:45:00 | 4.1733 | 281.28 | 4.8 | 309.1 | 6.8733 | 10.6 | 6.75 | 24.8733 | 2.0167 | 888 | 100 | 19.0547
2019-11-29 15:00:00 | 4.3733 | 97.2867 | 5.04 | 106.9 | 6.9133 | 8.3133 | 7.0833 | 20.06 | 1.97 | 888 | 100 | 20.54
2019-11-29 15:15:00 | 4.7133 | 267.0267 | 5.42 | 293.4333 | 7.3233 | 10.33 | 7.2033 | 16.3833 | 1.9467 | 888 | 100 | 23.1133
2019-11-29 15:30:00 | 5.1 | 68.8067 | 5.8667 | 75.6067 | 7.7167 | 13.8167 | 7.6167 | 18.3433 | 1.9067 | 888 | 100 | 22.582
2019-11-29 15:45:00 | 4.71 | 317.95 | 5.4133 | 349.4 | 7.3367 | 13.58 | 7.1133 | 18.3 | 1.89 | 888 | 100 | 23.4273
2019-11-29 16:00:00 | 4.5967 | 108.6553 | 5.2867 | 119.3933 | 7.5633 | 29.52 | 7.36 | 20.8 | 1.89 | 888 | 100 | 23.6647
2019-11-29 16:15:00 | 4.62 | 36.37 | 5.32 | 39.96 | 7.6267 | 16.9467 | 7.2733 | 14.84 | 1.88 | 888 | 100 | 25.7767
2019-11-29 16:30:00 | 4.74 | 227.4367 | 5.4467 | 249.92 | 7.68 | 21.3067 | 7.4933 | 20.2667 | 1.82 | 888 | 100 | 26.038
2019-11-29 16:45:00 | 4.73 | 127.6367 | 5.4367 | 140.2533 | 8.4 | 27.67 | 7.91 | 12.6033 | 1.82 | 888 | 100 | 28.44
2019-11-29 17:00:00 | 5.1967 | 296.3567 | 5.9833 | 325.6667 | 8.8933 | 23.01 | 8.3367 | 24.2967 | 1.7867 | 888 | 100 | 33.0133
2019-11-29 17:15:00 | 5.2667 | 170.32 | 6.0567 | 187.1667 | 9.2767 | 16.2667 | 8.8947 | 19.65 | 1.73 | 888 | 100 | 35.27
2019-11-29 17:30:00 | 5.6 | 125.4933 | 6.4433 | 137.9 | 9.8167 | 17.8067 | 9.56 | 18.9033 | 1.69 | 888 | 100 | 37.674
2019-11-29 17:45:00 | 5.8467 | 127.1867 | 6.7333 | 139.76 | 10.1667 | 13.67 | 10.1667 | 21.1333 | 1.65 | 888 | 100 | 40.1113
2019-11-29 18:00:00 | 5.6533 | 119.0333 | 6.5 | 130.8067 | 9.9267 | 10.6033 | 10.0067 | 14.84 | 1.6233 | 888.1333 | 100 | 40.9047
2019-11-29 18:15:00 | 6.102 | 107.3553 | 7.0227 | 117.9653 | 9.978 | 210.5887 | 9.6413 | 8.912 | 1.598 | 889 | 100 | 42.8787
2019-11-29 18:30:00 | 6.34 | 314.0167 | 7.3 | 345.0667 | 10.34 | 236.13 | 10.1333 | 5.4167 | 1.57 | 889 | 100 | 43.286
2019-11-29 18:45:00 | 6.456 | 26.814 | 7.4287 | 29.4693 | 10.5927 | 15.0313 | 10.526 | 15.7 | 1.5247 | 889 | 100 | 42.2753
2019-11-29 19:00:00 | 6.368 | 48.932 | 7.33 | 53.77 | 10.58 | 21.14 | 10.582 | 16.744 | 1.504 | 889 | 100 | 42.7353
2019-11-29 19:15:00 | 6.3233 | 291.27 | 7.2833 | 320.0667 | 9.7433 | 214.75 | 9.9667 | 227.1 | 1.4967 | 889 | 100 | 43.0253
2019-11-29 19:30:00 | 6.23 | 118.8633 | 7.1633 | 130.6133 | 9.6233 | 7.4433 | 9.5813 | 18.3 | 1.4967 | 889 | 100 | 44.578
2019-11-29 19:45:00 | 6.2633 | 210.4633 | 7.2187 | 231.27 | 10.3167 | 238.5767 | 9.9767 | 13.4133 | 1.5233 | 889 | 100 | 44.4927
2019-11-29 20:00:00 | 6.4433 | 14.21 | 7.4133 | 15.6167 | 10.2233 | 9.7367 | 10.07 | 14.0467 | 1.49 | 889.8 | 100 | 44.474
2019-11-29 20:15:00 | 6.4867 | 212.6067 | 7.4567 | 233.6333 | 10.72 | 4.4467 | 10.52 | 18.9933 | 1.4867 | 890 | 100 | 44.586
2019-11-29 20:30:00 | 6.04 | 137.0733 | 6.9433 | 150.6267 | 9.64 | 11.0267 | 9.5933 | 17.2733 | 1.4667 | 890 | 100 | 44.404
2019-11-29 20:45:00 | 6.06 | 14.31 | 6.9667 | 15.7233 | 9.8067 | 221.7567 | 9.6433 | 32.01 | 1.4567 | 890 | 100 | 45.134
2019-11-29 21:00:00 | 6.12 | 31.7633 | 7.0467 | 34.89 | 9.6933 | 21.03 | 9.3167 | 9.2433 | 1.43 | 890 | 100 | 45.132
2019-11-29 21:15:00 | 6.1267 | 14.3433 | 7.0467 | 15.7533 | 10.11 | 26.9267 | 9.79 | 23.29 | 1.4 | 890 | 100 | 44.4667
2019-11-29 21:30:00 | 6.0467 | 208.1233 | 6.9533 | 228.6933 | 10.4833 | 29.8133 | 10.33 | 18.8633 | 1.42 | 890 | 100 | 44.5093
2019-11-29 21:45:00 | 5.8633 | 204.73 | 6.74 | 224.97 | 9.9533 | 16.5467 | 9.7933 | 21.82 | 1.4333 | 890 | 100 | 45.4533
2019-11-29 22:00:00 | 6.0167 | 19.9633 | 6.92 | 21.9367 | 10.2133 | 14.0067 | 10.22 | 17.12 | 1.4333 | 890 | 100 | 46.0767
2019-11-29 22:15:00 | 5.95 | 294.8833 | 6.85 | 324.0333 | 9.7833 | 10.43 | 10.02 | 10.1367 | 1.4347 | 890 | 100 | 45.9693
2019-11-29 22:30:00 | 6.55 | 146.0633 | 7.53 | 160.5 | 11.1767 | 11.5633 | 10.92 | 22.5767 | 1.4667 | 890 | 100 | 45.3473
2019-11-29 22:45:00 | 6.38 | 94.37 | 7.34 | 103.7067 | 10.5567 | 3.6067 | 10.5567 | 32.7267 | 1.5 | 890 | 100 | 47.1733
2019-11-29 23:00:00 | 6.4133 | 283.6433 | 7.38 | 311.7 | 10.0967 | 3.66 | 10.1167 | 21.8933 | 1.5 | 890 | 100 | 48.5887
2019-11-29 23:15:00 | 6.62 | 8.1533 | 7.6133 | 8.9533 | 10.77 | 232.42 | 10.07 | 17.1167 | 1.5 | 890.4667 | 100 | 49.3753
2019-11-29 23:30:00 | 6.8 | 20.02 | 7.82 | 21.9933 | 11.4433 | 17 | 10.87 | 13.4167 | 1.48 | 891 | 100 | 50.1833
2019-11-29 23:45:00 | 7.3267 | 307.67 | 8.43 | 338.1 | 12.4267 | 16.3433 | 12.11 | 18.5467 | 1.5067 | 891 | 100 | 49.606