## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-30 00:00:00 | 7.3229 | 306.8129 | 8.4243 | 337.1571 | 12.5 | 14.5043 | 12.2414 | 10.26 | 1.5429 | 890.9286 | 100 | 50.68
2019-11-30 00:15:00 | 6.754 | 98.7573 | 7.7673 | 108.5167 | 11.608 | 4.846 | 11.3653 | 14.4253 | 1.5513 | 890 | 100 | 50.3727
2019-11-30 00:30:00 | 6.6267 | 293.7833 | 7.62 | 322.8333 | 10.7833 | 241.0067 | 10.76 | 8.4267 | 1.59 | 890 | 100 | 51.0173
2019-11-30 00:45:00 | 6.4767 | 31.0667 | 7.4567 | 34.1333 | 10.9067 | 121.9333 | 10.2767 | 10.4133 | 1.6533 | 890 | 100 | 51.1547
2019-11-30 01:00:00 | 6.7433 | 234.9933 | 7.7633 | 258.2333 | 10.8467 | 119.32 | 10.21 | 21.1467 | 1.7067 | 890 | 100 | 50.9887
2019-11-30 01:15:00 | 6.4933 | 131.8767 | 7.4767 | 144.9133 | 10.8847 | 335.8333 | 10.4233 | 18.9967 | 1.7867 | 890 | 100 | 51.43
2019-11-30 01:30:00 | 6.632 | 141.32 | 7.632 | 155.288 | 10.426 | 140.006 | 9.882 | 9.962 | 1.876 | 890 | 100 | 51.1927
2019-11-30 01:45:00 | 7.0267 | 185.83 | 8.0833 | 204.2 | 11.0067 | 127.7733 | 10.8033 | 9.8167 | 1.9733 | 890 | 99.8 | 50.724
2019-11-30 02:00:00 | 6.6733 | 4.7767 | 7.69 | 5.2467 | 11.1733 | 125.4067 | 10.8633 | 9.4967 | 2 | 890 | 98.8667 | 50.506
2019-11-30 02:15:00 | 6.8467 | 225.21 | 7.87 | 247.4867 | 11.8933 | 11.65 | 11.4433 | 17.93 | 2.02 | 890 | 98.1667 | 49.9007
2019-11-30 02:30:00 | 6.7467 | 223.8233 | 7.7633 | 245.9533 | 11.9333 | 13.73 | 11.8033 | 22.7633 | 2.0733 | 890 | 97.9133 | 49.9173
2019-11-30 02:45:00 | 6.74 | 40.7467 | 7.76 | 44.78 | 12.3767 | 14.0533 | 12.1367 | 20.5567 | 2.2 | 890 | 97.4667 | 50.278
2019-11-30 03:00:00 | 6.7267 | 74.6667 | 7.7467 | 82.0533 | 12.3167 | 10.06 | 12.0633 | 24.0567 | 2.28 | 890 | 97.0133 | 50.1553
2019-11-30 03:15:00 | 6.75 | 239.6033 | 7.76 | 263.3 | 12.28 | 14.1867 | 12.05 | 15.9067 | 2.35 | 890 | 96.5333 | 49.87
2019-11-30 03:30:00 | 7.0433 | 122.9433 | 8.1067 | 135.1 | 12.4 | 12.2573 | 12.2167 | 18.96 | 2.4367 | 890 | 95.5333 | 50.2847
2019-11-30 03:45:00 | 7.0067 | 11.32 | 8.07 | 12.44 | 11.9167 | 5.3533 | 11.66 | 13.7367 | 2.5433 | 890 | 94.6 | 51.4887
2019-11-30 04:00:00 | 7.3867 | 89.0867 | 8.4967 | 97.9 | 12.7233 | 14.64 | 12.5667 | 23.0633 | 2.61 | 890 | 93.9333 | 51.39
2019-11-30 04:15:00 | 7.6333 | 317.3 | 8.7833 | 348.6667 | 13.2567 | 14.89 | 13.01 | 18.91 | 2.7533 | 890 | 92.5667 | 51.9247
2019-11-30 04:30:00 | 7.8867 | 138.9267 | 9.0767 | 152.66 | 14.0767 | 18.0833 | 13.8633 | 14.61 | 2.7667 | 890 | 92.5 | 51.208
2019-11-30 04:45:00 | 7.96 | 117.7467 | 9.1667 | 129.3933 | 14.2767 | 8.2467 | 14.1333 | 27.26 | 2.78 | 890 | 92.4667 | 49.23
2019-11-30 05:00:00 | 7.6667 | 92.6067 | 8.82 | 101.76 | 13.9567 | 8.6533 | 13.7267 | 30.8333 | 2.8133 | 890 | 92.4 | 48.88
2019-11-30 05:15:00 | 7.812 | 243.232 | 8.992 | 267.278 | 13.972 | 16.446 | 13.656 | 26.128 | 2.848 | 890 | 92.2 | 49.466
2019-11-30 05:30:00 | 7.812 | 243.232 | 8.992 | 267.278 | 13.972 | 16.446 | 13.656 | 26.128 | 2.848 | 890 | 92.2 | 49.466
2019-11-30 05:45:00 | 7.812 | 243.232 | 8.992 | 267.278 | 13.972 | 16.446 | 13.656 | 26.128 | 2.848 | 890 | 92.2 | 49.466
2019-11-30 06:00:00 | 7.812 | 243.232 | 8.992 | 267.278 | 13.972 | 16.446 | 13.656 | 26.128 | 2.848 | 890 | 92.2 | 49.466
2019-11-30 06:15:00 | 7.812 | 243.232 | 8.992 | 267.278 | 13.972 | 16.446 | 13.656 | 26.128 | 2.848 | 890 | 92.2 | 49.466
2019-11-30 06:30:00 | 8.62 | 250.3767 | 9.9167 | 275.1333 | 15.4767 | 17.31 | 15.6667 | 26.5933 | 2.9533 | 890 | 85.4133 | 50.724
2019-11-30 06:45:00 | 8.62 | 250.3767 | 9.9167 | 275.1333 | 15.4767 | 17.31 | 15.6667 | 26.5933 | 2.9533 | 890 | 85.4133 | 50.724
2019-11-30 07:00:00 | 8.62 | 250.3767 | 9.9167 | 275.1333 | 15.4767 | 17.31 | 15.6667 | 26.5933 | 2.9533 | 890 | 85.4133 | 50.724
2019-11-30 07:15:00 | 8.62 | 250.3767 | 9.9167 | 275.1333 | 15.4767 | 17.31 | 15.6667 | 26.5933 | 2.9533 | 890 | 85.4133 | 50.724
2019-11-30 07:30:00 | 8.62 | 250.3767 | 9.9167 | 275.1333 | 15.4767 | 17.31 | 15.6667 | 26.5933 | 2.9533 | 890 | 85.4133 | 50.724
2019-11-30 07:45:00 | 8.63 | 100.0267 | 9.9367 | 109.9133 | 15.6167 | 21.8867 | 15.8167 | 29.3867 | 2.9733 | 890 | 84.6667 | 49.8913
2019-11-30 08:00:00 | 8.3767 | 129.0067 | 9.6433 | 141.7533 | 15.27 | 20.1133 | 15.3833 | 31.2333 | 3 | 890.8 | 83.8667 | 51.962
2019-11-30 08:15:00 | 8.1833 | 98.8867 | 9.4233 | 108.6667 | 14.7533 | 19.8267 | 15.104 | 24.7733 | 3.0533 | 891 | 83.1 | 51.9833
2019-11-30 08:30:00 | 8.2767 | 105.7867 | 9.5233 | 116.24 | 14.9333 | 27.48 | 15.1467 | 24.82 | 3.08 | 891 | 82.8333 | 52.1593
2019-11-30 08:45:00 | 8.46 | 24.7233 | 9.73 | 27.1633 | 15.1767 | 13.2267 | 15.3733 | 27.3433 | 3.2033 | 891 | 81.3667 | 52.2247
2019-11-30 09:00:00 | 8.3333 | 41.77 | 9.59 | 45.8967 | 14.8567 | 15.3 | 15.12 | 28.3967 | 3.25 | 891 | 81.1 | 51.558
2019-11-30 09:15:00 | 8.5267 | 256.5 | 9.8133 | 281.8667 | 14.8733 | 21.7067 | 15.14 | 29.8967 | 3.42 | 891 | 79.2633 | 52.876
2019-11-30 09:30:00 | 8.1 | 296.4267 | 9.32 | 325.7333 | 14.5067 | 22.5933 | 14.7 | 23.99 | 3.4747 | 891 | 79.0967 | 53.4947
2019-11-30 09:45:00 | 8.5933 | 90.8167 | 9.8833 | 99.7967 | 15.04 | 24.82 | 15.41 | 30.5933 | 3.55 | 891 | 78.7433 | 53.33
2019-11-30 10:00:00 | 8.8667 | 209.9033 | 10.21 | 230.6633 | 15.4067 | 23.4067 | 15.9367 | 31.2533 | 3.7033 | 891.8 | 76.43 | 53.0407
2019-11-30 10:15:00 | 8.69 | 307.0767 | 9.99 | 337.4333 | 15.1033 | 14.89 | 15.4867 | 27.75 | 3.9133 | 892 | 74.4 | 51.572
2019-11-30 10:30:00 | 8.8047 | 309.31 | 10.1247 | 339.9 | 15.4567 | 16.2033 | 15.3333 | 29.7633 | 4.02 | 892 | 74.18 | 52.2493
2019-11-30 10:45:00 | 8.52 | 99.06 | 9.8 | 108.8533 | 14.9167 | 28.86 | 15.21 | 28.9467 | 4.1067 | 892 | 74.23 | 52.7567
2019-11-30 11:00:00 | 8.1067 | 299.76 | 9.3267 | 329.4 | 14.11 | 18.58 | 14.1433 | 24.9267 | 4.2067 | 892 | 73.0527 | 52.472
2019-11-30 11:15:00 | 8.3533 | 222.1867 | 9.62 | 244.1567 | 14.57 | 18.44 | 14.49 | 25.24 | 4.39 | 892 | 72.4667 | 52.114
2019-11-30 11:30:00 | 8.1267 | 23.1267 | 9.3533 | 25.4033 | 14.2233 | 24.96 | 14.25 | 28.1267 | 4.57 | 892 | 72.1067 | 52.764
2019-11-30 11:45:00 | 8.1267 | 306.6433 | 9.3533 | 336.9667 | 14.05 | 12.0533 | 14.3 | 22.9 | 4.8 | 892 | 70.1567 | 52.5093
2019-11-30 12:00:00 | 7.7467 | 154.6767 | 8.9067 | 169.9667 | 13.43 | 14.7133 | 13.9333 | 29.22 | 5.0267 | 892 | 70.2593 | 50.4733
2019-11-30 12:15:00 | 8.0367 | 321.18 | 9.25 | 352.9333 | 13.86 | 20.01 | 13.7033 | 27.3967 | 5.12 | 892 | 68.3433 | 47.7473
2019-11-30 12:30:00 | 7.27 | 307.8933 | 8.3633 | 338.3333 | 12.56 | 10.09 | 12.9233 | 34.8233 | 5.1933 | 892 | 68.0153 | 45.714
2019-11-30 12:45:00 | 7.0667 | 29.36 | 8.1367 | 32.26 | 12.08 | 22.8567 | 12.49 | 23.45 | 5.2067 | 892 | 67.7 | 48.892
2019-11-30 13:00:00 | 7.8333 | 28.6667 | 9.01 | 31.4933 | 13.52 | 28.11 | 14.3167 | 31.7833 | 5.2867 | 891.2 | 67.0067 | 50.544
2019-11-30 13:15:00 | 7.6933 | 303.15 | 8.85 | 333.1333 | 13.1567 | 22.2733 | 13.7067 | 26.6433 | 5.46 | 891 | 65.9 | 51.2947
2019-11-30 13:30:00 | 7.4933 | 119.8833 | 8.63 | 131.74 | 12.9967 | 14.9133 | 13.1733 | 23.4033 | 5.6733 | 891 | 65.4133 | 50.736
2019-11-30 13:45:00 | 7.8467 | 158.56 | 9.0233 | 174.2433 | 13.5567 | 21.0267 | 14.02 | 31.9167 | 5.8967 | 891 | 64.3667 | 50.176
2019-11-30 14:00:00 | 7.4667 | 201.76 | 8.5833 | 221.71 | 12.87 | 25.8467 | 13.3867 | 27.6367 | 5.9167 | 891 | 63.82 | 51.328
2019-11-30 14:15:00 | 7.17 | 13.87 | 8.2467 | 15.2367 | 12.2933 | 31.3367 | 12.7067 | 28.7333 | 5.9933 | 891 | 63.9367 | 51.4013
2019-11-30 14:30:00 | 7.3033 | 223.3367 | 8.4 | 245.4233 | 12.4267 | 38.4967 | 12.98 | 26.8867 | 6.0933 | 891 | 63.15 | 50.0307
2019-11-30 14:45:00 | 7.37 | 217.0433 | 8.4733 | 238.5067 | 12.8367 | 20.56 | 13.1067 | 41.3367 | 6.24 | 891 | 62.1967 | 50.3213
2019-11-30 15:00:00 | 7.29 | 144.6567 | 8.3867 | 158.96 | 12.7233 | 15.86 | 12.9467 | 27.9767 | 6.0133 | 890.2 | 62.1833 | 51.87
2019-11-30 15:15:00 | 7.66 | 280.9733 | 8.8067 | 308.7667 | 13.2267 | 8.7133 | 13.4967 | 23.7167 | 5.9733 | 890 | 61.78 | 52.074
2019-11-30 15:30:00 | 7.84 | 198.6533 | 9.02 | 218.3 | 13.6333 | 9.5867 | 13.93 | 19.1967 | 6.0467 | 890 | 61.6667 | 50.7747
2019-11-30 15:45:00 | 7.94 | 217.82 | 9.1333 | 239.3567 | 13.83 | 7.74 | 14.1933 | 37.4867 | 5.9367 | 890 | 61.28 | 53.218
2019-11-30 16:00:00 | 9.0133 | 207.38 | 10.3667 | 227.89 | 15.79 | 8.3067 | 15.9333 | 15.34 | 5.6167 | 890 | 61.376 | 54.8613
2019-11-30 16:15:00 | 7.6967 | 263.99 | 8.86 | 290.1 | 13.2467 | 20.3167 | 13.6233 | 25.36 | 5.3067 | 890 | 61.5267 | 53.4953
2019-11-30 16:30:00 | 7.1433 | 60.55 | 8.2133 | 66.5333 | 12.2733 | 26.5967 | 12.83 | 27.7533 | 5.1933 | 890 | 62.9533 | 53.4167
2019-11-30 16:45:00 | 6.8907 | 103.8353 | 7.9247 | 114.096 | 11.818 | 16.2113 | 12.4413 | 37.1893 | 5.0813 | 890.4667 | 63.5973 | 53.0487
2019-11-30 17:00:00 | 7.7533 | 174.91 | 8.9133 | 192.2 | 13.3233 | 8.3267 | 13.5233 | 33.1067 | 4.9767 | 891 | 64.1667 | 48.4473
2019-11-30 17:15:00 | 7.42 | 211.9867 | 8.54 | 232.9433 | 12.7733 | 19.84 | 13.2733 | 24.1733 | 4.8533 | 891 | 64.518 | 49.6093
2019-11-30 17:30:00 | 6.98 | 166.7933 | 8.0333 | 183.2767 | 12.22 | 7.08 | 12.9 | 27.0733 | 4.7067 | 891 | 65.8367 | 47.6213
2019-11-30 17:45:00 | 7 | 17.4667 | 8.05 | 19.18 | 12.1933 | 20.7133 | 13.28 | 32.4273 | 4.64 | 891 | 66.2433 | 49.8567
2019-11-30 18:00:00 | 7.04 | 16.7933 | 8.0967 | 18.4533 | 12.36 | 6.4267 | 13.2933 | 33.0233 | 4.5267 | 891 | 66.87 | 50.9093
2019-11-30 18:15:00 | 7.18 | 20.05 | 8.27 | 22.03 | 12.89 | 16.8867 | 13.3433 | 37.8733 | 4.4467 | 891 | 67.3467 | 57.3653
2019-11-30 18:30:00 | 7.4467 | 158.4367 | 8.5687 | 174.0967 | 12.97 | 22.7733 | 13.6767 | 38.9267 | 4.48 | 891 | 66.2667 | 58.6273
2019-11-30 18:45:00 | 7.82 | 103.4167 | 8.9933 | 113.64 | 13.4 | 20.85 | 14.038 | 37.1867 | 4.5167 | 891 | 65.5633 | 58.7393
2019-11-30 19:00:00 | 7.66 | 288.832 | 8.806 | 317.4 | 13.2227 | 28.734 | 13.732 | 35.47 | 4.5 | 891 | 65.114 | 59.4467
2019-11-30 19:15:00 | 7.2267 | 76.0653 | 8.3113 | 83.59 | 12.598 | 9.0047 | 13.8687 | 32.41 | 4.4453 | 891.4667 | 65.0173 | 58.8707
2019-11-30 19:30:00 | 8.2167 | 296.33 | 9.45 | 325.6333 | 14.2967 | 21.9133 | 15.3567 | 39.1933 | 4.4333 | 892 | 64.2627 | 57.3933
2019-11-30 19:45:00 | 7.9067 | 270.98 | 9.1 | 297.7667 | 13.8833 | 23.5667 | 14.74 | 37.9333 | 4.46 | 892 | 63.2433 | 59.0987
2019-11-30 20:00:00 | 7.92 | 209.88 | 9.1067 | 230.6333 | 14.01 | 26.58 | 14.8333 | 28.8733 | 4.4453 | 892 | 62.9593 | 59.468
2019-11-30 20:15:00 | 7.84 | 177.47 | 9.0133 | 195.0167 | 13.7633 | 16.7167 | 14.4567 | 32.62 | 4.36 | 892 | 63.0633 | 59.3153
2019-11-30 20:30:00 | 7.92 | 91.39 | 9.1133 | 100.4167 | 14.0433 | 14.1567 | 14.41 | 24.1067 | 4.3387 | 892 | 62.586 | 59.8447
2019-11-30 20:45:00 | 7.3333 | 270.5467 | 8.4433 | 297.3 | 12.9333 | 20.89 | 13.7233 | 35.09 | 4.2867 | 892 | 63.24 | 58.9347
2019-11-30 21:00:00 | 7.72 | 84.08 | 8.89 | 92.3933 | 13.4867 | 14.5833 | 13.9767 | 35.6633 | 4.2467 | 892.1333 | 62.9333 | 60.6147
2019-11-30 21:15:00 | 8.36 | 162.9867 | 9.62 | 179.1 | 14.86 | 17.4833 | 15.1133 | 33.6733 | 4.2067 | 893 | 63.4467 | 60.1093
2019-11-30 21:30:00 | 8.2533 | 100.6533 | 9.4933 | 110.6067 | 14.6267 | 19.3633 | 14.9933 | 26.78 | 4.1333 | 893 | 63.6733 | 60.9927
2019-11-30 21:45:00 | 8.4233 | 245.5587 | 9.6867 | 269.8333 | 14.8387 | 20.8647 | 15.5187 | 21.6933 | 4.1447 | 893 | 62.6313 | 59.6813
2019-11-30 22:00:00 | 8.8 | 204.2967 | 10.12 | 224.5 | 15.57 | 11.7067 | 15.5673 | 24.6533 | 4.11 | 893 | 62.8107 | 60.092
2019-11-30 22:15:00 | 9.0933 | 203.84 | 10.4667 | 224.0033 | 16.1333 | 9.08 | 16.0767 | 20.3 | 4.0533 | 893 | 63.03 | 59.6627
2019-11-30 22:30:00 | 8.5933 | 198.5733 | 9.88 | 218.2033 | 15.1067 | 22.78 | 15.27 | 31.8733 | 4.0267 | 893.1333 | 63.0153 | 58.4933
2019-11-30 22:45:00 | 8.5933 | 129.24 | 9.8833 | 142.0133 | 14.9167 | 8.3867 | 15.0767 | 24.9033 | 3.9467 | 894 | 63.4033 | 59.0207
2019-11-30 23:00:00 | 8.28 | 127.78 | 9.53 | 140.4133 | 14.3567 | 21.3267 | 14.93 | 28.5033 | 3.9067 | 894 | 62.8833 | 56.8787
2019-11-30 23:15:00 | 7.7 | 263.8833 | 8.86 | 289.9667 | 13.2233 | 23.1733 | 13.8433 | 40.7233 | 3.83 | 894 | 62.7293 | 53.746
2019-11-30 23:30:00 | 7.184 | 104.25 | 8.264 | 114.5467 | 12.5567 | 31.0067 | 13.0433 | 36.7367 | 3.7433 | 894 | 63.1333 | 50.802
2019-11-30 23:45:00 | 6.72 | 296.0267 | 7.7367 | 325.3 | 12.13 | 10.57 | 12.1933 | 29.28 | 3.5067 | 894 | 65.0367 | 49.0007