## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-01 00:00:00 | 6.37 | 284.65 | 7.325 | 312.8 | 11.499 | 4.545 | 11.605 | 21.52 | 3.375 | 894 | 65.6627 | 47.469
2019-12-01 00:15:00 | 6.2467 | 252.7067 | 7.19 | 277.7 | 11.2167 | 126.44 | 11.36 | 28.3267 | 3.2167 | 894 | 65.938 | 47.472
2019-12-01 00:30:00 | 6.5933 | 288.8067 | 7.5887 | 317.3667 | 11.6433 | 133.0733 | 12.1 | 37.5267 | 3.2967 | 894 | 64.97 | 46.556
2019-12-01 00:45:00 | 6.4167 | 10.1667 | 7.39 | 11.16 | 11.3633 | 24.0167 | 11.85 | 36.93 | 3.3767 | 894 | 64.1433 | 46.8453
2019-12-01 01:00:00 | 6.43 | 180.3067 | 7.4033 | 198.1333 | 11.37 | 32.4833 | 11.9927 | 35.79 | 3.3167 | 894 | 64.2767 | 46.3833
2019-12-01 01:15:00 | 6.4867 | 150.45 | 7.46 | 165.32 | 11.3633 | 21.6333 | 11.92 | 29.1767 | 3.4433 | 894 | 62.9867 | 46.658
2019-12-01 01:30:00 | 6.1533 | 322.21 | 7.0733 | 354.0667 | 10.7967 | 16.9467 | 11.56 | 42.4567 | 3.3567 | 894 | 63.42 | 46.1407
2019-12-01 01:45:00 | 6.5133 | 200.6833 | 7.49 | 220.5167 | 11.28 | 26.8067 | 11.64 | 43.9633 | 3.4833 | 894 | 61.4467 | 44.634
2019-12-01 02:00:00 | 6.5267 | 11.03 | 7.5167 | 12.1167 | 11.3133 | 36.4067 | 11.92 | 37.7233 | 3.49 | 894 | 61.6067 | 44.0227
2019-12-01 02:15:00 | 6.7733 | 107.2167 | 7.7933 | 117.82 | 11.6533 | 34.4067 | 12.17 | 41.0833 | 3.51 | 894 | 60.4867 | 42.5253
2019-12-01 02:30:00 | 6.72 | 295.97 | 7.7333 | 325.2333 | 11.6933 | 27.2867 | 12.1433 | 34.71 | 3.5633 | 894 | 59.896 | 39.87
2019-12-01 02:45:00 | 6.0067 | 47.8133 | 6.91 | 52.5333 | 10.5033 | 31.6067 | 11.0267 | 26.9633 | 3.62 | 894 | 58.5 | 40.54
2019-12-01 03:00:00 | 6.44 | 204.0467 | 7.41 | 224.22 | 10.9367 | 27.3067 | 11.6467 | 37.2233 | 3.6733 | 894 | 56.9267 | 43.904
2019-12-01 03:15:00 | 7.04 | 140.1133 | 8.1 | 153.9667 | 11.9367 | 34.14 | 12.6133 | 32.3933 | 3.6867 | 894 | 56.1367 | 45.5267
2019-12-01 03:30:00 | 6.6733 | 300.7333 | 7.6733 | 330.4667 | 11.49 | 34.08 | 11.94 | 30.64 | 3.58 | 894 | 56.63 | 43.3667
2019-12-01 03:45:00 | 6.08 | 126.46 | 6.99 | 138.97 | 10.6367 | 29.87 | 11.2733 | 40.2467 | 3.3067 | 894 | 57.6767 | 43.354
2019-12-01 04:00:00 | 6.044 | 205.338 | 6.948 | 225.644 | 10.51 | 27.364 | 10.838 | 34.758 | 3.222 | 894 | 57.604 | 42.744
2019-12-01 04:15:00 | 5.3333 | 133.5067 | 6.1467 | 146.7133 | 9.41 | 5.47 | 9.7733 | 14.8667 | 3.22 | 894 | 56.76 | 39.3073
2019-12-01 04:30:00 | 5.4067 | 209.3467 | 6.22 | 230.0467 | 9.5233 | 14.7833 | 9.9267 | 28.2267 | 3.0333 | 894 | 57.236 | 41.6173
2019-12-01 04:45:00 | 5.7333 | 10.4113 | 6.598 | 11.4307 | 10.356 | 25.722 | 11.0093 | 33.566 | 2.7073 | 894 | 59.2707 | 41.0347
2019-12-01 05:00:00 | 6.2267 | 12.6533 | 7.1667 | 13.8967 | 11.0333 | 32.57 | 11.5767 | 39.37 | 2.72 | 894 | 57.7733 | 43.436
2019-12-01 05:15:00 | 6.1867 | 161.2533 | 7.1167 | 177.2 | 10.6967 | 25.43 | 11.1733 | 34.7867 | 2.8333 | 894 | 56.2267 | 44.026
2019-12-01 05:30:00 | 6.58 | 215.1933 | 7.5633 | 236.4667 | 11.5967 | 23.1433 | 12.04 | 32.2067 | 2.7533 | 894 | 56.54 | 43.412
2019-12-01 05:45:00 | 6.0567 | 82.6767 | 6.9667 | 90.85 | 10.6133 | 30.9933 | 11.41 | 36.3167 | 2.7 | 894 | 55.7033 | 43.0347
2019-12-01 06:00:00 | 5.7367 | 112.1033 | 6.6 | 123.1833 | 10.0667 | 24.6533 | 10.6033 | 36.5433 | 2.64 | 894 | 55.43 | 41.6693
2019-12-01 06:15:00 | 5.12 | 222.4033 | 5.8833 | 244.39 | 9.2267 | 25.39 | 9.4967 | 35.3467 | 2.4433 | 894 | 56.5167 | 39.3507
2019-12-01 06:30:00 | 5.1267 | 121.5167 | 5.9033 | 133.5233 | 9.48 | 22.39 | 9.9767 | 35.0067 | 2.0967 | 894 | 58.31 | 36.5813
2019-12-01 06:45:00 | 4.8167 | 170.9033 | 5.54 | 187.8 | 8.9733 | 22.09 | 9.3633 | 33.8033 | 1.7867 | 894 | 59.76 | 35.27
2019-12-01 07:00:00 | 4.6833 | 186.7967 | 5.3933 | 205.2667 | 8.74 | 17.5967 | 9.35 | 37.5033 | 1.68 | 894 | 59.9067 | 33.3487
2019-12-01 07:15:00 | 4.6533 | 276.1033 | 5.35 | 303.4 | 8.8 | 17.93 | 9.3067 | 25.0933 | 1.6733 | 894 | 59.8267 | 33.5973
2019-12-01 07:30:00 | 4.64 | 205.3567 | 5.3367 | 225.6667 | 8.84 | 21.85 | 9.4733 | 30.0867 | 1.7133 | 894.1333 | 59.2467 | 33.9093
2019-12-01 07:45:00 | 4.3533 | 206.0467 | 5.01 | 226.4133 | 8.4167 | 16.1267 | 8.7833 | 31.0667 | 1.7133 | 895 | 59.7233 | 36.6493
2019-12-01 08:00:00 | 4.4667 | 212.7733 | 5.1367 | 233.8133 | 8.5633 | 27.4133 | 9.0033 | 27.74 | 1.3933 | 895 | 61.7767 | 36.1227
2019-12-01 08:15:00 | 4.78 | 103.4233 | 5.4967 | 113.6467 | 9.2133 | 23.7067 | 9.61 | 30.9233 | 1.4333 | 895 | 61.56 | 33.1133
2019-12-01 08:30:00 | 4.3933 | 248.8367 | 5.0633 | 273.4333 | 8.5067 | 14.6067 | 8.9567 | 28.13 | 1.7467 | 895 | 60.88 | 37.0233
2019-12-01 08:45:00 | 4.9333 | 276.5867 | 5.67 | 303.9333 | 9.42 | 20.16 | 9.63 | 25.9633 | 2.5367 | 895 | 59.33 | 37.014
2019-12-01 09:00:00 | 4.9867 | 201.6533 | 5.7367 | 221.6 | 9.2733 | 14.5933 | 9.4367 | 28.9633 | 3.9433 | 895.8 | 55.0233 | 37.8027
2019-12-01 09:15:00 | 5.1233 | 228.84 | 5.89 | 251.46 | 9.4367 | 20.5833 | 9.4933 | 23.1967 | 4.7233 | 896.4667 | 51.3767 | 37.9953
2019-12-01 09:30:00 | 5.11 | 141.2333 | 5.8767 | 155.1933 | 9.5367 | 11.2367 | 9.6467 | 29.5833 | 5.0167 | 897 | 51.55 | 35.968
2019-12-01 09:45:00 | 5.2533 | 281.05 | 6.0433 | 308.8333 | 9.3467 | 13.59 | 9.59 | 25.54 | 5.9767 | 897 | 47.2367 | 34.492
2019-12-01 10:00:00 | 5.272 | 266.128 | 6.07 | 292.44 | 9.27 | 216.652 | 9.578 | 24.776 | 6.154 | 897.8 | 45.628 | 34.7833
2019-12-01 10:15:00 | 5.0133 | 123.1433 | 5.7733 | 135.32 | 8.7333 | 28.9133 | 9.0567 | 24.1267 | 6.4033 | 898 | 44.41 | 32.36
2019-12-01 10:30:00 | 5.4 | 219.13 | 6.22 | 240.8 | 9.4733 | 21.1333 | 9.5833 | 19.4267 | 6.4567 | 898 | 43.7633 | 33.512
2019-12-01 10:45:00 | 5.6333 | 225.6733 | 6.4733 | 247.9933 | 9.54 | 26.6467 | 9.65 | 32.6567 | 6.65 | 898 | 42.93 | 32.4793
2019-12-01 11:00:00 | 5.0987 | 16.08 | 5.86 | 17.66 | 8.6067 | 17.6533 | 8.8433 | 30.3233 | 6.67 | 898 | 43.2713 | 37.0747
2019-12-01 11:15:00 | 5.75 | 147.82 | 6.61 | 162.44 | 9.98 | 24.41 | 9.71 | 25.9533 | 6.9467 | 898 | 42.796 | 34.0627
2019-12-01 11:30:00 | 5.502 | 306.2533 | 6.3287 | 336.5333 | 9.3867 | 17.65 | 9.3033 | 21.96 | 7.3733 | 898 | 41.4267 | 35.276
2019-12-01 11:45:00 | 5.92 | 199.7367 | 6.8067 | 219.4933 | 10.27 | 16.0333 | 10.2733 | 23.8367 | 7.7433 | 898 | 39.45 | 32.008
2019-12-01 12:00:00 | 5.46 | 11.65 | 6.28 | 12.8 | 9.51 | 19.0467 | 9.8467 | 32.9433 | 8.0967 | 898 | 38.1367 | 31.23
2019-12-01 12:15:00 | 5.85 | 43.73 | 6.7267 | 48.0467 | 9.6533 | 40.1733 | 9.9933 | 31.19 | 8.1533 | 898 | 36.8867 | 31.996
2019-12-01 12:30:00 | 5.9 | 27.484 | 6.79 | 30.2 | 9.978 | 25.124 | 9.952 | 36.396 | 8.488 | 898 | 35.642 | 33.1127
2019-12-01 12:45:00 | 6.42 | 65.6467 | 7.3833 | 72.14 | 10.5733 | 28.8367 | 10.7567 | 31.3233 | 8.71 | 897.5333 | 34.62 | 36.8387
2019-12-01 13:00:00 | 6.0533 | 262.5467 | 6.9633 | 288.5 | 10.12 | 22.5767 | 10.27 | 40.1367 | 9.0033 | 897 | 33.9587 | 39.924
2019-12-01 13:15:00 | 6.41 | 222.8033 | 7.37 | 244.8333 | 10.9567 | 20.19 | 10.9333 | 35.7267 | 9.2033 | 897 | 33.46 | 38.1633
2019-12-01 13:30:00 | 6.5433 | 183.4233 | 7.53 | 201.5667 | 11.43 | 17.1233 | 11.3867 | 24.6867 | 9.9833 | 897 | 33.5 | 36.6693
2019-12-01 13:45:00 | 6.1533 | 266.18 | 7.08 | 292.5 | 10.7867 | 16.0067 | 10.4533 | 27.0767 | 10.88 | 897 | 32.22 | 36.6693
2019-12-01 14:00:00 | 5.7133 | 93.9267 | 6.5733 | 103.2067 | 10.0267 | 22.8133 | 9.8733 | 36.85 | 11.36 | 897 | 32.0867 | 31.712
2019-12-01 14:15:00 | 5.9 | 294.0933 | 6.7847 | 323.1667 | 10.1267 | 24.4767 | 10.1467 | 43.1167 | 10.7133 | 897 | 31.6533 | 35.4773
2019-12-01 14:30:00 | 6.5533 | 250.96 | 7.5433 | 275.7667 | 11.58 | 23.23 | 11.4667 | 33.3167 | 10.54 | 897 | 32.5267 | 34.3013
2019-12-01 14:45:00 | 6.1333 | 45.35 | 7.06 | 49.8233 | 10.99 | 22.0967 | 10.85 | 19.6967 | 11.3867 | 897 | 33.1 | 35.4833
2019-12-01 15:00:00 | 6.38 | 18.7033 | 7.34 | 20.5433 | 11.3567 | 16.41 | 11.3233 | 25.4433 | 11.16 | 897 | 32.6267 | 39.724
2019-12-01 15:15:00 | 6.72 | 173.72 | 7.73 | 190.9 | 12.27 | 14.29 | 12.2533 | 21.4567 | 11.2933 | 896.5333 | 32.99 | 45.0633
2019-12-01 15:30:00 | 6.7507 | 98.3867 | 7.7687 | 108.1133 | 11.9167 | 20.17 | 12.1133 | 23.81 | 10.96 | 896.8 | 32.3633 | 43.2787
2019-12-01 15:45:00 | 6.5067 | 126.8867 | 7.4833 | 139.4267 | 11.6733 | 20.7733 | 11.7033 | 16.8033 | 10.5167 | 897 | 33.9467 | 41.0307
2019-12-01 16:00:00 | 6.3867 | 125.46 | 7.35 | 137.86 | 11.4467 | 20.5267 | 11.3567 | 23.51 | 10.2967 | 897 | 34.4133 | 41.2393
2019-12-01 16:15:00 | 6.1333 | 12.2133 | 7.06 | 13.4133 | 11.0267 | 17.7933 | 11.11 | 28.5367 | 9.95 | 897 | 35.2567 | 41.372
2019-12-01 16:30:00 | 6.2533 | 136.4933 | 7.2 | 149.9867 | 11.38 | 17.0867 | 11.35 | 29.0567 | 9.63 | 897 | 35.6567 | 41.25
2019-12-01 16:45:00 | 6.74 | 235.84 | 7.76 | 259.16 | 12.1733 | 20.9233 | 12.0467 | 29.2167 | 9.14 | 897 | 35.646 | 43.73
2019-12-01 17:00:00 | 6.3267 | 218.6133 | 7.2733 | 240.2267 | 11.0667 | 10.0567 | 11.0667 | 24.15 | 8.3867 | 896.3333 | 35.5367 | 40.076
2019-12-01 17:15:00 | 5.9333 | 29.67 | 6.8267 | 32.6 | 10.3433 | 18.8067 | 10.38 | 22.8633 | 7.55 | 896.5333 | 37.0567 | 36.6987
2019-12-01 17:30:00 | 5.1267 | 139.97 | 5.8933 | 153.8067 | 9.1433 | 7.14 | 9.1467 | 20.5767 | 7.19 | 896 | 38.97 | 28.608
2019-12-01 17:45:00 | 4.7067 | 46.5467 | 5.4167 | 51.15 | 8.3267 | 17.4667 | 7.7967 | 37.4533 | 6.8433 | 896 | 39.574 | 19.7987
2019-12-01 18:00:00 | 3.8733 | 92.1667 | 4.4633 | 101.2833 | 7.0667 | 34.88 | 6.6767 | 38.66 | 6.57 | 896 | 39.9433 | 13.618
2019-12-01 18:15:00 | 2.6667 | 184.8167 | 3.07 | 203.1 | 5.18 | 19.4133 | 5.06 | 26.7233 | 5.94 | 896 | 41.8233 | 8.5513
2019-12-01 18:30:00 | 2.2333 | 212.6633 | 2.57 | 233.7 | 4.3533 | 40.2 | 4.1067 | 22.6567 | 5.82 | 896 | 41.2367 | 5.4233
2019-12-01 18:45:00 | 1.8007 | 192.2387 | 2.0793 | 211.2467 | 3.384 | 26.2813 | 3.4573 | 18.5087 | 5.662 | 896 | 40.9013 | 5.2807
2019-12-01 19:00:00 | 2.0533 | 23.66 | 2.37 | 26 | 3.8633 | 15.23 | 4.0533 | 28.0567 | 5.6333 | 896 | 41.0867 | 5.246
2019-12-01 19:15:00 | 2.3433 | 10.1567 | 2.6967 | 11.1567 | 4.1167 | 13.73 | 4.5633 | 27.2333 | 5.5467 | 896 | 41.8 | 5.5247
2019-12-01 19:30:00 | 2.2567 | 188.55 | 2.6033 | 207.19 | 3.9433 | 5.79 | 4.2767 | 15.3533 | 5.5467 | 896.8 | 41.9467 | 4.716
2019-12-01 19:45:00 | 1.82 | 111.84 | 2.1033 | 122.9 | 3.3633 | 14.48 | 3.7233 | 18.5467 | 5.3133 | 897 | 43.4433 | 3.5027
2019-12-01 20:00:00 | 1.8067 | 286.48 | 2.09 | 314.8 | 3.5167 | 12.5 | 3.69 | 21.1067 | 5.02 | 897 | 44.6393 | 4.4287
2019-12-01 20:15:00 | 1.8467 | 0.80667 | 2.1367 | 0.88667 | 3.59 | 30.08 | 2.9967 | 20.08 | 5.0033 | 897 | 44.69 | 4.2373
2019-12-01 20:30:00 | 1.8733 | 207.9333 | 2.1567 | 228.5 | 3.7033 | 33.4333 | 1.8833 | 23.0333 | 5.0367 | 897 | 43.7033 | 4.014
2019-12-01 20:45:00 | 2.0833 | 307.85 | 2.3933 | 338.3 | 4.0967 | 35.8033 | 2.6067 | 31.5133 | 4.91 | 897.4667 | 43.84 | 4.4827
2019-12-01 21:00:00 | 2.1833 | 289.1273 | 2.52 | 317.7267 | 4.07 | 38.5633 | 2.7333 | 31.68 | 4.73 | 898 | 44.7733 | 4.3633
2019-12-01 21:15:00 | 2.2133 | 220.41 | 2.5533 | 242.2033 | 3.14 | 18.2133 | 2.07 | 40.6767 | 4.6813 | 898 | 45.4 | 5.252
2019-12-01 21:30:00 | 2.1867 | 205.6033 | 2.5267 | 225.9367 | 3.6933 | 17.4667 | 3.7567 | 38.4033 | 4.58 | 898 | 46.7733 | 7.402
2019-12-01 21:45:00 | 2.4267 | 105.7467 | 2.7967 | 116.2 | 4.7 | 19.9167 | 4.4267 | 32.5367 | 3.96 | 898 | 50.4967 | 8.0087
2019-12-01 22:00:00 | 2.3467 | 282.32 | 2.6967 | 310.2333 | 4.4267 | 25.9833 | 3.6933 | 32.49 | 3.66 | 898 | 52.1433 | 8.0907
2019-12-01 22:15:00 | 2.3933 | 201.61 | 2.7533 | 221.55 | 4.0567 | 16.07 | 4.1467 | 33.6767 | 3.64 | 898 | 52.56 | 11.6267
2019-12-01 22:30:00 | 2.6 | 204.23 | 2.9933 | 224.4167 | 4.3767 | 15.5033 | 4.5667 | 28.83 | 3.66 | 898 | 52.6867 | 14.376
2019-12-01 22:45:00 | 2.48 | 107.4667 | 2.8533 | 118.0933 | 4.3933 | 21.4933 | 4.8067 | 28.4867 | 3.42 | 898 | 54.69 | 15.7893
2019-12-01 23:00:00 | 2.7467 | 273.6067 | 3.16 | 300.6667 | 4.48 | 19.26 | 5.6333 | 33.9 | 3.3867 | 898 | 55.7633 | 14.7113
2019-12-01 23:15:00 | 2.832 | 301.9547 | 3.2587 | 331.8067 | 4.938 | 8.0147 | 5.8787 | 34.0807 | 3.292 | 898 | 56.104 | 14.1353
2019-12-01 23:30:00 | 2.76 | 304.2467 | 3.1733 | 334.3333 | 4.9167 | 16.1733 | 5.3767 | 31.3833 | 3.1533 | 898 | 56.7867 | 13.374
2019-12-01 23:45:00 | 2.7867 | 303.9133 | 3.2033 | 333.9667 | 4.9 | 10.9933 | 5.6333 | 29.8967 | 3.1567 | 898 | 56.2567 | 12.8633