## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-02 00:00:00 | 2.7271 | 114.85 | 3.1436 | 126.1993 | 4.8736 | 9.1657 | 5.7086 | 30.0414 | 3.1714 | 898 | 56.09 | 11.9486
2019-12-02 00:15:00 | 2.6467 | 96.0667 | 3.0533 | 105.5533 | 4.9667 | 8.5967 | 5.4267 | 19.8167 | 3.16 | 898 | 56.06 | 11.36
2019-12-02 00:30:00 | 2.36 | 256.4733 | 2.7133 | 281.8333 | 4.5267 | 7.3633 | 5.1533 | 12.2567 | 3.02 | 898 | 56.6787 | 9.9527
2019-12-02 00:45:00 | 2.3633 | 319.2667 | 2.7167 | 350.8333 | 4.2867 | 12.9767 | 4.8167 | 17.8867 | 2.7233 | 898 | 58.0133 | 11.0193
2019-12-02 01:00:00 | 2.4967 | 315.3267 | 2.8767 | 346.5 | 4.4733 | 14.1767 | 4.6767 | 24.8467 | 2.61 | 898 | 58.6933 | 12.274
2019-12-02 01:15:00 | 2.7467 | 114.0633 | 3.16 | 125.3333 | 4.15 | 8.7133 | 4.1433 | 38.2667 | 2.4633 | 898 | 59.66 | 11.712
2019-12-02 01:30:00 | 2.88 | 99.2567 | 3.32 | 109.0667 | 4.29 | 12.3133 | 4.1367 | 33.1933 | 2.49 | 898 | 59.108 | 12.6347
2019-12-02 01:45:00 | 3.3667 | 305.3667 | 3.8733 | 335.5667 | 4.9067 | 8.28 | 4.8067 | 30.5067 | 2.3233 | 898 | 60.01 | 11.7447
2019-12-02 02:00:00 | 3.48 | 298.52 | 4.0067 | 328.0333 | 5.2933 | 13.94 | 5.34 | 24.6333 | 2.19 | 898 | 60.4567 | 12.81
2019-12-02 02:15:00 | 3.7 | 104.61 | 4.2633 | 114.9533 | 6.08 | 128.4067 | 6.0067 | 16.88 | 2.1567 | 897.5333 | 60.9767 | 13.748
2019-12-02 02:30:00 | 3.3933 | 259.2567 | 3.9033 | 284.9 | 6.0933 | 119.0667 | 6.0867 | 14.7267 | 2.0567 | 897 | 61.2433 | 15.648
2019-12-02 02:45:00 | 3.3867 | 310.13 | 3.8933 | 340.8 | 6.0067 | 3.9567 | 6.28 | 7.1533 | 1.75 | 897 | 64.55 | 18.7753
2019-12-02 03:00:00 | 3.66 | 290.7767 | 4.2133 | 319.5333 | 6.3533 | 3.4567 | 6.74 | 6.16 | 1.2033 | 897 | 69.9433 | 21.2287
2019-12-02 03:15:00 | 3.6533 | 295.18 | 4.2033 | 324.3667 | 6.9533 | 11.18 | 7.1467 | 16.49 | 0.80667 | 897 | 71.8067 | 20.308
2019-12-02 03:30:00 | 4.1067 | 300.2667 | 4.73 | 329.9667 | 6.9333 | 11.6667 | 7.04 | 18.39 | 1.1533 | 897 | 69.4733 | 20.6387
2019-12-02 03:45:00 | 4.3 | 208.9833 | 4.9533 | 229.64 | 6.8967 | 11.68 | 7.5367 | 8.32 | 1.3667 | 897 | 69.6467 | 17.964
2019-12-02 04:00:00 | 4.1533 | 206.67 | 4.7733 | 227.1067 | 6.15 | 15.62 | 6.5767 | 23.1933 | 1.38 | 897 | 69.02 | 15.4387
2019-12-02 04:15:00 | 3.94 | 307.7367 | 4.54 | 338.1667 | 6.1733 | 11.1833 | 6.9233 | 21.89 | 1.51 | 897 | 67.7833 | 11.5167
2019-12-02 04:30:00 | 3.9933 | 298.4633 | 4.5933 | 327.9667 | 6.36 | 17.25 | 6.4567 | 25.3567 | 1.5567 | 897 | 66.8433 | 9.594
2019-12-02 04:45:00 | 3.5933 | 317.8067 | 4.13 | 349.2333 | 5.6367 | 7.6633 | 5.94 | 15.6167 | 1.5 | 897 | 67.0333 | 7.69
2019-12-02 05:00:00 | 3.42 | 105.6267 | 3.93 | 116.0667 | 5.61 | 1.97 | 5.98 | 8.9567 | 1.4933 | 897 | 66.7867 | 9.36
2019-12-02 05:15:00 | 3.44 | 12.3333 | 3.96 | 13.55 | 6.5333 | 7.0467 | 6.2933 | 6.31 | 1.1233 | 897 | 68.42 | 9.4427
2019-12-02 05:30:00 | 3.5067 | 9.5667 | 4.0333 | 10.5167 | 6.3067 | 10.32 | 6.18 | 9.5367 | 0.95 | 897 | 71.2613 | 12.6853
2019-12-02 05:45:00 | 3.2733 | 110.6733 | 3.77 | 121.62 | 5.8833 | 22.6267 | 5.4533 | 9.5667 | 0.31333 | 897 | 76.15 | 12.4687
2019-12-02 06:00:00 | 3.4867 | 303.12 | 4.01 | 333.1 | 5.6033 | 28.2667 | 5.32 | 18.6533 | 0.26 | 896.2 | 76.2713 | 10.502
2019-12-02 06:15:00 | 3.4427 | 320.266 | 3.9593 | 351.94 | 5.6767 | 24.338 | 5.792 | 26.1727 | 0.45933 | 896 | 74.984 | 12.8507
2019-12-02 06:30:00 | 3.2233 | 322.08 | 3.7133 | 353.9333 | 5.23 | 11.3367 | 5.6567 | 12.4267 | 0.67333 | 896 | 73.7733 | 17.946
2019-12-02 06:45:00 | 3.6433 | 212.49 | 4.1967 | 233.5 | 5.4333 | 7.21 | 5.8967 | 9.6133 | 0.7 | 896 | 73.85 | 17.778
2019-12-02 07:00:00 | 3.43 | 213.7033 | 3.9433 | 234.8333 | 5.1933 | 12.7567 | 5.35 | 9.78 | 0.66667 | 896 | 73.7433 | 13.8333
2019-12-02 07:15:00 | 3.6367 | 288.83 | 4.1833 | 317.4 | 5.3867 | 347.1667 | 5.43 | 124.1 | 0.61333 | 896 | 74.0533 | 14.9553
2019-12-02 07:30:00 | 3.7767 | 96.9953 | 4.3433 | 106.5933 | 6.12 | 114.8067 | 6.33 | 129.3067 | 0.56667 | 896 | 73.78 | 12.586
2019-12-02 07:45:00 | 3.6167 | 301.64 | 4.16 | 331.4667 | 6.1067 | 4.77 | 6.7633 | 17.35 | 0.60667 | 896 | 73.6367 | 10.7073
2019-12-02 08:00:00 | 3.31 | 118.0067 | 3.8067 | 129.6667 | 6.18 | 6.3767 | 6.3433 | 8.77 | 0.51333 | 896.1333 | 75.23 | 7.998
2019-12-02 08:15:00 | 3.31 | 118.0067 | 3.8067 | 129.6667 | 6.18 | 6.3767 | 6.3433 | 8.77 | 0.51333 | 896.1333 | 75.23 | 7.998
2019-12-02 08:30:00 | 3.31 | 118.0067 | 3.8067 | 129.6667 | 6.18 | 6.3767 | 6.3433 | 8.77 | 0.51333 | 896.1333 | 75.23 | 7.998
2019-12-02 08:45:00 | 3.31 | 118.0067 | 3.8067 | 129.6667 | 6.18 | 6.3767 | 6.3433 | 8.77 | 0.51333 | 896.1333 | 75.23 | 7.998
2019-12-02 09:00:00 | 3.31 | 118.0067 | 3.8067 | 129.6667 | 6.18 | 6.3767 | 6.3433 | 8.77 | 0.51333 | 896.1333 | 75.23 | 7.998
2019-12-02 09:15:00 | 3.31 | 118.0067 | 3.8067 | 129.6667 | 6.18 | 6.3767 | 6.3433 | 8.77 | 0.51333 | 896.1333 | 75.23 | 7.998
2019-12-02 09:30:00 | 3.2533 | 9.0633 | 3.7433 | 9.9567 | 4.17 | 13.6167 | 4.14 | 21.8467 | 3.23 | 899 | 64.5467 | 0.21067
2019-12-02 09:45:00 | 3.2533 | 9.0633 | 3.7433 | 9.9567 | 4.17 | 13.6167 | 4.14 | 21.8467 | 3.23 | 899 | 64.5467 | 0.21067
2019-12-02 10:00:00 | 3.2533 | 9.0633 | 3.7433 | 9.9567 | 4.17 | 13.6167 | 4.14 | 21.8467 | 3.23 | 899 | 64.5467 | 0.21067
2019-12-02 10:15:00 | 3.2533 | 9.0633 | 3.7433 | 9.9567 | 4.17 | 13.6167 | 4.14 | 21.8467 | 3.23 | 899 | 64.5467 | 0.21067
2019-12-02 10:30:00 | 3.2533 | 9.0633 | 3.7433 | 9.9567 | 4.17 | 13.6167 | 4.14 | 21.8467 | 3.23 | 899 | 64.5467 | 0.21067
2019-12-02 10:45:00 | 3.346 | 9.484 | 3.85 | 10.4193 | 4.22 | 10.528 | 4.2887 | 24.154 | 3.572 | 899 | 63.3347 | 0.386
2019-12-02 11:00:00 | 3.4633 | 14.0367 | 3.9867 | 15.4167 | 4.2533 | 17.7033 | 4.39 | 24.78 | 3.7467 | 899 | 61.3633 | 0
2019-12-02 11:15:00 | 2.9133 | 12.1767 | 3.35 | 13.3733 | 3.2867 | 11.7233 | 3.4133 | 15.55 | 3.99 | 899 | 60.7533 | 0
2019-12-02 11:30:00 | 2.4533 | 10.1167 | 2.83 | 11.12 | 2.7133 | 17.41 | 3 | 12.4367 | 4.3567 | 899 | 58.6067 | 0
2019-12-02 11:45:00 | 2.1867 | 17.4 | 2.52 | 19.1133 | 2.29 | 9.81 | 1.89 | 17.9333 | 4.6013 | 899 | 54.7133 | 0
2019-12-02 12:00:00 | 1.8667 | 5.7 | 2.1533 | 6.2533 | 2.03 | 15.2233 | 1.2167 | 24.6933 | 5.4067 | 898.8667 | 52.92 | 0
2019-12-02 12:15:00 | 1.6933 | 42.9733 | 1.95 | 47.22 | 1.6667 | 121.2 | 1.8267 | 161.5667 | 6.0667 | 898 | 50.1633 | 0
2019-12-02 12:30:00 | 3.1333 | 142.6333 | 3.6167 | 156.7333 | 3.36 | 180.8667 | 3.3 | 170.9 | 7.18 | 898 | 47.5567 | 0.039333
2019-12-02 12:45:00 | 3.6033 | 135.5147 | 4.1467 | 148.9067 | 3.886 | 167.0467 | 3.77 | 166.5133 | 7.568 | 898 | 44.8573 | 1.282
2019-12-02 13:00:00 | 3.9667 | 154.4267 | 4.56 | 169.7 | 4.3767 | 182.2 | 4.1667 | 187.9 | 7.78 | 898 | 44.2367 | 4.252
2019-12-02 13:15:00 | 3.9467 | 149.1567 | 4.54 | 163.9 | 4.5367 | 173.5333 | 4.5767 | 159.8667 | 8.3367 | 898 | 43.8067 | 4.6047
2019-12-02 13:30:00 | 4.24 | 126.47 | 4.8867 | 138.9667 | 4.8567 | 144.9333 | 5.09 | 178.1333 | 8.5033 | 898 | 43.6147 | 5.1527
2019-12-02 13:45:00 | 4.5733 | 140.0567 | 5.2567 | 153.9 | 5.1667 | 172.8667 | 5.2433 | 180.9 | 8.63 | 898 | 43.52 | 5.6827
2019-12-02 14:00:00 | 4.5267 | 146.85 | 5.2033 | 161.3667 | 5.1267 | 162.8 | 5.15 | 184.5 | 8.61 | 897.8667 | 44.7933 | 5.6313
2019-12-02 14:15:00 | 4.04 | 132.8967 | 4.65 | 146.0333 | 4.7167 | 166.4667 | 4.7067 | 190.4333 | 8.9667 | 897 | 44.932 | 6.434
2019-12-02 14:30:00 | 3.9467 | 140.9033 | 4.5367 | 154.8333 | 4.4767 | 168.1333 | 4.6133 | 169.0333 | 8.9733 | 897 | 44.8667 | 6.2893
2019-12-02 14:45:00 | 3.7187 | 156.922 | 4.284 | 172.4467 | 4.2433 | 196.6133 | 4.552 | 202.02 | 9.1593 | 897 | 44.8807 | 5.922
2019-12-02 15:00:00 | 3.52 | 127.3067 | 4.0467 | 139.9 | 3.9733 | 207.2333 | 4.1533 | 213.8 | 9.0567 | 897 | 45.4233 | 5.3013
2019-12-02 15:15:00 | 3.6333 | 196.02 | 4.18 | 215.4 | 4.1233 | 202.7667 | 4.2067 | 216.8333 | 9.0733 | 897 | 44.9467 | 5.322
2019-12-02 15:30:00 | 3.66 | 156.5333 | 4.22 | 172 | 4.1567 | 196.2333 | 4.2733 | 211.7667 | 8.9933 | 897 | 44.8493 | 5.5293
2019-12-02 15:45:00 | 3.29 | 167.7167 | 3.78 | 184.3 | 4.03 | 210.0667 | 4.48 | 212.4333 | 9.3167 | 897 | 44.7833 | 4.6387
2019-12-02 16:00:00 | 3.39 | 131.4433 | 3.9067 | 144.4333 | 3.87 | 198.7333 | 4.1467 | 197.1667 | 9.1233 | 897 | 44.342 | 4.9593
2019-12-02 16:15:00 | 3.6633 | 147.2167 | 4.2133 | 161.7667 | 4.26 | 188.1333 | 4.5 | 183.5667 | 8.78 | 897 | 44.24 | 5.3773
2019-12-02 16:30:00 | 3.3367 | 188.4033 | 3.8333 | 207.0333 | 3.8133 | 203.8 | 4.1067 | 186.7 | 8.7533 | 896.2 | 44.2733 | 4.1967
2019-12-02 16:45:00 | 3.1 | 149.8233 | 3.57 | 164.6333 | 3.52 | 190.9333 | 3.8667 | 194 | 8.5867 | 896 | 45.0933 | 3.4833
2019-12-02 17:00:00 | 2.68 | 138.6033 | 3.0833 | 152.3 | 3.16 | 184.1333 | 3.3733 | 181.6667 | 8.3 | 896 | 46.42 | 3.0353
2019-12-02 17:15:00 | 2.82 | 152.61 | 3.24 | 167.7 | 3.4367 | 218.6 | 3.6133 | 203.5 | 7.8367 | 896 | 48.3267 | 3.6087
2019-12-02 17:30:00 | 3.228 | 175.966 | 3.71 | 193.36 | 4.072 | 209.78 | 4.322 | 204.94 | 7.558 | 895.8667 | 49.71 | 4.8633
2019-12-02 17:45:00 | 3.5133 | 178.1767 | 4.04 | 195.8 | 4.2333 | 209.2333 | 4.5567 | 211.3 | 7.4113 | 895 | 49.93 | 6.852
2019-12-02 18:00:00 | 3.3933 | 161.4967 | 3.9 | 177.4667 | 4.14 | 197.7 | 4.3367 | 203.2333 | 7.1767 | 895 | 51.2367 | 8.2027
2019-12-02 18:15:00 | 3.1833 | 157.73 | 3.6633 | 173.3333 | 3.9567 | 201.9333 | 4.3567 | 200.6333 | 7.1 | 895 | 51.3767 | 9.3433
2019-12-02 18:30:00 | 2.6433 | 139.2367 | 3.0433 | 153 | 3.2433 | 160 | 3.33 | 206.5267 | 7.0933 | 895 | 51.3433 | 9.524
2019-12-02 18:45:00 | 2.3333 | 148.2667 | 2.69 | 162.9333 | 2.83 | 183.4333 | 3.2733 | 189.5 | 6.6633 | 895 | 55.7 | 9.8213
2019-12-02 19:00:00 | 2.3067 | 160.5867 | 2.6633 | 176.4667 | 2.8833 | 184.3667 | 3.5867 | 190.8333 | 6.4033 | 895 | 58.52 | 7.0767
2019-12-02 19:15:00 | 2.61 | 150.1567 | 3.0067 | 165 | 3.25 | 182.9667 | 3.7967 | 181.1667 | 6.26 | 895 | 59.5833 | 5.9353
2019-12-02 19:30:00 | 2.6367 | 144.1433 | 3.0333 | 158.4 | 3.25 | 169.0333 | 3.4367 | 174.5667 | 6.26 | 895 | 59.1767 | 5.1173
2019-12-02 19:45:00 | 2.88 | 155.46 | 3.3167 | 170.8333 | 3.3867 | 177.0667 | 3.8367 | 180.9667 | 6.2133 | 895 | 59.36 | 4.842
2019-12-02 20:00:00 | 2.7067 | 169.06 | 3.1233 | 185.7667 | 3.24 | 184 | 3.59 | 188.3 | 6.2533 | 895 | 59.38 | 4.6693
2019-12-02 20:15:00 | 2.66 | 133.8067 | 3.0667 | 147.0333 | 3.26 | 157.2333 | 3.3767 | 188.7333 | 5.89 | 895 | 61.51 | 4.736
2019-12-02 20:30:00 | 2.4733 | 144.5333 | 2.84 | 158.8333 | 3.0667 | 178.7 | 3.5167 | 188.8667 | 5.61 | 895 | 63.6967 | 4.5833
2019-12-02 20:45:00 | 2.5667 | 151.03 | 2.9533 | 165.9667 | 3.14 | 159.9667 | 3.5433 | 179.8667 | 5.4033 | 895 | 65.03 | 4.3893
2019-12-02 21:00:00 | 2.46 | 159.41 | 2.8333 | 175.1667 | 3.04 | 152.3667 | 3.37 | 181.8667 | 5.2967 | 895 | 65.3687 | 4.5913
2019-12-02 21:15:00 | 2.96 | 153.8327 | 3.4067 | 169.04 | 3.51 | 163.4333 | 3.79 | 163.3667 | 5.39 | 895 | 65.0113 | 3.8787
2019-12-02 21:30:00 | 2.54 | 142.57 | 2.92 | 156.6667 | 3.1567 | 159.7 | 3.4233 | 166.7667 | 5.5033 | 895 | 64.6033 | 2.5353
2019-12-02 21:45:00 | 2.6267 | 142.39 | 3.0233 | 156.4667 | 3.3733 | 166.0333 | 3.43 | 165.8 | 5.3667 | 895 | 65.13 | 1.7293
2019-12-02 22:00:00 | 2.7867 | 156.95 | 3.21 | 172.4667 | 3.58 | 165.1 | 3.8967 | 179.76 | 5.2467 | 895 | 65.6767 | 1.3833
2019-12-02 22:15:00 | 2.3133 | 158.5 | 2.6633 | 174.1667 | 2.9133 | 168.1667 | 3.4867 | 168.9667 | 5.2933 | 895 | 65.5467 | 1.188
2019-12-02 22:30:00 | 2.0267 | 162.14 | 2.3367 | 178.1667 | 2.5933 | 170.0333 | 2.9733 | 176.3 | 5.2533 | 895 | 65.6867 | 1.0413
2019-12-02 22:45:00 | 2.16 | 169.18 | 2.4867 | 185.9 | 2.7553 | 178.7333 | 3.01 | 189.3333 | 5.0967 | 895.4667 | 66.44 | 0.87733
2019-12-02 23:00:00 | 2.32 | 172.4467 | 2.6667 | 189.5 | 3.01 | 180.8667 | 3.3433 | 177.1867 | 5.11 | 896 | 66.4813 | 1.0293
2019-12-02 23:15:00 | 2.18 | 167.4133 | 2.5133 | 183.9667 | 2.7433 | 175.6 | 3.2367 | 178.5333 | 5.0433 | 896 | 66.4467 | 0.96
2019-12-02 23:30:00 | 2.06 | 174.1467 | 2.3733 | 191.3667 | 2.71 | 175.6667 | 3.2233 | 182.4 | 5.01 | 896 | 66.58 | 0.94667
2019-12-02 23:45:00 | 2.1833 | 171.9267 | 2.5133 | 188.9333 | 2.7733 | 176.3 | 3.3933 | 189.3 | 5.0633 | 896 | 66.29 | 0.68933