## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-03 00:00:00 | 1.4521 | 161.5736 | 1.6779 | 177.55 | 2.2386 | 168.55 | 3.0079 | 182.5786 | 4.9607 | 896 | 66.615 | 0.19
2019-12-03 00:15:00 | 1.1233 | 147.9067 | 1.2967 | 162.5333 | 1.84 | 164.1067 | 2.7933 | 183.5 | 4.8733 | 896 | 66.7907 | 0.062
2019-12-03 00:30:00 | 1.0233 | 148.16 | 1.19 | 162.8 | 1.76 | 164 | 2.76 | 184.94 | 4.92 | 895.8667 | 66.5067 | 0
2019-12-03 00:45:00 | 1.2567 | 161.5033 | 1.4467 | 177.4667 | 1.94 | 167.18 | 3.0267 | 180.6667 | 4.7933 | 895 | 67.06 | 0.13467
2019-12-03 01:00:00 | 1.6967 | 173.1433 | 1.9533 | 190.2667 | 2.2067 | 175.6333 | 2.84 | 187.4 | 4.8333 | 895 | 67.0533 | 0
2019-12-03 01:15:00 | 0.9 | 172.0453 | 1.04 | 189.06 | 1.7267 | 172.5467 | 2.4267 | 175.2 | 4.59 | 895 | 68.2833 | 0.015333
2019-12-03 01:30:00 | 1.36 | 171.4867 | 1.5667 | 188.4333 | 1.9867 | 158.2667 | 2.7067 | 171.6 | 4.6767 | 895 | 67.8633 | 0.22333
2019-12-03 01:45:00 | 0.80667 | 182.2467 | 0.93 | 200.2667 | 1.29 | 181.2 | 2.3233 | 168.2667 | 4.56 | 895 | 68.4267 | 0.16667
2019-12-03 02:00:00 | 0.60667 | 184.536 | 0.70333 | 202.7733 | 1.09 | 167.6933 | 2.4633 | 160 | 4.4 | 895 | 69.28 | 0.11133
2019-12-03 02:15:00 | 0.54667 | 185.92 | 0.63667 | 204.3 | 1.05 | 160.9467 | 2.0167 | 156.7667 | 4.3 | 895 | 69.61 | 0.092
2019-12-03 02:30:00 | 0.49333 | 185.92 | 0.57 | 204.3 | 0.93667 | 160.9333 | 1.53 | 156.1133 | 4.3 | 895 | 69.578 | 0.061333
2019-12-03 02:45:00 | 0.12667 | 185.92 | 0.14667 | 204.3 | 0.24667 | 184.7 | 1.51 | 157.1 | 4.0833 | 895 | 70.74 | 0.18933
2019-12-03 03:00:00 | 0.34667 | 185.944 | 0.40667 | 204.3267 | 0.68 | 164.6333 | 2.0967 | 158.9 | 4.2367 | 895 | 69.992 | 0
2019-12-03 03:15:00 | 0.32 | 186.1 | 0.37667 | 204.5 | 0.61267 | 169.32 | 1.5167 | 162.5 | 4.1533 | 895 | 70.424 | 0
2019-12-03 03:30:00 | 0.086667 | 186.1133 | 0.1 | 204.5133 | 0.16 | 200.9867 | 1.74 | 153.8867 | 4.08 | 894.8667 | 70.8027 | 0
2019-12-03 03:45:00 | 0.18 | 226.2833 | 0.21 | 248.6533 | 0.02 | 200.7133 | 1.43 | 150.5 | 3.7833 | 894 | 72.3167 | 0
2019-12-03 04:00:00 | 0.68 | 306.49 | 0.78333 | 336.8 | 0.02 | 200.5 | 0.35667 | 150.38 | 3.4567 | 894 | 74.5233 | 0
2019-12-03 04:15:00 | 0.81333 | 312.184 | 0.94 | 343.06 | 0.16667 | 131.2567 | 0.6 | 130.2 | 3.5033 | 894 | 73.9033 | 0
2019-12-03 04:30:00 | 0.72 | 109.4 | 0.82667 | 120.22 | 0.02 | 3.0633 | 0.08 | 147.8 | 3.3567 | 894 | 74.51 | 0
2019-12-03 04:45:00 | 0.82333 | 110.5567 | 0.96 | 121.4867 | 0.02 | 3.08 | 0 | 147.8 | 2.5767 | 894 | 78.37 | 0
2019-12-03 05:00:00 | 1.5633 | 324.5367 | 1.8 | 356.6333 | 1.28 | 3.02 | 0 | 147.8 | 2.4833 | 894 | 78.8633 | 0
2019-12-03 05:15:00 | 2.5533 | 314.4 | 2.94 | 345.5 | 2.72 | 4.6033 | 1.31 | 265.6667 | 2.1433 | 894 | 80.8 | 0
2019-12-03 05:30:00 | 2.8733 | 311.5533 | 3.3133 | 342.3667 | 3.1467 | 6.1167 | 1.9433 | 37.18 | 2.1167 | 894 | 80.9333 | 0
2019-12-03 05:45:00 | 3.14 | 312.89 | 3.6133 | 343.8333 | 3.7367 | 0.97667 | 3.28 | 16.9933 | 1.77 | 894 | 82.5 | 0
2019-12-03 06:00:00 | 3.0133 | 309.1367 | 3.4667 | 339.7 | 3.61 | 3.0033 | 3.2067 | 17.5333 | 1.75 | 894 | 82.6333 | 0
2019-12-03 06:15:00 | 3.22 | 298.0067 | 3.7067 | 327.4667 | 4.0533 | 8.37 | 3.31 | 15.8767 | 1.7533 | 894 | 82.88 | 0
2019-12-03 06:30:00 | 3.1933 | 310.6733 | 3.68 | 341.4 | 3.7733 | 2.5967 | 2.918 | 24.6033 | 1.7413 | 894 | 83.1867 | 0
2019-12-03 06:45:00 | 3.0733 | 311.5533 | 3.5367 | 342.3667 | 3.5833 | 2.2567 | 2.3633 | 7.8 | 1.6867 | 894 | 83.1333 | 0
2019-12-03 07:00:00 | 3.14 | 310.34 | 3.61 | 341.0333 | 3.7567 | 8.71 | 2.2767 | 7.4267 | 1.72 | 894 | 82.8 | 0
2019-12-03 07:15:00 | 3.15 | 309.28 | 3.6233 | 339.8667 | 3.9233 | 5.11 | 2.6233 | 2.92 | 1.6 | 894 | 83.8333 | 0
2019-12-03 07:30:00 | 3.0633 | 314.752 | 3.53 | 345.88 | 3.87 | 6.6033 | 3.1833 | 9.1467 | 1.5733 | 894 | 84.3 | 0
2019-12-03 07:45:00 | 3.0333 | 320.26 | 3.4867 | 351.9333 | 3.7867 | 7.7 | 3.5967 | 14.58 | 1.47 | 894 | 85.1667 | 0
2019-12-03 08:00:00 | 3.1933 | 311.4 | 3.68 | 342.2 | 3.78 | 10.7867 | 3.4167 | 11.3667 | 1.4567 | 894.1333 | 85.3 | 0
2019-12-03 08:15:00 | 3.2467 | 211.7387 | 3.73 | 232.68 | 4.16 | 10.2333 | 3.76 | 4.7 | 1.29 | 895 | 86.2667 | 0
2019-12-03 08:30:00 | 3.3867 | 15.6467 | 3.89 | 17.1933 | 4.1933 | 6.84 | 3.8667 | 8.7533 | 1.41 | 895 | 86 | 0
2019-12-03 08:45:00 | 3.5467 | 324.78 | 4.08 | 356.9 | 4.1533 | 7.2867 | 3.6367 | 2.27 | 1.4267 | 895 | 86.2 | 0
2019-12-03 09:00:00 | 3.54 | 108.6453 | 4.0733 | 119.3867 | 4.3 | 8.3267 | 3.5913 | 10.3633 | 1.4333 | 895 | 86.5867 | 0
2019-12-03 09:15:00 | 3.9493 | 301.5493 | 4.5453 | 331.374 | 4.804 | 6.454 | 4.1293 | 11.6553 | 1.5653 | 895.4667 | 85.8467 | 0.019333
2019-12-03 09:30:00 | 4.1733 | 107.4033 | 4.8 | 118.0267 | 5.1967 | 4.3933 | 4.5967 | 7.7833 | 1.6467 | 896 | 86 | 0.39667
2019-12-03 09:45:00 | 4.1767 | 192.5233 | 4.8033 | 211.5667 | 5.04 | 9.2167 | 4.5367 | 12.9167 | 1.7567 | 896 | 85.4333 | 0.35067
2019-12-03 10:00:00 | 4.0033 | 112.27 | 4.61 | 123.3667 | 5.04 | 6.3633 | 4.4967 | 11.67 | 1.89 | 896 | 84.9 | 0.28467
2019-12-03 10:15:00 | 3.7933 | 195.6467 | 4.3667 | 214.9967 | 4.7 | 8.6267 | 4.6367 | 15.07 | 2.36 | 896.4667 | 83.4667 | 0
2019-12-03 10:30:00 | 3.7133 | 1.16 | 4.2733 | 1.2767 | 4.3733 | 21.3867 | 4.3833 | 20.6833 | 3.0533 | 897 | 80.5267 | 0
2019-12-03 10:45:00 | 3.6 | 3.0333 | 4.14 | 3.3233 | 4.0433 | 48.9733 | 4.3033 | 20.2633 | 3.22 | 897 | 79.5667 | 0
2019-12-03 11:00:00 | 3.6667 | 2.9467 | 4.22 | 3.2233 | 4.15 | 16.78 | 4.23 | 22.0567 | 3.2067 | 897 | 78.6867 | 0
2019-12-03 11:15:00 | 3.4033 | 3 | 3.9133 | 3.29 | 3.9367 | 14.1567 | 4.05 | 16.61 | 3.57 | 897 | 77.9847 | 0
2019-12-03 11:30:00 | 3.1367 | 12.8333 | 3.6067 | 14.1033 | 3.4967 | 10.3433 | 3.5033 | 16.43 | 3.8833 | 897 | 76.49 | 0
2019-12-03 11:45:00 | 2.5413 | 196.3033 | 2.926 | 215.722 | 2.688 | 10.3567 | 2.118 | 56.42 | 4.3807 | 897 | 74.6967 | 0
2019-12-03 12:00:00 | 2.472 | 12.008 | 2.846 | 13.19 | 2.582 | 11.908 | 1.584 | 2.992 | 4.6913 | 897 | 74.246 | 0
2019-12-03 12:15:00 | 1.7333 | 8.5467 | 1.9967 | 9.39 | 1.4733 | 128.4333 | 0.36667 | 298.5667 | 5.1767 | 896.5333 | 72.7867 | 0
2019-12-03 12:30:00 | 1.76 | 85.26 | 2.0367 | 93.6967 | 1.7067 | 237 | 1.82 | 178.3667 | 6.39 | 896 | 69.74 | 0
2019-12-03 12:45:00 | 3.2333 | 158.37 | 3.72 | 174.0333 | 3.4567 | 181.7333 | 3.1867 | 188.7333 | 7.4033 | 896 | 68.37 | 0
2019-12-03 13:00:00 | 3.2467 | 166.51 | 3.74 | 182.9667 | 3.5033 | 191.8 | 3.4133 | 186.4 | 7.41 | 896 | 67.4033 | 0.072667
2019-12-03 13:15:00 | 3.4033 | 149.5133 | 3.9233 | 164.3 | 3.67 | 167.1 | 3.52 | 183.2 | 7.72 | 896 | 64.9433 | 0.414
2019-12-03 13:30:00 | 3.39 | 142.66 | 3.9033 | 156.7667 | 3.77 | 164.7 | 3.68 | 188.2667 | 8.2667 | 896 | 61.45 | 0.78133
2019-12-03 13:45:00 | 3.36 | 145.6667 | 3.8627 | 160.0667 | 3.816 | 166.1333 | 3.7227 | 185.54 | 8.7 | 896 | 55.604 | 1.366
2019-12-03 14:00:00 | 3.44 | 153.4967 | 3.9533 | 168.6667 | 3.98 | 166.1333 | 3.92 | 189.3 | 8.9667 | 896 | 52.7967 | 1.5873
2019-12-03 14:15:00 | 3.48 | 143.06 | 4.0067 | 157.2 | 3.9567 | 192.5667 | 3.9533 | 199.9333 | 9.2767 | 896 | 51.4 | 1.892
2019-12-03 14:30:00 | 2.9733 | 150.1533 | 3.4267 | 165 | 3.5833 | 207.5667 | 3.5867 | 235.7333 | 9.9767 | 896 | 49.5267 | 1.3733
2019-12-03 14:45:00 | 2.6667 | 142.5467 | 3.0667 | 156.6333 | 3.1033 | 156.5 | 3.3367 | 210.6667 | 9.8533 | 896 | 47.65 | 1.9027
2019-12-03 15:00:00 | 3.0667 | 165.9 | 3.5333 | 182.3 | 3.6367 | 204.1 | 3.7233 | 219.1333 | 9.52 | 896 | 49.89 | 1.414
2019-12-03 15:15:00 | 2.4867 | 179.1867 | 2.8633 | 196.9 | 3.1033 | 194.9333 | 3.3467 | 191.2333 | 10.07 | 895.5333 | 49.2133 | 1.378
2019-12-03 15:30:00 | 2.9933 | 149.82 | 3.4433 | 164.6333 | 3.4433 | 179.8 | 3.36 | 190.7667 | 9.93 | 895.6667 | 51 | 1.1953
2019-12-03 15:45:00 | 2.72 | 163.1667 | 3.1267 | 179.3 | 3.3333 | 231.0333 | 3.5367 | 220.2 | 9.9067 | 895 | 52.5067 | 0.886
2019-12-03 16:00:00 | 2.5933 | 152.8533 | 2.9867 | 167.9667 | 3.2867 | 228.3667 | 3.3833 | 240.4667 | 9.92 | 895 | 53.0533 | 0.71933
2019-12-03 16:15:00 | 2.2733 | 177.5433 | 2.6133 | 195.1 | 2.9067 | 228.4 | 3.17 | 227.6 | 9.9467 | 895 | 53.03 | 0.43867
2019-12-03 16:30:00 | 2.58 | 169.05 | 2.9667 | 185.7667 | 3.16 | 217.8667 | 3.31 | 215.7333 | 9.56 | 895 | 53.554 | 0.063333
2019-12-03 16:45:00 | 2.4933 | 152.92 | 2.8667 | 168.0333 | 2.9967 | 211.9667 | 2.9433 | 226 | 9.2033 | 895 | 53.49 | 0.12667
2019-12-03 17:00:00 | 2.316 | 173.018 | 2.664 | 190.12 | 2.83 | 208.88 | 2.844 | 220.98 | 8.8 | 895 | 55.06 | 0.19533
2019-12-03 17:15:00 | 2.3267 | 152.49 | 2.6767 | 167.5667 | 3.03 | 209.8133 | 3.1367 | 212.8333 | 8.1867 | 895 | 57.8933 | 0.24533
2019-12-03 17:30:00 | 2.3733 | 164.99 | 2.73 | 181.3 | 3.19 | 220.3333 | 3.21 | 227.5 | 7.8667 | 895 | 57.6533 | 0.764
2019-12-03 17:45:00 | 2.0767 | 156.8833 | 2.39 | 172.4 | 2.97 | 215.3 | 3.11 | 229.4 | 7.52 | 894.5333 | 59.07 | 0.99067
2019-12-03 18:00:00 | 1.9767 | 166.1033 | 2.2767 | 182.5333 | 2.9167 | 214.9667 | 2.9767 | 226.88 | 7.3533 | 894 | 59.698 | 0.876
2019-12-03 18:15:00 | 2.0767 | 179.8867 | 2.39 | 197.6667 | 2.8 | 213.2667 | 2.79 | 222.74 | 7.2433 | 894 | 58.82 | 0.98867
2019-12-03 18:30:00 | 2.2233 | 182.62 | 2.5567 | 200.6667 | 2.9467 | 212.8 | 2.8833 | 216.6333 | 7.2887 | 894 | 55.4067 | 1.206
2019-12-03 18:45:00 | 2.4933 | 173.8833 | 2.8733 | 191.0667 | 3.3933 | 209.7333 | 3.28 | 216.9 | 7.23 | 894 | 54.5307 | 1.56
2019-12-03 19:00:00 | 2.4933 | 167.75 | 2.8667 | 184.3333 | 3.22 | 207.5333 | 3.1733 | 212.4333 | 7.25 | 894 | 55.1933 | 1.788
2019-12-03 19:15:00 | 2.4267 | 171.6267 | 2.8 | 188.6 | 3.25 | 204.9 | 3.4067 | 212.4333 | 7.2033 | 894.4667 | 56.4267 | 1.7767
2019-12-03 19:30:00 | 2.1867 | 182.7933 | 2.52 | 200.8667 | 3.33 | 208.5 | 3.3467 | 213.9 | 7.0633 | 895 | 58.1867 | 1.644
2019-12-03 19:45:00 | 1.5233 | 170.3867 | 1.7633 | 187.2333 | 2.3667 | 206.5333 | 2.5267 | 204.9 | 7.0133 | 895 | 59.2167 | 1.446
2019-12-03 20:00:00 | 1.0833 | 168.0933 | 1.2567 | 184.7133 | 1.92 | 197.0667 | 2.2867 | 211.3 | 6.9933 | 895 | 59.7033 | 1.3447
2019-12-03 20:15:00 | 1.7133 | 172.9033 | 1.97 | 190 | 2.2767 | 191.4 | 2.3367 | 202.3667 | 6.8 | 895.4667 | 60.8633 | 1.208
2019-12-03 20:30:00 | 2.66 | 169.5033 | 3.0567 | 186.2667 | 3.2767 | 187.4667 | 3.1167 | 192.9 | 6.48 | 896 | 63.75 | 1.0213
2019-12-03 20:45:00 | 2.3133 | 167.15 | 2.66 | 183.6667 | 3.06 | 185.7667 | 3.3167 | 194.4667 | 6.3533 | 896 | 66.0967 | 0.98
2019-12-03 21:00:00 | 1.7267 | 166.7167 | 1.9867 | 183.2 | 2.3467 | 182.1 | 2.6233 | 221.6 | 6.4933 | 896 | 66.0567 | 0.334
2019-12-03 21:15:00 | 1.74 | 164.32 | 2.0133 | 180.5667 | 2.3167 | 173.9 | 2.4267 | 205.4333 | 6.49 | 896 | 65.974 | 0
2019-12-03 21:30:00 | 1.8467 | 159.5867 | 2.1267 | 175.3667 | 2.3367 | 163.5667 | 2.5613 | 176.9667 | 6.3913 | 896.1333 | 65.5633 | 0
2019-12-03 21:45:00 | 1.4467 | 170.3833 | 1.6767 | 187.2333 | 1.89 | 164.9533 | 2.06 | 206.4 | 6.4367 | 897 | 64.1333 | 0
2019-12-03 22:00:00 | 1.3 | 167.1327 | 1.5033 | 183.66 | 1.8433 | 179.4333 | 2.0667 | 208.8667 | 6.4967 | 897 | 62.92 | 0
2019-12-03 22:15:00 | 0.57333 | 166.8527 | 0.66 | 183.3533 | 1.1433 | 187.5 | 1.2333 | 193.6 | 6.2767 | 897 | 63.2867 | 0
2019-12-03 22:30:00 | 0.19333 | 166.81 | 0.23333 | 183.3 | 0.38333 | 187.42 | 0.60667 | 193.6 | 6.1233 | 897 | 64.0533 | 0
2019-12-03 22:45:00 | 0.04 | 166.81 | 0.046667 | 183.3 | 0.073333 | 187.4467 | 0.31667 | 193.6 | 6 | 897 | 65.6667 | 0
2019-12-03 23:00:00 | 0.6 | 166.81 | 0.69333 | 183.3 | 1.04 | 187.42 | 1.5367 | 193.6 | 6.2467 | 897 | 64.8067 | 0
2019-12-03 23:15:00 | 1.3387 | 166.81 | 1.5487 | 183.3 | 1.6393 | 187.4 | 1.832 | 180.2 | 6.5107 | 897 | 62.9027 | 0
2019-12-03 23:30:00 | 1.2233 | 166.8633 | 1.4133 | 183.3667 | 1.6533 | 185.0667 | 2.0567 | 176.4333 | 6.52 | 897 | 61.9667 | 0
2019-12-03 23:45:00 | 0.59333 | 166.81 | 0.69333 | 183.3 | 1.1767 | 177.7 | 1.9933 | 176.1533 | 6.2433 | 897 | 62.9633 | 0