## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-04 00:00:00 | 0.26714 | 166.81 | 0.30857 | 183.3 | 0.51786 | 177.7 | 2.0914 | 175.3143 | 5.9743 | 897 | 63.94 | 0
2019-12-04 00:15:00 | 0.24667 | 166.81 | 0.29333 | 183.3 | 0.48667 | 177.6533 | 1.7367 | 172 | 5.6733 | 897 | 65.38 | 0
2019-12-04 00:30:00 | 0 | 167.4807 | 0 | 184.0467 | 0 | 177.6 | 1.1087 | 171.84 | 5.2867 | 897 | 67.02 | 0
2019-12-04 00:45:00 | 0.21333 | 208.2667 | 0.24667 | 228.8667 | 0 | 177.6 | 0.79333 | 171.8 | 5.0933 | 897 | 68.0967 | 0
2019-12-04 01:00:00 | 0.70667 | 289.1893 | 0.82 | 317.7867 | 0 | 177.6 | 0.086667 | 171.8 | 5.0933 | 897 | 68.73 | 0
2019-12-04 01:15:00 | 1.03 | 0.05 | 1.1967 | 0.05 | 0.34 | 177.6 | 0 | 171.8 | 4.7367 | 897 | 72.6 | 0
2019-12-04 01:30:00 | 1.71 | 0.05 | 1.9767 | 0.05 | 1.6 | 68.2267 | 0.026667 | 171.7867 | 4.3367 | 897 | 74.88 | 0
2019-12-04 01:45:00 | 2.0467 | 0.69667 | 2.35 | 0.76333 | 2.0467 | 1.2333 | 0.46667 | 114.7733 | 4.1833 | 897 | 75.59 | 0
2019-12-04 02:00:00 | 2.4467 | 8.89 | 2.8167 | 9.7633 | 2.6267 | 0.52 | 1.7733 | 7.2467 | 3.81 | 897 | 77.2233 | 0
2019-12-04 02:15:00 | 2.97 | 100.1433 | 3.42 | 110.04 | 3.3733 | 0.7 | 2.6767 | 16.44 | 3.5933 | 897 | 78.6233 | 0
2019-12-04 02:30:00 | 3.17 | 313.5967 | 3.6467 | 344.6 | 3.8733 | 1.8 | 3.1833 | 18.2533 | 3.64 | 897 | 78.2167 | 0
2019-12-04 02:45:00 | 3.4587 | 235.8387 | 3.9887 | 259.1493 | 4.1047 | 1.9767 | 3.9413 | 12.47 | 3.5333 | 897 | 78.7133 | 0.054667
2019-12-04 03:00:00 | 3.792 | 186.248 | 4.364 | 204.664 | 4.238 | 5.478 | 4.186 | 16.58 | 3.538 | 897 | 78.6 | 0.924
2019-12-04 03:15:00 | 3.8633 | 320.81 | 4.44 | 352.5333 | 4.2667 | 0.75 | 4.2267 | 17.0433 | 3.4867 | 897 | 78.7967 | 2.252
2019-12-04 03:30:00 | 3.3167 | 303.5833 | 3.8133 | 333.6 | 4.2267 | 5.09 | 4.3733 | 9.0167 | 3.24 | 897 | 80.0633 | 4.3973
2019-12-04 03:45:00 | 3.4267 | 214.6667 | 3.9367 | 235.8967 | 4.4467 | 4.2633 | 4.7933 | 7.1867 | 2.5733 | 897 | 84 | 4.8973
2019-12-04 04:00:00 | 3.5533 | 206.78 | 4.0833 | 227.23 | 4.3533 | 1.51 | 5.0133 | 8.8067 | 2.3467 | 897 | 85.3333 | 6.1033
2019-12-04 04:15:00 | 3.5533 | 206.78 | 4.0833 | 227.23 | 4.3533 | 1.51 | 5.0133 | 8.8067 | 2.3467 | 897 | 85.3333 | 6.1033
2019-12-04 04:30:00 | 3.5533 | 206.78 | 4.0833 | 227.23 | 4.3533 | 1.51 | 5.0133 | 8.8067 | 2.3467 | 897 | 85.3333 | 6.1033
2019-12-04 04:45:00 | 3.5533 | 206.78 | 4.0833 | 227.23 | 4.3533 | 1.51 | 5.0133 | 8.8067 | 2.3467 | 897 | 85.3333 | 6.1033
2019-12-04 05:00:00 | 3.5533 | 206.78 | 4.0833 | 227.23 | 4.3533 | 1.51 | 5.0133 | 8.8067 | 2.3467 | 897 | 85.3333 | 6.1033
2019-12-04 05:15:00 | 3.7767 | 314.2867 | 4.3433 | 345.3667 | 6.15 | 13.46 | 6.5933 | 20.23 | 1.6367 | 896 | 89.2533 | 17.712
2019-12-04 05:30:00 | 3.7767 | 314.2867 | 4.3433 | 345.3667 | 6.15 | 13.46 | 6.5933 | 20.23 | 1.6367 | 896 | 89.2533 | 17.712
2019-12-04 05:45:00 | 3.7767 | 314.2867 | 4.3433 | 345.3667 | 6.15 | 13.46 | 6.5933 | 20.23 | 1.6367 | 896 | 89.2533 | 17.712
2019-12-04 06:00:00 | 3.7767 | 314.2867 | 4.3433 | 345.3667 | 6.15 | 13.46 | 6.5933 | 20.23 | 1.6367 | 896 | 89.2533 | 17.712
2019-12-04 06:15:00 | 3.7767 | 314.2867 | 4.3433 | 345.3667 | 6.15 | 13.46 | 6.5933 | 20.23 | 1.6367 | 896 | 89.2533 | 17.712
2019-12-04 06:30:00 | 3.7767 | 314.2867 | 4.3433 | 345.3667 | 6.15 | 13.46 | 6.5933 | 20.23 | 1.6367 | 896 | 89.2533 | 17.712
2019-12-04 06:45:00 | 4 | 316.3767 | 4.6033 | 347.6667 | 6.5267 | 229.8067 | 6.9367 | 9.1467 | 1.6 | 896 | 89.6 | 20.2953
2019-12-04 07:00:00 | 3.9867 | 324.858 | 4.5967 | 356.9867 | 6.8667 | 0.91333 | 7.07 | 17.8733 | 1.58 | 896 | 89.9333 | 23.194
2019-12-04 07:15:00 | 3.97 | 139.3633 | 4.5633 | 153.1467 | 7.09 | 5.7733 | 7.23 | 7.6233 | 1.5667 | 896.4667 | 90.3 | 21.6073
2019-12-04 07:30:00 | 3.97 | 314.9633 | 4.5633 | 346.1 | 6.7767 | 3.0333 | 7.1567 | 12.75 | 1.46 | 897 | 91.1667 | 21.9473
2019-12-04 07:45:00 | 3.8867 | 311.5367 | 4.4833 | 342.3333 | 6.4373 | 11.5733 | 7.1833 | 11.4933 | 1.43 | 897 | 91.9333 | 20.6373
2019-12-04 08:00:00 | 4.0467 | 105.15 | 4.6567 | 115.54 | 6.38 | 21.56 | 7.1367 | 15.1533 | 1.4233 | 897 | 91.7867 | 18.4887
2019-12-04 08:15:00 | 4.3133 | 76.3733 | 4.9667 | 83.9267 | 6.4767 | 10.7833 | 6.82 | 6.7 | 1.5967 | 897 | 90.9333 | 20.5227
2019-12-04 08:30:00 | 4.42 | 269.64 | 5.0867 | 296.3 | 6.6433 | 7.2033 | 6.8533 | 11.08 | 1.6567 | 897.1333 | 90.9333 | 24.4433
2019-12-04 08:45:00 | 4.2333 | 323.6967 | 4.87 | 355.7 | 6.63 | 9.6267 | 7.1133 | 11.8333 | 1.84 | 898 | 91.0667 | 25.5053
2019-12-04 09:00:00 | 4.22 | 119.09 | 4.8633 | 130.8533 | 6.5353 | 6.8667 | 7.1467 | 11.2133 | 2.28 | 898.1333 | 89.1333 | 27.3007
2019-12-04 09:15:00 | 4.6267 | 47.9933 | 5.3267 | 52.7367 | 7.8533 | 7.7333 | 8.1167 | 18.2867 | 3.5733 | 899 | 83.7667 | 24.2733
2019-12-04 09:30:00 | 4.7933 | 201.74 | 5.5133 | 221.6833 | 7.8467 | 7.04 | 7.9567 | 23.7133 | 3.9267 | 899 | 81.5667 | 20.8387
2019-12-04 09:45:00 | 4.2667 | 29.98 | 4.9167 | 32.9433 | 7.08 | 11.0067 | 7.4467 | 19.91 | 4.4333 | 899.4667 | 79.6 | 18.0727
2019-12-04 10:00:00 | 4.3933 | 2.4133 | 5.0567 | 2.6433 | 6.8 | 7.8133 | 7.5133 | 10.6367 | 4.0733 | 900 | 81.5 | 16.0433
2019-12-04 10:15:00 | 4.1 | 186.81 | 4.7233 | 205.2833 | 6.5733 | 14.2533 | 7.2233 | 18.7067 | 4.8133 | 900 | 79.0867 | 12.042
2019-12-04 10:30:00 | 4.0533 | 15.0167 | 4.67 | 16.5033 | 6.4067 | 13.8267 | 6.47 | 17.96 | 5.2467 | 900 | 76.9933 | 10.3113
2019-12-04 10:45:00 | 3.76 | 180.0567 | 4.33 | 197.8633 | 6.1633 | 22.1533 | 6.2567 | 11.41 | 5.7733 | 900 | 75.3067 | 8.152
2019-12-04 11:00:00 | 3.7133 | 14.43 | 4.2767 | 15.85 | 5.51 | 5.7467 | 5.67 | 9.63 | 5.64 | 900 | 75.6533 | 5.41
2019-12-04 11:15:00 | 3.9747 | 18.9253 | 4.578 | 20.7887 | 5.59 | 11.53 | 5.908 | 7.6513 | 5.1747 | 900 | 77.5193 | 4.0047
2019-12-04 11:30:00 | 3.94 | 22.9433 | 4.5267 | 25.21 | 5.4433 | 7.62 | 5.8667 | 15.0767 | 5.6933 | 900 | 75.9733 | 2.4533
2019-12-04 11:45:00 | 3.8067 | 19.2533 | 4.38 | 21.1533 | 5.6967 | 4.9 | 5.8433 | 8.6733 | 6.4833 | 900 | 73.25 | 1.8773
2019-12-04 12:00:00 | 3.6733 | 49.2 | 4.2333 | 54.06 | 5.43 | 9.2933 | 5.41 | 6.1933 | 7.4967 | 900 | 68.3367 | 1.148
2019-12-04 12:15:00 | 3.4833 | 32.34 | 4.01 | 35.53 | 4.8233 | 7.4467 | 4.8467 | 10.4233 | 7.89 | 900 | 66.3267 | 0.66933
2019-12-04 12:30:00 | 3.2633 | 39.7 | 3.7633 | 43.6167 | 4.21 | 15.1 | 4.68 | 19.7567 | 7.8567 | 900 | 65.9533 | 0.47467
2019-12-04 12:45:00 | 3.5033 | 39.4333 | 4.0333 | 43.3233 | 4.8333 | 14.5733 | 5.0667 | 20.51 | 8.7 | 900 | 63.0067 | 0.27933
2019-12-04 13:00:00 | 3.37 | 25.98 | 3.8733 | 28.5367 | 4.8667 | 15.7067 | 5.1333 | 16.41 | 9.3 | 900 | 61.4867 | 0.10533
2019-12-04 13:15:00 | 3.2333 | 14.7667 | 3.7233 | 16.22 | 4.3133 | 13.66 | 4.4867 | 19.67 | 9.9267 | 900 | 59.16 | 0
2019-12-04 13:30:00 | 3.1 | 8.7533 | 3.57 | 9.6067 | 4.0867 | 14.24 | 4.2 | 21.13 | 10.1933 | 900 | 57.5867 | 0
2019-12-04 13:45:00 | 2.8333 | 112.6633 | 3.2733 | 123.8 | 3.9333 | 18.9867 | 3.8267 | 28.02 | 10.6333 | 900 | 55.3167 | 0
2019-12-04 14:00:00 | 2.18 | 119.5833 | 2.52 | 131.4 | 3.12 | 21.14 | 2.9467 | 36.4267 | 11.0667 | 899.8667 | 53.33 | 0
2019-12-04 14:15:00 | 1.5213 | 21.2193 | 1.754 | 23.3093 | 1.7887 | 27.8747 | 1.654 | 21.5867 | 11.4847 | 899 | 51.0953 | 0
2019-12-04 14:30:00 | 1.1267 | 20.19 | 1.2967 | 22.1867 | 1.2433 | 26.3033 | 0.83333 | 233.49 | 11.92 | 899 | 48.66 | 0
2019-12-04 14:45:00 | 0.92067 | 270.2267 | 1.06 | 296.9467 | 1.1453 | 202.04 | 1.2447 | 157.88 | 12.0293 | 899 | 48.5933 | 0
2019-12-04 15:00:00 | 1.758 | 148.176 | 2.02 | 162.82 | 1.986 | 161.88 | 1.758 | 118.6 | 11.224 | 899 | 56.302 | 0
2019-12-04 15:15:00 | 2.27 | 164.7733 | 2.61 | 181.0667 | 2.4767 | 177.9667 | 2.2133 | 172.6333 | 10.8867 | 899 | 60.14 | 0
2019-12-04 15:30:00 | 2.4767 | 169.404 | 2.85 | 186.16 | 2.6633 | 166.7 | 2.46 | 185.9667 | 10.5333 | 898.8667 | 60.224 | 0
2019-12-04 15:45:00 | 2.08 | 160.9233 | 2.39 | 176.8333 | 2.38 | 212.1 | 2.2467 | 214.8333 | 10.0733 | 898 | 61.2933 | 0
2019-12-04 16:00:00 | 1.9267 | 158.4433 | 2.2167 | 174.1 | 2.14 | 205.1 | 1.9667 | 224.8333 | 9.6867 | 898 | 61.9267 | 0
2019-12-04 16:15:00 | 1.2567 | 172.2033 | 1.4467 | 189.2333 | 1.4867 | 217.3 | 1.3067 | 212.7333 | 9.4467 | 898 | 62.8033 | 0
2019-12-04 16:30:00 | 0.70333 | 163.95 | 0.81333 | 180.1667 | 0.93333 | 216.7667 | 0.56667 | 238.1333 | 9.4733 | 898 | 61.5167 | 0
2019-12-04 16:45:00 | 0.78667 | 168.5887 | 0.91 | 185.26 | 0.99 | 211.0667 | 0.89 | 219.8333 | 9.3633 | 898 | 58.7433 | 0
2019-12-04 17:00:00 | 1.04 | 153.5647 | 1.1967 | 168.74 | 1.3167 | 197.1867 | 1.25 | 211.5133 | 9.1567 | 898 | 61.8167 | 0
2019-12-04 17:15:00 | 1.1907 | 155.8107 | 1.3727 | 171.2133 | 1.5373 | 197.1467 | 1.7013 | 205.22 | 8.91 | 898 | 61.156 | 0
2019-12-04 17:30:00 | 1.5067 | 176.36 | 1.7433 | 193.8 | 1.9167 | 198.9067 | 2.1133 | 199.1 | 8.8413 | 898 | 53.4833 | 0
2019-12-04 17:45:00 | 1.9267 | 177.7667 | 2.22 | 195.3333 | 2.4533 | 203.1 | 2.4133 | 200.6 | 8.8413 | 898 | 49.6133 | 0
2019-12-04 18:00:00 | 2.1667 | 181.88 | 2.5 | 199.8667 | 2.7133 | 192.8333 | 2.7133 | 201.04 | 8.7667 | 898 | 49.5333 | 0
2019-12-04 18:15:00 | 2.5267 | 180.4333 | 2.9067 | 198.2667 | 3.1667 | 204.0333 | 3.0667 | 208.2333 | 8.6767 | 898 | 49.9433 | 0
2019-12-04 18:30:00 | 2.6467 | 194.6933 | 3.0533 | 213.9333 | 3.3333 | 204.7 | 3.22 | 198.9 | 8.4633 | 898 | 55.85 | 0.31533
2019-12-04 18:45:00 | 2.694 | 172.9227 | 3.0973 | 190.02 | 3.7047 | 219.7267 | 3.5547 | 205.2533 | 8.1733 | 898 | 60.8493 | 1.052
2019-12-04 19:00:00 | 2.5133 | 157.9133 | 2.89 | 173.5333 | 3.2433 | 200.5533 | 3.1867 | 201.9667 | 8.05 | 898 | 61.5833 | 2.2467
2019-12-04 19:15:00 | 2.95 | 172.06 | 3.3933 | 189.0667 | 3.69 | 192.6667 | 3.6033 | 203.1333 | 7.8533 | 898 | 64.94 | 2.8387
2019-12-04 19:30:00 | 2.7233 | 175.9333 | 3.1333 | 193.3333 | 3.49 | 207.9333 | 3.6433 | 212.8 | 7.94 | 898.1333 | 66.0067 | 1.7367
2019-12-04 19:45:00 | 2.1733 | 161.16 | 2.4967 | 177.1 | 2.8467 | 217.2 | 2.8233 | 215.9333 | 7.7533 | 899 | 67.5267 | 0.79067
2019-12-04 20:00:00 | 2.08 | 155.82 | 2.3967 | 171.2333 | 2.6667 | 204.4667 | 2.9567 | 213.4 | 7.4933 | 899 | 69.0467 | 0
2019-12-04 20:15:00 | 2.2667 | 156.6233 | 2.6067 | 172.1 | 3.01 | 182.4333 | 2.8833 | 204.2333 | 7.17 | 899 | 71.78 | 0.56933
2019-12-04 20:30:00 | 2.7067 | 154.55 | 3.1133 | 169.8333 | 3.4767 | 183.5 | 3.3033 | 208.9 | 7.082 | 899 | 72.432 | 1.6927
2019-12-04 20:45:00 | 3.2267 | 154.31 | 3.7133 | 169.5667 | 4.0133 | 182.2 | 3.77 | 185 | 7.06 | 899 | 73.3267 | 1.7187
2019-12-04 21:00:00 | 3.3867 | 156.6167 | 3.9 | 172.1 | 4.22 | 182.9733 | 4.1433 | 184.2267 | 7.22 | 899 | 73.0947 | 2.3567
2019-12-04 21:15:00 | 3.5033 | 159.6833 | 4.0267 | 175.4667 | 4.0867 | 182.4333 | 4.48 | 182.8667 | 7.4067 | 899.4667 | 72.3333 | 2.0227
2019-12-04 21:30:00 | 2.9167 | 178.7233 | 3.36 | 196.4 | 3.48 | 203.5667 | 3.9 | 193.4667 | 7.4067 | 900 | 72.8867 | 2.0347
2019-12-04 21:45:00 | 2.53 | 158.0733 | 2.9167 | 173.7 | 3.0733 | 185.7 | 3.2833 | 193.1 | 7.1267 | 900 | 74.7633 | 1.7033
2019-12-04 22:00:00 | 2.238 | 161.3427 | 2.574 | 177.3 | 2.6813 | 179.06 | 3.1367 | 181.7 | 7.072 | 900 | 74.6767 | 1.434
2019-12-04 22:15:00 | 2.6493 | 153.3667 | 3.0447 | 168.5333 | 3.2747 | 178.64 | 3.4113 | 184.9 | 6.9913 | 900 | 74.352 | 1.2253
2019-12-04 22:30:00 | 2.6367 | 156.82 | 3.0333 | 172.3333 | 3.6 | 182.4333 | 3.5633 | 184.1667 | 6.69 | 900 | 75.7533 | 0.822
2019-12-04 22:45:00 | 2.5967 | 152.22 | 2.9867 | 167.2667 | 3.3867 | 178.4667 | 3.64 | 181.2 | 6.6133 | 900 | 76.52 | 0.68867
2019-12-04 23:00:00 | 2.61 | 160.9467 | 3 | 176.8667 | 3.3667 | 176.8667 | 3.7533 | 180.8 | 6.68 | 900 | 76.2467 | 0.48267
2019-12-04 23:15:00 | 2.3667 | 158.8667 | 2.7267 | 174.5667 | 3.2867 | 177.1333 | 3.83 | 176.9 | 6.672 | 900 | 76.156 | 0.436
2019-12-04 23:30:00 | 2.5533 | 168.32 | 2.9467 | 184.9667 | 3.4467 | 179.3333 | 3.7633 | 177.8733 | 6.6467 | 900 | 75.8413 | 0.21667
2019-12-04 23:45:00 | 2.4167 | 159.8567 | 2.7767 | 175.6667 | 3.3 | 177.9333 | 3.2033 | 183.0333 | 6.6133 | 900 | 75.55 | 0