## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-05 00:00:00 | 1.7336 | 167.0214 | 2.0014 | 183.5429 | 2.3914 | 177.9643 | 2.4586 | 182.6714 | 6.5614 | 900 | 75.29 | 0
2019-12-05 00:15:00 | 1.78 | 170.45 | 2.0533 | 187.3 | 2.0467 | 188.2333 | 1.87 | 184.1933 | 6.67 | 900 | 75.01 | 0
2019-12-05 00:30:00 | 2.02 | 163.2233 | 2.32 | 179.3667 | 2.4867 | 180.8333 | 2.3633 | 178.4867 | 6.6433 | 900 | 75.3633 | 0
2019-12-05 00:45:00 | 2.1787 | 157.9393 | 2.508 | 173.5533 | 3.02 | 176.9467 | 2.7447 | 175.32 | 6.3613 | 900 | 76.53 | 0
2019-12-05 01:00:00 | 2.62 | 163.26 | 3.0233 | 179.4 | 3.5267 | 176.0667 | 3.3867 | 179.3333 | 6.1633 | 899.2 | 77.28 | 0
2019-12-05 01:15:00 | 2.0267 | 157.2867 | 2.33 | 172.8333 | 2.85 | 177.8933 | 3 | 179.4333 | 6.0167 | 899 | 78.0267 | 0
2019-12-05 01:30:00 | 1.364 | 160.17 | 1.572 | 176 | 2.032 | 182.96 | 2.344 | 175.86 | 5.95 | 899 | 78.316 | 0
2019-12-05 01:45:00 | 1.1867 | 177.5733 | 1.3733 | 195.1333 | 1.6833 | 173.4 | 2.27 | 188.9333 | 6.03 | 899 | 78.0633 | 0
2019-12-05 02:00:00 | 2.0133 | 168.84 | 2.32 | 185.5333 | 2.6367 | 184.8 | 3.0833 | 186.6 | 6.0167 | 899 | 78.5433 | 0
2019-12-05 02:15:00 | 2.0067 | 162.56 | 2.3067 | 178.6333 | 2.8567 | 181.6667 | 3.3333 | 181.4333 | 5.87 | 899 | 78.9067 | 0
2019-12-05 02:30:00 | 1.8267 | 169.06 | 2.1 | 185.7667 | 2.49 | 187.3333 | 2.9933 | 175.6333 | 5.7567 | 899 | 79.46 | 0
2019-12-05 02:45:00 | 1.8933 | 172.1733 | 2.18 | 189.2 | 2.5333 | 178.2667 | 3.1367 | 175.1333 | 5.6833 | 899 | 79.8093 | 0
2019-12-05 03:00:00 | 2.02 | 153.7333 | 2.3267 | 168.9333 | 2.8333 | 166.4667 | 3.5367 | 175.0667 | 5.51 | 899 | 81.0333 | 0
2019-12-05 03:15:00 | 2.32 | 164.8067 | 2.6667 | 181.1 | 3.14 | 177 | 3.78 | 178 | 5.3833 | 899 | 81.8 | 0.504
2019-12-05 03:30:00 | 2.1133 | 169.2933 | 2.44 | 186.0333 | 2.74 | 188.1333 | 3.2933 | 178.1333 | 5.5033 | 899 | 81.3333 | 0.946
2019-12-05 03:45:00 | 2.0067 | 140.38 | 2.3133 | 154.2667 | 2.5567 | 197.0667 | 3.29 | 183.0333 | 5.0133 | 899 | 83.4 | 1.144
2019-12-05 04:00:00 | 2.2467 | 158.28 | 2.5867 | 173.9333 | 2.8167 | 185.6667 | 4.07 | 175.6333 | 4.94 | 899 | 83.7867 | 0.124
2019-12-05 04:15:00 | 1.82 | 147.6967 | 2.0933 | 162.3 | 2.5967 | 165.6333 | 3.4867 | 171.9667 | 5.03 | 899 | 83.7 | 0
2019-12-05 04:30:00 | 1.7533 | 180.15 | 2.0267 | 197.9667 | 2.4833 | 170.7667 | 3.3 | 169.1667 | 5.05 | 899 | 83.6067 | 0.16667
2019-12-05 04:45:00 | 1.9027 | 177.07 | 2.2 | 194.58 | 2.638 | 166.7867 | 3.7433 | 167.58 | 4.8193 | 899 | 84.4133 | 0.90333
2019-12-05 05:00:00 | 1.53 | 161.07 | 1.7667 | 177 | 2.34 | 174.4333 | 3.7467 | 167.3667 | 4.6787 | 898.8667 | 85.0133 | 0.43267
2019-12-05 05:15:00 | 1.3867 | 163.1633 | 1.59 | 179.3 | 2.2667 | 167.6333 | 3.6233 | 170.7 | 4.7167 | 898 | 85.0533 | 0
2019-12-05 05:30:00 | 1.0267 | 158.6833 | 1.1767 | 174.3667 | 1.8467 | 165.1667 | 3.1433 | 173.3 | 4.5967 | 898 | 85.5467 | 0
2019-12-05 05:45:00 | 1.4533 | 167.5633 | 1.6767 | 184.1333 | 1.9633 | 181.2667 | 3.02 | 169.1333 | 4.3233 | 898 | 86.8333 | 0
2019-12-05 06:00:00 | 1.228 | 148.446 | 1.42 | 163.12 | 2.022 | 185.72 | 3.194 | 166.56 | 3.97 | 898 | 88.34 | 0.031333
2019-12-05 06:15:00 | 0.48667 | 136.48 | 0.56333 | 149.9667 | 0.91667 | 184.46 | 2.3133 | 168.7333 | 3.7633 | 898 | 90.1 | 0
2019-12-05 06:30:00 | 0.23333 | 237.3 | 0.27 | 260.7667 | 0.37 | 172.8333 | 2.0467 | 164.4667 | 3.73 | 898.8 | 90.1667 | 0
2019-12-05 06:45:00 | 0.6 | 264.286 | 0.7 | 290.42 | 0.93333 | 166.2 | 2.0433 | 169.8 | 3.7567 | 899 | 90.3667 | 0
2019-12-05 07:00:00 | 1.1133 | 198.7167 | 1.2867 | 218.3667 | 1.8467 | 172.24 | 2.63 | 170.4 | 4.25 | 899 | 88.5 | 0
2019-12-05 07:15:00 | 1.1067 | 188.9727 | 1.2733 | 207.6533 | 2.0133 | 176.9 | 2.9033 | 171.7 | 4.2067 | 899 | 88.2667 | 0
2019-12-05 07:30:00 | 1.1133 | 188.93 | 1.2867 | 207.6 | 2.02 | 180.0333 | 3.0833 | 172.3667 | 3.9133 | 899 | 89.5333 | 0
2019-12-05 07:45:00 | 0.93333 | 188.93 | 1.0733 | 207.6 | 1.8533 | 190.3667 | 3.02 | 176.1333 | 3.4667 | 899 | 91.4333 | 0
2019-12-05 08:00:00 | 0.58667 | 188.93 | 0.68 | 207.6 | 1.16 | 185.5 | 2.54 | 191.2667 | 3.26 | 899 | 92.8333 | 0
2019-12-05 08:15:00 | 0.13 | 214.0207 | 0.15 | 235.18 | 0 | 185.5 | 1.7333 | 202.3333 | 3.4533 | 899 | 92.6 | 0
2019-12-05 08:30:00 | 0.13 | 264.2087 | 0.15 | 290.34 | 0 | 185.5 | 0.64667 | 202 | 3.3467 | 899.1333 | 92.8 | 0
2019-12-05 08:45:00 | 0.55333 | 216.5367 | 0.63667 | 237.95 | 0.48667 | 185.5467 | 0.28 | 202.0467 | 3.29 | 900 | 92.5 | 0
2019-12-05 09:00:00 | 0.57333 | 0.11 | 0.65667 | 0.11667 | 0.26 | 216.2667 | 0.92 | 202.1133 | 3.33 | 900.1333 | 91.2333 | 0
2019-12-05 09:15:00 | 0.053333 | 164.62 | 0.063333 | 180.9 | 0.026667 | 231.6 | 1.3567 | 212.5667 | 4.3933 | 901 | 89.3667 | 0
2019-12-05 09:30:00 | 0.066667 | 164.556 | 0.083333 | 180.82 | 0.08 | 231.5067 | 1.5167 | 241.5 | 5.4133 | 901 | 86.1667 | 0
2019-12-05 09:45:00 | 1.0433 | 154.0333 | 1.2 | 169.2667 | 0.97667 | 202.8333 | 1.7533 | 239.3333 | 5.6333 | 901 | 85.7667 | 0
2019-12-05 10:00:00 | 1.2433 | 155.3133 | 1.4333 | 170.6667 | 1.0367 | 168.3 | 1.5667 | 230.5333 | 5.4267 | 901.1333 | 86.6333 | 0
2019-12-05 10:15:00 | 1.4267 | 140.02 | 1.65 | 153.8667 | 1.4967 | 222.8667 | 2.01 | 214.9333 | 5.76 | 902 | 85.9 | 0
2019-12-05 10:30:00 | 1.64 | 159.1267 | 1.89 | 174.8667 | 1.69 | 196 | 2.1233 | 204.2667 | 6.3067 | 902 | 83.7667 | 0
2019-12-05 10:45:00 | 2.2733 | 156.17 | 2.6133 | 171.6 | 2.37 | 183.7333 | 2.5267 | 173.8667 | 6.2467 | 902 | 83.6667 | 0
2019-12-05 11:00:00 | 2.5333 | 150.7633 | 2.92 | 165.6667 | 2.6633 | 175.4667 | 2.4533 | 158.5333 | 6.0667 | 902 | 83.6 | 0
2019-12-05 11:15:00 | 2.7267 | 156.13 | 3.1467 | 171.5667 | 2.9067 | 179.3333 | 2.5633 | 189.5 | 6.3667 | 902 | 82.6667 | 0
2019-12-05 11:30:00 | 3.06 | 161.6567 | 3.52 | 177.6333 | 3.1667 | 180 | 3.0233 | 204.8333 | 6.28 | 901.8667 | 83.6 | 0
2019-12-05 11:45:00 | 3.06 | 172.66 | 3.52 | 189.7333 | 3.2167 | 189.5 | 3.1467 | 211.5333 | 6.45 | 901 | 83.7333 | 0
2019-12-05 12:00:00 | 3.086 | 143.82 | 3.546 | 158.04 | 3.308 | 210.34 | 3.246 | 200.7 | 6.872 | 901 | 82.64 | 0.016667
2019-12-05 12:15:00 | 3.4267 | 141.24 | 3.95 | 155.2 | 3.67 | 194.5667 | 3.5667 | 203.1 | 7.0433 | 901 | 82.3133 | 0.19267
2019-12-05 12:30:00 | 3.34 | 150.9467 | 3.8433 | 165.8667 | 3.6033 | 188.9667 | 3.7067 | 194.6333 | 7.2967 | 901 | 82.0333 | 0.69333
2019-12-05 12:45:00 | 3.54 | 154.49 | 4.0733 | 169.7667 | 3.8233 | 185.0667 | 3.86 | 171.9667 | 7.4633 | 901 | 80.8 | 1.7807
2019-12-05 13:00:00 | 3.6667 | 149.33 | 4.22 | 164.1 | 3.95 | 180.7333 | 4.06 | 194.1 | 7.6567 | 901 | 79.76 | 2.982
2019-12-05 13:15:00 | 3.382 | 142.516 | 3.8927 | 156.6067 | 3.832 | 185.0933 | 3.748 | 197.9133 | 8.05 | 900.5333 | 78.1953 | 3.082
2019-12-05 13:30:00 | 3.6867 | 150.0567 | 4.24 | 164.9 | 4.1067 | 155.7667 | 3.9767 | 173.9 | 8.3367 | 900 | 77.13 | 4.5647
2019-12-05 13:45:00 | 3.9167 | 140.84 | 4.5067 | 154.7667 | 4.3867 | 171.2667 | 4.2867 | 182.1333 | 8.48 | 900 | 76.6033 | 4.4293
2019-12-05 14:00:00 | 3.8633 | 132.5867 | 4.44 | 145.7 | 4.32 | 170.1333 | 4.3933 | 177.4 | 8.6453 | 900 | 76.4233 | 5.3807
2019-12-05 14:15:00 | 3.55 | 131.81 | 4.0867 | 144.8333 | 4.0667 | 163.2333 | 4.1267 | 190.6333 | 8.8233 | 900 | 76.41 | 5.67
2019-12-05 14:30:00 | 3.4567 | 146.0633 | 3.9733 | 160.5 | 4 | 214.5667 | 4.1333 | 228.1667 | 9.1567 | 900 | 75.6193 | 6.712
2019-12-05 14:45:00 | 3.48 | 187.3433 | 4.0067 | 205.8667 | 4.3667 | 225.4333 | 4.49 | 231.9 | 9.3933 | 900 | 74.3267 | 7.9227
2019-12-05 15:00:00 | 3.48 | 167.426 | 4.006 | 183.98 | 4.1 | 205.2 | 4.282 | 217.64 | 9.436 | 900 | 74.08 | 8.7087
2019-12-05 15:15:00 | 3.54 | 144.3 | 4.0733 | 158.5667 | 4.1833 | 229.3 | 4.2867 | 232.7 | 9.31 | 900 | 73.8993 | 7.798
2019-12-05 15:30:00 | 2.9333 | 158.74 | 3.38 | 174.4333 | 3.2567 | 198.9667 | 3.4867 | 189.4333 | 9.35 | 900 | 74.1153 | 7.73
2019-12-05 15:45:00 | 2.8833 | 129.25 | 3.3233 | 142.0333 | 3.28 | 213.4667 | 3.6067 | 215.9667 | 9.3067 | 900 | 73.6533 | 7.878
2019-12-05 16:00:00 | 2.7833 | 144.1167 | 3.2033 | 158.3667 | 3.2467 | 213 | 3.4 | 221.5667 | 9.2867 | 900 | 74.4 | 7.1847
2019-12-05 16:15:00 | 2.7747 | 175.4833 | 3.188 | 192.84 | 3.2547 | 204.48 | 3.3593 | 219.4 | 9.1553 | 900 | 74.5673 | 7.3127
2019-12-05 16:30:00 | 2.82 | 165.3733 | 3.2433 | 181.7333 | 3.4467 | 221.4 | 3.4667 | 236.48 | 9.0333 | 900 | 74.07 | 7.5673
2019-12-05 16:45:00 | 2.7533 | 173.72 | 3.1667 | 190.9 | 3.5333 | 198.6667 | 3.6967 | 200.3667 | 8.87 | 900 | 74.5673 | 7.712
2019-12-05 17:00:00 | 2.42 | 173.2333 | 2.7867 | 190.3667 | 3.12 | 192.0667 | 3.45 | 224.9667 | 8.4967 | 900 | 75.4833 | 7.5493
2019-12-05 17:15:00 | 2.6867 | 179.63 | 3.0967 | 197.4 | 3.5233 | 206.0333 | 3.9367 | 221.5333 | 7.9667 | 900 | 76.04 | 6.2713
2019-12-05 17:30:00 | 2.62 | 180.2927 | 3.0167 | 198.12 | 3.33 | 207.5667 | 3.6367 | 210.4667 | 7.7067 | 900 | 77.6467 | 8.2013
2019-12-05 17:45:00 | 2.72 | 181.55 | 3.1267 | 199.5 | 3.5033 | 209.1667 | 3.6567 | 215 | 7.4233 | 900 | 79.72 | 7.7373
2019-12-05 18:00:00 | 2.6 | 171.9633 | 2.9867 | 188.9667 | 3.19 | 212.4333 | 3.29 | 213.2667 | 7.4087 | 899.8667 | 80.0133 | 6.154
2019-12-05 18:15:00 | 2.34 | 176.4 | 2.6967 | 193.8333 | 2.83 | 200.6333 | 3.2267 | 207.3 | 7.3267 | 899 | 80.4 | 6.1333
2019-12-05 18:30:00 | 2.5867 | 164.8733 | 2.9767 | 181.1667 | 3.2633 | 186.3 | 3.5267 | 204.8467 | 7.26 | 899 | 80.4 | 6.2373
2019-12-05 18:45:00 | 2.32 | 171.93 | 2.68 | 188.9333 | 2.9733 | 208.2333 | 3.1733 | 216.8 | 7.1767 | 899 | 80.52 | 5.8313
2019-12-05 19:00:00 | 2.2733 | 174.3033 | 2.62 | 191.5333 | 3.0333 | 196.6333 | 3.0933 | 214.2667 | 7.03 | 899.1333 | 81.6667 | 7.5667
2019-12-05 19:15:00 | 2.68 | 153.5567 | 3.08 | 168.7333 | 3.3533 | 190.2333 | 3.5467 | 192.9 | 6.8267 | 899.5333 | 82.8333 | 7.0867
2019-12-05 19:30:00 | 2.7467 | 150.27 | 3.16 | 165.1333 | 3.3267 | 188.5667 | 3.3933 | 186.9667 | 6.8 | 899.8 | 83.2333 | 4.3387
2019-12-05 19:45:00 | 2.42 | 176.27 | 2.7833 | 193.7 | 2.93 | 199.6 | 2.9633 | 200.6 | 6.72 | 900 | 84.1 | 3.0327
2019-12-05 20:00:00 | 2.6133 | 168.33 | 3.01 | 184.9667 | 3.25 | 207.7333 | 3.4567 | 205.1333 | 6.76 | 900 | 84.2333 | 3.886
2019-12-05 20:15:00 | 3.08 | 156.6767 | 3.5433 | 172.1667 | 3.5767 | 188.8 | 3.9333 | 192 | 6.67 | 900 | 84.88 | 5.01
2019-12-05 20:30:00 | 3.2867 | 170.6967 | 3.7767 | 187.5667 | 3.91 | 186.4667 | 4.1733 | 191.7333 | 6.3967 | 900 | 86.8667 | 3.2527
2019-12-05 20:45:00 | 2.9733 | 157.82 | 3.4267 | 173.4333 | 3.5733 | 184.2 | 3.9333 | 195.8 | 6.3 | 900 | 88.0667 | 2.1907
2019-12-05 21:00:00 | 2.6133 | 157.6467 | 3.0133 | 173.2333 | 3.1933 | 188.6133 | 3.4867 | 196.6667 | 6.2853 | 900 | 88.6 | 2.1873
2019-12-05 21:15:00 | 2.34 | 172.0567 | 2.6933 | 189.0667 | 2.7533 | 180.2 | 2.9733 | 186.4 | 6.26 | 900 | 89 | 2.1133
2019-12-05 21:30:00 | 2.4667 | 156.89 | 2.84 | 172.4 | 2.8733 | 171.0667 | 3.0533 | 183.0533 | 6.24 | 900 | 88.9467 | 1.79
2019-12-05 21:45:00 | 2.4533 | 160.5833 | 2.8267 | 176.4667 | 3.05 | 173.9667 | 3.4267 | 178.2333 | 6.1333 | 900 | 89.0333 | 1.6213
2019-12-05 22:00:00 | 2.6733 | 149.9633 | 3.0867 | 164.8 | 3.39 | 175.5667 | 3.5533 | 179.6867 | 6.0733 | 900 | 89.3133 | 1.296
2019-12-05 22:15:00 | 2.4067 | 156.59 | 2.77 | 172.0667 | 2.9 | 173.7667 | 3.2433 | 181.6333 | 6.26 | 900 | 88.5667 | 1.07
2019-12-05 22:30:00 | 2.46 | 159.9767 | 2.8367 | 175.8 | 2.9 | 180.9 | 3.1033 | 182.8333 | 6.32 | 900 | 88.3 | 2.194
2019-12-05 22:45:00 | 2.79 | 161.7433 | 3.21 | 177.7333 | 3.23 | 186 | 3.1867 | 187.6333 | 6.36 | 900 | 88.1 | 2.336
2019-12-05 23:00:00 | 2.61 | 161.8633 | 3.0033 | 177.8667 | 3.07 | 186.3333 | 3.2933 | 185.9667 | 6.332 | 900 | 88.1133 | 2.5913
2019-12-05 23:15:00 | 2.5567 | 152.798 | 2.938 | 167.9133 | 2.9813 | 186.9733 | 3.2673 | 187.8267 | 6.3173 | 900 | 88.32 | 2.4893
2019-12-05 23:30:00 | 2.9533 | 155.5533 | 3.4 | 170.9333 | 3.4133 | 183.3 | 3.6733 | 184.4333 | 6.36 | 900 | 87.7 | 2.008
2019-12-05 23:45:00 | 2.7467 | 159.28 | 3.1633 | 175.0333 | 3.3633 | 179.1267 | 3.82 | 179.0667 | 6.3067 | 900 | 87.6467 | 2.0047