## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-06 00:00:00 | 2.8621 | 166.275 | 3.2929 | 182.7214 | 3.4429 | 165.4714 | 3.9464 | 174.1571 | 6.2671 | 900 | 87.5714 | 2.1493
2019-12-06 00:15:00 | 2.3467 | 157.7667 | 2.7 | 173.3667 | 2.7867 | 179.5667 | 3.2267 | 183.5333 | 6.2833 | 900 | 87.2 | 1.6667
2019-12-06 00:30:00 | 2.42 | 152.4867 | 2.78 | 167.5667 | 2.9067 | 174.6333 | 3.5 | 170.9333 | 6.2033 | 900 | 87.5333 | 2.5253
2019-12-06 00:45:00 | 2.672 | 168.6273 | 3.0767 | 185.3 | 3.1673 | 186.0133 | 3.5693 | 183.6467 | 6.196 | 900 | 87.48 | 2.7687
2019-12-06 01:00:00 | 2.5067 | 164.7847 | 2.89 | 181.0733 | 2.99 | 191.1333 | 3.4933 | 186.8333 | 6.24 | 900 | 87.1867 | 2.568
2019-12-06 01:15:00 | 2.52 | 163.65 | 2.9067 | 179.8333 | 3.03 | 186.6667 | 3.39 | 182.7333 | 6.19 | 900 | 87.2333 | 3.278
2019-12-06 01:30:00 | 2.6667 | 161.2233 | 3.0733 | 177.1667 | 3.2033 | 182 | 3.91 | 188.8667 | 6.13 | 900 | 87.5133 | 4.184
2019-12-06 01:45:00 | 2.6367 | 159.9233 | 3.0367 | 175.7333 | 3.1467 | 193.9667 | 3.5767 | 189.9667 | 6.1433 | 900 | 87.1 | 3.768
2019-12-06 02:00:00 | 2.8967 | 168.1167 | 3.33 | 184.7333 | 3.3933 | 185.7 | 3.83 | 192.5 | 6.1367 | 899.2 | 86.9 | 4.8407
2019-12-06 02:15:00 | 2.9 | 152.15 | 3.3367 | 167.2 | 3.4 | 180.2667 | 3.94 | 187.0333 | 6.02 | 899 | 87.5 | 4.318
2019-12-06 02:30:00 | 3.124 | 146.676 | 3.598 | 161.18 | 3.65 | 178.76 | 4.03 | 183 | 5.95 | 899 | 87.58 | 3.9767
2019-12-06 02:45:00 | 2.8633 | 166.56 | 3.2933 | 183.0333 | 3.3233 | 177.5667 | 3.94 | 190.0333 | 5.9467 | 899 | 87.2 | 3.98
2019-12-06 03:00:00 | 2.7167 | 159.5867 | 3.1267 | 175.3667 | 3.1633 | 173.5 | 3.7 | 184.7 | 5.96 | 899 | 86.88 | 4.616
2019-12-06 03:15:00 | 2.7933 | 164.84 | 3.21 | 181.1333 | 3.2567 | 188.8 | 3.75 | 190.2 | 6.0767 | 899 | 86.0333 | 4.9973
2019-12-06 03:30:00 | 2.84 | 147.78 | 3.2767 | 162.4 | 3.2967 | 182.6667 | 3.7433 | 193.2667 | 6.1287 | 899 | 85.7 | 5.3833
2019-12-06 03:45:00 | 2.8567 | 160.1033 | 3.2967 | 175.9333 | 3.3567 | 173.2333 | 3.7233 | 172.5 | 6.0953 | 899 | 85.8467 | 5.0987
2019-12-06 04:00:00 | 2.7367 | 151.9167 | 3.15 | 166.9333 | 3.1233 | 175.9667 | 3.6233 | 175.1667 | 6.0567 | 899 | 86.1 | 4.808
2019-12-06 04:15:00 | 2.85 | 161.89 | 3.2767 | 177.9 | 3.2967 | 186.5 | 3.5733 | 181 | 6.08 | 899 | 86.1867 | 4.0373
2019-12-06 04:30:00 | 2.7433 | 171.8967 | 3.1633 | 188.9 | 3.1833 | 205.7667 | 3.4333 | 202.1333 | 6.0467 | 899 | 86.4133 | 3.0307
2019-12-06 04:45:00 | 2.68 | 165.2333 | 3.0867 | 181.5667 | 3.2067 | 190.4 | 3.6167 | 182.4333 | 6 | 899 | 86.8 | 3.4267
2019-12-06 05:00:00 | 2.9667 | 151.1467 | 3.4133 | 166.1 | 3.5 | 181.6 | 3.9633 | 182.2333 | 5.9733 | 898.8667 | 86.9867 | 3.9093
2019-12-06 05:15:00 | 2.99 | 161.28 | 3.4467 | 177.2333 | 3.5467 | 183.2 | 3.8933 | 184.5667 | 5.9333 | 898 | 86.9467 | 4.9533
2019-12-06 05:30:00 | 2.83 | 167.9533 | 3.2533 | 184.5667 | 3.28 | 191.8667 | 3.66 | 183.7 | 5.8733 | 898 | 87.2 | 4.078
2019-12-06 05:45:00 | 2.91 | 150.3 | 3.3467 | 165.1667 | 3.37 | 198.2 | 3.55 | 196 | 5.8 | 898 | 87.48 | 3.7613
2019-12-06 06:00:00 | 2.75 | 162.4333 | 3.16 | 178.5 | 3.1833 | 188.3333 | 3.51 | 191.2667 | 5.7467 | 898 | 88 | 3.9227
2019-12-06 06:15:00 | 3.348 | 150.1107 | 3.8527 | 164.9533 | 3.7787 | 179.1733 | 4.178 | 200.0667 | 5.724 | 898 | 88.2533 | 3.818
2019-12-06 06:30:00 | 3.5267 | 159.13 | 4.0633 | 174.8667 | 3.9733 | 189.5 | 4.23 | 189.2667 | 5.6787 | 898 | 88.7333 | 4.4533
2019-12-06 06:45:00 | 3.3467 | 168.17 | 3.85 | 184.8 | 3.8233 | 187.4 | 4.32 | 185.5 | 5.6 | 898 | 89.3667 | 3.8607
2019-12-06 07:00:00 | 3.04 | 155.49 | 3.5033 | 170.8667 | 3.5233 | 188.4667 | 4.1133 | 185.0333 | 5.4267 | 898 | 90.3667 | 2.5793
2019-12-06 07:15:00 | 2.8 | 168.62 | 3.2267 | 185.3 | 3.23 | 181.7667 | 3.4467 | 184.8 | 5.23 | 898 | 91.6667 | 2.638
2019-12-06 07:30:00 | 2.8267 | 156.86 | 3.2533 | 172.3667 | 3.2967 | 178.6333 | 3.5533 | 175 | 5.17 | 898 | 92.2667 | 3.3967
2019-12-06 07:45:00 | 3.1433 | 170.0533 | 3.6133 | 186.8667 | 3.58 | 176.5667 | 3.73 | 180.8667 | 5.1133 | 898.4667 | 92.7 | 4.9147
2019-12-06 08:00:00 | 3.5033 | 163.26 | 4.0333 | 179.4 | 3.9867 | 174.9 | 4.1967 | 183.1333 | 5.1133 | 899 | 92.8867 | 5.3747
2019-12-06 08:15:00 | 3.4533 | 183.83 | 3.9833 | 202 | 3.9467 | 191.8 | 4.1667 | 190.3667 | 5.2033 | 899 | 92.4333 | 5.2233
2019-12-06 08:30:00 | 3.1067 | 157.6167 | 3.5767 | 173.2 | 3.6333 | 201.3333 | 3.82 | 199.3667 | 5.1367 | 899 | 93.0333 | 5.658
2019-12-06 08:45:00 | 2.8733 | 162.0667 | 3.31 | 178.1 | 3.1967 | 186.5 | 3.7233 | 200.7333 | 5.09 | 899 | 93.6 | 6.2753
2019-12-06 09:00:00 | 3.06 | 150.9067 | 3.5233 | 165.8333 | 3.5633 | 191.0333 | 3.9033 | 198.0667 | 5.1233 | 899 | 93.6 | 6.616
2019-12-06 09:15:00 | 2.7333 | 155.4367 | 3.15 | 170.8 | 3.2733 | 196.3333 | 3.87 | 191 | 5.16 | 899 | 93.7133 | 6.4253
2019-12-06 09:30:00 | 2.876 | 155.924 | 3.316 | 171.34 | 3.558 | 193.18 | 4.218 | 197.84 | 5.202 | 899 | 93.8867 | 7.4133
2019-12-06 09:45:00 | 2.916 | 160.088 | 3.3627 | 175.92 | 3.3873 | 198.6 | 3.832 | 189.4267 | 5.2867 | 899 | 93.48 | 8.3387
2019-12-06 10:00:00 | 2.64 | 186.25 | 3.0367 | 204.6667 | 3.13 | 193.2333 | 3.4867 | 172.9333 | 5.23 | 899.8 | 93.7133 | 7.5653
2019-12-06 10:15:00 | 2.1967 | 171.5067 | 2.5233 | 188.4667 | 2.57 | 189.2333 | 2.8667 | 196.8667 | 5.1433 | 900 | 94.2667 | 6.7773
2019-12-06 10:30:00 | 2.6633 | 157.0133 | 3.0633 | 172.5333 | 3.1433 | 183.8333 | 3.3067 | 200.6667 | 5.11 | 900 | 94.5333 | 6.77
2019-12-06 10:45:00 | 2.9933 | 148.5733 | 3.44 | 163.2667 | 3.4067 | 177.8667 | 3.9533 | 177.0333 | 4.9833 | 900 | 95.9333 | 6.514
2019-12-06 11:00:00 | 2.7267 | 142.88 | 3.1333 | 157 | 3.0733 | 185.9333 | 3.3 | 205.4333 | 4.9167 | 900 | 96.6667 | 5.9053
2019-12-06 11:15:00 | 2.8667 | 161.1267 | 3.2967 | 177.0667 | 3.2733 | 184.8733 | 3.67 | 189.7333 | 5.0067 | 900 | 95.9 | 5.2387
2019-12-06 11:30:00 | 2.88 | 146.82 | 3.31 | 161.3333 | 3.34 | 184.4333 | 3.7233 | 191.5333 | 5.14 | 900 | 95.3667 | 5.7313
2019-12-06 11:45:00 | 2.81 | 161.3467 | 3.23 | 177.3 | 3.1133 | 180.7 | 3.4333 | 186.5 | 5.1833 | 900 | 95.0667 | 6.958
2019-12-06 12:00:00 | 2.9567 | 148.8533 | 3.4033 | 163.5667 | 3.3733 | 178.3 | 3.66 | 186.0333 | 5.1687 | 899.2 | 95.5333 | 6.2947
2019-12-06 12:15:00 | 2.84 | 146.97 | 3.2733 | 161.5 | 3.1433 | 185.1667 | 3.67 | 189.8 | 5.1167 | 899 | 95.5667 | 6.1453
2019-12-06 12:30:00 | 2.7267 | 139.3833 | 3.1333 | 153.1667 | 2.97 | 182.7667 | 3.4433 | 182.6 | 5.13 | 899 | 95.5667 | 7.2167
2019-12-06 12:45:00 | 2.64 | 153.8233 | 3.0333 | 169.0333 | 2.9467 | 184.2 | 3.34 | 194.7667 | 5.2 | 899 | 95.5467 | 6.4673
2019-12-06 13:00:00 | 2.6133 | 135.69 | 3.0067 | 149.1 | 2.92 | 188.9333 | 3.34 | 193.8333 | 5.2733 | 898.2 | 95.6667 | 6.0347
2019-12-06 13:15:00 | 2.6467 | 154.4 | 3.0467 | 169.6667 | 2.94 | 196 | 3.3633 | 191.2667 | 5.41 | 898 | 95.2 | 7.9167
2019-12-06 13:30:00 | 2.7933 | 138.5067 | 3.2133 | 152.2 | 3.2133 | 192.7333 | 3.5367 | 196.7333 | 5.5233 | 898 | 94.8667 | 8.6153
2019-12-06 13:45:00 | 3.1833 | 153.8033 | 3.67 | 169 | 3.58 | 192.1 | 3.5967 | 189.1333 | 5.6867 | 898 | 94.52 | 7.4853
2019-12-06 14:00:00 | 3.1433 | 163.51 | 3.6167 | 179.6667 | 3.5733 | 192.8333 | 3.8033 | 197.9333 | 5.9467 | 897.2 | 93.4 | 6.782
2019-12-06 14:15:00 | 2.9533 | 152.5767 | 3.3967 | 167.6667 | 3.3133 | 196.0333 | 3.3367 | 209.3 | 6.02 | 897 | 93.12 | 6.9187
2019-12-06 14:30:00 | 2.6 | 169.2033 | 2.9967 | 185.9333 | 3.0067 | 200.5 | 3.1967 | 209.7 | 6.1 | 897 | 93.2133 | 5.8667
2019-12-06 14:45:00 | 2.4 | 144.5133 | 2.76 | 158.8 | 2.61 | 187.9667 | 2.65 | 210.6667 | 6.4133 | 897 | 92.2667 | 4.632
2019-12-06 15:00:00 | 2.4733 | 156.2867 | 2.8467 | 171.7333 | 2.8367 | 189.1 | 2.93 | 216.1333 | 6.5933 | 897 | 91.4667 | 2.9873
2019-12-06 15:15:00 | 2.416 | 148.9873 | 2.78 | 163.7133 | 2.5833 | 204.6733 | 2.494 | 196.4133 | 6.6847 | 897 | 90.9267 | 1.8753
2019-12-06 15:30:00 | 2.38 | 156.16 | 2.7367 | 171.6 | 2.6633 | 184.7667 | 2.51 | 194.1 | 6.85 | 897 | 90.4867 | 1.7327
2019-12-06 15:45:00 | 3.0067 | 153.8267 | 3.4567 | 169.0333 | 3.28 | 173.1 | 3.31 | 176.9 | 6.842 | 897 | 90 | 1.3473
2019-12-06 16:00:00 | 2.94 | 154.18 | 3.3833 | 169.4333 | 3.28 | 180.0333 | 3.3767 | 182.7667 | 6.7767 | 897 | 89.52 | 1.494
2019-12-06 16:15:00 | 3.2067 | 165.0533 | 3.69 | 181.3667 | 3.6 | 173.7667 | 3.6433 | 175.2667 | 6.7847 | 897 | 89.6333 | 1.868
2019-12-06 16:30:00 | 2.86 | 159.8933 | 3.2967 | 175.7 | 3.2267 | 181.1667 | 3.51 | 174.6 | 6.73 | 897 | 89.9 | 1.1027
2019-12-06 16:45:00 | 2.1267 | 170.0467 | 2.4467 | 186.8667 | 2.4967 | 170.9667 | 2.8233 | 179.3667 | 6.6667 | 896.5333 | 89.3333 | 0.77133
2019-12-06 17:00:00 | 1.74 | 155.1867 | 2 | 170.5333 | 2.1167 | 179.1 | 2.61 | 178.2333 | 6.6 | 896 | 89.6 | 1.038
2019-12-06 17:15:00 | 2.58 | 172.8167 | 2.9767 | 189.9 | 3.0833 | 214.7 | 3.2067 | 202.1333 | 6.55 | 896 | 88.9 | 2.4673
2019-12-06 17:30:00 | 2.6867 | 162.69 | 3.09 | 178.7667 | 3.19 | 196.4333 | 3.34 | 199.4 | 6.5167 | 896 | 89.0333 | 3.652
2019-12-06 17:45:00 | 2.3267 | 170.1467 | 2.68 | 186.9667 | 2.74 | 186.1667 | 3.0133 | 170.8667 | 6.5067 | 896 | 89.0667 | 3.03
2019-12-06 18:00:00 | 2.2 | 176.52 | 2.5333 | 193.9667 | 2.64 | 204.3 | 2.88 | 181.7333 | 6.5533 | 896 | 88.7867 | 3.0633
2019-12-06 18:15:00 | 2.1867 | 183.4867 | 2.5233 | 201.6333 | 2.7533 | 209.9 | 2.7567 | 202.64 | 6.5 | 896 | 89.3333 | 4.276
2019-12-06 18:30:00 | 2.6533 | 188.1667 | 3.0567 | 206.7667 | 3.4467 | 225.1667 | 3.4233 | 217.2667 | 6.3933 | 896 | 90.5333 | 4.5413
2019-12-06 18:45:00 | 2.2367 | 176.0867 | 2.57 | 193.5 | 2.76 | 192.8333 | 2.98 | 195.4 | 6.41 | 896 | 90.7533 | 4.0047
2019-12-06 19:00:00 | 1.9433 | 167.9373 | 2.2367 | 184.54 | 2.36 | 180.6333 | 2.6867 | 187.9333 | 6.41 | 896 | 90.8333 | 4.002
2019-12-06 19:15:00 | 2.1133 | 155.8233 | 2.44 | 171.2333 | 2.6233 | 214.6667 | 2.5433 | 214.0333 | 6.35 | 896 | 91.5 | 4.5093
2019-12-06 19:30:00 | 2.46 | 156.4967 | 2.8267 | 171.9667 | 3.07 | 208.2 | 3.2367 | 212.3667 | 6.2767 | 896 | 91.8867 | 4.202
2019-12-06 19:45:00 | 2.6567 | 153.512 | 3.0553 | 168.6933 | 3.1833 | 190.8333 | 3.3993 | 194.0333 | 6.27 | 896 | 92.0533 | 3.9453
2019-12-06 20:00:00 | 3.05 | 168.9933 | 3.5033 | 185.7 | 3.75 | 184.4333 | 4.2867 | 193 | 6.35 | 896 | 91.0667 | 4.0507
2019-12-06 20:15:00 | 2.8367 | 147.3 | 3.27 | 161.8667 | 3.4633 | 204.7333 | 4 | 207.6333 | 6.48 | 896.4667 | 89.4667 | 5.9207
2019-12-06 20:30:00 | 2.7967 | 170.6 | 3.2233 | 187.4667 | 3.39 | 203.8 | 3.4667 | 186.4333 | 6.5467 | 897 | 88.6 | 6.0687
2019-12-06 20:45:00 | 2.944 | 171.942 | 3.3867 | 188.9333 | 3.4013 | 194.76 | 3.7513 | 198.9067 | 6.628 | 897 | 87.7933 | 6.49
2019-12-06 21:00:00 | 2.7767 | 166.5667 | 3.2 | 183.0333 | 3.2967 | 189.3333 | 3.6533 | 178.6 | 6.6233 | 897 | 87.6333 | 5.522
2019-12-06 21:15:00 | 2.6 | 188.34 | 2.9933 | 206.9667 | 3.1433 | 184.2667 | 3.5967 | 195.6333 | 6.6367 | 897 | 87.5333 | 5.1647
2019-12-06 21:30:00 | 2.5867 | 175.6667 | 2.98 | 193.0333 | 3.0287 | 185.16 | 3.31 | 194.8333 | 6.6567 | 897 | 87.4 | 5.286
2019-12-06 21:45:00 | 2.6867 | 167.5033 | 3.0967 | 184.0667 | 3.2133 | 204.5333 | 3.3967 | 185.0333 | 6.6133 | 897 | 87.9 | 5.37
2019-12-06 22:00:00 | 2.7867 | 169.3233 | 3.2033 | 186.0667 | 3.3667 | 203.4 | 3.5167 | 190.8333 | 6.5667 | 897 | 88.1667 | 5.9813
2019-12-06 22:15:00 | 2.86 | 173.09 | 3.29 | 190.2 | 3.3867 | 187 | 3.9 | 199.6667 | 6.54 | 897 | 88.4467 | 5.944
2019-12-06 22:30:00 | 2.6067 | 171.7567 | 2.9967 | 188.7333 | 3.1 | 203.7333 | 3.3267 | 209.3333 | 6.4933 | 897 | 89.0333 | 5.5667
2019-12-06 22:45:00 | 2.9267 | 172.8733 | 3.3667 | 189.9667 | 3.4567 | 178.0333 | 3.8533 | 178.9 | 6.4133 | 897 | 89.7 | 4.7107
2019-12-06 23:00:00 | 2.8133 | 158.56 | 3.2333 | 174.2333 | 3.2833 | 183.0333 | 3.5867 | 193.1 | 6.3933 | 897 | 89.8867 | 5.024
2019-12-06 23:15:00 | 2.17 | 159.1933 | 2.4967 | 174.9333 | 2.53 | 189.2 | 2.98 | 191 | 6.39 | 897 | 89.8 | 5.956
2019-12-06 23:30:00 | 2.2567 | 168.2933 | 2.6033 | 184.9333 | 2.73 | 186.6667 | 3.08 | 193.6 | 6.35 | 897 | 90.1467 | 5.9093
2019-12-06 23:45:00 | 2.8233 | 171.48 | 3.2433 | 188.4333 | 3.4267 | 193.3 | 3.8233 | 193.4 | 6.3213 | 897 | 90.2 | 5.556