## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-07 00:00:00 | 2.4957 | 161.3336 | 2.8707 | 177.2786 | 2.955 | 194.7071 | 3.2957 | 190.0857 | 6.2807 | 897 | 90.4071 | 4.7286
2019-12-07 00:15:00 | 2.1633 | 155.59 | 2.4933 | 170.9667 | 2.54 | 205.8333 | 2.7267 | 202.5 | 6.1067 | 897 | 91.8333 | 4.98
2019-12-07 00:30:00 | 2.19 | 158.37 | 2.52 | 174.0333 | 2.4733 | 195.2333 | 2.7667 | 193.0333 | 5.9867 | 896.2 | 92.7 | 5.3613
2019-12-07 00:45:00 | 2.1433 | 156.0467 | 2.4633 | 171.4667 | 2.4933 | 198.6 | 2.69 | 206.5667 | 5.9433 | 896 | 92.9 | 4.7673
2019-12-07 01:00:00 | 2.13 | 162.0467 | 2.45 | 178.0667 | 2.5267 | 193.8 | 2.89 | 198.7667 | 5.9367 | 896 | 92.8333 | 4.6073
2019-12-07 01:15:00 | 2.2293 | 173.4513 | 2.568 | 190.5933 | 2.5133 | 198.4533 | 2.9493 | 199.2267 | 5.9073 | 896 | 92.9933 | 4.4107
2019-12-07 01:30:00 | 2.1133 | 148.5767 | 2.4267 | 163.2667 | 2.3767 | 198.2667 | 2.82 | 201.3333 | 5.83 | 896 | 93.5133 | 4.22
2019-12-07 01:45:00 | 2.3233 | 163.8333 | 2.67 | 180.0333 | 2.8133 | 192.3 | 3.4833 | 189.4333 | 5.8767 | 896 | 92.8 | 4.5033
2019-12-07 02:00:00 | 2.3367 | 153.7667 | 2.6833 | 168.9667 | 2.8267 | 201.5 | 3.1633 | 195.7667 | 5.8633 | 896 | 92.6667 | 4.1787
2019-12-07 02:15:00 | 2.49 | 155.76 | 2.8633 | 171.1667 | 2.8733 | 178.3667 | 3.21 | 185.1667 | 5.8767 | 896 | 92.2 | 3.7953
2019-12-07 02:30:00 | 2.2767 | 153.3333 | 2.63 | 168.5 | 2.5933 | 191.5 | 3.07 | 189.8333 | 5.75 | 896 | 93.2 | 3.9253
2019-12-07 02:45:00 | 2.46 | 162.3407 | 2.84 | 178.3933 | 2.7467 | 181.1 | 3 | 192.2667 | 5.7067 | 896 | 93.3533 | 4.0427
2019-12-07 03:00:00 | 3.3 | 159.1033 | 3.8067 | 174.8333 | 3.7667 | 191.1 | 3.8067 | 187.9333 | 5.6467 | 896 | 93.6333 | 4.0373
2019-12-07 03:15:00 | 3.55 | 153.8933 | 4.08 | 169.1 | 4.02 | 185.5 | 4.2 | 190 | 5.5567 | 896 | 93.7533 | 4.0907
2019-12-07 03:30:00 | 3.6567 | 146.4267 | 4.2067 | 160.9 | 3.9133 | 183.3667 | 4.1 | 193.7333 | 5.5567 | 895.2 | 93.18 | 3.1373
2019-12-07 03:45:00 | 3.34 | 148.3933 | 3.85 | 163.0667 | 3.7467 | 192.4667 | 3.8267 | 192.9 | 5.5667 | 895 | 92.3667 | 3.0367
2019-12-07 04:00:00 | 2.8867 | 159.38 | 3.3233 | 175.1333 | 3.3333 | 185.6 | 3.28 | 205.9267 | 5.4667 | 895 | 92.9 | 4.0433
2019-12-07 04:15:00 | 2.8867 | 140.0367 | 3.32 | 153.8867 | 3.1513 | 184.14 | 3.656 | 210.5333 | 5.3387 | 895 | 93.7 | 5.0653
2019-12-07 04:30:00 | 3.1533 | 135.2333 | 3.6333 | 148.6 | 3.4133 | 182.8333 | 3.8667 | 191.5 | 5.2533 | 895 | 94.1333 | 4.8807
2019-12-07 04:45:00 | 3.47 | 142.7467 | 3.99 | 156.8667 | 3.8633 | 182.5 | 4.0467 | 199.0333 | 5.22 | 895 | 94.0533 | 4.8873
2019-12-07 05:00:00 | 3.15 | 139.48 | 3.6233 | 153.2667 | 3.5833 | 187.0333 | 4.0133 | 191.5667 | 5.2267 | 895 | 94 | 5.2073
2019-12-07 05:15:00 | 2.7433 | 149.86 | 3.1567 | 164.6667 | 3.1333 | 178.8 | 3.6633 | 199.6667 | 5.2 | 895 | 93.88 | 4.8707
2019-12-07 05:30:00 | 2.4767 | 171.8733 | 2.8567 | 188.8667 | 2.9267 | 197.6667 | 3.5233 | 181.6667 | 5.36 | 894.3333 | 92.3333 | 4.8107
2019-12-07 05:45:00 | 2.4633 | 164.0833 | 2.8433 | 180.3 | 2.9267 | 200.0667 | 3.19 | 192.2667 | 5.4333 | 895 | 91.4333 | 5.46
2019-12-07 06:00:00 | 2.8233 | 139.6833 | 3.25 | 153.5 | 3.2 | 212.4667 | 3.4847 | 199.2 | 5.3333 | 894.8667 | 92.1667 | 5.0427
2019-12-07 06:15:00 | 2.8867 | 162.0667 | 3.32 | 178.1 | 3.42 | 176.2667 | 3.5267 | 189.9667 | 5.16 | 894.4667 | 93.6333 | 4.966
2019-12-07 06:30:00 | 2.556 | 168.638 | 2.944 | 185.32 | 2.776 | 182.28 | 2.906 | 187.56 | 5.07 | 895 | 94.1133 | 4.126
2019-12-07 06:45:00 | 2.9333 | 137.8967 | 3.3767 | 151.5333 | 3.4367 | 183.1 | 3.59 | 203.5333 | 5.02 | 895 | 94.1533 | 3.5073
2019-12-07 07:00:00 | 2.7133 | 150.9433 | 3.1233 | 165.8667 | 3.0967 | 190.5667 | 3.1433 | 195 | 4.9067 | 895 | 94.4467 | 3.2113
2019-12-07 07:15:00 | 1.7733 | 146.66 | 2.0467 | 161.1667 | 2.0233 | 185.7 | 2.2233 | 193.8667 | 4.83 | 895 | 94.6 | 2.7007
2019-12-07 07:30:00 | 1.9667 | 178.3933 | 2.26 | 196.0333 | 2.4167 | 203.3667 | 2.79 | 216.8 | 4.798 | 895 | 95 | 2.5847
2019-12-07 07:45:00 | 2.22 | 177.94 | 2.55 | 195.5333 | 2.6633 | 198.3667 | 3.1867 | 207.3333 | 4.8567 | 895 | 94.3333 | 3.304
2019-12-07 08:00:00 | 1.9067 | 174.7333 | 2.1967 | 192 | 2.45 | 200.5667 | 3.1533 | 197.2 | 4.91 | 895 | 93.7333 | 3.4967
2019-12-07 08:15:00 | 2.1567 | 155.1633 | 2.4767 | 170.5 | 2.7033 | 205.9333 | 3.1933 | 199.2333 | 5.12 | 895 | 92.2 | 3.5993
2019-12-07 08:30:00 | 2.43 | 154.0633 | 2.7967 | 169.3 | 2.9967 | 194.3333 | 3.5 | 189.7 | 5.1667 | 895 | 91.8 | 3.036
2019-12-07 08:45:00 | 2.2733 | 166.4367 | 2.6233 | 182.9 | 2.74 | 198.0667 | 3.5667 | 196.0667 | 5.4167 | 895 | 90.1333 | 2.7267
2019-12-07 09:00:00 | 2.1533 | 167.7167 | 2.4767 | 184.3 | 2.78 | 206 | 3.3733 | 194.3333 | 5.3767 | 895.1333 | 90.5333 | 2.1367
2019-12-07 09:15:00 | 1.4633 | 187.0367 | 1.68 | 205.5333 | 2.1867 | 223.0333 | 2.5933 | 192.7333 | 5.45 | 896 | 90.3 | 1.628
2019-12-07 09:30:00 | 1.7033 | 178.4233 | 1.96 | 196.0667 | 2.62 | 202.1 | 2.8067 | 201.6 | 5.4767 | 896 | 90.38 | 1.5893
2019-12-07 09:45:00 | 2.22 | 177.6967 | 2.5533 | 195.2667 | 2.88 | 211.4333 | 2.93 | 194.2 | 5.6067 | 896 | 89.5667 | 1.796
2019-12-07 10:00:00 | 2.0733 | 175.8167 | 2.3867 | 193.2 | 2.7933 | 227.2333 | 2.67 | 206.3333 | 5.7 | 896 | 89.3 | 1.66
2019-12-07 10:15:00 | 1.8733 | 180.55 | 2.1633 | 198.4 | 2.3533 | 221.2667 | 2.2867 | 210.9 | 5.7167 | 896 | 89.2 | 1.7213
2019-12-07 10:30:00 | 1.5867 | 174.1233 | 1.83 | 191.3333 | 1.9733 | 219.0267 | 2.26 | 219.3 | 5.5967 | 896.8 | 91.0667 | 1.682
2019-12-07 10:45:00 | 1.7 | 160.4733 | 1.96 | 176.3333 | 1.7733 | 205.9667 | 2.4767 | 226.4667 | 5.3733 | 897 | 92.7 | 1.8307
2019-12-07 11:00:00 | 1.7933 | 146.9467 | 2.0733 | 161.4667 | 1.8933 | 198.9667 | 2.6833 | 207.5333 | 5.3213 | 897 | 92.4333 | 1.8853
2019-12-07 11:15:00 | 2.1933 | 160.1207 | 2.526 | 175.96 | 2.4973 | 204.58 | 3.6373 | 215.66 | 5.3033 | 897 | 92.3533 | 1.5773
2019-12-07 11:30:00 | 2.5 | 165.6233 | 2.88 | 182 | 3.1067 | 201.0667 | 3.7767 | 210.1 | 5.4433 | 896.8667 | 91.7333 | 0.86667
2019-12-07 11:45:00 | 2.06 | 168.7133 | 2.3667 | 185.4 | 2.4967 | 209.3 | 2.9267 | 210.1667 | 5.9867 | 896 | 89.2333 | 0.48467
2019-12-07 12:00:00 | 1.8667 | 159.6133 | 2.1467 | 175.4 | 2.2767 | 207.7 | 2.7333 | 216.7 | 6.1867 | 896 | 88.4867 | 0.45733
2019-12-07 12:15:00 | 1.6533 | 150.9733 | 1.9067 | 165.9 | 1.9933 | 218.5667 | 2.5167 | 224.7667 | 6.31 | 896 | 88.5333 | 0.578
2019-12-07 12:30:00 | 1.3333 | 141.8067 | 1.5333 | 155.8333 | 1.5333 | 226.0333 | 2.1767 | 232.9 | 6.41 | 896 | 88.2667 | 0.492
2019-12-07 12:45:00 | 1.3967 | 152.3467 | 1.6133 | 167.4 | 1.56 | 226.1333 | 2.38 | 212.2667 | 6.2067 | 896 | 89.9 | 0.43267
2019-12-07 13:00:00 | 1.4633 | 162.7733 | 1.6933 | 178.8667 | 1.5333 | 213.1333 | 2.52 | 218.6 | 6.1 | 896 | 90.5 | 0.60733
2019-12-07 13:15:00 | 1.4533 | 145.9967 | 1.68 | 160.4333 | 1.4 | 206.8 | 2.1633 | 233 | 6.1733 | 895.5333 | 90.3533 | 0.83133
2019-12-07 13:30:00 | 1.3667 | 125.7433 | 1.5733 | 138.1667 | 1.2667 | 207.5333 | 2.2833 | 228.2 | 6.2733 | 895 | 89.7667 | 0.59867
2019-12-07 13:45:00 | 1.68 | 177.9733 | 1.94 | 195.5667 | 2.03 | 217.8667 | 2.6733 | 208.7 | 6.4433 | 895 | 88.0333 | 0.17933
2019-12-07 14:00:00 | 1.52 | 174.004 | 1.756 | 191.2 | 1.84 | 230.46 | 2.116 | 235.16 | 6.558 | 895 | 86.94 | 0
2019-12-07 14:15:00 | 1.4733 | 149.25 | 1.7 | 164 | 1.86 | 179.5667 | 2.3967 | 186.7333 | 6.5947 | 895 | 86.4 | 0
2019-12-07 14:30:00 | 1.4733 | 173.3367 | 1.7 | 190.4667 | 1.88 | 207.3 | 2.3567 | 209.3333 | 6.688 | 895 | 85.6667 | 0
2019-12-07 14:45:00 | 1.2733 | 145.0833 | 1.4633 | 159.4333 | 1.64 | 197.4667 | 1.81 | 202.6333 | 6.7767 | 894.5333 | 84.6 | 0
2019-12-07 15:00:00 | 1.0133 | 138.23 | 1.1633 | 151.9 | 1.2733 | 199.6667 | 1.45 | 217.3 | 6.87 | 894 | 84.2667 | 0
2019-12-07 15:15:00 | 0.90667 | 161.04 | 1.05 | 176.9667 | 1.04 | 215.6667 | 1.0233 | 208.4 | 6.94 | 894 | 84.2667 | 0
2019-12-07 15:30:00 | 1.1867 | 160.8 | 1.3633 | 176.7 | 1.64 | 220.4 | 1.6833 | 223.8 | 6.8787 | 894 | 83.6 | 0
2019-12-07 15:45:00 | 1.0533 | 168.2333 | 1.2233 | 184.8667 | 1.5733 | 227.8667 | 1.74 | 218.7 | 6.9047 | 894 | 83.1467 | 0
2019-12-07 16:00:00 | 0.81333 | 168.6067 | 0.93667 | 185.2667 | 1.02 | 221.4 | 1.2067 | 226.2333 | 6.9567 | 894 | 82.2 | 0
2019-12-07 16:15:00 | 0.4 | 175.3173 | 0.47 | 192.6467 | 0.63 | 218.9667 | 0.59 | 230.2 | 6.94 | 894 | 82.2133 | 0
2019-12-07 16:30:00 | 0.28667 | 183.8533 | 0.34333 | 202.0333 | 0.45667 | 239.5667 | 0.34333 | 240.4 | 6.8867 | 894.1333 | 82.7333 | 0
2019-12-07 16:45:00 | 0 | 188.1 | 0.007333 | 206.7 | 0.007333 | 270.1 | 0.029333 | 278.8 | 6.8447 | 895 | 83.1467 | 0
2019-12-07 17:00:00 | 0.13333 | 188.1 | 0.15333 | 206.7 | 0.25333 | 270.1133 | 0.21333 | 304.48 | 6.7767 | 895 | 83.7333 | 0
2019-12-07 17:15:00 | 0.19 | 261.44 | 0.22333 | 287.3 | 0.38 | 270.2933 | 0.35333 | 317.3 | 6.6167 | 895 | 84.6667 | 0
2019-12-07 17:30:00 | 0.023333 | 261.44 | 0.023333 | 287.3 | 0.046667 | 270.48 | 0.18667 | 317.3 | 6.5433 | 895 | 85.1333 | 0
2019-12-07 17:45:00 | 0.25333 | 261.44 | 0.30333 | 287.3 | 0.50333 | 284.2667 | 0.36667 | 317.3 | 6.53 | 895 | 85.3667 | 0
2019-12-07 18:00:00 | 0.39333 | 261.44 | 0.45667 | 287.3 | 0.78333 | 314 | 0.99333 | 333.2333 | 6.4833 | 895 | 86.0333 | 0
2019-12-07 18:15:00 | 0.053333 | 261.44 | 0.063333 | 287.3 | 0.10667 | 335.8 | 0.37667 | 341.2 | 6.3567 | 895 | 86.4333 | 0
2019-12-07 18:30:00 | 0.34667 | 88.6067 | 0.39667 | 97.3733 | 0.66 | 115.78 | 0.87 | 122.7333 | 6.29 | 895 | 86.7667 | 0
2019-12-07 18:45:00 | 1.28 | 106.3533 | 1.4767 | 116.86 | 2.15 | 5.74 | 2.1333 | 4.4333 | 6.2 | 895 | 88.2 | 0
2019-12-07 19:00:00 | 1.8133 | 112.9333 | 2.0967 | 124.0933 | 2.8767 | 6.5467 | 2.7867 | 12.8 | 6.1667 | 895 | 88.6 | 0
2019-12-07 19:15:00 | 1.52 | 306.1633 | 1.7433 | 336.4333 | 2.8933 | 4.25 | 2.9167 | 11.04 | 6.05 | 895 | 89.3333 | 0
2019-12-07 19:30:00 | 1.8133 | 98.47 | 2.09 | 108.2 | 3.3867 | 6.8233 | 3.4033 | 11.72 | 5.9433 | 895 | 90.0667 | 0.29933
2019-12-07 19:45:00 | 1.8067 | 155.4867 | 2.09 | 170.8667 | 3.51 | 10.0833 | 3.65 | 18.5633 | 5.9467 | 895 | 90.1333 | 1.3133
2019-12-07 20:00:00 | 1.9067 | 102.4533 | 2.2033 | 112.5867 | 3.5833 | 16.05 | 3.7167 | 15.55 | 5.8867 | 895.1333 | 90.4 | 1.6567
2019-12-07 20:15:00 | 1.9933 | 107.11 | 2.3 | 117.7 | 3.8533 | 17.0967 | 3.8133 | 20.9067 | 5.91 | 895.5333 | 90.1667 | 1.082
2019-12-07 20:30:00 | 1.8933 | 297.03 | 2.1867 | 326.4 | 3.6733 | 16.71 | 3.74 | 20.74 | 5.89 | 895.8 | 90.5 | 0.64867
2019-12-07 20:45:00 | 1.7467 | 178.98 | 2.0067 | 196.68 | 3.34 | 17.3333 | 3.4167 | 22.5667 | 5.8667 | 896 | 90.3 | 1.0467
2019-12-07 21:00:00 | 1.64 | 198.7667 | 1.8867 | 218.4133 | 3.08 | 16.0533 | 3.25 | 20.64 | 5.92 | 896 | 90.22 | 0.95
2019-12-07 21:15:00 | 1.4673 | 297.8833 | 1.6973 | 327.3333 | 2.87 | 14.694 | 3.09 | 22.5547 | 5.9167 | 896 | 90.2533 | 0.528
2019-12-07 21:30:00 | 1.2367 | 309.1633 | 1.4333 | 339.7333 | 2.3033 | 11.5733 | 2.1533 | 14.8367 | 5.8887 | 896 | 90.4 | 0.12933
2019-12-07 21:45:00 | 1.3 | 101.7167 | 1.5033 | 111.78 | 2.4367 | 6.71 | 2.4533 | 12.7333 | 6.0467 | 896 | 89.4667 | 0.32733
2019-12-07 22:00:00 | 1.58 | 303.7233 | 1.83 | 333.7667 | 3.0567 | 2.8833 | 3.08 | 7.58 | 5.9733 | 896 | 89.8667 | 1.1413
2019-12-07 22:15:00 | 1.4233 | 220.73 | 1.6333 | 242.5467 | 2.7933 | 356.9 | 2.9467 | 5.69 | 5.88 | 896 | 90.5 | 0.864
2019-12-07 22:30:00 | 1.5033 | 196.5233 | 1.7267 | 215.9467 | 2.8667 | 124.3467 | 2.9133 | 4.7367 | 5.8667 | 896 | 90.5933 | 0.98333
2019-12-07 22:45:00 | 1.5533 | 195.1533 | 1.79 | 214.4467 | 3.0967 | 7.6833 | 3.6667 | 8.8467 | 5.7833 | 896 | 91.2333 | 0.96867
2019-12-07 23:00:00 | 1.5533 | 41.08 | 1.7967 | 45.14 | 3.0967 | 15.3367 | 3.4267 | 10.94 | 5.7033 | 896 | 91.9 | 1.0127
2019-12-07 23:15:00 | 1.4933 | 288.5933 | 1.7233 | 317.1333 | 2.9467 | 6.5467 | 2.8833 | 12.26 | 5.5667 | 896 | 92.8333 | 0.894
2019-12-07 23:30:00 | 1.4933 | 300.42 | 1.7167 | 330.1333 | 2.8467 | 1.04 | 2.9633 | 14.0067 | 5.5133 | 896 | 93.1133 | 0.056
2019-12-07 23:45:00 | 1.8667 | 313.86 | 2.1567 | 344.9 | 3.01 | 5.16 | 3.2267 | 18.3 | 5.3567 | 896 | 93.3 | 0.638