## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-08 00:00:00 | 2.3543 | 119.9357 | 2.71 | 131.8014 | 3.8171 | 8.94 | 3.8929 | 9.6093 | 5.1264 | 896 | 94.35 | 2.3229
2019-12-08 00:15:00 | 2.7533 | 302.4 | 3.1733 | 332.3 | 4.7533 | 15.0067 | 4.91 | 21.8067 | 4.8733 | 896 | 95.7333 | 5.118
2019-12-08 00:30:00 | 2.58 | 316.4067 | 2.9733 | 347.7 | 4.96 | 12.9933 | 5.01 | 16.08 | 4.54 | 896 | 96.8 | 6.3493
2019-12-08 00:45:00 | 2.5733 | 113.4933 | 2.9667 | 124.7067 | 4.88 | 18.27 | 4.7 | 23.3467 | 4.3133 | 896 | 98.2333 | 6.3113
2019-12-08 01:00:00 | 2.36 | 113.1667 | 2.7133 | 124.3533 | 4.5867 | 17.2967 | 4.4187 | 23.72 | 4.16 | 895.8667 | 98.8333 | 6.1093
2019-12-08 01:15:00 | 2.5 | 197.09 | 2.8733 | 216.5833 | 4.88 | 12.84 | 4.6867 | 5.7733 | 4.05 | 895 | 99.4667 | 6.3307
2019-12-08 01:30:00 | 2.7067 | 10.99 | 3.1133 | 12.07 | 5.1867 | 18.9067 | 4.8533 | 19.6067 | 3.9967 | 895 | 99.8 | 6.4147
2019-12-08 01:45:00 | 2.5267 | 310.65 | 2.91 | 341.3667 | 4.73 | 17.7067 | 4.8033 | 27.82 | 3.9167 | 895 | 99.9467 | 6.52
2019-12-08 02:00:00 | 2.5333 | 117.49 | 2.9167 | 129.1 | 4.3767 | 13.7533 | 4.9033 | 30.5 | 3.9033 | 895 | 100 | 7.526
2019-12-08 02:15:00 | 2.5667 | 308.86 | 2.9567 | 339.4 | 4.61 | 19.4967 | 4.94 | 28.1867 | 3.8367 | 895 | 100 | 7.6773
2019-12-08 02:30:00 | 2.3933 | 108.22 | 2.7633 | 118.92 | 4.4633 | 18.4367 | 4.74 | 20.06 | 3.6167 | 895 | 100 | 6.7593
2019-12-08 02:45:00 | 2.3 | 319.5967 | 2.65 | 351.2 | 4.13 | 17.1233 | 4.3467 | 18.94 | 3.5667 | 895 | 100 | 7.6687
2019-12-08 03:00:00 | 2.4867 | 317.6033 | 2.8633 | 349 | 4.4433 | 30.4767 | 4.66 | 9.0667 | 3.5267 | 895 | 100 | 7.5347
2019-12-08 03:15:00 | 2.33 | 92.9 | 2.68 | 102.0867 | 4.0333 | 241.19 | 4.4 | 7.38 | 3.5067 | 895 | 100 | 7.206
2019-12-08 03:30:00 | 2.29 | 279.0733 | 2.6333 | 306.6667 | 4.2933 | 7.6033 | 4.46 | 240.3 | 3.2333 | 895 | 100 | 7.532
2019-12-08 03:45:00 | 2.67 | 323.2133 | 3.0733 | 355.1667 | 4.3933 | 26.47 | 4.57 | 16.86 | 3.3333 | 894.5333 | 100 | 7.9027
2019-12-08 04:00:00 | 2.7567 | 315.5 | 3.18 | 346.7 | 4.5533 | 9.0967 | 4.7233 | 16.0133 | 3.3867 | 894 | 100 | 8.03
2019-12-08 04:15:00 | 2.7567 | 315.5 | 3.18 | 346.7 | 4.5533 | 9.0967 | 4.7233 | 16.0133 | 3.3867 | 894 | 100 | 8.03
2019-12-08 04:30:00 | 2.7567 | 315.5 | 3.18 | 346.7 | 4.5533 | 9.0967 | 4.7233 | 16.0133 | 3.3867 | 894 | 100 | 8.03
2019-12-08 04:45:00 | 2.7567 | 315.5 | 3.18 | 346.7 | 4.5533 | 9.0967 | 4.7233 | 16.0133 | 3.3867 | 894 | 100 | 8.03
2019-12-08 05:00:00 | 2.7567 | 315.5 | 3.18 | 346.7 | 4.5533 | 9.0967 | 4.7233 | 16.0133 | 3.3867 | 894 | 100 | 8.03
2019-12-08 05:15:00 | 2.46 | 314.4 | 2.83 | 345.5 | 4.75 | 5.76 | 5.04 | 22.01 | 2.82 | 894 | 100 | 10.463
2019-12-08 05:30:00 | 2.46 | 314.4 | 2.83 | 345.5 | 4.75 | 5.76 | 5.04 | 22.01 | 2.82 | 894 | 100 | 10.463
2019-12-08 05:45:00 | 2.46 | 314.4 | 2.83 | 345.5 | 4.75 | 5.76 | 5.04 | 22.01 | 2.82 | 894 | 100 | 10.463
2019-12-08 06:00:00 | 2.46 | 314.4 | 2.83 | 345.5 | 4.75 | 5.76 | 5.04 | 22.01 | 2.82 | 894 | 100 | 10.463
2019-12-08 06:15:00 | 2.46 | 314.4 | 2.83 | 345.5 | 4.75 | 5.76 | 5.04 | 22.01 | 2.82 | 894 | 100 | 10.463
2019-12-08 06:30:00 | 2.9533 | 212.1167 | 3.3967 | 233.09 | 4.92 | 9.03 | 5.34 | 20.75 | 2.6467 | 894 | 100 | 10.644
2019-12-08 06:45:00 | 3.0933 | 166.6833 | 3.5567 | 183.1667 | 5.6833 | 12.8267 | 6.0267 | 20.4533 | 2.55 | 894 | 100 | 10.994
2019-12-08 07:00:00 | 3.3533 | 3.0367 | 3.8567 | 3.3333 | 6.0567 | 16.5067 | 6.3933 | 25.4467 | 2.4833 | 894 | 100 | 12.56
2019-12-08 07:15:00 | 3.3767 | 198.5767 | 3.8867 | 218.2033 | 5.8933 | 4.1533 | 6.0667 | 24.91 | 2.4633 | 894 | 100 | 12.2613
2019-12-08 07:30:00 | 3.43 | 204.39 | 3.94 | 224.6033 | 5.7133 | 10.56 | 5.8133 | 13.4633 | 2.4367 | 894 | 100 | 11.284
2019-12-08 07:45:00 | 2.9633 | 124.0027 | 3.408 | 136.264 | 5.4793 | 4.7253 | 5.2693 | 9.3547 | 2.4207 | 894 | 100 | 11.108
2019-12-08 08:00:00 | 2.8167 | 221.0667 | 3.2367 | 242.9333 | 5.22 | 3.7633 | 5.0767 | 8.7333 | 2.3853 | 894 | 100 | 10.728
2019-12-08 08:15:00 | 3.4467 | 197.4567 | 3.96 | 216.98 | 5.8833 | 130.9567 | 5.55 | 5.8967 | 2.3 | 894 | 100 | 14.5447
2019-12-08 08:30:00 | 4.0867 | 19.5167 | 4.7067 | 21.44 | 6.27 | 238.0233 | 5.95 | 17.8433 | 2.2333 | 894.8 | 100 | 15.4513
2019-12-08 08:45:00 | 4.13 | 320.8667 | 4.7567 | 352.6 | 6.2633 | 8.0667 | 5.9133 | 18.69 | 2.09 | 895 | 100 | 11.2653
2019-12-08 09:00:00 | 3.6233 | 132.62 | 4.1633 | 145.7333 | 5.3567 | 7.3867 | 5.3667 | 15.2033 | 2.0967 | 895 | 100 | 8.6447
2019-12-08 09:15:00 | 3.2733 | 103.9933 | 3.7633 | 114.2667 | 4.9633 | 228.36 | 4.8067 | 16.38 | 2.2 | 895 | 100 | 8.0013
2019-12-08 09:30:00 | 2.74 | 99.58 | 3.15 | 109.42 | 4.47 | 6.06 | 4.3933 | 22.4933 | 2.36 | 895 | 100 | 7.038
2019-12-08 09:45:00 | 2.788 | 89.8127 | 3.206 | 98.6873 | 4.5087 | 27.2287 | 4.21 | 9.7933 | 2.448 | 895.4667 | 100 | 6.0073
2019-12-08 10:00:00 | 3.1667 | 125.5833 | 3.64 | 138 | 5.15 | 12.8167 | 4.6867 | 23.5867 | 2.59 | 896 | 100 | 7.7393
2019-12-08 10:15:00 | 3.5467 | 11.5933 | 4.09 | 12.7333 | 5.63 | 13.25 | 5.1833 | 13.87 | 2.5833 | 896 | 100 | 9.4667
2019-12-08 10:30:00 | 3.2267 | 185.0333 | 3.7167 | 203.3333 | 5.63 | 239.91 | 5.25 | 14.89 | 2.9833 | 896 | 100 | 9.536
2019-12-08 10:45:00 | 3.3653 | 294.708 | 3.8707 | 323.8533 | 5.74 | 100.566 | 5.4213 | 11.544 | 3.1387 | 896 | 100 | 9.56
2019-12-08 11:00:00 | 3.3733 | 109.6367 | 3.8867 | 120.4733 | 5.5667 | 130.9333 | 5.2967 | 14.2533 | 3.3033 | 896 | 100 | 8.9387
2019-12-08 11:15:00 | 3.36 | 19.5233 | 3.86 | 21.45 | 4.57 | 8.14 | 4.7267 | 230.4767 | 3.06 | 896 | 100 | 7.4793
2019-12-08 11:30:00 | 2.84 | 223.89 | 3.2667 | 246.03 | 4.4233 | 2.6133 | 4.4867 | 1.6367 | 3.4667 | 896 | 100 | 6.41
2019-12-08 11:45:00 | 2.89 | 219.2667 | 3.3233 | 240.9467 | 4.2067 | 22.98 | 4.3933 | 5.5433 | 3.8767 | 896 | 100 | 5.7973
2019-12-08 12:00:00 | 3.2567 | 207.2467 | 3.7433 | 227.7467 | 4.3267 | 14.1467 | 4.6067 | 6.53 | 4.0833 | 896 | 100 | 7.5373
2019-12-08 12:15:00 | 3.28 | 112.5367 | 3.7767 | 123.66 | 4.7733 | 1.0467 | 5.2367 | 7.41 | 4.1933 | 896 | 100 | 8.284
2019-12-08 12:30:00 | 3.4333 | 105.6167 | 3.95 | 116.0533 | 5.0867 | 3.3933 | 5.2167 | 5.43 | 4.6467 | 896 | 99.9867 | 7.1827
2019-12-08 12:45:00 | 2.7633 | 125.3567 | 3.18 | 137.7467 | 4.0133 | 1.61 | 3.91 | 8.4567 | 5.74 | 895.5333 | 95.7667 | 4.2627
2019-12-08 13:00:00 | 2.57 | 106.49 | 2.96 | 117.0133 | 3.5467 | 235.7833 | 3.57 | 245.0567 | 6.7267 | 895 | 87.7667 | 3.0587
2019-12-08 13:15:00 | 2.44 | 102.6867 | 2.8067 | 112.8333 | 3.5867 | 162.0667 | 3.8133 | 131.1933 | 7.65 | 895 | 81.5467 | 1.9353
2019-12-08 13:30:00 | 2.3667 | 100.0733 | 2.72 | 109.9667 | 3.6933 | 120.78 | 3.7333 | 129.4067 | 8.7767 | 895.1333 | 75.2267 | 1.2273
2019-12-08 13:45:00 | 2.9067 | 24.02 | 3.3467 | 26.3867 | 4.37 | 4.72 | 4.51 | 17.8467 | 9.38 | 896 | 69.7133 | 0.96
2019-12-08 14:00:00 | 2.98 | 21.7933 | 3.44 | 23.9467 | 4.5967 | 1.6533 | 4.7033 | 9.58 | 10.1067 | 896 | 65.2667 | 0.35733
2019-12-08 14:15:00 | 2.6633 | 155.16 | 3.06 | 170.5067 | 4.7867 | 15.2867 | 4.61 | 13.8233 | 11.8367 | 896 | 57.7533 | 0.26667
2019-12-08 14:30:00 | 2.7833 | 305.3067 | 3.2067 | 335.5 | 4.98 | 8.3533 | 4.71 | 11.1967 | 11.79 | 896 | 56.38 | 0.48333
2019-12-08 14:45:00 | 2.694 | 55.5307 | 3.1067 | 61.0227 | 4.4307 | 7.0573 | 4.178 | 9.6013 | 10.802 | 896 | 59.5853 | 0
2019-12-08 15:00:00 | 2.4167 | 222.1433 | 2.7833 | 244.1067 | 3.3233 | 237.3167 | 3.3833 | 6.4333 | 10.1267 | 895.8667 | 62.49 | 0
2019-12-08 15:15:00 | 2.2027 | 31.9667 | 2.5333 | 35.1247 | 3.19 | 33.244 | 3.2387 | 6.0567 | 10.1927 | 895 | 62.2553 | 0
2019-12-08 15:30:00 | 1.5267 | 224.0433 | 1.7633 | 246.1967 | 2.78 | 17.9333 | 2.9367 | 237.88 | 10.45 | 895 | 60.8867 | 0
2019-12-08 15:45:00 | 1.7 | 43.26 | 1.9533 | 47.5433 | 2.92 | 234.27 | 2.9167 | 236.63 | 11.8233 | 895 | 57.38 | 0
2019-12-08 16:00:00 | 1.8067 | 16.7467 | 2.0867 | 18.3967 | 3.2067 | 17.8567 | 2.7833 | 9.4233 | 11.7433 | 895 | 56.4 | 0
2019-12-08 16:15:00 | 1.7067 | 103.2933 | 1.97 | 113.5067 | 3.1933 | 1.15 | 3.0267 | 5.7033 | 10.3767 | 895 | 60.4067 | 0
2019-12-08 16:30:00 | 1.7067 | 140.02 | 1.97 | 153.8667 | 3.0533 | 11.91 | 3.1467 | 9.8167 | 10.1887 | 895 | 60.5267 | 0
2019-12-08 16:45:00 | 1.6867 | 25.2267 | 1.9467 | 27.7233 | 3.0533 | 4.7333 | 3.03 | 57.7467 | 9.95 | 895 | 63.11 | 0
2019-12-08 17:00:00 | 1.3067 | 194.06 | 1.5133 | 213.25 | 2.4133 | 2.9467 | 2.43 | 15.8933 | 9.7967 | 895 | 64.57 | 0
2019-12-08 17:15:00 | 1.32 | 309.14 | 1.52 | 339.7 | 2.4233 | 349.3333 | 2.5133 | 6.64 | 9.38 | 895 | 66.4667 | 0
2019-12-08 17:30:00 | 1.0733 | 312.5867 | 1.2333 | 343.5 | 2.0567 | 116.2 | 2.22 | 11.0533 | 9.0267 | 894.2 | 67.3133 | 0
2019-12-08 17:45:00 | 1.4933 | 26.86 | 1.7267 | 29.51 | 2.9933 | 10.92 | 3.03 | 17.8933 | 8.5167 | 894 | 69.77 | 0.304
2019-12-08 18:00:00 | 1.6133 | 12.2 | 1.8667 | 13.4033 | 3.2067 | 11.5067 | 3.2633 | 17.7 | 8.0833 | 894 | 72.49 | 0.578
2019-12-08 18:15:00 | 1.5467 | 301.36 | 1.78 | 331.1667 | 2.8067 | 356.1 | 3.1567 | 22.3367 | 7.7333 | 894 | 73.97 | 0.52267
2019-12-08 18:30:00 | 1.504 | 260.136 | 1.738 | 285.86 | 2.908 | 143.924 | 3.208 | 6.37 | 7.592 | 894 | 74.586 | 0.736
2019-12-08 18:45:00 | 1.3367 | 150.31 | 1.54 | 165.17 | 2.6533 | 2.63 | 3.12 | 16.4233 | 7.5533 | 894 | 75.1167 | 0.48067
2019-12-08 19:00:00 | 1.63 | 15.73 | 1.8733 | 17.2833 | 2.9067 | 12.6433 | 3.1067 | 22.6633 | 7.54 | 894 | 75.8367 | 0.13533
2019-12-08 19:15:00 | 1.5833 | 106.9267 | 1.8167 | 117.5 | 2.62 | 10.8633 | 2.6933 | 15.1433 | 7.5367 | 894 | 75.5767 | 0
2019-12-08 19:30:00 | 1.59 | 313.2867 | 1.83 | 344.2667 | 2.62 | 15.53 | 2.6267 | 19.2767 | 7.77 | 894 | 73.5833 | 0
2019-12-08 19:45:00 | 1.6867 | 2.85 | 1.9433 | 3.13 | 2.9167 | 13.4433 | 2.7233 | 15.08 | 7.4467 | 894 | 74.9133 | 0
2019-12-08 20:00:00 | 1.9733 | 202.3367 | 2.27 | 222.35 | 3.1033 | 6.6633 | 3.0567 | 16.08 | 7.2733 | 894 | 75.9 | 0
2019-12-08 20:15:00 | 2.49 | 318.5 | 2.8667 | 350 | 3.4033 | 1.4267 | 3.2833 | 12.72 | 7.3367 | 894 | 75.7967 | 0
2019-12-08 20:30:00 | 2.47 | 323.3533 | 2.84 | 355.3333 | 3.2367 | 237.7333 | 3.0767 | 9.9933 | 7.25 | 894 | 75.8767 | 0
2019-12-08 20:45:00 | 2.56 | 315.78 | 2.9467 | 347 | 3.41 | 355.5667 | 3.0933 | 8.7133 | 7.4133 | 894.4667 | 75.08 | 0
2019-12-08 21:00:00 | 2.3133 | 315.6467 | 2.66 | 346.8667 | 3.1433 | 126.4067 | 2.9467 | 14.76 | 7.3333 | 895 | 75.528 | 0
2019-12-08 21:15:00 | 2.3533 | 207.8233 | 2.7067 | 228.38 | 3.2467 | 8.3967 | 2.95 | 14.7933 | 7.02 | 895 | 77.77 | 0
2019-12-08 21:30:00 | 2.4067 | 215.53 | 2.7733 | 236.8467 | 3.12 | 5.1567 | 2.7833 | 14.78 | 6.98 | 895 | 78.4433 | 0
2019-12-08 21:45:00 | 2.5367 | 319.1967 | 2.9167 | 350.7667 | 3.0233 | 3.5 | 2.9067 | 16.8967 | 6.51 | 895 | 81 | 0
2019-12-08 22:00:00 | 2.65 | 312.0967 | 3.0433 | 342.9667 | 3.1633 | 43.32 | 2.9667 | 22.4233 | 6.11 | 895 | 82.8 | 0
2019-12-08 22:15:00 | 2.58 | 314.32 | 2.9767 | 345.4 | 2.87 | 3.4367 | 2.3733 | 15.0967 | 6.0433 | 895 | 83.3333 | 0
2019-12-08 22:30:00 | 2.0867 | 316.2067 | 2.41 | 347.4667 | 2.13 | 6.8767 | 1.54 | 4.57 | 6.17 | 895 | 81.5333 | 0
2019-12-08 22:45:00 | 0.62 | 302.4233 | 0.71667 | 332.3333 | 0.47 | 89.6667 | 0.74 | 248.9333 | 6.328 | 895 | 80.0933 | 0
2019-12-08 23:00:00 | 0.32 | 298.67 | 0.37 | 328.2 | 0.07 | 110.4133 | 0.06 | 232.3867 | 6.7467 | 895 | 78.3 | 0
2019-12-08 23:15:00 | 0.81333 | 313.5 | 0.94333 | 344.5 | 0.10667 | 31.27 | 0 | 232.3 | 6.47 | 895 | 77.9073 | 0
2019-12-08 23:30:00 | 0.71333 | 304.2733 | 0.83 | 334.3667 | 0 | 31.27 | 0.10667 | 190.98 | 6.09 | 895 | 76.11 | 0
2019-12-08 23:45:00 | 0.42 | 324.87 | 0.48667 | 357 | 0.78 | 171.3333 | 1.4833 | 178.9 | 6.1133 | 895 | 75.22 | 0