## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-09 00:00:00 | 0.074286 | 324.87 | 0.087857 | 357 | 0.064286 | 186.4 | 1.0629 | 178.9 | 5.9121 | 895 | 76.4436 | 0
2019-12-09 00:15:00 | 0.33333 | 324.87 | 0.38667 | 357 | 0 | 186.4 | 0.67333 | 171.36 | 5.8533 | 894.4667 | 75.5633 | 0
2019-12-09 00:30:00 | 0.62 | 324.87 | 0.72 | 357 | 0 | 186.4 | 0.3 | 156.4 | 5.6533 | 894.3333 | 79.9833 | 0
2019-12-09 00:45:00 | 0.96133 | 130.106 | 1.116 | 142.9653 | 0.14333 | 239.4667 | 0.36733 | 156.4 | 5.3927 | 894.5333 | 78.63 | 0
2019-12-09 01:00:00 | 1.48 | 106.9933 | 1.71 | 117.5667 | 0.89667 | 342.6667 | 0.003333 | 156.48 | 4.92 | 894 | 74.1033 | 0
2019-12-09 01:15:00 | 1.74 | 323.94 | 2.01 | 355.9667 | 1.26 | 347.2667 | 0.03 | 156.5 | 4.7133 | 894 | 74.5267 | 0
2019-12-09 01:30:00 | 1.8933 | 320.0467 | 2.1767 | 351.7 | 1.58 | 345 | 0.21667 | 197.5 | 4.7 | 894 | 77.2467 | 0
2019-12-09 01:45:00 | 1.8933 | 312.35 | 2.1833 | 343.2333 | 1.82 | 352.18 | 0.32 | 253.9 | 4.76 | 894 | 77.3033 | 0
2019-12-09 02:00:00 | 2.3333 | 315.99 | 2.6833 | 347.2333 | 2.6733 | 118.8 | 0.76 | 335.3 | 4.66 | 893.8667 | 79.4767 | 0
2019-12-09 02:15:00 | 2.3547 | 321.4153 | 2.714 | 353.2 | 2.77 | 1.0193 | 1.2073 | 140.7507 | 4.66 | 893 | 79.9367 | 0
2019-12-09 02:30:00 | 2.2467 | 310.7133 | 2.58 | 341.4333 | 2.6333 | 1.24 | 0.83333 | 344.5333 | 4.59 | 893 | 80.79 | 0
2019-12-09 02:45:00 | 1.78 | 313.8967 | 2.0433 | 344.9333 | 1.7067 | 116.2333 | 0.016667 | 300 | 4.5733 | 893 | 79.91 | 0
2019-12-09 03:00:00 | 1.7667 | 109.1167 | 2.03 | 119.9 | 1.5133 | 117.14 | 0.07 | 270.2 | 4.24 | 893 | 84.0327 | 0.025333
2019-12-09 03:15:00 | 1.24 | 5.1667 | 1.4267 | 5.6733 | 0.69667 | 0.15 | 0.04 | 255.3 | 3.84 | 893 | 85.3133 | 0.10867
2019-12-09 03:30:00 | 0.32667 | 1.1267 | 0.38667 | 1.2333 | 0.016667 | 179.9167 | 0.006667 | 255.2867 | 3.6733 | 893 | 84.5 | 0
2019-12-09 03:45:00 | 1.4033 | 323.72 | 1.61 | 355.7333 | 0.77333 | 340.6333 | 0.043333 | 255.2 | 3.5633 | 893 | 83.2667 | 0
2019-12-09 04:00:00 | 2.31 | 324.5667 | 2.6633 | 356.6533 | 2.12 | 115.4667 | 0.05 | 255.2933 | 3.1567 | 892.8667 | 85.4133 | 0
2019-12-09 04:15:00 | 2.54 | 314.8267 | 2.9233 | 345.9667 | 2.5067 | 354.9333 | 0.24667 | 271.5667 | 2.93 | 892 | 86.5667 | 0
2019-12-09 04:30:00 | 2.82 | 318.8933 | 3.25 | 350.4333 | 2.9267 | 119.5733 | 0.44 | 331.2333 | 2.8633 | 892 | 88.4333 | 0
2019-12-09 04:45:00 | 3.2 | 314.9633 | 3.68 | 346.1 | 3.3967 | 2.6033 | 0.89667 | 236.38 | 2.8733 | 892 | 88.9 | 0
2019-12-09 05:00:00 | 3.4533 | 316.2367 | 3.98 | 347.5 | 3.6367 | 43.0367 | 2.5633 | 2.7133 | 2.82 | 892 | 89.8867 | 0
2019-12-09 05:15:00 | 3.4867 | 110.3467 | 4.0067 | 121.26 | 3.8433 | 7.3 | 3.12 | 5.17 | 2.6733 | 892 | 89.2 | 0
2019-12-09 05:30:00 | 3.4 | 309.6467 | 3.9133 | 340.2667 | 3.8167 | 7.4933 | 3.1467 | 8.77 | 2.56 | 892 | 89.6667 | 0
2019-12-09 05:45:00 | 3.5933 | 316.95 | 4.1313 | 348.3 | 4.1213 | 5.2907 | 3.4607 | 12.0773 | 2.466 | 891.5333 | 92.9733 | 0
2019-12-09 06:00:00 | 3.8067 | 309.0753 | 4.38 | 339.6467 | 4.3833 | 3.52 | 3.8033 | 18.6667 | 2.3867 | 891 | 94.5333 | 0
2019-12-09 06:15:00 | 3.8733 | 311.6133 | 4.4533 | 342.4333 | 4.5233 | 1.17 | 4.05 | 11.6433 | 2.2967 | 891 | 95.9667 | 0
2019-12-09 06:30:00 | 3.5133 | 321.7533 | 4.04 | 353.5667 | 4.31 | 6.8433 | 3.7833 | 16.87 | 2.11 | 891 | 96.5667 | 0
2019-12-09 06:45:00 | 3.39 | 119.6633 | 3.9033 | 131.4933 | 4.35 | 8.8067 | 3.6633 | 12.6767 | 1.9667 | 891 | 96.3333 | 0
2019-12-09 07:00:00 | 3.438 | 314.534 | 3.956 | 345.64 | 3.894 | 3.69 | 3.78 | 9.996 | 1.772 | 891 | 96.84 | 0
2019-12-09 07:15:00 | 3.6067 | 315.0133 | 4.15 | 346.1667 | 4.1067 | 1.67 | 4.0867 | 11.0667 | 1.6933 | 891 | 95.3667 | 0
2019-12-09 07:30:00 | 3.92 | 108.52 | 4.51 | 119.2467 | 4.46 | 1.1833 | 4.16 | 6.6733 | 1.7 | 891 | 93.7 | 0
2019-12-09 07:45:00 | 4.0733 | 314.8 | 4.6867 | 345.9333 | 4.9567 | 6.01 | 4.2267 | 5.24 | 1.6733 | 891 | 94.2 | 0.047333
2019-12-09 08:00:00 | 4.0467 | 301.4533 | 4.66 | 331.2667 | 5.0033 | 8.75 | 4.2 | 6.52 | 1.4067 | 891 | 95.0667 | 0.000667
2019-12-09 08:15:00 | 3.8213 | 128.8547 | 4.3907 | 141.592 | 4.5433 | 12.1233 | 4.38 | 15.322 | 1.47 | 891.4667 | 93.04 | 0.57067
2019-12-09 08:30:00 | 3.9267 | 317.8667 | 4.52 | 349.3 | 4.6813 | 14.5933 | 4.5067 | 20.58 | 1.67 | 892 | 94.02 | 0
2019-12-09 08:45:00 | 3.578 | 302.9707 | 4.1187 | 332.9267 | 4.058 | 1.632 | 3.826 | 21.8053 | 2.1027 | 892 | 94.8267 | 0
2019-12-09 09:00:00 | 3.6 | 305.4367 | 4.15 | 335.6333 | 4.05 | 6.2267 | 3.7467 | 18.22 | 2.4433 | 892.1333 | 93.0667 | 0
2019-12-09 09:15:00 | 3.8567 | 314.4 | 4.4433 | 345.5 | 4.49 | 5.9033 | 4.25 | 22.2067 | 2.5767 | 893 | 91.7333 | 0.019333
2019-12-09 09:30:00 | 3.8567 | 104.848 | 4.4433 | 115.2133 | 4.5433 | 12.91 | 4.4833 | 15.1867 | 2.5167 | 893 | 92.2 | 0
2019-12-09 09:45:00 | 3.56 | 323.9333 | 4.0967 | 355.9667 | 4.1267 | 2.89 | 4.23 | 11.8 | 3.08 | 893 | 91.2333 | 0
2019-12-09 10:00:00 | 3.5 | 312.5933 | 4.03 | 343.5 | 3.86 | 8.3033 | 3.67 | 12.5733 | 3.7533 | 893.1333 | 84.2333 | 0
2019-12-09 10:15:00 | 3.45 | 223.3933 | 3.97 | 245.4833 | 3.9467 | 17.26 | 3.49 | 21.6233 | 3.91 | 894 | 80.6 | 0
2019-12-09 10:30:00 | 3.1633 | 223.3933 | 3.6367 | 245.4833 | 3.66 | 10.58 | 2.97 | 21.8833 | 3.9967 | 894 | 82.2667 | 0
2019-12-09 10:45:00 | 2.4533 | 103.1067 | 2.82 | 113.3 | 2.5733 | 3.76 | 1.2633 | 10.8067 | 3.96 | 894 | 83.7667 | 0
2019-12-09 11:00:00 | 2.146 | 126.874 | 2.468 | 139.424 | 2.176 | 7.064 | 0.576 | 159.528 | 4.134 | 894 | 82.7133 | 0
2019-12-09 11:15:00 | 1.4267 | 15.9967 | 1.6433 | 17.5767 | 0.90667 | 290.5333 | 1.0667 | 247.5667 | 4.1253 | 893.5333 | 82.0667 | 0
2019-12-09 11:30:00 | 1.4133 | 108.6567 | 1.63 | 119.39 | 1.3067 | 159.2667 | 1.0933 | 156.4333 | 5.3467 | 893 | 82 | 0.094667
2019-12-09 11:45:00 | 1.9733 | 164.1967 | 2.27 | 180.4333 | 1.9067 | 156.5667 | 1.7933 | 196.6 | 6.5 | 893 | 80.5333 | 0.112
2019-12-09 12:00:00 | 2.2067 | 151.09 | 2.5367 | 166.0333 | 2.28 | 206.7 | 2.6933 | 200.7333 | 6.6453 | 893 | 80.1067 | 0.71733
2019-12-09 12:15:00 | 3.02 | 158.8667 | 3.4833 | 174.5667 | 3.2833 | 199.9667 | 3.8 | 205.8 | 6.9133 | 893 | 79.1087 | 1.3833
2019-12-09 12:30:00 | 3.14 | 139.3333 | 3.61 | 153.1 | 3.45 | 200.8333 | 3.86 | 204.1333 | 7.5867 | 893 | 76.9833 | 2.34
2019-12-09 12:45:00 | 3.02 | 145.8167 | 3.4767 | 160.2333 | 3.3433 | 194.0667 | 3.7733 | 203.7733 | 7.97 | 893 | 75.7 | 2.526
2019-12-09 13:00:00 | 2.9 | 153.65 | 3.3367 | 168.8333 | 3.2033 | 227.6 | 3.4533 | 209.6 | 8.1833 | 892.3333 | 74.7667 | 2.3993
2019-12-09 13:15:00 | 2.8133 | 160.9107 | 3.2373 | 176.8267 | 3.0893 | 188.76 | 3.1567 | 203.8067 | 8.5287 | 892.5333 | 74.0467 | 3.3473
2019-12-09 13:30:00 | 3.3933 | 165.96 | 3.9033 | 182.3667 | 3.57 | 176.3667 | 3.4067 | 206.2 | 8.5813 | 892 | 74.2193 | 4.16
2019-12-09 13:45:00 | 3.11 | 151.2393 | 3.578 | 166.2 | 3.5133 | 176.66 | 3.4313 | 207.8933 | 9.0613 | 892 | 73.4613 | 4.9253
2019-12-09 14:00:00 | 3.06 | 159.7133 | 3.5233 | 175.5 | 3.3133 | 188.7 | 3.24 | 202.5 | 9.47 | 892 | 72.7667 | 5.406
2019-12-09 14:15:00 | 3.748 | 175.2013 | 4.3093 | 192.5333 | 4.4593 | 225.4667 | 4.242 | 225.28 | 9.648 | 891.5333 | 73.4107 | 5.9947
2019-12-09 14:30:00 | 3.7933 | 193.8867 | 4.3667 | 213.0667 | 4.78 | 243.5667 | 4.93 | 229.8 | 9.9633 | 891 | 72.89 | 6.728
2019-12-09 14:45:00 | 3.948 | 167.496 | 4.5433 | 184.06 | 4.894 | 239.68 | 5.2 | 219.7533 | 10.094 | 891 | 71.866 | 6.1507
2019-12-09 15:00:00 | 3.3067 | 167.02 | 3.8067 | 183.5333 | 4.0367 | 216.5 | 4.4167 | 233.2667 | 10.12 | 891 | 72.4667 | 5.9933
2019-12-09 15:15:00 | 3.5033 | 173.36 | 4.03 | 190.5 | 4.24 | 217 | 4.5467 | 235.2 | 9.9633 | 891 | 72.8733 | 5.9893
2019-12-09 15:30:00 | 3.1967 | 167.4133 | 3.6833 | 183.9667 | 4.0333 | 237 | 4.3333 | 237.6 | 9.7433 | 891 | 74.5133 | 4.948
2019-12-09 15:45:00 | 3.03 | 176.6367 | 3.4833 | 194.1 | 3.8667 | 221 | 3.8867 | 234.0333 | 10.15 | 891 | 72.3333 | 4.1333
2019-12-09 16:00:00 | 2.85 | 176.5167 | 3.2833 | 193.9667 | 3.4267 | 225 | 3.76 | 233.3 | 9.8007 | 890.2 | 72.9133 | 4.4107
2019-12-09 16:15:00 | 2.692 | 148.4613 | 3.0973 | 163.14 | 3.1947 | 233.3667 | 3.37 | 234.6133 | 9.5627 | 890 | 73.516 | 5.5713
2019-12-09 16:30:00 | 2.66 | 172.81 | 3.06 | 189.9 | 3.4333 | 220.9333 | 3.7067 | 237.4133 | 9.32 | 890 | 73.8833 | 6.3407
2019-12-09 16:45:00 | 2.5067 | 166.0233 | 2.8867 | 182.4333 | 3.3267 | 236.2333 | 3.69 | 237 | 8.97 | 890 | 74.8133 | 6.7547
2019-12-09 17:00:00 | 2.54 | 155.3367 | 2.9267 | 170.7 | 3.3133 | 226.2333 | 3.65 | 238.2667 | 8.81 | 890 | 73.9067 | 6.5353
2019-12-09 17:15:00 | 2.52 | 167.09 | 2.9033 | 183.6 | 3.35 | 214.4667 | 4.0833 | 242.3333 | 8.52 | 890 | 74.2 | 5.654
2019-12-09 17:30:00 | 2.3933 | 160.0433 | 2.7633 | 175.8667 | 3.33 | 218.1333 | 3.9167 | 217.8 | 8.1467 | 890 | 77.02 | 2.78
2019-12-09 17:45:00 | 1.9667 | 181.9967 | 2.27 | 200 | 2.85 | 213.2667 | 3.2433 | 228.2667 | 7.83 | 889.5333 | 79.0733 | 2.198
2019-12-09 18:00:00 | 1.82 | 177.9967 | 2.0967 | 195.6 | 2.59 | 213.8667 | 3.0967 | 222.6667 | 7.6833 | 889.6667 | 80.9 | 1.984
2019-12-09 18:15:00 | 1.4867 | 179.18 | 1.7167 | 196.9 | 2.2 | 222.0333 | 2.68 | 222.6333 | 7.53 | 889 | 82.2 | 1.9933
2019-12-09 18:30:00 | 1.9533 | 185.5533 | 2.2433 | 203.9 | 2.88 | 233.4333 | 3.42 | 237.3667 | 7.5767 | 889 | 82.9333 | 2.8293
2019-12-09 18:45:00 | 2.2867 | 175.28 | 2.63 | 192.6 | 3.1667 | 234 | 3.6433 | 236.0333 | 7.5067 | 889 | 83.4 | 2.326
2019-12-09 19:00:00 | 2.0933 | 168.864 | 2.4033 | 185.56 | 2.5133 | 218.9333 | 3.03 | 225.0333 | 7.6933 | 889 | 82.3333 | 1.132
2019-12-09 19:15:00 | 1.6953 | 155.0833 | 1.9613 | 170.42 | 2.3187 | 189 | 2.8827 | 214.32 | 7.3747 | 889.4667 | 83.9533 | 0.74533
2019-12-09 19:30:00 | 2 | 167.1967 | 2.31 | 183.7333 | 2.55 | 195.4333 | 2.9267 | 216.8667 | 7.3867 | 889.3333 | 83.9 | 0.65733
2019-12-09 19:45:00 | 2.0467 | 168.7567 | 2.3533 | 185.4333 | 2.59 | 197.8333 | 2.8133 | 216 | 7.42 | 890 | 83.9333 | 0.748
2019-12-09 20:00:00 | 1.59 | 169.225 | 1.83 | 185.95 | 2.37 | 203.1 | 2.78 | 218.87 | 7.39 | 890 | 83.95 | 0.407
2019-12-09 20:15:00 | 0.86667 | 171.54 | 1.0067 | 188.5 | 1.54 | 210.5 | 2.08 | 224.9667 | 7.3373 | 890 | 84.4 | 0.64133
2019-12-09 20:30:00 | 1.1067 | 210.06 | 1.28 | 230.8333 | 2.1467 | 239.9667 | 2.98 | 241.5 | 7.1867 | 890 | 85.08 | 1.7973
2019-12-09 20:45:00 | 1.6733 | 213.7667 | 1.93 | 234.9 | 2.8167 | 235.0667 | 3.4867 | 242.2667 | 7.2267 | 890 | 85.38 | 1.496
2019-12-09 21:00:00 | 1.22 | 216.4333 | 1.4033 | 237.8333 | 2.07 | 231.16 | 2.5333 | 232.4 | 7.3467 | 890 | 85.1 | 1.036
2019-12-09 21:15:00 | 0.52667 | 188.6467 | 0.61 | 207.3 | 0.93 | 190.9 | 1.2367 | 214.8667 | 7.06 | 890 | 85.9 | 0.59467
2019-12-09 21:30:00 | 0.72 | 153.3267 | 0.83667 | 168.4867 | 1.35 | 167.3 | 1.07 | 184.6667 | 7.0813 | 890 | 85.3 | 0.022
2019-12-09 21:45:00 | 0.14667 | 153.2867 | 0.16667 | 168.4467 | 0.28667 | 175.1667 | 0.51333 | 217.4 | 6.79 | 890 | 85.9 | 0
2019-12-09 22:00:00 | 0.066667 | 153.34 | 0.086667 | 168.5 | 0.13333 | 214.9667 | 0.8 | 253.0667 | 6.8847 | 890 | 86.0333 | 0
2019-12-09 22:15:00 | 0.013333 | 153.34 | 0.013333 | 168.5 | 0.02 | 239.2 | 0.23 | 251.2333 | 6.3933 | 890 | 88.1 | 0
2019-12-09 22:30:00 | 0.22667 | 153.3267 | 0.26667 | 168.4867 | 0 | 239.2 | 0.01 | 232.7 | 6.2 | 890 | 89.1667 | 0
2019-12-09 22:45:00 | 0.46667 | 304.1533 | 0.54667 | 334.2333 | 0.36667 | 278.46 | 0.086667 | 267 | 6.29 | 890 | 88.7 | 0
2019-12-09 23:00:00 | 1.4667 | 296.8733 | 1.6933 | 326.2333 | 1.5867 | 356.9 | 0.98667 | 112.0133 | 6.11 | 890 | 89.4333 | 0
2019-12-09 23:15:00 | 0.44 | 292.02 | 0.51 | 320.9 | 0.55333 | 350.1 | 0.5 | 163 | 6.0167 | 890 | 89.9667 | 0
2019-12-09 23:30:00 | 0.15333 | 312.8453 | 0.17667 | 343.78 | 0.16667 | 350.18 | 0.30667 | 319.0267 | 6.1767 | 890.8 | 89.2333 | 0
2019-12-09 23:45:00 | 1.28 | 313.1733 | 1.4733 | 344.1333 | 1.3467 | 126.62 | 1.42 | 27.7867 | 6.0633 | 891 | 89.3333 | 0