## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-10 00:00:00 | 2.0829 | 324.2879 | 2.4014 | 356.3571 | 2.7421 | 136.5607 | 2.4093 | 23.2157 | 5.6643 | 891 | 90.25 | 0
2019-12-10 00:15:00 | 2.4133 | 203.8567 | 2.78 | 224.01 | 3.52 | 22.2267 | 2.8767 | 29.7867 | 5.4033 | 890 | 91.4333 | 0
2019-12-10 00:30:00 | 2.1267 | 215.93 | 2.4467 | 237.2767 | 2.9667 | 18.6467 | 2.6633 | 29.9333 | 5.5367 | 890 | 90.8333 | 0
2019-12-10 00:45:00 | 2.0933 | 105.8067 | 2.41 | 116.2667 | 2.67 | 21.9167 | 2.36 | 26.9133 | 5.6467 | 890 | 90.1 | 0
2019-12-10 01:00:00 | 2.3467 | 312.9 | 2.7033 | 343.8333 | 2.7367 | 18.2233 | 2.5333 | 44.7133 | 5.6267 | 890 | 90.2333 | 0
2019-12-10 01:15:00 | 2.8133 | 108.3233 | 3.24 | 119.0333 | 3.13 | 119.5733 | 2.85 | 39.7733 | 5.1533 | 890 | 92.1333 | 0
2019-12-10 01:30:00 | 3.24 | 321.11 | 3.7267 | 352.8667 | 3.9167 | 122.9133 | 3.0633 | 28.5067 | 4.9 | 890 | 93.2 | 0
2019-12-10 01:45:00 | 3.3433 | 317.95 | 3.8467 | 349.4 | 3.7967 | 241.9533 | 3.38 | 16.0433 | 4.83 | 889.5333 | 93.2333 | 0.79467
2019-12-10 02:00:00 | 3.1233 | 307.9433 | 3.5933 | 338.4 | 3.8833 | 7.1 | 3.6333 | 22.93 | 4.8233 | 889 | 93.2333 | 1.3987
2019-12-10 02:15:00 | 3.0867 | 323.2933 | 3.5633 | 355.2667 | 4.08 | 10.36 | 4.3333 | 17.33 | 4.8167 | 889 | 93.3467 | 3.2493
2019-12-10 02:30:00 | 3 | 321.9067 | 3.4567 | 353.7333 | 4.112 | 138.28 | 4.62 | 15.7233 | 4.5433 | 889 | 94.3333 | 3.442
2019-12-10 02:45:00 | 3 | 306.1267 | 3.45 | 336.4 | 4.8333 | 10.1167 | 4.9167 | 8.7233 | 4.1767 | 889 | 96.1 | 5.6547
2019-12-10 03:00:00 | 3.24 | 316.5 | 3.7367 | 347.8 | 5.74 | 9.2567 | 5.71 | 10.7167 | 3.81 | 889 | 96.9667 | 9.178
2019-12-10 03:15:00 | 3.4067 | 17.85 | 3.9267 | 19.6133 | 5.4267 | 12.87 | 6.0147 | 16.3567 | 3.7633 | 889 | 98 | 9.8407
2019-12-10 03:30:00 | 3.7267 | 10.8633 | 4.2867 | 11.9267 | 5.7267 | 17.73 | 5.832 | 23.1233 | 4.0367 | 889 | 97.1867 | 11.3487
2019-12-10 03:45:00 | 3.6933 | 20.2567 | 4.2467 | 22.2633 | 5.34 | 17.6567 | 5.98 | 22.3067 | 4.12 | 889 | 96.6 | 10.59
2019-12-10 04:00:00 | 3.6267 | 8.0567 | 4.1733 | 8.8567 | 5.08 | 238.1567 | 5.7467 | 16.5467 | 4.18 | 889 | 96.4667 | 13.2233
2019-12-10 04:15:00 | 3.5653 | 6.6353 | 4.1113 | 7.2867 | 5.4253 | 97.546 | 5.6893 | 9.282 | 4.3387 | 889 | 95.6267 | 13.1413
2019-12-10 04:30:00 | 3.3267 | 213.1933 | 3.8333 | 234.2733 | 5.28 | 348.7 | 5.4033 | 10.3367 | 4.5 | 889 | 94.2 | 16.3867
2019-12-10 04:45:00 | 3.3133 | 114.03 | 3.82 | 125.2933 | 5.7933 | 9.1333 | 6.05 | 241.1667 | 4.4133 | 889 | 94.6333 | 11.0827
2019-12-10 05:00:00 | 3.6867 | 163.9633 | 4.24 | 180.1667 | 6.12 | 5.5867 | 6.3233 | 5.8933 | 4.3933 | 889 | 94.9 | 15.9327
2019-12-10 05:15:00 | 3.8267 | 42.2433 | 4.4033 | 46.4167 | 6.2067 | 8.8933 | 6.3333 | 12.8433 | 4.2767 | 889 | 95.3 | 16.3873
2019-12-10 05:30:00 | 3.9667 | 9.7833 | 4.5633 | 10.75 | 6.1333 | 12.2 | 6.3467 | 18.61 | 4.1233 | 888.2 | 95.7667 | 18.384
2019-12-10 05:45:00 | 3.9 | 19.67 | 4.4867 | 21.61 | 6.37 | 11.3667 | 6.5933 | 16.4567 | 3.9633 | 888 | 96.5 | 20.7
2019-12-10 06:00:00 | 3.7667 | 23.03 | 4.34 | 25.31 | 6.2633 | 18.3533 | 6.5133 | 14.43 | 3.8967 | 888 | 96.4867 | 20.9293
2019-12-10 06:15:00 | 3.96 | 105.9833 | 4.5567 | 116.4667 | 6.8667 | 240.4067 | 6.9167 | 13.6833 | 3.7067 | 888 | 96.4467 | 19.7133
2019-12-10 06:30:00 | 3.9733 | 319.4767 | 4.57 | 351.0667 | 6.1733 | 6.5733 | 6.45 | 5.1567 | 3.5867 | 888 | 96.9667 | 18.8007
2019-12-10 06:45:00 | 3.7567 | 272.7933 | 4.32 | 299.7667 | 6.15 | 19.8 | 6.36 | 13.3933 | 3.54 | 888 | 97.32 | 17.9993
2019-12-10 07:00:00 | 3.5167 | 314.2933 | 4.0533 | 345.3667 | 6.1233 | 14.58 | 6.3133 | 18.6133 | 3.2933 | 888 | 97.8667 | 16.3713
2019-12-10 07:15:00 | 4.07 | 109.9367 | 4.68 | 120.8133 | 6.7267 | 13.9367 | 7.17 | 16.0067 | 3.0567 | 888 | 98.7 | 17.9033
2019-12-10 07:30:00 | 4.2433 | 109.9367 | 4.88 | 120.8133 | 6.5733 | 11.6033 | 7.3713 | 14.6933 | 2.9833 | 888 | 99.0333 | 19.5167
2019-12-10 07:45:00 | 4.0867 | 4.05 | 4.7067 | 4.4433 | 6.6667 | 8.87 | 7.1433 | 15.2933 | 2.81 | 888 | 99.4 | 16.254
2019-12-10 08:00:00 | 4.04 | 1.17 | 4.6533 | 1.2833 | 6.3667 | 240.67 | 6.7367 | 18.34 | 2.69 | 888 | 99.7333 | 20.92
2019-12-10 08:15:00 | 4.6733 | 321.96 | 5.3867 | 353.8 | 6.8567 | 8.95 | 7.3267 | 14.6267 | 2.8767 | 888.4667 | 99.7467 | 20.8787
2019-12-10 08:30:00 | 4.7467 | 305.5573 | 5.46 | 335.7733 | 7.1767 | 12.7433 | 7.5533 | 14.4667 | 2.9833 | 889 | 99.5867 | 22.784
2019-12-10 08:45:00 | 4.8967 | 25.03 | 5.64 | 27.5033 | 7.3 | 11.56 | 7.6333 | 14.58 | 3.5867 | 889 | 97.6667 | 25.118
2019-12-10 09:00:00 | 4.2433 | 204.89 | 4.88 | 225.1567 | 7.08 | 12.7333 | 7.3133 | 17.2267 | 3.7067 | 889.1333 | 96 | 22.3607
2019-12-10 09:15:00 | 4.05 | 111.97 | 4.66 | 123.0333 | 6.6333 | 12.7333 | 6.73 | 17.3 | 4.2767 | 890 | 94.3333 | 17.086
2019-12-10 09:30:00 | 3.89 | 324.5593 | 4.48 | 356.6467 | 6.4467 | 18.1133 | 6.4367 | 7.88 | 5.0167 | 890 | 90.8 | 19.4447
2019-12-10 09:45:00 | 4.4133 | 216.3667 | 5.0867 | 237.7533 | 7.12 | 15.19 | 6.9133 | 21.3133 | 5.1567 | 890.4667 | 89.6133 | 20.97
2019-12-10 10:00:00 | 3.95 | 198.082 | 4.548 | 217.664 | 6.902 | 8.568 | 7.438 | 22.802 | 6.126 | 891 | 86.54 | 20.0293
2019-12-10 10:15:00 | 3.86 | 115.7867 | 4.4467 | 127.24 | 6.66 | 11.33 | 6.9467 | 15.8 | 6.63 | 891 | 83.1 | 17.1273
2019-12-10 10:30:00 | 3.4533 | 303.0867 | 3.9733 | 333.0667 | 6.2 | 11.77 | 6.6667 | 17.7067 | 7.518 | 891 | 80.4733 | 12.7793
2019-12-10 10:45:00 | 3.36 | 121.98 | 3.8733 | 134.04 | 6.0333 | 10.6333 | 6.4533 | 20.18 | 8.2133 | 891.4667 | 76.5433 | 15.5067
2019-12-10 11:00:00 | 3.64 | 131.18 | 4.1933 | 144.1533 | 6.4667 | 10.6333 | 7.0533 | 19.9733 | 6.9933 | 891.8667 | 81.3433 | 14.734
2019-12-10 11:15:00 | 4.0067 | 102.4067 | 4.6167 | 112.5333 | 7.1333 | 9.5133 | 7.4633 | 11.7933 | 7.0233 | 891 | 82.1333 | 12.116
2019-12-10 11:30:00 | 3.9667 | 316.4667 | 4.57 | 347.7667 | 7.0213 | 10.42 | 7.27 | 17.82 | 7.47 | 891 | 80.4667 | 12.6747
2019-12-10 11:45:00 | 3.6533 | 119.2633 | 4.2067 | 131.0533 | 6.61 | 12.5967 | 6.9967 | 16.9933 | 8.8133 | 891 | 76.2833 | 7.6173
2019-12-10 12:00:00 | 3.8533 | 100.9633 | 4.4333 | 110.94 | 6.17 | 10.13 | 6.7967 | 20.1867 | 8.6867 | 891 | 75.55 | 4.116
2019-12-10 12:15:00 | 3.68 | 18.5833 | 4.2333 | 20.42 | 5.1167 | 12.34 | 5.8133 | 18.5867 | 8.0367 | 891 | 76.9133 | 1.7233
2019-12-10 12:30:00 | 3.2533 | 25.6367 | 3.74 | 28.1667 | 4.2567 | 17.5733 | 4.7133 | 19.12 | 8.29 | 891 | 75.3067 | 0.10667
2019-12-10 12:45:00 | 2.54 | 32.2267 | 2.9233 | 35.41 | 3.4367 | 17.34 | 3.6967 | 17.1233 | 8.4533 | 891 | 73.7567 | 0
2019-12-10 13:00:00 | 2.0733 | 22.3467 | 2.39 | 24.5567 | 2.55 | 21.1 | 2.6633 | 23.8767 | 9.02 | 890.8667 | 70.6833 | 0
2019-12-10 13:15:00 | 1.8033 | 111.1267 | 2.08 | 122.1133 | 2.5367 | 32.1833 | 2.85 | 26.37 | 9.8767 | 890 | 67.2467 | 0
2019-12-10 13:30:00 | 1.61 | 112.6 | 1.8533 | 123.7267 | 2.3833 | 36.8767 | 2.41 | 22.1233 | 10.6967 | 890.8 | 63.8 | 0
2019-12-10 13:45:00 | 1.1233 | 0.88667 | 1.2967 | 0.97667 | 1.41 | 41.3533 | 0.88 | 126.8267 | 11.7733 | 890.5333 | 57.8967 | 0
2019-12-10 14:00:00 | 1.5033 | 109.4933 | 1.73 | 120.3233 | 1.6233 | 120.6133 | 1.3267 | 209.9667 | 12.0533 | 890 | 56.3833 | 0
2019-12-10 14:15:00 | 2.786 | 145.4653 | 3.2027 | 159.8533 | 2.9713 | 173.4467 | 2.582 | 171.94 | 11.4187 | 890 | 65.5433 | 0
2019-12-10 14:30:00 | 3.05 | 149.0967 | 3.5067 | 163.8333 | 3.2267 | 169.6667 | 2.9967 | 179.4333 | 11.2 | 890 | 67.48 | 0
2019-12-10 14:45:00 | 3.2267 | 155.4933 | 3.7233 | 170.8667 | 3.37 | 182.2 | 3.19 | 183.2333 | 11.45 | 890 | 58.5933 | 0
2019-12-10 15:00:00 | 3.2867 | 152.28 | 3.7833 | 167.3333 | 3.4033 | 174.1333 | 3.21 | 195.0333 | 11.4953 | 889.2 | 55.4707 | 0
2019-12-10 15:15:00 | 3.4067 | 137.0467 | 3.92 | 150.6 | 3.62 | 179.7 | 3.2933 | 184.4 | 11.44 | 889 | 62.3667 | 0.025333
2019-12-10 15:30:00 | 3.1267 | 130.1333 | 3.5933 | 143 | 3.36 | 191.3 | 3.1133 | 194.8 | 11.68 | 889 | 61.5933 | 0.20333
2019-12-10 15:45:00 | 2.9633 | 159.0133 | 3.41 | 174.7333 | 3.1333 | 180.2667 | 2.9733 | 187.4 | 11.82 | 889 | 60.27 | 0.294
2019-12-10 16:00:00 | 2.95 | 153.9733 | 3.3967 | 169.2 | 3.12 | 172.5333 | 2.9067 | 191.5333 | 11.74 | 889 | 60.8767 | 0.242
2019-12-10 16:15:00 | 2.7 | 152.4033 | 3.1133 | 167.4667 | 3.01 | 176.6333 | 2.68 | 191.9333 | 11.7267 | 889 | 60.7733 | 0.032667
2019-12-10 16:30:00 | 2.46 | 157.1833 | 2.8267 | 172.7333 | 2.73 | 173.0333 | 2.54 | 192.0667 | 11.7933 | 889 | 61.7 | 0.22333
2019-12-10 16:45:00 | 2.48 | 171.5367 | 2.85 | 188.5 | 3.1367 | 220.4 | 3.06 | 232.6667 | 11.6167 | 889 | 60.5033 | 0.76533
2019-12-10 17:00:00 | 2.6867 | 174.6367 | 3.09 | 191.9 | 3.61 | 225.4667 | 3.6333 | 228.2667 | 11.23 | 889 | 59.5967 | 0.798
2019-12-10 17:15:00 | 2.3233 | 177.15 | 2.68 | 194.6667 | 3.1633 | 209.0333 | 3.31 | 222.4 | 10.5933 | 889 | 61.5833 | 0.97667
2019-12-10 17:30:00 | 2.09 | 171.0833 | 2.4067 | 188 | 2.7633 | 209.3 | 2.9967 | 232.6667 | 10.3267 | 889 | 63.17 | 1.132
2019-12-10 17:45:00 | 2.08 | 173.3533 | 2.3933 | 190.5 | 2.77 | 212.2 | 3.02 | 219.5667 | 10.0467 | 889 | 64.6533 | 1.4027
2019-12-10 18:00:00 | 2.0533 | 175.3067 | 2.36 | 192.6333 | 2.7433 | 200.5333 | 3.0867 | 216.4333 | 9.8733 | 889 | 66.5933 | 1.44
2019-12-10 18:15:00 | 2.01 | 177.6933 | 2.31 | 195.2667 | 2.84 | 205.7333 | 2.97 | 215.5333 | 9.6433 | 889 | 68.9967 | 1.7027
2019-12-10 18:30:00 | 2.1633 | 173.7467 | 2.4967 | 190.9333 | 3.1333 | 214.4667 | 3.2767 | 219.6 | 9.39 | 889 | 71.2167 | 2.2273
2019-12-10 18:45:00 | 1.5 | 173.7167 | 1.7233 | 190.9 | 2.1333 | 204.1333 | 2.3767 | 216.0333 | 9.53 | 889 | 66.87 | 1.5007
2019-12-10 19:00:00 | 1.148 | 167.15 | 1.322 | 183.68 | 1.872 | 190.78 | 2.102 | 212.18 | 9.356 | 889 | 70.634 | 0.86867
2019-12-10 19:15:00 | 1.6233 | 164.7833 | 1.8633 | 181.08 | 2.2333 | 191.6667 | 2.39 | 209.1 | 9.3067 | 889 | 72.7633 | 0.69133
2019-12-10 19:30:00 | 1.83 | 180.0567 | 2.11 | 197.8667 | 2.3133 | 192.4667 | 2.53 | 206.2733 | 9.5133 | 889 | 72.6233 | 0.63733
2019-12-10 19:45:00 | 1.8333 | 171.5933 | 2.12 | 188.5667 | 2.34 | 187.9667 | 2.4333 | 202.7667 | 9.49 | 889 | 71.3167 | 0.69733
2019-12-10 20:00:00 | 2.26 | 166.6867 | 2.6 | 183.1667 | 2.86 | 187.6333 | 2.8867 | 196.6333 | 9.4513 | 889 | 69.7567 | 0.844
2019-12-10 20:15:00 | 1.8667 | 161.35 | 2.1467 | 177.3 | 2.4467 | 190.7 | 3.04 | 204.1333 | 9.4 | 889 | 68.9933 | 0.61667
2019-12-10 20:30:00 | 1.54 | 176.27 | 1.7733 | 193.7 | 2.1 | 184.6333 | 2.82 | 191.9333 | 9.1 | 889 | 70.5933 | 0.26133
2019-12-10 20:45:00 | 1.908 | 172.5753 | 2.2027 | 189.6333 | 2.2793 | 182.0267 | 2.7467 | 179.96 | 9.0293 | 889 | 70.8753 | 0
2019-12-10 21:00:00 | 1.8467 | 175.9033 | 2.1333 | 193.3 | 2.3333 | 182.5667 | 2.5967 | 182 | 9 | 889.8 | 71.5767 | 0
2019-12-10 21:15:00 | 2.0233 | 167.7567 | 2.3333 | 184.3333 | 2.59 | 188.2 | 2.6333 | 191.9 | 8.91 | 890 | 72.3433 | 0
2019-12-10 21:30:00 | 1.67 | 175.4567 | 1.9267 | 192.8 | 2.21 | 194.4 | 2.5133 | 187.6333 | 8.8633 | 890 | 72.21 | 0
2019-12-10 21:45:00 | 0.83333 | 161.89 | 0.97 | 177.9 | 1.56 | 159.4333 | 1.8733 | 171.4667 | 8.8833 | 890 | 71.2567 | 0
2019-12-10 22:00:00 | 0.64 | 134.41 | 0.74333 | 147.7 | 1.2667 | 159.1 | 1.44 | 163.7333 | 8.8967 | 890 | 70.55 | 0
2019-12-10 22:15:00 | 0.92667 | 131.5 | 1.0667 | 144.5 | 1.4833 | 147.9 | 1.78 | 156.9 | 8.8653 | 890 | 70.3733 | 0
2019-12-10 22:30:00 | 0.61333 | 111.4067 | 0.70667 | 122.42 | 1.11 | 147.74 | 1.6133 | 156.8333 | 8.76 | 890 | 70.9 | 0
2019-12-10 22:45:00 | 0.44667 | 70.5533 | 0.52333 | 77.5267 | 0.80333 | 147.6533 | 1.2567 | 159.8533 | 8.6267 | 890 | 71.6067 | 0
2019-12-10 23:00:00 | 0.10667 | 8.9267 | 0.13 | 9.8067 | 0.10333 | 147.68 | 1.1633 | 159.8 | 8.0933 | 890 | 74.9133 | 0
2019-12-10 23:15:00 | 0.34 | 8.94 | 0.39 | 9.82 | 0.67333 | 147.7467 | 1.5133 | 169.2667 | 7.54 | 890 | 76.11 | 0
2019-12-10 23:30:00 | 0.81333 | 88.0333 | 0.93667 | 96.74 | 1.46 | 174.4 | 1.8333 | 188.2133 | 7.6667 | 890 | 76.0367 | 0
2019-12-10 23:45:00 | 0.56 | 127.58 | 0.65 | 140.2 | 1.1067 | 187.7467 | 1.5367 | 188.48 | 7.2367 | 890 | 78.9333 | 0