## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-11 00:00:00 | 0.028571 | 127.5871 | 0.032143 | 140.2071 | 0.05 | 187.8 | 0.85286 | 188.7857 | 6.95 | 890 | 79.87 | 0
2019-12-11 00:15:00 | 0.09 | 127.6333 | 0.10667 | 140.2533 | 0.16333 | 160.9 | 1.2067 | 153.2 | 7.69 | 890 | 76.24 | 0
2019-12-11 00:30:00 | 0.063333 | 127.58 | 0.073333 | 140.2 | 0.12333 | 160.9133 | 1.16 | 153.2 | 7.5233 | 890 | 77.0733 | 0
2019-12-11 00:45:00 | 0.26 | 303.3 | 0.29667 | 333.3 | 0.11333 | 161 | 0.63333 | 153.2 | 7.1067 | 890 | 79.36 | 0
2019-12-11 01:00:00 | 0.46 | 303.236 | 0.53667 | 333.22 | 0.84 | 172.8267 | 0.82667 | 153.24 | 7.06 | 890 | 79.6667 | 0
2019-12-11 01:15:00 | 0.36333 | 178.72 | 0.42333 | 196.4 | 0.56667 | 178.7467 | 1.2667 | 206.6 | 6.6367 | 890 | 82.1 | 0
2019-12-11 01:30:00 | 0.85667 | 178.656 | 0.99667 | 196.32 | 1.3667 | 196.3867 | 1.7533 | 214.4533 | 6.45 | 890 | 83.3 | 0
2019-12-11 01:45:00 | 1.4867 | 164.93 | 1.7233 | 181.2333 | 2.0333 | 202.8 | 2.45 | 213.3 | 6.21 | 890 | 84.5333 | 0
2019-12-11 02:00:00 | 1.4333 | 143.81 | 1.65 | 158.0333 | 2.2133 | 198.6667 | 2.53 | 214.18 | 5.7033 | 890 | 86.9333 | 0
2019-12-11 02:15:00 | 0.82 | 169.192 | 0.94333 | 185.9267 | 1.61 | 199.14 | 1.7267 | 214.5133 | 5.4867 | 889.5333 | 87.8333 | 0
2019-12-11 02:30:00 | 0.7 | 189.9867 | 0.81667 | 208.7667 | 1.2833 | 194.18 | 1.64 | 185.1267 | 5.7867 | 889 | 86.4333 | 0
2019-12-11 02:45:00 | 0.62 | 224.8433 | 0.72 | 247.0667 | 0.9 | 186.7333 | 1.6267 | 170.8467 | 5.97 | 889 | 85.4667 | 0
2019-12-11 03:00:00 | 0.29333 | 316.33 | 0.34 | 347.6 | 0.10667 | 184.6 | 0.71333 | 162.3667 | 5.67 | 889 | 86.7333 | 0
2019-12-11 03:15:00 | 0.19333 | 304.5 | 0.22333 | 334.6 | 0.023333 | 184.6 | 1.7033 | 157.8 | 5.6267 | 889 | 86.9667 | 0
2019-12-11 03:30:00 | 0.32667 | 304.34 | 0.37667 | 334.44 | 0.30333 | 184.5333 | 1.6367 | 165.6 | 5.58 | 889 | 87.0867 | 0
2019-12-11 03:45:00 | 0.43333 | 307.8533 | 0.51333 | 338.3 | 0.76667 | 184.6 | 1.6667 | 178.1667 | 5.53 | 889 | 87.3 | 0
2019-12-11 04:00:00 | 0.71333 | 321.5667 | 0.82667 | 353.3667 | 0.1 | 184.56 | 0.72 | 172.4333 | 5.3233 | 889 | 88.3 | 0
2019-12-11 04:15:00 | 1.7533 | 107.63 | 2.02 | 118.2667 | 1.1633 | 123.3733 | 0.71 | 160.5 | 4.75 | 889 | 90.6 | 0
2019-12-11 04:30:00 | 2.5733 | 317.33 | 2.9733 | 348.7 | 2.6633 | 0.72667 | 0.24333 | 276.9 | 4.45 | 889 | 92.0667 | 0
2019-12-11 04:45:00 | 2.7333 | 324.3833 | 3.1433 | 356.4667 | 2.96 | 43.5233 | 0.41333 | 233.7567 | 3.9733 | 889 | 94.7 | 0
2019-12-11 05:00:00 | 3.06 | 318.1967 | 3.5167 | 349.6667 | 3.34 | 4.95 | 1.48 | 17.1833 | 3.8267 | 888.8667 | 95.3667 | 0
2019-12-11 05:15:00 | 3.16 | 308.8267 | 3.6433 | 339.3667 | 3.4867 | 3.0833 | 2.59 | 5.78 | 3.7633 | 888 | 95.7 | 0
2019-12-11 05:30:00 | 3.2333 | 306.9533 | 3.7167 | 337.3 | 3.48 | 2.43 | 2.89 | 10.8067 | 3.8233 | 888 | 95.5133 | 0
2019-12-11 05:45:00 | 3.1733 | 301.6167 | 3.6533 | 331.4333 | 3.5167 | 119.6467 | 3.0033 | 8.61 | 3.81 | 888 | 94.8667 | 0
2019-12-11 06:00:00 | 3.3333 | 105.0033 | 3.84 | 115.38 | 3.7233 | 123.2133 | 3.1767 | 5.6767 | 3.8367 | 888 | 94.1333 | 0
2019-12-11 06:15:00 | 3.4167 | 318.8033 | 3.93 | 350.3333 | 4.1267 | 4.7367 | 3.6433 | 9.98 | 3.6467 | 888 | 95.0667 | 0
2019-12-11 06:30:00 | 3.4433 | 309.0367 | 3.9567 | 339.6 | 4.6867 | 5.3233 | 4.21 | 9.56 | 3.5667 | 888.8 | 95.8 | 0.216
2019-12-11 06:45:00 | 3.39 | 105.8667 | 3.8967 | 116.3333 | 4.4467 | 5.1567 | 4.3413 | 23.9733 | 3.4367 | 889 | 96.7 | 0.37667
2019-12-11 07:00:00 | 3.8367 | 320.2267 | 4.4233 | 351.9 | 4.3533 | 1.2033 | 4.2267 | 15.22 | 3.4167 | 889 | 96.9 | 0.40133
2019-12-11 07:15:00 | 4.2533 | 314.47 | 4.9 | 345.5667 | 5.02 | 40.1267 | 4.4333 | 9.1333 | 3.1633 | 889 | 97.2 | 1.0207
2019-12-11 07:30:00 | 4.4 | 311.5513 | 5.0667 | 342.3667 | 5.18 | 6.12 | 4.92 | 12.8467 | 3.21 | 889 | 96.4667 | 1.0573
2019-12-11 07:45:00 | 4.14 | 18.2933 | 4.7667 | 20.1033 | 4.9033 | 6.4233 | 4.802 | 4.6533 | 3.2967 | 889 | 93.1 | 0.38
2019-12-11 08:00:00 | 3.7933 | 207.7267 | 4.3667 | 228.2633 | 4.53 | 238.4367 | 4.4433 | 5.4667 | 3.1233 | 889 | 93.4867 | 0.68933
2019-12-11 08:15:00 | 4.1267 | 215.8867 | 4.7567 | 237.24 | 4.7667 | 3.18 | 4.79 | 6.94 | 3.0767 | 889 | 93.6667 | 1.212
2019-12-11 08:30:00 | 4.2 | 220.0733 | 4.8433 | 241.84 | 4.94 | 1.72 | 4.9033 | 11.08 | 3.1967 | 889.1333 | 93.6 | 1.1313
2019-12-11 08:45:00 | 4.2467 | 322.6 | 4.8933 | 354.5 | 4.9133 | 2.7867 | 5.0067 | 7.45 | 3.4567 | 890 | 93.4667 | 1.6367
2019-12-11 09:00:00 | 4.42 | 312.132 | 5.0933 | 342.9933 | 4.8667 | 14.4667 | 5.16 | 9.0233 | 3.5233 | 890.1333 | 93.6667 | 2.4013
2019-12-11 09:15:00 | 4.4133 | 264.6 | 5.08 | 290.7667 | 5.04 | 124.74 | 5.0833 | 7.8667 | 3.4967 | 891 | 93.9 | 2.2493
2019-12-11 09:30:00 | 4.4733 | 260.9 | 5.1533 | 286.7 | 5.14 | 119.2267 | 5.07 | 8.9267 | 3.7233 | 891 | 92.3 | 1.8607
2019-12-11 09:45:00 | 4.22 | 310.98 | 4.8567 | 341.7333 | 4.7967 | 1.7533 | 4.8867 | 11.5133 | 4.1667 | 891 | 90.8 | 1.138
2019-12-11 10:00:00 | 4.1067 | 318.7467 | 4.7233 | 350.2667 | 4.9767 | 8.8533 | 4.8933 | 14.04 | 4.38 | 891.1333 | 89.88 | 0.41533
2019-12-11 10:15:00 | 4.0467 | 4.0767 | 4.6533 | 4.4833 | 4.7167 | 15.0767 | 4.6067 | 17.6067 | 4.3133 | 892 | 88.7667 | 0.184
2019-12-11 10:30:00 | 3.92 | 7.73 | 4.5067 | 8.49 | 4.7767 | 16.6033 | 4.66 | 18.42 | 4.44 | 892 | 89.3 | 0.23867
2019-12-11 10:45:00 | 3.9667 | 0.90333 | 4.56 | 0.99333 | 4.8133 | 2.64 | 4.7733 | 14.5467 | 4.6233 | 892 | 87.1667 | 0.26533
2019-12-11 11:00:00 | 4.0467 | 2.07 | 4.6533 | 2.2733 | 4.6333 | 45.9133 | 4.8067 | 13.2067 | 4.57 | 891.8667 | 87.3 | 0.19333
2019-12-11 11:15:00 | 3.7453 | 240.3373 | 4.3047 | 264.104 | 4.166 | 8.202 | 4.436 | 10.736 | 4.922 | 891 | 86.6133 | 0
2019-12-11 11:30:00 | 3.3933 | 6.4433 | 3.9033 | 7.0733 | 3.8467 | 15.1767 | 3.7433 | 11.2833 | 5.45 | 891.1333 | 82.8 | 0
2019-12-11 11:45:00 | 2.83 | 10.47 | 3.25 | 11.5033 | 3.0467 | 15.6933 | 2.5067 | 19.83 | 5.7867 | 892 | 79.8133 | 0
2019-12-11 12:00:00 | 2.63 | 10.4567 | 3.0233 | 11.4833 | 2.92 | 19.6133 | 2.26 | 11.8367 | 5.86 | 891.2 | 78.656 | 0
2019-12-11 12:15:00 | 2.06 | 9.48 | 2.3767 | 10.4067 | 2.1567 | 14.6233 | 1.23 | 18.7367 | 6.3667 | 891 | 79.07 | 0
2019-12-11 12:30:00 | 1.2267 | 112.6667 | 1.4233 | 123.8067 | 1.0833 | 54.89 | 0.53667 | 99.6633 | 7.4467 | 891 | 76.8967 | 0
2019-12-11 12:45:00 | 1.5867 | 145.6107 | 1.8327 | 160.0067 | 1.522 | 164.42 | 1.0247 | 162.84 | 8.318 | 891 | 75.7247 | 0
2019-12-11 13:00:00 | 2.2933 | 153.4333 | 2.6433 | 168.6 | 2.37 | 165.5333 | 1.9833 | 166.4667 | 8.2733 | 891 | 78.42 | 0.081333
2019-12-11 13:15:00 | 2.6933 | 152.4933 | 3.0933 | 167.5667 | 2.9133 | 191.7333 | 2.9033 | 219.2333 | 8.6533 | 891 | 79 | 0
2019-12-11 13:30:00 | 2.52 | 150.0667 | 2.9067 | 164.9 | 2.7533 | 184.6 | 2.5767 | 206.8333 | 9.1067 | 891 | 76.8467 | 0.014667
2019-12-11 13:45:00 | 2.6133 | 155.3033 | 3.0067 | 170.6667 | 2.7667 | 195.5667 | 2.8933 | 221.5667 | 9.3367 | 890.5333 | 76.4213 | 0.31333
2019-12-11 14:00:00 | 2.9533 | 159.7367 | 3.4 | 175.5333 | 3.0267 | 192.9667 | 3.18 | 205.5 | 9.9233 | 890 | 74.3 | 0.978
2019-12-11 14:15:00 | 3.15 | 157.6533 | 3.6307 | 173.24 | 3.328 | 173.2133 | 3.2567 | 195.08 | 9.8287 | 890 | 74.8733 | 1.6627
2019-12-11 14:30:00 | 2.934 | 169.4647 | 3.3733 | 186.2267 | 3.2053 | 173.9133 | 3.132 | 176.6067 | 9.6993 | 890 | 75.834 | 1.2687
2019-12-11 14:45:00 | 2.58 | 146.532 | 2.9687 | 161.02 | 2.832 | 211.3733 | 2.7373 | 232.26 | 8.812 | 890 | 79.712 | 1.702
2019-12-11 15:00:00 | 2.5067 | 153.792 | 2.886 | 168.9933 | 2.7053 | 196.3067 | 2.812 | 224.5533 | 8.5733 | 890 | 80.6267 | 0.90933
2019-12-11 15:15:00 | 2.28 | 159.8453 | 2.6333 | 175.6467 | 2.506 | 194.9733 | 2.6353 | 236.92 | 8.6267 | 890 | 80.38 | 0.98533
2019-12-11 15:30:00 | 2.4733 | 171.428 | 2.848 | 188.38 | 2.85 | 205.52 | 2.9393 | 234.6 | 8.4973 | 889.2 | 80.9667 | 1.3773
2019-12-11 15:45:00 | 2.1073 | 143.3953 | 2.4233 | 157.5733 | 2.3533 | 183.2333 | 2.6067 | 207.2 | 6.4233 | 672.8 | 61.1167 | 1.6413
2019-12-11 16:00:00 | 2.4333 | 161.742 | 2.8007 | 177.74 | 2.7847 | 209.88 | 2.946 | 227.9133 | 8.35 | 889 | 80.8227 | 2.236
2019-12-11 16:15:00 | 2.5253 | 156.9733 | 2.902 | 172.4933 | 2.8133 | 212.6533 | 3.2813 | 222.94 | 8.5107 | 889 | 80.4073 | 2.3053
2019-12-11 16:30:00 | 2.7913 | 147.65 | 3.2133 | 162.2467 | 3.1293 | 204.6467 | 3.3653 | 215.0067 | 8.2607 | 889 | 81.3867 | 1.726
2019-12-11 16:45:00 | 1.848 | 151.3927 | 2.1293 | 166.3533 | 2.1613 | 211.48 | 2.542 | 204.04 | 7.9213 | 889 | 82.9933 | 0.69933
2019-12-11 17:00:00 | 1.8127 | 151.9207 | 2.0907 | 166.94 | 2.076 | 202.0267 | 2.3373 | 222.4067 | 7.8487 | 889 | 83.5 | 0.494
2019-12-11 17:15:00 | 1.8547 | 179.5487 | 2.1433 | 197.3 | 2.7587 | 235.8467 | 3.2393 | 240.4 | 7.6827 | 889 | 84.3933 | 0.938
2019-12-11 17:30:00 | 2.3667 | 174.1327 | 2.7247 | 191.3467 | 3.5953 | 229.6467 | 4.0633 | 237.3 | 7.564 | 888.8667 | 83.2333 | 2.8027
2019-12-11 17:45:00 | 2.182 | 172.7853 | 2.5073 | 189.8667 | 2.9233 | 214.5533 | 3.2227 | 232.62 | 7.5207 | 888 | 82.8067 | 2.5873
2019-12-11 18:00:00 | 2.192 | 168.851 | 2.528 | 185.55 | 2.68 | 214.79 | 3.297 | 231.92 | 7.46 | 888 | 83.53 | 2.938
2019-12-11 18:15:00 | 1.3013 | 155.5333 | 1.502 | 170.9133 | 1.706 | 193.9267 | 2.1953 | 211.7733 | 7.4553 | 888 | 82.9067 | 1.52
2019-12-11 18:30:00 | 2.0187 | 165.3713 | 2.33 | 181.72 | 2.6667 | 205.0467 | 3.016 | 217.1133 | 7.4073 | 888 | 83.4867 | 0.76733
2019-12-11 18:45:00 | 2.1287 | 162.3553 | 2.458 | 178.4133 | 3.0513 | 223.2467 | 3.3613 | 228.0733 | 7.45 | 888 | 82.9 | 0.74133
2019-12-11 19:00:00 | 1.5147 | 168.4427 | 1.7447 | 185.1 | 2.3 | 222.1667 | 2.6027 | 223.1533 | 7.5487 | 888 | 82.26 | 0.346
2019-12-11 19:15:00 | 0.728 | 174.1273 | 0.84133 | 191.3467 | 1.2373 | 212.72 | 1.942 | 225.4733 | 7.5553 | 888 | 81.86 | 0.062667
2019-12-11 19:30:00 | 1.2453 | 174.106 | 1.4427 | 191.32 | 1.7353 | 214.3733 | 2.5393 | 223.8267 | 7.596 | 888.1333 | 81.78 | 0
2019-12-11 19:45:00 | 1.9353 | 181.4573 | 2.2293 | 199.4 | 3.0013 | 222.1133 | 3.2547 | 227.24 | 7.568 | 889 | 82.84 | 0.15933
2019-12-11 20:00:00 | 1.3673 | 126.4107 | 1.5807 | 138.9 | 2.106 | 203.4333 | 2.7133 | 224.4133 | 7.57 | 889 | 82.7733 | 0
2019-12-11 20:15:00 | 0.74533 | 139.5113 | 0.86333 | 153.3 | 1.24 | 177.5867 | 1.652 | 223.86 | 7.4753 | 889 | 83.54 | 0
2019-12-11 20:30:00 | 0.532 | 144.97 | 0.61733 | 159.3 | 0.99333 | 181.3067 | 1.4407 | 218.1533 | 7.5007 | 889 | 83.7933 | 0
2019-12-11 20:45:00 | 0.092 | 144.97 | 0.104 | 159.3 | 0.184 | 181.2467 | 1.134 | 215.9 | 7.5433 | 889 | 83.54 | 0
2019-12-11 21:00:00 | 0 | 144.97 | 0 | 159.3 | 0 | 181.3 | 0.66467 | 215.98 | 7.6393 | 889 | 82.7933 | 0
2019-12-11 21:15:00 | 0 | 144.97 | 0 | 159.3 | 0 | 181.3 | 0 | 216 | 7.7113 | 889 | 81.9733 | 0
2019-12-11 21:30:00 | 0 | 144.97 | 0 | 159.3 | 0 | 181.3 | 0 | 215.9333 | 7.676 | 889 | 81.7133 | 0
2019-12-11 21:45:00 | 0.06 | 144.97 | 0.073333 | 159.3 | 0 | 181.3 | 0.089333 | 228.3333 | 7.69 | 889 | 81.9667 | 0
2019-12-11 22:00:00 | 0.56867 | 165.5847 | 0.66333 | 181.9533 | 0.72067 | 181.3 | 0.97533 | 320.96 | 7.562 | 889 | 82.5867 | 0
2019-12-11 22:15:00 | 0.98133 | 299.6593 | 1.1333 | 329.2933 | 1.362 | 252.8667 | 1.272 | 343.9733 | 7.4893 | 889 | 83.2867 | 0
2019-12-11 22:30:00 | 1.052 | 302.9553 | 1.2147 | 332.92 | 1.45 | 349.0133 | 1.3967 | 306.872 | 7.494 | 889 | 83.6133 | 0
2019-12-11 22:45:00 | 1.4293 | 312.892 | 1.648 | 343.8333 | 2.1507 | 121.4667 | 1.96 | 50.8573 | 7.468 | 889 | 84.1133 | 0
2019-12-11 23:00:00 | 1.6153 | 320.496 | 1.864 | 352.1867 | 2.2233 | 192.526 | 2.156 | 189.4307 | 7.452 | 889.1333 | 84.2733 | 0
2019-12-11 23:15:00 | 1.7187 | 172.1967 | 1.976 | 189.22 | 2.4593 | 8.9813 | 2.5993 | 19.5053 | 7.5 | 890 | 83.82 | 0
2019-12-11 23:30:00 | 1.664 | 247.8847 | 1.914 | 272.39 | 2.4267 | 17.0653 | 2.4547 | 27.1667 | 7.3287 | 890 | 84.68 | 0
2019-12-11 23:45:00 | 1.462 | 302.7533 | 1.6913 | 332.6867 | 2.4347 | 25.2773 | 2.3827 | 26.5627 | 7.2713 | 890 | 84.98 | 0