## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-12 00:00:00 | 1.3629 | 305.9871 | 1.5657 | 336.2357 | 2.1557 | 32.3021 | 2.3014 | 37.2914 | 7.2379 | 889.2727 | 85.3727 | 0
2019-12-12 00:15:00 | 1.3633 | 313.984 | 1.5727 | 345.0333 | 1.516 | 23.8667 | 1.5873 | 43.5387 | 7.122 | 889 | 87.7133 | 0
2019-12-12 00:30:00 | 1.7133 | 314.9453 | 1.978 | 346.0933 | 2.3607 | 119.5713 | 2.2693 | 21.838 | 6.9813 | 889 | 89.2667 | 0
2019-12-12 00:45:00 | 2.212 | 321.1707 | 2.548 | 352.9333 | 2.586 | 0.666 | 2.8593 | 19.098 | 6.9753 | 889 | 89.36 | 0
2019-12-12 01:00:00 | 2.006 | 317.066 | 2.3113 | 348.42 | 2.3667 | 231.0413 | 2.5207 | 18.0093 | 7 | 889 | 89.32 | 0
2019-12-12 01:15:00 | 2.1187 | 316.9347 | 2.442 | 348.28 | 2.7267 | 283.4707 | 2.788 | 19.104 | 7.0693 | 889 | 88.6267 | 0
2019-12-12 01:30:00 | 1.8613 | 305.9473 | 2.1447 | 336.2 | 2.6547 | 308.3667 | 2.7893 | 2.7467 | 6.9553 | 889 | 89.6933 | 0
2019-12-12 01:45:00 | 2.1453 | 154.0413 | 2.4733 | 169.2753 | 2.866 | 6.8407 | 3.0013 | 14.4587 | 7.004 | 889 | 89.62 | 0
2019-12-12 02:00:00 | 1.8907 | 252.6967 | 2.184 | 277.6813 | 2.992 | 8.1793 | 3.5027 | 24.15 | 6.874 | 889 | 90.2933 | 0
2019-12-12 02:15:00 | 2.018 | 155.8447 | 2.3213 | 171.2527 | 3.43 | 5.71 | 3.716 | 19.074 | 6.5827 | 889 | 92.1133 | 0.644
2019-12-12 02:30:00 | 2.7047 | 278.2047 | 3.1113 | 305.7133 | 3.8607 | 27.55 | 4.1767 | 4.6347 | 6.3993 | 888.2 | 93.3533 | 1.3687
2019-12-12 02:45:00 | 2.5807 | 142.006 | 2.972 | 156.0467 | 4.238 | 129.0527 | 4.012 | 13.0633 | 6.3973 | 888 | 93.46 | 1.2307
2019-12-12 03:00:00 | 2.657 | 254.258 | 3.061 | 279.394 | 4.227 | 7.908 | 4.116 | 8.896 | 6.504 | 888 | 93.34 | 1.465
2019-12-12 03:15:00 | 2.6213 | 205.962 | 3.016 | 226.3233 | 3.854 | 6.0627 | 4.0093 | 12.5093 | 6.6133 | 888 | 93.0867 | 0.818
2019-12-12 03:30:00 | 2.6087 | 151.77 | 3.004 | 166.7773 | 3.5987 | 6.858 | 3.7673 | 10.2553 | 6.6673 | 888 | 92.7667 | 0.31867
2019-12-12 03:45:00 | 2.6247 | 209.3693 | 3.0187 | 230.07 | 3.6167 | 8.8733 | 3.6607 | 12.8953 | 6.5493 | 888 | 94.0333 | 0.518
2019-12-12 04:00:00 | 3.084 | 99.588 | 3.548 | 109.428 | 3.892 | 180.584 | 3.888 | 33.124 | 6.364 | 888 | 95.73 | 0.678
2019-12-12 04:15:00 | 3.084 | 99.588 | 3.548 | 109.428 | 3.892 | 180.584 | 3.888 | 33.124 | 6.364 | 888 | 95.73 | 0.678
2019-12-12 04:30:00 | 3.084 | 99.588 | 3.548 | 109.428 | 3.892 | 180.584 | 3.888 | 33.124 | 6.364 | 888 | 95.73 | 0.678
2019-12-12 04:45:00 | 3.084 | 99.588 | 3.548 | 109.428 | 3.892 | 180.584 | 3.888 | 33.124 | 6.364 | 888 | 95.73 | 0.678
2019-12-12 05:00:00 | 3.084 | 99.588 | 3.548 | 109.428 | 3.892 | 180.584 | 3.888 | 33.124 | 6.364 | 888 | 95.73 | 0.678
2019-12-12 05:15:00 | 2.4867 | 142.68 | 2.8607 | 156.7867 | 4.046 | 8.5527 | 4.6153 | 16.52 | 6.1947 | 887 | 97.24 | 0.76067
2019-12-12 05:30:00 | 2.4867 | 142.68 | 2.8607 | 156.7867 | 4.046 | 8.5527 | 4.6153 | 16.52 | 6.1947 | 887 | 97.24 | 0.76067
2019-12-12 05:45:00 | 2.4867 | 142.68 | 2.8607 | 156.7867 | 4.046 | 8.5527 | 4.6153 | 16.52 | 6.1947 | 887 | 97.24 | 0.76067
2019-12-12 06:00:00 | 2.4867 | 142.68 | 2.8607 | 156.7867 | 4.046 | 8.5527 | 4.6153 | 16.52 | 6.1947 | 887 | 97.24 | 0.76067
2019-12-12 06:15:00 | 2.4867 | 142.68 | 2.8607 | 156.7867 | 4.046 | 8.5527 | 4.6153 | 16.52 | 6.1947 | 887 | 97.24 | 0.76067
2019-12-12 06:30:00 | 2.4133 | 116.9947 | 2.778 | 128.5633 | 4.096 | 11.2 | 4.3567 | 14.958 | 6.0713 | 887 | 97.9667 | 0.49867
2019-12-12 06:45:00 | 2.2287 | 70.9513 | 2.5687 | 77.96 | 3.494 | 13.0773 | 3.4867 | 12.0327 | 6.0007 | 887 | 98.5867 | 0
2019-12-12 07:00:00 | 1.7033 | 157.1713 | 1.9613 | 172.71 | 2.8047 | 16.2527 | 2.6627 | 22.6427 | 5.9653 | 887 | 98.9 | 0
2019-12-12 07:15:00 | 1.504 | 280.1507 | 1.7367 | 307.8533 | 2.57 | 13.514 | 2.3473 | 16.89 | 5.9473 | 887 | 98.8533 | 0
2019-12-12 07:30:00 | 1.6007 | 126.6013 | 1.8507 | 139.11 | 2.564 | 14.8773 | 2.186 | 9.108 | 5.974 | 887.1333 | 98.7867 | 0
2019-12-12 07:45:00 | 1.5973 | 205.6313 | 1.846 | 225.9633 | 2.3187 | 16.106 | 1.884 | 14.87 | 5.9587 | 888 | 98.7 | 0.085333
2019-12-12 08:00:00 | 1.6767 | 202.2933 | 1.9333 | 222.2967 | 2.4153 | 21.4373 | 1.8287 | 29.364 | 6.01 | 888 | 98.7667 | 0.028667
2019-12-12 08:15:00 | 1.4367 | 277.826 | 1.6593 | 305.304 | 2.268 | 20.8887 | 1.6047 | 23.7133 | 6.0227 | 888 | 98.6733 | 0.25333
2019-12-12 08:30:00 | 1.3687 | 250.7413 | 1.5813 | 275.5327 | 1.9487 | 17.2467 | 1.2313 | 18.54 | 6.0867 | 888 | 98.1267 | 0.48667
2019-12-12 08:45:00 | 1.312 | 308.852 | 1.51 | 339.3933 | 1.536 | 9.6487 | 0.49 | 10.1207 | 6.1653 | 888 | 97.46 | 0.93267
2019-12-12 09:00:00 | 0.606 | 306.94 | 0.702 | 337.3 | 0.599 | 5.195 | 0.211 | 0.234 | 6.176 | 888 | 97.65 | 0.719
2019-12-12 09:15:00 | 0 | 306.94 | 0.003333 | 337.3 | 0 | 129.4667 | 0 | 124.5413 | 6.144 | 888.4667 | 98.06 | 0.83533
2019-12-12 09:30:00 | 0 | 306.94 | 0 | 337.3 | 0 | 271.5 | 0.172 | 257.4533 | 6.1493 | 889 | 98.22 | 0.548
2019-12-12 09:45:00 | 0.006667 | 306.94 | 0.006667 | 337.3 | 0 | 271.5 | 0.17133 | 244.7133 | 6.1993 | 889 | 98.74 | 0.33667
2019-12-12 10:00:00 | 0 | 306.876 | 0 | 337.22 | 0 | 271.26 | 0.11 | 251.1067 | 6.2027 | 889 | 99.46 | 0.528
2019-12-12 10:15:00 | 0 | 306.86 | 0 | 337.2 | 0 | 284.4 | 0 | 256.4467 | 6.3013 | 889 | 99.6867 | 0.74733
2019-12-12 10:30:00 | 0.004 | 196.666 | 0.004 | 216.1093 | 0 | 289.2 | 0 | 256.5 | 6.3033 | 889 | 100 | 0.14857
2019-12-12 10:45:00 | 0.006 | 70.772 | 0.006 | 77.7667 | 0 | 284.8533 | 0 | 256.4533 | 6.1453 | 889.4667 | 100 | 0
2019-12-12 11:00:00 | 0 | 138.876 | 0 | 152.604 | 0 | 221.42 | 0 | 210.76 | 6.1287 | 890 | 100 | 0
2019-12-12 11:15:00 | 0 | 155.89 | 0 | 171.3 | 0 | 212.5 | 0.006667 | 162.6 | 6.226 | 890 | 100 | 0.054667
2019-12-12 11:30:00 | 0 | 155.8767 | 0 | 171.2867 | 0 | 212.5 | 0.002667 | 178.8667 | 6.336 | 889.8667 | 100 | 0.007333
2019-12-12 11:45:00 | 0.088 | 155.8367 | 0.104 | 171.2467 | 0.15933 | 210.4667 | 0.052 | 194.7867 | 6.3427 | 889 | 100 | 0
2019-12-12 12:00:00 | 0.58467 | 173.2713 | 0.67733 | 190.4067 | 0.706 | 198.1933 | 0.7 | 190.72 | 6.446 | 889 | 100 | 0.22267
2019-12-12 12:15:00 | 0.73667 | 153.2807 | 0.852 | 168.4333 | 0.67867 | 199.7067 | 0.65667 | 192.5933 | 6.3793 | 889 | 100 | 0.452
2019-12-12 12:30:00 | 0.864 | 162.0133 | 1.002 | 178.0267 | 0.88733 | 199.7267 | 1.1413 | 197.48 | 6.3427 | 889 | 100 | 0.626
2019-12-12 12:45:00 | 1.2307 | 146.454 | 1.4227 | 160.9333 | 1.1193 | 192.4533 | 1.0993 | 202.7267 | 6.3547 | 889 | 100 | 0.648
2019-12-12 13:00:00 | 1.0747 | 153.0447 | 1.2427 | 168.1733 | 1.0553 | 175.78 | 1.7747 | 169.52 | 6.3607 | 888.2 | 100 | 0.34533
2019-12-12 13:15:00 | 0.8 | 147.8267 | 0.92267 | 162.44 | 0.76467 | 158.3667 | 1.9187 | 155.3333 | 6.424 | 888 | 100 | 0.10867
2019-12-12 13:30:00 | 0.55867 | 142.9907 | 0.64533 | 157.1267 | 0.552 | 154.1333 | 1.642 | 151.74 | 6.45 | 888 | 100 | 0
2019-12-12 13:45:00 | 0.88 | 143.71 | 1.014 | 157.92 | 1.0407 | 152.24 | 1.9993 | 152.38 | 6.502 | 888 | 100 | 0
2019-12-12 14:00:00 | 1.1353 | 168.7513 | 1.318 | 185.44 | 1.0273 | 160.96 | 1.7553 | 165.6267 | 6.4653 | 887.8667 | 100 | 0
2019-12-12 14:15:00 | 1.4413 | 167.682 | 1.658 | 184.26 | 1.4553 | 173.54 | 1.7773 | 170.6133 | 6.408 | 887 | 100 | 0
2019-12-12 14:30:00 | 1.7273 | 164.0327 | 1.9967 | 180.2467 | 1.8267 | 188.0733 | 1.8267 | 186.7133 | 6.284 | 887 | 100 | 0
2019-12-12 14:45:00 | 1.86 | 152.2133 | 2.138 | 167.26 | 1.9133 | 176.4467 | 1.6647 | 179.0733 | 6.15 | 887 | 100 | 0
2019-12-12 15:00:00 | 0.96533 | 137.82 | 1.12 | 151.4467 | 0.75133 | 158.4067 | 0.47333 | 167.2133 | 6.0547 | 887 | 100 | 0
2019-12-12 15:15:00 | 0.97467 | 148.6287 | 1.128 | 163.3267 | 0.70733 | 164.1 | 0.22267 | 174.9733 | 5.926 | 887 | 100 | 0.178
2019-12-12 15:30:00 | 1.1333 | 150.1353 | 1.3067 | 164.98 | 0.95867 | 168.0933 | 0.64667 | 183.5667 | 5.834 | 887 | 100 | 0.35533
2019-12-12 15:45:00 | 0.058667 | 180.9 | 0.07 | 198.78 | 0 | 191.04 | 0.13267 | 219.54 | 5.79 | 887 | 100 | 0.62067
2019-12-12 16:00:00 | 0.066667 | 102.976 | 0.081333 | 113.1493 | 0.11867 | 268.9867 | 0.96267 | 275.72 | 5.8927 | 887 | 100 | 1.2613
2019-12-12 16:15:00 | 0.066 | 256.266 | 0.081333 | 281.604 | 0.11667 | 276 | 0.86667 | 268.7133 | 6.0367 | 887 | 100 | 1.242
2019-12-12 16:30:00 | 0.39667 | 314.8567 | 0.462 | 345.9933 | 0.772 | 264.4067 | 0.97267 | 257.9667 | 6.042 | 887 | 100 | 1.066
2019-12-12 16:45:00 | 0.582 | 273.47 | 0.67467 | 300.5067 | 1.1113 | 267.5467 | 1.0413 | 255.6933 | 6.0553 | 887 | 100 | 0.744
2019-12-12 17:00:00 | 0.085333 | 260.2527 | 0.096 | 285.98 | 0.14133 | 253.7533 | 0.18067 | 237.24 | 6.1227 | 887 | 100 | 0.28333
2019-12-12 17:15:00 | 0.042667 | 283.4033 | 0.05 | 311.42 | 0 | 257.52 | 0 | 236.2333 | 6.1793 | 887 | 100 | 0
2019-12-12 17:30:00 | 0.168 | 172.4727 | 0.20067 | 189.5213 | 0 | 273.7533 | 0 | 238.14 | 6.0847 | 887 | 100 | 0
2019-12-12 17:45:00 | 0.916 | 10.7353 | 1.0647 | 11.7893 | 0.94533 | 67.5953 | 0.40933 | 139.8647 | 6.0367 | 887 | 100 | 0
2019-12-12 18:00:00 | 1.738 | 113.4347 | 2.0047 | 124.65 | 1.992 | 12.6033 | 1.54 | 17.162 | 6.02 | 887.1333 | 100 | 0
2019-12-12 18:15:00 | 1.9667 | 106.0147 | 2.2673 | 116.4967 | 3.0447 | 12.6473 | 2.7107 | 16.266 | 6.02 | 888 | 100 | 0
2019-12-12 18:30:00 | 2.0853 | 108.8107 | 2.3987 | 119.5673 | 3.7507 | 13.754 | 3.466 | 21.8947 | 6.0173 | 888 | 100 | 0
2019-12-12 18:45:00 | 2.4967 | 8.7707 | 2.876 | 9.6313 | 4.2547 | 12.852 | 3.9147 | 26.9553 | 5.962 | 888 | 100 | 0.43667
2019-12-12 19:00:00 | 2.3007 | 70.348 | 2.652 | 77.3047 | 4.2813 | 19.4633 | 4.0907 | 24.9273 | 5.94 | 888 | 100 | 0.39533
2019-12-12 19:15:00 | 2.1653 | 74.91 | 2.492 | 82.314 | 3.9173 | 12.9653 | 3.8533 | 25.478 | 5.9413 | 888 | 100 | 0.44067
2019-12-12 19:30:00 | 2.4547 | 237.6467 | 2.8267 | 261.146 | 4.1573 | 15.458 | 4.1273 | 22.1533 | 5.8947 | 888 | 100 | 1.4987
2019-12-12 19:45:00 | 2.6287 | 113.518 | 3.0293 | 124.7433 | 3.654 | 5.038 | 3.8367 | 14.986 | 5.7673 | 888 | 100 | 1.4747
2019-12-12 20:00:00 | 2.8587 | 112.5787 | 3.294 | 123.7133 | 3.622 | 124.376 | 3.9607 | 17.054 | 5.74 | 888 | 100 | 1.28
2019-12-12 20:15:00 | 2.8187 | 149.4407 | 3.2513 | 164.2167 | 3.6187 | 12.4913 | 3.6293 | 19.1973 | 5.7933 | 888 | 100 | 1.0087
2019-12-12 20:30:00 | 2.5627 | 110.98 | 2.948 | 121.9533 | 3.4187 | 49.746 | 3.438 | 14.9587 | 5.8567 | 888 | 100 | 0.65133
2019-12-12 20:45:00 | 2.83 | 320.4047 | 3.2587 | 352.0933 | 3.5933 | 79.8993 | 3.598 | 7.086 | 5.89 | 888 | 100 | 0.732
2019-12-12 21:00:00 | 2.736 | 65.8107 | 3.1493 | 72.3113 | 3.974 | 13.9873 | 3.8653 | 5.3313 | 5.904 | 888.8 | 100 | 0.92867
2019-12-12 21:15:00 | 3.224 | 259.8987 | 3.7107 | 285.602 | 3.862 | 238.954 | 3.7433 | 242.2833 | 5.902 | 889 | 100 | 0.738
2019-12-12 21:30:00 | 3.2267 | 174.4233 | 3.71 | 191.6733 | 4.102 | 5.7727 | 4.0953 | 14.3073 | 5.812 | 889 | 100 | 0.97133
2019-12-12 21:45:00 | 3.288 | 155.2247 | 3.788 | 170.57 | 4.1353 | 123.288 | 4.5367 | 11.8873 | 5.718 | 889 | 100 | 2.5813
2019-12-12 22:00:00 | 3.1673 | 168.1593 | 3.6407 | 184.7873 | 4.8627 | 11.3187 | 4.816 | 15.3493 | 5.7067 | 889 | 100 | 2.0187
2019-12-12 22:15:00 | 2.9607 | 154.106 | 3.4067 | 169.346 | 3.8593 | 8.5413 | 4.1387 | 12.5933 | 5.7367 | 889 | 100 | 1.2787
2019-12-12 22:30:00 | 2.6253 | 209.194 | 3.024 | 229.88 | 4.0053 | 13.8673 | 3.9527 | 13.6573 | 5.7887 | 889.8 | 100 | 1.648
2019-12-12 22:45:00 | 2.648 | 205.3553 | 3.0547 | 225.66 | 4.1773 | 8.67 | 4.2493 | 11.7127 | 5.8047 | 890 | 100 | 2.0187
2019-12-12 23:00:00 | 3.0467 | 163.934 | 3.502 | 180.1333 | 4.0727 | 5.9833 | 4.2907 | 8.686 | 5.8113 | 890 | 100 | 1.2853
2019-12-12 23:15:00 | 2.9113 | 3.1553 | 3.3533 | 3.464 | 4.0133 | 5.9393 | 3.9567 | 8.3387 | 5.8247 | 890 | 100 | 0.546
2019-12-12 23:30:00 | 2.886 | 104.6513 | 3.318 | 114.9993 | 3.592 | 6.7313 | 3.7993 | 12.1653 | 5.8173 | 890 | 100 | 0.92867
2019-12-12 23:45:00 | 3.092 | 44.1873 | 3.5547 | 48.5567 | 3.7687 | 7.456 | 3.8647 | 11.126 | 5.7927 | 890 | 100 | 0.81267