## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-13 00:00:00 | 3.0086 | 184.5507 | 3.4593 | 202.7957 | 3.4893 | 133.3393 | 3.5843 | 11.6207 | 5.7629 | 890 | 100 | 0.66071
2019-12-13 00:15:00 | 2.7893 | 115.314 | 3.2073 | 126.7147 | 3.3627 | 7.0413 | 3.3607 | 7.2053 | 5.724 | 890 | 100 | 0.27467
2019-12-13 00:30:00 | 3.1333 | 112.692 | 3.6073 | 123.8367 | 4.124 | 5.096 | 3.9373 | 3.9647 | 5.698 | 890 | 100 | 0.40267
2019-12-13 00:45:00 | 3.0027 | 246.5487 | 3.4573 | 270.9267 | 3.8993 | 9.562 | 3.8807 | 7.5973 | 5.636 | 890 | 100 | 0.38067
2019-12-13 01:00:00 | 3.0013 | 174.5133 | 3.452 | 191.7727 | 3.952 | 11.1613 | 3.9593 | 11.8707 | 5.6753 | 890 | 100 | 0.498
2019-12-13 01:15:00 | 2.9627 | 184.6213 | 3.4133 | 202.8787 | 4.3887 | 15.226 | 4.0753 | 14.174 | 5.634 | 890 | 100 | 0.62733
2019-12-13 01:30:00 | 2.7887 | 114.996 | 3.2113 | 126.3653 | 4.3707 | 12.096 | 4.25 | 19.028 | 5.5927 | 890 | 100 | 0.916
2019-12-13 01:45:00 | 3.214 | 19.758 | 3.696 | 21.706 | 4.8793 | 13.106 | 4.8247 | 17.0947 | 5.594 | 890 | 100 | 3.4093
2019-12-13 02:00:00 | 3.1887 | 105.2707 | 3.6713 | 115.6787 | 4.9893 | 127.6793 | 5.0013 | 24.2793 | 5.5647 | 890 | 100 | 5.3847
2019-12-13 02:15:00 | 3.4627 | 212.9533 | 3.984 | 234.0133 | 5.3933 | 15.266 | 5.564 | 20.422 | 5.5327 | 890 | 100 | 9.0453
2019-12-13 02:30:00 | 3.374 | 175.7473 | 3.884 | 193.1247 | 5.3453 | 12.776 | 5.4107 | 22.2967 | 5.528 | 889.2 | 100 | 9.8753
2019-12-13 02:45:00 | 3.4033 | 45.1287 | 3.9167 | 49.5887 | 4.8433 | 9.9573 | 4.7633 | 21.362 | 5.538 | 889 | 100 | 7.5527
2019-12-13 03:00:00 | 3.2347 | 155.3733 | 3.7207 | 170.7293 | 4.8427 | 10.022 | 4.5367 | 17.2567 | 5.536 | 889 | 100 | 8.9413
2019-12-13 03:15:00 | 3.4213 | 248.1153 | 3.9407 | 272.6473 | 5.5 | 9.862 | 5.032 | 126.114 | 5.5053 | 889 | 100 | 10.1367
2019-12-13 03:30:00 | 3.3733 | 155.178 | 3.8787 | 170.526 | 5.8253 | 12.746 | 5.304 | 7.4607 | 5.4987 | 889 | 100 | 10.862
2019-12-13 03:45:00 | 3.3227 | 19.61 | 3.824 | 21.548 | 5.3793 | 1.7767 | 5.1853 | 129.2127 | 5.486 | 889 | 100 | 10.8387
2019-12-13 04:00:00 | 3.6413 | 104.0733 | 4.1853 | 114.3627 | 5.4127 | 4.134 | 5.3467 | 17.348 | 5.4353 | 889 | 100 | 11.21
2019-12-13 04:15:00 | 3.4927 | 209.6053 | 4.02 | 230.3287 | 5.1413 | 125.1153 | 5.128 | 11.1493 | 5.41 | 889 | 100 | 9.648
2019-12-13 04:30:00 | 3.4207 | 221.4653 | 3.9367 | 243.3613 | 4.736 | 12.4813 | 4.8267 | 16.4647 | 5.4033 | 889 | 100 | 9.8553
2019-12-13 04:45:00 | 3.3807 | 8.4827 | 3.886 | 9.3113 | 5.1313 | 10.852 | 5.3007 | 10.8953 | 5.404 | 889 | 100 | 10.7547
2019-12-13 05:00:00 | 3.474 | 145.6053 | 3.9987 | 159.9987 | 5.712 | 129.664 | 5.5613 | 7.3667 | 5.3887 | 889 | 100 | 12.1307
2019-12-13 05:15:00 | 3.5007 | 119.3433 | 4.032 | 131.1433 | 5.508 | 205.094 | 5.398 | 120.352 | 5.3727 | 889 | 100 | 13.268
2019-12-13 05:30:00 | 3.6853 | 131.3207 | 4.2427 | 144.3 | 5.3573 | 99.4427 | 5.6353 | 11.6047 | 5.3487 | 889.8 | 100 | 16.2947
2019-12-13 05:45:00 | 3.6853 | 46.1427 | 4.2387 | 50.6967 | 5.83 | 12.7 | 6.3047 | 16.4927 | 5.308 | 889.5333 | 100 | 19.9567
2019-12-13 06:00:00 | 3.8867 | 227.0053 | 4.4753 | 249.448 | 5.7007 | 11.4273 | 6.264 | 19.3793 | 5.2747 | 889 | 100 | 17.488
2019-12-13 06:15:00 | 4.1467 | 110.626 | 4.772 | 121.56 | 5.7527 | 5.0153 | 5.9833 | 17.0093 | 5.3007 | 889.4667 | 100 | 17.7227
2019-12-13 06:30:00 | 4.148 | 112.9253 | 4.7767 | 124.0933 | 5.8673 | 171.5507 | 6.0353 | 13.148 | 5.3033 | 890 | 100 | 21.022
2019-12-13 06:45:00 | 3.9373 | 227.6047 | 4.5253 | 250.11 | 5.8227 | 81.176 | 6.3707 | 126.712 | 5.3233 | 889.5333 | 100 | 23.732
2019-12-13 07:00:00 | 4.264 | 123.784 | 4.9027 | 136.0233 | 6.0913 | 155.844 | 6.2333 | 55.3033 | 5.2927 | 889.8 | 100 | 24.632
2019-12-13 07:15:00 | 4.206 | 185.2267 | 4.842 | 203.5347 | 6.326 | 73.1587 | 6.4793 | 80.4827 | 5.2787 | 890 | 100 | 27.4333
2019-12-13 07:30:00 | 4.084 | 238.1433 | 4.6973 | 261.6967 | 7.174 | 114.068 | 7.6327 | 7.27 | 5.2727 | 890 | 100 | 35.6053
2019-12-13 07:45:00 | 5.2427 | 76.0313 | 6.0327 | 83.5553 | 7.9 | 120.52 | 8.1913 | 22.906 | 5.2953 | 890 | 100 | 35.3227
2019-12-13 08:00:00 | 3.9253 | 151.3907 | 4.5153 | 166.3613 | 5.8873 | 3.4693 | 6.786 | 14.3767 | 5.348 | 890.1333 | 100 | 27.0907
2019-12-13 08:15:00 | 3.9587 | 217.3247 | 4.556 | 238.8167 | 6.4913 | 12.9753 | 6.868 | 21.4073 | 5.3493 | 891 | 100 | 28.486
2019-12-13 08:30:00 | 3.912 | 212.39 | 4.5 | 233.3867 | 6.3207 | 11.3267 | 6.6267 | 18.9913 | 5.3153 | 891 | 100 | 27.5327
2019-12-13 08:45:00 | 3.888 | 212.2353 | 4.4753 | 233.22 | 5.8113 | 126.7447 | 6.0587 | 11.8187 | 5.356 | 891 | 100 | 26.7353
2019-12-13 09:00:00 | 3.746 | 298.4787 | 4.3133 | 327.9933 | 5.7667 | 50.9767 | 6 | 7.9007 | 5.4107 | 891 | 100 | 28.2727
2019-12-13 09:15:00 | 3.946 | 168.856 | 4.5427 | 185.5507 | 5.7293 | 192.886 | 6.28 | 7.4087 | 5.514 | 891 | 100 | 31.5687
2019-12-13 09:30:00 | 3.8873 | 10.5787 | 4.4733 | 11.6127 | 6.3573 | 125.7967 | 6.5407 | 15.8233 | 5.6047 | 891 | 100 | 31.854
2019-12-13 09:45:00 | 4 | 146.182 | 4.6073 | 160.6333 | 6.778 | 120.832 | 6.9493 | 7.654 | 5.7387 | 891 | 100 | 34.9693
2019-12-13 10:00:00 | 4.4253 | 185.7047 | 5.0893 | 204.0667 | 7.262 | 163.9153 | 7.7313 | 6.1587 | 5.8227 | 891.1333 | 100 | 38.0113
2019-12-13 10:15:00 | 4.7733 | 139.4693 | 5.494 | 153.254 | 7.6893 | 75.6947 | 8.38 | 9.804 | 5.816 | 892 | 99.9067 | 35.5773
2019-12-13 10:30:00 | 4.602 | 162.2253 | 5.296 | 178.2693 | 7.1133 | 4.9693 | 7.8947 | 15.0313 | 5.8867 | 892 | 99.6267 | 35.2573
2019-12-13 10:45:00 | 4.214 | 209.056 | 4.852 | 229.72 | 6.486 | 2.2973 | 7.0453 | 12.5387 | 5.918 | 892 | 99.6333 | 34.926
2019-12-13 11:00:00 | 4.7347 | 121.7667 | 5.4433 | 133.81 | 6.688 | 170.022 | 7.1707 | 4.2087 | 5.944 | 892 | 98.98 | 31.7827
2019-12-13 11:15:00 | 3.9733 | 302.3027 | 4.5727 | 332.1933 | 6.8493 | 237.66 | 7.2067 | 10.9927 | 6.0987 | 892 | 98.92 | 29.2867
2019-12-13 11:30:00 | 4.0153 | 158.9413 | 4.6247 | 174.6567 | 6.0553 | 194.06 | 6.98 | 19.3173 | 6.1953 | 892 | 98.4133 | 29.6507
2019-12-13 11:45:00 | 3.9993 | 15.308 | 4.6033 | 16.8207 | 6.3107 | 6.248 | 6.728 | 16.6107 | 6.3227 | 892 | 97.96 | 31.352
2019-12-13 12:00:00 | 4.318 | 102.562 | 4.9633 | 112.6993 | 6.2 | 159.302 | 6.2513 | 53.9673 | 6.4687 | 892 | 96.6933 | 29.85
2019-12-13 12:15:00 | 4.0147 | 31.548 | 4.6187 | 34.658 | 6.356 | 327.8527 | 6.6093 | 213.9553 | 6.784 | 892 | 95.6333 | 28.7487
2019-12-13 12:30:00 | 3.76 | 103.184 | 4.328 | 113.3847 | 6.5613 | 6.7767 | 7.4213 | 5.6227 | 7.128 | 892 | 95.5067 | 24.566
2019-12-13 12:45:00 | 3.7847 | 15.0933 | 4.358 | 16.5767 | 6.232 | 7.5147 | 6.9707 | 16.588 | 7.2213 | 892 | 93.5333 | 21.8667
2019-12-13 13:00:00 | 4.024 | 117.3427 | 4.6353 | 128.9433 | 6.6447 | 10.5727 | 7.4833 | 19.304 | 7.2647 | 891.8667 | 92.3 | 22.9987
2019-12-13 13:15:00 | 4.326 | 2.5447 | 4.9773 | 2.7907 | 6.5573 | 6.41 | 7.2013 | 19.086 | 7.148 | 891 | 91.3267 | 20.7993
2019-12-13 13:30:00 | 4.1347 | 27.5327 | 4.7587 | 30.25 | 7.0993 | 13.8227 | 7.1773 | 18.7213 | 7.1227 | 891 | 91.7733 | 19.8047
2019-12-13 13:45:00 | 3.6 | 99.6167 | 4.1447 | 109.4607 | 6.2993 | 11.336 | 6.806 | 22.2853 | 7.246 | 891 | 92.4467 | 19.652
2019-12-13 14:00:00 | 3.4193 | 149.458 | 3.94 | 164.2393 | 5.4893 | 27.5873 | 5.9147 | 18.36 | 7.36 | 891 | 91.22 | 18.0367
2019-12-13 14:15:00 | 3.6013 | 156.83 | 4.144 | 172.336 | 5.626 | 160.288 | 5.664 | 13.8513 | 7.482 | 891 | 89.62 | 17.654
2019-12-13 14:30:00 | 3.3427 | 229.0147 | 3.8453 | 251.6573 | 5.9073 | 194.682 | 6.0707 | 9.704 | 7.456 | 890.2 | 91.06 | 17.296
2019-12-13 14:45:00 | 3.29 | 303.738 | 3.7853 | 333.7733 | 6.0533 | 131.0547 | 5.86 | 54.2267 | 7.3607 | 890 | 90.5333 | 14.3313
2019-12-13 15:00:00 | 3.08 | 159.1167 | 3.5513 | 174.8487 | 5.592 | 11.2353 | 6.036 | 106.2967 | 7.3207 | 890 | 90.7067 | 13.1807
2019-12-13 15:15:00 | 3.2007 | 115.0513 | 3.68 | 126.428 | 6.026 | 12.6313 | 6.576 | 18.6627 | 7.222 | 890 | 91.1867 | 12.7233
2019-12-13 15:30:00 | 2.944 | 73.0493 | 3.3873 | 80.2707 | 5.326 | 11.732 | 5.8507 | 23.4593 | 7.1867 | 890 | 91.74 | 9.144
2019-12-13 15:45:00 | 2.4847 | 117.1967 | 2.8607 | 128.776 | 4.3007 | 4.2393 | 4.9107 | 21.148 | 7.2053 | 890 | 91.58 | 9.072
2019-12-13 16:00:00 | 2.7273 | 125.5873 | 3.142 | 138.002 | 4.4227 | 121.036 | 4.5267 | 7.3413 | 7.2427 | 890 | 90.98 | 10.3107
2019-12-13 16:15:00 | 2.548 | 131.9393 | 2.938 | 144.9813 | 4.3727 | 4.6413 | 4.3753 | 21.2613 | 7.1693 | 890 | 91.7533 | 10.1
2019-12-13 16:30:00 | 2.6733 | 200.3893 | 3.0773 | 220.2033 | 4.7013 | 126.5127 | 4.6427 | 43.016 | 7.0733 | 889.2 | 92.6533 | 7.9033
2019-12-13 16:45:00 | 2.7913 | 306.5967 | 3.2127 | 336.9133 | 4.3327 | 11.3907 | 4.304 | 3.4793 | 7.0373 | 889 | 92.48 | 3.5473
2019-12-13 17:00:00 | 2.6647 | 279.8587 | 3.07 | 307.5333 | 3.5893 | 280.5027 | 3.7673 | 3.6393 | 7.0687 | 889 | 91.92 | 1.3547
2019-12-13 17:15:00 | 2.9033 | 45.6947 | 3.346 | 50.21 | 3.5433 | 252.4 | 3.7593 | 11.434 | 7.138 | 889 | 90.96 | 0.35933
2019-12-13 17:30:00 | 2.7 | 63.8767 | 3.1087 | 70.1867 | 3.342 | 208.6033 | 3.7813 | 4.6867 | 7.1087 | 889 | 91.3467 | 1.24
2019-12-13 17:45:00 | 2.4453 | 150.2373 | 2.8113 | 165.09 | 3.1113 | 57.2567 | 3.3453 | 116.9867 | 6.9653 | 889 | 92.84 | 1.07
2019-12-13 18:00:00 | 2.68 | 319.43 | 3.0853 | 351.02 | 3.0413 | 74.6827 | 3.4233 | 25.8227 | 6.9173 | 889 | 93.58 | 1.6667
2019-12-13 18:15:00 | 2.4167 | 314.074 | 2.7767 | 345.1333 | 3.1447 | 277.374 | 3.344 | 280.862 | 6.846 | 889 | 94.0067 | 1.8273
2019-12-13 18:30:00 | 2.252 | 219.7347 | 2.5927 | 241.46 | 3.2573 | 353.5533 | 3.6987 | 188.326 | 6.8133 | 889.6667 | 93.7867 | 1.5593
2019-12-13 18:45:00 | 2.788 | 173.53 | 3.2133 | 190.684 | 3.6393 | 355.82 | 3.9667 | 119.9067 | 6.8087 | 889.4667 | 93.92 | 0.788
2019-12-13 19:00:00 | 3.2633 | 240.616 | 3.7607 | 264.406 | 4.2547 | 192.66 | 4.2387 | 11.8567 | 6.8813 | 890 | 93.3267 | 1.3107
2019-12-13 19:15:00 | 2.936 | 174.1673 | 3.374 | 191.39 | 4.508 | 11.3313 | 4.8033 | 20.548 | 6.956 | 890 | 91.9133 | 2.4647
2019-12-13 19:30:00 | 2.6453 | 159.6113 | 3.0487 | 175.392 | 4.8 | 9.6893 | 5.188 | 20.7093 | 6.778 | 890 | 94.0733 | 3.966
2019-12-13 19:45:00 | 2.7827 | 170.9987 | 3.2013 | 187.906 | 4.6067 | 9.496 | 4.9727 | 19.3307 | 6.7187 | 890 | 94.74 | 4.8693
2019-12-13 20:00:00 | 2.7793 | 106.3473 | 3.2 | 116.8607 | 4.4173 | 11.8633 | 4.58 | 23.5447 | 6.6767 | 890 | 95.0067 | 4.1133
2019-12-13 20:15:00 | 2.7373 | 120.096 | 3.15 | 131.9747 | 4.024 | 3.2087 | 4.2507 | 19.9347 | 6.7433 | 890 | 94.42 | 3.3453
2019-12-13 20:30:00 | 2.434 | 128.6047 | 2.8053 | 141.314 | 4.2773 | 12.812 | 4.55 | 20.9633 | 6.7233 | 890 | 95.02 | 3.326
2019-12-13 20:45:00 | 2.5193 | 149.1247 | 2.9027 | 163.8667 | 3.9293 | 9.496 | 4.248 | 17.974 | 6.754 | 890 | 94.5733 | 1.9767
2019-12-13 21:00:00 | 2.342 | 279.3593 | 2.694 | 306.98 | 3.7147 | 11.0453 | 4.1267 | 19.278 | 6.8667 | 890 | 93.8467 | 1.6953
2019-12-13 21:15:00 | 2.584 | 148.3973 | 2.974 | 163.066 | 3.7787 | 3.6907 | 4.27 | 10.42 | 6.8553 | 890 | 94.3333 | 3.3167
2019-12-13 21:30:00 | 2.69 | 234.302 | 3.0967 | 257.4673 | 4.2427 | 9.0227 | 4.7287 | 20.4027 | 6.806 | 890 | 95.32 | 3.7107
2019-12-13 21:45:00 | 2.5153 | 218.5053 | 2.9 | 240.1167 | 4.126 | 121.9267 | 4.4887 | 13.684 | 6.8493 | 890 | 95.4667 | 4.508
2019-12-13 22:00:00 | 2.484 | 277.6493 | 2.8593 | 305.1067 | 4.0773 | 8.0427 | 4.5407 | 17.0207 | 6.804 | 890 | 96.2733 | 3.938
2019-12-13 22:15:00 | 2.6873 | 237.1653 | 3.0973 | 260.6133 | 4.1387 | 14.232 | 4.5873 | 13.3513 | 6.7673 | 890 | 97.0467 | 3.5253
2019-12-13 22:30:00 | 2.37 | 154.4753 | 2.7287 | 169.752 | 4.1353 | 9.746 | 4.4373 | 17.4693 | 6.746 | 890 | 98.1267 | 2.3133
2019-12-13 22:45:00 | 2.1327 | 14.3813 | 2.4573 | 15.802 | 3.708 | 11.136 | 4.2487 | 61.8307 | 6.6973 | 890 | 99.0267 | 2.2227
2019-12-13 23:00:00 | 2.182 | 237.6933 | 2.5113 | 261.1893 | 3.8173 | 122.7533 | 4.3407 | 78.108 | 6.6107 | 890 | 99.7333 | 2.708
2019-12-13 23:15:00 | 1.94 | 222.716 | 2.2353 | 244.74 | 3.7847 | 5 | 4.5193 | 13.8647 | 6.5413 | 890 | 99.9467 | 2.7593
2019-12-13 23:30:00 | 2.4893 | 177.8793 | 2.8673 | 195.4687 | 4.4 | 5.996 | 4.9413 | 16.4087 | 6.454 | 890 | 100 | 5.5253
2019-12-13 23:45:00 | 3.046 | 45.536 | 3.5033 | 50.0313 | 5.1847 | 48.088 | 5.6487 | 16.5447 | 6.3867 | 890 | 100 | 9.3427