## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-14 00:00:00 | 3.5464 | 209.4279 | 4.0771 | 230.1321 | 5.84 | 75.4171 | 5.7393 | 8.3143 | 6.355 | 890 | 100 | 11.4057
2019-12-14 00:15:00 | 3.5107 | 58.8953 | 4.0367 | 64.7133 | 5.672 | 6.626 | 5.5733 | 13.1693 | 6.392 | 890 | 100 | 11.494
2019-12-14 00:30:00 | 3.1273 | 114.596 | 3.6047 | 125.93 | 5.1527 | 12.5953 | 5.322 | 16.846 | 6.3827 | 889.8667 | 100 | 10.18
2019-12-14 00:45:00 | 2.5173 | 134.802 | 2.902 | 148.1267 | 4.7013 | 9.294 | 4.63 | 9.3887 | 6.37 | 889.4667 | 100 | 7.2827
2019-12-14 01:00:00 | 2.318 | 59.472 | 2.6687 | 65.3467 | 4.3547 | 5.236 | 4.3273 | 3.61 | 6.356 | 889.2 | 100 | 5.9227
2019-12-14 01:15:00 | 2.2867 | 211.6413 | 2.6287 | 232.5733 | 4.2393 | 5.2127 | 4.516 | 8.294 | 6.3213 | 889 | 100 | 4.2693
2019-12-14 01:30:00 | 2.4387 | 77.1927 | 2.806 | 84.824 | 4.1007 | 55.174 | 4.4767 | 6.5587 | 6.284 | 889 | 100 | 3.0607
2019-12-14 01:45:00 | 2.4233 | 105.052 | 2.7893 | 115.4413 | 3.5707 | 192.3627 | 4.0733 | 9.89 | 6.266 | 889 | 100 | 2.166
2019-12-14 02:00:00 | 2.342 | 105.538 | 2.6967 | 115.9707 | 3.632 | 124.1133 | 3.8967 | 16.2987 | 6.242 | 889 | 100 | 2.1127
2019-12-14 02:15:00 | 2.512 | 80.3187 | 2.892 | 88.2493 | 3.288 | 125.5907 | 3.5007 | 15.352 | 6.218 | 889 | 100 | 0.81
2019-12-14 02:30:00 | 2.7067 | 90.6107 | 3.1107 | 99.5687 | 3.54 | 4.1333 | 3.3613 | 16.072 | 6.194 | 889 | 100 | 0.89467
2019-12-14 02:45:00 | 3.258 | 208.9367 | 3.7513 | 229.5953 | 4.1013 | 8.8387 | 4.07 | 15.452 | 6.156 | 889 | 100 | 1.3933
2019-12-14 03:00:00 | 3.4833 | 136.3587 | 4.0093 | 149.8427 | 4.4033 | 7.5127 | 4.4493 | 15.5513 | 6.168 | 889 | 100 | 1.4633
2019-12-14 03:15:00 | 3.5813 | 205.7533 | 4.12 | 226.0953 | 4.2513 | 239.486 | 4.102 | 5.084 | 6.1373 | 889 | 100 | 0.72667
2019-12-14 03:30:00 | 3.428 | 175.6033 | 3.9413 | 192.9687 | 4.3047 | 6.5653 | 4.1567 | 7.8047 | 6.0733 | 889 | 100 | 0.804
2019-12-14 03:45:00 | 2.9507 | 207.7493 | 3.3933 | 228.294 | 3.3787 | 8.566 | 3.3793 | 10.0013 | 6.1187 | 889 | 100 | 0.72933
2019-12-14 04:00:00 | 2.6447 | 97.03 | 3.042 | 106.6167 | 3.634 | 8.1733 | 3.474 | 13.9267 | 6.1373 | 889 | 100 | 0.47467
2019-12-14 04:15:00 | 2.5307 | 18.3893 | 2.9173 | 20.204 | 3.6373 | 8.5873 | 3.5793 | 21.6827 | 6.12 | 889 | 100 | 0.326
2019-12-14 04:30:00 | 2.1267 | 111.9827 | 2.448 | 123.0567 | 3.1173 | 8.404 | 2.9533 | 19.004 | 6.1153 | 888.8667 | 100 | 0.134
2019-12-14 04:45:00 | 2.6053 | 269.352 | 2.9973 | 295.9947 | 3.2833 | 239.8147 | 3.1173 | 8.758 | 6.096 | 888 | 100 | 1.212
2019-12-14 05:00:00 | 3.062 | 121.7753 | 3.5247 | 133.8193 | 3.596 | 51.798 | 3.424 | 9.2387 | 6.056 | 888 | 100 | 1.1073
2019-12-14 05:15:00 | 3.634 | 218.996 | 4.18 | 240.6527 | 4.2687 | 166.872 | 3.798 | 6.8933 | 6.05 | 888 | 100 | 0.678
2019-12-14 05:30:00 | 3.1733 | 10.1573 | 3.6513 | 11.1627 | 4.072 | 51.4427 | 3.72 | 14.2313 | 6.0287 | 888 | 100 | 0.70333
2019-12-14 05:45:00 | 3.0647 | 118.462 | 3.5247 | 130.176 | 3.9673 | 192.5387 | 3.7807 | 7.67 | 6.056 | 888 | 100 | 0.75333
2019-12-14 06:00:00 | 2.6753 | 253.5347 | 3.0813 | 278.6047 | 3.0307 | 123.2107 | 2.8833 | 20.8533 | 6.0287 | 888 | 100 | 0.44667
2019-12-14 06:15:00 | 2.378 | 208.474 | 2.7327 | 229.09 | 2.8333 | 120.3673 | 2.5587 | 12.6593 | 5.9953 | 888 | 100 | 0.562
2019-12-14 06:30:00 | 1.8953 | 309.8467 | 2.1833 | 340.4867 | 2.1427 | 166.8433 | 2.2667 | 13.132 | 5.9993 | 888 | 100 | 0.61467
2019-12-14 06:45:00 | 2.1767 | 317.428 | 2.506 | 348.8133 | 2.528 | 72.816 | 2.6147 | 12.8467 | 6.0147 | 888 | 100 | 0.61467
2019-12-14 07:00:00 | 2.5433 | 223.1933 | 2.9267 | 245.2667 | 3.3973 | 4.5273 | 3.386 | 8.1833 | 5.982 | 888 | 100 | 0.284
2019-12-14 07:15:00 | 3.4267 | 171.042 | 3.9453 | 187.956 | 4.3453 | 122.1967 | 4.2607 | 122.328 | 5.9867 | 888 | 100 | 1.3773
2019-12-14 07:30:00 | 3.252 | 140.6853 | 3.7413 | 154.594 | 4.5287 | 10.1513 | 4.288 | 8.87 | 5.9653 | 888 | 100 | 1.8507
2019-12-14 07:45:00 | 2.998 | 268.5493 | 3.4553 | 295.1067 | 4.5527 | 9.4073 | 4.4893 | 13.3253 | 5.944 | 888 | 100 | 2.4547
2019-12-14 08:00:00 | 2.976 | 18.8747 | 3.422 | 20.7373 | 4.3313 | 16.81 | 4.4173 | 15.9093 | 5.9153 | 888 | 100 | 3.2507
2019-12-14 08:15:00 | 3.0473 | 248.824 | 3.5047 | 273.4293 | 4.918 | 12.492 | 5.0347 | 22.976 | 5.988 | 888 | 100 | 3.6893
2019-12-14 08:30:00 | 2.7547 | 74.7633 | 3.1713 | 82.1567 | 4.7607 | 54.7193 | 4.8587 | 10.678 | 6.1287 | 888.1333 | 100 | 3.3473
2019-12-14 08:45:00 | 2.9473 | 34.544 | 3.3913 | 37.9567 | 4.61 | 82.7147 | 4.462 | 14.868 | 6.18 | 889 | 100 | 2.5927
2019-12-14 09:00:00 | 3.0093 | 96.0187 | 3.4647 | 105.5 | 4.3987 | 165.8787 | 4.168 | 13.5507 | 6.2247 | 889 | 100 | 2.3607
2019-12-14 09:15:00 | 3.1087 | 265.6653 | 3.5787 | 291.932 | 4.2213 | 187.02 | 3.9793 | 1.32 | 6.2273 | 889 | 100 | 1.7013
2019-12-14 09:30:00 | 3.37 | 147.2587 | 3.876 | 161.8147 | 4.042 | 231.678 | 3.688 | 8.7027 | 6.176 | 889 | 100 | 1.4753
2019-12-14 09:45:00 | 3.0527 | 165.5507 | 3.5127 | 181.912 | 3.8933 | 50.7987 | 3.7407 | 7.5487 | 6.136 | 889 | 100 | 0.78667
2019-12-14 10:00:00 | 3.1747 | 152.4327 | 3.6553 | 167.5013 | 3.8527 | 191.2747 | 3.6547 | 120.6247 | 6.2047 | 889 | 100 | 0.644
2019-12-14 10:15:00 | 3.5013 | 196.2833 | 4.0327 | 215.6933 | 3.952 | 2.11 | 3.856 | 5.5553 | 6.2093 | 889 | 100 | 0.496
2019-12-14 10:30:00 | 3.46 | 40.5787 | 3.98 | 44.588 | 3.918 | 2.8733 | 4.0033 | 6.8873 | 6.2027 | 889 | 100 | 0.58
2019-12-14 10:45:00 | 3.232 | 110.7793 | 3.7193 | 121.732 | 3.768 | 30.1013 | 3.874 | 13.3367 | 6.216 | 889 | 100 | 0.27867
2019-12-14 11:00:00 | 3.2047 | 147.604 | 3.6847 | 162.1933 | 3.5967 | 70.4467 | 3.6973 | 5.5253 | 6.288 | 889 | 100 | 0.098667
2019-12-14 11:15:00 | 3.3567 | 319.2067 | 3.8607 | 350.7667 | 3.76 | 3.074 | 3.6813 | 8.0147 | 6.33 | 889 | 100 | 0
2019-12-14 11:30:00 | 2.6347 | 114.436 | 3.0293 | 125.75 | 3.492 | 6.2887 | 3.162 | 15.0593 | 6.418 | 889 | 100 | 0
2019-12-14 11:45:00 | 2.326 | 210.868 | 2.6787 | 231.7167 | 3.2307 | 12.7533 | 3.1473 | 19.398 | 6.4773 | 889 | 100 | 0
2019-12-14 12:00:00 | 1.9553 | 113.3833 | 2.2487 | 124.6 | 2.63 | 13.284 | 2.656 | 26.906 | 6.5633 | 889 | 100 | 0.058667
2019-12-14 12:15:00 | 1.9353 | 214.324 | 2.23 | 235.5167 | 2.4833 | 3.9067 | 2.95 | 18.88 | 6.634 | 888.5333 | 100 | 0.030667
2019-12-14 12:30:00 | 1.97 | 220.488 | 2.266 | 242.2933 | 2.5847 | 8.6727 | 2.624 | 13.7673 | 6.658 | 888 | 100 | 0.25867
2019-12-14 12:45:00 | 1.5813 | 171.8327 | 1.824 | 188.8193 | 1.974 | 8.4327 | 1.764 | 13.6087 | 6.6493 | 888 | 100 | 0.48733
2019-12-14 13:00:00 | 1.6213 | 210.3473 | 1.8693 | 231.144 | 1.9533 | 10.02 | 1.4613 | 53.964 | 6.6793 | 888 | 100 | 0.542
2019-12-14 13:15:00 | 1.3947 | 45.1833 | 1.6087 | 49.65 | 1.4387 | 4.17 | 0.23667 | 314.4467 | 6.6513 | 887.5333 | 100 | 0.47467
2019-12-14 13:30:00 | 1.3013 | 276.088 | 1.502 | 303.392 | 1.1447 | 3.4693 | 0.61933 | 322.44 | 6.6733 | 887 | 100 | 0.57
2019-12-14 13:45:00 | 0.92067 | 106.2887 | 1.0667 | 116.796 | 0.27467 | 239.9387 | 0.84267 | 273.38 | 6.6153 | 887 | 100 | 0.59867
2019-12-14 14:00:00 | 0.69867 | 151.172 | 0.80533 | 166.1187 | 0.13933 | 336.6467 | 0.52667 | 247.6733 | 6.7347 | 886.2 | 100 | 0.38133
2019-12-14 14:15:00 | 0.532 | 90.7807 | 0.61733 | 99.7547 | 0.35067 | 261.42 | 1.5153 | 235.0133 | 6.6627 | 886 | 100 | 0.41267
2019-12-14 14:30:00 | 0.808 | 13.402 | 0.926 | 14.73 | 1.6127 | 202.4933 | 2.38 | 210.0267 | 6.9147 | 886 | 100 | 0.45
2019-12-14 14:45:00 | 1.2393 | 134.806 | 1.4293 | 148.1333 | 1.9847 | 206.8467 | 2.7213 | 207.4733 | 7.04 | 886 | 100 | 0.29267
2019-12-14 15:00:00 | 0.352 | 181.1307 | 0.41133 | 199.0333 | 0.59733 | 209.7467 | 1.5853 | 211.2333 | 7.0567 | 885.8667 | 100 | 0.34067
2019-12-14 15:15:00 | 0.30667 | 182.64 | 0.35467 | 200.7 | 0.54867 | 208.2867 | 1.6573 | 206.0267 | 6.9993 | 885.4667 | 100 | 0.090714
2019-12-14 15:30:00 | 0.216 | 182.6293 | 0.25333 | 200.6867 | 0.35333 | 199.4867 | 1.3007 | 194.92 | 6.9127 | 885.2 | 100 | 0.02
2019-12-14 15:45:00 | 0.013333 | 182.4667 | 0.016 | 200.5067 | 0.022667 | 190.32 | 1.0693 | 197.0067 | 6.93 | 885 | 100 | 0.068667
2019-12-14 16:00:00 | 0.168 | 182.36 | 0.19333 | 200.4 | 0.31867 | 190.98 | 1.5507 | 198.1667 | 6.98 | 885 | 100 | 0.268
2019-12-14 16:15:00 | 1.1247 | 172.2613 | 1.2973 | 189.2933 | 1.3507 | 184.2667 | 2.3533 | 190.68 | 6.9533 | 885 | 100 | 0.204
2019-12-14 16:30:00 | 1.064 | 163.448 | 1.2293 | 179.6067 | 1.3613 | 187.1 | 1.8633 | 190.5 | 6.936 | 885 | 100 | 0.132
2019-12-14 16:45:00 | 0.15 | 164.44 | 0.17333 | 180.7 | 0.172 | 187.1 | 0.23067 | 189.3467 | 6.9353 | 885 | 100 | 0.16467
2019-12-14 17:00:00 | 0 | 164.3867 | 0 | 180.6333 | 0 | 187.1 | 0.24533 | 207.5067 | 6.8947 | 885 | 100 | 0.12067
2019-12-14 17:15:00 | 0 | 164.44 | 0 | 180.7 | 0 | 191.1933 | 0 | 209.5533 | 6.8813 | 885 | 100 | 0.060667
2019-12-14 17:30:00 | 0 | 164.52 | 0 | 180.78 | 0 | 217.8 | 0 | 218.6 | 6.9033 | 885 | 100 | 0
2019-12-14 17:45:00 | 0 | 179.4133 | 0 | 197.1467 | 0 | 217.7533 | 0 | 218.6 | 6.8893 | 885 | 100 | 0
2019-12-14 18:00:00 | 0.17467 | 193.5687 | 0.20533 | 212.7167 | 0.012 | 236.3267 | 0 | 218.6 | 6.8087 | 884.8667 | 100 | 0
2019-12-14 18:15:00 | 0.946 | 214.8487 | 1.0933 | 236.0967 | 1.1173 | 81.7107 | 0.44267 | 127.3067 | 6.652 | 884 | 100 | 0
2019-12-14 18:30:00 | 1.556 | 206.838 | 1.7967 | 227.29 | 2.636 | 18.4653 | 1.8233 | 29.7633 | 6.6333 | 884 | 100 | 0
2019-12-14 18:45:00 | 1.5847 | 187.8513 | 1.8273 | 206.4253 | 2.6373 | 16.3907 | 2.0913 | 20.6787 | 6.6427 | 884 | 100 | 0
2019-12-14 19:00:00 | 1.4147 | 148.1047 | 1.6313 | 162.752 | 2.6587 | 14.928 | 2.112 | 16.4633 | 6.6133 | 884 | 100 | 0
2019-12-14 19:15:00 | 1.6627 | 210.116 | 1.9173 | 230.89 | 2.1573 | 12.0907 | 2.062 | 22.246 | 6.522 | 884 | 100 | 0
2019-12-14 19:30:00 | 1.8187 | 214.006 | 2.0933 | 235.17 | 2.3573 | 151.5073 | 2.56 | 23.6207 | 6.446 | 884 | 100 | 0
2019-12-14 19:45:00 | 2.012 | 196.67 | 2.314 | 216.1133 | 2.236 | 14.4573 | 1.9253 | 21.1507 | 6.4233 | 884 | 100 | 0
2019-12-14 20:00:00 | 1.68 | 306.4047 | 1.9387 | 336.7067 | 1.8107 | 2.2153 | 1.7687 | 16.2687 | 6.4427 | 884 | 100 | 0
2019-12-14 20:15:00 | 0.602 | 312.4047 | 0.694 | 343.3 | 0.43133 | 240.7787 | 0.442 | 16.39 | 6.4433 | 884 | 100 | 0
2019-12-14 20:30:00 | 0.546 | 185.412 | 0.634 | 203.74 | 0.526 | 8.736 | 0.004 | 16.394 | 6.4727 | 884 | 100 | 0
2019-12-14 20:45:00 | 0.7 | 279.768 | 0.814 | 307.4347 | 1.0713 | 4.0853 | 0.564 | 12.2947 | 6.4747 | 884 | 100 | 0
2019-12-14 21:00:00 | 0.95267 | 107.482 | 1.0987 | 118.1087 | 1.5033 | 6.524 | 0.86467 | 7.6493 | 6.4733 | 884 | 100 | 0
2019-12-14 21:15:00 | 1.5273 | 33.9127 | 1.76 | 37.2633 | 2.1047 | 11.9567 | 1.73 | 11.8107 | 6.464 | 884 | 100 | 0
2019-12-14 21:30:00 | 1.4673 | 8.7753 | 1.6953 | 9.64 | 1.9453 | 17.4293 | 1.5873 | 5.254 | 6.46 | 884 | 100 | 0
2019-12-14 21:45:00 | 1.5153 | 248.538 | 1.744 | 273.1167 | 1.8373 | 127.7073 | 1.692 | 124.4507 | 6.4333 | 884 | 100 | 0
2019-12-14 22:00:00 | 1.7833 | 210.328 | 2.056 | 231.1267 | 2.072 | 172.2013 | 2.0847 | 80.3513 | 6.41 | 884 | 100 | 0
2019-12-14 22:15:00 | 2.0453 | 274.5267 | 2.3553 | 301.672 | 2.3347 | 307.1 | 2.498 | 189.8853 | 6.408 | 884 | 100 | 0
2019-12-14 22:30:00 | 1.8467 | 224.1033 | 2.1247 | 246.264 | 2.5773 | 3.9607 | 2.668 | 129.2053 | 6.24 | 884 | 100 | 0
2019-12-14 22:45:00 | 2.2547 | 228.0973 | 2.5933 | 250.658 | 3.6107 | 11.034 | 2.9287 | 3.3627 | 6.0887 | 884 | 100 | 0
2019-12-14 23:00:00 | 2.7427 | 228.7407 | 3.1573 | 251.3613 | 4.1413 | 16.918 | 3.602 | 16.882 | 5.962 | 884 | 100 | 0.053333
2019-12-14 23:15:00 | 2.6613 | 66.088 | 3.0667 | 72.6173 | 3.9287 | 16.9373 | 3.9087 | 17.8707 | 5.866 | 884 | 100 | 0.087333
2019-12-14 23:30:00 | 2.624 | 65.1987 | 3.0207 | 71.642 | 3.812 | 19.7373 | 4.0727 | 26.0813 | 5.8227 | 884 | 100 | 0.46133
2019-12-14 23:45:00 | 2.8633 | 209.5647 | 3.2933 | 230.2867 | 3.522 | 55.1147 | 3.674 | 21.8273 | 5.758 | 884 | 100 | 0.23133