## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-15 00:00:00 | 3.0014 | 180.4179 | 3.4493 | 198.2557 | 3.4986 | 89.6943 | 3.5079 | 15.36 | 5.7014 | 883.2143 | 100 | 0.20929
2019-12-15 00:15:00 | 2.6973 | 259.694 | 3.1007 | 285.3727 | 2.9353 | 236.012 | 2.8713 | 11.898 | 5.6513 | 883 | 100 | 0
2019-12-15 00:30:00 | 2.8473 | 272.1993 | 3.274 | 299.1093 | 3.0067 | 166.722 | 2.5967 | 10.686 | 5.6767 | 883 | 100 | 0
2019-12-15 00:45:00 | 3.0227 | 214.21 | 3.4793 | 235.3813 | 3.8033 | 71.5227 | 3.5627 | 9.3307 | 5.6073 | 883 | 100 | 0.57267
2019-12-15 01:00:00 | 3.2487 | 17.6487 | 3.7393 | 19.3867 | 4.1513 | 121.7227 | 4.006 | 11.2247 | 5.5447 | 883 | 100 | 1.444
2019-12-15 01:15:00 | 3.2693 | 169.2233 | 3.77 | 185.9567 | 4.69 | 13.8127 | 4.3367 | 11.11 | 5.3807 | 883 | 100 | 1.99
2019-12-15 01:30:00 | 3.4027 | 208.9627 | 3.9153 | 229.6267 | 5.0533 | 14.18 | 4.778 | 8.2193 | 5.084 | 883 | 100 | 3.6707
2019-12-15 01:45:00 | 3.7467 | 134.0407 | 4.31 | 147.29 | 5.9533 | 10.6673 | 6.0447 | 18.4593 | 4.9287 | 883 | 100 | 6.62
2019-12-15 02:00:00 | 3.8 | 279.7027 | 4.3773 | 307.36 | 6.1413 | 12.5347 | 6.1833 | 12.92 | 4.796 | 882.2 | 100 | 8.31
2019-12-15 02:15:00 | 3.632 | 162.6233 | 4.1847 | 178.7067 | 5.814 | 8.622 | 6.176 | 18.116 | 4.8113 | 882 | 100 | 7.9167
2019-12-15 02:30:00 | 3.9 | 196.8813 | 4.486 | 216.3467 | 5.678 | 11.4807 | 5.7233 | 18.08 | 4.8267 | 882 | 100 | 8.764
2019-12-15 02:45:00 | 3.78 | 215.0273 | 4.3527 | 236.29 | 5.8693 | 54.5287 | 5.9353 | 16.2807 | 4.7647 | 882 | 100 | 10.6487
2019-12-15 03:00:00 | 3.6993 | 177.1307 | 4.26 | 194.6427 | 5.972 | 76.2353 | 6.1347 | 18.962 | 4.6813 | 882 | 100 | 11.3833
2019-12-15 03:15:00 | 3.8333 | 70.458 | 4.412 | 77.424 | 5.94 | 236.4153 | 5.8527 | 16.554 | 4.6307 | 882 | 100 | 13.3553
2019-12-15 03:30:00 | 4.06 | 181.6213 | 4.674 | 199.5787 | 6.238 | 117.0227 | 6.1087 | 20.0773 | 4.5587 | 882 | 100 | 14.45
2019-12-15 03:45:00 | 4.0733 | 226.6153 | 4.6933 | 249.0227 | 5.984 | 32.2373 | 5.9993 | 16.1 | 4.4687 | 882 | 100 | 14.6033
2019-12-15 04:00:00 | 4.2313 | 216.2713 | 4.87 | 237.658 | 6.1407 | 78.734 | 6.2027 | 13.15 | 4.436 | 882 | 100 | 16.4827
2019-12-15 04:15:00 | 4.44 | 190.4013 | 5.1127 | 209.2307 | 6.7987 | 123.8973 | 6.6707 | 12.6653 | 4.354 | 882 | 100 | 20.3847
2019-12-15 04:30:00 | 4.3147 | 233.8813 | 4.9647 | 257.012 | 6.806 | 12.992 | 6.7233 | 14.7987 | 4.2767 | 881.8667 | 100 | 20.176
2019-12-15 04:45:00 | 4.2353 | 238.5127 | 4.8727 | 262.1 | 6.774 | 129.1573 | 6.7153 | 15.8513 | 4.234 | 881 | 100 | 21.9213
2019-12-15 05:00:00 | 4.4073 | 260.4527 | 5.074 | 286.2067 | 7.2287 | 127.8353 | 7.41 | 20.87 | 4.1713 | 881.1333 | 100 | 21.384
2019-12-15 05:15:00 | 4.5073 | 152.2087 | 5.186 | 167.2567 | 7.2927 | 16.0173 | 7.5573 | 19.982 | 4.124 | 881.5333 | 100 | 21.682
2019-12-15 05:30:00 | 4.5527 | 175.274 | 5.2453 | 192.602 | 6.834 | 13.6467 | 7.1373 | 7.174 | 4.0193 | 881 | 100 | 24.0367
2019-12-15 05:45:00 | 4.7147 | 129.5613 | 5.4267 | 142.3747 | 7.284 | 16.4427 | 7.3367 | 49.5793 | 3.9707 | 881 | 100 | 26.1547
2019-12-15 06:00:00 | 5.0907 | 139.8047 | 5.8613 | 153.6347 | 7.8167 | 10.862 | 7.786 | 16.0893 | 3.882 | 881 | 100 | 27.6933
2019-12-15 06:15:00 | 5.3673 | 39.5693 | 6.1813 | 43.4767 | 8.196 | 54.1453 | 8.638 | 12.8127 | 3.7933 | 881 | 100 | 30.7653
2019-12-15 06:30:00 | 5.2667 | 233.8847 | 6.0607 | 257.016 | 8.41 | 235.4 | 8.6093 | 16.06 | 3.782 | 881 | 100 | 31.866
2019-12-15 06:45:00 | 5.2747 | 98.9173 | 6.072 | 108.6973 | 7.9927 | 74.4773 | 8.552 | 16.64 | 3.742 | 881 | 100 | 33.4687
2019-12-15 07:00:00 | 5.3293 | 69.7127 | 6.1333 | 76.6013 | 8.1433 | 1.566 | 8.426 | 13.9707 | 3.6447 | 881 | 100 | 33.4867
2019-12-15 07:15:00 | 5.604 | 135.4667 | 6.4467 | 148.8553 | 8.2087 | 6.0573 | 8.6433 | 11.6027 | 3.524 | 881 | 100 | 35.5933
2019-12-15 07:30:00 | 5.3493 | 209.12 | 6.162 | 229.8 | 8.5147 | 54.7527 | 8.666 | 20.0733 | 3.4933 | 881.1333 | 100 | 37.13
2019-12-15 07:45:00 | 5.7767 | 99.7973 | 6.6527 | 109.6667 | 8.47 | 120.1167 | 8.4787 | 14.464 | 3.4687 | 881.5333 | 100 | 37.3647
2019-12-15 08:00:00 | 5.57 | 151.3467 | 6.4127 | 166.3133 | 8.9933 | 78.756 | 8.846 | 19.7287 | 3.4473 | 881.8 | 100 | 39.6087
2019-12-15 08:15:00 | 5.802 | 62.7627 | 6.6713 | 68.97 | 9.218 | 13.9193 | 9.544 | 16.7207 | 3.3833 | 882 | 100 | 41.266
2019-12-15 08:30:00 | 5.606 | 75.634 | 6.4513 | 83.1133 | 8.634 | 15.148 | 8.756 | 18.3773 | 3.334 | 882 | 100 | 40.9887
2019-12-15 08:45:00 | 5.858 | 55.1653 | 6.736 | 60.62 | 8.6607 | 3.5433 | 8.8113 | 11.3153 | 3.3253 | 882 | 100 | 40.942
2019-12-15 09:00:00 | 5.5433 | 101.8293 | 6.3773 | 111.8967 | 8.1393 | 123.6033 | 8.2 | 10.3653 | 3.298 | 882 | 100 | 41.0273
2019-12-15 09:15:00 | 5.408 | 175.4633 | 6.23 | 192.8133 | 8.804 | 52.46 | 8.9973 | 13.3587 | 3.306 | 882 | 100 | 40.8013
2019-12-15 09:30:00 | 5.5173 | 169.432 | 6.35 | 186.182 | 8.7107 | 186.498 | 8.6807 | 9.8207 | 3.2987 | 882.1333 | 100 | 40.908
2019-12-15 09:45:00 | 5.952 | 8.7227 | 6.842 | 9.5793 | 8.994 | 10.7667 | 9.292 | 11.148 | 3.2213 | 883 | 100 | 41.2293
2019-12-15 10:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 42.5393
2019-12-15 10:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 43.0987
2019-12-15 10:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 42.896
2019-12-15 10:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 41.9153
2019-12-15 11:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 42.082
2019-12-15 11:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 42.8647
2019-12-15 11:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 42.058
2019-12-15 11:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 40.5313
2019-12-15 12:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 42.2587
2019-12-15 12:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 40.4127
2019-12-15 12:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 39.9593
2019-12-15 12:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 39.222
2019-12-15 13:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 39.6527
2019-12-15 13:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 40.4727
2019-12-15 13:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 37.75
2019-12-15 13:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 38.014
2019-12-15 14:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 39.282
2019-12-15 14:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 37.9333
2019-12-15 14:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 37.6587
2019-12-15 14:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 36.4893
2019-12-15 15:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 34.684
2019-12-15 15:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 33.6093
2019-12-15 15:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 34.7367
2019-12-15 15:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 38.302
2019-12-15 16:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 38.6973
2019-12-15 16:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 39.1273
2019-12-15 16:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 37.0873
2019-12-15 16:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 38.538
2019-12-15 17:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 38.1227
2019-12-15 17:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 37.9187
2019-12-15 17:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 36.942
2019-12-15 17:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 38.9013
2019-12-15 18:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 40.9567
2019-12-15 18:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 41.5127
2019-12-15 18:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 40.4593
2019-12-15 18:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 42.0993
2019-12-15 19:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 43.2333
2019-12-15 19:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 43.678
2019-12-15 19:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 45.2253
2019-12-15 19:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 46.132
2019-12-15 20:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 47.732
2019-12-15 20:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 47.1593
2019-12-15 20:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 46.18
2019-12-15 20:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 45.9607
2019-12-15 21:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 48.1687
2019-12-15 21:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 48.684
2019-12-15 21:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 49.1493
2019-12-15 21:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 49.586
2019-12-15 22:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 49.9713
2019-12-15 22:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 49.208
2019-12-15 22:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 50.3907
2019-12-15 22:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 51.286
2019-12-15 23:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 51.26
2019-12-15 23:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 53.2473
2019-12-15 23:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 54.194
2019-12-15 23:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 55.4867