## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-16 00:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 54.6286
2019-12-16 00:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 55.6067
2019-12-16 00:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 54.634
2019-12-16 00:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 56.1533
2019-12-16 01:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 56.828
2019-12-16 01:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 55.426
2019-12-16 01:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 57.1933
2019-12-16 01:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 57.65
2019-12-16 02:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 57.64
2019-12-16 02:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 59.46
2019-12-16 02:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 58.7613
2019-12-16 02:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 58.524
2019-12-16 03:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 57.128
2019-12-16 03:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 60.1007
2019-12-16 03:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 60.3507
2019-12-16 03:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 60.7327
2019-12-16 04:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 60.91
2019-12-16 04:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 59.4447
2019-12-16 04:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 60.43
2019-12-16 04:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 60.4573
2019-12-16 05:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 58.958
2019-12-16 05:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 57.5447
2019-12-16 05:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 57.5307
2019-12-16 05:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 60.64
2019-12-16 06:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 59.9753
2019-12-16 06:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 61.9473
2019-12-16 06:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 58.8707
2019-12-16 06:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 58.9107
2019-12-16 07:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 59.8973
2019-12-16 07:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 59.306
2019-12-16 07:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 58.6753
2019-12-16 07:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 58.5873
2019-12-16 08:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 57.7273
2019-12-16 08:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 57.268
2019-12-16 08:30:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 57.3613
2019-12-16 08:45:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 57.564
2019-12-16 09:00:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 59.5947
2019-12-16 09:15:00 | 5.89 | 5.34 | 6.77 | 5.86 | 8.91 | 0.41 | 9.25 | 7.88 | 3.21 | 883 | 100 | 58.5873
2019-12-16 09:30:00 | 7.138 | 109.4573 | 8.2153 | 120.28 | 11.8527 | 164.1887 | 11.4907 | 148.0287 | 4.7893 | 883.7333 | 91.66 | 59.312
2019-12-16 09:45:00 | 7.2447 | 144.984 | 8.3327 | 159.3207 | 12.0447 | 307.42 | 11.6467 | 122.254 | 5.3007 | 884 | 89.5467 | 59.2253
2019-12-16 10:00:00 | 7.5773 | 57.8527 | 8.724 | 63.576 | 12.5567 | 184.9033 | 12.0073 | 16.442 | 5.5487 | 884.8 | 88.48 | 59.104
2019-12-16 10:15:00 | 7.5107 | 174.8727 | 8.6447 | 192.1613 | 12.9587 | 306.6733 | 12.6487 | 28.4413 | 5.7587 | 885 | 87.5267 | 58.7927
2019-12-16 10:30:00 | 7.5313 | 204.196 | 8.6607 | 224.3933 | 12.1387 | 140.5347 | 11.828 | 82.6653 | 5.9 | 885 | 86.7467 | 60.3787
2019-12-16 10:45:00 | 7.5127 | 194.052 | 8.65 | 213.2373 | 12.35 | 55.992 | 11.8493 | 18.0707 | 5.9427 | 885 | 86.56 | 60.972
2019-12-16 11:00:00 | 7.6 | 59.1567 | 8.744 | 65.0067 | 12.578 | 75.7673 | 12.4247 | 6.0907 | 5.936 | 885 | 86.3067 | 60.766
2019-12-16 11:15:00 | 7.5707 | 41.072 | 8.7107 | 45.128 | 12.6547 | 17.282 | 12.1607 | 15.958 | 6.088 | 885 | 85.76 | 59.0813
2019-12-16 11:30:00 | 7.6733 | 117.302 | 8.8267 | 128.894 | 13.4233 | 13.5053 | 13.0013 | 13.7833 | 6.2693 | 885 | 84.8 | 60.1333
2019-12-16 11:45:00 | 7.3107 | 270.792 | 8.4093 | 297.5667 | 13.154 | 17.1573 | 13.3053 | 22.2 | 6.612 | 885 | 83.22 | 59.5447
2019-12-16 12:00:00 | 6.8413 | 175.2267 | 7.8753 | 192.5533 | 12.58 | 17.3113 | 12.996 | 23.8127 | 7.164 | 885 | 80.9607 | 58.5587
2019-12-16 12:15:00 | 7.024 | 234.3207 | 8.086 | 257.4867 | 12.8353 | 12.0247 | 12.9507 | 25.182 | 7.1907 | 885 | 80.194 | 56.9727
2019-12-16 12:30:00 | 7.6787 | 195.1713 | 8.8387 | 214.4667 | 13.5253 | 11.7527 | 13.448 | 28.028 | 6.9193 | 885 | 80.34 | 58.0807
2019-12-16 12:45:00 | 6.976 | 219.1007 | 8.026 | 240.7633 | 12.758 | 12.5307 | 12.866 | 27.278 | 7.058 | 885 | 79.3493 | 57.834
2019-12-16 13:00:00 | 7.4347 | 192.22 | 8.5527 | 211.2333 | 13.4587 | 13.4527 | 13.1753 | 18.5713 | 7.1113 | 885 | 78.8287 | 58.4367
2019-12-16 13:15:00 | 7.3113 | 235.8027 | 8.412 | 259.1267 | 13.262 | 10.8367 | 13.3253 | 21.994 | 7.1893 | 884.5333 | 77.9447 | 58.2653
2019-12-16 13:30:00 | 7.1793 | 169.2407 | 8.2607 | 185.9767 | 12.9847 | 16.58 | 13.1493 | 24.5767 | 7.2133 | 884 | 77.4953 | 58.538
2019-12-16 13:45:00 | 7.126 | 142.992 | 8.2013 | 157.1253 | 12.8527 | 15.82 | 13.1447 | 29.024 | 7.34 | 884 | 77.3593 | 58.7673
2019-12-16 14:00:00 | 7.6567 | 39.87 | 8.81 | 43.8153 | 13.5707 | 21.778 | 14.1587 | 34.4413 | 7.4627 | 884 | 75.9873 | 59.362
2019-12-16 14:15:00 | 6.9247 | 169.2487 | 7.9693 | 185.9833 | 12.7047 | 17.4907 | 13.2847 | 28.8187 | 7.386 | 884 | 76.5413 | 58.832
2019-12-16 14:30:00 | 7.408 | 145.7827 | 8.5213 | 160.1933 | 13.192 | 21.13 | 13.5253 | 35.8313 | 7.318 | 884 | 75.9887 | 59.216
2019-12-16 14:45:00 | 7.184 | 171.3313 | 8.26 | 188.2653 | 12.8893 | 15.7473 | 13.464 | 27.0253 | 7.4327 | 884 | 75.6607 | 58.716
2019-12-16 15:00:00 | 7.4793 | 58.304 | 8.6027 | 64.0647 | 13.6113 | 17.1273 | 13.938 | 27.3573 | 7.418 | 884 | 75.1713 | 59.3147
2019-12-16 15:15:00 | 8.2 | 128.8707 | 9.4347 | 141.6133 | 14.85 | 17.4987 | 14.67 | 21.8333 | 7.304 | 883.5333 | 74.8813 | 59.9587
2019-12-16 15:30:00 | 7.9873 | 79.882 | 9.1867 | 87.78 | 14.386 | 12.0533 | 14.572 | 27.7907 | 7.2413 | 883 | 74.6847 | 59.684
2019-12-16 15:45:00 | 7.98 | 164.3173 | 9.1793 | 180.5633 | 14.444 | 16.2227 | 15.0013 | 21.7467 | 7.2133 | 883 | 74.408 | 59.442
2019-12-16 16:00:00 | 8.116 | 210.6187 | 9.3373 | 231.4453 | 14.7953 | 16.0747 | 14.938 | 21.4113 | 7.248 | 883.1333 | 73.6593 | 60.6707
2019-12-16 16:15:00 | 7.74 | 154.0727 | 8.906 | 169.308 | 14.2207 | 17.6813 | 14.5993 | 26.684 | 7.2453 | 884 | 73.7753 | 59.9107
2019-12-16 16:30:00 | 7.6733 | 178.344 | 8.8327 | 195.9867 | 14.0413 | 14.08 | 14.3333 | 20.876 | 7.1847 | 884 | 74.49 | 59.5593
2019-12-16 16:45:00 | 7.4487 | 298.6047 | 8.566 | 328.1333 | 13.552 | 19.482 | 13.7527 | 26.4313 | 7.1913 | 884 | 74.2693 | 58.8573
2019-12-16 17:00:00 | 7.8173 | 268.3787 | 8.996 | 294.9133 | 13.904 | 18.548 | 13.9433 | 24.322 | 7.1387 | 884 | 75.19 | 58.7527
2019-12-16 17:15:00 | 7.5873 | 253.6047 | 8.724 | 278.68 | 13.83 | 7.3947 | 13.6847 | 15.6773 | 7.1173 | 884 | 75.922 | 59.7967
2019-12-16 17:30:00 | 7.4907 | 179.0873 | 8.618 | 196.7973 | 13.6373 | 9.4153 | 13.3227 | 22.4367 | 7.062 | 884 | 76.4167 | 59.352
2019-12-16 17:45:00 | 7.272 | 269.7293 | 8.368 | 296.4067 | 13.2867 | 12.136 | 13.304 | 27.6307 | 7.0613 | 884 | 76.6913 | 58.7213
2019-12-16 18:00:00 | 7.252 | 294.7207 | 8.3473 | 323.8667 | 13.2493 | 23.4293 | 13.5247 | 26.414 | 6.9827 | 884 | 77.5887 | 59.648
2019-12-16 18:15:00 | 7.0633 | 206.7327 | 8.1247 | 227.1733 | 13.022 | 19.3453 | 13.434 | 25.4707 | 6.9953 | 884.4667 | 77.364 | 59.718
2019-12-16 18:30:00 | 6.9987 | 192.29 | 8.0507 | 211.3067 | 12.914 | 20.2713 | 13.4747 | 27.5087 | 7.0153 | 885 | 76.7387 | 59.6413
2019-12-16 18:45:00 | 7.3973 | 159.4153 | 8.5153 | 175.1813 | 13.5007 | 21.28 | 14.074 | 30.5893 | 7.0973 | 885 | 75.9367 | 60.048
2019-12-16 19:00:00 | 7.426 | 186.0767 | 8.5487 | 204.4767 | 13.4807 | 19.6173 | 14.11 | 27.166 | 7.052 | 885 | 76.248 | 59.6713
2019-12-16 19:15:00 | 7.5773 | 158.7533 | 8.718 | 174.452 | 13.8227 | 16.9847 | 14.136 | 24.7627 | 7.0813 | 885 | 75.8273 | 60.04
2019-12-16 19:30:00 | 7.6027 | 54.9807 | 8.752 | 60.4093 | 13.894 | 15.1693 | 14.2147 | 25.5207 | 7.1553 | 885 | 74.5353 | 60.026
2019-12-16 19:45:00 | 7.344 | 142.8433 | 8.4467 | 156.9707 | 13.522 | 13.9147 | 13.7853 | 25.3413 | 7.1527 | 885.4667 | 74.2613 | 59.3853
2019-12-16 20:00:00 | 7.344 | 142.356 | 8.448 | 156.43 | 13.428 | 18.8847 | 13.972 | 28.8027 | 7.114 | 886 | 74.484 | 59.1527
2019-12-16 20:15:00 | 7.912 | 200.1133 | 9.0987 | 219.8967 | 14.3807 | 22.274 | 14.326 | 22.8793 | 7.1107 | 886 | 73.9707 | 60.0613
2019-12-16 20:30:00 | 7.8507 | 275.386 | 9.0313 | 302.6133 | 14.1607 | 26.7633 | 14.1853 | 23.9653 | 7.182 | 886 | 72.9567 | 60.26
2019-12-16 20:45:00 | 7.6 | 195.188 | 8.7447 | 214.484 | 13.9527 | 12.1793 | 14.304 | 20.67 | 7.2133 | 886 | 72.1827 | 59.724
2019-12-16 21:00:00 | 7.9453 | 218.176 | 9.1433 | 239.7493 | 14.4933 | 13.7547 | 14.6013 | 21.2187 | 7.2607 | 886 | 71.3833 | 59.2227
2019-12-16 21:15:00 | 7.7753 | 174.22 | 8.9507 | 191.4467 | 14.1413 | 11.8133 | 14.184 | 22.6873 | 7.306 | 886.4667 | 70.6207 | 59.484
2019-12-16 21:30:00 | 7.6287 | 214.35 | 8.7927 | 235.5387 | 13.8893 | 20.24 | 14.3733 | 25.8087 | 7.2467 | 887 | 70.9647 | 59.2073
2019-12-16 21:45:00 | 7.4473 | 62.344 | 8.5667 | 68.508 | 13.5567 | 9.0407 | 13.808 | 27.9373 | 7.1753 | 887 | 71.2627 | 58.6093
2019-12-16 22:00:00 | 7.1733 | 258.928 | 8.2513 | 284.54 | 12.9793 | 18.896 | 13.6113 | 27.964 | 7.1693 | 887 | 70.604 | 57.7313
2019-12-16 22:15:00 | 6.32 | 192.2527 | 7.2713 | 211.26 | 11.646 | 15.538 | 12.4313 | 29.848 | 7.2193 | 887 | 69.5807 | 55.3013
2019-12-16 22:30:00 | 5.9733 | 209.4327 | 6.8753 | 230.14 | 10.968 | 8.9387 | 11.8207 | 28.6407 | 7.2767 | 887 | 68.5013 | 55.884
2019-12-16 22:45:00 | 6.568 | 234.274 | 7.5607 | 257.4467 | 11.9407 | 18.712 | 12.1827 | 21.81 | 7.2547 | 887 | 68.152 | 60.09
2019-12-16 23:00:00 | 6.9807 | 168.2733 | 8.0307 | 184.9167 | 12.7873 | 13.0507 | 13.6013 | 26.0713 | 7.1107 | 887 | 68.9033 | 59.4953
2019-12-16 23:15:00 | 7.4733 | 256.896 | 8.5967 | 282.3013 | 13.438 | 13.812 | 14.6353 | 30.03 | 7.132 | 887 | 68.4407 | 60.2033
2019-12-16 23:30:00 | 7.8033 | 219.8247 | 8.9753 | 241.5567 | 14.1807 | 18.3367 | 14.9893 | 31.2033 | 7.186 | 887 | 67.8013 | 60.12
2019-12-16 23:45:00 | 7.6453 | 177.27 | 8.7927 | 194.7973 | 13.8733 | 56.8913 | 14.3067 | 23.7853 | 7.1973 | 887 | 67.54 | 59.4573