## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-17 00:00:00 | 7.4729 | 199.3807 | 8.595 | 219.0929 | 13.4271 | 92.265 | 13.84 | 28.0164 | 7.12 | 887 | 67.902 | 59.7814
2019-12-17 00:15:00 | 7.4247 | 148.734 | 8.5387 | 163.4367 | 13.36 | 11.8187 | 13.8793 | 25.3433 | 7.1553 | 887 | 67.004 | 60.0133
2019-12-17 00:30:00 | 7.2873 | 263.8047 | 8.3833 | 289.8933 | 13.3127 | 11.6473 | 13.368 | 27.704 | 7.1753 | 887 | 66.5053 | 60.098
2019-12-17 00:45:00 | 7.392 | 163.0107 | 8.502 | 179.1333 | 13.194 | 20.976 | 13.8673 | 32.9053 | 7.1867 | 887.4667 | 66.0193 | 59.046
2019-12-17 01:00:00 | 7.686 | 243.1893 | 8.846 | 267.232 | 13.9267 | 18.3487 | 14.478 | 27.446 | 7.228 | 888 | 65.3873 | 59.1127
2019-12-17 01:15:00 | 7.5607 | 114.038 | 8.6987 | 125.3147 | 13.466 | 21.8933 | 13.968 | 30.2527 | 7.3367 | 888 | 63.924 | 59.0653
2019-12-17 01:30:00 | 7.8287 | 146.0867 | 9.0053 | 160.5333 | 13.7233 | 29.3973 | 14.382 | 29.5507 | 7.412 | 888 | 63.152 | 59.302
2019-12-17 01:45:00 | 8.082 | 62.7733 | 9.2953 | 68.9767 | 14.0807 | 30.1187 | 14.58 | 32.7933 | 7.4687 | 888 | 62.1493 | 60.5113
2019-12-17 02:00:00 | 7.9713 | 50.518 | 9.1733 | 55.5167 | 13.964 | 16.9413 | 14.2973 | 29.062 | 7.5253 | 888 | 61.3307 | 60.77
2019-12-17 02:15:00 | 7.7393 | 255.2867 | 8.9087 | 280.5333 | 13.5387 | 23.7133 | 14.3707 | 28.946 | 7.426 | 888 | 61.914 | 59.9767
2019-12-17 02:30:00 | 7.8247 | 71.066 | 9.0067 | 78.0927 | 13.706 | 20.7867 | 14.6607 | 29.82 | 7.4953 | 888 | 60.666 | 61.4407
2019-12-17 02:45:00 | 8.5273 | 223.726 | 9.81 | 245.8473 | 15.0047 | 13.986 | 15.4053 | 23.4973 | 7.3993 | 887.5333 | 61.086 | 61.9773
2019-12-17 03:00:00 | 9.0373 | 268.5933 | 10.3967 | 295.15 | 15.756 | 18.8453 | 16.1773 | 24.6513 | 7.4733 | 887.1333 | 59.584 | 61.2933
2019-12-17 03:15:00 | 8.988 | 117.8947 | 10.3493 | 129.554 | 15.532 | 12.1153 | 15.8633 | 25.638 | 7.4693 | 887.5333 | 59.072 | 61.4187
2019-12-17 03:30:00 | 9.146 | 168.5833 | 10.524 | 185.2533 | 15.8907 | 15.6493 | 16.0787 | 27.444 | 7.3413 | 887.8 | 59.7913 | 60.254
2019-12-17 03:45:00 | 8.2647 | 148.022 | 9.5107 | 162.6627 | 14.506 | 11.3367 | 14.844 | 21.2993 | 7.3213 | 888 | 59.3493 | 60.538
2019-12-17 04:00:00 | 8.6387 | 144.7687 | 9.9453 | 159.0807 | 15.2947 | 20.6547 | 15.3947 | 29.8287 | 7.1667 | 888 | 60.494 | 60.8733
2019-12-17 04:15:00 | 8.9587 | 223.6467 | 10.3093 | 245.756 | 15.6953 | 21.1307 | 15.7153 | 26.6207 | 7.13 | 888 | 59.8953 | 60.7367
2019-12-17 04:30:00 | 8.728 | 113.3507 | 10.0427 | 124.5533 | 15.454 | 17.3487 | 15.4487 | 21.802 | 7.0707 | 888 | 59.9 | 59.2953
2019-12-17 04:45:00 | 8.534 | 241.5067 | 9.8173 | 265.3907 | 15.2167 | 18.672 | 15.2773 | 25.4293 | 6.942 | 888 | 60.5833 | 59.0633
2019-12-17 05:00:00 | 8.7233 | 118.5547 | 10.0387 | 130.2793 | 15.534 | 20.546 | 15.5027 | 27.5607 | 6.876 | 888 | 60.6 | 60.9153
2019-12-17 05:15:00 | 8.9507 | 141.8813 | 10.2987 | 155.91 | 15.978 | 17.756 | 15.8953 | 27.0513 | 6.8287 | 888 | 60.5627 | 60.7127
2019-12-17 05:30:00 | 8.8307 | 109.0793 | 10.158 | 119.8533 | 15.388 | 16.9273 | 15.7 | 25.442 | 6.8627 | 888 | 59.1653 | 60.8733
2019-12-17 05:45:00 | 8.2233 | 170.5387 | 9.464 | 187.4033 | 14.2793 | 19.7593 | 14.594 | 29.1287 | 6.9273 | 888 | 57.7333 | 61.852
2019-12-17 06:00:00 | 8.6347 | 210.8847 | 9.938 | 231.74 | 15.2033 | 14.8973 | 15.3027 | 29.1107 | 6.8353 | 888 | 58.696 | 61.0373
2019-12-17 06:15:00 | 8.334 | 68.4193 | 9.5853 | 75.1767 | 15.08 | 23.3707 | 14.9793 | 30.2053 | 6.654 | 888 | 59.7107 | 62.588
2019-12-17 06:30:00 | 8.8247 | 144.3673 | 10.152 | 158.64 | 15.7013 | 23.3907 | 15.96 | 25.8627 | 6.5493 | 888 | 60.0813 | 62.4927
2019-12-17 06:45:00 | 9.3533 | 119.0287 | 10.7647 | 130.8 | 16.628 | 22.282 | 16.6173 | 31.196 | 6.53 | 888 | 59.5747 | 61.936
2019-12-17 07:00:00 | 9.668 | 233.23 | 11.1233 | 256.2933 | 17.032 | 17.8713 | 17.1267 | 26.408 | 6.5567 | 888 | 58.608 | 61.5773
2019-12-17 07:15:00 | 9.3767 | 191.6273 | 10.79 | 210.5727 | 16.3033 | 18.8473 | 16.5147 | 23.3133 | 6.564 | 888 | 57.6567 | 61.1707
2019-12-17 07:30:00 | 8.896 | 112.0247 | 10.238 | 123.1013 | 15.682 | 19.854 | 15.5433 | 28.662 | 6.5027 | 888 | 57.5207 | 61.5433
2019-12-17 07:45:00 | 8.3353 | 256.7253 | 9.5873 | 282.106 | 14.9413 | 19.8953 | 14.978 | 29.824 | 6.346 | 888 | 58.5953 | 61.1633
2019-12-17 08:00:00 | 8.322 | 167.858 | 9.5773 | 184.4533 | 15.026 | 20.2053 | 15.0487 | 22.7867 | 6.2967 | 888.8 | 58.2547 | 60.8807
2019-12-17 08:15:00 | 8.83 | 177.7453 | 10.1587 | 195.32 | 15.4027 | 21.566 | 15.8813 | 28.0233 | 6.352 | 889 | 57.044 | 61.3193
2019-12-17 08:30:00 | 8.854 | 116.8767 | 10.182 | 128.4333 | 15.582 | 23.286 | 15.7987 | 33.386 | 6.376 | 889 | 56.248 | 62.1013
2019-12-17 08:45:00 | 9.322 | 47.018 | 10.7193 | 51.6627 | 16.318 | 17.9807 | 16.52 | 30.3333 | 6.378 | 889 | 55.702 | 60.066
2019-12-17 09:00:00 | 9.7373 | 112.6933 | 11.2 | 123.8353 | 16.8747 | 24.644 | 16.7313 | 30.3993 | 6.4267 | 889 | 54.3493 | 59.8827
2019-12-17 09:15:00 | 9.348 | 128.4267 | 10.7553 | 141.13 | 16.564 | 25.3133 | 16.2867 | 28.846 | 6.388 | 889.4667 | 54.5853 | 60.5347
2019-12-17 09:30:00 | 9.2413 | 87.1447 | 10.6293 | 95.7567 | 16.1873 | 23.5 | 16.476 | 28.5653 | 6.438 | 889.3333 | 53.2007 | 61.8533
2019-12-17 09:45:00 | 9.3833 | 157.3827 | 10.7933 | 172.9467 | 16.7527 | 19.9007 | 16.836 | 27.0867 | 6.4427 | 890 | 53.904 | 60.86
2019-12-17 10:00:00 | 9.1207 | 48 | 10.494 | 52.744 | 16.3127 | 22.0693 | 16.4467 | 23.632 | 6.5093 | 890 | 52.7187 | 61.4287
2019-12-17 10:15:00 | 9.0933 | 154.946 | 10.4587 | 170.2693 | 16.0593 | 18.9573 | 16.536 | 30.7653 | 6.5787 | 890 | 52.1373 | 61.5273
2019-12-17 10:30:00 | 9.2067 | 119.1093 | 10.5887 | 130.8867 | 16.2593 | 17.3967 | 16.8427 | 26.4 | 6.7807 | 890 | 50.6947 | 61.2973
2019-12-17 10:45:00 | 9.2587 | 241.684 | 10.6533 | 265.58 | 16.3573 | 16.2607 | 16.328 | 26.9453 | 6.9607 | 890.4667 | 49.9067 | 61.5467
2019-12-17 11:00:00 | 9.0027 | 204.3107 | 10.3547 | 224.5133 | 16.0167 | 23.4733 | 16.0593 | 36.0493 | 7.0747 | 891 | 49.224 | 60.212
2019-12-17 11:15:00 | 8.754 | 221.9607 | 10.072 | 243.9067 | 15.5227 | 21.6427 | 15.8933 | 30.252 | 7.254 | 891 | 48.9153 | 60.1067
2019-12-17 11:30:00 | 8.2493 | 116.1733 | 9.4913 | 127.6567 | 14.6947 | 12.2427 | 14.6413 | 19.088 | 7.3267 | 891 | 48.3027 | 58.512
2019-12-17 11:45:00 | 8.6267 | 107.3087 | 9.928 | 117.914 | 15.2387 | 10.2233 | 15.2193 | 18.6133 | 7.478 | 891 | 47.8593 | 59.214
2019-12-17 12:00:00 | 9.116 | 217.6607 | 10.4867 | 239.1793 | 16.2127 | 9.2933 | 15.95 | 17.0927 | 7.636 | 891 | 47.1807 | 60.2807
2019-12-17 12:15:00 | 9.6027 | 201.2253 | 11.0507 | 221.12 | 17.0833 | 12.5733 | 17.0207 | 22.9627 | 7.758 | 891 | 46.2153 | 59.2993
2019-12-17 12:30:00 | 9.3 | 211.484 | 10.7027 | 232.3933 | 16.6307 | 14.072 | 16.5053 | 24.762 | 7.8467 | 890.2 | 45.9573 | 59.6987
2019-12-17 12:45:00 | 8.5107 | 80.71 | 9.7933 | 88.6927 | 14.898 | 8.4047 | 14.8387 | 24.9147 | 7.846 | 890 | 46.078 | 59.9773
2019-12-17 13:00:00 | 8.4487 | 90.964 | 9.7207 | 99.9527 | 14.91 | 6.382 | 14.9233 | 23.23 | 8.12 | 890 | 46.0727 | 58.6567
2019-12-17 13:15:00 | 8.3693 | 211.3527 | 9.6293 | 232.2553 | 14.6687 | 19.7167 | 14.7687 | 21.6267 | 8.3067 | 890 | 45.7607 | 56.7927
2019-12-17 13:30:00 | 7.72 | 214.8827 | 8.882 | 236.1327 | 13.3387 | 19.0467 | 13.5927 | 25.3107 | 8.3527 | 890 | 44.7667 | 53.53
2019-12-17 13:45:00 | 6.7953 | 109.7027 | 7.8247 | 120.5433 | 11.698 | 17.4607 | 11.892 | 29.09 | 8.3013 | 890 | 45.1493 | 51.5053
2019-12-17 14:00:00 | 6.968 | 135.306 | 8.0153 | 148.6847 | 12.1633 | 18.4567 | 12.1793 | 26.3413 | 8.378 | 890 | 45.1207 | 51.2047
2019-12-17 14:15:00 | 6.3627 | 256.4047 | 7.3207 | 281.7547 | 11.0033 | 18.3193 | 11.6333 | 23.8113 | 8.28 | 890 | 45.312 | 50.964
2019-12-17 14:30:00 | 6.64 | 151.98 | 7.6407 | 167.0087 | 11.4407 | 18.752 | 11.7427 | 30.8633 | 8.1187 | 889.2 | 45.7627 | 49.6707
2019-12-17 14:45:00 | 6.582 | 77.8147 | 7.5707 | 85.5027 | 11.332 | 22.494 | 11.574 | 31.5247 | 8.0073 | 889 | 46.222 | 48.836
2019-12-17 15:00:00 | 6.9747 | 98.5207 | 8.0287 | 108.2587 | 12.0347 | 23.4907 | 12.4007 | 30.4627 | 7.9427 | 889 | 46.2573 | 49.704
2019-12-17 15:15:00 | 6.7933 | 121.2947 | 7.8127 | 133.2853 | 11.8047 | 22.3593 | 11.8327 | 25.0433 | 7.9847 | 889 | 46.676 | 49.8413
2019-12-17 15:30:00 | 6.1507 | 204.162 | 7.0747 | 224.3467 | 10.6813 | 14.34 | 11.0307 | 31.8967 | 7.9687 | 889 | 46.9967 | 49.8013
2019-12-17 15:45:00 | 5.9633 | 268.4873 | 6.8653 | 295.0387 | 10.3793 | 17.9193 | 10.5947 | 27.6127 | 7.922 | 889 | 47.4493 | 45.9887
2019-12-17 16:00:00 | 5.86 | 123.448 | 6.7453 | 135.6513 | 10.164 | 12.5427 | 10.3067 | 29.272 | 7.802 | 889 | 47.684 | 47.012
2019-12-17 16:15:00 | 6.6367 | 220.2767 | 7.6467 | 242.0627 | 11.406 | 20.8993 | 11.4533 | 27.3473 | 7.586 | 889 | 48.2767 | 52.5287
2019-12-17 16:30:00 | 6.5 | 116.1 | 7.4813 | 127.5773 | 11.506 | 18.548 | 11.848 | 34.3167 | 7.362 | 889.6667 | 49.2747 | 54.6587
2019-12-17 16:45:00 | 6.596 | 184.6627 | 7.5933 | 202.92 | 11.5173 | 20.466 | 11.9093 | 25.882 | 7.224 | 889 | 50.03 | 54.9327
2019-12-17 17:00:00 | 7.2007 | 154.4947 | 8.2793 | 169.7767 | 12.5907 | 19.2233 | 13.0867 | 30.0327 | 7.1133 | 889 | 50.0753 | 57.5907
2019-12-17 17:15:00 | 7.4173 | 171.586 | 8.5393 | 188.5533 | 12.9607 | 17.0313 | 13.416 | 23.1387 | 7.022 | 889.4667 | 50.3827 | 56.554
2019-12-17 17:30:00 | 6.992 | 152.17 | 8.0433 | 167.2167 | 12.1413 | 16.2073 | 12.7667 | 29.7187 | 6.958 | 890 | 50.586 | 56.584
2019-12-17 17:45:00 | 7.4893 | 91.648 | 8.616 | 100.7033 | 12.8787 | 23.496 | 13.3767 | 28.9067 | 6.918 | 890 | 50.3633 | 53.7387
2019-12-17 18:00:00 | 7.858 | 153.4187 | 9.0393 | 168.59 | 13.5373 | 12.01 | 14.0467 | 24.298 | 6.862 | 890 | 50.5553 | 55.838
2019-12-17 18:15:00 | 7.9453 | 246.7653 | 9.1413 | 271.16 | 13.7147 | 10.636 | 14.2127 | 25.5487 | 6.8127 | 890 | 50.606 | 57.812
2019-12-17 18:30:00 | 7.556 | 222.9807 | 8.6927 | 245.0267 | 13.0533 | 24.7127 | 13.81 | 28.9613 | 6.826 | 890 | 50.248 | 58.636
2019-12-17 18:45:00 | 7.844 | 224.0007 | 9.0253 | 246.1533 | 13.7853 | 16.6393 | 14.1527 | 20.4527 | 6.7047 | 890 | 51.272 | 58.612
2019-12-17 19:00:00 | 8.22 | 132.7927 | 9.4593 | 145.92 | 14.2953 | 12.5667 | 15.0607 | 32.1273 | 6.65 | 890 | 51.2653 | 59.1633
2019-12-17 19:15:00 | 8.2973 | 57.6033 | 9.5513 | 63.2993 | 14.344 | 24.0547 | 15.1467 | 29.5287 | 6.7067 | 890 | 50.0427 | 59.75
2019-12-17 19:30:00 | 8.5853 | 168.1173 | 9.8847 | 184.7407 | 15.03 | 15.5927 | 15.2987 | 25.59 | 6.6693 | 890 | 50.3407 | 59.6933
2019-12-17 19:45:00 | 8.2393 | 130.7467 | 9.48 | 143.6787 | 14.5293 | 17.082 | 15.1273 | 26.556 | 6.5627 | 890 | 50.7947 | 59.6247
2019-12-17 20:00:00 | 8.2427 | 141.0173 | 9.4873 | 154.9647 | 14.4813 | 131.422 | 15.1873 | 24.0233 | 6.528 | 890 | 50.706 | 60.1567
2019-12-17 20:15:00 | 8.52 | 138.8807 | 9.802 | 152.6033 | 14.9107 | 24.0387 | 15.732 | 27.7933 | 6.4933 | 890.4667 | 50.704 | 59.288
2019-12-17 20:30:00 | 8.0093 | 256.796 | 9.2187 | 282.1867 | 14.018 | 20.404 | 14.8553 | 32.1467 | 6.454 | 891 | 50.9533 | 57.8353
2019-12-17 20:45:00 | 8.04 | 154.264 | 9.2473 | 169.5113 | 13.756 | 15.778 | 14.5207 | 34.0587 | 6.424 | 891 | 50.576 | 55.6553
2019-12-17 21:00:00 | 7.5327 | 52.7647 | 8.662 | 57.9713 | 13.0793 | 16.0927 | 13.8107 | 33.04 | 6.3987 | 891 | 50.35 | 54.9167
2019-12-17 21:15:00 | 7.538 | 72.924 | 8.6693 | 80.134 | 13.1467 | 17.254 | 13.8007 | 23.882 | 6.374 | 891 | 50.254 | 55.5827
2019-12-17 21:30:00 | 7.9773 | 168.8093 | 9.178 | 185.5 | 13.9393 | 19.1213 | 14.602 | 29.952 | 6.282 | 891 | 50.514 | 57.7107
2019-12-17 21:45:00 | 8.4713 | 194.2607 | 9.75 | 213.4633 | 14.598 | 20.0513 | 14.8627 | 24.612 | 6.3353 | 891 | 49.1813 | 59.362
2019-12-17 22:00:00 | 8.3993 | 267.302 | 9.666 | 293.7333 | 14.82 | 16.8473 | 15.4193 | 28.8067 | 6.2953 | 891 | 49.7133 | 59.254
2019-12-17 22:15:00 | 8.934 | 163.81 | 10.2827 | 180.0067 | 15.3773 | 15.9253 | 15.7927 | 32.192 | 6.2893 | 891 | 49.1047 | 59.7713
2019-12-17 22:30:00 | 8.6693 | 197.128 | 9.98 | 216.62 | 15.0987 | 18.9807 | 15.726 | 32.5813 | 6.2167 | 891.8 | 49.7153 | 60.2707
2019-12-17 22:45:00 | 8.444 | 106.5027 | 9.712 | 117.03 | 14.6087 | 11.828 | 15.2347 | 26.676 | 6.192 | 892 | 49.244 | 58.5353
2019-12-17 23:00:00 | 8.506 | 189.484 | 9.788 | 208.2187 | 14.902 | 15.8053 | 15.2927 | 24.196 | 6.112 | 892 | 49.8347 | 58.4587
2019-12-17 23:15:00 | 8.9213 | 133.426 | 10.266 | 146.6167 | 15.81 | 12.5093 | 16.22 | 20.1233 | 6.0607 | 892 | 51.11 | 56.202
2019-12-17 23:30:00 | 9.8953 | 151.9507 | 11.3893 | 166.9733 | 17.2773 | 19.8493 | 17.4207 | 28.1413 | 5.914 | 892 | 53.3467 | 58.468
2019-12-17 23:45:00 | 8.9793 | 180.8893 | 10.3347 | 198.7733 | 15.5653 | 16.54 | 15.914 | 31.64 | 5.7053 | 892 | 55.8173 | 60.0873