## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-18 00:00:00 | 9.72 | 196.0464 | 11.1893 | 215.425 | 17.1921 | 18.795 | 17.21 | 24.5407 | 5.4957 | 892 | 58.2693 | 60.0964
2019-12-18 00:15:00 | 9.926 | 153.042 | 11.4173 | 168.172 | 17.6987 | 17.708 | 17.742 | 20.3687 | 5.264 | 892 | 60.4007 | 59.054
2019-12-18 00:30:00 | 10.1553 | 136.9953 | 11.682 | 150.5447 | 18.166 | 9.9953 | 18.0173 | 21.5667 | 5.002 | 892 | 62.6187 | 60.274
2019-12-18 00:45:00 | 9.4987 | 193.566 | 10.928 | 212.7067 | 16.8267 | 14.572 | 16.8893 | 20.4633 | 4.7873 | 892 | 64.5987 | 59.7773
2019-12-18 01:00:00 | 9.5053 | 259.9067 | 10.9313 | 285.6067 | 16.5093 | 19.6573 | 16.2947 | 30.4633 | 4.526 | 892 | 67.1113 | 59.642
2019-12-18 01:15:00 | 9.0567 | 213.7373 | 10.4227 | 234.8667 | 15.46 | 24.718 | 15.8573 | 36.384 | 4.276 | 892 | 69.1753 | 60.93
2019-12-18 01:30:00 | 9.4453 | 226.4453 | 10.864 | 248.84 | 16.3793 | 24.918 | 16.4193 | 26.9413 | 4.0027 | 892 | 71.97 | 60.6827
2019-12-18 01:45:00 | 8.626 | 270.5793 | 9.9273 | 297.3333 | 15.1387 | 15.9193 | 15.0873 | 22.1167 | 3.858 | 892 | 72.6267 | 60.3593
2019-12-18 02:00:00 | 8.396 | 128.6393 | 9.6607 | 141.3553 | 14.6133 | 21.658 | 14.916 | 31.23 | 3.7927 | 892 | 73.1773 | 59.4433
2019-12-18 02:15:00 | 8.11 | 137.7773 | 9.3347 | 151.4013 | 13.9953 | 17.7047 | 14.5173 | 31.0287 | 3.684 | 892 | 73.9007 | 59.18
2019-12-18 02:30:00 | 8.27 | 148.0547 | 9.5147 | 162.69 | 14.812 | 14.4213 | 14.7773 | 20.152 | 3.5813 | 892 | 75.17 | 59.2387
2019-12-18 02:45:00 | 8.726 | 224.632 | 10.0413 | 246.84 | 15.65 | 11.0507 | 15.5547 | 17.1687 | 3.4913 | 892 | 76.0467 | 59.0247
2019-12-18 03:00:00 | 9.166 | 240.1073 | 10.548 | 263.8467 | 16.444 | 9.8753 | 16.0713 | 26.6427 | 3.2673 | 892 | 78.526 | 60.618
2019-12-18 03:15:00 | 8.256 | 294.6007 | 9.5027 | 323.7333 | 14.7867 | 17.1393 | 14.822 | 29.09 | 3.0347 | 892 | 80.2053 | 60.3413
2019-12-18 03:30:00 | 8.4707 | 280.168 | 9.7493 | 307.8733 | 15.1313 | 17.4407 | 15.1653 | 28.322 | 2.89 | 892 | 81.36 | 60.658
2019-12-18 03:45:00 | 8.8607 | 190.5293 | 10.1913 | 209.3633 | 15.6447 | 13.3833 | 15.7573 | 31.276 | 2.8147 | 892 | 81.4667 | 61.306
2019-12-18 04:00:00 | 9.156 | 66.5713 | 10.5353 | 73.156 | 16.1587 | 18.8327 | 16.2087 | 30.832 | 2.7953 | 892 | 81.2533 | 61.858
2019-12-18 04:15:00 | 9.8053 | 142.9433 | 11.282 | 157.07 | 17.0433 | 16.2467 | 17.2067 | 27.322 | 2.85 | 892 | 79.9033 | 61.6793
2019-12-18 04:30:00 | 9.392 | 216.064 | 10.804 | 237.426 | 16.38 | 16.6473 | 16.744 | 31.9047 | 2.8693 | 892 | 78.916 | 61.9087
2019-12-18 04:45:00 | 9.546 | 126.792 | 10.9813 | 139.324 | 16.7073 | 16.9173 | 16.93 | 26.6667 | 2.8427 | 892 | 78.6747 | 62.426
2019-12-18 05:00:00 | 9.7987 | 135.1807 | 11.2753 | 148.5467 | 17.218 | 20.1547 | 17.3953 | 26.7673 | 2.7987 | 891.2 | 78.3687 | 61.4807
2019-12-18 05:15:00 | 9.408 | 172.9913 | 10.828 | 190.0987 | 16.528 | 23.9867 | 16.694 | 26.4433 | 2.7347 | 891 | 78.2627 | 62.178
2019-12-18 05:30:00 | 10.1 | 169.3353 | 11.622 | 186.08 | 17.4873 | 12.9447 | 17.574 | 28.9093 | 2.7553 | 891 | 77.2327 | 61.814
2019-12-18 05:45:00 | 9.374 | 50.0027 | 10.7893 | 54.9413 | 16.5 | 21.1927 | 16.828 | 28.516 | 2.744 | 891 | 76.566 | 62.4873
2019-12-18 06:00:00 | 9.4527 | 125.3313 | 10.8753 | 137.7233 | 16.382 | 14.0133 | 16.328 | 27.0927 | 2.8167 | 891 | 74.8273 | 62.194
2019-12-18 06:15:00 | 9.5213 | 75.55 | 10.958 | 83.02 | 16.7267 | 14.8347 | 16.5107 | 24.7393 | 2.916 | 891 | 73.3233 | 62.6707
2019-12-18 06:30:00 | 9.64 | 266.022 | 11.092 | 292.3267 | 17.0707 | 17.6373 | 17.0987 | 24.7713 | 2.9487 | 891 | 72.8647 | 63.2287
2019-12-18 06:45:00 | 9.4627 | 229.578 | 10.88 | 252.2813 | 16.7627 | 22.5667 | 16.898 | 31.2533 | 2.9707 | 891 | 72.2673 | 62.0953
2019-12-18 07:00:00 | 9.3973 | 46.7413 | 10.8053 | 51.358 | 16.634 | 21.268 | 16.704 | 32.568 | 2.8607 | 891 | 73.028 | 61.868
2019-12-18 07:15:00 | 8.8067 | 46.0827 | 10.128 | 50.6327 | 15.522 | 18.9273 | 15.9027 | 26.5627 | 2.854 | 891.4667 | 73.1633 | 61.5647
2019-12-18 07:30:00 | 8.8427 | 26.04 | 10.1733 | 28.6127 | 15.602 | 13.7467 | 15.5727 | 24.2407 | 2.8867 | 892 | 72.7307 | 60.85
2019-12-18 07:45:00 | 8.498 | 128.43 | 9.776 | 141.1253 | 15.016 | 13.3227 | 15.414 | 29.0973 | 2.9113 | 892 | 71.994 | 57.7053
2019-12-18 08:00:00 | 7.7973 | 78.8107 | 8.9787 | 86.598 | 13.68 | 24.3573 | 14.1187 | 32.9633 | 2.9353 | 892 | 70.9247 | 57.1273
2019-12-18 08:15:00 | 7.296 | 29.2487 | 8.3927 | 32.14 | 12.6613 | 72.008 | 13.016 | 28.6453 | 2.8733 | 892 | 71.2873 | 57.6593
2019-12-18 08:30:00 | 7.0673 | 200.4127 | 8.132 | 220.2333 | 12.6433 | 18.4973 | 13.0827 | 32.448 | 2.842 | 892.8 | 72.0193 | 58.0033
2019-12-18 08:45:00 | 7.6173 | 252.438 | 8.77 | 277.4 | 13.3407 | 16.182 | 13.7533 | 26.398 | 2.9973 | 892.5333 | 70.988 | 56.9433
2019-12-18 09:00:00 | 6.7773 | 159.3107 | 7.8033 | 175.0653 | 11.872 | 20.4953 | 12.374 | 40.0893 | 3.2093 | 892.8 | 69.8333 | 52.1967
2019-12-18 09:15:00 | 6.468 | 108.8747 | 7.4373 | 119.638 | 11.3627 | 23.7507 | 11.8433 | 32.1167 | 3.56 | 893 | 67.918 | 52.988
2019-12-18 09:30:00 | 6.5047 | 203.2933 | 7.484 | 223.3933 | 11.5127 | 21.7247 | 11.8307 | 21.7993 | 4.2207 | 893.8 | 65.936 | 47.7373
2019-12-18 09:45:00 | 6.4793 | 251.2847 | 7.4533 | 276.1267 | 11.4467 | 12.356 | 11.4913 | 28.118 | 4.2373 | 894 | 65.48 | 46.8267
2019-12-18 10:00:00 | 6.508 | 128.7847 | 7.4853 | 141.5173 | 11.3253 | 27.7333 | 12.0033 | 30.558 | 4.3673 | 894.8 | 64.7513 | 43.734
2019-12-18 10:15:00 | 5.718 | 204.406 | 6.574 | 224.616 | 9.9693 | 19.6147 | 10.1413 | 30.082 | 5.1487 | 895 | 62.3993 | 29.8387
2019-12-18 10:30:00 | 5.8213 | 94.3453 | 6.6967 | 103.6707 | 10.1167 | 23.7473 | 10.3647 | 30.266 | 5.6267 | 895 | 60.2747 | 35.526
2019-12-18 10:45:00 | 5.8027 | 261.9127 | 6.684 | 287.8067 | 10.0087 | 15.7693 | 10.312 | 23.6467 | 6.256 | 895 | 58.0193 | 33.7433
2019-12-18 11:00:00 | 5.636 | 149.476 | 6.4853 | 164.256 | 9.7407 | 15.1 | 9.9793 | 28.1153 | 6.4473 | 895.8 | 56.8327 | 30.6113
2019-12-18 11:15:00 | 5.5467 | 144.64 | 6.384 | 158.9393 | 9.4913 | 28.1747 | 9.4753 | 24.2 | 6.82 | 896 | 54.926 | 29.7147
2019-12-18 11:30:00 | 6.0427 | 87.3013 | 6.9547 | 95.924 | 10.1327 | 19.75 | 10.0647 | 34.4687 | 6.9393 | 895.8667 | 54.5333 | 31.0793
2019-12-18 11:45:00 | 5.756 | 58.238 | 6.624 | 63.9927 | 9.5773 | 26.1047 | 8.784 | 26.9733 | 7.4873 | 895.4667 | 52.3513 | 31.0387
2019-12-18 12:00:00 | 5.1113 | 80.6873 | 5.886 | 88.662 | 8.5207 | 22.1753 | 8.232 | 33.2933 | 7.202 | 895.2 | 52.6393 | 27.27
2019-12-18 12:15:00 | 5.2787 | 47.9573 | 6.0773 | 52.6933 | 8.6693 | 24.568 | 7.9427 | 37.648 | 7.6727 | 895 | 50.8733 | 26.798
2019-12-18 12:30:00 | 5.3107 | 140.0313 | 6.1047 | 153.8687 | 8.7507 | 32.2207 | 6.7467 | 32.832 | 7.9033 | 895 | 49.6993 | 20.008
2019-12-18 12:45:00 | 4.0653 | 111.896 | 4.674 | 122.9533 | 6.45 | 22.7167 | 5.8687 | 23.988 | 7.6173 | 895 | 49.7887 | 11.224
2019-12-18 13:00:00 | 3.644 | 203.816 | 4.1973 | 223.974 | 5.9733 | 27.8767 | 4.8447 | 22.1267 | 7.9693 | 894.8667 | 50.0693 | 9.7253
2019-12-18 13:15:00 | 3.6927 | 16.132 | 4.248 | 17.7193 | 5.726 | 17.0787 | 5.3907 | 21.2527 | 8.3407 | 894.4667 | 48.3947 | 9.1267
2019-12-18 13:30:00 | 3.7673 | 105.7 | 4.332 | 116.15 | 5.8433 | 16.5273 | 5.3493 | 26.0127 | 8.0287 | 894.8667 | 48.826 | 8.6627
2019-12-18 13:45:00 | 3.782 | 145.886 | 4.3507 | 160.3067 | 6.1247 | 22.0647 | 5.7413 | 37.886 | 9.176 | 894 | 46.4693 | 8.626
2019-12-18 14:00:00 | 3.7893 | 118.082 | 4.3607 | 129.75 | 6.248 | 28.522 | 5.2153 | 23.928 | 9.468 | 894 | 45.3173 | 8.966
2019-12-18 14:15:00 | 3.268 | 202.746 | 3.7567 | 222.7933 | 5.0807 | 23.6653 | 5.0253 | 20.5513 | 8.742 | 894 | 46.824 | 7.356
2019-12-18 14:30:00 | 3.2813 | 124.3033 | 3.776 | 136.5933 | 5.3853 | 18.9173 | 5.172 | 32.632 | 8.766 | 894 | 47.7247 | 6.5713
2019-12-18 14:45:00 | 3.468 | 9.42 | 3.988 | 10.3473 | 5.5453 | 22.2307 | 5.096 | 25.08 | 8.636 | 894 | 49.1253 | 8.8953
2019-12-18 15:00:00 | 3.3647 | 122.6067 | 3.8673 | 134.724 | 5.7127 | 32.1727 | 4.9847 | 33.486 | 8.9733 | 893.2 | 48.468 | 10.502
2019-12-18 15:15:00 | 3.0487 | 132.282 | 3.5073 | 145.3653 | 5.252 | 25.9947 | 3.8213 | 22.2227 | 8.9313 | 893 | 48.682 | 8.9947
2019-12-18 15:30:00 | 3.6707 | 48.256 | 4.2247 | 53.02 | 6.0347 | 128.6527 | 5.6353 | 25.7493 | 8.49 | 893 | 50.4487 | 11.0407
2019-12-18 15:45:00 | 4.1073 | 70.4713 | 4.7293 | 77.4333 | 6.7927 | 15.1 | 6.2653 | 32.7907 | 7.3967 | 893 | 53.8253 | 11.1753
2019-12-18 16:00:00 | 3.6173 | 201.0793 | 4.162 | 220.9567 | 6.2453 | 31.2907 | 4.8827 | 37.944 | 7.2573 | 893 | 54.0873 | 14.7013
2019-12-18 16:15:00 | 3.7273 | 283.1513 | 4.2907 | 311.1533 | 6.45 | 23.15 | 5.6427 | 28.9367 | 6.906 | 893 | 55.4673 | 18.806
2019-12-18 16:30:00 | 3.9673 | 217.882 | 4.56 | 239.4307 | 7.16 | 19.548 | 7.156 | 20.6073 | 6.5467 | 892.2 | 57.2867 | 21.0913
2019-12-18 16:45:00 | 4.18 | 96.358 | 4.8093 | 105.8807 | 7.618 | 14.1907 | 7.402 | 21.152 | 6.4707 | 892 | 57.794 | 16.24
2019-12-18 17:00:00 | 3.68 | 202.5927 | 4.2313 | 222.6253 | 6.5953 | 16.1193 | 6.2473 | 28.5987 | 6.3033 | 892 | 58.5613 | 15.0147
2019-12-18 17:15:00 | 3.3613 | 141.9507 | 3.8667 | 155.9867 | 6.1187 | 17.0193 | 6.238 | 28.4513 | 6.1233 | 892 | 59.2307 | 16.6753
2019-12-18 17:30:00 | 3.652 | 212.8827 | 4.206 | 233.9333 | 6.726 | 23.7747 | 6.5853 | 25.014 | 5.7047 | 892 | 60.6393 | 22.0587
2019-12-18 17:45:00 | 3.982 | 221.726 | 4.584 | 243.64 | 7.3427 | 16.404 | 6.9387 | 18.4453 | 5.348 | 892 | 62.254 | 27.6673
2019-12-18 18:00:00 | 4.1393 | 226.6847 | 4.7693 | 249.1 | 7.748 | 17.404 | 7.3767 | 20.1873 | 5.1153 | 892 | 63.8093 | 27.0633
2019-12-18 18:15:00 | 4.0667 | 244.3973 | 4.6773 | 268.56 | 7.664 | 16.1307 | 7.3307 | 15.968 | 4.74 | 892 | 65.8133 | 30.4527
2019-12-18 18:30:00 | 4.0333 | 113.3473 | 4.6367 | 124.548 | 7.2033 | 9.9907 | 6.964 | 14.174 | 4.568 | 892 | 66.176 | 29.2913
2019-12-18 18:45:00 | 3.9973 | 57.1507 | 4.596 | 62.7987 | 6.884 | 12.1507 | 6.7827 | 17.6267 | 4.4267 | 892 | 66.5607 | 26.8753
2019-12-18 19:00:00 | 3.784 | 186.8867 | 4.356 | 205.3627 | 6.3787 | 97.5867 | 6.2453 | 18.5527 | 4.4607 | 892 | 66.0967 | 24.568
2019-12-18 19:15:00 | 3.466 | 149.05 | 3.9913 | 163.7833 | 6.0913 | 117.928 | 6.0553 | 10.102 | 4.1 | 892 | 67.986 | 22.454
2019-12-18 19:30:00 | 3.962 | 305.362 | 4.5627 | 335.56 | 6.3873 | 122.126 | 6.2527 | 18.0867 | 4.0507 | 892 | 69.3653 | 23.6327
2019-12-18 19:45:00 | 3.2847 | 210.6133 | 3.7767 | 231.44 | 5.9013 | 121.264 | 5.804 | 8.072 | 3.8387 | 892 | 70.6433 | 23.5073
2019-12-18 20:00:00 | 3.2647 | 206.4233 | 3.758 | 226.8267 | 6.1467 | 26.5547 | 5.888 | 14.8133 | 3.598 | 892 | 71.71 | 23.5933
2019-12-18 20:15:00 | 3.3067 | 306.7347 | 3.7993 | 337.0667 | 6.23 | 49.8113 | 5.9007 | 5.2 | 3.552 | 892 | 72.3553 | 22.2387
2019-12-18 20:30:00 | 3.7173 | 297.2807 | 4.2767 | 326.68 | 6.6833 | 73.5313 | 6.4247 | 11.18 | 3.598 | 892 | 72.7973 | 23.992
2019-12-18 20:45:00 | 3.6333 | 260.0347 | 4.1793 | 285.744 | 6.752 | 281.1687 | 6.44 | 11.776 | 3.6487 | 892 | 72.9433 | 22.764
2019-12-18 21:00:00 | 3.4027 | 174.7213 | 3.9187 | 192.0027 | 6.2547 | 76.34 | 5.9307 | 5.2387 | 3.61 | 892.8 | 73.4167 | 21.6627
2019-12-18 21:15:00 | 3.298 | 191.4213 | 3.794 | 210.3433 | 5.952 | 11.5407 | 5.8967 | 12.516 | 3.6647 | 893 | 73.7833 | 16.7307
2019-12-18 21:30:00 | 3.008 | 273.2187 | 3.4607 | 300.2373 | 5.4 | 11.1653 | 5.2447 | 14.1433 | 3.636 | 893 | 74.332 | 13.8973
2019-12-18 21:45:00 | 3.18 | 186.3353 | 3.658 | 204.7627 | 6.0633 | 17.858 | 6.2493 | 21.1453 | 3.3407 | 893 | 76.28 | 11.192
2019-12-18 22:00:00 | 2.4213 | 107.812 | 2.786 | 118.47 | 4.66 | 19.538 | 4.526 | 26.0073 | 2.984 | 893 | 78.2187 | 8.1373
2019-12-18 22:15:00 | 2.4613 | 156.1007 | 2.8347 | 171.5367 | 4.2847 | 14.2693 | 3.5187 | 22.1727 | 3.0407 | 893 | 78.124 | 5.438
2019-12-18 22:30:00 | 3.0653 | 113.708 | 3.5287 | 124.9533 | 5.8773 | 23.09 | 5.622 | 6.6093 | 3.1953 | 893 | 77.606 | 6.8593
2019-12-18 22:45:00 | 2.6447 | 131.3433 | 3.0473 | 144.3267 | 5.044 | 49.5887 | 5.0153 | 12.482 | 3.2487 | 893 | 76.732 | 4.642
2019-12-18 23:00:00 | 2.114 | 194.4067 | 2.432 | 213.6333 | 3.6813 | 193.2667 | 3.7387 | 46.7687 | 2.99 | 893 | 77.4187 | 5.9067
2019-12-18 23:15:00 | 2.3453 | 189.3933 | 2.6967 | 208.1213 | 3.8747 | 94.822 | 3.7033 | 105.8033 | 2.8267 | 893 | 78.092 | 5.7053
2019-12-18 23:30:00 | 3.0913 | 50.9473 | 3.558 | 55.9833 | 5.0033 | 121.026 | 5.0447 | 17.036 | 2.8353 | 893 | 78.4253 | 13.22
2019-12-18 23:45:00 | 3.5493 | 99.4647 | 4.0913 | 109.2927 | 5.932 | 6.18 | 6.112 | 14.2813 | 2.7373 | 893 | 79.4167 | 18.3293