## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-19 00:00:00 | 3.49 | 176.575 | 4.0157 | 194.0343 | 5.5564 | 7.455 | 5.7679 | 18.155 | 2.7121 | 893 | 79.9325 | 17.6414
2019-12-19 00:15:00 | 3.2607 | 113.8273 | 3.7533 | 125.0867 | 4.582 | 16.9647 | 4.6753 | 16.6073 | 2.702 | 893 | 80.2667 | 14.458
2019-12-19 00:30:00 | 2.9093 | 147.5173 | 3.344 | 162.104 | 3.932 | 14.4567 | 4.1207 | 24.868 | 2.7007 | 893 | 79.9287 | 10.5007
2019-12-19 00:45:00 | 2.9093 | 275.62 | 3.348 | 302.8813 | 3.94 | 12.7007 | 4.0113 | 27.152 | 2.658 | 893 | 79.9507 | 7.3767
2019-12-19 01:00:00 | 2.548 | 281.7047 | 2.9313 | 309.5547 | 3.8827 | 52.0947 | 3.972 | 16.7267 | 2.4107 | 893 | 81.2587 | 3.5353
2019-12-19 01:15:00 | 3.0333 | 321.3507 | 3.492 | 353.1267 | 3.9867 | 226.72 | 3.684 | 7.0333 | 2.5407 | 893 | 80.44 | 3.886
2019-12-19 01:30:00 | 2.948 | 212.8507 | 3.3933 | 233.9 | 4.5913 | 73.0387 | 4.1613 | 4.1827 | 2.38 | 893 | 81.1667 | 3.4253
2019-12-19 01:45:00 | 2.904 | 69.254 | 3.3407 | 76.102 | 4.044 | 125.622 | 4.0173 | 31.702 | 2.1307 | 893 | 82.3333 | 2.0807
2019-12-19 02:00:00 | 3.2827 | 156.01 | 3.7807 | 171.4313 | 4.9373 | 14.7027 | 5.0367 | 4.3293 | 1.9013 | 892.8667 | 84.4 | 9.9747
2019-12-19 02:15:00 | 3.9913 | 217.0027 | 4.5947 | 238.4567 | 6.94 | 10.38 | 6.9953 | 14.0407 | 1.5713 | 892 | 86.72 | 18.2573
2019-12-19 02:30:00 | 3.8367 | 226.6133 | 4.414 | 249.0133 | 7.0327 | 12.8927 | 7.254 | 15.1887 | 1.3033 | 892 | 88.3933 | 19.9647
2019-12-19 02:45:00 | 4.2273 | 312.5007 | 4.868 | 343.4067 | 5.8733 | 237.0607 | 5.8873 | 14.7027 | 1.3933 | 892 | 88.7333 | 24.4107
2019-12-19 03:00:00 | 3.8307 | 180.6773 | 4.41 | 198.5413 | 6.488 | 4.0073 | 6.712 | 23.726 | 1.1633 | 892 | 89.6133 | 25.778
2019-12-19 03:15:00 | 4.128 | 49.9473 | 4.756 | 54.88 | 6.5027 | 225.208 | 6.2713 | 10.06 | 1.37 | 892 | 89.1733 | 20.6247
2019-12-19 03:30:00 | 3.2147 | 223.6347 | 3.6967 | 245.7453 | 5.6887 | 170.0707 | 5.6807 | 13.4247 | 1.1373 | 892 | 89.8867 | 19.646
2019-12-19 03:45:00 | 3.0187 | 211.984 | 3.478 | 232.9533 | 5.0567 | 71.9987 | 4.8353 | 14.4433 | 1.044 | 892 | 90.3533 | 12.1187
2019-12-19 04:00:00 | 2.6107 | 301.588 | 3.002 | 331.4067 | 4.5367 | 171.4667 | 4.3913 | 13.126 | 0.86267 | 891.2 | 90.8333 | 8.2787
2019-12-19 04:15:00 | 3 | 282.2413 | 3.45 | 310.1547 | 4.6953 | 12.88 | 4.3553 | 54.5753 | 0.93467 | 891 | 90.3933 | 6.9233
2019-12-19 04:30:00 | 2.7453 | 204.8633 | 3.1607 | 225.1173 | 5.1047 | 2.6847 | 5.0773 | 52.412 | 0.62133 | 891.8 | 91.4133 | 7.4553
2019-12-19 04:45:00 | 2.904 | 251.4767 | 3.3393 | 276.3427 | 5.4273 | 143.15 | 5.4373 | 3.48 | 0.38 | 891.5333 | 92.7333 | 10.1407
2019-12-19 05:00:00 | 3.2507 | 132.1013 | 3.746 | 145.162 | 5.1767 | 7.704 | 5.518 | 14.4193 | 0.47933 | 891 | 92.9933 | 13.4993
2019-12-19 05:15:00 | 3.392 | 179.064 | 3.902 | 196.762 | 5.4433 | 143.576 | 5.762 | 15.3687 | 0.44867 | 891 | 93.0267 | 13.6307
2019-12-19 05:30:00 | 3.69 | 92.074 | 4.244 | 101.178 | 5.498 | 48.018 | 5.8973 | 21.718 | 0.48 | 891 | 93.12 | 15.7627
2019-12-19 05:45:00 | 3.4733 | 133.9227 | 3.9953 | 147.1667 | 6.0627 | 4.7247 | 6.5127 | 13.2393 | 0.376 | 891 | 93.52 | 15.282
2019-12-19 06:00:00 | 3.398 | 205.918 | 3.908 | 226.28 | 5.864 | 6.9107 | 6.272 | 15.3167 | 0.20867 | 891 | 94.3933 | 17.3007
2019-12-19 06:15:00 | 3.6133 | 77.2047 | 4.1547 | 84.8353 | 5.562 | 187.052 | 5.7987 | 14.9593 | 0.32467 | 891 | 94.2067 | 17.8807
2019-12-19 06:30:00 | 3.3293 | 230.7593 | 3.8307 | 253.5707 | 5.1533 | 89.2627 | 5.5407 | 12.8487 | 0.278 | 891 | 94.0867 | 16.5607
2019-12-19 06:45:00 | 3.684 | 154.776 | 4.2387 | 170.08 | 5.6413 | 20.4853 | 6 | 11.7847 | 0.20933 | 891 | 94.5467 | 13.7653
2019-12-19 07:00:00 | 3.0947 | 193.7947 | 3.5587 | 212.9547 | 5.88 | 0.93133 | 6.0573 | 8.824 | 0.075333 | 891 | 94.6733 | 10.2813
2019-12-19 07:15:00 | 3.156 | 113.3353 | 3.63 | 124.5433 | 5.318 | 203.8407 | 5.7173 | 34.4327 | -0.019333 | 891 | 95.5933 | 9.7913
2019-12-19 07:30:00 | 3.2213 | 15.5693 | 3.706 | 17.1027 | 5.642 | 133.2347 | 5.6107 | 4.6053 | 0.11533 | 891 | 94.98 | 12.7733
2019-12-19 07:45:00 | 3.0813 | 144.9987 | 3.5467 | 159.334 | 5.6767 | 79.2247 | 5.8633 | 11.718 | 0.15 | 891 | 95.0067 | 14.9833
2019-12-19 08:00:00 | 2.9227 | 287.6053 | 3.3627 | 316.0467 | 5.372 | 13.0907 | 5.8853 | 10.308 | 0.25867 | 891 | 95.1133 | 13.9307
2019-12-19 08:15:00 | 3.076 | 309.3027 | 3.5367 | 339.8933 | 5.4567 | 4.8153 | 6.0407 | 17.2653 | 0.43667 | 891 | 95.0933 | 15.5147
2019-12-19 08:30:00 | 3.408 | 120.696 | 3.924 | 132.628 | 5.7527 | 11.7507 | 6.13 | 20.176 | 0.49733 | 891.1333 | 94.96 | 13.03
2019-12-19 08:45:00 | 3.3667 | 191.3347 | 3.8747 | 210.2467 | 5.5753 | 14.32 | 5.6193 | 20.8627 | 0.764 | 892 | 94.04 | 12.176
2019-12-19 09:00:00 | 3.232 | 209.586 | 3.716 | 230.3073 | 5.7707 | 13.6873 | 5.7073 | 14.5987 | 0.96533 | 892 | 93.3 | 15.4007
2019-12-19 09:15:00 | 3.4853 | 210.1033 | 4.012 | 230.878 | 5.5213 | 9.486 | 5.63 | 15.9533 | 1.036 | 892 | 92.7067 | 14.664
2019-12-19 09:30:00 | 3.79 | 132.8227 | 4.3587 | 145.956 | 5.3153 | 213.668 | 5.7053 | 17.458 | 1.3173 | 892.1333 | 91.7867 | 14.3593
2019-12-19 09:45:00 | 3.8607 | 134.544 | 4.4467 | 147.8507 | 5.2473 | 71.348 | 5.3147 | 71.4313 | 1.7707 | 893 | 89.86 | 8.3627
2019-12-19 10:00:00 | 3.7433 | 146.704 | 4.3053 | 161.2093 | 4.788 | 304.4933 | 4.6713 | 52.368 | 2.0247 | 893 | 88.98 | 7.074
2019-12-19 10:15:00 | 3.9087 | 83.768 | 4.5027 | 92.052 | 5.136 | 260.3773 | 4.7327 | 48.3573 | 2.5007 | 893 | 86.7733 | 6.5647
2019-12-19 10:30:00 | 4.0053 | 202.7467 | 4.6087 | 222.7947 | 6.002 | 58.394 | 5.568 | 50.2553 | 3.116 | 893.8 | 84.8267 | 7.996
2019-12-19 10:45:00 | 4.1773 | 87.8093 | 4.8107 | 96.4947 | 6.2373 | 121.572 | 6.0893 | 6.1147 | 3.2153 | 893.5333 | 84.1467 | 11.416
2019-12-19 11:00:00 | 4.2713 | 130.0427 | 4.914 | 142.9033 | 6.4607 | 7.864 | 6.2653 | 4.7407 | 3.0673 | 893 | 84.6267 | 12.6287
2019-12-19 11:15:00 | 3.9467 | 128.958 | 4.5413 | 141.7053 | 6.5113 | 5.472 | 6.3707 | 10.4127 | 3.282 | 893 | 83.8 | 14.2587
2019-12-19 11:30:00 | 4.2973 | 139.7087 | 4.944 | 153.52 | 6.6607 | 150.1053 | 6.4027 | 7.0633 | 3.4353 | 893 | 82.64 | 14.6907
2019-12-19 11:45:00 | 3.8613 | 241.56 | 4.4453 | 265.45 | 6.574 | 4.832 | 6.6713 | 9.7387 | 3.6987 | 893 | 81.74 | 10.568
2019-12-19 12:00:00 | 3.9033 | 72.0333 | 4.49 | 79.1533 | 6.006 | 8.6293 | 6.096 | 21.3173 | 3.7 | 893 | 81.26 | 9.4893
2019-12-19 12:15:00 | 4.0613 | 115.4347 | 4.6747 | 126.8433 | 5.8827 | 7.388 | 5.902 | 20.6793 | 3.612 | 892.5333 | 81.6333 | 12.4707
2019-12-19 12:30:00 | 3.644 | 167.0867 | 4.1927 | 183.6067 | 6.2107 | 12.1987 | 6.1747 | 16.2987 | 4.2373 | 892 | 79.8947 | 11.2313
2019-12-19 12:45:00 | 3.5007 | 198.4787 | 4.026 | 218.1067 | 5.7007 | 32.2487 | 5.8667 | 9.5193 | 4.3927 | 892 | 78.7627 | 9.4627
2019-12-19 13:00:00 | 3.6953 | 112.1993 | 4.2567 | 123.2867 | 6.35 | 11.844 | 6.102 | 12.6227 | 4.6247 | 891.2 | 78.6807 | 15.474
2019-12-19 13:15:00 | 3.8673 | 292.4887 | 4.448 | 321.4067 | 6.608 | 12.6513 | 6.386 | 16.9393 | 4.9073 | 891 | 77.0207 | 14.7
2019-12-19 13:30:00 | 3.826 | 298.912 | 4.4047 | 328.4733 | 6.4273 | 14.2867 | 5.9187 | 16.306 | 4.4027 | 891 | 78.2087 | 14.7727
2019-12-19 13:45:00 | 3.3753 | 56.724 | 3.884 | 62.3293 | 6.1633 | 15.8607 | 5.8547 | 16.742 | 4.1627 | 890.5333 | 79.388 | 12.628
2019-12-19 14:00:00 | 3.0853 | 250.108 | 3.556 | 274.8427 | 5.508 | 7.4473 | 5.3073 | 10.0633 | 4.2073 | 890.8 | 79.3387 | 9.1153
2019-12-19 14:15:00 | 2.8827 | 203.644 | 3.3253 | 223.7827 | 5.2853 | 10.5733 | 5.1333 | 12.28 | 4.1747 | 891 | 79.6793 | 7.204
2019-12-19 14:30:00 | 3.0773 | 78.902 | 3.544 | 86.7027 | 4.9907 | 15.7307 | 4.9787 | 8.7407 | 3.974 | 891 | 80.15 | 6.3107
2019-12-19 14:45:00 | 2.7673 | 200.2807 | 3.186 | 220.0847 | 4.69 | 125.7873 | 4.554 | 16.5713 | 3.864 | 891 | 81.1467 | 4.62
2019-12-19 15:00:00 | 2.5173 | 29.1547 | 2.898 | 32.0347 | 4.4933 | 15.6373 | 4.37 | 16.144 | 3.8627 | 891 | 81.7733 | 5.6093
2019-12-19 15:15:00 | 2.8293 | 242.3187 | 3.2587 | 266.28 | 5.106 | 13.5187 | 4.882 | 23.038 | 3.8 | 891 | 82.2533 | 9.5473
2019-12-19 15:30:00 | 3.3 | 171.796 | 3.8007 | 188.7813 | 6.2147 | 10.6467 | 6.072 | 15.2907 | 3.7713 | 890.2 | 83.2333 | 12.7393
2019-12-19 15:45:00 | 3.7593 | 35.95 | 4.3267 | 39.496 | 6.9773 | 11.3293 | 6.7547 | 16.2953 | 3.7787 | 890 | 83.2733 | 15.7293
2019-12-19 16:00:00 | 4.198 | 51.8973 | 4.8327 | 57.028 | 7.6827 | 17.048 | 7.272 | 17.7987 | 3.7407 | 890 | 83.3733 | 20.3893
2019-12-19 16:15:00 | 4.552 | 217.3307 | 5.2447 | 238.822 | 8.1793 | 21.5947 | 7.584 | 18.0253 | 3.6653 | 890 | 83.8467 | 23.8867
2019-12-19 16:30:00 | 4.3027 | 233.952 | 4.9567 | 257.0853 | 7.7493 | 8.7733 | 7.56 | 24.2153 | 3.6567 | 890.8 | 84.3133 | 23.708
2019-12-19 16:45:00 | 4.472 | 135.48 | 5.1487 | 148.88 | 8.3227 | 15.2067 | 7.9947 | 24.406 | 3.6213 | 891 | 84.9067 | 24.6787
2019-12-19 17:00:00 | 4.4153 | 195.6867 | 5.0833 | 215.036 | 8.1653 | 13.822 | 7.9027 | 25.078 | 3.5467 | 890.8667 | 85.5933 | 24.0287
2019-12-19 17:15:00 | 4.14 | 217.3507 | 4.762 | 238.8467 | 7.562 | 22.926 | 7.368 | 24.9067 | 3.4827 | 890 | 86.14 | 22.908
2019-12-19 17:30:00 | 4.124 | 299.6227 | 4.7507 | 329.2467 | 7.5333 | 13.7587 | 7.2147 | 20.9827 | 3.4427 | 890 | 86.2333 | 20.96
2019-12-19 17:45:00 | 4.524 | 160.532 | 5.2073 | 176.4053 | 7.7367 | 16.476 | 7.428 | 17.412 | 3.3333 | 890 | 86.5 | 22.6147
2019-12-19 18:00:00 | 4.4827 | 177.16 | 5.1567 | 194.6773 | 7.7347 | 15.0353 | 7.1513 | 17.8173 | 3.232 | 890.1333 | 87.0467 | 26.54
2019-12-19 18:15:00 | 4.9733 | 169.7093 | 5.7273 | 186.486 | 8.1687 | 122.7153 | 7.9427 | 14.3413 | 3.23 | 891 | 87 | 34.5187
2019-12-19 18:30:00 | 5.4447 | 79.618 | 6.2613 | 87.4887 | 9.094 | 16.072 | 8.9467 | 22.886 | 3.2127 | 891 | 86.9067 | 38.0713
2019-12-19 18:45:00 | 5.888 | 189.308 | 6.776 | 208.0267 | 10.3553 | 17.1853 | 10.218 | 20.3147 | 3.1927 | 891 | 86.8667 | 37.756
2019-12-19 19:00:00 | 5.578 | 163.6627 | 6.4193 | 179.8433 | 9.892 | 15.412 | 9.94 | 19.836 | 3.172 | 891 | 86.7467 | 38.6387
2019-12-19 19:15:00 | 5.18 | 182.028 | 5.962 | 200.0267 | 9.7707 | 12.8633 | 9.8787 | 18.3433 | 3.1027 | 891 | 87.2 | 40.8167
2019-12-19 19:30:00 | 5.3833 | 89.568 | 6.1947 | 98.4213 | 9.9793 | 13.0253 | 9.9353 | 25.7347 | 3.0413 | 891.1333 | 87.22 | 43.4347
2019-12-19 19:45:00 | 5.6653 | 120.7127 | 6.528 | 132.6467 | 10.068 | 19.294 | 9.7767 | 19.282 | 3.0767 | 892 | 86.52 | 44.36
2019-12-19 20:00:00 | 5.4067 | 206.4607 | 6.222 | 226.874 | 9.4173 | 17.5227 | 9.0153 | 18.9973 | 3.1413 | 892 | 86.1533 | 42.5427
2019-12-19 20:15:00 | 5.5667 | 147.17 | 6.4007 | 161.7213 | 9.892 | 14.1627 | 9.7367 | 20.9347 | 3.1727 | 892 | 85.3467 | 43.0827
2019-12-19 20:30:00 | 5.6413 | 79.9847 | 6.4933 | 87.89 | 9.6853 | 15.596 | 9.6247 | 13.1567 | 3.218 | 892 | 84.56 | 43.0147
2019-12-19 20:45:00 | 5.2467 | 75.6427 | 6.0367 | 83.1207 | 9.18 | 11.972 | 8.876 | 83.1333 | 3.2093 | 892 | 84.2133 | 41.386
2019-12-19 21:00:00 | 5.074 | 117.5667 | 5.838 | 129.19 | 8.244 | 8.8427 | 7.9547 | 55.0893 | 3.252 | 892 | 83.4333 | 41.6867
2019-12-19 21:15:00 | 5.3353 | 243.3527 | 6.1367 | 267.416 | 8.876 | 75.07 | 8.892 | 13.3567 | 3.226 | 892 | 82.9133 | 42.0793
2019-12-19 21:30:00 | 5.0253 | 196.2573 | 5.782 | 215.66 | 8.72 | 61.7533 | 8.564 | 15.6007 | 3.102 | 892 | 83.7267 | 41.6973
2019-12-19 21:45:00 | 5.13 | 218.2487 | 5.9067 | 239.8267 | 8.4307 | 121.2333 | 8.1227 | 79.22 | 3.0027 | 892 | 84.1333 | 37.9787
2019-12-19 22:00:00 | 4.896 | 179.384 | 5.6387 | 197.1147 | 8.6633 | 120.3567 | 8.3087 | 52.9433 | 3.016 | 892.8 | 83.5 | 36.7267
2019-12-19 22:15:00 | 4.704 | 209.976 | 5.4153 | 230.7387 | 8.3787 | 239.832 | 8.1667 | 11.186 | 3.0193 | 892.5333 | 82.8533 | 35.318
2019-12-19 22:30:00 | 4.9367 | 153.5747 | 5.6873 | 168.76 | 8.2653 | 14.8327 | 8.354 | 14.166 | 3.012 | 892 | 83.14 | 35.6193
2019-12-19 22:45:00 | 4.788 | 260.134 | 5.5093 | 285.86 | 8.166 | 17.3587 | 7.8933 | 14.6833 | 2.8587 | 892 | 84.4733 | 37.6767
2019-12-19 23:00:00 | 4.84 | 102.9867 | 5.572 | 113.1667 | 8.1993 | 121.806 | 8.0587 | 35.0773 | 2.7467 | 892 | 84.72 | 37.6853
2019-12-19 23:15:00 | 4.712 | 135.608 | 5.4227 | 149.014 | 8.2973 | 120.404 | 8.2587 | 14.5147 | 2.6607 | 892 | 84.3933 | 33.1787
2019-12-19 23:30:00 | 4.5853 | 118.3367 | 5.274 | 130.0347 | 7.6707 | 5.3753 | 7.5433 | 17.698 | 2.6833 | 892 | 84.56 | 27.766
2019-12-19 23:45:00 | 4.1187 | 204.6647 | 4.7373 | 224.908 | 7.3833 | 14.4407 | 7.3553 | 24.5853 | 2.6353 | 892 | 84.8933 | 23.3353