## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-20 00:00:00 | 4.025 | 106.2186 | 4.6293 | 116.7214 | 7.0793 | 19.5321 | 7.0829 | 20.5207 | 2.4493 | 892 | 85.3857 | 20.7986
2019-12-20 00:15:00 | 3.9847 | 32.3827 | 4.5813 | 35.58 | 6.5933 | 15.9413 | 6.7407 | 24.0273 | 2.496 | 892 | 84.14 | 21.544
2019-12-20 00:30:00 | 4.196 | 130.532 | 4.8327 | 143.4327 | 7.278 | 14.6913 | 7.2147 | 15.1887 | 2.1607 | 892 | 85.6 | 23.5687
2019-12-20 00:45:00 | 3.6613 | 185.1033 | 4.218 | 203.4073 | 6.058 | 15.2867 | 6.18 | 18.058 | 2.164 | 892 | 85.3533 | 24.178
2019-12-20 01:00:00 | 3.3307 | 169.044 | 3.836 | 185.76 | 5.698 | 117.0067 | 5.7473 | 121.1027 | 1.878 | 892 | 87.32 | 20.792
2019-12-20 01:15:00 | 3.2073 | 31.6347 | 3.6907 | 34.7547 | 5.0493 | 5.89 | 5.0473 | 8.47 | 1.6967 | 891.5333 | 88.2267 | 19.2913
2019-12-20 01:30:00 | 3.352 | 103.2587 | 3.8573 | 113.464 | 5.7313 | 80.62 | 5.932 | 28.086 | 1.474 | 891 | 89.3933 | 19.638
2019-12-20 01:45:00 | 3.1267 | 24.8053 | 3.5933 | 27.2553 | 5.0073 | 47.6173 | 5.268 | 28.3087 | 1.3847 | 891 | 90.42 | 14.268
2019-12-20 02:00:00 | 2.9273 | 214.3787 | 3.37 | 235.578 | 5.0467 | 4.9393 | 5.2867 | 12.0333 | 1.0467 | 891 | 91.6467 | 13.858
2019-12-20 02:15:00 | 2.832 | 266.6773 | 3.2587 | 293.048 | 4.83 | 19.228 | 4.9927 | 5.16 | 0.71933 | 891 | 93.0133 | 15.03
2019-12-20 02:30:00 | 3.28 | 211.874 | 3.7713 | 232.8233 | 6.1127 | 3.4453 | 6.06 | 9.926 | 0.552 | 890.2 | 93.6267 | 16.7387
2019-12-20 02:45:00 | 3.212 | 244.292 | 3.694 | 268.444 | 6.05 | 38.0187 | 5.886 | 4.532 | 0.57733 | 890 | 93.5 | 15.348
2019-12-20 03:00:00 | 3.6107 | 27.4293 | 4.1513 | 30.138 | 6.4513 | 114.67 | 6.3013 | 5.332 | 0.60733 | 890 | 93.6667 | 15.6067
2019-12-20 03:15:00 | 3.978 | 62.8393 | 4.574 | 69.0547 | 6.1067 | 120.5433 | 6.1067 | 5.1873 | 0.83333 | 890 | 93.12 | 14.0067
2019-12-20 03:30:00 | 4.0833 | 253.5547 | 4.7053 | 278.6253 | 6.3347 | 6.6127 | 6.4147 | 11.7547 | 0.886 | 889.8667 | 92.5933 | 17.692
2019-12-20 03:45:00 | 3.7853 | 168.552 | 4.3587 | 185.218 | 5.854 | 119.7873 | 6.1793 | 9.6473 | 0.65133 | 889 | 94.1467 | 21.4167
2019-12-20 04:00:00 | 3.938 | 150.2247 | 4.528 | 165.0813 | 6.1247 | 191.458 | 6.346 | 12.736 | 0.46067 | 889 | 95.4133 | 22.922
2019-12-20 04:15:00 | 3.948 | 67.5807 | 4.5373 | 74.2587 | 6.462 | 180.7853 | 6.4993 | 11.446 | 0.26267 | 889 | 96.42 | 24.8
2019-12-20 04:30:00 | 4.264 | 197.4753 | 4.9053 | 216.9967 | 6.8527 | 3.8613 | 7.1233 | 6.2127 | 0.11533 | 889 | 97.04 | 29.9913
2019-12-20 04:45:00 | 3.9173 | 195.7147 | 4.5087 | 215.0667 | 7.344 | 5.1707 | 7.2267 | 9.4307 | 0.025333 | 889 | 97.1733 | 27.6307
2019-12-20 05:00:00 | 4.0147 | 241.3787 | 4.622 | 265.2427 | 6.782 | 8.9467 | 7.12 | 16.6793 | -0.01 | 889 | 97.4733 | 28.524
2019-12-20 05:15:00 | 4.3053 | 268.8387 | 4.9527 | 295.4173 | 6.9067 | 10.0627 | 7.386 | 19.3533 | -0.12333 | 889 | 97.9 | 31.4807
2019-12-20 05:30:00 | 4.384 | 111.7447 | 5.0487 | 122.7933 | 6.888 | 6.8273 | 7.1553 | 14.4713 | -0.198 | 888.2 | 98.34 | 32.494
2019-12-20 05:45:00 | 4.1973 | 204.7773 | 4.83 | 225.0233 | 6.4853 | 9.894 | 6.5913 | 12.2927 | -0.268 | 888 | 98.3467 | 30.1453
2019-12-20 06:00:00 | 3.9367 | 154.1073 | 4.5313 | 169.34 | 6.046 | 239.744 | 6.22 | 10.668 | -0.274 | 888 | 98.2133 | 23.1467
2019-12-20 06:15:00 | 3.8333 | 134.44 | 4.4113 | 147.7293 | 5.766 | 127.962 | 5.9653 | 13.5833 | -0.21867 | 888 | 97.9933 | 19.8727
2019-12-20 06:30:00 | 3.63 | 55.36 | 4.176 | 60.834 | 6.0413 | 118.276 | 6.1133 | 12.7687 | -0.36267 | 888 | 98.2067 | 17.928
2019-12-20 06:45:00 | 3.7227 | 182.398 | 4.29 | 200.43 | 6.2067 | 75.3367 | 6.1247 | 76.3907 | -0.54933 | 888.4667 | 98.7133 | 23.4247
2019-12-20 07:00:00 | 4.2453 | 81.2113 | 4.8833 | 89.2353 | 6.5553 | 58.0493 | 6.596 | 58.7593 | -0.61867 | 888.2 | 99.3533 | 20.6847
2019-12-20 07:15:00 | 4.28 | 145.704 | 4.9213 | 160.1107 | 6.2787 | 48.066 | 6.2193 | 12.8733 | -0.60133 | 888 | 99.76 | 16.45
2019-12-20 07:30:00 | 4.0527 | 109.5087 | 4.6613 | 120.3347 | 6.3213 | 47.82 | 6.4227 | 75.8647 | -0.67067 | 888.6667 | 99.88 | 18.4267
2019-12-20 07:45:00 | 3.7253 | 117.9193 | 4.284 | 129.5753 | 6.546 | 237.564 | 6.716 | 52.686 | -0.77 | 888.4667 | 99.9 | 18.8907
2019-12-20 08:00:00 | 3.8773 | 20.0153 | 4.4653 | 21.9893 | 6.228 | 121.22 | 6.6647 | 15.2833 | -0.67333 | 889 | 99.98 | 17.476
2019-12-20 08:15:00 | 4.2693 | 108.3707 | 4.9133 | 119.09 | 6.6073 | 9.8293 | 7.0467 | 18.1173 | -0.60333 | 889 | 99.9067 | 15.122
2019-12-20 08:30:00 | 4.4733 | 74.3927 | 5.152 | 81.748 | 7.3707 | 10.076 | 7.5507 | 18.212 | -0.524 | 889 | 99.68 | 19.8513
2019-12-20 08:45:00 | 4.5647 | 141.156 | 5.2553 | 155.1127 | 7.6647 | 10.8993 | 8.1627 | 23.1487 | -0.572 | 889 | 99.4533 | 25.294
2019-12-20 09:00:00 | 4.6053 | 176.558 | 5.3033 | 194.0113 | 7.878 | 11.9953 | 8.2367 | 19.2073 | -0.496 | 889 | 99.4667 | 28.0913
2019-12-20 09:15:00 | 4.4507 | 98.1073 | 5.1193 | 107.8013 | 6.7553 | 68.276 | 7.2673 | 9.9607 | -0.35467 | 889 | 99.2733 | 23.896
2019-12-20 09:30:00 | 4.1487 | 91.408 | 4.77 | 100.442 | 6.532 | 117.92 | 6.892 | 13.982 | -0.043333 | 889.1333 | 98.3667 | 21.9153
2019-12-20 09:45:00 | 4.0867 | 143.0467 | 4.7007 | 157.192 | 6.248 | 61.0627 | 6.716 | 17.548 | 0.196 | 890 | 97.3067 | 22.2353
2019-12-20 10:00:00 | 4.492 | 22.644 | 5.1673 | 24.876 | 7.2347 | 9.1067 | 7.6547 | 16.3847 | 0.26067 | 890 | 96.3733 | 21.4653
2019-12-20 10:15:00 | 4.142 | 158.862 | 4.766 | 174.5687 | 6.9707 | 8.6707 | 7.4893 | 18.0853 | 0.41733 | 890 | 95.8933 | 19.654
2019-12-20 10:30:00 | 4.3973 | 42.234 | 5.0647 | 46.4033 | 6.4553 | 72.4733 | 6.5887 | 14.6287 | 0.57733 | 890 | 94.6933 | 15.4353
2019-12-20 10:45:00 | 4.1967 | 176.6 | 4.828 | 194.0633 | 5.744 | 231.2733 | 5.6373 | 10.7947 | 0.64333 | 890 | 93.92 | 10.474
2019-12-20 11:00:00 | 3.97 | 77.6373 | 4.5687 | 85.3093 | 5.7253 | 135.6933 | 5.66 | 20.076 | 1.0067 | 890.8 | 92.9667 | 9.572
2019-12-20 11:15:00 | 3.7147 | 134.9293 | 4.2753 | 148.272 | 5.556 | 47.9327 | 5.5827 | 14.576 | 1.3873 | 891 | 91.58 | 9.258
2019-12-20 11:30:00 | 3.7953 | 117.986 | 4.3647 | 129.6467 | 5.474 | 118.3287 | 5.4147 | 7.822 | 1.4487 | 890.8667 | 90.9733 | 9.544
2019-12-20 11:45:00 | 3.8953 | 132.1227 | 4.4813 | 145.182 | 5.8133 | 72.1867 | 5.7373 | 13.2933 | 1.4993 | 890 | 90.46 | 8.9573
2019-12-20 12:00:00 | 3.844 | 116.1233 | 4.428 | 127.6067 | 5.9427 | 60.0853 | 5.902 | 8.9293 | 1.5893 | 890 | 90.1 | 8.1667
2019-12-20 12:15:00 | 3.9147 | 79.414 | 4.502 | 87.2647 | 5.8313 | 7.9913 | 5.6947 | 11.5027 | 1.68 | 890 | 89.6067 | 9.0467
2019-12-20 12:30:00 | 3.6907 | 56.3113 | 4.2473 | 61.8773 | 5.696 | 2.7333 | 5.798 | 8.822 | 1.5933 | 889.2 | 90.1333 | 8.2513
2019-12-20 12:45:00 | 4.052 | 263.506 | 4.6587 | 289.5627 | 6.1073 | 120.1647 | 5.8233 | 6.596 | 1.7293 | 889 | 89.8867 | 9.6993
2019-12-20 13:00:00 | 4.0267 | 157.708 | 4.6313 | 173.3033 | 5.9053 | 9.288 | 5.658 | 9.704 | 1.9653 | 889 | 89.0133 | 9.5493
2019-12-20 13:15:00 | 4.054 | 111.0847 | 4.6673 | 122.0653 | 5.5867 | 75.6873 | 5.508 | 9.93 | 1.8787 | 889 | 89.1467 | 6.188
2019-12-20 13:30:00 | 3.968 | 112.8907 | 4.564 | 124.048 | 5.4253 | 101.9433 | 5.1613 | 172.04 | 1.8593 | 888.8667 | 89.2133 | 5.3833
2019-12-20 13:45:00 | 3.692 | 143.5953 | 4.248 | 157.792 | 5.904 | 101.592 | 5.8013 | 54.5033 | 2.084 | 888 | 88.7533 | 6.2067
2019-12-20 14:00:00 | 3.604 | 120.6327 | 4.1487 | 132.556 | 5.6667 | 74.332 | 5.4827 | 7.624 | 2.252 | 888 | 88.0067 | 7.4687
2019-12-20 14:15:00 | 3.564 | 242.1047 | 4.1027 | 266.0467 | 5.6607 | 23.7087 | 5.5673 | 12.068 | 2.2193 | 888 | 88 | 8.2153
2019-12-20 14:30:00 | 3.5367 | 217.9087 | 4.0747 | 239.46 | 5.6913 | 22.6827 | 5.6147 | 20.4727 | 2.2153 | 888 | 88.7733 | 8.158
2019-12-20 14:45:00 | 3.0793 | 229.298 | 3.548 | 251.9733 | 5.5993 | 8.0787 | 5.6527 | 25.6173 | 2.3447 | 888 | 89.3667 | 10.1147
2019-12-20 15:00:00 | 3.0473 | 116.7893 | 3.5067 | 128.3367 | 5.5007 | 7.2413 | 5.5 | 19.03 | 2.4087 | 888 | 89.9133 | 10.282
2019-12-20 15:15:00 | 3.2173 | 188.0053 | 3.7087 | 206.594 | 5.47 | 17.4747 | 5.4287 | 11.8207 | 2.3953 | 888 | 90.66 | 10.852
2019-12-20 15:30:00 | 3.4533 | 200.9947 | 3.9787 | 220.8727 | 5.8713 | 14.8867 | 5.7 | 10.8513 | 2.4527 | 888 | 91.2067 | 13.754
2019-12-20 15:45:00 | 3.636 | 91.9753 | 4.184 | 101.0673 | 6.0533 | 18.71 | 5.802 | 17.9753 | 2.3907 | 888 | 92.2067 | 13.338
2019-12-20 16:00:00 | 3.588 | 123.0053 | 4.126 | 135.1667 | 5.6773 | 74.8747 | 5.4573 | 20.344 | 2.346 | 888 | 92.86 | 13.5587
2019-12-20 16:15:00 | 3.6427 | 307.4453 | 4.1927 | 337.84 | 5.5233 | 246.1133 | 5.5433 | 9.864 | 2.1887 | 888 | 93.5933 | 15.2627
2019-12-20 16:30:00 | 3.5547 | 264.5907 | 4.088 | 290.7513 | 5.1653 | 235.35 | 5.0927 | 8.0813 | 2.1027 | 888 | 94.0933 | 17.792
2019-12-20 16:45:00 | 3.94 | 151.1287 | 4.5387 | 166.0707 | 6.796 | 56.7133 | 6.474 | 15.0667 | 2.1547 | 888 | 94.1133 | 27.764
2019-12-20 17:00:00 | 4.2907 | 65.538 | 4.9427 | 72.012 | 6.4087 | 181.7233 | 6.1493 | 16.046 | 2.102 | 888 | 93.8467 | 26.4647
2019-12-20 17:15:00 | 4.538 | 167.2887 | 5.224 | 183.8293 | 6.5753 | 156.96 | 6.5553 | 7.386 | 2.0607 | 888 | 93.2533 | 31.3127
2019-12-20 17:30:00 | 4.3593 | 166.2807 | 5.0167 | 182.7193 | 6.8213 | 132.7633 | 6.8353 | 20.234 | 2.06 | 888 | 92.6667 | 29.1047
2019-12-20 17:45:00 | 4.5327 | 189.7207 | 5.22 | 208.48 | 7.1153 | 124.106 | 7.0773 | 9.0167 | 2.0613 | 888 | 92.3933 | 29.9707
2019-12-20 18:00:00 | 4.7073 | 65.6973 | 5.42 | 72.1933 | 6.972 | 9.388 | 7.042 | 17.206 | 2.064 | 888 | 92.44 | 32.156
2019-12-20 18:15:00 | 4.7733 | 132.066 | 5.4973 | 145.12 | 7.3527 | 12.86 | 7.2887 | 15.9353 | 2.0907 | 888 | 92.8067 | 31.7067
2019-12-20 18:30:00 | 4.8827 | 106.386 | 5.618 | 116.8967 | 7.3687 | 12.906 | 7.2793 | 15.6193 | 2.1387 | 888.8 | 92.4667 | 32.8767
2019-12-20 18:45:00 | 4.7753 | 123.0767 | 5.4947 | 135.2433 | 7.2987 | 115.5847 | 6.8913 | 10.6167 | 2.2 | 889 | 92.4467 | 31.682
2019-12-20 19:00:00 | 4.6667 | 157.858 | 5.3727 | 173.4673 | 7.566 | 305.6427 | 7.258 | 16.8667 | 2.2193 | 889 | 92.66 | 34.7493
2019-12-20 19:15:00 | 4.9093 | 273.976 | 5.65 | 301.0627 | 7.5907 | 181.2027 | 7.0293 | 7.5667 | 2.2573 | 889 | 92.6267 | 36.9487
2019-12-20 19:30:00 | 5.188 | 108.284 | 5.9647 | 118.9927 | 7.958 | 12.756 | 7.7233 | 11.346 | 2.29 | 889.8 | 92.42 | 39.0407
2019-12-20 19:45:00 | 4.744 | 116.0393 | 5.46 | 127.514 | 7.716 | 13.064 | 7.3953 | 19.8773 | 2.304 | 890 | 92.2467 | 37.3447
2019-12-20 20:00:00 | 4.6347 | 198.0393 | 5.336 | 217.6247 | 7.8287 | 158.2467 | 7.5387 | 12.712 | 2.2847 | 890 | 92.4067 | 36.938
2019-12-20 20:15:00 | 4.6733 | 272.13 | 5.374 | 299.0387 | 7.61 | 51.546 | 7.424 | 13.2807 | 2.288 | 890 | 92.1467 | 37.3733
2019-12-20 20:30:00 | 4.9067 | 105.742 | 5.646 | 116.1933 | 7.7113 | 13.8013 | 7.63 | 13.96 | 2.2653 | 890 | 92.1133 | 39.078
2019-12-20 20:45:00 | 5.322 | 297.7913 | 6.1193 | 327.24 | 8.7893 | 9.206 | 8.4887 | 12.6333 | 2.3347 | 890 | 91.4133 | 39.6613
2019-12-20 21:00:00 | 5.234 | 300.7287 | 6.022 | 330.4733 | 8.5807 | 190.12 | 8.068 | 59.1853 | 2.384 | 890 | 90.9733 | 39.1527
2019-12-20 21:15:00 | 5.0533 | 258.8213 | 5.8133 | 284.4207 | 8.522 | 195.368 | 7.9113 | 57.2767 | 2.4647 | 890 | 90.14 | 42.288
2019-12-20 21:30:00 | 5.1547 | 208.7233 | 5.9327 | 229.362 | 8.6833 | 10.2233 | 8.2733 | 24.374 | 2.486 | 890.8 | 89.8067 | 41.6693
2019-12-20 21:45:00 | 4.9513 | 158.616 | 5.6953 | 174.3007 | 8.048 | 15.9973 | 7.9613 | 17.3193 | 2.484 | 891 | 89.8067 | 39.5693
2019-12-20 22:00:00 | 4.8193 | 212.6553 | 5.542 | 233.676 | 7.822 | 9.8993 | 7.704 | 16.9073 | 2.4307 | 890.8667 | 90.14 | 36.6267
2019-12-20 22:15:00 | 4.7513 | 227.8333 | 5.4647 | 250.36 | 8.17 | 18.1827 | 8.2447 | 29.324 | 2.4633 | 890 | 89.3333 | 33.9487
2019-12-20 22:30:00 | 4.1247 | 217.8433 | 4.7527 | 239.3813 | 7.222 | 16.3593 | 7.406 | 82.4527 | 2.53 | 890 | 88.2933 | 30.052
2019-12-20 22:45:00 | 3.9693 | 71.0253 | 4.57 | 78.0453 | 6.5753 | 189.5733 | 6.336 | 127.4767 | 2.588 | 890 | 87.8467 | 30.7053
2019-12-20 23:00:00 | 4.2553 | 285.5387 | 4.898 | 313.78 | 7.2507 | 233.3653 | 6.868 | 51.2673 | 2.5927 | 890.1333 | 87.9133 | 35.63
2019-12-20 23:15:00 | 4.986 | 105.6327 | 5.734 | 116.07 | 8.4453 | 352.3267 | 7.7293 | 7.2 | 2.65 | 891 | 87.5333 | 41.1847
2019-12-20 23:30:00 | 5.508 | 298.5187 | 6.338 | 328.04 | 9.18 | 58.64 | 9.0573 | 19.8073 | 2.7113 | 891 | 87.2133 | 43.3647
2019-12-20 23:45:00 | 5.5913 | 112.636 | 6.434 | 123.7667 | 10.0287 | 13.69 | 10.0267 | 17.8167 | 2.6773 | 890.5333 | 87.2467 | 43.3853