## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-21 00:00:00 | 5.5657 | 206.5721 | 6.4043 | 227.0014 | 9.3757 | 14.4586 | 9.1657 | 18.7236 | 2.6157 | 890 | 87.5727 | 45.6457
2019-12-21 00:15:00 | 5.376 | 209.0053 | 6.184 | 229.6713 | 8.69 | 10.8293 | 8.574 | 16.9887 | 2.6253 | 890.4667 | 87.38 | 41.2727
2019-12-21 00:30:00 | 4.72 | 208.9053 | 5.4333 | 229.5667 | 8.1307 | 198.5287 | 7.868 | 14.6053 | 2.678 | 891 | 86.92 | 39.618
2019-12-21 00:45:00 | 4.4673 | 216.5233 | 5.1447 | 237.9373 | 8.0273 | 352.9133 | 7.4647 | 3.7807 | 2.698 | 890.5333 | 86.4933 | 40
2019-12-21 01:00:00 | 4.7087 | 238.1373 | 5.418 | 261.6827 | 8.1793 | 169.12 | 7.7 | 4.238 | 2.7053 | 890 | 86.24 | 40.578
2019-12-21 01:15:00 | 4.478 | 84.5933 | 5.154 | 92.948 | 7.658 | 184.4167 | 7.2273 | 7.634 | 2.6067 | 890 | 87.1067 | 38.7067
2019-12-21 01:30:00 | 4.3367 | 226.148 | 4.9913 | 248.5053 | 7.8607 | 161.87 | 7.5293 | 6.0687 | 2.5587 | 890 | 87.52 | 36.9793
2019-12-21 01:45:00 | 4.328 | 220.786 | 4.984 | 242.62 | 7.684 | 71.28 | 7.542 | 5.832 | 2.592 | 890 | 87.1267 | 37.3267
2019-12-21 02:00:00 | 4.38 | 34.11 | 5.036 | 37.4787 | 7.2213 | 210.204 | 7.0473 | 8.8907 | 2.5527 | 890 | 87.5867 | 39.3307
2019-12-21 02:15:00 | 4.5387 | 270.2727 | 5.2207 | 296.9973 | 7.034 | 50.606 | 7.1593 | 17.1093 | 2.5007 | 889.5333 | 88.1333 | 41.4387
2019-12-21 02:30:00 | 4.75 | 143.2187 | 5.4693 | 157.38 | 7.426 | 122.6747 | 7.54 | 49.1173 | 2.4927 | 889 | 88.04 | 41.628
2019-12-21 02:45:00 | 4.5633 | 125.592 | 5.256 | 138 | 7.9207 | 203.3967 | 7.5787 | 11.1427 | 2.5167 | 889 | 87.66 | 39.8073
2019-12-21 03:00:00 | 4.0393 | 208.8173 | 4.6507 | 229.4607 | 7.0853 | 116.2133 | 6.8147 | 127.5247 | 2.574 | 889 | 86.9533 | 33.386
2019-12-21 03:15:00 | 3.556 | 232.522 | 4.0893 | 255.5093 | 6.02 | 53.772 | 5.7367 | 13.6793 | 2.606 | 889 | 86.8267 | 21.63
2019-12-21 03:30:00 | 3.6653 | 160.3913 | 4.2167 | 176.2533 | 5.87 | 11.686 | 6.078 | 16.1727 | 2.594 | 889 | 86.9733 | 19.816
2019-12-21 03:45:00 | 3.364 | 62.888 | 3.8707 | 69.1033 | 5.384 | 64.452 | 5.6367 | 22.37 | 2.5727 | 889 | 87.2267 | 17.344
2019-12-21 04:00:00 | 3.272 | 227.136 | 3.7647 | 249.6 | 5.488 | 240.8667 | 5.336 | 18.906 | 2.498 | 889 | 87.88 | 18.7547
2019-12-21 04:15:00 | 3.1093 | 226.2087 | 3.5767 | 248.5733 | 5.2607 | 234.604 | 5.384 | 77.4733 | 2.5007 | 889 | 87.7933 | 14.6087
2019-12-21 04:30:00 | 3.0413 | 190.5893 | 3.5047 | 209.43 | 4.7727 | 3.8493 | 5.0313 | 13.9793 | 2.5 | 889 | 88.0467 | 13.0227
2019-12-21 04:45:00 | 3.276 | 143.0227 | 3.7793 | 157.154 | 5.1647 | 6.5867 | 5.3713 | 14.2667 | 2.444 | 889 | 88.3733 | 18.3493
2019-12-21 05:00:00 | 3.712 | 234.148 | 4.278 | 257.296 | 5.7513 | 11.72 | 5.9027 | 12.6527 | 2.3627 | 889 | 89.1 | 21.5687
2019-12-21 05:15:00 | 3.734 | 5.8833 | 4.3033 | 6.462 | 5.694 | 73.3333 | 5.4773 | 79.538 | 2.3193 | 889 | 89.24 | 24.8947
2019-12-21 05:30:00 | 3.7167 | 96.0953 | 4.2773 | 105.5953 | 5.93 | 51.1807 | 6.182 | 60.918 | 2.3207 | 888.2 | 89.3933 | 26.61
2019-12-21 05:45:00 | 3.588 | 183.3373 | 4.1287 | 201.4587 | 5.8233 | 4.6433 | 5.8107 | 13.4387 | 2.2707 | 888 | 89.94 | 27.5227
2019-12-21 06:00:00 | 3.482 | 273.0287 | 4.0093 | 300.0267 | 6.1747 | 99.7713 | 6.11 | 7.624 | 2.288 | 888 | 89.6867 | 29.3527
2019-12-21 06:15:00 | 3.914 | 72.362 | 4.5053 | 79.5193 | 7.122 | 74.78 | 6.874 | 10.9173 | 2.286 | 888 | 89.6267 | 31.7907
2019-12-21 06:30:00 | 3.904 | 191.9887 | 4.4927 | 210.9713 | 6.5347 | 168.1947 | 6.5573 | 8.7813 | 2.2327 | 888 | 90.24 | 34.2653
2019-12-21 06:45:00 | 4.052 | 140.5667 | 4.67 | 154.46 | 6.86 | 192.332 | 6.7713 | 5.7833 | 2.1453 | 888 | 91.12 | 36.2813
2019-12-21 07:00:00 | 4.2973 | 82.3093 | 4.9507 | 90.4473 | 7.1193 | 60.3213 | 7.3 | 38.6693 | 2.204 | 888.1333 | 90.5867 | 40.108
2019-12-21 07:15:00 | 4.2453 | 53.222 | 4.89 | 58.478 | 6.95 | 3.8947 | 7.1947 | 34.646 | 2.1853 | 888.5333 | 90.8867 | 42.5753
2019-12-21 07:30:00 | 5.0827 | 162.2647 | 5.8447 | 178.3073 | 8.076 | 11.9607 | 8.1193 | 85.3207 | 2.104 | 888 | 91.4133 | 43.6553
2019-12-21 07:45:00 | 5.218 | 46.5687 | 6.0053 | 51.1727 | 7.4553 | 10.0007 | 7.4293 | 64.9027 | 2.272 | 888 | 89.38 | 39.5993
2019-12-21 08:00:00 | 5.286 | 115.1013 | 6.09 | 126.48 | 7.67 | 6.112 | 7.6367 | 17.5453 | 2.534 | 888.8 | 86.9467 | 34.0293
2019-12-21 08:15:00 | 4.8487 | 263.87 | 5.5813 | 289.964 | 7.6833 | 10.2393 | 7.4993 | 22.028 | 2.664 | 889 | 85.5733 | 33.4867
2019-12-21 08:30:00 | 5.334 | 43.7747 | 6.138 | 48.1007 | 8.072 | 83.2247 | 8.0007 | 16.836 | 2.6767 | 889 | 85.4533 | 36.3293
2019-12-21 08:45:00 | 5.2953 | 107.9547 | 6.0873 | 118.626 | 8.4227 | 56.4687 | 8.414 | 15.7673 | 2.7547 | 889 | 84.7533 | 38.3667
2019-12-21 09:00:00 | 5.0367 | 54.8853 | 5.796 | 60.3113 | 8.7487 | 10.0013 | 8.866 | 19.1427 | 2.7447 | 889 | 85.1333 | 39.758
2019-12-21 09:15:00 | 4.966 | 173.7127 | 5.7133 | 190.892 | 7.8527 | 120.6913 | 8.09 | 22.2993 | 2.712 | 889 | 85.2867 | 37.9133
2019-12-21 09:30:00 | 4.826 | 142.566 | 5.5527 | 156.6667 | 7.6133 | 9.2553 | 7.7387 | 13.422 | 2.6947 | 889 | 85.5733 | 36.1113
2019-12-21 09:45:00 | 5.1607 | 9.2327 | 5.9467 | 10.1447 | 7.628 | 14.6933 | 7.7407 | 10.1027 | 2.7307 | 889 | 85.1333 | 39.2387
2019-12-21 10:00:00 | 5.3727 | 166.9307 | 6.1793 | 183.4353 | 8.5113 | 14.664 | 8.214 | 16.2447 | 2.7973 | 889 | 84.66 | 42.712
2019-12-21 10:15:00 | 5.2667 | 111.4707 | 6.0627 | 122.49 | 8.1633 | 17.586 | 7.942 | 21.6787 | 2.8707 | 889.4667 | 84.82 | 40.832
2019-12-21 10:30:00 | 5.1387 | 215.062 | 5.9113 | 236.3267 | 7.7947 | 81.22 | 7.754 | 18.8847 | 2.9993 | 890 | 84.38 | 34.0893
2019-12-21 10:45:00 | 4.744 | 196.0527 | 5.458 | 215.4367 | 7.6953 | 238.2467 | 7.3993 | 121.4147 | 3.0773 | 890 | 84.2 | 32.406
2019-12-21 11:00:00 | 4.7353 | 110.5073 | 5.4447 | 121.4333 | 7.7047 | 64.858 | 7.584 | 13.1393 | 3.2013 | 890 | 83.3133 | 32.1967
2019-12-21 11:15:00 | 4.198 | 53.7587 | 4.8353 | 59.0727 | 7.2333 | 5.4853 | 7.2593 | 15.724 | 3.484 | 890 | 83.7333 | 23.958
2019-12-21 11:30:00 | 3.9347 | 116.34 | 4.5293 | 127.846 | 6.3173 | 9.802 | 6.2367 | 7.476 | 3.9533 | 890 | 82.4 | 19.5373
2019-12-21 11:45:00 | 4.0273 | 261.8693 | 4.6347 | 287.7613 | 5.6173 | 5.268 | 5.5267 | 75.832 | 4.294 | 890 | 80.4573 | 17.53
2019-12-21 12:00:00 | 3.9727 | 214.7893 | 4.5787 | 236.0267 | 5.5847 | 11.8273 | 5.5187 | 74.206 | 4.3853 | 890 | 79.8847 | 15.686
2019-12-21 12:15:00 | 3.9653 | 164.482 | 4.5627 | 180.7453 | 5.7487 | 10.1953 | 5.4687 | 5.458 | 4.6227 | 890 | 78.6527 | 11.822
2019-12-21 12:30:00 | 3.8667 | 26.1407 | 4.4547 | 28.722 | 6.1973 | 6.2547 | 6.02 | 8.322 | 4.7813 | 889.8667 | 77.6893 | 10.8113
2019-12-21 12:45:00 | 4.07 | 81.868 | 4.686 | 89.9633 | 6.7027 | 13.5727 | 6.548 | 21.2167 | 5.3553 | 889 | 75.3813 | 10.5667
2019-12-21 13:00:00 | 4.1487 | 135.1247 | 4.772 | 148.4867 | 6.7353 | 14.0373 | 6.202 | 14.9927 | 7.1 | 889 | 68.21 | 8.9913
2019-12-21 13:15:00 | 4.278 | 157.2073 | 4.9213 | 172.7533 | 6.578 | 9.4233 | 6.2013 | 15.4 | 6.4593 | 889 | 67.7933 | 9.226
2019-12-21 13:30:00 | 3.764 | 118.532 | 4.3267 | 130.25 | 5.4813 | 8.382 | 5.2973 | 17.1473 | 6.4053 | 889 | 69.2633 | 4.8753
2019-12-21 13:45:00 | 3.198 | 140.828 | 3.678 | 154.7453 | 4.984 | 14.7027 | 4.724 | 12.6433 | 7.668 | 889 | 65.7007 | 1.326
2019-12-21 14:00:00 | 2.816 | 131.9213 | 3.24 | 144.964 | 4.8687 | 14.1927 | 4.6387 | 12.108 | 9.7207 | 889 | 58.3427 | 0.59867
2019-12-21 14:15:00 | 2.546 | 14.1647 | 2.9273 | 15.56 | 4.0567 | 16.9253 | 3.9393 | 12.9453 | 10.1107 | 889 | 55.1987 | 0
2019-12-21 14:30:00 | 2.512 | 23.5553 | 2.8907 | 25.8807 | 3.0107 | 76.3853 | 2.752 | 163.9253 | 8.9227 | 889 | 57.056 | 0
2019-12-21 14:45:00 | 1.8453 | 47.506 | 2.12 | 52.202 | 1.904 | 219.616 | 1.944 | 297.332 | 8.3333 | 889 | 58.8067 | 0
2019-12-21 15:00:00 | 1.3907 | 47.7333 | 1.6133 | 52.4533 | 1.478 | 131.0087 | 1.28 | 120.6187 | 8.932 | 889 | 56.5807 | 0
2019-12-21 15:15:00 | 1.2053 | 133.156 | 1.392 | 146.32 | 1.3227 | 166.62 | 1.4653 | 156.84 | 9.7313 | 888.5333 | 53.094 | 0
2019-12-21 15:30:00 | 2.192 | 130.7413 | 2.526 | 143.6667 | 2.5047 | 162.2733 | 2.1453 | 154.5933 | 8.9973 | 888 | 56.2313 | 0
2019-12-21 15:45:00 | 2.5733 | 155.1553 | 2.9633 | 170.4933 | 2.7987 | 167.4267 | 2.6993 | 188.9067 | 8.7547 | 888 | 59.2087 | 0
2019-12-21 16:00:00 | 2.4027 | 157.9693 | 2.7653 | 173.5867 | 2.6767 | 202.02 | 2.3887 | 206.3533 | 8.7793 | 888 | 59.8653 | 0
2019-12-21 16:15:00 | 2.522 | 154.262 | 2.9073 | 169.5133 | 2.938 | 177.6733 | 2.8667 | 197.58 | 8.772 | 888 | 60.0933 | 0
2019-12-21 16:30:00 | 2.302 | 155.838 | 2.65 | 171.24 | 2.8093 | 194.9533 | 2.7273 | 220.0533 | 8.7393 | 888.1333 | 60.2513 | 0
2019-12-21 16:45:00 | 2.2327 | 155.598 | 2.57 | 170.98 | 2.504 | 191.2067 | 2.166 | 219.4533 | 8.1667 | 889 | 62.4207 | 0
2019-12-21 17:00:00 | 2.12 | 156.9513 | 2.4413 | 172.4733 | 2.3893 | 198.82 | 2.4433 | 211.6067 | 7.6833 | 888.8667 | 65.1613 | 0
2019-12-21 17:15:00 | 2.0347 | 154.6673 | 2.35 | 169.96 | 2.3627 | 185.7133 | 2.29 | 206.04 | 7.462 | 888 | 65.768 | 0
2019-12-21 17:30:00 | 2.0007 | 155.3727 | 2.304 | 170.7267 | 2.492 | 205 | 2.7147 | 203.6067 | 7.2 | 888 | 66.4373 | 0
2019-12-21 17:45:00 | 2.3453 | 165.1293 | 2.7027 | 181.4533 | 3.0733 | 200.14 | 3.132 | 206.1667 | 6.7733 | 888 | 68.1727 | 0.048667
2019-12-21 18:00:00 | 2.7133 | 171.7133 | 3.122 | 188.6933 | 3.5213 | 203.44 | 3.3587 | 207.74 | 6.4687 | 888 | 68.26 | 0.45933
2019-12-21 18:15:00 | 3.014 | 171.5327 | 3.472 | 188.4867 | 3.8553 | 205.5933 | 3.752 | 212.92 | 6.3593 | 888 | 67.446 | 1.39
2019-12-21 18:30:00 | 3.2093 | 171.6073 | 3.6927 | 188.5733 | 4.1113 | 202.8667 | 4.0107 | 209.0867 | 6.178 | 888 | 67.634 | 1.76
2019-12-21 18:45:00 | 3.25 | 179.7087 | 3.74 | 197.48 | 4.296 | 204.4867 | 4.0673 | 210.4467 | 6.1273 | 888 | 67.028 | 3.09
2019-12-21 19:00:00 | 3 | 175.9487 | 3.452 | 193.3467 | 3.7073 | 201.3533 | 3.8247 | 209.42 | 6.1593 | 888 | 67.032 | 6.838
2019-12-21 19:15:00 | 3.4573 | 170.1073 | 3.9767 | 186.9267 | 4.3807 | 216.7333 | 4.5453 | 215.1267 | 6.094 | 888 | 68.6853 | 10.1687
2019-12-21 19:30:00 | 3.624 | 171.8007 | 4.168 | 188.7933 | 4.61 | 213.52 | 5.156 | 219.74 | 5.7927 | 888 | 71.1073 | 12.2853
2019-12-21 19:45:00 | 3.492 | 171.3087 | 4.0253 | 188.2467 | 4.394 | 210.1133 | 4.6833 | 221.5667 | 5.4853 | 888.4667 | 75.8613 | 12.6053
2019-12-21 20:00:00 | 3.4007 | 178.924 | 3.912 | 196.6133 | 4.5287 | 221.3733 | 4.8873 | 224.9667 | 5.246 | 889 | 78.7473 | 12.898
2019-12-21 20:15:00 | 3.2973 | 174.7973 | 3.7967 | 192.08 | 4.3167 | 219.8533 | 4.7933 | 231.9533 | 5.076 | 889 | 80.7533 | 14.1207
2019-12-21 20:30:00 | 3.6267 | 181.942 | 4.178 | 199.94 | 4.7327 | 220.72 | 5.2867 | 225.4867 | 4.992 | 889 | 83.14 | 14.098
2019-12-21 20:45:00 | 3.46 | 174.2813 | 3.98 | 191.5133 | 4.5613 | 216.6133 | 4.9387 | 226.06 | 4.7893 | 889 | 85.3733 | 10.2733
2019-12-21 21:00:00 | 3.1393 | 179.2147 | 3.612 | 196.9333 | 4.074 | 216.9133 | 4.28 | 219.4933 | 4.7353 | 889 | 85.94 | 8.6853
2019-12-21 21:15:00 | 2.9807 | 172.9687 | 3.43 | 190.0733 | 3.9707 | 213.9333 | 4.0673 | 222.5533 | 4.6727 | 889 | 87.2067 | 6.8353
2019-12-21 21:30:00 | 2.7047 | 170.868 | 3.1087 | 187.7667 | 3.288 | 203.9533 | 3.444 | 212.0867 | 4.6033 | 889 | 88.3067 | 5.3553
2019-12-21 21:45:00 | 2.7467 | 170.6993 | 3.162 | 187.58 | 3.5093 | 213.72 | 3.618 | 207.22 | 4.4467 | 889 | 89.14 | 4.9847
2019-12-21 22:00:00 | 2.668 | 174.4273 | 3.0707 | 191.6733 | 3.362 | 210.5867 | 3.2533 | 198.6133 | 4.382 | 889 | 90.0933 | 3.5627
2019-12-21 22:15:00 | 3.0053 | 166.5773 | 3.4627 | 183.0467 | 3.774 | 198.1133 | 3.8033 | 191.7533 | 4.29 | 889 | 90.8333 | 3.1453
2019-12-21 22:30:00 | 3.1353 | 165.836 | 3.6147 | 182.24 | 3.6933 | 191.42 | 4.0927 | 188.4267 | 4.4093 | 889 | 90.1133 | 4.2013
2019-12-21 22:45:00 | 3.1167 | 169.6613 | 3.5887 | 186.44 | 3.7647 | 192.2067 | 3.9667 | 193.2067 | 4.5007 | 889 | 90.8067 | 6.3513
2019-12-21 23:00:00 | 2.5453 | 182.688 | 2.9273 | 200.7533 | 3.202 | 207.1533 | 3.154 | 198.82 | 4.3187 | 889 | 91.4867 | 6.0927
2019-12-21 23:15:00 | 2.3707 | 178.19 | 2.7273 | 195.8133 | 3.09 | 215.2 | 2.842 | 200.5 | 4.302 | 889 | 92.06 | 5.4287
2019-12-21 23:30:00 | 2.2227 | 180.1193 | 2.564 | 197.9267 | 2.9467 | 214.98 | 2.8807 | 207.92 | 4.2967 | 889 | 92.46 | 5.5073
2019-12-21 23:45:00 | 2.3127 | 180.086 | 2.6667 | 197.8933 | 3.0213 | 218.3533 | 2.912 | 204.86 | 4.3433 | 889 | 93.0533 | 4.7413