## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-22 00:00:00 | 2.13 | 180.9429 | 2.4521 | 198.8357 | 2.9964 | 223.6857 | 2.4379 | 212.75 | 4.31 | 889 | 93.44 | 3.7729
2019-12-22 00:15:00 | 1.7327 | 164.172 | 1.994 | 180.4067 | 2.2293 | 210.4 | 2.3207 | 216.0067 | 4.3987 | 889 | 93.04 | 3.6107
2019-12-22 00:30:00 | 1.7273 | 167.1613 | 1.992 | 183.6867 | 2.1013 | 228.1933 | 2.6933 | 202.98 | 4.438 | 889 | 93.1333 | 3.2547
2019-12-22 00:45:00 | 1.6333 | 151.19 | 1.8833 | 166.1333 | 1.976 | 198.7267 | 2.296 | 207.7667 | 4.3093 | 889 | 93.6333 | 1.998
2019-12-22 01:00:00 | 1.4747 | 158.8033 | 1.7013 | 174.5 | 2.0273 | 188.24 | 2.5453 | 210.4467 | 4.168 | 889 | 94.32 | 1.9187
2019-12-22 01:15:00 | 1.7427 | 172.9633 | 2.0053 | 190.06 | 2.3533 | 203.6267 | 2.8153 | 202.22 | 4.1747 | 888.5333 | 94.76 | 2.1073
2019-12-22 01:30:00 | 2.0607 | 167.9893 | 2.37 | 184.6 | 2.606 | 200.9133 | 2.9333 | 205 | 4.3087 | 888 | 94.3667 | 2.1847
2019-12-22 01:45:00 | 1.7193 | 159.632 | 1.984 | 175.42 | 2.1573 | 202.8 | 2.6953 | 195.9067 | 4.212 | 888 | 94.5533 | 2.2347
2019-12-22 02:00:00 | 1.9107 | 155.8607 | 2.2113 | 171.2733 | 2.4107 | 199.1933 | 2.8587 | 202.4 | 4.028 | 888 | 95.4333 | 3.6507
2019-12-22 02:15:00 | 2.3413 | 157.5453 | 2.6973 | 173.12 | 3.0713 | 206.1933 | 3.478 | 213.94 | 4.0173 | 888 | 96.0467 | 3.9653
2019-12-22 02:30:00 | 2.658 | 170.3827 | 3.056 | 187.2267 | 3.348 | 202.36 | 3.6 | 209.44 | 4.0653 | 888 | 96.4667 | 2.4447
2019-12-22 02:45:00 | 2.1427 | 181.4067 | 2.4673 | 199.3467 | 2.688 | 201.5933 | 3.1413 | 213.1133 | 4.076 | 888 | 96.6 | 2.666
2019-12-22 03:00:00 | 2.606 | 165.0847 | 3 | 181.4133 | 3.2473 | 202.6333 | 3.4947 | 210.3867 | 4.088 | 888 | 96.6133 | 3.5047
2019-12-22 03:15:00 | 2.5513 | 168.186 | 2.9313 | 184.82 | 3.0613 | 210.92 | 3.3433 | 207.1467 | 4.1387 | 888 | 96.7 | 3.6593
2019-12-22 03:30:00 | 2.304 | 169.5893 | 2.652 | 186.3533 | 2.8267 | 209.7533 | 3.1027 | 200.9867 | 4.1573 | 888 | 96.5133 | 3.706
2019-12-22 03:45:00 | 1.38 | 157.1053 | 1.5907 | 172.64 | 1.7453 | 191.5867 | 2.11 | 190.4333 | 3.8533 | 888 | 97.08 | 2.7487
2019-12-22 04:00:00 | 1.2607 | 158.062 | 1.454 | 173.6933 | 1.634 | 184.8267 | 2.0633 | 188.3933 | 3.718 | 887.2 | 97.88 | 2.0033
2019-12-22 04:15:00 | 1.748 | 177.3013 | 2.0127 | 194.8267 | 2.3547 | 195.9267 | 2.7173 | 198.9467 | 3.7093 | 887 | 97.9467 | 1.8807
2019-12-22 04:30:00 | 2.1293 | 174.9653 | 2.446 | 192.2667 | 2.6773 | 184.64 | 3.3327 | 177.9533 | 3.848 | 887 | 97.6067 | 2.156
2019-12-22 04:45:00 | 2.256 | 166.1773 | 2.596 | 182.6067 | 2.8073 | 181.4133 | 3.672 | 180.22 | 3.8907 | 887 | 97.2 | 2.4087
2019-12-22 05:00:00 | 2.3893 | 161.546 | 2.7493 | 177.5133 | 3.0227 | 192.2267 | 3.5673 | 183.1533 | 3.8947 | 887 | 97.2933 | 1.99
2019-12-22 05:15:00 | 2.1847 | 163.984 | 2.5167 | 180.2 | 2.7647 | 192.2667 | 3.2673 | 183.94 | 3.8727 | 887 | 97.5067 | 1.4753
2019-12-22 05:30:00 | 2.468 | 162.518 | 2.8393 | 178.5867 | 3.0907 | 187.36 | 3.6893 | 181.5533 | 3.846 | 887 | 97.68 | 1.9747
2019-12-22 05:45:00 | 2.4347 | 162.942 | 2.81 | 179.0533 | 3.0073 | 187.56 | 3.5607 | 180.5867 | 3.87 | 887 | 97.7 | 2.4387
2019-12-22 06:00:00 | 2.5093 | 161.8687 | 2.8873 | 177.8733 | 3.0433 | 182.3267 | 3.402 | 187.7667 | 3.8433 | 887 | 97.98 | 2.8007
2019-12-22 06:15:00 | 2.2533 | 150.624 | 2.594 | 165.52 | 2.5573 | 187.0933 | 2.968 | 197.0533 | 3.8167 | 887 | 98.32 | 2.1013
2019-12-22 06:30:00 | 2.598 | 151.302 | 2.99 | 166.2667 | 2.9707 | 185.0333 | 3.1807 | 193.66 | 3.8293 | 887 | 98.4933 | 2.8633
2019-12-22 06:45:00 | 2.6507 | 155.8947 | 3.0487 | 171.3067 | 3.1407 | 184.3667 | 3.7213 | 198.1 | 3.7893 | 887 | 98.7067 | 3.92
2019-12-22 07:00:00 | 1.972 | 163.5927 | 2.268 | 179.7667 | 2.3933 | 202.6467 | 2.8747 | 197.38 | 3.778 | 887 | 98.9733 | 2.6127
2019-12-22 07:15:00 | 1.7013 | 140.8687 | 1.9593 | 154.8 | 1.918 | 179.68 | 2.1713 | 189.52 | 3.7467 | 887 | 99.1067 | 2.068
2019-12-22 07:30:00 | 2.4493 | 161.1493 | 2.8153 | 177.08 | 2.982 | 187.3133 | 3.316 | 191.52 | 3.718 | 887 | 99.4533 | 2.3913
2019-12-22 07:45:00 | 2.0793 | 156.5993 | 2.3967 | 172.08 | 2.4907 | 181.5867 | 2.9913 | 174.56 | 3.74 | 887 | 99.7467 | 1.428
2019-12-22 08:00:00 | 2.0613 | 164.3333 | 2.3773 | 180.58 | 2.478 | 176.48 | 2.828 | 178.1667 | 3.7733 | 887 | 99.76 | 1.8573
2019-12-22 08:15:00 | 1.8507 | 156.0133 | 2.1353 | 171.4333 | 2.1473 | 194.6867 | 2.708 | 185.5667 | 3.7913 | 887 | 99.6 | 1.904
2019-12-22 08:30:00 | 1.54 | 159.446 | 1.78 | 175.2067 | 1.9167 | 198.94 | 2.5293 | 191.8867 | 3.8 | 887 | 99.6 | 1.2947
2019-12-22 08:45:00 | 1.4867 | 155.114 | 1.716 | 170.4467 | 1.7793 | 179.64 | 2.0807 | 186.56 | 3.8367 | 887 | 99.5533 | 1.784
2019-12-22 09:00:00 | 1.8627 | 151.9073 | 2.1413 | 166.9267 | 2.184 | 168.3267 | 2.3647 | 183.0333 | 3.9 | 887 | 99.2067 | 2.104
2019-12-22 09:15:00 | 2.0927 | 159.5473 | 2.4067 | 175.32 | 2.312 | 189.46 | 2.6107 | 192.14 | 3.93 | 887 | 99 | 1.7947
2019-12-22 09:30:00 | 1.7813 | 162.1467 | 2.0533 | 178.18 | 2.1787 | 190.32 | 2.4893 | 192.8667 | 3.9553 | 887 | 98.96 | 1.85
2019-12-22 09:45:00 | 1.5347 | 176.076 | 1.7733 | 193.4867 | 1.924 | 193.1333 | 2.39 | 199.7867 | 4.0293 | 887 | 98.7533 | 1.5607
2019-12-22 10:00:00 | 1.6987 | 163.8453 | 1.962 | 180.0467 | 1.8853 | 176.5467 | 2.1107 | 193.8 | 4.082 | 887 | 98.4667 | 1.2953
2019-12-22 10:15:00 | 2 | 165.1747 | 2.3 | 181.5067 | 2.3347 | 175.1867 | 2.71 | 172.3267 | 4.1833 | 887 | 98.0733 | 2.0407
2019-12-22 10:30:00 | 2.1687 | 181.59 | 2.4987 | 199.5467 | 2.4833 | 186.2067 | 3.0133 | 192.6467 | 4.214 | 887 | 97.54 | 2.1407
2019-12-22 10:45:00 | 1.9287 | 164.5107 | 2.2193 | 180.7733 | 2.1433 | 188.9533 | 2.6627 | 191.5867 | 4.2287 | 887 | 97.34 | 2.322
2019-12-22 11:00:00 | 1.8407 | 158.9827 | 2.116 | 174.7 | 2.1667 | 211.1467 | 2.6593 | 203.2667 | 4.344 | 887 | 96.7133 | 1.9927
2019-12-22 11:15:00 | 1.938 | 168.2993 | 2.23 | 184.94 | 2.3947 | 219.6933 | 2.6873 | 206.88 | 4.4647 | 887 | 96.3267 | 1.6467
2019-12-22 11:30:00 | 1.9067 | 168.0047 | 2.2013 | 184.62 | 2.1687 | 185.6533 | 2.1053 | 219.2667 | 4.572 | 887 | 96.0067 | 1.6847
2019-12-22 11:45:00 | 2.0453 | 184.892 | 2.3527 | 203.1667 | 2.4273 | 217.1333 | 2.6047 | 219.0267 | 4.6587 | 887 | 95.54 | 1.766
2019-12-22 12:00:00 | 2.336 | 166.92 | 2.6847 | 183.4267 | 2.6853 | 200.7133 | 2.7047 | 201.3133 | 4.6833 | 887 | 95 | 2.1547
2019-12-22 12:15:00 | 1.8813 | 166.1687 | 2.1667 | 182.6 | 2.22 | 224.3 | 2.2147 | 221.5467 | 4.7167 | 886.5333 | 94.7333 | 1.61
2019-12-22 12:30:00 | 2.156 | 191.886 | 2.4847 | 210.86 | 2.6487 | 222.7933 | 2.5907 | 215.84 | 4.8247 | 886 | 94.34 | 1.444
2019-12-22 12:45:00 | 2.4467 | 177.594 | 2.8167 | 195.1533 | 3.01 | 223.8467 | 2.978 | 227.98 | 4.874 | 886 | 93.84 | 1.4287
2019-12-22 13:00:00 | 2.1447 | 176.1513 | 2.4753 | 193.5667 | 2.5947 | 214.58 | 2.534 | 228.1467 | 4.988 | 885.8667 | 93.1733 | 0.99
2019-12-22 13:15:00 | 1.9967 | 152.366 | 2.296 | 167.4267 | 2.3247 | 210.8933 | 2.342 | 221.6 | 4.968 | 885 | 92.58 | 0.45267
2019-12-22 13:30:00 | 1.3333 | 161.97 | 1.538 | 177.9867 | 1.5827 | 216.3867 | 1.8993 | 218.2067 | 5.2113 | 885 | 92.36 | 0.23333
2019-12-22 13:45:00 | 1.586 | 157.3973 | 1.8287 | 172.96 | 2.0973 | 223.8667 | 2.08 | 237.4467 | 5.2947 | 885 | 91.14 | 0.27533
2019-12-22 14:00:00 | 1.5713 | 159.884 | 1.8127 | 175.6867 | 1.734 | 211.9867 | 1.5793 | 218.5133 | 5.312 | 884.2 | 91.2333 | 0.13133
2019-12-22 14:15:00 | 1.7147 | 151.722 | 1.98 | 166.7267 | 1.914 | 167.8 | 1.672 | 202.1 | 5.3613 | 884 | 91.26 | 0.424
2019-12-22 14:30:00 | 2.3407 | 174.098 | 2.6947 | 191.3067 | 2.7493 | 201.6533 | 2.7427 | 220.62 | 5.3827 | 884 | 89.86 | 0.55067
2019-12-22 14:45:00 | 2.1947 | 171.0813 | 2.53 | 187.9933 | 2.7773 | 226.5133 | 2.942 | 233.38 | 5.4467 | 884 | 89.3067 | 0.57533
2019-12-22 15:00:00 | 2.19 | 179.248 | 2.5267 | 196.9667 | 2.7207 | 226.5667 | 2.982 | 229.9133 | 5.61 | 884 | 88.2933 | 0.712
2019-12-22 15:15:00 | 2.2587 | 179.198 | 2.6 | 196.9133 | 2.7173 | 225.3333 | 2.8647 | 221.8467 | 5.7273 | 884 | 87.3333 | 0.926
2019-12-22 15:30:00 | 1.4947 | 159.4567 | 1.73 | 175.22 | 1.7727 | 220.28 | 1.876 | 208.6467 | 5.8427 | 883.3333 | 87.44 | 0.592
2019-12-22 15:45:00 | 2.2767 | 154.3787 | 2.6273 | 169.64 | 2.6593 | 171.2733 | 2.9653 | 202.1333 | 5.7907 | 883.5333 | 87.7333 | 0.12467
2019-12-22 16:00:00 | 2.6053 | 156.4033 | 3.002 | 171.8667 | 3.0007 | 176.8667 | 3.154 | 184.1467 | 5.5973 | 883 | 88.3467 | 0
2019-12-22 16:15:00 | 2.2813 | 163.6693 | 2.632 | 179.8533 | 2.764 | 195.12 | 3.0533 | 188.9733 | 5.5913 | 883 | 87.3 | 0
2019-12-22 16:30:00 | 2.0687 | 154.814 | 2.38 | 170.1267 | 2.3153 | 181.5333 | 2.4493 | 193.6733 | 5.536 | 883 | 86.3067 | 0
2019-12-22 16:45:00 | 1.7633 | 159.6993 | 2.036 | 175.4933 | 2.146 | 200.34 | 2.4093 | 208.6467 | 5.5227 | 883 | 86.8333 | 0.106
2019-12-22 17:00:00 | 1.7953 | 144.9273 | 2.068 | 159.26 | 2.3 | 203.9467 | 2.4233 | 207.6933 | 5.4867 | 883 | 87.5667 | 0.46267
2019-12-22 17:15:00 | 2.3293 | 158.494 | 2.6827 | 174.16 | 2.852 | 201.4267 | 2.9073 | 205.3 | 5.3967 | 883 | 88.4333 | 0.612
2019-12-22 17:30:00 | 2.1253 | 150.366 | 2.4467 | 165.2333 | 2.5213 | 190.72 | 2.69 | 197.9 | 5.2733 | 883 | 88.86 | 0.634
2019-12-22 17:45:00 | 1.9113 | 150.5493 | 2.2007 | 165.4333 | 2.3207 | 178.84 | 2.4693 | 185.7533 | 5.2007 | 883 | 89.2867 | 0.68667
2019-12-22 18:00:00 | 2.1947 | 183.1607 | 2.5293 | 201.2733 | 2.7627 | 204.5133 | 2.764 | 205.1533 | 5.126 | 883 | 89.3533 | 1.154
2019-12-22 18:15:00 | 2.062 | 159.8367 | 2.3733 | 175.6467 | 2.642 | 196.6267 | 2.8293 | 200.6467 | 5.0613 | 883 | 89.7933 | 1.4327
2019-12-22 18:30:00 | 1.9707 | 164.304 | 2.268 | 180.5533 | 2.422 | 184.86 | 2.7867 | 191.3533 | 5.086 | 883 | 89.56 | 1.4187
2019-12-22 18:45:00 | 1.9987 | 162.464 | 2.3027 | 178.5267 | 2.5093 | 190.1067 | 2.732 | 195.0933 | 5.0633 | 883 | 89.8133 | 0.96867
2019-12-22 19:00:00 | 1.6573 | 167.5333 | 1.9027 | 184.0933 | 2.102 | 190.0867 | 2.2473 | 195.5467 | 5.0287 | 883.1333 | 89.78 | 0.93733
2019-12-22 19:15:00 | 2.032 | 167.178 | 2.3453 | 183.7067 | 2.5253 | 202.58 | 2.7627 | 204.9733 | 5.0367 | 884 | 89.8133 | 1.18
2019-12-22 19:30:00 | 1.8747 | 149.1873 | 2.158 | 163.9333 | 2.2733 | 194.76 | 2.4633 | 198.0533 | 5.038 | 884 | 89.8133 | 1.162
2019-12-22 19:45:00 | 2.02 | 161.538 | 2.32 | 177.5133 | 2.4887 | 197.3867 | 2.7907 | 210.1867 | 5.0627 | 884 | 89.74 | 0.85333
2019-12-22 20:00:00 | 2.208 | 169.8 | 2.5413 | 186.5933 | 2.8627 | 218.1067 | 2.902 | 213.8733 | 5.05 | 884 | 90.12 | 1.116
2019-12-22 20:15:00 | 2.202 | 172.2873 | 2.532 | 189.3267 | 2.7273 | 203.9267 | 3.1033 | 209.5467 | 4.9947 | 884 | 91.2533 | 1.4167
2019-12-22 20:30:00 | 2.02 | 172.0167 | 2.3213 | 189.0267 | 2.4813 | 191.9467 | 2.7527 | 188.12 | 4.9827 | 884 | 91.22 | 1.1853
2019-12-22 20:45:00 | 2.028 | 152.93 | 2.334 | 168.0533 | 2.5693 | 181.6667 | 3.0007 | 192.0867 | 4.94 | 884 | 91.4467 | 0.61667
2019-12-22 21:00:00 | 1.8067 | 155.0573 | 2.0853 | 170.3867 | 2.4053 | 183.7933 | 2.964 | 181.14 | 4.948 | 884 | 91.2867 | 0.045333
2019-12-22 21:15:00 | 1.8693 | 149.1867 | 2.15 | 163.9333 | 2.406 | 181.4867 | 2.9927 | 182.1467 | 4.9233 | 884 | 91.4467 | 0
2019-12-22 21:30:00 | 1.5887 | 150.8033 | 1.8313 | 165.7133 | 2.042 | 179.6133 | 2.5187 | 180.4933 | 4.9133 | 884 | 91.6133 | 0
2019-12-22 21:45:00 | 1.3487 | 159.022 | 1.554 | 174.74 | 1.9027 | 183.7 | 2.172 | 191.0267 | 4.9093 | 884 | 91.8933 | 0
2019-12-22 22:00:00 | 0.97 | 140.8273 | 1.1253 | 154.7467 | 1.746 | 176.8933 | 1.8973 | 182.6267 | 4.774 | 884 | 93.3333 | 0
2019-12-22 22:15:00 | 0.63133 | 128.04 | 0.72733 | 140.7 | 1.2593 | 164.7333 | 1.494 | 161.8067 | 4.7213 | 884 | 93.0267 | 0
2019-12-22 22:30:00 | 0.648 | 133.734 | 0.754 | 146.96 | 1.0253 | 168.06 | 1.5607 | 186.6467 | 4.7647 | 884.8 | 92.4333 | 0
2019-12-22 22:45:00 | 1.5533 | 168.3847 | 1.7907 | 185.0267 | 2.142 | 195.46 | 2.612 | 204.0533 | 4.7393 | 885 | 92.9733 | 0
2019-12-22 23:00:00 | 2.0093 | 162.3393 | 2.3147 | 178.3933 | 2.6387 | 189.5067 | 3.1427 | 196.1733 | 4.7353 | 884.2 | 93.8267 | 0.23867
2019-12-22 23:15:00 | 2.0807 | 170.3867 | 2.3973 | 187.2333 | 2.5693 | 199.5333 | 2.7827 | 204.16 | 4.7707 | 884 | 94.38 | 0.004667
2019-12-22 23:30:00 | 1.4827 | 173.2587 | 1.7127 | 190.3867 | 2.3687 | 209.7533 | 2.408 | 217.1333 | 4.788 | 884.1333 | 94.2733 | 0
2019-12-22 23:45:00 | 0.86733 | 200.3487 | 1.006 | 220.16 | 1.6533 | 221.7667 | 1.9613 | 232.9067 | 4.72 | 885 | 94.6067 | 0