## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-23 00:00:00 | 0.31143 | 203.0471 | 0.36143 | 223.1214 | 0.59929 | 233.5714 | 1.32 | 241.0429 | 4.665 | 884.9231 | 94.7769 | 0
2019-12-23 00:15:00 | 0.33467 | 220.1413 | 0.38933 | 241.9 | 0.57667 | 217.1133 | 1.2867 | 225.82 | 4.6207 | 884 | 95.08 | 0
2019-12-23 00:30:00 | 0.94733 | 306.134 | 1.0933 | 336.4 | 1.1307 | 300.72 | 1.0227 | 281.5067 | 4.554 | 884 | 95.42 | 0
2019-12-23 00:45:00 | 0.58533 | 313.3207 | 0.67333 | 344.3067 | 0.834 | 151.686 | 0.586 | 253.5273 | 4.508 | 884 | 95.4533 | 0
2019-12-23 01:00:00 | 1.504 | 117.7493 | 1.732 | 129.3933 | 2.2553 | 192.784 | 2.1053 | 16.2453 | 4.4087 | 884 | 96.32 | 0
2019-12-23 01:15:00 | 1.84 | 322.1107 | 2.1167 | 353.9667 | 2.4293 | 50.0013 | 2.43 | 77.624 | 4.22 | 884 | 97.5667 | 0
2019-12-23 01:30:00 | 1.7067 | 158.304 | 1.9667 | 173.9553 | 2.4287 | 117.988 | 2.5433 | 169.2267 | 4.156 | 884 | 98.3 | 0
2019-12-23 01:45:00 | 1.98 | 215.1407 | 2.28 | 236.4127 | 2.6433 | 234.898 | 2.6587 | 237.482 | 4.14 | 884 | 98.72 | 0
2019-12-23 02:00:00 | 2.018 | 281.396 | 2.3233 | 309.212 | 2.6487 | 4.7307 | 2.7893 | 6.906 | 4.0987 | 884 | 99 | 0
2019-12-23 02:15:00 | 1.7787 | 45.8047 | 2.0487 | 50.3267 | 2.362 | 6.982 | 2.322 | 4.872 | 4.012 | 884 | 99.46 | 0
2019-12-23 02:30:00 | 1.646 | 64.598 | 1.896 | 70.98 | 2.4067 | 13.17 | 2.0207 | 8.1373 | 3.9907 | 884 | 99.8867 | 0
2019-12-23 02:45:00 | 1.4713 | 321.4627 | 1.702 | 353.2533 | 2.0333 | 18.9287 | 1.514 | 16.9053 | 4.0047 | 884 | 100 | 0
2019-12-23 03:00:00 | 1.9767 | 308.1973 | 2.2767 | 338.6733 | 2.368 | 123.8313 | 2.0753 | 16.6193 | 3.96 | 884 | 100 | 0
2019-12-23 03:15:00 | 2.134 | 304.3007 | 2.456 | 334.3933 | 2.33 | 72.4367 | 1.9033 | 5.4827 | 3.97 | 884 | 100 | 0
2019-12-23 03:30:00 | 1.5947 | 258.024 | 1.8353 | 283.5373 | 1.7547 | 50.7973 | 1.1527 | 0.27667 | 3.9667 | 884 | 100 | 0
2019-12-23 03:45:00 | 1.3133 | 210.3113 | 1.5133 | 231.1107 | 1.6833 | 3.636 | 1.536 | 6.7927 | 3.9507 | 884 | 100 | 0
2019-12-23 04:00:00 | 1.268 | 276.2207 | 1.4653 | 303.5387 | 1.668 | 142.2527 | 1.658 | 3.7107 | 3.926 | 884 | 100 | 0
2019-12-23 04:15:00 | 1.308 | 235.2293 | 1.504 | 258.488 | 1.7047 | 1.93 | 1.698 | 15.826 | 3.8993 | 884 | 100 | 0
2019-12-23 04:30:00 | 1.7333 | 205.7173 | 1.994 | 226.0613 | 2.4633 | 2.9153 | 2.3273 | 7.8753 | 3.8813 | 884 | 100 | 0
2019-12-23 04:45:00 | 2.3047 | 315.7927 | 2.652 | 347.02 | 2.944 | 6.1833 | 2.7433 | 2.7333 | 3.8893 | 884 | 100 | 0
2019-12-23 05:00:00 | 2.0253 | 153.6727 | 2.332 | 168.8633 | 2.6087 | 2.15 | 2.3567 | 5.7667 | 3.876 | 884 | 100 | 0
2019-12-23 05:15:00 | 1.8693 | 174.0373 | 2.1527 | 191.2433 | 2.56 | 72.87 | 2.2427 | 9.7307 | 3.86 | 884 | 100 | 0
2019-12-23 05:30:00 | 1.8393 | 316.13 | 2.1153 | 347.3867 | 2.2947 | 351.06 | 1.9307 | 30.7607 | 3.8507 | 884 | 100 | 0
2019-12-23 05:45:00 | 1.6867 | 316.3933 | 1.9433 | 347.68 | 2.0473 | 48.5873 | 1.5993 | 8.752 | 3.83 | 884 | 100 | 0
2019-12-23 06:00:00 | 1.7427 | 308.04 | 2.0073 | 338.5 | 1.9607 | 71.4593 | 1.3627 | 9.496 | 3.8373 | 884 | 100 | 0
2019-12-23 06:15:00 | 1.882 | 312.1973 | 2.1727 | 343.0667 | 2.1553 | 355.86 | 1.6413 | 9.1847 | 3.8773 | 884 | 100 | 0
2019-12-23 06:30:00 | 1.2787 | 316.0813 | 1.4773 | 347.34 | 1.72 | 170.7727 | 1.1013 | 15.6627 | 3.8893 | 884 | 100 | 0
2019-12-23 06:45:00 | 0.93533 | 309.276 | 1.082 | 339.86 | 1.124 | 20.2433 | 0.224 | 20.2267 | 3.8713 | 884 | 100 | 0
2019-12-23 07:00:00 | 0.71467 | 296.8587 | 0.83 | 326.22 | 0.636 | 8.408 | 0.18467 | 20.1507 | 3.9033 | 884 | 100 | 0
2019-12-23 07:15:00 | 0.59 | 311.4487 | 0.67867 | 342.2533 | 0.664 | 6.6133 | 0.066 | 20.1693 | 3.932 | 884 | 100 | 0
2019-12-23 07:30:00 | 1.5367 | 318.7053 | 1.7693 | 350.22 | 1.724 | 6.62 | 0.88667 | 19.342 | 3.8953 | 884 | 100 | 0
2019-12-23 07:45:00 | 2.1473 | 315.956 | 2.4707 | 347.2 | 2.616 | 6.0487 | 2.6413 | 15.346 | 3.876 | 884 | 100 | 0
2019-12-23 08:00:00 | 2.1467 | 206.854 | 2.4713 | 227.3067 | 3.07 | 72.7373 | 3.1407 | 14.1233 | 3.8527 | 884.8 | 100 | 0
2019-12-23 08:15:00 | 2.2227 | 102.7693 | 2.5587 | 112.9253 | 2.7853 | 143.408 | 3.0527 | 13.124 | 3.8693 | 885 | 100 | 0
2019-12-23 08:30:00 | 2.2853 | 199.614 | 2.6293 | 219.35 | 2.888 | 121.1913 | 3.09 | 10.3673 | 3.9013 | 885 | 100 | 0
2019-12-23 08:45:00 | 2.3787 | 142.5347 | 2.7373 | 156.6207 | 3.1487 | 74.776 | 3.2053 | 15.5773 | 3.92 | 885.4667 | 100 | 0.196
2019-12-23 09:00:00 | 2.0027 | 208.4767 | 2.3073 | 229.0887 | 3.1473 | 236.04 | 3.202 | 5.2487 | 3.9267 | 886 | 100 | 0.35267
2019-12-23 09:15:00 | 2.312 | 267.6887 | 2.666 | 294.164 | 3.0227 | 192.8087 | 3.046 | 10.696 | 3.9287 | 886 | 100 | 0
2019-12-23 09:30:00 | 2.324 | 208.6067 | 2.6813 | 229.2333 | 3.014 | 12.2233 | 2.8927 | 18.2227 | 4.0047 | 886 | 100 | 0
2019-12-23 09:45:00 | 2.2513 | 208.9133 | 2.59 | 229.5767 | 3.1327 | 6.27 | 2.9653 | 12.824 | 4.0827 | 886 | 100 | 0
2019-12-23 10:00:00 | 2.4693 | 314.54 | 2.8373 | 345.6467 | 3.372 | 4.554 | 3.4287 | 17.5707 | 4.154 | 886.1333 | 100 | 0.378
2019-12-23 10:15:00 | 2.0313 | 226.7373 | 2.34 | 249.1567 | 3.4673 | 1.99 | 3.29 | 3.654 | 4.3393 | 887 | 99.8667 | 0.564
2019-12-23 10:30:00 | 1.9987 | 286.774 | 2.3053 | 315.1267 | 3.508 | 96.7393 | 3.4333 | 1.9853 | 4.5287 | 887 | 99.4533 | 1.0787
2019-12-23 10:45:00 | 2.306 | 307.346 | 2.6527 | 337.74 | 3.5813 | 7.746 | 3.526 | 10.2347 | 4.5933 | 887 | 99.0933 | 1.5607
2019-12-23 11:00:00 | 2.5533 | 216.3727 | 2.9413 | 237.77 | 4.174 | 10.7133 | 4.0073 | 11.2447 | 4.6533 | 887.8 | 98.9067 | 3.54
2019-12-23 11:15:00 | 2.776 | 255.7433 | 3.1947 | 281.034 | 4.9127 | 7.2073 | 4.946 | 14.234 | 4.8447 | 888 | 98.44 | 6.366
2019-12-23 11:30:00 | 3.286 | 151.598 | 3.7787 | 166.586 | 5.0893 | 9.8667 | 5.4087 | 15.7353 | 4.9353 | 888 | 96.6933 | 7.2053
2019-12-23 11:45:00 | 2.914 | 161.4527 | 3.352 | 177.4147 | 5.142 | 16.702 | 5.116 | 14.366 | 5.118 | 888 | 95.7467 | 7.508
2019-12-23 12:00:00 | 2.9327 | 120.7453 | 3.3767 | 132.68 | 4.8473 | 10.26 | 4.9233 | 11.46 | 5.2987 | 888 | 94.9733 | 7.88
2019-12-23 12:15:00 | 2.9673 | 64.688 | 3.414 | 71.08 | 5.206 | 10.394 | 5.432 | 12.6013 | 5.5053 | 888 | 93.6533 | 8.1627
2019-12-23 12:30:00 | 2.9787 | 157.0187 | 3.426 | 172.5413 | 5.1147 | 9.4207 | 5.4887 | 9.894 | 5.768 | 887.2 | 91.8067 | 8.2053
2019-12-23 12:45:00 | 3.1487 | 175.7993 | 3.6247 | 193.1853 | 4.9553 | 120.7273 | 5.1227 | 10.0507 | 5.798 | 887 | 91.1133 | 7.924
2019-12-23 13:00:00 | 3.1613 | 66.8833 | 3.6387 | 73.4987 | 5.11 | 8.374 | 5.158 | 14.9647 | 5.9027 | 887 | 90.56 | 7.6187
2019-12-23 13:15:00 | 3.084 | 174.1267 | 3.5473 | 191.3413 | 5.382 | 9.788 | 5.5633 | 10.5073 | 6.2767 | 887 | 88.3067 | 7.4793
2019-12-23 13:30:00 | 3.3853 | 136.2173 | 3.8973 | 149.688 | 5.5307 | 10.8967 | 5.5253 | 12.4873 | 6.272 | 887 | 86.86 | 6.712
2019-12-23 13:45:00 | 3.0473 | 75.2893 | 3.5047 | 82.7353 | 5.1073 | 7.9087 | 5.1787 | 14.1307 | 6.4293 | 887 | 85.5067 | 5.0753
2019-12-23 14:00:00 | 3.044 | 139.984 | 3.5067 | 153.8233 | 4.7907 | 15.0467 | 4.986 | 13.412 | 6.6513 | 887 | 83.48 | 5.208
2019-12-23 14:15:00 | 3.088 | 65.276 | 3.5553 | 71.7267 | 4.5267 | 15.9013 | 4.4813 | 12.0467 | 6.6447 | 887 | 83.1333 | 4.092
2019-12-23 14:30:00 | 3.008 | 151.3873 | 3.4607 | 166.3533 | 4.4813 | 17.1953 | 4.4107 | 18.3393 | 6.654 | 887 | 83.1933 | 4.3067
2019-12-23 14:45:00 | 2.722 | 28.5207 | 3.132 | 31.338 | 4.5813 | 5.248 | 4.4487 | 15.0887 | 6.9667 | 887 | 81.52 | 3.4493
2019-12-23 15:00:00 | 2.5373 | 75.6673 | 2.9187 | 83.15 | 4.1053 | 8.026 | 4.1127 | 16.5687 | 6.968 | 887 | 80.0253 | 2.3773
2019-12-23 15:15:00 | 2.2627 | 247.76 | 2.6047 | 272.2553 | 3.4087 | 8.206 | 3.266 | 18.7487 | 7.0813 | 887 | 79.662 | 0.55333
2019-12-23 15:30:00 | 2.1587 | 34.5427 | 2.4833 | 37.954 | 3.3667 | 145.578 | 3.0667 | 6.216 | 7.046 | 887 | 79.868 | 0.16267
2019-12-23 15:45:00 | 2.08 | 260.2087 | 2.3967 | 285.9407 | 3.534 | 12.2327 | 3.3667 | 4.9627 | 7.2567 | 887 | 79.1507 | 0.15533
2019-12-23 16:00:00 | 2.2073 | 153.3993 | 2.5367 | 168.5613 | 3.648 | 12.2587 | 3.67 | 5.5473 | 7.1853 | 887 | 79.0913 | 0.23533
2019-12-23 16:15:00 | 2.1813 | 75.1727 | 2.5093 | 82.5987 | 3.5887 | 11.9053 | 3.5953 | 11.0107 | 7.044 | 887 | 80.052 | 0.41933
2019-12-23 16:30:00 | 1.9173 | 187.2827 | 2.2113 | 205.7967 | 3.4753 | 2.316 | 3.55 | 9.5633 | 6.964 | 887 | 80.6067 | 0.676
2019-12-23 16:45:00 | 2.0473 | 211.5367 | 2.3587 | 232.4533 | 3.428 | 16.9427 | 3.4733 | 11.2567 | 6.9207 | 887 | 80.7067 | 1.4493
2019-12-23 17:00:00 | 2.016 | 160.9093 | 2.3267 | 176.82 | 3.5673 | 12.4353 | 3.6613 | 124.7247 | 6.7087 | 887 | 81.3133 | 1.5507
2019-12-23 17:15:00 | 1.9367 | 58.398 | 2.2273 | 64.1633 | 3.4833 | 14.5787 | 3.602 | 7.412 | 6.6027 | 887 | 81.4533 | 0.92667
2019-12-23 17:30:00 | 1.7593 | 243.6147 | 2.024 | 267.7067 | 3.4533 | 304.792 | 3.4187 | 1.878 | 6.4707 | 887 | 81.82 | 0.81933
2019-12-23 17:45:00 | 1.492 | 52.2727 | 1.7207 | 57.4387 | 2.8367 | 274.1033 | 2.7253 | 191.5413 | 6.3327 | 887 | 82.6267 | 0.23333
2019-12-23 18:00:00 | 1.3633 | 209.2413 | 1.574 | 229.9347 | 2.5513 | 119.3167 | 2.7187 | 57.0787 | 6.1767 | 887 | 83.2067 | 0.037857
2019-12-23 18:15:00 | 1.4333 | 143.946 | 1.6527 | 158.18 | 2.8513 | 308.58 | 2.842 | 2.2227 | 5.9827 | 887 | 83.9867 | 0
2019-12-23 18:30:00 | 1.512 | 267.734 | 1.742 | 294.2 | 3.016 | 47.8207 | 3.0007 | 0.94267 | 5.8287 | 887 | 82.6733 | 0
2019-12-23 18:45:00 | 1.0867 | 260.1213 | 1.2607 | 285.84 | 2.154 | 5.0033 | 2.4387 | 3.6467 | 5.7733 | 887 | 81.3333 | 0
2019-12-23 19:00:00 | 1.2987 | 209.866 | 1.498 | 230.62 | 2.4113 | 2.0507 | 2.5287 | 2.9007 | 5.7307 | 887.8 | 82.36 | 0
2019-12-23 19:15:00 | 1.284 | 190.0753 | 1.4813 | 208.8693 | 2.4587 | 307.6187 | 2.4913 | 0.38533 | 5.746 | 888 | 82.48 | 0
2019-12-23 19:30:00 | 1.0733 | 319.758 | 1.2373 | 351.3867 | 1.934 | 356.9 | 2.0973 | 0.26333 | 5.6427 | 888 | 82.9267 | 0
2019-12-23 19:45:00 | 1.664 | 212.8647 | 1.92 | 233.9167 | 2.256 | 168.416 | 2.2007 | 0.31667 | 5.9133 | 888 | 82.5933 | 0
2019-12-23 20:00:00 | 1.6667 | 306.9547 | 1.9173 | 337.3133 | 2.3 | 6.546 | 2.1067 | 0.38 | 6.034 | 888 | 80.3067 | 0
2019-12-23 20:15:00 | 1.1627 | 191.7053 | 1.3453 | 210.6573 | 1.6047 | 3.2873 | 1.392 | 0.43 | 6.0233 | 888 | 80.42 | 0
2019-12-23 20:30:00 | 0.72867 | 291.168 | 0.84 | 319.96 | 0.964 | 65.324 | 0.88533 | 277.3587 | 6.0353 | 888 | 81.32 | 0
2019-12-23 20:45:00 | 0.80867 | 280.16 | 0.934 | 307.86 | 1.1547 | 263.36 | 1.4453 | 265.4067 | 6.312 | 888 | 71.2513 | 0
2019-12-23 21:00:00 | 0.56667 | 273.3593 | 0.66 | 300.3867 | 0.66333 | 333.52 | 0.53867 | 254.4453 | 6.4007 | 888 | 74.978 | 0
2019-12-23 21:15:00 | 0.018667 | 214.712 | 0.022667 | 235.9467 | 0.026667 | 309.3933 | 0.096 | 245.2227 | 6.16 | 888 | 77.0273 | 0
2019-12-23 21:30:00 | 0 | 226.7827 | 0 | 249.2067 | 0 | 255.9 | 0 | 73.106 | 6.1533 | 888 | 78.3087 | 0
2019-12-23 21:45:00 | 0 | 273.19 | 0 | 300.2 | 0 | 255.9 | 0.038 | 73.0907 | 6.0987 | 888 | 79.8533 | 0
2019-12-23 22:00:00 | 0.016667 | 273.178 | 0.02 | 300.1867 | 0.026667 | 244.3467 | 0.44867 | 220.324 | 6.0347 | 888.8 | 79.1873 | 0
2019-12-23 22:15:00 | 0.024 | 273.1 | 0.028 | 300.1 | 0.044 | 232.02 | 0.436 | 246.82 | 5.9893 | 889 | 81.1093 | 0
2019-12-23 22:30:00 | 0.41 | 267.056 | 0.47267 | 293.46 | 0.804 | 221.6 | 1.6267 | 238.7733 | 5.9653 | 889 | 82.6733 | 0
2019-12-23 22:45:00 | 1.0687 | 153.762 | 1.2313 | 160.3733 | 1.7053 | 184.8067 | 1.938 | 200.1 | 5.8473 | 889 | 85.4067 | 0
2019-12-23 23:00:00 | 1.948 | 164.8693 | 2.244 | 181.2467 | 2.5107 | 200.04 | 2.5267 | 204.3067 | 5.706 | 889 | 87.02 | 0
2019-12-23 23:15:00 | 2.0373 | 161.764 | 2.3453 | 177.76 | 2.5447 | 189.92 | 2.4627 | 206.48 | 5.6573 | 889 | 89.5067 | 0
2019-12-23 23:30:00 | 1.8827 | 163.436 | 2.1667 | 179.5933 | 2.4687 | 183.98 | 2.5073 | 189.1867 | 5.618 | 889 | 91.6267 | 0
2019-12-23 23:45:00 | 2.038 | 165.37 | 2.35 | 181.7267 | 2.5787 | 184.0867 | 2.4247 | 187.7267 | 5.614 | 889 | 92.26 | 0