## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-24 00:00:00 | 1.9914 | 169.6786 | 2.2943 | 186.4571 | 2.5629 | 181.7 | 2.43 | 189.5286 | 5.6171 | 889 | 91.9857 | 0.011429
2019-12-24 00:15:00 | 1.6413 | 161.108 | 1.89 | 177.0333 | 2.1513 | 178.26 | 2.03 | 191.5533 | 5.61 | 889 | 91.8533 | 0
2019-12-24 00:30:00 | 1.3973 | 143.362 | 1.6107 | 157.54 | 1.892 | 164.7533 | 1.8213 | 175.3467 | 5.6113 | 889 | 92.0267 | 0
2019-12-24 00:45:00 | 1.5153 | 152.8007 | 1.7433 | 167.9067 | 1.9947 | 167.7933 | 1.9313 | 175.6067 | 5.61 | 889 | 91.9533 | 0.10867
2019-12-24 01:00:00 | 1.148 | 163.162 | 1.324 | 179.2933 | 1.5113 | 168.9533 | 1.7793 | 185.2733 | 5.6493 | 889 | 91.6867 | 0
2019-12-24 01:15:00 | 0.59667 | 130.2393 | 0.692 | 143.1067 | 1.092 | 150.1467 | 1.6073 | 172.4467 | 5.7973 | 889 | 90.8533 | 0
2019-12-24 01:30:00 | 0.43933 | 129.05 | 0.51067 | 141.8 | 0.86667 | 158 | 1.538 | 161.44 | 5.844 | 888.2 | 89.5267 | 0
2019-12-24 01:45:00 | 0.994 | 179.7293 | 1.1453 | 197.5 | 1.5073 | 204.2533 | 1.6367 | 183.8267 | 5.8433 | 888 | 88.2267 | 0
2019-12-24 02:00:00 | 1.2827 | 172.2953 | 1.4787 | 189.3267 | 1.9127 | 189.22 | 2.3713 | 189.2533 | 5.9393 | 888 | 84.8133 | 0.092667
2019-12-24 02:15:00 | 1.2887 | 170.6773 | 1.486 | 187.5467 | 1.6647 | 183.4 | 2.5013 | 181.6333 | 6.0267 | 888 | 83.1 | 0.19333
2019-12-24 02:30:00 | 1.826 | 166.28 | 2.106 | 182.72 | 2.356 | 185.4133 | 2.6953 | 178.58 | 5.8973 | 888 | 84.94 | 0.38
2019-12-24 02:45:00 | 1.656 | 175.7387 | 1.9093 | 193.1133 | 2.4613 | 197.8067 | 2.8233 | 196.6 | 5.458 | 888 | 89.64 | 0.55067
2019-12-24 03:00:00 | 1.8653 | 171.2253 | 2.152 | 188.16 | 2.4387 | 212.7133 | 2.6913 | 201.0067 | 5.2107 | 888 | 91.92 | 0.41467
2019-12-24 03:15:00 | 2.43 | 171.8887 | 2.7947 | 188.8867 | 2.9707 | 186.76 | 3.6093 | 182.66 | 5.2093 | 888 | 91.12 | 0.98533
2019-12-24 03:30:00 | 2.1053 | 166.0987 | 2.4247 | 182.52 | 2.7207 | 179.8133 | 3.5473 | 172.4467 | 5.27 | 888 | 90.64 | 0.34133
2019-12-24 03:45:00 | 1.258 | 169.0227 | 1.4467 | 185.74 | 1.8433 | 172.3667 | 2.6387 | 161.6533 | 5.25 | 888 | 90.22 | 0
2019-12-24 04:00:00 | 1.4233 | 170.558 | 1.6387 | 187.4267 | 2.008 | 175.4 | 2.556 | 166.1133 | 5.22 | 888 | 89.7 | 0.29467
2019-12-24 04:15:00 | 1.7507 | 160.8407 | 2.024 | 176.7467 | 2.3567 | 169.98 | 2.688 | 179.38 | 5.216 | 888 | 89.44 | 1.1847
2019-12-24 04:30:00 | 2.0827 | 162.4773 | 2.3993 | 178.5333 | 2.5453 | 170.3667 | 2.7053 | 173.6333 | 5.208 | 887.8667 | 89.44 | 0.808
2019-12-24 04:45:00 | 1.4847 | 154.6513 | 1.7173 | 169.9467 | 2.1593 | 174.2133 | 2.534 | 177.04 | 5.232 | 887 | 88.8733 | 0.072667
2019-12-24 05:00:00 | 1.5987 | 177.1693 | 1.8493 | 194.68 | 2.214 | 194.64 | 2.5187 | 189.6067 | 5.3327 | 887 | 87.8267 | 0.41933
2019-12-24 05:15:00 | 1.9513 | 169.0793 | 2.248 | 185.7933 | 2.6187 | 202.5067 | 2.426 | 195.6667 | 5.486 | 887 | 85.4333 | 0.918
2019-12-24 05:30:00 | 2.5 | 172.6047 | 2.8793 | 189.6733 | 3.086 | 213.32 | 2.984 | 196.4467 | 5.4633 | 887 | 85.1933 | 1.7907
2019-12-24 05:45:00 | 2.54 | 170.242 | 2.9233 | 187.0667 | 3.0753 | 203.6133 | 3.384 | 193.1133 | 5.4673 | 887 | 84.98 | 1.552
2019-12-24 06:00:00 | 1.562 | 162.1313 | 1.7973 | 178.16 | 1.962 | 187.5467 | 2.3787 | 198.1 | 5.364 | 887 | 86.46 | 1.518
2019-12-24 06:15:00 | 1.4267 | 162.18 | 1.6467 | 178.22 | 1.8527 | 193.3133 | 2.4207 | 206.3267 | 5.2247 | 887 | 88.1533 | 1.45
2019-12-24 06:30:00 | 1.18 | 174.6327 | 1.3627 | 191.8933 | 1.7607 | 194.0267 | 2.5973 | 213.54 | 5.012 | 887 | 90.1067 | 1.9427
2019-12-24 06:45:00 | 1.724 | 163.6433 | 1.988 | 179.8267 | 2.358 | 192.08 | 2.624 | 208.82 | 4.8467 | 887 | 91.7467 | 1.8527
2019-12-24 07:00:00 | 1.8267 | 166.814 | 2.0973 | 183.3067 | 2.4667 | 188.5667 | 2.7753 | 212.1667 | 4.8007 | 887 | 91.9333 | 1.5047
2019-12-24 07:15:00 | 1.4927 | 166.112 | 1.718 | 182.54 | 2.1813 | 178.66 | 2.1893 | 207.4533 | 4.806 | 887 | 91.64 | 1.4447
2019-12-24 07:30:00 | 1.8187 | 165.9853 | 2.094 | 182.4 | 2.4473 | 178.5733 | 2.504 | 201.92 | 4.8093 | 887 | 91.5 | 1.9313
2019-12-24 07:45:00 | 2.158 | 168.6047 | 2.4887 | 185.28 | 2.7273 | 190.4267 | 3.1647 | 205.6067 | 4.832 | 887.4667 | 91.3467 | 2.1247
2019-12-24 08:00:00 | 2.1007 | 153.3607 | 2.4207 | 168.52 | 2.5167 | 185.7867 | 3.0547 | 197.2933 | 4.8967 | 888 | 91.32 | 2.0627
2019-12-24 08:15:00 | 1.752 | 164.792 | 2.0213 | 181.0867 | 2.304 | 195.7 | 2.8187 | 196.84 | 4.9567 | 888 | 91.3067 | 2.2
2019-12-24 08:30:00 | 1.8433 | 174.2073 | 2.1253 | 191.4267 | 2.45 | 202.7667 | 2.5967 | 204.54 | 5.136 | 888 | 90.62 | 3.4467
2019-12-24 08:45:00 | 2.0667 | 160.364 | 2.388 | 176.22 | 2.5933 | 194.6 | 2.7107 | 202.8667 | 5.176 | 888 | 90.6533 | 3.5973
2019-12-24 09:00:00 | 1.8733 | 159.4693 | 2.1693 | 175.2333 | 2.308 | 191.2867 | 2.498 | 201.76 | 5.1827 | 888 | 90.8 | 3.7907
2019-12-24 09:15:00 | 1.8353 | 161.4987 | 2.1213 | 177.4667 | 2.4687 | 186.2333 | 2.4387 | 194.7333 | 5.17 | 888 | 91.02 | 3.57
2019-12-24 09:30:00 | 1.9947 | 163.808 | 2.2953 | 180.0067 | 2.388 | 183.58 | 2.486 | 194.0133 | 5.2293 | 888.1333 | 90.8067 | 4.1653
2019-12-24 09:45:00 | 2.342 | 158.9267 | 2.6973 | 174.64 | 2.61 | 182.3067 | 2.636 | 197.1467 | 5.296 | 888.5333 | 90.8 | 4.2767
2019-12-24 10:00:00 | 2.7147 | 160.242 | 3.1273 | 176.0933 | 3.096 | 182.2 | 3.15 | 186.5267 | 5.2833 | 888.8 | 90.8933 | 3.786
2019-12-24 10:15:00 | 2.992 | 155.416 | 3.45 | 170.78 | 3.51 | 187.5467 | 3.664 | 188.1667 | 5.1887 | 888.5333 | 91.96 | 4.0533
2019-12-24 10:30:00 | 2.6747 | 142.4707 | 3.08 | 156.5533 | 3.0947 | 177.7267 | 3.6193 | 182.2067 | 5.2207 | 888.8 | 93.2 | 4.7113
2019-12-24 10:45:00 | 2.4773 | 153.8453 | 2.852 | 169.06 | 2.8447 | 169.2933 | 3.554 | 173.22 | 5.3147 | 889 | 93.12 | 4.75
2019-12-24 11:00:00 | 2.58 | 146.1067 | 2.966 | 160.5533 | 3.0387 | 171.5333 | 3.6093 | 170.9467 | 5.3573 | 889 | 92.9533 | 3.6053
2019-12-24 11:15:00 | 2.2387 | 161.762 | 2.58 | 177.7533 | 2.604 | 175.1 | 2.7847 | 174.7933 | 5.4493 | 889 | 92.6933 | 3.396
2019-12-24 11:30:00 | 2.2807 | 158.2673 | 2.62 | 173.9133 | 2.4433 | 199.6667 | 2.6053 | 191.1 | 5.476 | 889 | 92.9 | 3.1567
2019-12-24 11:45:00 | 2.2913 | 152.172 | 2.632 | 167.22 | 2.65 | 203 | 2.8627 | 183.9733 | 5.51 | 888.5333 | 92.8333 | 2.8567
2019-12-24 12:00:00 | 2.2693 | 153.9433 | 2.6093 | 169.1667 | 2.692 | 183.6933 | 2.8447 | 190.3067 | 5.6993 | 888 | 90.8533 | 2.4827
2019-12-24 12:15:00 | 2.066 | 152.3387 | 2.3787 | 167.4067 | 2.436 | 180.6733 | 2.712 | 191.6333 | 5.764 | 888 | 89.5333 | 2.0653
2019-12-24 12:30:00 | 2.1093 | 165.4973 | 2.4367 | 181.86 | 2.4227 | 195.4467 | 2.7193 | 180.3 | 5.8867 | 887.2 | 89.3933 | 1.7247
2019-12-24 12:45:00 | 2.3387 | 153.602 | 2.6947 | 168.7933 | 2.604 | 181.1333 | 2.7507 | 180.7867 | 5.934 | 887 | 89.98 | 1.4027
2019-12-24 13:00:00 | 2.1733 | 152.7927 | 2.498 | 167.8933 | 2.3767 | 176.8333 | 2.6367 | 184.1867 | 6.0127 | 887 | 89.0733 | 1.2667
2019-12-24 13:15:00 | 1.972 | 153.8267 | 2.2713 | 169.04 | 2.2387 | 183.9933 | 2.7887 | 181.0067 | 6.0327 | 886.5333 | 88.3 | 0.722
2019-12-24 13:30:00 | 2.2173 | 165.8507 | 2.554 | 182.2533 | 2.528 | 195.2867 | 2.5073 | 185.3867 | 6.0567 | 886 | 88.7067 | 0.87333
2019-12-24 13:45:00 | 2.26 | 169.4613 | 2.6047 | 186.22 | 2.636 | 183.9467 | 2.7013 | 174.92 | 6.0593 | 886 | 89.24 | 0.414
2019-12-24 14:00:00 | 2.19 | 153.504 | 2.5187 | 168.68 | 2.5833 | 182.6333 | 2.7487 | 185.2067 | 6.092 | 885.2 | 89.54 | 0.68333
2019-12-24 14:15:00 | 2.2067 | 156.7067 | 2.544 | 172.2 | 2.5587 | 184.8867 | 2.8 | 188.7933 | 6.116 | 885 | 89.6467 | 0.808
2019-12-24 14:30:00 | 2.4387 | 164.322 | 2.806 | 180.5667 | 2.7687 | 180.52 | 2.948 | 188.2333 | 6.108 | 885 | 89.6267 | 1.1273
2019-12-24 14:45:00 | 1.8173 | 158.8687 | 2.1007 | 174.58 | 1.998 | 193.8467 | 2.162 | 199.9 | 6.082 | 885 | 90.0867 | 1.11
2019-12-24 15:00:00 | 1.8693 | 161.7773 | 2.1573 | 177.7733 | 2.2553 | 187.5333 | 2.4867 | 196.7667 | 6.094 | 885 | 90.6 | 1.0327
2019-12-24 15:15:00 | 1.676 | 152.9673 | 1.9367 | 168.0867 | 2.0547 | 191.7 | 2.0653 | 198.04 | 6.0933 | 885 | 91.0533 | 1.2767
2019-12-24 15:30:00 | 1.024 | 136.77 | 1.182 | 150.2933 | 1.2267 | 178.72 | 1.2833 | 198.8867 | 6.074 | 885 | 91.4933 | 1.0307
2019-12-24 15:45:00 | 0.67533 | 153.1907 | 0.77733 | 168.34 | 0.722 | 196.8333 | 1.34 | 213.84 | 6.056 | 884.5333 | 91.6533 | 0.74
2019-12-24 16:00:00 | 0.67133 | 163.596 | 0.782 | 179.7733 | 0.74667 | 201.8733 | 1.0067 | 204.94 | 6.052 | 884 | 91.6 | 0.60667
2019-12-24 16:15:00 | 1.112 | 155.1727 | 1.2833 | 170.52 | 1.2047 | 186.2267 | 1.7267 | 189.8867 | 6.0007 | 884 | 92.0333 | 0.176
2019-12-24 16:30:00 | 1.28 | 170.2333 | 1.474 | 187.0667 | 1.8573 | 185.4533 | 2.2153 | 180.6467 | 5.9767 | 884 | 91.7733 | 0.12133
2019-12-24 16:45:00 | 1.8227 | 161.994 | 2.1053 | 178.0133 | 2.3373 | 189 | 2.484 | 187.5867 | 5.948 | 884 | 91.1467 | 0
2019-12-24 17:00:00 | 1.7047 | 163.3993 | 1.966 | 179.56 | 2.0847 | 192.7667 | 2.3327 | 188.6467 | 5.9033 | 884 | 90.96 | 0
2019-12-24 17:15:00 | 1.126 | 175.7447 | 1.298 | 193.1133 | 1.526 | 183.5867 | 2.032 | 181.04 | 5.882 | 884 | 90.9267 | 0
2019-12-24 17:30:00 | 1.2493 | 169.996 | 1.4367 | 186.8 | 1.924 | 177.6867 | 2.324 | 177.9667 | 5.8487 | 884 | 91.06 | 0
2019-12-24 17:45:00 | 1.1413 | 166.5427 | 1.314 | 183.0067 | 1.6273 | 195.16 | 2.0493 | 178.4467 | 5.8067 | 884 | 91.32 | 0
2019-12-24 18:00:00 | 0.92133 | 178.3893 | 1.06 | 196 | 1.6407 | 175.14 | 2.186 | 170.1267 | 5.7487 | 884 | 91.54 | 0
2019-12-24 18:15:00 | 0.62667 | 167.4687 | 0.72067 | 184.0267 | 1.154 | 177.4933 | 2.0587 | 167.4733 | 5.698 | 884 | 91.42 | 0
2019-12-24 18:30:00 | 0.856 | 180.09 | 0.99067 | 197.9 | 1.4833 | 175.4733 | 2.0647 | 167.3933 | 5.738 | 884 | 90.5667 | 0
2019-12-24 18:45:00 | 0.91333 | 178.05 | 1.0567 | 195.66 | 1.6767 | 172.3 | 2.0433 | 167.7133 | 5.7353 | 884 | 90.0933 | 0.40933
2019-12-24 19:00:00 | 1.0527 | 172.27 | 1.2193 | 189.3 | 1.7853 | 175.02 | 2.0893 | 170.44 | 5.744 | 884 | 89.92 | 0.256
2019-12-24 19:15:00 | 1.298 | 175.0093 | 1.5 | 192.32 | 1.9853 | 183.0267 | 2.2007 | 175.16 | 5.718 | 884 | 89.9667 | 0.11733
2019-12-24 19:30:00 | 0.91533 | 176.9 | 1.0587 | 194.4 | 1.5987 | 191.8 | 1.944 | 185.32 | 5.7493 | 884.8 | 89.5067 | 0
2019-12-24 19:45:00 | 0.644 | 176.9467 | 0.746 | 194.4467 | 1.212 | 191.9933 | 1.8 | 189.4733 | 5.74 | 885 | 89.5533 | 0.038571
2019-12-24 20:00:00 | 0.64533 | 176.92 | 0.74867 | 194.42 | 1.2567 | 181.92 | 1.6787 | 188.3 | 5.7507 | 885 | 89.6333 | 0.17667
2019-12-24 20:15:00 | 0.674 | 176.9 | 0.78 | 194.4 | 1.2313 | 181.9467 | 2.0513 | 188.2533 | 5.7553 | 885 | 89.6667 | 0.156
2019-12-24 20:30:00 | 0.164 | 176.9 | 0.194 | 194.4 | 0.312 | 182 | 1.174 | 188.2133 | 5.6587 | 885 | 90.4067 | 0.21533
2019-12-24 20:45:00 | 0.010667 | 176.9 | 0.012 | 194.4 | 0.012 | 181.9533 | 0.294 | 192.1933 | 5.4667 | 885 | 91.9267 | 0
2019-12-24 21:00:00 | 0.28533 | 283.8333 | 0.33533 | 311.9067 | 0.005333 | 197.46 | 0 | 195.6 | 5.2887 | 885 | 93.2733 | 0
2019-12-24 21:15:00 | 0.912 | 310.5 | 1.054 | 341.2 | 0.95867 | 158.266 | 0.25667 | 106.52 | 5.186 | 885 | 93.1067 | 0
2019-12-24 21:30:00 | 1.2627 | 251.4733 | 1.456 | 276.3367 | 1.878 | 16.1713 | 0.93133 | 62.5053 | 5.1407 | 885 | 93.02 | 0
2019-12-24 21:45:00 | 1.5267 | 61.6427 | 1.7587 | 67.7333 | 2.528 | 14.4893 | 2.1687 | 17.648 | 5.1093 | 885 | 92.1333 | 0
2019-12-24 22:00:00 | 1.8593 | 312.9873 | 2.14 | 343.9333 | 2.8673 | 13.3893 | 2.574 | 17.716 | 5.046 | 885 | 92.06 | 0
2019-12-24 22:15:00 | 1.962 | 110.4907 | 2.256 | 121.4133 | 2.9133 | 12.0973 | 2.7527 | 16.9493 | 5.054 | 885 | 91.9333 | 0
2019-12-24 22:30:00 | 1.844 | 149.8807 | 2.1267 | 164.7073 | 2.8287 | 9.9687 | 2.4133 | 14.1413 | 4.9873 | 885 | 92.6867 | 0
2019-12-24 22:45:00 | 2.0447 | 169.6187 | 2.3593 | 186.3927 | 2.7607 | 12.0167 | 2.464 | 14.1227 | 4.986 | 885 | 93.12 | 0
2019-12-24 23:00:00 | 2.0773 | 256.46 | 2.3907 | 281.8233 | 2.6047 | 4.8993 | 2.192 | 14.1193 | 4.982 | 885 | 93.78 | 0
2019-12-24 23:15:00 | 2.4533 | 271.414 | 2.824 | 298.2467 | 2.8827 | 15.346 | 2.84 | 10.2347 | 5.046 | 885 | 93.6 | 0
2019-12-24 23:30:00 | 2.704 | 257.18 | 3.116 | 282.61 | 3.1853 | 79.1193 | 3.2233 | 7.64 | 5.0413 | 885 | 94.2133 | 0
2019-12-24 23:45:00 | 2.5573 | 167.6473 | 2.95 | 184.2233 | 3.108 | 62.38 | 3.1073 | 0.864 | 4.9113 | 885 | 95.1333 | 0