## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-25 00:00:00 | 2.0679 | 300.5079 | 2.39 | 330.2214 | 3.2443 | 1.6679 | 3.3536 | 3.8936 | 4.76 | 885 | 96.22 | 0.03
2019-12-25 00:15:00 | 2.1627 | 205.376 | 2.492 | 225.68 | 4.1873 | 9.548 | 4.0007 | 5.9693 | 4.6033 | 884 | 96.3467 | 1.1753
2019-12-25 00:30:00 | 2.4933 | 113.2653 | 2.8767 | 124.4633 | 4.556 | 123.9527 | 4.386 | 17.604 | 4.5247 | 884 | 96.4 | 2.486
2019-12-25 00:45:00 | 2.4907 | 259.1193 | 2.8713 | 284.738 | 4.484 | 6.95 | 4.5373 | 15.8953 | 4.4987 | 884 | 96.1467 | 3.3347
2019-12-25 01:00:00 | 2.4967 | 154.7147 | 2.8727 | 170.012 | 4.5493 | 116.4227 | 4.4513 | 12.6387 | 4.464 | 884 | 96.24 | 3.5767
2019-12-25 01:15:00 | 2.6 | 127.1653 | 2.9967 | 139.7347 | 4.748 | 0.15 | 4.466 | 2.28 | 4.474 | 884 | 95.8333 | 3.6813
2019-12-25 01:30:00 | 2.5187 | 224.3713 | 2.8993 | 246.5533 | 4.6307 | 121.8813 | 4.4693 | 21.288 | 4.48 | 884 | 95.78 | 3.9493
2019-12-25 01:45:00 | 2.6487 | 216.998 | 3.0487 | 238.4553 | 4.8973 | 118.74 | 4.746 | 9.102 | 4.4527 | 884 | 95.8 | 5.0027
2019-12-25 02:00:00 | 2.6747 | 87.892 | 3.0813 | 96.5773 | 5.1027 | 236.8047 | 4.8027 | 7.67 | 4.438 | 884 | 95.86 | 4.7673
2019-12-25 02:15:00 | 2.612 | 261.696 | 3.0087 | 287.5773 | 4.596 | 22.1767 | 4.6853 | 14.712 | 4.3833 | 884 | 96.1467 | 4.188
2019-12-25 02:30:00 | 2.8407 | 201.3933 | 3.2633 | 221.3133 | 4.8267 | 7.4227 | 5.0653 | 21.3313 | 4.3567 | 883.2 | 96.1067 | 5.236
2019-12-25 02:45:00 | 2.862 | 124.2133 | 3.29 | 136.4933 | 4.906 | 12.086 | 4.9733 | 13.0167 | 4.3027 | 883 | 96.36 | 5.9627
2019-12-25 03:00:00 | 3.094 | 154.9947 | 3.562 | 170.32 | 4.948 | 115.442 | 4.7867 | 14.1187 | 4.25 | 883 | 96.66 | 7.5593
2019-12-25 03:15:00 | 2.892 | 197.398 | 3.3267 | 216.918 | 5.166 | 116.7833 | 5.238 | 6.1373 | 4.2307 | 883 | 96.8067 | 7.1787
2019-12-25 03:30:00 | 2.588 | 137.032 | 2.9787 | 150.5847 | 4.974 | 201.8193 | 4.8993 | 5.6447 | 4.21 | 883 | 96.9 | 6.4467
2019-12-25 03:45:00 | 2.7967 | 284.8587 | 3.2147 | 313.0333 | 5.2793 | 166.03 | 4.9593 | 0.95867 | 4.2247 | 883 | 96.8533 | 6.4553
2019-12-25 04:00:00 | 2.8513 | 143.0953 | 3.2853 | 157.242 | 4.8407 | 13.3067 | 4.3773 | 4.6213 | 4.2533 | 883 | 96.8133 | 7.4087
2019-12-25 04:15:00 | 3.332 | 206.8247 | 3.8353 | 227.2687 | 5.128 | 119.4507 | 4.9453 | 11.3653 | 4.2147 | 883 | 97.0467 | 9.3047
2019-12-25 04:30:00 | 3.344 | 77.432 | 3.8547 | 85.0893 | 5.49 | 14.1513 | 5.3333 | 14.0107 | 4.118 | 883 | 97.6667 | 10.5027
2019-12-25 04:45:00 | 3.596 | 146.4913 | 4.1373 | 160.9727 | 5.8013 | 304.212 | 5.5447 | 8.9093 | 4.046 | 883 | 97.9467 | 12.548
2019-12-25 05:00:00 | 3.5307 | 17.8287 | 4.07 | 19.588 | 5.2813 | 130.3633 | 5.5107 | 12.1793 | 4.0333 | 883 | 98.1867 | 14.2447
2019-12-25 05:15:00 | 3.5167 | 154.1973 | 4.042 | 169.4373 | 5.424 | 57.3913 | 5.63 | 10.388 | 4.0347 | 883 | 98.2533 | 16.692
2019-12-25 05:30:00 | 3.5827 | 224.5433 | 4.1207 | 246.7453 | 5.6147 | 121.72 | 5.664 | 18.418 | 3.994 | 883 | 98.32 | 17.8847
2019-12-25 05:45:00 | 3.8753 | 105.5647 | 4.4587 | 115.9993 | 5.8073 | 9.1 | 5.9413 | 10.4747 | 3.9527 | 883 | 98.6 | 18.8147
2019-12-25 06:00:00 | 4.0373 | 217.49 | 4.6433 | 238.9953 | 6.2013 | 5.25 | 6.344 | 11.472 | 3.922 | 883 | 98.7867 | 21.3227
2019-12-25 06:15:00 | 3.81 | 175.822 | 4.382 | 193.204 | 5.9647 | 94.2867 | 5.902 | 16.5713 | 3.8873 | 883 | 98.9467 | 21.8153
2019-12-25 06:30:00 | 4.1967 | 67.756 | 4.8347 | 74.454 | 6.3293 | 43.7113 | 6.434 | 7.652 | 3.864 | 883 | 99.1867 | 27.9647
2019-12-25 06:45:00 | 4.1847 | 74.1787 | 4.8233 | 81.5093 | 6.626 | 5.0173 | 6.6773 | 17.076 | 3.8487 | 883 | 99.4067 | 31.5667
2019-12-25 07:00:00 | 4.8147 | 150.264 | 5.544 | 165.1207 | 7.156 | 120.698 | 7.2353 | 16.2853 | 3.91 | 883 | 99.0333 | 34.3053
2019-12-25 07:15:00 | 4.69 | 223.372 | 5.3973 | 245.4607 | 6.604 | 116.556 | 6.7093 | 14.35 | 4.0027 | 883 | 98.18 | 33.9153
2019-12-25 07:30:00 | 4.52 | 131.698 | 5.2007 | 144.722 | 6.7507 | 21.02 | 6.718 | 25.3587 | 3.9993 | 883 | 98.0867 | 34.7613
2019-12-25 07:45:00 | 4.6593 | 285.7387 | 5.3613 | 314 | 7.526 | 3.7493 | 7.4467 | 21.1267 | 3.9793 | 883 | 98.2 | 37.014
2019-12-25 08:00:00 | 4.872 | 70.1007 | 5.6047 | 77.034 | 7.732 | 116.9353 | 7.91 | 176.884 | 4.0213 | 883.8 | 97.9733 | 37.2947
2019-12-25 08:15:00 | 5.0267 | 189.5853 | 5.7827 | 208.3267 | 7.6647 | 114.994 | 7.4327 | 9.5453 | 4.1073 | 884 | 97.4467 | 37.3427
2019-12-25 08:30:00 | 4.2573 | 27.034 | 4.898 | 29.6993 | 6.9213 | 19.4133 | 6.9573 | 22.3407 | 4.1493 | 884 | 97.1933 | 33.4873
2019-12-25 08:45:00 | 4.2747 | 19.936 | 4.9173 | 21.9027 | 7.0993 | 4.6453 | 6.9633 | 22.814 | 4.1613 | 884 | 97.1933 | 36.0767
2019-12-25 09:00:00 | 5.5993 | 14.0287 | 6.4473 | 15.4167 | 8.8967 | 16.6607 | 8.4307 | 10.5193 | 4.2613 | 884 | 96.5467 | 44.8467
2019-12-25 09:15:00 | 6.1547 | 202.334 | 7.0893 | 222.3407 | 9.9453 | 20.108 | 9.8707 | 20.382 | 4.3493 | 884 | 96.1933 | 46.1433
2019-12-25 09:30:00 | 6.8767 | 129.8867 | 7.9087 | 142.7247 | 11.346 | 18.3053 | 10.6507 | 16.7687 | 4.4607 | 884.8 | 95.4733 | 46.2367
2019-12-25 09:45:00 | 7.1927 | 129.2007 | 8.2767 | 141.9667 | 12.5447 | 20.9107 | 11.9707 | 10.7227 | 4.55 | 885 | 95.06 | 46.3887
2019-12-25 10:00:00 | 6.6087 | 100.4847 | 7.602 | 110.4187 | 11.7353 | 13.0073 | 11.7507 | 17.888 | 4.598 | 885.1333 | 95.02 | 41.32
2019-12-25 10:15:00 | 5.7893 | 207.4567 | 6.6653 | 227.9627 | 10.482 | 12.574 | 10.4307 | 23.876 | 4.648 | 886 | 95.2 | 37.3873
2019-12-25 10:30:00 | 5.8313 | 8.2887 | 6.704 | 9.104 | 10.778 | 19.1113 | 10.6147 | 19.7733 | 4.7827 | 886 | 94.5467 | 36.272
2019-12-25 10:45:00 | 6.4 | 177.2253 | 7.3647 | 194.75 | 11.318 | 13.774 | 11.212 | 11.0847 | 4.9433 | 886 | 93.8133 | 38.8133
2019-12-25 11:00:00 | 6.1447 | 162.194 | 7.066 | 178.2307 | 11.2373 | 10.1947 | 11.1913 | 14.9327 | 5.158 | 886 | 93.0267 | 39.3927
2019-12-25 11:15:00 | 6.2653 | 139.8627 | 7.2033 | 153.6947 | 11.4927 | 8.0927 | 11.362 | 14.866 | 5.316 | 886 | 92.4667 | 35.62
2019-12-25 11:30:00 | 5.7647 | 232.0233 | 6.6293 | 254.9627 | 10.1913 | 16.3147 | 10.2307 | 18.6433 | 5.388 | 886.8 | 92.2 | 31.686
2019-12-25 11:45:00 | 4.832 | 279.8807 | 5.562 | 307.56 | 8.7247 | 15.112 | 8.8367 | 21.106 | 5.3647 | 887 | 92.1533 | 27.8
2019-12-25 12:00:00 | 4.3293 | 155.0253 | 4.986 | 170.354 | 7.8027 | 13.6867 | 7.7293 | 17.5807 | 5.4213 | 886.8667 | 91.9533 | 26.7187
2019-12-25 12:15:00 | 4.6787 | 213.21 | 5.3827 | 234.288 | 8.626 | 12.31 | 8.6393 | 21.6487 | 5.5293 | 886 | 91.5867 | 26.522
2019-12-25 12:30:00 | 4.532 | 269.692 | 5.2173 | 296.3613 | 8.3273 | 16.0587 | 8.416 | 22.1313 | 5.7613 | 886 | 90.66 | 27.9853
2019-12-25 12:45:00 | 4.7873 | 134.7113 | 5.5087 | 148.0267 | 8.6733 | 12.4173 | 8.2827 | 25.7327 | 5.8227 | 886 | 89.6933 | 28.3933
2019-12-25 13:00:00 | 4.2347 | 178.416 | 4.878 | 196.0567 | 7.5713 | 16.898 | 7.304 | 25.8467 | 5.898 | 886 | 88.9733 | 29.0593
2019-12-25 13:15:00 | 4.3487 | 206.7873 | 5.0027 | 227.2367 | 7.1733 | 15.3187 | 7.2207 | 23.1527 | 6.0367 | 886 | 88.0333 | 30.8273
2019-12-25 13:30:00 | 4.606 | 59.4387 | 5.296 | 65.3187 | 7.894 | 122.4487 | 7.594 | 14.7193 | 6.1227 | 886 | 87.1467 | 32.0527
2019-12-25 13:45:00 | 4.7847 | 179.9933 | 5.5073 | 197.7867 | 8.4133 | 123.462 | 8.1913 | 12.2953 | 6.3053 | 886 | 86.1533 | 35.7573
2019-12-25 14:00:00 | 4.8807 | 72.6213 | 5.6133 | 79.798 | 8.5453 | 13.1353 | 8.35 | 22.69 | 6.4613 | 886 | 85.5267 | 36.6847
2019-12-25 14:15:00 | 4.4893 | 42.5293 | 5.164 | 46.7327 | 7.8273 | 125.878 | 7.5207 | 26.126 | 6.5393 | 886 | 85.34 | 35.5753
2019-12-25 14:30:00 | 4.3293 | 25.6927 | 4.98 | 28.2313 | 7.3073 | 29.7167 | 7.2367 | 28.592 | 6.506 | 886 | 85.36 | 33.648
2019-12-25 14:45:00 | 4.4753 | 229.2653 | 5.1533 | 251.934 | 8.0653 | 25.5953 | 8.062 | 29.522 | 6.5073 | 886 | 85.4933 | 30.172
2019-12-25 15:00:00 | 5.5493 | 228.2307 | 6.3887 | 250.7967 | 9.8553 | 26.3967 | 9.7347 | 28.786 | 6.5413 | 886 | 85.1533 | 33.004
2019-12-25 15:15:00 | 5.4673 | 286.95 | 6.292 | 315.32 | 9.916 | 17.6773 | 10.1607 | 28.76 | 6.582 | 886 | 84.2867 | 35.6327
2019-12-25 15:30:00 | 5.802 | 239.982 | 6.6833 | 263.7133 | 10.388 | 19.4613 | 10.808 | 28.7453 | 6.6833 | 886 | 82.7867 | 39.8413
2019-12-25 15:45:00 | 6.26 | 162.2147 | 7.2053 | 178.2533 | 11.076 | 20.0693 | 11.5853 | 27.4113 | 6.8247 | 886 | 81.32 | 43.5107
2019-12-25 16:00:00 | 6.2373 | 245.368 | 7.1773 | 269.6333 | 10.9227 | 20.2047 | 11.108 | 21.8213 | 6.8773 | 886.1333 | 80.56 | 48.006
2019-12-25 16:15:00 | 6.7013 | 232.0267 | 7.71 | 254.97 | 11.54 | 25.2673 | 12.1213 | 25.7907 | 6.796 | 887 | 80.5067 | 50.9067
2019-12-25 16:30:00 | 6.9893 | 65.1 | 8.0427 | 71.5267 | 12.11 | 13.3647 | 12.582 | 18.3787 | 6.7047 | 887 | 79.5347 | 53.0033
2019-12-25 16:45:00 | 7.6593 | 207.968 | 8.8147 | 228.534 | 13.1147 | 27.1307 | 13.876 | 31.72 | 6.67 | 887 | 75.8867 | 53.494
2019-12-25 17:00:00 | 9.238 | 196.642 | 10.6313 | 216.0827 | 15.5927 | 28.652 | 15.972 | 32.3493 | 6.284 | 887.1333 | 73.73 | 52.6287
2019-12-25 17:15:00 | 9.5587 | 256.294 | 11 | 281.6393 | 16.2647 | 24.3447 | 16.7013 | 32.8453 | 5.7947 | 888 | 69.1407 | 56.99
2019-12-25 17:30:00 | 8.816 | 273.1527 | 10.142 | 300.164 | 14.796 | 18.704 | 15.808 | 36.8047 | 5.32 | 888.1333 | 67.0687 | 57.5727
2019-12-25 17:45:00 | 10.494 | 210.386 | 12.0707 | 231.19 | 17.7927 | 18.52 | 17.8693 | 25.8627 | 4.9513 | 889 | 65.346 | 57.5653
2019-12-25 18:00:00 | 10.208 | 122.95 | 11.7493 | 135.1113 | 17.706 | 14.38 | 17.8 | 22.808 | 4.588 | 889 | 64.826 | 58.5607
2019-12-25 18:15:00 | 10.25 | 263.8673 | 11.79 | 289.9587 | 17.6227 | 24.6213 | 18.0313 | 36.2993 | 4.2933 | 889 | 63.384 | 58.8453
2019-12-25 18:30:00 | 10.6027 | 249.886 | 12.1953 | 274.5887 | 18.306 | 18.4753 | 18.676 | 25.556 | 4.1293 | 889.1333 | 61.6133 | 59.024
2019-12-25 18:45:00 | 10.554 | 13.5787 | 12.1447 | 14.9187 | 18.0707 | 19.1553 | 18.6707 | 29.5493 | 3.9853 | 889.5333 | 60.2187 | 57.152
2019-12-25 19:00:00 | 10.3853 | 203.506 | 11.9533 | 223.6313 | 18.3247 | 13.6307 | 18.4447 | 23.938 | 3.8153 | 889.8 | 59.928 | 55.718
2019-12-25 19:15:00 | 10.2547 | 243.7753 | 11.7967 | 267.8747 | 18.3047 | 14.098 | 17.818 | 16.3653 | 3.658 | 890 | 59.264 | 56.3093
2019-12-25 19:30:00 | 10.064 | 218.696 | 11.576 | 240.32 | 17.9273 | 9.7553 | 17.6333 | 18.658 | 3.5093 | 890.1333 | 58.632 | 59.528
2019-12-25 19:45:00 | 10.026 | 142.542 | 11.5273 | 156.634 | 17.4887 | 16.738 | 17.39 | 21.992 | 3.37 | 891 | 58.16 | 58.252
2019-12-25 20:00:00 | 9.1773 | 238.506 | 10.5573 | 262.096 | 15.972 | 13.832 | 16.0347 | 25.3213 | 3.3147 | 891 | 56.6987 | 58.09
2019-12-25 20:15:00 | 9.2813 | 223.3387 | 10.6747 | 245.4167 | 16.0127 | 15.5893 | 16.1893 | 25.0093 | 3.3027 | 891.4667 | 54.53 | 58.1513
2019-12-25 20:30:00 | 9.4487 | 271.27 | 10.8747 | 298.0933 | 16.4587 | 16.6353 | 16.7867 | 21.9147 | 3.2993 | 892 | 52.3967 | 57.9573
2019-12-25 20:45:00 | 9.764 | 92.4487 | 11.2313 | 101.5907 | 16.9813 | 14.452 | 17.5253 | 24.5293 | 3.252 | 892 | 50.2873 | 56.366
2019-12-25 21:00:00 | 9.1947 | 145.31 | 10.5853 | 159.6693 | 15.8387 | 15.6373 | 16.9513 | 24.488 | 3.208 | 892 | 48.18 | 57.2267
2019-12-25 21:15:00 | 9.468 | 61.054 | 10.8933 | 67.086 | 16.298 | 20.3533 | 17.3487 | 33.5553 | 3.1773 | 892 | 45.4793 | 54.8207
2019-12-25 21:30:00 | 11.072 | 74.028 | 12.7453 | 81.3493 | 19.004 | 21.5733 | 19.6387 | 29.7713 | 3.1973 | 892 | 42.404 | 55.3227
2019-12-25 21:45:00 | 10.6793 | 218.2133 | 12.2853 | 239.792 | 18.4 | 16.526 | 18.664 | 30.2333 | 3.098 | 892 | 41.0327 | 52.042
2019-12-25 22:00:00 | 10.1667 | 111.2453 | 11.7007 | 122.2447 | 17.424 | 15.8167 | 17.894 | 23.0967 | 2.9787 | 892.1333 | 39.8147 | 50.2173
2019-12-25 22:15:00 | 9.4987 | 167.5553 | 10.9293 | 184.124 | 16.5087 | 19.4493 | 16.528 | 23.8753 | 2.8847 | 893 | 39.486 | 48.8927
2019-12-25 22:30:00 | 9.4947 | 197.7947 | 10.9253 | 217.356 | 16.592 | 17.2813 | 16.5853 | 18.5253 | 2.8047 | 893 | 38.6307 | 51.9087
2019-12-25 22:45:00 | 10.3733 | 195.3413 | 11.938 | 214.6533 | 18.2333 | 15.2093 | 18.182 | 26.1933 | 2.7293 | 893 | 38.5 | 53.5093
2019-12-25 23:00:00 | 9.446 | 181.7633 | 10.8753 | 199.738 | 16.4413 | 15.5 | 16.456 | 32.784 | 2.6693 | 893 | 38.5287 | 52.04
2019-12-25 23:15:00 | 9.1373 | 170.1287 | 10.5127 | 186.952 | 15.704 | 10.8853 | 16.106 | 25.0913 | 2.64 | 893.4667 | 38.714 | 52.774
2019-12-25 23:30:00 | 8.9827 | 88.146 | 10.33 | 96.864 | 15.4413 | 22.5193 | 15.5053 | 23.6913 | 2.5767 | 894 | 38.4067 | 51.3827
2019-12-25 23:45:00 | 9.1373 | 170.0807 | 10.5187 | 186.896 | 15.772 | 19.2813 | 16.0767 | 24.2927 | 2.492 | 894 | 38.846 | 54.0693