## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-26 00:00:00 | 8.8071 | 140.5743 | 10.1329 | 154.475 | 15.1893 | 17.9607 | 15.1671 | 24.1621 | 2.4693 | 894 | 39.317 | 54.3286
2019-12-26 00:15:00 | 10.1293 | 147.9107 | 11.656 | 162.5333 | 17.4313 | 14.5353 | 17.0413 | 19.1693 | 2.4393 | 894 | 39.24 | 56.4373
2019-12-26 00:30:00 | 9.3013 | 286.894 | 10.702 | 315.2667 | 15.7933 | 15.9927 | 15.9013 | 24.7353 | 2.3593 | 894 | 39.2767 | 52.6527
2019-12-26 00:45:00 | 9.0547 | 221.0407 | 10.4193 | 242.8947 | 15.578 | 16.66 | 15.362 | 17.1787 | 2.13 | 894 | 40.1087 | 52.038
2019-12-26 01:00:00 | 9.4107 | 126.9733 | 10.8247 | 139.532 | 15.9787 | 22.812 | 15.71 | 30.368 | 2.0433 | 894 | 39.8447 | 46.184
2019-12-26 01:15:00 | 8.6727 | 267.384 | 9.9773 | 293.8267 | 14.846 | 17.774 | 14.7 | 25.6927 | 1.8987 | 894 | 39.9553 | 45.3147
2019-12-26 01:30:00 | 8.1873 | 168.8167 | 9.4187 | 185.504 | 14.0513 | 6.0673 | 13.8333 | 27.0273 | 1.7753 | 894 | 39.8807 | 45.86
2019-12-26 01:45:00 | 8.5373 | 232.608 | 9.824 | 255.6107 | 14.2527 | 10.1053 | 13.9293 | 18.4233 | 1.8133 | 894.4667 | 39.038 | 47.576
2019-12-26 02:00:00 | 8.3693 | 265.6913 | 9.628 | 291.9687 | 14.6373 | 24.7473 | 14.7473 | 27.076 | 1.6653 | 894.3333 | 39.7447 | 48.596
2019-12-26 02:15:00 | 7.2593 | 121.9733 | 8.3467 | 134.0313 | 12.4673 | 13.7353 | 12.5033 | 18.2833 | 1.6687 | 895 | 39.1867 | 43.7873
2019-12-26 02:30:00 | 7.552 | 197.192 | 8.6893 | 216.6847 | 13.0407 | 12.8513 | 13.038 | 15.3527 | 1.6773 | 895 | 39.2873 | 42.3913
2019-12-26 02:45:00 | 8.0973 | 126.7753 | 9.3247 | 139.3047 | 13.8453 | 14.6727 | 13.8673 | 20.964 | 1.6527 | 895 | 38.8067 | 42.4267
2019-12-26 03:00:00 | 6.8613 | 216.6513 | 7.8953 | 238.0773 | 11.9147 | 19.276 | 12.0753 | 23.1713 | 1.57 | 895 | 38.6667 | 43.7307
2019-12-26 03:15:00 | 6.8613 | 128.21 | 7.8947 | 140.89 | 11.8367 | 13.898 | 11.6287 | 16.9173 | 1.458 | 895 | 38.5407 | 44.7647
2019-12-26 03:30:00 | 7.392 | 154.7033 | 8.506 | 170.0033 | 12.7127 | 9.5753 | 12.472 | 128.2653 | 1.4067 | 895 | 38.504 | 44.53
2019-12-26 03:45:00 | 7.024 | 98.7827 | 8.0853 | 108.5467 | 12.154 | 18.1133 | 12.2753 | 27.408 | 1.3393 | 895 | 38.442 | 44.5687
2019-12-26 04:00:00 | 7.6687 | 98.8513 | 8.8167 | 108.6267 | 13.1247 | 12.8773 | 13.5473 | 28.8413 | 1.2753 | 895 | 38.1433 | 43.6187
2019-12-26 04:15:00 | 7.2067 | 243.3653 | 8.292 | 267.4267 | 12.4073 | 15.67 | 12.2627 | 24.432 | 1.204 | 895 | 37.8187 | 45.95
2019-12-26 04:30:00 | 7.2627 | 285.468 | 8.356 | 313.6933 | 12.472 | 11.2147 | 12.298 | 23.5893 | 1.106 | 895 | 37.6787 | 48.3147
2019-12-26 04:45:00 | 7.2607 | 132.5327 | 8.3493 | 145.6407 | 12.7567 | 11.0413 | 12.5067 | 18.7987 | 0.926 | 895 | 37.992 | 49.406
2019-12-26 05:00:00 | 6.714 | 59.406 | 7.7193 | 65.276 | 11.6647 | 11.4327 | 11.776 | 26.2413 | 0.78067 | 895 | 38.636 | 48.78
2019-12-26 05:15:00 | 6.4527 | 153.98 | 7.4293 | 169.2 | 11.3347 | 17.89 | 11.5873 | 29.7087 | 0.68533 | 895 | 38.7373 | 44.948
2019-12-26 05:30:00 | 6.08 | 190.7553 | 6.9947 | 209.62 | 10.7013 | 19.5653 | 11.166 | 33.178 | 0.61267 | 895 | 39.2993 | 45.5633
2019-12-26 05:45:00 | 5.872 | 134.346 | 6.7593 | 147.6273 | 10.116 | 17.92 | 10.414 | 34.9353 | 0.49533 | 895 | 39.496 | 47.8547
2019-12-26 06:00:00 | 6.4673 | 136.288 | 7.4407 | 149.7593 | 11.2367 | 12.296 | 11.7773 | 30.98 | 0.43267 | 895 | 39.452 | 47.538
2019-12-26 06:15:00 | 6.742 | 268.4793 | 7.7613 | 295.0267 | 11.8007 | 23.978 | 12.4213 | 33.7913 | 0.28533 | 895 | 39.604 | 47.8967
2019-12-26 06:30:00 | 7.19 | 254.9027 | 8.278 | 280.1133 | 12.6753 | 21.3287 | 13.064 | 26.1727 | 0.15067 | 895 | 40.2647 | 46.22
2019-12-26 06:45:00 | 7.2773 | 267.1493 | 8.3733 | 293.5667 | 12.8347 | 23.5327 | 13.1553 | 34.9693 | 0.08 | 895 | 40.0733 | 45.3473
2019-12-26 07:00:00 | 7.2753 | 278.0033 | 8.3647 | 305.5 | 12.7473 | 27.6653 | 13.176 | 28.256 | 0.066667 | 895 | 40.1413 | 46.8407
2019-12-26 07:15:00 | 7.3453 | 208.8647 | 8.452 | 229.5133 | 12.866 | 24.6333 | 13.0607 | 29.474 | 0 | 895 | 40.1767 | 50.1733
2019-12-26 07:30:00 | 7.1467 | 250.7613 | 8.224 | 275.5533 | 12.5753 | 18.2533 | 13.026 | 26.582 | 0.053333 | 895 | 39.394 | 49.6267
2019-12-26 07:45:00 | 7.09 | 210.176 | 8.1553 | 230.9573 | 12.4033 | 16.428 | 13.096 | 31.4213 | -0.042 | 895 | 39.5207 | 50.9053
2019-12-26 08:00:00 | 7.2227 | 230.8427 | 8.308 | 253.6627 | 12.6913 | 15.7227 | 13.3613 | 34.4033 | -0.25933 | 895 | 40.9307 | 52.044
2019-12-26 08:15:00 | 7.6227 | 157.85 | 8.766 | 173.45 | 13.278 | 23.6767 | 13.7387 | 29.0633 | -0.26 | 895 | 40.054 | 51.9953
2019-12-26 08:30:00 | 7.8907 | 157.5647 | 9.0827 | 173.1413 | 13.962 | 20.0847 | 14.8413 | 26.7067 | -0.15333 | 895 | 39.5 | 53.2293
2019-12-26 08:45:00 | 7.9907 | 125.8113 | 9.1967 | 138.2533 | 14.0867 | 21.9867 | 14.4167 | 23.876 | -0.006 | 895 | 39.312 | 53.4607
2019-12-26 09:00:00 | 7.6353 | 226.6353 | 8.788 | 249.0433 | 13.424 | 14.114 | 13.4853 | 22.7053 | 0.318 | 895.1333 | 38.4373 | 47.6147
2019-12-26 09:15:00 | 7.0013 | 287.5793 | 8.0527 | 316.02 | 12.654 | 10.4033 | 12.36 | 19.162 | 0.888 | 896 | 37.8567 | 44.3187
2019-12-26 09:30:00 | 7.1907 | 73.3487 | 8.2693 | 84.4233 | 13.15 | 5.5067 | 12.788 | 14.4613 | 1.312 | 896.8 | 37.514 | 43.7753
2019-12-26 09:45:00 | 6.8067 | 147.586 | 7.834 | 162.1713 | 12.2827 | 11.1153 | 12.1927 | 19.408 | 1.4107 | 897 | 37.1607 | 43.3953
2019-12-26 10:00:00 | 7.0207 | 177.4973 | 8.0813 | 195.092 | 12.4407 | 10.1947 | 12.3407 | 23.414 | 2.3353 | 897.1333 | 35.6307 | 45.71
2019-12-26 10:15:00 | 6.8027 | 295.926 | 7.822 | 325.1867 | 11.93 | 17.9833 | 12.0627 | 26.8893 | 3.1573 | 898 | 33.8727 | 46.7467
2019-12-26 10:30:00 | 6.6233 | 142.182 | 7.6193 | 156.234 | 11.606 | 19.1713 | 11.834 | 30.34 | 2.7427 | 898 | 34.3673 | 44.044
2019-12-26 10:45:00 | 6.9673 | 122.256 | 8.0133 | 134.346 | 12.0453 | 24.0113 | 11.6653 | 27.144 | 3.284 | 898 | 34.0633 | 44.13
2019-12-26 11:00:00 | 6.52 | 131.3793 | 7.4973 | 144.3667 | 11.44 | 22.59 | 11.2413 | 25.416 | 4.0693 | 898 | 32.922 | 44.338
2019-12-26 11:15:00 | 7.0727 | 230.538 | 8.1373 | 253.3307 | 12.3407 | 18.4647 | 12.4087 | 24.166 | 4.29 | 898 | 32.378 | 44.896
2019-12-26 11:30:00 | 7.3667 | 152.4927 | 8.478 | 167.5627 | 12.6007 | 23.5627 | 12.4513 | 30.6187 | 4.0667 | 898 | 31.912 | 44.76
2019-12-26 11:45:00 | 6.5387 | 137.3073 | 7.5227 | 150.8813 | 11.5607 | 19.9307 | 11.5693 | 26.576 | 4.7987 | 898 | 31.6867 | 35.606
2019-12-26 12:00:00 | 5.7847 | 203.9693 | 6.658 | 224.138 | 9.7727 | 22.2987 | 9.4853 | 26.5427 | 4.8433 | 898 | 31.2273 | 26.5633
2019-12-26 12:15:00 | 5.398 | 174.9113 | 6.214 | 192.2007 | 8.9373 | 22.34 | 8.9 | 31.168 | 4.8147 | 897.5333 | 31.4047 | 23.93
2019-12-26 12:30:00 | 5.0333 | 219.592 | 5.7927 | 241.31 | 8.6027 | 21.284 | 8.674 | 31.8267 | 5.198 | 897 | 30.9347 | 25.1373
2019-12-26 12:45:00 | 5.562 | 178.1867 | 6.402 | 195.8 | 9.6807 | 14.1987 | 9.524 | 27.5453 | 5.5313 | 897 | 30.492 | 29.4233
2019-12-26 13:00:00 | 5.6893 | 176.376 | 6.5447 | 193.8087 | 10.1507 | 16.9813 | 9.992 | 28.4347 | 5.6907 | 896.2 | 30.3687 | 27.854
2019-12-26 13:15:00 | 5.3533 | 74.6147 | 6.1627 | 81.992 | 9.4927 | 15.6053 | 9.3547 | 24.8887 | 6.34 | 896 | 30.01 | 20.2907
2019-12-26 13:30:00 | 4.74 | 183.6647 | 5.4593 | 201.8333 | 8.4373 | 12.5827 | 8.3927 | 20.6767 | 6.5893 | 896.8 | 28.898 | 17.9327
2019-12-26 13:45:00 | 4.064 | 39.4427 | 4.6793 | 43.3373 | 7.3713 | 21.872 | 7.398 | 26.712 | 6.998 | 896.5333 | 28.288 | 15.516
2019-12-26 14:00:00 | 4.128 | 116.9 | 4.7547 | 128.454 | 7.3527 | 17.9853 | 7.2087 | 18.7547 | 7.526 | 896 | 27.238 | 13.46
2019-12-26 14:15:00 | 4.014 | 21.8567 | 4.626 | 24.0093 | 7.3007 | 12.296 | 7.1927 | 18.1013 | 7.5253 | 896 | 27.228 | 15.3947
2019-12-26 14:30:00 | 3.9527 | 80.3307 | 4.5507 | 88.2727 | 7.006 | 12.1513 | 6.9487 | 18.596 | 7.6407 | 896 | 27.1047 | 15.11
2019-12-26 14:45:00 | 4.218 | 157.6907 | 4.8507 | 173.2833 | 7.6433 | 14.7833 | 7.4187 | 41.4707 | 7.8773 | 895.5333 | 27.16 | 14.6693
2019-12-26 15:00:00 | 4.404 | 178.6133 | 5.07 | 196.2767 | 7.9127 | 14.3707 | 7.578 | 15.776 | 8.088 | 895 | 26.8727 | 14.6147
2019-12-26 15:15:00 | 4.7633 | 153.484 | 5.4793 | 168.656 | 7.92 | 15.3847 | 7.632 | 11.504 | 7.7693 | 895 | 26.3973 | 14.886
2019-12-26 15:30:00 | 4.4533 | 87.0127 | 5.124 | 95.6147 | 7.6067 | 21.7967 | 7.264 | 14.276 | 8.0173 | 895 | 26.2833 | 13.7653
2019-12-26 15:45:00 | 4.0467 | 92.2407 | 4.6567 | 120.8333 | 6.79 | 11.8827 | 6.5867 | 9.5633 | 7.912 | 895 | 26.2067 | 10.5193
2019-12-26 16:00:00 | 3.3773 | 89.9327 | 3.8867 | 98.824 | 5.674 | 5.04 | 5.5473 | 10.208 | 7.5633 | 895 | 27.0187 | 10.9367
2019-12-26 16:15:00 | 3.5567 | 137.514 | 4.088 | 129.1473 | 5.954 | 6.896 | 5.766 | 12.6713 | 7.7227 | 895 | 27.278 | 10.0073
2019-12-26 16:30:00 | 3.83 | 109.6533 | 4.41 | 120.4947 | 6.1973 | 9.462 | 5.8127 | 119.282 | 7.566 | 895 | 26.9613 | 8.58
2019-12-26 16:45:00 | 3.6827 | 170.7067 | 4.2407 | 187.584 | 6.2247 | 70.2767 | 5.9993 | 298.84 | 7.0353 | 895 | 28.074 | 7.094
2019-12-26 17:00:00 | 3.3593 | 106.216 | 3.8693 | 116.7133 | 5.5147 | 70.9947 | 5.602 | 198.8293 | 6.54 | 895 | 28.6933 | 4.5113
2019-12-26 17:15:00 | 3.164 | 217.8567 | 3.6433 | 239.3947 | 5.3213 | 192.9887 | 5.1553 | 124.1913 | 5.8913 | 894.5333 | 29.618 | 4.2327
2019-12-26 17:30:00 | 3.01 | 106.8547 | 3.464 | 117.4227 | 4.97 | 172.0173 | 5.0227 | 8.9393 | 5.498 | 894 | 29.962 | 3.7067
2019-12-26 17:45:00 | 2.9973 | 120.6087 | 3.452 | 132.5307 | 4.7427 | 125.1567 | 4.7667 | 9.7453 | 5.248 | 894 | 30.102 | 4.5413
2019-12-26 18:00:00 | 2.746 | 161.96 | 3.16 | 177.9793 | 4.9 | 4.5627 | 4.958 | 9.9713 | 4.8853 | 893.8667 | 31.3307 | 5.3887
2019-12-26 18:15:00 | 2.8273 | 279.2033 | 3.256 | 306.8067 | 5.1027 | 186.1633 | 4.8573 | 8.2713 | 4.3447 | 893 | 32.5853 | 6.2213
2019-12-26 18:30:00 | 2.6333 | 259.3307 | 3.032 | 281.4867 | 4.9287 | 54.3613 | 5.0247 | 14.6033 | 4.2687 | 893 | 31.7887 | 4.842
2019-12-26 18:45:00 | 2.1773 | 299.638 | 2.5053 | 329.2667 | 3.8127 | 29.6367 | 4.0153 | 12.18 | 4.2467 | 893 | 31.1933 | 3.7827
2019-12-26 19:00:00 | 2.0407 | 276.1833 | 2.3467 | 303.4867 | 3.9387 | 7.2113 | 4.1047 | 8.9267 | 4.1473 | 893 | 31.2567 | 4.666
2019-12-26 19:15:00 | 1.9947 | 291.8673 | 2.2947 | 320.72 | 3.8927 | 8.9807 | 4.2427 | 8.6393 | 3.708 | 893 | 32.6073 | 4.192
2019-12-26 19:30:00 | 1.9213 | 309.2273 | 2.216 | 339.8067 | 3.7807 | 10.5767 | 3.9313 | 12.322 | 3.4913 | 893.1333 | 33.792 | 2.3033
2019-12-26 19:45:00 | 2.0133 | 236.0633 | 2.3227 | 259.4093 | 3.768 | 15.054 | 3.7967 | 22.1407 | 3.7 | 894 | 33.5553 | 1.3707
2019-12-26 20:00:00 | 2.0067 | 162.4807 | 2.3147 | 178.5473 | 3.6927 | 17.5447 | 3.9553 | 37.974 | 3.932 | 894 | 33.1427 | 0.56
2019-12-26 20:15:00 | 1.9593 | 197.974 | 2.2607 | 217.55 | 3.7693 | 25.2573 | 3.7407 | 29.618 | 3.666 | 894 | 34.618 | 0.97533
2019-12-26 20:30:00 | 1.9827 | 204.8093 | 2.2907 | 225.06 | 3.7273 | 19.1133 | 4.0567 | 25.2627 | 3.2307 | 894 | 37.5173 | 1.246
2019-12-26 20:45:00 | 2.1313 | 305.1587 | 2.454 | 335.34 | 3.3573 | 11.146 | 3.9807 | 23.1433 | 2.8967 | 894 | 38.8167 | 1.6667
2019-12-26 21:00:00 | 2.5093 | 316.0967 | 2.8873 | 347.3533 | 4.062 | 8.1853 | 4.638 | 15.2233 | 2.5947 | 894 | 40.9093 | 3.0373
2019-12-26 21:15:00 | 2.242 | 242.0427 | 2.58 | 265.9767 | 4.228 | 13.746 | 4.8213 | 13.4447 | 2.3313 | 894 | 41.69 | 3.998
2019-12-26 21:30:00 | 2.2413 | 184.5193 | 2.578 | 202.7647 | 4.26 | 15.666 | 4.5147 | 10.0453 | 2.244 | 894 | 41.556 | 3.378
2019-12-26 21:45:00 | 2.5087 | 4.3153 | 2.8853 | 4.734 | 3.9393 | 8.636 | 4.438 | 10.1067 | 2.3627 | 894 | 41.5067 | 2.828
2019-12-26 22:00:00 | 2.4767 | 253.2627 | 2.848 | 278.3087 | 3.802 | 5.884 | 4.3107 | 9.946 | 2.274 | 894 | 42.4867 | 2.2673
2019-12-26 22:15:00 | 2.8033 | 199.01 | 3.226 | 218.69 | 4.6347 | 6.6133 | 4.516 | 10.19 | 2.1273 | 894 | 42.9227 | 2.2767
2019-12-26 22:30:00 | 2.684 | 306.1287 | 3.0873 | 336.4 | 4.112 | 6.366 | 4.28 | 4.1633 | 2.1173 | 894 | 42.778 | 1.8573
2019-12-26 22:45:00 | 2.4153 | 310.3993 | 2.7807 | 341.1 | 3.3113 | 2.644 | 3.9333 | 8.4173 | 1.966 | 894 | 44.0693 | 0.36533
2019-12-26 23:00:00 | 2.5667 | 310.206 | 2.958 | 340.8867 | 3.104 | 23.872 | 3.7687 | 13.4433 | 2.0293 | 894 | 43.966 | 0
2019-12-26 23:15:00 | 3.1627 | 318.8033 | 3.6367 | 350.3267 | 3.756 | 8.3353 | 3.924 | 14.698 | 2.384 | 894 | 42.4207 | 0
2019-12-26 23:30:00 | 3.232 | 158.812 | 3.72 | 174.516 | 4.2487 | 15.6427 | 4.2313 | 13.814 | 2.1133 | 894 | 43.6447 | 2.1413
2019-12-26 23:45:00 | 3.158 | 276.8947 | 3.6353 | 303.1307 | 4.852 | 14.966 | 5.204 | 20.866 | 1.75 | 894 | 45.7327 | 5.354