## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-27 00:00:00 | 2.9321 | 309.9021 | 3.3743 | 340.5429 | 5.4957 | 14.7771 | 5.8993 | 23.9457 | 1.1207 | 893.9286 | 49.19 | 7.155
2019-12-27 00:15:00 | 2.932 | 305.0987 | 3.3787 | 335.2733 | 5.3973 | 8.1713 | 5.848 | 19.8673 | 0.588 | 893 | 52.35 | 6.6627
2019-12-27 00:30:00 | 3.1153 | 308.2373 | 3.5867 | 338.72 | 4.9 | 8.382 | 5.4787 | 19.1293 | 0.57467 | 893 | 52.52 | 6.0467
2019-12-27 00:45:00 | 3.1453 | 189.3667 | 3.626 | 208.0867 | 5.1993 | 13.37 | 5.7427 | 20.892 | 0.63933 | 893 | 52.2933 | 7.2793
2019-12-27 01:00:00 | 2.982 | 199.6047 | 3.432 | 219.3367 | 5.2893 | 10.6887 | 6.0393 | 20.554 | 0.646 | 893 | 52.394 | 8.808
2019-12-27 01:15:00 | 2.6867 | 298.3333 | 3.0953 | 327.84 | 4.8473 | 6.5693 | 5.8407 | 15.792 | 0.416 | 893 | 52.5673 | 8.67
2019-12-27 01:30:00 | 2.9193 | 299.2087 | 3.3593 | 328.7933 | 5.168 | 4.514 | 5.9733 | 20.5753 | 0.206 | 892.2 | 54.4573 | 9.3733
2019-12-27 01:45:00 | 3.126 | 215.5093 | 3.6013 | 236.8153 | 5.5453 | 7.2093 | 6.3247 | 22.2687 | -0.15933 | 892 | 56.8787 | 10.444
2019-12-27 02:00:00 | 3.2667 | 162.9827 | 3.7613 | 179.098 | 5.3647 | 6.3973 | 6.2667 | 20.1907 | -0.154 | 892 | 55.9193 | 9.978
2019-12-27 02:15:00 | 3.778 | 160.888 | 4.3487 | 176.798 | 5.3653 | 192.914 | 5.7307 | 13.22 | 0.33333 | 892 | 53.1013 | 7.62
2019-12-27 02:30:00 | 4.1373 | 277.6647 | 4.7693 | 305.1253 | 5.4193 | 50.5773 | 5.65 | 15.0053 | 0.72733 | 892 | 50.8273 | 5.788
2019-12-27 02:45:00 | 3.7773 | 319.1147 | 4.3507 | 350.6733 | 5.002 | 25.2773 | 5.0433 | 11.7353 | 0.722 | 892 | 50.4133 | 4.6513
2019-12-27 03:00:00 | 3.8073 | 156.7967 | 4.3813 | 172.2953 | 5.2853 | 10.188 | 4.8687 | 16.2573 | 0.62867 | 892 | 51.384 | 5.376
2019-12-27 03:15:00 | 4.006 | 180.3127 | 4.6093 | 198.1447 | 5.3173 | 4.5307 | 5.2107 | 5.8767 | 0.23133 | 892 | 53.642 | 5.5727
2019-12-27 03:30:00 | 4.1913 | 318.3167 | 4.8213 | 349.7933 | 5.4553 | 6.292 | 5.6987 | 14.7907 | 0.03 | 892 | 54.8613 | 7.028
2019-12-27 03:45:00 | 4.078 | 308.71 | 4.694 | 339.2333 | 5.6707 | 76.568 | 6.1447 | 17.922 | -0.124 | 892 | 55.9953 | 9.2613
2019-12-27 04:00:00 | 3.8553 | 316.3273 | 4.4333 | 347.6133 | 5.4587 | 55.414 | 5.7747 | 15.2833 | -0.25 | 892 | 56.754 | 9.4393
2019-12-27 04:15:00 | 4.4233 | 316.2847 | 5.0913 | 347.56 | 5.8713 | 10.0473 | 5.96 | 18.004 | -0.12133 | 892 | 55.9173 | 7.7747
2019-12-27 04:30:00 | 4.3813 | 270.992 | 5.044 | 297.7867 | 5.5667 | 13.3013 | 5.726 | 18.9427 | -0.037333 | 892 | 55.3533 | 6.57
2019-12-27 04:45:00 | 4.1287 | 87.4213 | 4.7527 | 96.0607 | 5.5487 | 14.5973 | 5.476 | 17.3773 | -0.18333 | 892 | 56.0633 | 6.472
2019-12-27 05:00:00 | 3.984 | 266.3447 | 4.5807 | 292.676 | 5.668 | 11.7373 | 5.452 | 13.276 | -0.44267 | 891.2 | 57.8233 | 5.5707
2019-12-27 05:15:00 | 4.442 | 209.098 | 5.1093 | 229.7733 | 5.7733 | 4.9413 | 5.9793 | 17.1573 | -0.44733 | 891 | 57.304 | 5.2167
2019-12-27 05:30:00 | 4.3067 | 204.924 | 4.9527 | 225.1867 | 5.848 | 12.9873 | 5.894 | 18.5693 | -0.58667 | 891 | 58.5213 | 5.1147
2019-12-27 05:45:00 | 4.5233 | 245.348 | 5.206 | 269.6093 | 5.9153 | 9.4793 | 5.6147 | 19.5147 | -0.68533 | 891 | 59.1767 | 5.3787
2019-12-27 06:00:00 | 4.2347 | 281.4233 | 4.8753 | 309.2507 | 5.9987 | 6.2667 | 5.9627 | 15.1667 | -0.81467 | 891 | 59.9873 | 7.4093
2019-12-27 06:15:00 | 4.1467 | 194.942 | 4.7793 | 214.22 | 5.598 | 11.9113 | 5.978 | 15.596 | -0.85267 | 891 | 60.2987 | 7.1427
2019-12-27 06:30:00 | 4.312 | 296.658 | 4.9673 | 325.9933 | 5.5093 | 83.5287 | 5.662 | 22.0407 | -1.028 | 891 | 61.328 | 6.8287
2019-12-27 06:45:00 | 4.224 | 309.03 | 4.86 | 339.5867 | 5.7547 | 80.7313 | 5.7767 | 18.0033 | -0.95867 | 891 | 61.1007 | 9.7393
2019-12-27 07:00:00 | 3.9787 | 198.8787 | 4.5833 | 218.5467 | 5.3707 | 10.094 | 5.8793 | 13.7553 | -0.97267 | 891 | 61.6013 | 9.5173
2019-12-27 07:15:00 | 3.8533 | 154.08 | 4.4367 | 169.3147 | 5.3313 | 6.514 | 5.5 | 9.8167 | -0.90267 | 891 | 61.4047 | 8.254
2019-12-27 07:30:00 | 4.0953 | 267.3733 | 4.7107 | 293.816 | 5.6667 | 6.1533 | 5.79 | 12.514 | -1.0513 | 891 | 63.0407 | 9.8327
2019-12-27 07:45:00 | 4.1653 | 215.598 | 4.798 | 236.9167 | 5.6127 | 6.5327 | 6.0433 | 13.92 | -0.97267 | 891 | 62.2933 | 11.0133
2019-12-27 08:00:00 | 4.1947 | 303.54 | 4.8347 | 333.56 | 5.6313 | 28.0887 | 6.1707 | 9.968 | -0.97733 | 891 | 62.106 | 8.902
2019-12-27 08:15:00 | 4.4753 | 139.7573 | 5.1527 | 153.58 | 5.7053 | 8.6627 | 6.2973 | 18.6993 | -0.95933 | 891 | 62.1227 | 7.0567
2019-12-27 08:30:00 | 4.436 | 318.924 | 5.1047 | 349.8067 | 5.5407 | 7.3453 | 5.88 | 12.4247 | -0.92533 | 891.1333 | 61.8773 | 4.6147
2019-12-27 08:45:00 | 4.2233 | 312.1073 | 4.8593 | 342.9667 | 5.0527 | 28.69 | 5.534 | 11.3573 | -0.984 | 892 | 62.774 | 2.7187
2019-12-27 09:00:00 | 3.9567 | 319.116 | 4.5513 | 350.6733 | 4.9873 | 3.1587 | 5.4 | 11.426 | -0.89067 | 892 | 62.7813 | 2.3587
2019-12-27 09:15:00 | 4.0373 | 256.4007 | 4.6493 | 281.758 | 4.6773 | 120.5253 | 5.0613 | 10.1087 | -0.80533 | 892 | 62.9487 | 1.2513
2019-12-27 09:30:00 | 3.468 | 106.6807 | 3.9933 | 117.2273 | 4.2707 | 5.9333 | 4.458 | 13.2247 | -0.264 | 892.1333 | 60.6667 | 0.30933
2019-12-27 09:45:00 | 3.166 | 47.2907 | 3.6433 | 51.958 | 3.8387 | 10.2807 | 4.0133 | 14.1313 | -0.10933 | 893 | 60.6953 | 0
2019-12-27 10:00:00 | 3.29 | 36.99 | 3.7853 | 40.648 | 3.8433 | 8.81 | 3.9707 | 18.1147 | -0.15 | 893 | 61.7907 | 0
2019-12-27 10:15:00 | 3.4373 | 183.0027 | 3.9533 | 201.0953 | 4.0847 | 14.524 | 4.2933 | 16.8047 | -0.108 | 893 | 61.7567 | 0
2019-12-27 10:30:00 | 3.3433 | 147.1087 | 3.8507 | 161.6533 | 3.8933 | 128.406 | 4.1567 | 22.282 | 0.28133 | 893.8 | 59.3467 | 0
2019-12-27 10:45:00 | 3.218 | 12.1013 | 3.7093 | 13.2993 | 3.6027 | 17.4707 | 3.3427 | 17.7153 | 0.65733 | 894 | 55.94 | 0
2019-12-27 11:00:00 | 2.7793 | 3.2193 | 3.2033 | 3.5293 | 2.9433 | 14.0867 | 2.4867 | 81.4247 | 0.96067 | 894 | 52.3773 | 0
2019-12-27 11:15:00 | 2.14 | 10.9347 | 2.464 | 12.0053 | 1.9273 | 5.6887 | 1.256 | 114.6013 | 1.16 | 894 | 52.7653 | 0
2019-12-27 11:30:00 | 1.4347 | 4.1927 | 1.6587 | 4.604 | 0.83 | 186.0893 | 0.6 | 232.7333 | 1.8127 | 894 | 53.8947 | 0
2019-12-27 11:45:00 | 2.0587 | 173.3187 | 2.3727 | 190.4567 | 2.064 | 156.6 | 2.106 | 192.9467 | 3.194 | 894 | 50.402 | 0.17067
2019-12-27 12:00:00 | 3.426 | 147.4887 | 3.9467 | 162.0733 | 3.584 | 169.24 | 3.7073 | 192.6867 | 4.6007 | 893.2 | 47 | 0.92533
2019-12-27 12:15:00 | 3.8333 | 152.3347 | 4.4193 | 167.3933 | 4.0253 | 180.7467 | 4.0427 | 182.88 | 4.8453 | 893 | 45.2207 | 1.7507
2019-12-27 12:30:00 | 3.7933 | 147.1293 | 4.3653 | 160.9667 | 4.0373 | 181.14 | 3.9787 | 183.9067 | 5.3353 | 893 | 44.348 | 2.9807
2019-12-27 12:45:00 | 4.2327 | 153.016 | 4.8713 | 168.1467 | 4.6553 | 186.4933 | 4.64 | 192.6333 | 5.376 | 893 | 42.9427 | 4.672
2019-12-27 13:00:00 | 4.3287 | 163.3627 | 4.9847 | 177.8533 | 4.8927 | 197.8933 | 4.9433 | 190.0467 | 5.6973 | 893 | 40.742 | 5.778
2019-12-27 13:15:00 | 4.2293 | 161.6367 | 4.8673 | 177.6133 | 4.69 | 180.4533 | 4.862 | 167.8133 | 5.7207 | 893 | 40.1073 | 5.6813
2019-12-27 13:30:00 | 4.2733 | 161.642 | 4.916 | 177.6267 | 4.6733 | 184.3933 | 4.852 | 178.4533 | 5.634 | 892.8667 | 41.368 | 5.0773
2019-12-27 13:45:00 | 4.3893 | 154.6913 | 5.048 | 169.9933 | 4.83 | 183.2267 | 4.9887 | 186.46 | 5.9933 | 892 | 43.956 | 5.226
2019-12-27 14:00:00 | 4.1167 | 153.808 | 4.7413 | 169.02 | 4.5593 | 194.88 | 4.71 | 185.38 | 6.5907 | 892 | 46.0373 | 6.1373
2019-12-27 14:15:00 | 4.4487 | 149.1987 | 5.122 | 163.9533 | 5.126 | 186.9933 | 5.3567 | 197.76 | 7.0787 | 892 | 46.2007 | 6.89
2019-12-27 14:30:00 | 4.4347 | 135.0293 | 5.1107 | 148.38 | 5.0787 | 172.34 | 5.234 | 188.9867 | 7.0607 | 891.2 | 47.176 | 7.5753
2019-12-27 14:45:00 | 4.1427 | 147.292 | 4.77 | 161.8533 | 4.818 | 174.2467 | 4.8847 | 175.2 | 6.964 | 891 | 46.5347 | 7.0307
2019-12-27 15:00:00 | 4.444 | 140.508 | 5.114 | 154.4 | 5.0993 | 165.3667 | 5.4587 | 178.5333 | 7.108 | 891 | 45.97 | 6.3247
2019-12-27 15:15:00 | 4.194 | 138.566 | 4.828 | 152.2667 | 4.776 | 156.76 | 5.016 | 193.56 | 7.1953 | 891 | 46.3907 | 6.9553
2019-12-27 15:30:00 | 4.42 | 151.0453 | 5.0913 | 165.9733 | 5.0847 | 161.9733 | 5.2947 | 186.9533 | 7.252 | 891 | 47.636 | 7.292
2019-12-27 15:45:00 | 4.1733 | 142.8133 | 4.802 | 156.9267 | 4.886 | 163.5133 | 5.2847 | 178.2533 | 7.22 | 891 | 48.0267 | 6.316
2019-12-27 16:00:00 | 3.6613 | 157.1747 | 4.2147 | 172.7133 | 4.2633 | 183.7267 | 4.5287 | 182.3 | 7.2813 | 890.8667 | 47.814 | 4.9593
2019-12-27 16:15:00 | 3.7827 | 145.352 | 4.35 | 159.7267 | 4.2847 | 181.3533 | 4.576 | 198.78 | 7.1733 | 890 | 48.3207 | 3.8267
2019-12-27 16:30:00 | 3.56 | 153.9147 | 4.0933 | 169.1333 | 4.232 | 195.88 | 4.4447 | 204.36 | 7.0853 | 890 | 48.772 | 3.408
2019-12-27 16:45:00 | 3.328 | 144.0073 | 3.828 | 158.2467 | 3.8053 | 198.4667 | 4.08 | 207.4333 | 6.816 | 890 | 49.1773 | 3.0707
2019-12-27 17:00:00 | 3.2787 | 159.5133 | 3.7707 | 175.28 | 3.8807 | 193.36 | 4.2927 | 194.1 | 6.4567 | 890 | 50.1987 | 3.84
2019-12-27 17:15:00 | 2.956 | 163.3967 | 3.4013 | 179.56 | 3.4993 | 183.12 | 3.7633 | 196.6333 | 6.1047 | 890 | 51.6413 | 4.896
2019-12-27 17:30:00 | 3.062 | 156.8713 | 3.528 | 172.38 | 3.652 | 165.0867 | 3.9067 | 176.4333 | 5.8267 | 890 | 53.0767 | 5.5587
2019-12-27 17:45:00 | 2.77 | 158.5773 | 3.188 | 174.26 | 3.2893 | 177.22 | 3.7613 | 178.9467 | 5.4827 | 889.5333 | 54.8173 | 5.6027
2019-12-27 18:00:00 | 2.5713 | 159.474 | 2.962 | 175.24 | 3.0433 | 180.2 | 3.6847 | 170.3867 | 5.2307 | 889 | 55.7073 | 5.948
2019-12-27 18:15:00 | 2.72 | 162.5393 | 3.1327 | 178.6067 | 3.1987 | 194.6867 | 3.5687 | 183.8133 | 5.008 | 889 | 56.4147 | 6.076
2019-12-27 18:30:00 | 3.1067 | 166.796 | 3.5807 | 183.2867 | 3.7293 | 197.38 | 4.198 | 202.7333 | 4.8913 | 889.1333 | 57.1047 | 7.934
2019-12-27 18:45:00 | 3.2227 | 167.7053 | 3.7113 | 184.2867 | 3.774 | 178.9133 | 4.4327 | 189.2867 | 4.826 | 890 | 57.1647 | 7.5387
2019-12-27 19:00:00 | 2.8753 | 161.3073 | 3.3087 | 177.26 | 3.5573 | 185.88 | 4.1647 | 191.9067 | 4.5227 | 890 | 58.6893 | 6.9193
2019-12-27 19:15:00 | 3.5113 | 172.2347 | 4.0407 | 189.2667 | 4.43 | 209.5467 | 4.3027 | 211.36 | 4.3 | 890 | 60.1367 | 8.2
2019-12-27 19:30:00 | 3.6313 | 172.9647 | 4.1833 | 190.0667 | 4.5727 | 213.76 | 4.596 | 206.38 | 4.1827 | 890 | 60.4733 | 11.752
2019-12-27 19:45:00 | 3.5667 | 175.83 | 4.112 | 193.2133 | 4.5987 | 216.0667 | 4.898 | 209.4733 | 4.0493 | 890 | 60.692 | 12.86
2019-12-27 20:00:00 | 3.0987 | 185.4727 | 3.564 | 203.8133 | 4.1953 | 220.76 | 4.3987 | 212.8067 | 4.0227 | 890 | 61.076 | 11.4667
2019-12-27 20:15:00 | 3.1413 | 173.38 | 3.6127 | 190.52 | 4.24 | 217.1133 | 4.6567 | 219.4067 | 3.8087 | 890 | 62.6293 | 14.7627
2019-12-27 20:30:00 | 3.0127 | 176.7647 | 3.4687 | 194.24 | 4.1347 | 223.12 | 4.4687 | 220.96 | 3.5933 | 890 | 65.2413 | 12.336
2019-12-27 20:45:00 | 2.5047 | 168.5713 | 2.886 | 185.24 | 3.348 | 214.34 | 3.6387 | 214.64 | 3.516 | 890 | 66.598 | 9.7173
2019-12-27 21:00:00 | 2.846 | 166.292 | 3.2807 | 182.7333 | 3.7973 | 222.58 | 4.2007 | 221.6267 | 3.4153 | 890 | 68.146 | 9.5353
2019-12-27 21:15:00 | 2.936 | 170.5627 | 3.38 | 187.4333 | 4.084 | 227.1067 | 4.1533 | 219.18 | 3.4013 | 890 | 68.794 | 7.3827
2019-12-27 21:30:00 | 3.06 | 178.1693 | 3.5247 | 195.7867 | 4.1627 | 220.3467 | 3.908 | 207.4 | 3.1407 | 890 | 70.942 | 5.7467
2019-12-27 21:45:00 | 3.0413 | 174.312 | 3.5013 | 191.5467 | 3.994 | 217.8867 | 3.7833 | 213.52 | 3.0693 | 890 | 71.526 | 7.7693
2019-12-27 22:00:00 | 3.4533 | 174.3527 | 3.976 | 191.5933 | 4.5093 | 215.4067 | 4.6113 | 219.08 | 2.958 | 890 | 72.7547 | 9.3553
2019-12-27 22:15:00 | 3.106 | 168.66 | 3.572 | 185.34 | 4.2693 | 218.0867 | 4.0367 | 211.42 | 2.9467 | 890 | 73.5127 | 7.824
2019-12-27 22:30:00 | 2.3973 | 171.3473 | 2.7593 | 188.28 | 3.3313 | 212.8733 | 3.0767 | 207.6467 | 2.8173 | 890.6667 | 74.422 | 5.242
2019-12-27 22:45:00 | 2.2907 | 178.692 | 2.6353 | 196.3533 | 2.9767 | 204.6 | 3.048 | 196.0533 | 2.6873 | 890 | 75.2347 | 3.168
2019-12-27 23:00:00 | 2.042 | 162.3947 | 2.3493 | 175.18 | 2.518 | 189.8067 | 2.8473 | 193 | 2.746 | 890 | 75.024 | 1.5607
2019-12-27 23:15:00 | 2.2513 | 169.8527 | 2.594 | 186.0667 | 2.6473 | 187.5867 | 3.0947 | 190.0733 | 2.6953 | 890 | 75.4547 | 1.55
2019-12-27 23:30:00 | 2.3433 | 157.2107 | 2.7013 | 172.7533 | 2.76 | 180.66 | 3.3613 | 187.1467 | 2.58 | 890 | 76.1853 | 1.4013
2019-12-27 23:45:00 | 1.8587 | 154.4253 | 2.14 | 168.7333 | 2.4673 | 162.4533 | 2.9007 | 178.5133 | 2.4867 | 889.5333 | 76.3113 | 0.21133