## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-28 00:00:00 | 1.8114 | 151.3493 | 2.0929 | 167.3929 | 2.305 | 165.1643 | 2.5393 | 178.5857 | 2.5286 | 889 | 75.254 | 0.16923
2019-12-28 00:15:00 | 2.6173 | 162.1593 | 3.016 | 178.1867 | 3.3293 | 183.58 | 3.0093 | 188.5067 | 2.6587 | 889 | 73.9453 | 0.81
2019-12-28 00:30:00 | 2.6147 | 154.5233 | 3.0087 | 169.7933 | 3.1393 | 185.98 | 3.0273 | 189.5 | 2.832 | 889 | 71.9067 | 0.49333
2019-12-28 00:45:00 | 2.224 | 164.91 | 2.56 | 181.2133 | 2.7307 | 185.2933 | 3.0707 | 188.8933 | 3.034 | 889 | 70.012 | 0.35333
2019-12-28 01:00:00 | 2.0447 | 167.252 | 2.3513 | 183.7933 | 2.5653 | 196.0333 | 2.9407 | 191.8733 | 3.0347 | 889 | 69.2093 | 0.18933
2019-12-28 01:15:00 | 2.064 | 154.5547 | 2.3767 | 169.84 | 2.5393 | 193.8667 | 2.8587 | 189.4267 | 3.0067 | 889 | 69.128 | 0.10067
2019-12-28 01:30:00 | 1.6267 | 163.452 | 1.878 | 179.6133 | 2.1813 | 195.2333 | 2.6593 | 187.2667 | 2.87 | 888.8667 | 69.1147 | 0
2019-12-28 01:45:00 | 1.4767 | 144.7933 | 1.7053 | 159.1067 | 2.098 | 178.0733 | 2.6033 | 179.3133 | 2.7153 | 888 | 70.1167 | 0.031333
2019-12-28 02:00:00 | 1.956 | 177.3507 | 2.25 | 194.8867 | 2.548 | 199.0733 | 2.7107 | 194.2867 | 2.7507 | 888.8 | 70.0633 | 0
2019-12-28 02:15:00 | 0.924 | 183.196 | 1.07 | 201.3067 | 1.318 | 203.8933 | 1.7153 | 199.5133 | 2.6507 | 888.5333 | 69.6353 | 0
2019-12-28 02:30:00 | 1.884 | 172.0087 | 2.1753 | 189.0133 | 2.2673 | 192.52 | 2.538 | 189.72 | 2.7367 | 888.1333 | 69.5673 | 0
2019-12-28 02:45:00 | 1.612 | 176.3987 | 1.86 | 193.84 | 2.2467 | 208.52 | 2.3927 | 199.86 | 2.6993 | 888.5333 | 70.7667 | 0
2019-12-28 03:00:00 | 1.6767 | 170.6007 | 1.926 | 187.4733 | 2.1967 | 196.56 | 2.5233 | 201.48 | 2.6887 | 888 | 72.13 | 0
2019-12-28 03:15:00 | 2.1373 | 171.0087 | 2.4633 | 187.92 | 2.7073 | 194.0933 | 3.0987 | 194.2133 | 2.664 | 888 | 73.186 | 1.0007
2019-12-28 03:30:00 | 2.404 | 159.882 | 2.7687 | 175.6867 | 3.0987 | 198.9533 | 3.3387 | 204.1667 | 2.5773 | 888 | 74.466 | 1.2933
2019-12-28 03:45:00 | 2.0887 | 153.6913 | 2.4033 | 168.8867 | 2.6027 | 193.9333 | 3.1527 | 199.0533 | 2.4773 | 888 | 74.9933 | 1.2507
2019-12-28 04:00:00 | 2.104 | 169.5547 | 2.4213 | 186.32 | 2.8033 | 203.1467 | 3.4787 | 210.3467 | 2.324 | 888 | 76.026 | 1.4653
2019-12-28 04:15:00 | 2.104 | 169.5547 | 2.4213 | 186.32 | 2.8033 | 203.1467 | 3.4787 | 210.3467 | 2.324 | 888 | 76.026 | 1.4653
2019-12-28 04:30:00 | 2.104 | 169.5547 | 2.4213 | 186.32 | 2.8033 | 203.1467 | 3.4787 | 210.3467 | 2.324 | 888 | 76.026 | 1.4653
2019-12-28 04:45:00 | 2.104 | 169.5547 | 2.4213 | 186.32 | 2.8033 | 203.1467 | 3.4787 | 210.3467 | 2.324 | 888 | 76.026 | 1.4653
2019-12-28 05:00:00 | 2.104 | 169.5547 | 2.4213 | 186.32 | 2.8033 | 203.1467 | 3.4787 | 210.3467 | 2.324 | 888 | 76.026 | 1.4653
2019-12-28 05:15:00 | 1.216 | 187.132 | 1.411 | 205.63 | 1.695 | 198.33 | 2.078 | 180.12 | 2.226 | 886 | 71.317 | 0
2019-12-28 05:30:00 | 1.216 | 187.132 | 1.411 | 205.63 | 1.695 | 198.33 | 2.078 | 180.12 | 2.226 | 886 | 71.317 | 0
2019-12-28 05:45:00 | 1.216 | 187.132 | 1.411 | 205.63 | 1.695 | 198.33 | 2.078 | 180.12 | 2.226 | 886 | 71.317 | 0
2019-12-28 06:00:00 | 1.216 | 187.132 | 1.411 | 205.63 | 1.695 | 198.33 | 2.078 | 180.12 | 2.226 | 886 | 71.317 | 0
2019-12-28 06:15:00 | 1.216 | 187.132 | 1.411 | 205.63 | 1.695 | 198.33 | 2.078 | 180.12 | 2.226 | 886 | 71.317 | 0
2019-12-28 06:30:00 | 0.39267 | 259.4913 | 0.45467 | 285.1467 | 0.30667 | 216.9067 | 0.348 | 182.2067 | 2.188 | 886 | 72.3027 | 0
2019-12-28 06:45:00 | 0.342 | 268.8293 | 0.39867 | 295.4133 | 0.25867 | 185.4333 | 1.3767 | 153.1667 | 2.2607 | 886 | 71.4547 | 0
2019-12-28 07:00:00 | 0.69467 | 169.0233 | 0.806 | 185.7333 | 1.2393 | 155.2067 | 1.9373 | 154.5 | 2.4247 | 886 | 70.3967 | 0
2019-12-28 07:15:00 | 0.46867 | 173.59 | 0.54267 | 190.76 | 0.78867 | 174.52 | 1.4913 | 183.3133 | 2.2487 | 886 | 71.3607 | 0
2019-12-28 07:30:00 | 0.44267 | 177.63 | 0.51267 | 195.2 | 0.876 | 190.4667 | 1.6807 | 186.0067 | 1.884 | 886 | 73.0027 | 0
2019-12-28 07:45:00 | 0.70933 | 177.468 | 0.82067 | 195.02 | 1.3767 | 202.54 | 1.666 | 183.3 | 1.9653 | 886 | 72.0513 | 0.43067
2019-12-28 08:00:00 | 1.2233 | 164.8493 | 1.4113 | 181.1533 | 1.6947 | 185.9333 | 2.402 | 196.5333 | 1.82 | 886 | 73.548 | 0.82867
2019-12-28 08:15:00 | 1.6307 | 154.8713 | 1.8787 | 170.1867 | 2.462 | 193.56 | 2.986 | 199.0667 | 1.548 | 886.4667 | 76.17 | 1.54
2019-12-28 08:30:00 | 2.1373 | 150.884 | 2.464 | 165.8 | 2.776 | 188.08 | 3.074 | 205.58 | 1.4633 | 887 | 78.044 | 1.18
2019-12-28 08:45:00 | 1.634 | 144.7307 | 1.88 | 159.04 | 2.3507 | 200.3 | 2.912 | 196.88 | 1.4733 | 887 | 79.2687 | 0.44667
2019-12-28 09:00:00 | 1.3173 | 174.538 | 1.5167 | 191.8 | 2.0647 | 202.1667 | 2.632 | 196.18 | 1.552 | 887 | 79.506 | 0
2019-12-28 09:15:00 | 1.1007 | 180.4487 | 1.27 | 198.2933 | 1.9473 | 215.9533 | 2.2133 | 188.9667 | 1.9053 | 887 | 77.8267 | 0.118
2019-12-28 09:30:00 | 1.786 | 193.8067 | 2.0587 | 209.7867 | 2.3033 | 196.5933 | 2.906 | 177.6933 | 2.3207 | 887.1333 | 75.1333 | 0.038667
2019-12-28 09:45:00 | 2.07 | 174.602 | 2.3887 | 191.8667 | 2.4933 | 184.8067 | 3.034 | 179.4933 | 2.5533 | 888 | 74.6787 | 0
2019-12-28 10:00:00 | 1.982 | 174.1673 | 2.282 | 191.3867 | 2.3653 | 199.5533 | 2.7647 | 193.66 | 2.6767 | 888 | 74.1433 | 0
2019-12-28 10:15:00 | 1.79 | 151.9413 | 2.064 | 166.9667 | 2.0707 | 194.1133 | 2.6567 | 196.12 | 2.808 | 888 | 74.7393 | 0
2019-12-28 10:30:00 | 2.254 | 148.636 | 2.6033 | 163.3333 | 2.4653 | 195.1267 | 2.798 | 195.0467 | 2.7847 | 888 | 74.9687 | 0
2019-12-28 10:45:00 | 2.166 | 159.4073 | 2.4933 | 175.1667 | 2.4747 | 194.8667 | 2.5693 | 186.0933 | 3.048 | 888.4667 | 73.0187 | 0
2019-12-28 11:00:00 | 2.1813 | 156.3273 | 2.5107 | 171.7867 | 2.3587 | 199.7867 | 2.3053 | 197.3333 | 3.378 | 889 | 71.396 | 0
2019-12-28 11:15:00 | 2.1433 | 142.4667 | 2.4653 | 156.5533 | 2.268 | 186.5267 | 1.9973 | 196.7333 | 3.76 | 889 | 69.1773 | 0
2019-12-28 11:30:00 | 2.2107 | 154.526 | 2.5427 | 169.8 | 2.3147 | 177.0133 | 2.1327 | 185.1533 | 3.7773 | 888.8667 | 69.2813 | 0
2019-12-28 11:45:00 | 2.622 | 151.0733 | 3.0147 | 166.0133 | 2.7553 | 181.1733 | 2.5687 | 190.4667 | 4.08 | 888 | 69.692 | 0
2019-12-28 12:00:00 | 2.5113 | 160.0813 | 2.8887 | 175.9133 | 2.576 | 184.2867 | 2.4727 | 202.2733 | 4.1813 | 888 | 69.8607 | 0
2019-12-28 12:15:00 | 2.982 | 145.502 | 3.4313 | 159.8867 | 3.1553 | 188.4667 | 2.8953 | 211.52 | 4.6133 | 888 | 66.362 | 0.012
2019-12-28 12:30:00 | 3.16 | 147.7793 | 3.6433 | 162.26 | 3.42 | 194.8133 | 3.222 | 208.5 | 4.7133 | 888 | 66.408 | 0.614
2019-12-28 12:45:00 | 2.91 | 146.632 | 3.3527 | 161.1267 | 3.1253 | 197.12 | 3.298 | 214.6467 | 4.3487 | 888 | 67.7353 | 1.6827
2019-12-28 13:00:00 | 2.8587 | 146.36 | 3.2927 | 160.8333 | 3.3573 | 216.4067 | 3.3953 | 216.24 | 4.4813 | 887.2 | 65.1447 | 1.5693
2019-12-28 13:15:00 | 2.556 | 177.4987 | 2.9427 | 195.0467 | 2.9033 | 223.34 | 2.7513 | 210.0067 | 4.4207 | 887 | 64.736 | 1.1053
2019-12-28 13:30:00 | 2.434 | 161.9333 | 2.8027 | 177.9467 | 2.838 | 194.0067 | 2.8707 | 218.04 | 4.4627 | 887 | 64.552 | 0.604
2019-12-28 13:45:00 | 2.256 | 150.1147 | 2.5993 | 164.96 | 2.504 | 163.4 | 2.612 | 208.1533 | 4.4413 | 886.5333 | 66.11 | 0.23533
2019-12-28 14:00:00 | 2.6747 | 155.408 | 3.0853 | 170.7733 | 2.9767 | 175.8933 | 2.8393 | 198.42 | 4.5333 | 886 | 66.43 | 0.38667
2019-12-28 14:15:00 | 2.376 | 136.8813 | 2.7327 | 150.4133 | 2.5953 | 183.2533 | 2.4 | 202.9867 | 4.4427 | 886 | 67.4727 | 0.16867
2019-12-28 14:30:00 | 2.6067 | 156.2907 | 3.0013 | 171.32 | 2.7793 | 171.6333 | 2.4813 | 195.48 | 4.4607 | 886 | 66.9547 | 0.20733
2019-12-28 14:45:00 | 2.7533 | 157.9693 | 3.1687 | 173.5867 | 2.9133 | 187.64 | 2.8127 | 199.82 | 4.508 | 886 | 64.074 | 0.238
2019-12-28 15:00:00 | 2.4493 | 156.1507 | 2.82 | 171.1933 | 2.836 | 182.0133 | 2.838 | 199.36 | 4.9407 | 885.8667 | 60.6633 | 0.396
2019-12-28 15:15:00 | 2.766 | 157.4353 | 3.1813 | 173 | 3.2213 | 192.3 | 3.3453 | 181.2933 | 4.9027 | 885 | 58.1927 | 0.552
2019-12-28 15:30:00 | 2.6193 | 167.3113 | 3.0147 | 183.86 | 3.0807 | 192.16 | 3.1327 | 200.2533 | 4.8987 | 885 | 57.7213 | 0.49733
2019-12-28 15:45:00 | 2.3253 | 142.558 | 2.6807 | 156.6533 | 2.61 | 203.6667 | 2.662 | 204.1867 | 5.0087 | 885 | 59.0147 | 0.648
2019-12-28 16:00:00 | 2.4207 | 133.7013 | 2.7887 | 146.92 | 2.788 | 177.7933 | 2.8053 | 197.34 | 5.116 | 885 | 60.8327 | 0.72667
2019-12-28 16:15:00 | 2.5367 | 148.5747 | 2.9167 | 163.2667 | 2.854 | 206.0267 | 2.8833 | 227.38 | 4.9293 | 885 | 63.7267 | 0.492
2019-12-28 16:30:00 | 2.3507 | 162.7127 | 2.704 | 178.8 | 2.8073 | 204.4667 | 2.918 | 207.5333 | 4.9573 | 885 | 64.9153 | 0.888
2019-12-28 16:45:00 | 2.0813 | 167.836 | 2.4013 | 184.4333 | 2.4147 | 206.3467 | 2.5853 | 201.2467 | 4.9373 | 885 | 65.858 | 0.95267
2019-12-28 17:00:00 | 2.3413 | 151.1407 | 2.6973 | 166.0867 | 2.7027 | 189.3133 | 2.6707 | 201.2 | 4.8673 | 885 | 67.0687 | 0.836
2019-12-28 17:15:00 | 2.5987 | 154.9387 | 2.9933 | 169.1533 | 2.988 | 175.4733 | 2.9713 | 186.0467 | 4.6533 | 885 | 68.168 | 0.76
2019-12-28 17:30:00 | 2.5293 | 153.82 | 2.9073 | 169.3267 | 3.0173 | 194.42 | 3.0387 | 200.6267 | 4.4967 | 885.1333 | 68.558 | 1.3027
2019-12-28 17:45:00 | 2.558 | 155.2887 | 2.9427 | 170.64 | 3.1513 | 200.1733 | 3.2453 | 212.0333 | 4.456 | 886 | 69.262 | 3.304
2019-12-28 18:00:00 | 2.9787 | 156.7407 | 3.4267 | 172.24 | 3.4547 | 201.3667 | 3.6747 | 203.3467 | 4.3473 | 886 | 69.8333 | 6.536
2019-12-28 18:15:00 | 3.4173 | 161.8307 | 3.9313 | 177.8267 | 3.9887 | 188.66 | 4.3853 | 189.72 | 4.2107 | 886 | 68.922 | 8.1973
2019-12-28 18:30:00 | 3.008 | 159.4753 | 3.4667 | 175.2467 | 3.5727 | 190.9667 | 3.7133 | 190.92 | 4.024 | 886 | 69.3227 | 8.5407
2019-12-28 18:45:00 | 3.0367 | 167.458 | 3.492 | 184.02 | 3.5953 | 192.7733 | 3.9393 | 199.7467 | 3.9767 | 886 | 69.4933 | 8.1467
2019-12-28 19:00:00 | 3.0173 | 165.2073 | 3.4713 | 181.54 | 3.536 | 191.9533 | 3.838 | 196.92 | 3.97 | 886 | 69.4013 | 8.51
2019-12-28 19:15:00 | 3.3213 | 160.662 | 3.8193 | 176.5467 | 3.9813 | 193.58 | 4.2133 | 196.1867 | 3.9553 | 886 | 68.948 | 8.6607
2019-12-28 19:30:00 | 3.2693 | 157.3533 | 3.7613 | 174.3933 | 4.018 | 187.3467 | 4.358 | 192.98 | 3.9333 | 886 | 68.9247 | 8.2593
2019-12-28 19:45:00 | 2.98 | 164.6073 | 3.426 | 180.8867 | 3.5613 | 197.8733 | 3.702 | 194.7267 | 3.8973 | 886 | 68.9193 | 9.9513
2019-12-28 20:00:00 | 2.9427 | 164.5373 | 3.3913 | 180.8067 | 3.502 | 199.76 | 3.8067 | 208.2 | 3.8187 | 886 | 70.1287 | 11.7453
2019-12-28 20:15:00 | 3.1987 | 151.956 | 3.6833 | 166.98 | 4.0353 | 216.8333 | 4.364 | 219.08 | 3.6987 | 886 | 71.582 | 13.3173
2019-12-28 20:30:00 | 3.05 | 155.2167 | 3.5053 | 170.56 | 3.9927 | 208.0067 | 4.4647 | 212.9 | 3.7013 | 886 | 71.9247 | 14.352
2019-12-28 20:45:00 | 3.058 | 169.9647 | 3.5247 | 186.7667 | 4.0767 | 212.8867 | 4.484 | 228.4133 | 3.6387 | 886.4667 | 72.434 | 14.9967
2019-12-28 21:00:00 | 3.3033 | 158.3873 | 3.798 | 174.0467 | 4.5313 | 219.0667 | 5.476 | 224.3133 | 3.504 | 887 | 73.7527 | 15.1507
2019-12-28 21:15:00 | 4.05 | 172.128 | 4.6667 | 189.1533 | 5.3513 | 211.68 | 6.0047 | 223.6067 | 3.4853 | 887 | 75.296 | 11.3673
2019-12-28 21:30:00 | 3.984 | 164.9147 | 4.588 | 181.22 | 5.1233 | 213.2667 | 6.0587 | 218.5067 | 3.5007 | 887 | 76.492 | 7.9407
2019-12-28 21:45:00 | 3.542 | 173.748 | 4.0807 | 190.9267 | 4.4447 | 209.9267 | 4.7473 | 216.02 | 3.414 | 887 | 77.7987 | 5.9327
2019-12-28 22:00:00 | 2.8493 | 159.8793 | 3.2827 | 175.6867 | 3.4573 | 205.98 | 3.6547 | 203.5133 | 3.4347 | 887 | 78.1887 | 5.158
2019-12-28 22:15:00 | 2.568 | 166.6793 | 2.952 | 183.16 | 3.0633 | 208.0467 | 3.2667 | 214.6067 | 3.472 | 887 | 78.0113 | 5.2227
2019-12-28 22:30:00 | 2.174 | 169.8127 | 2.5007 | 186.6067 | 2.6273 | 200.5133 | 2.736 | 200.5467 | 3.3313 | 887 | 78.4487 | 4.8367
2019-12-28 22:45:00 | 2.556 | 167.2433 | 2.9387 | 183.78 | 3.178 | 209.8067 | 3.344 | 209.8133 | 3.2187 | 887 | 79.146 | 6.1053
2019-12-28 23:00:00 | 2.8653 | 172.3353 | 3.3013 | 189.1733 | 3.734 | 217.68 | 3.6873 | 217.52 | 3.1473 | 887 | 79.6247 | 6.8373
2019-12-28 23:15:00 | 3.0587 | 167.9413 | 3.5193 | 184.5467 | 4.0047 | 212.5067 | 4.1427 | 213.8867 | 3.1767 | 887 | 79.7787 | 7.318
2019-12-28 23:30:00 | 3.0947 | 174.8607 | 3.5633 | 192.1467 | 3.9367 | 210.0267 | 3.9393 | 218.9133 | 3.2067 | 887 | 80.2133 | 7.7087
2019-12-28 23:45:00 | 2.892 | 171.2213 | 3.3267 | 188.1467 | 3.7813 | 215.6467 | 3.636 | 221.5 | 3.212 | 887 | 80.7067 | 7.17