## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-29 00:00:00 | 2.9664 | 176.8043 | 3.4129 | 194.2857 | 3.69 | 218.2857 | 3.5814 | 221.1357 | 3.16 | 887.7143 | 81.4 | 6.8671
2019-12-29 00:15:00 | 2.8127 | 173.2567 | 3.2347 | 190.3933 | 3.682 | 217.0867 | 3.556 | 216.5867 | 3.0973 | 887.4667 | 82.0467 | 5.6233
2019-12-29 00:30:00 | 2.5233 | 178.376 | 2.9053 | 196.0133 | 3.3807 | 213.68 | 3.3813 | 212.4067 | 3.0373 | 887.8667 | 81.7933 | 3.7747
2019-12-29 00:45:00 | 2.354 | 177.1753 | 2.7147 | 194.6933 | 3.0353 | 219.2 | 2.8393 | 207.98 | 3.02 | 887 | 81.8533 | 3.5007
2019-12-29 01:00:00 | 2.166 | 170.4787 | 2.5013 | 187.3333 | 2.7 | 208.1867 | 2.6153 | 197.32 | 3.0507 | 887 | 81.54 | 2.794
2019-12-29 01:15:00 | 1.6873 | 177.0047 | 1.9393 | 194.5067 | 2.198 | 193.1733 | 2.1627 | 188.2533 | 3.036 | 887 | 81.6067 | 1.8747
2019-12-29 01:30:00 | 1.7787 | 158.4047 | 2.0487 | 174.0667 | 2.2927 | 211.3133 | 2.57 | 204.6133 | 3.004 | 887 | 82.08 | 1.9553
2019-12-29 01:45:00 | 2.12 | 168.506 | 2.444 | 186.4533 | 2.6373 | 204.8333 | 3.006 | 199.28 | 3.05 | 887 | 81.7 | 2.3927
2019-12-29 02:00:00 | 1.9107 | 155.8547 | 2.2013 | 171.26 | 2.2633 | 182.3733 | 2.6947 | 189.32 | 3.0887 | 887 | 81.6733 | 1.68
2019-12-29 02:15:00 | 2.218 | 145.982 | 2.556 | 160.42 | 2.7353 | 179.2667 | 3.1727 | 182.62 | 3.054 | 887 | 81.5667 | 2.5607
2019-12-29 02:30:00 | 2.2693 | 152.152 | 2.62 | 167.2 | 2.75 | 196.1533 | 3.2947 | 196.6733 | 3.016 | 887 | 81.4533 | 2.0767
2019-12-29 02:45:00 | 2.7393 | 155.3687 | 3.1487 | 170.7267 | 3.304 | 189.3333 | 3.6313 | 194.06 | 3.018 | 887 | 81.44 | 3.1247
2019-12-29 03:00:00 | 2.4047 | 166.2 | 2.7673 | 182.6333 | 3.0693 | 206.72 | 3.11 | 207.66 | 2.9767 | 887 | 82.1733 | 3.552
2019-12-29 03:15:00 | 2.2347 | 172.7007 | 2.5733 | 189.7733 | 2.8467 | 205.2467 | 3.0033 | 200.98 | 2.9187 | 887 | 82.7333 | 3.3373
2019-12-29 03:30:00 | 2.058 | 164.3013 | 2.372 | 180.54 | 2.6813 | 193.8 | 2.8447 | 192.54 | 2.8927 | 887 | 82.76 | 2.5467
2019-12-29 03:45:00 | 2.046 | 180.3253 | 2.3613 | 198.16 | 2.6193 | 196.94 | 2.8133 | 203.4467 | 2.8233 | 887 | 83.26 | 2.0927
2019-12-29 04:00:00 | 2.1227 | 165.314 | 2.4427 | 181.66 | 2.642 | 205.6733 | 2.6773 | 202.9733 | 2.7833 | 886.2 | 83.4067 | 2.0993
2019-12-29 04:15:00 | 1.54 | 171.342 | 1.7713 | 188.28 | 2.058 | 212.8 | 2.1147 | 194.9667 | 2.762 | 886 | 83.74 | 1.7487
2019-12-29 04:30:00 | 2.0933 | 162.9387 | 2.412 | 179.0533 | 2.406 | 190 | 2.834 | 190.9867 | 2.7153 | 886 | 84.1333 | 1.3587
2019-12-29 04:45:00 | 2.292 | 153.0733 | 2.6353 | 168.2067 | 2.8073 | 187.4533 | 3.0393 | 192.4 | 2.6693 | 886 | 84.6867 | 1.5067
2019-12-29 05:00:00 | 2.4187 | 162.362 | 2.7833 | 178.42 | 2.924 | 187.0933 | 3.3033 | 193.0133 | 2.6427 | 886 | 84.94 | 1.88
2019-12-29 05:15:00 | 2.9573 | 158.1613 | 3.4047 | 171.8467 | 3.52 | 204.3533 | 3.9487 | 195.98 | 2.6333 | 886 | 85.14 | 2.9713
2019-12-29 05:30:00 | 2.836 | 149.534 | 3.2707 | 164.3133 | 3.4113 | 195.2533 | 3.614 | 190.52 | 2.6053 | 886 | 85.46 | 4.1107
2019-12-29 05:45:00 | 2.286 | 158.8507 | 2.6293 | 174.56 | 2.7533 | 202.3867 | 2.9913 | 223.8733 | 2.564 | 886 | 86.1667 | 2.432
2019-12-29 06:00:00 | 2.1967 | 157.1873 | 2.526 | 172.7267 | 2.5587 | 193.7133 | 2.794 | 197.06 | 2.5167 | 886 | 86.8533 | 3.398
2019-12-29 06:15:00 | 3.1807 | 156.6193 | 3.6587 | 171.3333 | 3.7387 | 190.18 | 3.8227 | 199.2867 | 2.4853 | 886 | 87.52 | 3.86
2019-12-29 06:30:00 | 2.2627 | 157.7053 | 2.6027 | 173.3 | 2.7467 | 192.2267 | 3.1027 | 206.1933 | 2.5013 | 886 | 87.66 | 1.674
2019-12-29 06:45:00 | 1.57 | 169.918 | 1.804 | 186.72 | 2.084 | 196.06 | 2.142 | 195.42 | 2.526 | 886 | 87.5133 | 0.77667
2019-12-29 07:00:00 | 2.216 | 160.0647 | 2.556 | 175.8933 | 2.6247 | 198.6 | 2.738 | 187.8667 | 2.4827 | 886 | 88.0867 | 0.86533
2019-12-29 07:15:00 | 2.4633 | 157.2127 | 2.8353 | 172.76 | 2.9527 | 180.0067 | 3.2133 | 184.7467 | 2.478 | 886 | 87.9267 | 1.1847
2019-12-29 07:30:00 | 2.16 | 150.3393 | 2.4867 | 165.2067 | 2.528 | 180.58 | 2.832 | 181.5867 | 2.5267 | 886.8 | 87.66 | 1.0093
2019-12-29 07:45:00 | 2.6187 | 161.424 | 3.0167 | 177.3867 | 3.0747 | 178.5267 | 3.248 | 179.8133 | 2.556 | 887 | 87.6 | 1.1653
2019-12-29 08:00:00 | 2.832 | 155.0807 | 3.258 | 170.4067 | 3.3707 | 168.6067 | 3.452 | 173.2933 | 2.5753 | 887 | 87.88 | 1.8307
2019-12-29 08:15:00 | 3.0333 | 149.456 | 3.4967 | 164.2333 | 3.5547 | 171.6733 | 3.7853 | 177.6667 | 2.5927 | 887 | 88.02 | 2.0133
2019-12-29 08:30:00 | 2.6373 | 161.5387 | 3.0373 | 177.5133 | 3.2067 | 189.02 | 3.5967 | 182.6733 | 2.648 | 887 | 87.74 | 2.2107
2019-12-29 08:45:00 | 2.2413 | 165.9153 | 2.5867 | 182.32 | 2.726 | 178.6067 | 3.1253 | 177.4333 | 2.7773 | 887 | 87.02 | 2.9187
2019-12-29 09:00:00 | 2.616 | 142.0433 | 3.0093 | 156.0867 | 3.2287 | 176.2467 | 3.768 | 178.88 | 2.8707 | 887.1333 | 86.7533 | 2.846
2019-12-29 09:15:00 | 2.836 | 149.0027 | 3.264 | 163.7333 | 3.1933 | 181.2 | 3.428 | 182.5733 | 2.9693 | 888 | 86.5533 | 2.7467
2019-12-29 09:30:00 | 2.4247 | 161.388 | 2.7907 | 177.3467 | 2.724 | 190.72 | 2.98 | 196.5467 | 2.9747 | 888 | 86.88 | 3.0507
2019-12-29 09:45:00 | 2.6653 | 173.782 | 3.0687 | 192.6133 | 3.2427 | 190.64 | 3.414 | 193.5067 | 2.93 | 888 | 87.4067 | 2.8353
2019-12-29 10:00:00 | 2.0293 | 160.7407 | 2.3373 | 176.6333 | 2.4327 | 193.0933 | 2.8367 | 199.6 | 2.9267 | 888 | 87.7733 | 1.75
2019-12-29 10:15:00 | 2.3227 | 164.5533 | 2.6693 | 182.86 | 2.6973 | 194.92 | 2.9713 | 207.4 | 2.9467 | 888 | 87.74 | 1.8953
2019-12-29 10:30:00 | 2.636 | 166.0667 | 3.0333 | 182.4867 | 3.1873 | 191.0533 | 3.4893 | 204.66 | 2.92 | 888.1333 | 87.9467 | 1.936
2019-12-29 10:45:00 | 2.3927 | 158.218 | 2.7513 | 173.8667 | 3.014 | 210.0933 | 3.3487 | 207.0067 | 2.9493 | 889 | 88 | 1.3067
2019-12-29 11:00:00 | 2.5613 | 171.5513 | 2.9527 | 188.5133 | 3.23 | 208.12 | 3.4627 | 217.5133 | 3.0193 | 889 | 87.9467 | 1.7273
2019-12-29 11:15:00 | 2.6287 | 172.442 | 3.0287 | 191.22 | 3.2613 | 209.9733 | 3.2973 | 225.14 | 3.0273 | 889 | 87.4533 | 1.57
2019-12-29 11:30:00 | 2.248 | 156.3493 | 2.584 | 171.8067 | 2.6633 | 197.3733 | 2.8467 | 220.9267 | 3.026 | 889 | 88.2133 | 0.606
2019-12-29 11:45:00 | 2.0133 | 166.6767 | 2.322 | 183.16 | 2.4173 | 205.76 | 2.824 | 214.98 | 3.012 | 889 | 90.04 | 0.044667
2019-12-29 12:00:00 | 1.92 | 165.0873 | 2.2093 | 182.48 | 2.2167 | 208.2533 | 2.2533 | 218.4 | 3.1327 | 889 | 88.8267 | 0
2019-12-29 12:15:00 | 1.8793 | 166.7307 | 2.1633 | 183.22 | 2.2787 | 211.7133 | 2.1753 | 215.9467 | 3.174 | 888.5333 | 88.12 | 0.018667
2019-12-29 12:30:00 | 1.6547 | 142.1833 | 1.9087 | 156.24 | 2.0107 | 178.7067 | 1.4567 | 188.1867 | 3.2753 | 888 | 88.8933 | 0
2019-12-29 12:45:00 | 1.7287 | 139.3647 | 1.9973 | 153.14 | 1.934 | 174.2067 | 1.4513 | 202.9867 | 3.284 | 888 | 88.96 | 0
2019-12-29 13:00:00 | 1.1993 | 142.116 | 1.3833 | 156.1667 | 1.3547 | 180.2467 | 1.2593 | 201.1533 | 3.294 | 887.8667 | 88.8333 | 0
2019-12-29 13:15:00 | 1.64 | 156.458 | 1.8927 | 171.9333 | 1.9373 | 197.1667 | 1.8687 | 203.8933 | 3.3893 | 887 | 88.16 | 0
2019-12-29 13:30:00 | 1.5787 | 157.9087 | 1.8233 | 173.5267 | 1.8407 | 186.9 | 1.7393 | 212.1467 | 3.512 | 887 | 87.54 | 0
2019-12-29 13:45:00 | 1.8407 | 141.0793 | 2.1213 | 155.0333 | 2.0753 | 170.4333 | 1.91 | 184.2467 | 3.49 | 887 | 87.6867 | 0
2019-12-29 14:00:00 | 1.8673 | 154.2873 | 2.1507 | 169.54 | 2.0633 | 186.4533 | 2.2133 | 184.2933 | 3.5013 | 887 | 87.94 | 0
2019-12-29 14:15:00 | 1.2147 | 168.7093 | 1.4033 | 185.3867 | 1.3547 | 212.62 | 1.6667 | 200.7 | 3.5933 | 887 | 87.1 | 0
2019-12-29 14:30:00 | 0.78667 | 142.8033 | 0.90667 | 156.92 | 0.91267 | 212.44 | 1.206 | 189.5667 | 3.732 | 887 | 86.7 | 0
2019-12-29 14:45:00 | 0.27733 | 164.018 | 0.32533 | 180.24 | 0.39933 | 210.4733 | 0.69933 | 221.4933 | 3.862 | 887 | 85.2933 | 0
2019-12-29 15:00:00 | 0.41467 | 158.6387 | 0.48267 | 174.3267 | 0.52867 | 204.48 | 0.27667 | 227.4933 | 3.9773 | 887 | 84.8733 | 0
2019-12-29 15:15:00 | 0.65267 | 167.5313 | 0.74933 | 184.0933 | 0.998 | 212.2067 | 0.86667 | 225.0733 | 4.04 | 887 | 83.7067 | 0
2019-12-29 15:30:00 | 0.27467 | 176.02 | 0.31933 | 193.4333 | 0.484 | 247.2933 | 0.45067 | 261.0467 | 4.142 | 887 | 82.1533 | 0
2019-12-29 15:45:00 | 0.02 | 176.038 | 0.028667 | 193.4533 | 0.042 | 236.9533 | 0.004 | 268 | 4.2427 | 887 | 80.8333 | 0
2019-12-29 16:00:00 | 0.028 | 192.1767 | 0.032 | 211.1867 | 0.016 | 241.0867 | 0.006667 | 245.5533 | 4.2867 | 887 | 80.98 | 0
2019-12-29 16:15:00 | 0.31333 | 312.9927 | 0.36533 | 344.62 | 0.33267 | 245.7507 | 0.046 | 253.9267 | 3.994 | 887 | 84.46 | 0
2019-12-29 16:30:00 | 1.292 | 175.4527 | 1.4967 | 192.8 | 1.9353 | 13.5953 | 1.4413 | 58.8153 | 4.0207 | 887 | 85.5067 | 0
2019-12-29 16:45:00 | 1.8807 | 17.5753 | 2.1653 | 18.97 | 2.6853 | 6.7167 | 2.2147 | 19.238 | 3.9433 | 887 | 86.8 | 0
2019-12-29 17:00:00 | 2.3353 | 51.858 | 2.6887 | 56.9767 | 3.5293 | 8.318 | 3.086 | 12.4973 | 3.824 | 887 | 86.7933 | 0
2019-12-29 17:15:00 | 2.6693 | 227.0847 | 3.0733 | 249.54 | 4.5833 | 14.3573 | 4.2993 | 18.6453 | 3.7807 | 887 | 86.6 | 0.83133
2019-12-29 17:30:00 | 2.6373 | 44.86 | 3.034 | 49.4907 | 4.5687 | 14.812 | 4.4347 | 17.6827 | 3.7007 | 887 | 85.6067 | 1.7347
2019-12-29 17:45:00 | 3.028 | 207.4347 | 3.4833 | 227.9393 | 4.738 | 14.5067 | 4.734 | 20.3787 | 3.5693 | 887 | 85.6067 | 3.31
2019-12-29 18:00:00 | 2.7167 | 256.1647 | 3.1347 | 281.5 | 4.4367 | 7.9047 | 4.5173 | 19.5127 | 3.5187 | 887 | 86.24 | 4.2487
2019-12-29 18:15:00 | 2.8453 | 120.7233 | 3.2773 | 132.6633 | 4.1907 | 239.4627 | 4.0873 | 16.6387 | 3.4827 | 887 | 86.3533 | 4.8527
2019-12-29 18:30:00 | 2.8373 | 139.5813 | 3.264 | 153.386 | 4.6027 | 122.7387 | 4.5127 | 13.4613 | 3.48 | 887.1333 | 86.1533 | 5.6133
2019-12-29 18:45:00 | 2.7027 | 198.5893 | 3.1167 | 218.2267 | 4.916 | 6.3307 | 5.0107 | 14.706 | 3.4673 | 888 | 86.0533 | 7.7033
2019-12-29 19:00:00 | 2.822 | 122.1187 | 3.2493 | 134.1887 | 4.6667 | 6.3767 | 4.616 | 17.7153 | 3.5047 | 888 | 85.96 | 9.07
2019-12-29 19:15:00 | 3.094 | 186.568 | 3.556 | 205.012 | 4.624 | 136.9987 | 4.558 | 10.2087 | 3.5493 | 888 | 85.84 | 10.5753
2019-12-29 19:30:00 | 2.814 | 39.8887 | 3.2453 | 43.8347 | 4.3993 | 9.512 | 4.5907 | 12.5847 | 3.5653 | 888.8 | 85.88 | 10.7007
2019-12-29 19:45:00 | 2.8573 | 11.728 | 3.286 | 12.8853 | 4.494 | 9.942 | 4.578 | 15.144 | 3.562 | 889 | 86.0933 | 12.836
2019-12-29 20:00:00 | 3.1627 | 122.962 | 3.6413 | 135.1167 | 5.466 | 193.76 | 5.634 | 14.65 | 3.5687 | 889 | 86.2133 | 14.4287
2019-12-29 20:15:00 | 3.0667 | 136.7113 | 3.5373 | 150.224 | 5.4933 | 57.746 | 5.678 | 16.5593 | 3.5933 | 889 | 86.4333 | 16.3293
2019-12-29 20:30:00 | 3.068 | 66.7673 | 3.5313 | 73.37 | 5.466 | 13.532 | 5.638 | 18.92 | 3.6653 | 889 | 86.1133 | 15.894
2019-12-29 20:45:00 | 2.7493 | 203.3593 | 3.1653 | 223.4667 | 4.9587 | 10.68 | 5.104 | 16.3333 | 3.5867 | 889 | 86.6867 | 15.9053
2019-12-29 21:00:00 | 2.6067 | 160.8467 | 3.0047 | 176.7527 | 4.1487 | 200.786 | 4.2813 | 16.738 | 3.538 | 889.1333 | 87.06 | 14.382
2019-12-29 21:15:00 | 2.616 | 220.1907 | 3.012 | 241.9667 | 4.6653 | 81.712 | 4.8187 | 17.138 | 3.3413 | 889.5333 | 87.88 | 15.818
2019-12-29 21:30:00 | 2.912 | 172.5427 | 3.352 | 167.436 | 4.4513 | 15.0427 | 4.5813 | 11.8753 | 3.1373 | 889.8 | 88.5667 | 16.0733
2019-12-29 21:45:00 | 2.208 | 243.426 | 2.54 | 267.504 | 4.1527 | 10.876 | 4.288 | 9.9053 | 2.678 | 890 | 90.16 | 14.8707
2019-12-29 22:00:00 | 2.332 | 152.0113 | 2.6873 | 165.0273 | 4.3107 | 5.492 | 4.5053 | 8.0587 | 2.3633 | 890 | 92.1933 | 14.0953
2019-12-29 22:15:00 | 2.3407 | 212.038 | 2.694 | 233.0047 | 4.3687 | 6.9707 | 5.318 | 16.1913 | 2.284 | 890 | 92.9733 | 13.2933
2019-12-29 22:30:00 | 2.3313 | 22.9133 | 2.68 | 25.1713 | 4.3673 | 19.508 | 4.992 | 18.57 | 2.2273 | 890 | 93.6733 | 12.316
2019-12-29 22:45:00 | 2.5913 | 214.5073 | 2.9887 | 212.902 | 4.256 | 16.126 | 4.5727 | 19.4833 | 2.154 | 890 | 94.16 | 12.3353
2019-12-29 23:00:00 | 2.81 | 110.316 | 3.2327 | 121.22 | 4.9593 | 11.6353 | 5.5133 | 23.4907 | 2.3507 | 890 | 93.24 | 13.444
2019-12-29 23:15:00 | 2.9053 | 140.8487 | 3.352 | 173.5347 | 5.524 | 11.908 | 5.956 | 22.6667 | 2.0407 | 890 | 94.2467 | 13.9807
2019-12-29 23:30:00 | 3.0167 | 148.612 | 3.478 | 163.3047 | 5.7647 | 11.4113 | 6.3453 | 19.244 | 1.972 | 890 | 94.86 | 16.688
2019-12-29 23:45:00 | 3.0653 | 153.446 | 3.526 | 184.1793 | 5.6653 | 9.1293 | 6.5727 | 17.536 | 2.0087 | 890 | 94.32 | 17.172