## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-30 00:00:00 | 3.195 | 296.705 | 3.675 | 326.0429 | 6.005 | 13.81 | 6.6257 | 18.72 | 1.9364 | 890 | 95.1214 | 19.4107
2019-12-30 00:15:00 | 3.4627 | 131.9667 | 3.9887 | 145.0193 | 6.076 | 6.9453 | 6.684 | 17.1093 | 2.0853 | 890 | 94.38 | 23.376
2019-12-30 00:30:00 | 3.3053 | 184.3953 | 3.8027 | 202.6293 | 6.056 | 11.086 | 6.6647 | 13.9007 | 2.0847 | 890 | 93.5533 | 23.918
2019-12-30 00:45:00 | 3.642 | 228.0473 | 4.1907 | 230.8 | 6.376 | 12.326 | 6.8107 | 20.67 | 1.988 | 890 | 94.4867 | 24.3273
2019-12-30 01:00:00 | 3.9707 | 275.85 | 4.5667 | 303.1333 | 6.6233 | 11.4853 | 7.0473 | 12.3133 | 2.0507 | 890 | 94.16 | 25.9493
2019-12-30 01:15:00 | 3.6607 | 190.218 | 4.2087 | 209.03 | 6.904 | 10.4107 | 7.6653 | 18.774 | 1.9073 | 890 | 93.5333 | 27.2493
2019-12-30 01:30:00 | 3.296 | 223.0213 | 3.792 | 245.076 | 6.4307 | 16.4067 | 7.046 | 19.0307 | 1.624 | 890 | 94.5067 | 29.6487
2019-12-30 01:45:00 | 3.4507 | 135.4947 | 3.9667 | 148.892 | 6.6073 | 23.282 | 6.2313 | 20.876 | 1.3353 | 890 | 95.9067 | 35.3013
2019-12-30 02:00:00 | 3.1733 | 34.9093 | 3.648 | 38.3567 | 5.7813 | 23.4307 | 5.816 | 18.034 | 1.262 | 890 | 95.9867 | 39.5707
2019-12-30 02:15:00 | 2.92 | 73.308 | 3.362 | 80.5587 | 5.012 | 10.1733 | 6.1287 | 15.29 | 1.2367 | 890 | 96.1467 | 38.96
2019-12-30 02:30:00 | 3.0227 | 43.2233 | 3.478 | 47.496 | 5.242 | 7.144 | 6.216 | 10.4173 | 1.136 | 890 | 95.96 | 41.34
2019-12-30 02:45:00 | 3.104 | 8.984 | 3.576 | 9.8707 | 5.0027 | 7.408 | 6.0967 | 13.6693 | 0.966 | 890 | 96.6533 | 41.6607
2019-12-30 03:00:00 | 3.3033 | 151.376 | 3.8033 | 166.3467 | 5.5973 | 10.004 | 6.5427 | 22.2427 | 0.916 | 890 | 96.0133 | 42.1387
2019-12-30 03:15:00 | 3.6693 | 275.1527 | 4.226 | 302.3613 | 6.782 | 7.3093 | 7.5473 | 16.4793 | 0.72133 | 890 | 95.0867 | 45.8553
2019-12-30 03:30:00 | 3.872 | 120.206 | 4.4593 | 132.0927 | 6.836 | 7.818 | 7.4233 | 16.716 | 1.22 | 890 | 91.1 | 46.6633
2019-12-30 03:45:00 | 3.8793 | 144.0393 | 4.4593 | 158.2833 | 6.9953 | 15.5927 | 7.9267 | 25.1033 | 1.312 | 890 | 89.6133 | 48.08
2019-12-30 04:00:00 | 4.136 | 198.7673 | 4.7653 | 218.42 | 8.1873 | 19.5873 | 9.032 | 24.1087 | 0.98867 | 890 | 90.0467 | 50.554
2019-12-30 04:15:00 | 3.9973 | 271.1453 | 4.5973 | 298.6533 | 7.918 | 17.23 | 8.8747 | 23.8927 | 0.92267 | 890 | 89.6933 | 50.442
2019-12-30 04:30:00 | 4.2893 | 169.828 | 4.938 | 186.616 | 8.1093 | 11.4907 | 8.868 | 22.4173 | 1.098 | 890 | 88 | 50.3687
2019-12-30 04:45:00 | 4.6693 | 123.108 | 5.3747 | 135.2727 | 8.7493 | 18.3633 | 9.1007 | 22.0387 | 1.4773 | 890 | 84.4533 | 49.398
2019-12-30 05:00:00 | 4.9293 | 198.6347 | 5.6647 | 218.2733 | 9.228 | 14.3747 | 9.1447 | 21.3313 | 1.5573 | 890 | 82.72 | 50.9407
2019-12-30 05:15:00 | 5.2813 | 113.0787 | 6.0807 | 124.26 | 9.7393 | 12.9687 | 9.338 | 19.8233 | 1.5367 | 890 | 81.94 | 53.736
2019-12-30 05:30:00 | 5.6653 | 244.1927 | 6.52 | 268.3353 | 10.28 | 15.7953 | 9.68 | 20.2867 | 1.7207 | 890 | 79.97 | 54.6907
2019-12-30 05:45:00 | 6.0347 | 83.652 | 6.9473 | 91.9227 | 10.818 | 10.852 | 10.4413 | 17.6007 | 1.7787 | 890 | 78.7593 | 55.1307
2019-12-30 06:00:00 | 6.3907 | 140.9307 | 7.3493 | 154.8627 | 11.2233 | 8.9613 | 10.8953 | 17.064 | 1.884 | 890 | 77.5327 | 56.0547
2019-12-30 06:15:00 | 6.4887 | 182.4787 | 7.4667 | 200.522 | 11.6447 | 9.0727 | 11.4913 | 17.234 | 2.0053 | 890 | 75.4213 | 57.722
2019-12-30 06:30:00 | 6.7147 | 216.8827 | 7.724 | 238.322 | 12.274 | 9.3527 | 12.5153 | 20.498 | 2.1633 | 890 | 72.702 | 57.6933
2019-12-30 06:45:00 | 7.2427 | 138.4973 | 8.3287 | 152.1947 | 12.8007 | 13.0653 | 13.0407 | 18.0707 | 2.4667 | 890 | 69.7567 | 56.9907
2019-12-30 07:00:00 | 7.2027 | 160.5027 | 8.288 | 176.728 | 12.426 | 7.4513 | 12.7107 | 17.322 | 2.5447 | 890.8 | 68.8027 | 56.6493
2019-12-30 07:15:00 | 7.2427 | 163.6253 | 8.342 | 179.7973 | 12.5247 | 12.3827 | 12.4113 | 18.0233 | 2.596 | 891 | 68.1813 | 55.8833
2019-12-30 07:30:00 | 6.786 | 147.8427 | 7.8093 | 162.4553 | 11.39 | 16.2533 | 11.8607 | 16.556 | 2.5953 | 891 | 67.9173 | 56.4807
2019-12-30 07:45:00 | 6.6947 | 155.592 | 7.702 | 170.9787 | 11.5867 | 24.596 | 11.6253 | 16.4333 | 2.5447 | 891.4667 | 67.646 | 55.6093
2019-12-30 08:00:00 | 6.2873 | 264.7813 | 7.238 | 290.964 | 10.6447 | 11.7053 | 10.6967 | 18.3987 | 2.4753 | 892 | 67.6527 | 55.3067
2019-12-30 08:15:00 | 6.3013 | 232.1227 | 7.252 | 251.0153 | 10.422 | 11.5573 | 10.186 | 17.8553 | 2.5707 | 892 | 66.7967 | 53.5213
2019-12-30 08:30:00 | 6.1973 | 129.35 | 7.1333 | 142.1387 | 10.458 | 13.1407 | 10.2693 | 107.4993 | 2.7053 | 892.1333 | 66.34 | 51.8807
2019-12-30 08:45:00 | 5.724 | 239.8573 | 6.59 | 263.5813 | 9.4447 | 12.098 | 9.326 | 13.2993 | 3.064 | 893 | 65.2247 | 51.3893
2019-12-30 09:00:00 | 5.5913 | 108.6193 | 6.4353 | 119.3613 | 9.1087 | 17.6753 | 9.084 | 126.5087 | 3.7907 | 893.8 | 61.8753 | 49.882
2019-12-30 09:15:00 | 5.6113 | 32.8853 | 6.452 | 36.1353 | 9.082 | 12.22 | 9.092 | 12.9913 | 4.45 | 894 | 59.2607 | 48.0507
2019-12-30 09:30:00 | 5.664 | 157.418 | 6.5127 | 172.9833 | 8.6833 | 185.4167 | 8.506 | 126.452 | 4.6713 | 894.1333 | 58.2733 | 45.934
2019-12-30 09:45:00 | 5.4493 | 65.812 | 6.276 | 72.3153 | 9.0047 | 86.0127 | 8.7513 | 8.134 | 5.2793 | 895 | 56.5947 | 44.674
2019-12-30 10:00:00 | 5.272 | 245.9447 | 6.066 | 270.262 | 8.6447 | 112.5727 | 8.6587 | 100.182 | 5.8153 | 895 | 54.462 | 46.14
2019-12-30 10:15:00 | 5.508 | 62.122 | 6.3393 | 68.266 | 8.6733 | 185.1267 | 8.6987 | 16.6787 | 5.6193 | 895.4667 | 54.6593 | 45.1527
2019-12-30 10:30:00 | 5.142 | 200.466 | 5.912 | 238.2533 | 8.058 | 57.82 | 8.1533 | 7.94 | 6.2547 | 896 | 52.88 | 43.4107
2019-12-30 10:45:00 | 5.2213 | 25.49 | 6.0093 | 28.008 | 8.4827 | 9.7467 | 8.818 | 16.38 | 6.7693 | 896 | 51.646 | 42.304
2019-12-30 11:00:00 | 5.1707 | 185.7607 | 5.9473 | 204.1293 | 8.4407 | 7.2027 | 8.822 | 19.886 | 7.1387 | 896 | 49.9133 | 40.9033
2019-12-30 11:15:00 | 5 | 189.3973 | 5.7567 | 208.124 | 8.308 | 11.5833 | 8.724 | 17.8867 | 7.0253 | 896 | 48.996 | 38.8233
2019-12-30 11:30:00 | 5.2007 | 244.508 | 5.9827 | 266.8267 | 8.8687 | 16.584 | 9.0047 | 20.0827 | 8.07 | 896 | 44.4167 | 38.232
2019-12-30 11:45:00 | 5.2467 | 99.634 | 6.0453 | 111.4287 | 9.1927 | 13.7973 | 9.382 | 21.3393 | 8.864 | 896 | 41.8587 | 38.1833
2019-12-30 12:00:00 | 5.264 | 293.3693 | 6.0587 | 321.9667 | 9.586 | 15.3533 | 9.664 | 21.172 | 9.8527 | 896 | 38.8573 | 37.64
2019-12-30 12:15:00 | 5.5513 | 250.84 | 6.3887 | 275.6467 | 9.7127 | 13.1713 | 9.8653 | 18.9647 | 10.204 | 896 | 37.0713 | 35.1613
2019-12-30 12:30:00 | 5.3787 | 114.0233 | 6.1967 | 104.6787 | 9.4453 | 14.2593 | 9.5093 | 18.128 | 9.784 | 896 | 38.3547 | 31.7453
2019-12-30 12:45:00 | 5.188 | 176.694 | 5.9667 | 194.1627 | 8.9347 | 19.4473 | 8.776 | 20.0533 | 9.9053 | 896 | 38.49 | 25.0693
2019-12-30 13:00:00 | 4.4547 | 182.27 | 5.1247 | 204.282 | 7.3713 | 12.2753 | 7.368 | 23.492 | 9.918 | 896 | 38.9633 | 17.0373
2019-12-30 13:15:00 | 4.074 | 185.5447 | 4.684 | 203.8893 | 6.728 | 25.1307 | 6.432 | 26.798 | 10.1793 | 896 | 38.672 | 11.912
2019-12-30 13:30:00 | 3.5493 | 185.9327 | 4.088 | 204.3153 | 5.574 | 23.822 | 5.09 | 28.3313 | 10.5113 | 896 | 38.5193 | 6.766
2019-12-30 13:45:00 | 3.1013 | 82.826 | 3.5707 | 91.0173 | 4.7493 | 17.9613 | 4.4147 | 22.416 | 10.788 | 896 | 38.3127 | 3.1133
2019-12-30 14:00:00 | 2.9447 | 25.574 | 3.3933 | 28.0987 | 4.3 | 21.4853 | 3.9473 | 28.094 | 10.632 | 895.8667 | 38.446 | 1.6567
2019-12-30 14:15:00 | 2.652 | 129.0407 | 3.052 | 123.874 | 4.242 | 13.1087 | 4.004 | 16.7973 | 12.0767 | 895 | 36.2087 | 1.024
2019-12-30 14:30:00 | 2.7667 | 206.3827 | 3.1853 | 226.788 | 4.5573 | 8.582 | 4.114 | 17.2087 | 12.5893 | 895 | 35.2493 | 0.55533
2019-12-30 14:45:00 | 2.5933 | 44.6387 | 2.982 | 49.05 | 4.394 | 13.5953 | 4.3353 | 15.6347 | 12.7133 | 895 | 35.304 | 0.41467
2019-12-30 15:00:00 | 2.0847 | 200.9507 | 2.4 | 220.8227 | 3.614 | 25.12 | 3.3393 | 16.9947 | 12.9347 | 895 | 34.6907 | 0
2019-12-30 15:15:00 | 1.9227 | 153.7053 | 2.2133 | 168.8993 | 3.2367 | 12.9713 | 2.8133 | 79.7773 | 13.526 | 895 | 33.4747 | 0
2019-12-30 15:30:00 | 2.2427 | 113.84 | 2.58 | 126.5073 | 3.4067 | 12.072 | 3.196 | 201.1233 | 12.9113 | 895 | 34.4107 | 0
2019-12-30 15:45:00 | 2.042 | 247.0867 | 2.356 | 271.5167 | 3.36 | 14.766 | 3.152 | 11.7233 | 12.6247 | 895 | 35.06 | 0
2019-12-30 16:00:00 | 1.5067 | 161.714 | 1.7393 | 177.7 | 2.6267 | 23.008 | 2.324 | 12.6693 | 13.2447 | 895 | 33.6833 | 0
2019-12-30 16:15:00 | 1.2627 | 205.3313 | 1.456 | 225.6307 | 2.2407 | 21.2407 | 1.9147 | 79.7733 | 13.5647 | 895 | 33.1053 | 0
2019-12-30 16:30:00 | 1.288 | 172.1813 | 1.484 | 189.206 | 1.8307 | 53.3827 | 1.4927 | 98.5347 | 12.2947 | 895 | 35.1793 | 0
2019-12-30 16:45:00 | 1.504 | 82.0573 | 1.7347 | 90.1647 | 2.4027 | 325.08 | 2.3473 | 156.0133 | 11.38 | 895 | 37.3947 | 0
2019-12-30 17:00:00 | 1.5587 | 220.1673 | 1.7953 | 241.942 | 2.726 | 111.7387 | 2.7173 | 207.8627 | 11.0587 | 895 | 38.2587 | 0
2019-12-30 17:15:00 | 1.118 | 37.8967 | 1.286 | 41.6387 | 2.1947 | 54.2467 | 2.146 | 62.436 | 10.1767 | 895 | 40.0167 | 0
2019-12-30 17:30:00 | 0.75533 | 28.85 | 0.86933 | 31.69 | 1.498 | 11.1687 | 1.3813 | 5.0007 | 9.6767 | 895 | 40.9067 | 0
2019-12-30 17:45:00 | 0.14933 | 28.85 | 0.174 | 31.69 | 0.294 | 9.3933 | 0.264 | 1.094 | 9.156 | 895 | 42.29 | 0
2019-12-30 18:00:00 | 0.87467 | 96.4387 | 1.0027 | 105.968 | 1.0487 | 184.3907 | 0.852 | 99.6467 | 9.156 | 895 | 42.7167 | 0
2019-12-30 18:15:00 | 3.1727 | 162.366 | 3.6547 | 178.42 | 3.7747 | 180.6667 | 3.7987 | 181.4867 | 8.8887 | 895 | 45 | 0.67467
2019-12-30 18:30:00 | 3.188 | 147.2873 | 3.6647 | 162.2733 | 3.736 | 170.1333 | 4.1947 | 171.04 | 8.6593 | 895 | 50.2313 | 2.534
2019-12-30 18:45:00 | 3.5493 | 150.2853 | 4.0807 | 165.14 | 4.2007 | 172.0933 | 4.6267 | 177.7467 | 8.2187 | 895 | 55.6427 | 7.4633
2019-12-30 19:00:00 | 3.4947 | 164.1247 | 4.0233 | 180.3533 | 4.1287 | 199.14 | 4.5967 | 202.2867 | 7.948 | 895 | 59.0753 | 7.3927
2019-12-30 19:15:00 | 3.0687 | 157.0073 | 3.5313 | 172.5333 | 3.956 | 213.56 | 4.088 | 213.2933 | 7.6107 | 895 | 59.9693 | 5.1573
2019-12-30 19:30:00 | 2.8027 | 169.0013 | 3.2227 | 185.16 | 3.632 | 203.8733 | 3.56 | 207.54 | 7.3113 | 895 | 64.2493 | 4.6253
2019-12-30 19:45:00 | 2.8307 | 165.9427 | 3.258 | 182.3533 | 3.716 | 214.2867 | 3.4313 | 205.6267 | 7.3093 | 895 | 68.094 | 4.8
2019-12-30 20:00:00 | 3.258 | 172.418 | 3.7487 | 189.4667 | 4.2707 | 210.64 | 4.0913 | 218.36 | 7.352 | 895 | 69.9833 | 6.1307
2019-12-30 20:15:00 | 3.5767 | 183.6333 | 4.12 | 201.7867 | 4.6393 | 214.66 | 4.4287 | 219.8333 | 7.2947 | 895 | 71.2673 | 6.9633
2019-12-30 20:30:00 | 3.408 | 175.884 | 3.92 | 193.2733 | 4.4907 | 220.6267 | 4.7033 | 218.3133 | 7.152 | 895.8 | 72.6387 | 7.3987
2019-12-30 20:45:00 | 3.3127 | 165.5267 | 3.8127 | 181.8933 | 4.3247 | 217.2867 | 4.6933 | 223.44 | 7.0427 | 896 | 73.6753 | 8.3973
2019-12-30 21:00:00 | 3.2793 | 176.466 | 3.7733 | 195.2067 | 4.2893 | 219.94 | 4.624 | 223.6933 | 7.078 | 896 | 74.0353 | 6.1207
2019-12-30 21:15:00 | 2.9353 | 167.63 | 3.3727 | 184.2067 | 3.976 | 219.5533 | 4.1113 | 220.8533 | 7.066 | 896 | 74.3507 | 5.2507
2019-12-30 21:30:00 | 2.6867 | 178.1867 | 3.092 | 195.2 | 3.6507 | 221.02 | 3.9107 | 221.52 | 6.996 | 896 | 75.0727 | 4.9633
2019-12-30 21:45:00 | 2.934 | 175.8733 | 3.3753 | 193.26 | 3.9807 | 218.5533 | 4.2973 | 226.3267 | 6.8253 | 896 | 76.2527 | 6.5687
2019-12-30 22:00:00 | 3.378 | 165.7693 | 3.8873 | 182.1533 | 4.4893 | 228.12 | 5.106 | 228.0067 | 6.6507 | 896 | 77.7547 | 8.0013
2019-12-30 22:15:00 | 3.518 | 173.9927 | 4.0507 | 191.2 | 4.7507 | 224.7533 | 5.2113 | 228.2467 | 6.4813 | 896 | 79.08 | 7.6673
2019-12-30 22:30:00 | 3.362 | 175.5187 | 3.864 | 192.8733 | 4.6413 | 229.4533 | 4.434 | 225.04 | 6.4287 | 896 | 79.5 | 5.0827
2019-12-30 22:45:00 | 2.9273 | 175.4613 | 3.37 | 192.2 | 3.7933 | 221.0933 | 4.1147 | 224.7 | 6.4147 | 896.4667 | 79.592 | 4.322
2019-12-30 23:00:00 | 2.338 | 166.0007 | 2.6873 | 182.4067 | 3.192 | 224.78 | 3.728 | 227.1533 | 6.2453 | 897 | 80.656 | 3.3533
2019-12-30 23:15:00 | 1.8773 | 170.824 | 2.1633 | 187.7133 | 2.7813 | 228.5467 | 3.3827 | 227.56 | 6.084 | 897 | 81.66 | 2.9147
2019-12-30 23:30:00 | 2.1073 | 180.4647 | 2.4227 | 198.3067 | 3.088 | 216.7533 | 3.384 | 225.04 | 6.014 | 897 | 82.08 | 1.888
2019-12-30 23:45:00 | 1.5713 | 173.7887 | 1.8127 | 190.9733 | 2.478 | 217.6333 | 2.868 | 226.2067 | 5.9433 | 897 | 82.4 | 0.41133