## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-31 00:00:00 | 1.7407 | 171.0279 | 2.0021 | 187.9429 | 2.5307 | 212.8357 | 2.7729 | 224.15 | 5.8671 | 897 | 82.7429 | 0.29
2019-12-31 00:15:00 | 2.4007 | 166.9747 | 2.764 | 183.4867 | 2.9567 | 198.6733 | 3.0747 | 207.6467 | 5.948 | 897 | 82.42 | 0.468
2019-12-31 00:30:00 | 2.2513 | 164.7447 | 2.5873 | 181.0267 | 2.5727 | 199.68 | 2.672 | 206.16 | 5.9233 | 897 | 83 | 1.1907
2019-12-31 00:45:00 | 2.7387 | 170.582 | 3.148 | 187.4467 | 3.1987 | 189.4133 | 3.5673 | 200.0867 | 5.816 | 897 | 83.7467 | 2.8567
2019-12-31 01:00:00 | 2.792 | 159.4407 | 3.2213 | 175.2 | 3.1833 | 184.2333 | 3.6313 | 209.1067 | 5.6587 | 897 | 84.8267 | 2.548
2019-12-31 01:15:00 | 3.74 | 152.6413 | 4.31 | 167.7333 | 4.322 | 186.3267 | 4.3727 | 194.2067 | 5.472 | 896.5333 | 86.1733 | 2.9793
2019-12-31 01:30:00 | 3.238 | 153.0407 | 3.7293 | 168.1733 | 3.6727 | 180.5067 | 3.8907 | 192.94 | 5.374 | 896 | 86.92 | 2.7093
2019-12-31 01:45:00 | 2.6467 | 152.49 | 3.048 | 167.5733 | 2.9113 | 168.8867 | 3.028 | 194.5067 | 5.2967 | 896 | 87.3267 | 2.6267
2019-12-31 02:00:00 | 2.2447 | 156.3627 | 2.5813 | 172.56 | 2.576 | 181.3133 | 2.9947 | 202.04 | 5.1207 | 896 | 89.04 | 2.2867
2019-12-31 02:15:00 | 2.128 | 170.58 | 2.4547 | 187.4533 | 2.5453 | 190.64 | 2.9453 | 201.5333 | 4.8673 | 896 | 91.6933 | 2.0453
2019-12-31 02:30:00 | 2.1187 | 157.836 | 2.4407 | 173.4467 | 2.5333 | 181.86 | 2.6507 | 202.8667 | 4.6287 | 896 | 93.4667 | 1.5567
2019-12-31 02:45:00 | 1.5987 | 166.312 | 1.8433 | 182.7533 | 2.1813 | 206.3467 | 2.6807 | 223.16 | 4.6133 | 896 | 93.4133 | 0.57733
2019-12-31 03:00:00 | 1.4447 | 170.408 | 1.6613 | 187.26 | 2.3653 | 218.12 | 2.5913 | 223.8667 | 4.6047 | 896 | 93.4867 | 0.18533
2019-12-31 03:15:00 | 1.3393 | 164.7133 | 1.5507 | 181.0067 | 1.97 | 217.4867 | 2.226 | 217.8867 | 4.6713 | 896 | 92.5467 | 0
2019-12-31 03:30:00 | 1.3007 | 172.7267 | 1.5013 | 189.8133 | 1.6787 | 206.44 | 2.368 | 217.6467 | 4.7947 | 896 | 91.24 | 0.16267
2019-12-31 03:45:00 | 0.69733 | 171.4867 | 0.808 | 188.4467 | 1.132 | 214.9733 | 2.2967 | 226 | 4.7993 | 896 | 90.7933 | 0
2019-12-31 04:00:00 | 0.23733 | 171.54 | 0.27867 | 188.5 | 0.438 | 208.5 | 1.554 | 215.7467 | 4.774 | 896 | 91.0467 | 0
2019-12-31 04:15:00 | 0.001333 | 171.54 | 0.001333 | 188.5 | 0.004 | 193.1 | 1.0873 | 214 | 4.7033 | 896 | 91.52 | 0.082
2019-12-31 04:30:00 | 0.532 | 168.648 | 0.612 | 185.32 | 0.78867 | 191.28 | 1.356 | 206.6333 | 4.672 | 896 | 91.72 | 0.32733
2019-12-31 04:45:00 | 1.48 | 168.3907 | 1.7067 | 186.9467 | 1.8673 | 185.98 | 2.074 | 193.2533 | 4.6227 | 895.5333 | 92.4 | 0.47
2019-12-31 05:00:00 | 1.17 | 165.386 | 1.3513 | 181.7333 | 1.6953 | 191.1933 | 1.8993 | 193.02 | 4.6107 | 895 | 92.5867 | 0.39733
2019-12-31 05:15:00 | 1.088 | 157.1927 | 1.2593 | 172.7333 | 1.4813 | 171.54 | 1.826 | 185.34 | 4.43 | 895 | 94.66 | 0.40133
2019-12-31 05:30:00 | 1.33 | 142.6173 | 1.5333 | 156.7133 | 1.8633 | 177 | 2.2127 | 184.8267 | 4.2413 | 895 | 96.4333 | 0.11067
2019-12-31 05:45:00 | 1.832 | 157.8147 | 2.114 | 174.46 | 2.306 | 196.1467 | 2.6127 | 205.18 | 4.1353 | 895 | 97.5467 | 0.092
2019-12-31 06:00:00 | 0.862 | 156.6273 | 0.99667 | 172.12 | 1.078 | 192.5667 | 1.8 | 194.8 | 4.0727 | 895 | 97.4 | 0.438
2019-12-31 06:15:00 | 1.0627 | 162.7987 | 1.2293 | 178.8933 | 1.0867 | 176.9333 | 1.8573 | 171.4933 | 3.9613 | 894.5333 | 97.1867 | 0.68
2019-12-31 06:30:00 | 1.0673 | 170.1933 | 1.234 | 187.0133 | 1.2727 | 187.7 | 1.926 | 181.9067 | 3.9 | 894 | 96.98 | 0.846
2019-12-31 06:45:00 | 2.6413 | 165.686 | 3.0427 | 182.0733 | 3.22 | 185.8867 | 3.4473 | 186.5267 | 3.8293 | 894 | 97.8267 | 1.2553
2019-12-31 07:00:00 | 1.8773 | 168.7327 | 2.166 | 185.42 | 2.158 | 203.38 | 2.4253 | 191.8533 | 3.7747 | 894.8 | 99.0933 | 0.48867
2019-12-31 07:15:00 | 0.396 | 164.344 | 0.45933 | 180.6 | 0.404 | 198.38 | 0.47133 | 194.92 | 3.6767 | 894.5333 | 99.4467 | 1.1927
2019-12-31 07:30:00 | 0.015333 | 201.594 | 0.017333 | 228.0073 | 0.005333 | 173.6933 | 0 | 195.7867 | 3.7127 | 894.1333 | 99.6733 | 1.8093
2019-12-31 07:45:00 | 1.1987 | 151.942 | 1.3793 | 166.9673 | 1.462 | 177.76 | 1.4893 | 190.1667 | 3.7533 | 895 | 99.7 | 2.2047
2019-12-31 08:00:00 | 2.0433 | 174.4867 | 2.3507 | 191.74 | 2.426 | 202.22 | 2.7007 | 198.3133 | 3.76 | 895 | 99.96 | 1.5467
2019-12-31 08:15:00 | 1.5233 | 144.4133 | 1.758 | 158.92 | 1.5893 | 183.7533 | 2.1487 | 203.8533 | 3.7747 | 895 | 100 | 1.9633
2019-12-31 08:30:00 | 1.6407 | 153.208 | 1.8947 | 168.3533 | 1.7367 | 212.2467 | 2.4213 | 203.9 | 3.7367 | 895 | 100 | 2.4093
2019-12-31 08:45:00 | 2.3507 | 168.934 | 2.7073 | 183.4 | 2.6693 | 182.0267 | 3.22 | 183.4733 | 3.7433 | 895 | 100 | 1.54
2019-12-31 09:00:00 | 1.748 | 139.078 | 2.0153 | 152.8267 | 1.788 | 177.9267 | 2.358 | 189.36 | 3.7607 | 895 | 100 | 3.44
2019-12-31 09:15:00 | 2.1767 | 139.2353 | 2.504 | 151.12 | 2.4233 | 186.7933 | 2.8087 | 182.7467 | 3.7293 | 895 | 100 | 4.1587
2019-12-31 09:30:00 | 2.232 | 158.0993 | 2.5793 | 173.7267 | 2.5187 | 191.0733 | 3.0307 | 203.96 | 3.7007 | 895 | 100 | 4.8047
2019-12-31 09:45:00 | 2.252 | 163.3827 | 2.5927 | 179.5333 | 2.552 | 213.7 | 3.3127 | 204.6267 | 3.692 | 895 | 100 | 7.3893
2019-12-31 10:00:00 | 2.7887 | 152.4547 | 3.2067 | 167.5267 | 3.2167 | 185.3733 | 3.6467 | 199.5867 | 3.6893 | 895 | 100 | 10.2087
2019-12-31 10:15:00 | 2.8453 | 163.9533 | 3.27 | 180.1667 | 3.188 | 186.2933 | 4.0233 | 210.7333 | 3.676 | 895 | 100 | 9.2593
2019-12-31 10:30:00 | 2.928 | 158.1373 | 3.3713 | 173.7733 | 3.38 | 208.86 | 3.6307 | 213.1133 | 3.7013 | 895 | 100 | 11.8247
2019-12-31 10:45:00 | 2.8833 | 160.2233 | 3.3193 | 176.0667 | 3.4453 | 180.18 | 3.9433 | 186.74 | 3.736 | 895 | 100 | 15.4687
2019-12-31 11:00:00 | 3.486 | 143.8907 | 4.014 | 158.1133 | 3.9613 | 183.5933 | 4.5907 | 190.8067 | 3.7693 | 895 | 100 | 15.5893
2019-12-31 11:15:00 | 3.4967 | 147.2267 | 4.024 | 161.78 | 3.9133 | 182.6667 | 4.63 | 195.4867 | 3.8167 | 895 | 100 | 13.9907
2019-12-31 11:30:00 | 3.6267 | 140.7433 | 4.1693 | 153.1933 | 4.0353 | 184.26 | 4.5353 | 191.6 | 3.8067 | 895 | 100 | 13.6527
2019-12-31 11:45:00 | 3.4727 | 141.704 | 3.994 | 155.7133 | 3.7847 | 188.1933 | 4.4593 | 202.7467 | 3.8267 | 895 | 100 | 14.2893
2019-12-31 12:00:00 | 3.416 | 161.3253 | 3.9293 | 177.28 | 3.7733 | 196.1467 | 4.1587 | 199.56 | 3.83 | 895 | 100 | 13.596
2019-12-31 12:15:00 | 3.0667 | 171.496 | 3.53 | 188.4533 | 3.5727 | 203.1867 | 4.0107 | 179.3467 | 3.848 | 894.5333 | 100 | 12.054
2019-12-31 12:30:00 | 3.2333 | 150.9993 | 3.724 | 165.9267 | 3.6613 | 178.84 | 4.0787 | 201.4667 | 3.9567 | 894 | 100 | 8.1267
2019-12-31 12:45:00 | 3.2467 | 150.676 | 3.734 | 164.7533 | 3.4853 | 175.84 | 3.89 | 195.3933 | 4.022 | 894 | 100 | 8.0933
2019-12-31 13:00:00 | 3.1093 | 136.2547 | 3.5813 | 149.72 | 3.4173 | 173.62 | 3.8693 | 192.7267 | 3.9627 | 894 | 100 | 7.712
2019-12-31 13:15:00 | 2.8407 | 148.3533 | 3.272 | 163.0267 | 3.09 | 185.6 | 3.4533 | 186.5867 | 3.9747 | 893.5333 | 100 | 7.6247
2019-12-31 13:30:00 | 3.0233 | 171.078 | 3.476 | 187.9933 | 3.31 | 190.9467 | 3.6967 | 193.56 | 4.052 | 893 | 100 | 6.4513
2019-12-31 13:45:00 | 2.4787 | 156.8433 | 2.8507 | 172.3533 | 2.688 | 184.1467 | 3.3253 | 196.3133 | 4.1833 | 893 | 100 | 5.8573
2019-12-31 14:00:00 | 2.3853 | 156.5407 | 2.746 | 172.0133 | 2.5993 | 202.76 | 3.0787 | 204.3933 | 4.218 | 893 | 100 | 5.9113
2019-12-31 14:15:00 | 2.2393 | 138.96 | 2.578 | 152.7 | 2.4707 | 188.7333 | 2.9013 | 203.2733 | 4.244 | 892.5333 | 100 | 6.1033
2019-12-31 14:30:00 | 2.5227 | 151.0927 | 2.9013 | 166.0267 | 2.7627 | 193.6467 | 3.1473 | 187.4533 | 4.2173 | 892 | 100 | 6.408
2019-12-31 14:45:00 | 2.6533 | 156.7207 | 3.0573 | 171.6933 | 3.0607 | 186.5467 | 3.5253 | 184.4133 | 4.268 | 892 | 100 | 6.5753
2019-12-31 15:00:00 | 2.582 | 136.4227 | 2.972 | 149.9067 | 2.9133 | 176.2933 | 3.316 | 185.0533 | 4.3207 | 892 | 100 | 5.9687
2019-12-31 15:15:00 | 2.4533 | 146.5253 | 2.8227 | 161.0133 | 2.8233 | 184.08 | 3.3253 | 178.6 | 4.3513 | 892 | 100 | 5.4307
2019-12-31 15:30:00 | 1.728 | 164.1733 | 1.9973 | 180.4067 | 1.8807 | 183.6133 | 2.836 | 203.2 | 4.3433 | 892 | 100 | 3.7153
2019-12-31 15:45:00 | 2.0167 | 157.8573 | 2.326 | 173.46 | 2.3773 | 190.1933 | 3.0127 | 195.78 | 4.252 | 891.5333 | 100 | 4.36
2019-12-31 16:00:00 | 1.65 | 176.5293 | 1.9033 | 193.98 | 1.8433 | 200.54 | 2.572 | 186.34 | 4.2493 | 891 | 100 | 4.054
2019-12-31 16:15:00 | 1.8987 | 168.3127 | 2.194 | 184.9467 | 2.3753 | 223.2533 | 2.5707 | 206.54 | 4.2327 | 891 | 100 | 4.3447
2019-12-31 16:30:00 | 1.914 | 165.746 | 2.2047 | 182.1267 | 2.6447 | 222.2933 | 2.658 | 226.26 | 4.2453 | 891 | 100 | 3.9307
2019-12-31 16:45:00 | 1.732 | 187.8573 | 1.9953 | 206.4333 | 2.466 | 212.3667 | 2.226 | 217.7933 | 4.2667 | 891 | 100 | 3.2127
2019-12-31 17:00:00 | 1.6553 | 179.8887 | 1.908 | 197.6733 | 2.486 | 219.2 | 2.5073 | 214 | 4.294 | 891 | 100 | 3.718
2019-12-31 17:15:00 | 1.9427 | 174.72 | 2.2387 | 192 | 2.7093 | 220.22 | 2.8293 | 208.8467 | 4.3 | 891 | 100 | 3.8673
2019-12-31 17:30:00 | 1.894 | 170.4987 | 2.1827 | 187.36 | 2.848 | 223.8333 | 2.8873 | 217.3267 | 4.3147 | 891 | 100 | 3.2
2019-12-31 17:45:00 | 1.744 | 173.8273 | 2.018 | 191.64 | 2.5533 | 228.7067 | 2.856 | 223.7467 | 4.2953 | 891 | 100 | 1.454
2019-12-31 18:00:00 | 1.26 | 173.906 | 1.4553 | 191.1 | 2.136 | 225.04 | 2.2533 | 212.2267 | 4.2793 | 891 | 100 | 0.16733
2019-12-31 18:15:00 | 0.396 | 174.09 | 0.464 | 191.3 | 0.754 | 214.44 | 1.498 | 205.26 | 4.254 | 891 | 100 | 0
2019-12-31 18:30:00 | 0.096 | 173.9567 | 0.112 | 191.1533 | 0.11667 | 205.4133 | 1.0473 | 202.24 | 4.258 | 891 | 100 | 0
2019-12-31 18:45:00 | 0.58267 | 184.7033 | 0.678 | 202.9733 | 1.0147 | 211.5467 | 1.3987 | 206.58 | 4.272 | 891 | 100 | 0
2019-12-31 19:00:00 | 0.906 | 183.7327 | 1.048 | 201.8933 | 1.584 | 206.0533 | 1.6247 | 205.22 | 4.3247 | 891 | 100 | 0
2019-12-31 19:15:00 | 1.19 | 168.5227 | 1.3733 | 185.18 | 1.762 | 206.6 | 2.0227 | 205.22 | 4.384 | 891 | 100 | 0.142
2019-12-31 19:30:00 | 0.434 | 178.3407 | 0.50133 | 195.9733 | 0.37667 | 202.0733 | 1.8373 | 206.2267 | 4.4367 | 891 | 100 | 0.28267
2019-12-31 19:45:00 | 0.248 | 176.746 | 0.29 | 194.2267 | 0.222 | 207.5667 | 1.8987 | 208.16 | 4.434 | 891 | 100 | 0
2019-12-31 20:00:00 | 0.12667 | 185 | 0.15133 | 203.2933 | 0.16733 | 217.6333 | 1.4407 | 212.1067 | 4.442 | 891 | 100 | 0
2019-12-31 20:15:00 | 0.043333 | 198.1153 | 0.051333 | 217.7067 | 0.074667 | 219.4667 | 0.842 | 217.8 | 4.4387 | 891.4667 | 100 | 0
2019-12-31 20:30:00 | 0 | 195.8967 | 0 | 215.2667 | 0 | 205.8267 | 0.55 | 222.24 | 4.418 | 892 | 100 | 0
2019-12-31 20:45:00 | 0 | 195.83 | 0 | 215.2 | 0 | 206 | 0.974 | 220.8 | 4.3973 | 892 | 100 | 0
2019-12-31 21:00:00 | 0.048 | 195.83 | 0.058667 | 215.2 | 0.092667 | 219.88 | 1.2613 | 220.8133 | 4.3867 | 892 | 100 | 0.019333
2019-12-31 21:15:00 | 0.028 | 195.83 | 0.032 | 215.2 | 0.037333 | 223.9 | 0.91933 | 220.9 | 4.374 | 892 | 100 | 0
2019-12-31 21:30:00 | 0.088 | 195.8967 | 0.10533 | 215.2667 | 0.156 | 227.5733 | 0.62667 | 226.06 | 4.3613 | 892 | 100 | 0
2019-12-31 21:45:00 | 0 | 195.914 | 0.002667 | 215.2933 | 0 | 231.7467 | 0 | 228.7 | 4.31 | 892 | 100 | 0
2019-12-31 22:00:00 | 0.34933 | 151.7473 | 0.406 | 166.7453 | 0 | 235.32 | 0 | 228.7 | 3.8933 | 892 | 100 | 0
2019-12-31 22:15:00 | 0.34133 | 131.306 | 0.39667 | 144.288 | 0 | 249.4467 | 0 | 228.7 | 3.4493 | 892 | 100 | 0
2019-12-31 22:30:00 | 0.766 | 1.2513 | 0.89067 | 1.3707 | 0 | 249.42 | 0.079333 | 228.78 | 3.05 | 891.2 | 100 | 0
2019-12-31 22:45:00 | 0.35467 | 98.8147 | 0.41 | 108.584 | 0 | 249.4 | 0.196 | 228.8 | 3.4033 | 891 | 100 | 0
2019-12-31 23:00:00 | 0.80933 | 108.17 | 0.93133 | 95.4127 | 0.008 | 315.4333 | 0.082 | 228.8 | 3.0953 | 891 | 99.9867 | 0
2019-12-31 23:15:00 | 0.77333 | 146.7087 | 0.89733 | 161.216 | 0.036667 | 331.7133 | 0.564 | 237.76 | 2.9993 | 891 | 99.5467 | 0
2019-12-31 23:30:00 | 1.1507 | 169.338 | 1.326 | 186.0773 | 0.55933 | 174.56 | 0.974 | 261.5467 | 2.886 | 891 | 99.4267 | 0
2019-12-31 23:45:00 | 1.8387 | 2.4193 | 2.122 | 2.6533 | 1.6853 | 97.7133 | 1.0193 | 290.5933 | 2.6653 | 891 | 99.2 | 0