## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-01 00:00:00 | 2.2793 | 159.315 | 2.6229 | 149.6957 | 2.53 | 106.095 | 1.5171 | 289.6057 | 2.5464 | 891 | 99.34 | 0
2020-01-01 00:15:00 | 2.2927 | 276.4973 | 2.6373 | 303.84 | 2.7887 | 11.9967 | 2.3447 | 123.6627 | 2.416 | 891 | 99.3133 | 0
2020-01-01 00:30:00 | 2.4327 | 112.2013 | 2.7987 | 146.336 | 2.9773 | 7.6953 | 2.8347 | 2.112 | 2.342 | 891 | 98.7867 | 0
2020-01-01 00:45:00 | 2.4593 | 143.7947 | 2.828 | 158.012 | 2.8653 | 145.3547 | 2.6507 | 0.90133 | 2.332 | 891 | 98.3267 | 0
2020-01-01 01:00:00 | 2.556 | 321.836 | 2.94 | 353.66 | 2.8773 | 73.4467 | 2.8847 | 73.284 | 2.324 | 890.8667 | 97.4467 | 0
2020-01-01 01:15:00 | 2.678 | 318.384 | 3.0793 | 349.8733 | 3.212 | 165.7467 | 3.364 | 167.5453 | 2.2627 | 890 | 97.5333 | 0
2020-01-01 01:30:00 | 2.9533 | 66.712 | 3.402 | 50.5227 | 3.644 | 28.6253 | 3.614 | 11.0307 | 2.1513 | 890 | 97.66 | 0
2020-01-01 01:45:00 | 3.0787 | 278.024 | 3.5367 | 305.512 | 3.546 | 306.7667 | 3.8127 | 2.1967 | 2.0013 | 890 | 97.4067 | 0.10533
2020-01-01 02:00:00 | 3.2207 | 212.07 | 3.7073 | 233.0433 | 4.11 | 3.2007 | 3.98 | 3.7527 | 1.9727 | 890 | 97.2067 | 0.20933
2020-01-01 02:15:00 | 3.3053 | 206.7153 | 3.8047 | 250.6893 | 3.9647 | 3.2473 | 3.8973 | 21.6467 | 2.0013 | 890 | 96.1533 | 0.23933
2020-01-01 02:30:00 | 3.0587 | 115.8253 | 3.5207 | 127.2773 | 3.4893 | 4.768 | 3.5573 | 3.3047 | 2.0427 | 890 | 95.3533 | 0.054
2020-01-01 02:45:00 | 3.3007 | 237.726 | 3.8027 | 261.2333 | 4.0773 | 123.2907 | 4.1847 | 7.8967 | 1.9467 | 890 | 95.7333 | 0.20533
2020-01-01 03:00:00 | 3.0673 | 46.1693 | 3.5313 | 50.7313 | 3.9267 | 6.7647 | 3.892 | 7.5713 | 1.7553 | 890 | 97.0867 | 0.22
2020-01-01 03:15:00 | 3.4707 | 110.734 | 3.9893 | 100.1567 | 4.2753 | 8.576 | 4.2213 | 8.0873 | 1.602 | 890 | 97.6333 | 1.3493
2020-01-01 03:30:00 | 3.8333 | 166.9233 | 4.4107 | 183.4233 | 4.4453 | 18.1307 | 4.3493 | 8.5393 | 1.54 | 890 | 97.3 | 1.2827
2020-01-01 03:45:00 | 3.48 | 240.5013 | 4.0033 | 264.2867 | 4.332 | 82.3407 | 4.4767 | 10.246 | 1.4947 | 889.5333 | 97.3267 | 1.4933
2020-01-01 04:00:00 | 3.4693 | 188.7513 | 3.9967 | 207.4147 | 4.1187 | 51.3007 | 4.1233 | 11.362 | 1.47 | 889.6667 | 97.1667 | 0.58067
2020-01-01 04:15:00 | 3.1587 | 133.3907 | 3.6427 | 124.9967 | 3.6933 | 10.9953 | 3.5847 | 10.8913 | 1.4327 | 889 | 97.32 | 0.23267
2020-01-01 04:30:00 | 3.3327 | 221.256 | 3.838 | 243.1333 | 3.6413 | 7.4193 | 3.894 | 16.566 | 1.4053 | 889 | 97.6533 | 0.076
2020-01-01 04:45:00 | 3.3827 | 154.3007 | 3.8907 | 169.5547 | 3.6967 | 7.482 | 3.802 | 8.7187 | 1.3987 | 889 | 98.0333 | 0.084667
2020-01-01 05:00:00 | 3.4453 | 269.2787 | 3.9627 | 295.9093 | 3.942 | 98.79 | 3.9593 | 13.9373 | 1.3073 | 889 | 98.6933 | 0.59933
2020-01-01 05:15:00 | 3.46 | 267.9713 | 3.9787 | 294.4707 | 3.9993 | 6.0387 | 4.1647 | 9.462 | 1.2733 | 889 | 99.2867 | 1.642
2020-01-01 05:30:00 | 3.5847 | 126.4273 | 4.1293 | 138.9247 | 4.5053 | 76.584 | 4.5453 | 22.7027 | 1.228 | 889 | 99.58 | 3.5553
2020-01-01 05:45:00 | 3.8373 | 104.9413 | 4.414 | 115.3093 | 5.198 | 126.7033 | 4.9193 | 6.6253 | 1.1713 | 889 | 99.6 | 4.4093
2020-01-01 06:00:00 | 3.6987 | 241.8093 | 4.2567 | 265.7207 | 4.8947 | 100.4573 | 4.74 | 82.4913 | 1.168 | 889 | 99.3733 | 4.2467
2020-01-01 06:15:00 | 3.768 | 302.3747 | 4.3347 | 332.2733 | 4.948 | 186.416 | 4.6787 | 79.7227 | 1.2287 | 889 | 99.0533 | 4.8873
2020-01-01 06:30:00 | 3.8213 | 201.7513 | 4.3967 | 221.428 | 4.8893 | 196.564 | 4.892 | 10.0033 | 1.2553 | 889 | 98.8667 | 5.0553
2020-01-01 06:45:00 | 4.0293 | 149.026 | 4.6407 | 163.764 | 5.044 | 52.6533 | 5.272 | 14.4633 | 1.268 | 889 | 98.1733 | 5.8787
2020-01-01 07:00:00 | 4.3027 | 120.084 | 4.954 | 131.9607 | 5.404 | 52.3227 | 5.542 | 19.344 | 1.2773 | 889 | 97.2933 | 6.8147
2020-01-01 07:15:00 | 4.2427 | 311.2533 | 4.886 | 342.0267 | 5.9067 | 16.8493 | 5.808 | 19.9367 | 1.2893 | 889 | 96.7333 | 7.7853
2020-01-01 07:30:00 | 4.2487 | 320.4387 | 4.892 | 352.1267 | 5.6453 | 9.6007 | 5.794 | 21.0307 | 1.26 | 889 | 96.38 | 8.0867
2020-01-01 07:45:00 | 4.2787 | 177.0027 | 4.9233 | 172.402 | 5.6533 | 7.1607 | 5.7047 | 18.8893 | 1.2513 | 889 | 96.4533 | 7.3833
2020-01-01 08:00:00 | 4.4653 | 256.936 | 5.134 | 282.3387 | 5.642 | 11.82 | 5.6027 | 14.5733 | 1.2507 | 889 | 96.32 | 7.732
2020-01-01 08:15:00 | 4.1933 | 234.8433 | 4.8207 | 281.5853 | 5.496 | 7.0147 | 5.6153 | 7.8893 | 1.2593 | 889 | 96.3067 | 6.5967
2020-01-01 08:30:00 | 4.3147 | 193.8113 | 4.9673 | 212.9787 | 5.2593 | 10.794 | 5.29 | 8.8187 | 1.262 | 889 | 95.84 | 5.4267
2020-01-01 08:45:00 | 4.4227 | 151.928 | 5.0913 | 166.9493 | 5.4233 | 11.562 | 5.2887 | 12.202 | 1.2853 | 889 | 95.4067 | 4.8667
2020-01-01 09:00:00 | 4.3827 | 170.2853 | 5.0387 | 187.1173 | 5.5613 | 3.2893 | 5.2007 | 9.388 | 1.2887 | 889 | 95.58 | 4.5407
2020-01-01 09:15:00 | 4.258 | 194.052 | 4.8993 | 213.236 | 5.2973 | 138.3293 | 5.0767 | 8.9793 | 1.356 | 889 | 95.4 | 4.8973
2020-01-01 09:30:00 | 3.7927 | 223.632 | 4.3613 | 245.7467 | 4.7473 | 2.6867 | 4.86 | 128.7267 | 1.4087 | 889.1333 | 95.64 | 4.26
2020-01-01 09:45:00 | 4.0933 | 150.0433 | 4.7147 | 164.876 | 4.788 | 7.5893 | 4.936 | 9.9207 | 1.4427 | 890 | 95.3667 | 4.494
2020-01-01 10:00:00 | 4.1333 | 172.7193 | 4.7533 | 189.7973 | 5.106 | 11.7087 | 4.88 | 16.0967 | 1.446 | 890 | 95.1067 | 3.4267
2020-01-01 10:15:00 | 4.1467 | 275.4633 | 4.7727 | 302.7027 | 4.9547 | 14.7187 | 4.9507 | 13.7513 | 1.4773 | 890 | 94.4267 | 3.334
2020-01-01 10:30:00 | 3.9347 | 210.9053 | 4.5287 | 212.8 | 4.8787 | 12.6027 | 4.8393 | 19.5987 | 1.5307 | 890 | 94.2 | 3.1147
2020-01-01 10:45:00 | 4.036 | 160.3267 | 4.6447 | 176.176 | 4.7853 | 9.62 | 4.8267 | 17.6987 | 1.5673 | 890 | 94.0467 | 3.2153
2020-01-01 11:00:00 | 4.204 | 155.1707 | 4.8393 | 170.514 | 5.0747 | 9.766 | 4.6793 | 15.1393 | 1.6273 | 890 | 93.68 | 2.5013
2020-01-01 11:15:00 | 4.028 | 149.8613 | 4.6347 | 164.676 | 4.8887 | 119.508 | 4.6827 | 7.16 | 1.72 | 890 | 93.7667 | 1.8627
2020-01-01 11:30:00 | 3.8093 | 300.2287 | 4.3867 | 329.9247 | 4.576 | 286.5433 | 4.5807 | 5.2753 | 1.8373 | 890 | 93.9267 | 1.3993
2020-01-01 11:45:00 | 3.714 | 23.8413 | 4.27 | 26.1907 | 4.3453 | 51.7487 | 4.386 | 9.4187 | 1.8227 | 890 | 93.58 | 0.978
2020-01-01 12:00:00 | 3.6733 | 190.8433 | 4.2313 | 209.7167 | 4.076 | 7.5667 | 4.3787 | 8.8727 | 1.936 | 890 | 93.76 | 0.846
2020-01-01 12:15:00 | 3.788 | 170.078 | 4.358 | 186.8967 | 4.1493 | 7.2747 | 4.4427 | 15.1953 | 1.9533 | 890 | 93.3667 | 1.0427
2020-01-01 12:30:00 | 3.5967 | 42.4427 | 4.1407 | 46.634 | 4.5167 | 51.0753 | 4.4247 | 11.1953 | 2.08 | 889.8667 | 92.8333 | 0.754
2020-01-01 12:45:00 | 3.9087 | 253.4087 | 4.4993 | 278.4627 | 4.4907 | 74.744 | 4.4113 | 11.936 | 2.1973 | 889 | 92.24 | 0.99267
2020-01-01 13:00:00 | 3.5507 | 264.5647 | 4.086 | 290.724 | 4.4293 | 2.206 | 4.4793 | 14.4773 | 2.486 | 889 | 91.3467 | 0.89867
2020-01-01 13:15:00 | 3.662 | 319.4653 | 4.212 | 351.06 | 4.6053 | 166.9967 | 4.2947 | 15.4653 | 2.7413 | 889 | 91.9667 | 0.87533
2020-01-01 13:30:00 | 3.5387 | 91.0447 | 4.0693 | 100.042 | 4.3193 | 53.4127 | 4.2173 | 20.2373 | 2.782 | 888.8667 | 92.3467 | 0.76933
2020-01-01 13:45:00 | 3.55 | 97.3713 | 4.0893 | 87.388 | 4.5227 | 27.94 | 4.3567 | 9.178 | 2.9647 | 888 | 92.14 | 0.91133
2020-01-01 14:00:00 | 3.7833 | 40.238 | 4.3553 | 44.208 | 4.5827 | 130.7287 | 4.4027 | 13.532 | 2.9807 | 888 | 92.16 | 1.4287
2020-01-01 14:15:00 | 3.384 | 124.0807 | 3.8967 | 158.2173 | 4.2447 | 13.776 | 4.268 | 15.2513 | 3.164 | 888 | 91.6467 | 1.754
2020-01-01 14:30:00 | 3.4467 | 92.288 | 3.964 | 101.4093 | 4.42 | 127.9827 | 4.348 | 15.3447 | 3.3587 | 888 | 90.54 | 1.8813
2020-01-01 14:45:00 | 3.42 | 232.7467 | 3.934 | 255.76 | 4.534 | 18.3807 | 4.5213 | 6.1667 | 3.376 | 888 | 89.7267 | 2.8153
2020-01-01 15:00:00 | 3.5973 | 186.404 | 4.144 | 206.8293 | 4.8053 | 8.578 | 4.6707 | 7.6293 | 3.386 | 888 | 89.2067 | 2.1933
2020-01-01 15:15:00 | 3.584 | 18.0513 | 4.1233 | 19.8293 | 4.4273 | 11.222 | 4.446 | 153.9953 | 3.3393 | 888 | 89.58 | 1.398
2020-01-01 15:30:00 | 3.43 | 145.382 | 3.948 | 157.112 | 4.7547 | 13.912 | 4.5593 | 26.4253 | 3.358 | 888 | 89.9067 | 0.82667
2020-01-01 15:45:00 | 3.4347 | 179.952 | 3.9527 | 197.7407 | 4.7893 | 14.1833 | 4.6887 | 15.4 | 3.392 | 888 | 90.1533 | 1.2113
2020-01-01 16:00:00 | 3.5553 | 92.406 | 4.092 | 101.5447 | 5.184 | 7.14 | 4.916 | 13.7647 | 3.4413 | 888 | 90.3933 | 3.616
2020-01-01 16:15:00 | 3.7573 | 80.7313 | 4.326 | 88.712 | 5.514 | 14.8593 | 5.174 | 16.6167 | 3.3887 | 888 | 90.7533 | 6.2573
2020-01-01 16:30:00 | 3.5507 | 17.986 | 4.0893 | 19.8367 | 5.3533 | 14.0753 | 5.2627 | 10.1113 | 3.3513 | 888.8 | 91.1 | 6.2933
2020-01-01 16:45:00 | 3.5773 | 47.6193 | 4.1227 | 52.3227 | 5.4933 | 12.2813 | 5.2747 | 10.3167 | 3.3213 | 889 | 90.9933 | 9.686
2020-01-01 17:00:00 | 3.6773 | 226.468 | 4.2367 | 248.868 | 5.6773 | 13.3267 | 5.6553 | 25.2 | 3.2767 | 888.8667 | 91.14 | 13.1367
2020-01-01 17:15:00 | 3.882 | 18.76 | 4.47 | 20.614 | 5.73 | 180.6433 | 5.6567 | 19.656 | 3.1987 | 888 | 91.0733 | 14.366
2020-01-01 17:30:00 | 3.9047 | 172.5847 | 4.4933 | 189.6487 | 5.6353 | 169.7873 | 5.3613 | 16.1247 | 3.1367 | 888 | 90.96 | 16.084
2020-01-01 17:45:00 | 3.6287 | 173.076 | 4.178 | 190.1907 | 5.7407 | 8.3133 | 5.6347 | 14.3573 | 3.0933 | 888 | 91.0067 | 17.2433
2020-01-01 18:00:00 | 3.8453 | 194.2407 | 4.4193 | 235.6667 | 6.3493 | 141.4447 | 6.2267 | 31.2147 | 3.0413 | 888.1333 | 91.0267 | 20.9473
2020-01-01 18:15:00 | 3.8847 | 129.4033 | 4.4687 | 142.1973 | 6.1267 | 230.2233 | 5.7427 | 11.83 | 3.01 | 889 | 90.86 | 18.4667
2020-01-01 18:30:00 | 3.9267 | 139.824 | 4.52 | 147.852 | 6.4673 | 25.3293 | 6.1527 | 11.9513 | 2.992 | 889 | 90.82 | 19.8947
2020-01-01 18:45:00 | 3.776 | 162.174 | 4.3493 | 178.2047 | 6.1667 | 118.1593 | 5.754 | 15.6753 | 3.004 | 889 | 90.64 | 18.6233
2020-01-01 19:00:00 | 4.1187 | 132.8593 | 4.75 | 125.9967 | 6.88 | 14.3247 | 6.6027 | 17.82 | 2.9473 | 889 | 90.7267 | 24.7747
2020-01-01 19:15:00 | 4.38 | 195.096 | 5.0453 | 214.3853 | 7.4967 | 12.0127 | 7.1607 | 11.7333 | 2.894 | 889 | 91 | 26.7893
2020-01-01 19:30:00 | 4.356 | 175.9493 | 5.0133 | 193.35 | 6.9313 | 10.9813 | 6.6247 | 14.478 | 2.898 | 889.1333 | 90.96 | 23.4673
2020-01-01 19:45:00 | 4.132 | 268.5233 | 4.7613 | 295.0813 | 6.3373 | 56.9813 | 6.0647 | 7.048 | 2.9053 | 890 | 90.8933 | 17.8033
2020-01-01 20:00:00 | 3.592 | 49.3053 | 4.1353 | 54.1733 | 5.692 | 185.7093 | 5.2927 | 8.2507 | 2.8933 | 890 | 91.16 | 16.8187
2020-01-01 20:15:00 | 3.692 | 132.856 | 4.2533 | 146.9547 | 5.7573 | 2.3467 | 5.4213 | 14.49 | 2.906 | 890 | 90.8667 | 16.0627
2020-01-01 20:30:00 | 3.5973 | 174.972 | 4.136 | 192.2673 | 5.6293 | 175.848 | 5.4033 | 16.928 | 2.892 | 890 | 90.6133 | 15.5447
2020-01-01 20:45:00 | 3.7007 | 279.786 | 4.2553 | 284.2847 | 5.8867 | 60.4667 | 5.6913 | 22.5213 | 2.846 | 890 | 90.0333 | 13.574
2020-01-01 21:00:00 | 3.896 | 8.1213 | 4.4807 | 8.9227 | 5.6253 | 22.6847 | 5.4067 | 15.702 | 2.868 | 890.1333 | 88.8067 | 10.4353
2020-01-01 21:15:00 | 3.8153 | 182.6447 | 4.3927 | 200.7053 | 5.888 | 5.648 | 5.5933 | 13.466 | 2.8393 | 891 | 88.8467 | 8.638
2020-01-01 21:30:00 | 4.012 | 227.884 | 4.6167 | 250.4133 | 5.926 | 15.5513 | 5.796 | 13.8973 | 2.8347 | 891 | 89.1667 | 10.4233
2020-01-01 21:45:00 | 3.6693 | 100.5687 | 4.2247 | 110.8493 | 5.9547 | 13.9933 | 5.912 | 146.3507 | 2.7547 | 891 | 89.1067 | 13.7867
2020-01-01 22:00:00 | 4.1893 | 49.9733 | 4.8273 | 54.908 | 6.6267 | 7.5173 | 6.5347 | 16.376 | 2.7153 | 891 | 89.0533 | 18.404
2020-01-01 22:15:00 | 4.4607 | 95.4827 | 5.1373 | 86.86 | 6.996 | 125.4767 | 7.1327 | 15.7427 | 2.684 | 891 | 88.7133 | 21.5653
2020-01-01 22:30:00 | 4.5413 | 156.0007 | 5.2313 | 171.4287 | 7.1147 | 8.36 | 7.3007 | 20.0273 | 2.6427 | 891 | 88.4 | 20.1633
2020-01-01 22:45:00 | 4.378 | 56.004 | 5.0387 | 61.5447 | 6.784 | 121.426 | 6.8953 | 14.0893 | 2.686 | 891 | 88.4533 | 15.872
2020-01-01 23:00:00 | 3.9133 | 152.348 | 4.506 | 167.4133 | 6.068 | 6.5993 | 6.0767 | 17.078 | 2.7767 | 891 | 88.14 | 15.0353
2020-01-01 23:15:00 | 4.046 | 142.7173 | 4.6533 | 156.826 | 6.5353 | 34.2247 | 6.5713 | 15.5047 | 2.7913 | 891 | 87.6867 | 16.302
2020-01-01 23:30:00 | 4.328 | 184.3793 | 4.978 | 202.61 | 6.8933 | 127.1087 | 6.722 | 123.7993 | 2.7787 | 891 | 87.6867 | 17.6193
2020-01-01 23:45:00 | 4.3187 | 98.48 | 4.9727 | 87.2533 | 6.568 | 8.378 | 6.3893 | 15.7047 | 2.7307 | 891 | 87.6733 | 15.7787