## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-01-02 00:00:00 | 4.0629 | 70.7071 | 4.6714 | 77.7 | 6.2386 | 3.6386 | 6.1207 | 13.4743 | 2.7129 | 891 | 87.6714 | 13.87
2020-01-02 00:15:00 | 4.1987 | 76.518 | 4.8313 | 61.9993 | 6.252 | 3.8933 | 6.1413 | 10.934 | 2.656 | 891 | 88.0067 | 15.326
2020-01-02 00:30:00 | 4.236 | 120.5193 | 4.8773 | 132.436 | 6.366 | 30.1173 | 6.1627 | 40.984 | 2.6407 | 891 | 87.88 | 17.118
2020-01-02 00:45:00 | 4.4147 | 177.9047 | 5.0767 | 217.6373 | 6.3227 | 243.458 | 6.038 | 39.0087 | 2.5833 | 891 | 88.12 | 19.208
2020-01-02 01:00:00 | 4.482 | 177.7393 | 5.152 | 195.314 | 6.5433 | 124.6967 | 6.652 | 19.5193 | 2.5627 | 891 | 88.2067 | 20.1873
2020-01-02 01:15:00 | 4.3727 | 90.988 | 5.0313 | 99.98 | 6.638 | 281.878 | 6.5067 | 9.0333 | 2.524 | 891 | 88.46 | 22.238
2020-01-02 01:30:00 | 4.3467 | 8.8847 | 5.006 | 9.7593 | 6.8747 | 77.5387 | 6.634 | 9.0387 | 2.478 | 890.8667 | 88.64 | 23.6153
2020-01-02 01:45:00 | 4.414 | 198.5853 | 5.08 | 238.6333 | 7.0273 | 22.222 | 6.928 | 124.4973 | 2.4233 | 890.4667 | 88.7067 | 22.9547
2020-01-02 02:00:00 | 4.6127 | 52.142 | 5.3067 | 57.2973 | 6.6093 | 164.7193 | 6.3547 | 13.2087 | 2.426 | 891 | 88.38 | 22.08
2020-01-02 02:15:00 | 4.6547 | 222.1067 | 5.3553 | 245.4667 | 7.1347 | 54.1093 | 6.63 | 18.1133 | 2.4347 | 891 | 88.4933 | 24.302
2020-01-02 02:30:00 | 4.2833 | 210.728 | 4.928 | 231.5667 | 7.29 | 121.1407 | 6.856 | 11.9527 | 2.3947 | 891 | 88.7733 | 25.6567
2020-01-02 02:45:00 | 4.3773 | 71.148 | 5.036 | 78.1773 | 6.62 | 7.466 | 6.592 | 45.8573 | 2.368 | 891 | 88.58 | 28.95
2020-01-02 03:00:00 | 4.8427 | 66.078 | 5.574 | 72.6093 | 7.326 | 5.55 | 7.3313 | 36.0993 | 2.3413 | 891 | 88.5667 | 33.6267
2020-01-02 03:15:00 | 4.992 | 65.078 | 5.754 | 71.5087 | 7.3933 | 160.028 | 7.1487 | 17.708 | 2.3033 | 890.5333 | 88.2733 | 35.2613
2020-01-02 03:30:00 | 4.6247 | 131.4027 | 5.3193 | 144.3907 | 7.9213 | 52.5373 | 7.5047 | 6.1107 | 2.324 | 890 | 88.0933 | 36.1667
2020-01-02 03:45:00 | 4.5507 | 51.726 | 5.2353 | 56.8407 | 8.086 | 122.7527 | 7.696 | 8.4927 | 2.3247 | 890 | 88.1067 | 37.146
2020-01-02 04:00:00 | 4.5193 | 271.2207 | 5.2007 | 300.8733 | 7.9133 | 200.026 | 7.514 | 78.708 | 2.3187 | 890 | 87.9533 | 37.2207
2020-01-02 04:15:00 | 4.9087 | 75.5167 | 5.646 | 82.9833 | 8.478 | 257.1733 | 8.1493 | 146.5473 | 2.2813 | 890 | 88.14 | 37.2793
2020-01-02 04:30:00 | 5.5547 | 57.2493 | 6.3967 | 84.1747 | 8.92 | 71.0673 | 8.8527 | 77.574 | 2.2713 | 890 | 87.9267 | 39.6607
2020-01-02 04:45:00 | 5.136 | 56.2353 | 5.912 | 61.7873 | 8.3453 | 122.472 | 8.042 | 95.1633 | 2.262 | 890 | 88.0133 | 36.5493
2020-01-02 05:00:00 | 5.3593 | 75.4273 | 6.1647 | 82.8853 | 7.5827 | 146.306 | 7.41 | 190.7313 | 2.2907 | 890 | 87.7067 | 37.2493
2020-01-02 05:15:00 | 5.11 | 181.158 | 5.8807 | 199.076 | 7.9613 | 77.1127 | 7.7027 | 73.3947 | 2.3007 | 890 | 87.6933 | 36.9247
2020-01-02 05:30:00 | 5.2233 | 159.3913 | 6.0133 | 175.156 | 8.6907 | 89.3353 | 8.208 | 52.056 | 2.2547 | 890 | 88.02 | 39.606
2020-01-02 05:45:00 | 5.2373 | 159.1653 | 6.0293 | 174.9053 | 8.6433 | 190.178 | 8.1127 | 6.816 | 2.246 | 890 | 88.2267 | 38.556
2020-01-02 06:00:00 | 5.1773 | 142.4807 | 5.9613 | 156.5687 | 8.272 | 188.68 | 7.6913 | 16.2687 | 2.268 | 890.8 | 87.9 | 37.7027
2020-01-02 06:15:00 | 4.708 | 197.4013 | 5.424 | 216.9233 | 8.3273 | 136.7927 | 8.1227 | 11.968 | 2.248 | 891 | 88.0733 | 38.0473
2020-01-02 06:30:00 | 5.0033 | 178.9527 | 5.7547 | 179.0227 | 8.078 | 185.4253 | 7.894 | 10.69 | 2.194 | 891 | 88.3 | 38.5267
2020-01-02 06:45:00 | 5.3287 | 178.532 | 6.128 | 196.186 | 8.6087 | 351.9333 | 8.366 | 9.3867 | 2.232 | 891 | 87.82 | 38.7253
2020-01-02 07:00:00 | 5.206 | 141.9 | 5.9947 | 149.6667 | 9.1687 | 212.784 | 9.1413 | 9.2787 | 2.334 | 891 | 87.46 | 38.018
2020-01-02 07:15:00 | 5.024 | 203.4567 | 5.786 | 223.5733 | 9.0687 | 92.5827 | 8.8227 | 7.068 | 2.408 | 891 | 87.1067 | 41.1353
2020-01-02 07:30:00 | 5.3667 | 53.8347 | 6.1693 | 59.158 | 8.274 | 220.8293 | 8.2033 | 10.1373 | 2.3747 | 891.1333 | 87.2933 | 39.684
2020-01-02 07:45:00 | 5.808 | 149.5533 | 6.678 | 164.34 | 8.346 | 9.9853 | 8.3193 | 13.8927 | 2.3847 | 892 | 86.8267 | 37.6947
2020-01-02 08:00:00 | 5.716 | 244.9073 | 6.5827 | 272.5367 | 9.2553 | 11.018 | 9.0287 | 14.262 | 2.3753 | 892 | 87.1733 | 38.684
2020-01-02 08:15:00 | 5.1427 | 215.9727 | 5.914 | 237.33 | 8.012 | 255.9493 | 7.762 | 15.6733 | 2.392 | 892 | 87.1933 | 38.6993
2020-01-02 08:30:00 | 4.868 | 292.2547 | 5.6033 | 321.1533 | 7.9673 | 209.0087 | 7.6427 | 7.1973 | 2.3507 | 892 | 87.46 | 38.2133
2020-01-02 08:45:00 | 4.67 | 117.2067 | 5.3767 | 128.7967 | 8.202 | 144.094 | 7.8713 | 9.19 | 2.4087 | 892.4667 | 87.3333 | 36.7173
2020-01-02 09:00:00 | 4.944 | 121.6207 | 5.6933 | 133.64 | 8.7147 | 124.528 | 8.848 | 10.2007 | 2.492 | 893 | 87.3867 | 37.8353
2020-01-02 09:15:00 | 5.0613 | 16.586 | 5.824 | 18.2207 | 8.3153 | 11.296 | 8.3687 | 23.6513 | 2.5327 | 893 | 87.1867 | 35.246
2020-01-02 09:30:00 | 4.7307 | 117.484 | 5.4387 | 129.9413 | 6.7453 | 119.3427 | 6.592 | 4.1993 | 2.5507 | 893 | 87.1733 | 33.8033
2020-01-02 09:45:00 | 4.404 | 12.7067 | 5.0693 | 13.9633 | 7.1687 | 278.4893 | 6.8913 | 121.824 | 2.684 | 893.4667 | 87.1067 | 35.5393
2020-01-02 10:00:00 | 4.2307 | 162.988 | 4.87 | 179.1053 | 7.3393 | 88.1913 | 7.2913 | 16.1 | 2.8347 | 894 | 86.5067 | 33.924
2020-01-02 10:15:00 | 4.0687 | 197.0067 | 4.684 | 216.4887 | 7.3547 | 122.5273 | 7.334 | 15.282 | 2.9193 | 894 | 86.5067 | 32.4407
2020-01-02 10:30:00 | 4.22 | 236.4047 | 4.86 | 278.5253 | 7.0927 | 71.0067 | 7.0107 | 10.9867 | 3.0047 | 894 | 86.5267 | 30.7073
2020-01-02 10:45:00 | 4.368 | 208.2227 | 5.0293 | 229.8133 | 7.186 | 73.8053 | 7.1587 | 7.824 | 3.088 | 894 | 86.1467 | 29.9027
2020-01-02 11:00:00 | 4.196 | 313.9553 | 4.8327 | 345 | 7.4227 | 4.61 | 7.4453 | 11.892 | 3.2927 | 894 | 85.66 | 29.2607
2020-01-02 11:15:00 | 4.362 | 259.32 | 5.0213 | 263.8447 | 7.8107 | 7.424 | 7.724 | 15.3887 | 3.6073 | 894 | 84.8267 | 28.796
2020-01-02 11:30:00 | 4.3607 | 195.8973 | 5.0267 | 215.2693 | 7.6907 | 11.976 | 7.5833 | 11.8927 | 3.7753 | 894 | 84.5 | 28.3467
2020-01-02 11:45:00 | 4.0693 | 124.5173 | 4.6833 | 116.7867 | 7.3233 | 5.1713 | 7.2153 | 7.112 | 3.94 | 894 | 84.0467 | 28.154
2020-01-02 12:00:00 | 4.1873 | 151.944 | 4.826 | 166.966 | 7.112 | 170.276 | 6.9567 | 11.8173 | 3.9787 | 894 | 84.4133 | 29.8547
2020-01-02 12:15:00 | 4.476 | 121.8907 | 5.15 | 133.9407 | 8.2153 | 14.0747 | 7.82 | 11.706 | 4.1873 | 893.5333 | 83.3133 | 31.5407
2020-01-02 12:30:00 | 4.7587 | 207.2867 | 5.4787 | 227.78 | 8.442 | 13.3187 | 8.4353 | 15.2367 | 4.1847 | 893 | 83.42 | 33.054
2020-01-02 12:45:00 | 4.5113 | 162.484 | 5.19 | 198.6387 | 8.6513 | 15.7847 | 8.4513 | 17.6007 | 4.662 | 893 | 82.2133 | 32.2527
2020-01-02 13:00:00 | 4.7307 | 271.9947 | 5.4493 | 298.8933 | 8.9267 | 11.21 | 9.2187 | 20.142 | 4.9153 | 893 | 81.1467 | 32.4733
2020-01-02 13:15:00 | 5.2253 | 157.7947 | 6.0147 | 173.4 | 9.6307 | 6.5733 | 9.6253 | 16.6087 | 4.9367 | 893 | 80.7333 | 35.4547
2020-01-02 13:30:00 | 5.7067 | 111.0353 | 6.5693 | 122.01 | 9.9733 | 7.67 | 9.7213 | 10.122 | 4.872 | 892.8667 | 81.1667 | 37.7513
2020-01-02 13:45:00 | 5.7947 | 163.5447 | 6.672 | 179.71 | 10.0387 | 7.638 | 9.8387 | 13.244 | 4.858 | 892 | 81.4067 | 36.6973
2020-01-02 14:00:00 | 5.1653 | 261.622 | 5.948 | 287.4933 | 9.522 | 12.9427 | 9.896 | 22.576 | 5.024 | 892 | 81.1933 | 34.5073
2020-01-02 14:15:00 | 4.828 | 90.4367 | 5.552 | 99.38 | 8.9227 | 21.416 | 8.8907 | 20.7093 | 5.286 | 892 | 80.348 | 34.6307
2020-01-02 14:30:00 | 4.592 | 126.3953 | 5.288 | 138.8947 | 8.6927 | 17.7613 | 8.4967 | 19.0567 | 5.4427 | 892 | 80.188 | 34.2613
2020-01-02 14:45:00 | 4.624 | 98.2547 | 5.3187 | 107.9607 | 8.8253 | 18.7473 | 8.8907 | 29.1427 | 5.6 | 892 | 79.8827 | 36.51
2020-01-02 15:00:00 | 4.5167 | 124.078 | 5.1933 | 136.3427 | 8.7293 | 12.6447 | 8.7993 | 24.196 | 5.548 | 892 | 79.436 | 37.1313
2020-01-02 15:15:00 | 4.504 | 190.6593 | 5.1813 | 209.5067 | 8.7173 | 17.026 | 8.7687 | 21.6067 | 5.486 | 892 | 79.6247 | 34.542
2020-01-02 15:30:00 | 4.6707 | 216.9647 | 5.3787 | 238.42 | 8.7153 | 16.0727 | 9.1027 | 25.828 | 5.4153 | 892 | 79.768 | 35.7093
2020-01-02 15:45:00 | 4.6307 | 74.2947 | 5.3333 | 81.636 | 8.7 | 18.144 | 8.818 | 26.3067 | 5.382 | 891.5333 | 79.8787 | 36.9273
2020-01-02 16:00:00 | 4.6767 | 109.564 | 5.3813 | 120.3973 | 8.3553 | 22.8007 | 8.278 | 29.1233 | 5.3373 | 891 | 79.54 | 34.8773
2020-01-02 16:15:00 | 4.404 | 59.0967 | 5.068 | 64.9327 | 7.7013 | 14.34 | 7.3547 | 24.9593 | 5.2987 | 891 | 79.4313 | 35.424
2020-01-02 16:30:00 | 4.4653 | 177.2413 | 5.138 | 194.7667 | 7.768 | 12.9987 | 7.506 | 28.6 | 5.2647 | 891 | 79.6307 | 36.78
2020-01-02 16:45:00 | 4.1173 | 176.302 | 4.7393 | 193.7333 | 7.6993 | 17.1807 | 7.546 | 24.9467 | 5.2353 | 891 | 79.6133 | 34.158
2020-01-02 17:00:00 | 4.01 | 120.6273 | 4.6153 | 133.8873 | 7.626 | 14.658 | 7.5107 | 25.08 | 5.176 | 891.6667 | 80.4373 | 32.3413
2020-01-02 17:15:00 | 4.098 | 202.1427 | 4.7187 | 222.132 | 7.8627 | 15.5853 | 7.7527 | 24.9833 | 5.0887 | 892 | 80.9467 | 33.598
2020-01-02 17:30:00 | 3.9947 | 122.2633 | 4.5947 | 153.9593 | 7.8233 | 17.54 | 7.8213 | 20.9953 | 4.964 | 892 | 81.38 | 35.0867
2020-01-02 17:45:00 | 3.9747 | 163.3087 | 4.5747 | 179.4567 | 7.712 | 16.3793 | 7.6327 | 24.802 | 4.8567 | 892 | 81.6933 | 32.252
2020-01-02 18:00:00 | 4.0027 | 222.5307 | 4.6027 | 244.5333 | 7.7547 | 18.5967 | 7.6273 | 26.07 | 4.742 | 891.3333 | 82.0733 | 29.6313
2020-01-02 18:15:00 | 3.98 | 212.0367 | 4.5827 | 233.0067 | 7.5653 | 22.2747 | 7.664 | 22.46 | 4.6853 | 892 | 81.5933 | 29.572
2020-01-02 18:30:00 | 3.7693 | 205.386 | 4.338 | 225.696 | 7.2167 | 17.484 | 7.456 | 26.172 | 4.6513 | 892 | 81.6 | 29.0833
2020-01-02 18:45:00 | 3.914 | 251.56 | 4.5033 | 276.4373 | 7.4927 | 16.5713 | 7.5407 | 21.1047 | 4.586 | 892 | 81.88 | 28.9493
2020-01-02 19:00:00 | 4.2013 | 72.86 | 4.8393 | 80.0613 | 7.8867 | 14.2493 | 8.1553 | 22.4987 | 4.568 | 892 | 81.56 | 28.5193
2020-01-02 19:15:00 | 4.112 | 184.4373 | 4.7333 | 202.6673 | 7.6653 | 12.5047 | 7.8333 | 24.8727 | 4.626 | 892 | 80.8867 | 26.8013
2020-01-02 19:30:00 | 4.2467 | 173.986 | 4.8927 | 191.1827 | 7.7373 | 18.376 | 7.63 | 21.3773 | 4.6567 | 892 | 80.4933 | 25.3887
2020-01-02 19:45:00 | 4.0027 | 97.7873 | 4.6013 | 107.4573 | 7.0953 | 13.5327 | 6.8327 | 25.2747 | 4.738 | 893 | 79.6867 | 20.3933
2020-01-02 20:00:00 | 3.6807 | 126.452 | 4.2367 | 138.9567 | 6.8307 | 6.6367 | 6.5313 | 23.792 | 4.6853 | 893 | 80.0067 | 18.9733
2020-01-02 20:15:00 | 3.1993 | 177.4547 | 3.6813 | 194.9967 | 5.9993 | 18.5873 | 5.9247 | 26.908 | 4.612 | 893 | 80.4667 | 19.2727
2020-01-02 20:30:00 | 3.0367 | 204.54 | 3.4953 | 224.7633 | 5.4853 | 19.6073 | 5.5713 | 27.3487 | 4.6367 | 893 | 80.0833 | 19.84
2020-01-02 20:45:00 | 2.8153 | 91.2553 | 3.2393 | 100.28 | 5.39 | 20.308 | 5.7693 | 24.3327 | 4.5107 | 893 | 81.2867 | 17.9127
2020-01-02 21:00:00 | 2.5133 | 229.0687 | 2.8967 | 251.718 | 4.8913 | 17.9673 | 5.2427 | 24.076 | 4.4027 | 893 | 81.68 | 17.3633
2020-01-02 21:15:00 | 2.44 | 26.4667 | 2.808 | 29.0847 | 4.6953 | 11.666 | 4.7867 | 23.1653 | 4.406 | 893 | 81.5133 | 17.1247
2020-01-02 21:30:00 | 2.4073 | 148.7987 | 2.7687 | 163.514 | 4.646 | 14.24 | 4.8487 | 30.318 | 4.4113 | 893 | 81.36 | 17.5587
2020-01-02 21:45:00 | 2.8293 | 197.124 | 3.262 | 218.008 | 5.4827 | 16.14 | 5.74 | 21.1347 | 4.3107 | 893 | 82.18 | 17.5713
2020-01-02 22:00:00 | 3.1767 | 210.9587 | 3.6553 | 231.8213 | 5.9073 | 32.3793 | 6.0707 | 18.2007 | 4.2987 | 893 | 82.2533 | 21.5933
2020-01-02 22:15:00 | 3.276 | 239.278 | 3.768 | 264.6653 | 6.1833 | 17.782 | 6.438 | 28.932 | 4.3273 | 893 | 82.0667 | 25.078
2020-01-02 22:30:00 | 3.552 | 162.0007 | 4.0887 | 178.0247 | 6.9553 | 23.044 | 6.832 | 23.222 | 4.2507 | 893 | 82.84 | 24.0153
2020-01-02 22:45:00 | 3.2413 | 197.296 | 3.7293 | 209.8333 | 6.21 | 17.482 | 6.136 | 21.8607 | 4.2807 | 893 | 82.2467 | 20.9033
2020-01-02 23:00:00 | 3.0287 | 194.572 | 3.482 | 213.8187 | 5.8987 | 14.4227 | 5.9187 | 27.596 | 4.2807 | 893.6667 | 82.22 | 26.93
2020-01-02 23:15:00 | 3.0453 | 156.99 | 3.5067 | 169.7133 | 5.9573 | 15.64 | 6.0753 | 20.9547 | 4.124 | 893 | 83.3333 | 27.3093
2020-01-02 23:30:00 | 2.7993 | 205.0267 | 3.22 | 225.2933 | 5.2473 | 23.0567 | 5.3307 | 29.4847 | 4.1153 | 893 | 83.16 | 23.7873
2020-01-02 23:45:00 | 2.6467 | 111.234 | 3.0453 | 122.236 | 4.57 | 17.6847 | 4.7533 | 20.5307 | 4.3073 | 893 | 81.9933 | 23.0153